## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-06 00:00:00 | 2.9033 | 158.273 | 8.2857 | 196.568 | 10.0753 | 185.411 | 3.1723 | 329.92 | 26.46 | 959.857 | 73.2874 | 83.5109
2019-04-06 00:15:00 | 3.414 | 146.538 | 10.0753 | 208.492 | 10.0753 | 163.811 | 2.4053 | 339.072 | 26.46 | 959.708 | 73.7688 | 84.6083
2019-04-06 00:30:00 | 3.414 | 160.727 | 13.399 | 199.516 | 12.8877 | 165.502 | 5.2177 | 339.848 | 26.46 | 959.115 | 74.5581 | 84.3903
2019-04-06 00:45:00 | 3.6693 | 132.657 | 10.331 | 193.371 | 11.6093 | 171.126 | 5.9847 | 328.535 | 26.46 | 959.263 | 74.7269 | 83.6217
2019-04-06 01:00:00 | 6.2227 | 156.83 | 10.331 | 203.198 | 11.865 | 158.609 | 3.1723 | 335.881 | 26.46 | 959.115 | 74.5248 | 87.164
2019-04-06 01:15:00 | 4.946 | 148.207 | 12.632 | 206.977 | 15.1887 | 172.182 | 4.195 | 321.9 | 26.46 | 959.115 | 75.413 | 86.9323
2019-04-06 01:30:00 | 1.2547 | 128.473 | 7.0073 | 222.425 | 10.331 | 184.706 | 2.1497 | 332.573 | 26.46 | 958.669 | 75.5158 | 84.9075
2019-04-06 01:45:00 | 2.9033 | 155.421 | 13.9103 | 202.082 | 11.865 | 136.806 | 1.894 | 339.738 | 26.46 | 958.818 | 76.1645 | 85.6502
2019-04-06 02:00:00 | 3.6693 | 155.859 | 11.098 | 212.632 | 11.3537 | 152.205 | 2.9167 | 333.086 | 26.46 | 958.521 | 77.0858 | 85.6354
2019-04-06 02:15:00 | 4.4353 | 150.182 | 12.3763 | 211.901 | 11.865 | 151.449 | 3.9393 | 329.992 | 26.46 | 958.521 | 76.2668 | 80.6622
2019-04-06 02:30:00 | 3.6693 | 153.618 | 14.166 | 203.787 | 12.1207 | 156.98 | 2.9167 | 331.551 | 26.46 | 957.927 | 76.4375 | 80.0562
2019-04-06 02:45:00 | 2.3927 | 148.282 | 12.632 | 197.867 | 11.098 | 157.687 | 3.1723 | 332.77 | 26.46 | 957.927 | 76.6422 | 78.8221
2019-04-06 03:00:00 | 4.946 | 148.94 | 12.632 | 201.716 | 11.3537 | 165.361 | 2.9167 | 333.452 | 26.46 | 957.927 | 76.9152 | 79.1272
2019-04-06 03:15:00 | 5.9673 | 121.579 | 11.3537 | 203.154 | 11.3537 | 169.625 | 5.729 | 328.628 | 26.46 | 957.927 | 77.5977 | 73.9893
2019-04-06 03:30:00 | 5.4567 | 157.151 | 11.6093 | 192.531 | 11.3537 | 138.122 | 2.661 | 341.614 | 26.46 | 957.63 | 76.7104 | 71.5396
2019-04-06 03:45:00 | 1.7653 | 156.712 | 13.399 | 196.697 | 12.8877 | 157.614 | 4.7063 | 340.322 | 26.46 | 957.63 | 76.028 | 62.4355
2019-04-06 04:00:00 | 0.372 | 158.71 | 6.7517 | 208.806 | 7.5187 | 153.983 | 3.1723 | 331.771 | 26.46 | 958.54 | 75.6185 | 42.4686
2019-04-06 04:15:00 | 10.0527 | 154.982 | 6.7517 | 203.105 | 5.4733 | 159.928 | 2.541 | 354.819 | 26.46 | 958.694 | 76.3692 | 33.0504
2019-04-06 04:30:00 | 0.372 | 148.306 | 6.7517 | 211.511 | 5.729 | 159.733 | 0 | 326.946 | 26.46 | 958.818 | 76.4375 | 26.1521
2019-04-06 04:45:00 | 0 | 148.038 | 9.0527 | 209.805 | 7.0073 | 159.368 | 5.4733 | 337.009 | 26.46 | 958.585 | 76.6763 | 19.1245
2019-04-06 05:00:00 | 4.4353 | 152.326 | 7.0073 | 198.086 | 5.729 | 150.621 | 3.1723 | 350.824 | 26.46 | 958.541 | 78.0754 | 15.3188
2019-04-06 05:15:00 | 0 | 142.608 | 5.9847 | 200.308 | 4.962 | 150.137 | 2.1497 | 330.925 | 26.46 | 958.726 | 78.7596 | 18.9583
2019-04-06 05:30:00 | 3.414 | 153.512 | 5.9847 | 210.682 | 6.7517 | 164.038 | 2.9167 | 344.744 | 26.46 | 958.349 | 79.585 | 30.4049
2019-04-06 05:45:00 | 3.414 | 152.911 | 7.5187 | 209.208 | 5.729 | 153.081 | 4.4507 | 327.558 | 26.46 | 958.366 | 80.4085 | 24.9735
2019-04-06 06:00:00 | 5.9673 | 148.989 | 7.7743 | 196.343 | 7.263 | 151.547 | 0 | 332.361 | 26.46 | 958.368 | 80.6137 | 19.3203
2019-04-06 06:15:00 | 0 | 150.037 | 5.9847 | 197.538 | 4.962 | 149.672 | 3.6837 | 328.269 | 26.46 | 958.665 | 81.8771 | 14.1106
2019-04-06 06:30:00 | 0 | 147.966 | 5.2177 | 201.657 | 4.4507 | 159.712 | 5.729 | 342.062 | 26.46 | 958.813 | 82.7986 | 10.7003
2019-04-06 06:45:00 | 0 | 172.481 | 5.2177 | 211.355 | 4.7063 | 169.484 | 0 | 355.635 | 26.46 | 959.11 | 82.7986 | 7.1015
2019-04-06 07:00:00 | 0 | 169.898 | 2.4053 | 224.807 | 2.9167 | 186.42 | 0.63133 | 348.252 | 26.46 | 959.407 | 82.0478 | 4.4375
2019-04-06 07:15:00 | 0 | 169.7 | 3.9393 | 223.244 | 3.6837 | 177.791 | 1.3827 | 348.417 | 26.46 | 959.407 | 81.2274 | 2.3684
2019-04-06 07:30:00 | 0 | 170.455 | 3.9393 | 223.208 | 4.7063 | 190.848 | 0.887 | 355.382 | 26.46 | 959.591 | 80.6012 | 1.8363
2019-04-06 07:45:00 | 0 | 167.579 | 3.1723 | 227.104 | 2.4053 | 178.299 | 0 | 356.452 | 26.46 | 959.863 | 80.1229 | -0.12193
2019-04-06 08:00:00 | 0 | 298.806 | 6.496 | 15.3464 | 7.0073 | 208.998 | 1.3983 | 123.796 | 26.46 | 960.302 | 83.467 | 4.9917
2019-04-06 08:15:00 | 0 | 320.514 | 2.661 | 22.6378 | 3.428 | 207.366 | 0 | 113.831 | 26.46 | 959.857 | 90.2235 | 4.3969
2019-04-06 08:30:00 | 0 | 329.091 | 2.1497 | 6.7522 | 0.37567 | 205.246 | 0 | 126.354 | 26.46 | 959.904 | 87.9031 | 1.8548
2019-04-06 08:45:00 | 0 | 0.14619 | 2.9167 | 63.3265 | 2.661 | 221.376 | 0 | 142.386 | 26.46 | 959.936 | 85.5828 | 0.35101
2019-04-06 09:00:00 | 0 | 27.9217 | 2.1497 | 73.1209 | 1.6383 | 223.568 | 0 | 161.195 | 26.46 | 960.474 | 83.9447 | 1.7588
2019-04-06 09:15:00 | 0 | 34.2564 | 1.894 | 43.6887 | 0 | 204.296 | 0 | 163.364 | 26.46 | 960.305 | 79.3039 | 3.3993
2019-04-06 09:30:00 | 0 | 21.5869 | 4.4507 | 69.2713 | 1.127 | 254.608 | 3.6837 | 157.614 | 26.46 | 960.451 | 78.0754 | 3.1739
2019-04-06 09:45:00 | 0 | 8.9642 | 3.428 | 110.346 | 3.428 | 254.358 | 0.37567 | 142.598 | 26.46 | 961.044 | 71.8152 | 5.5681
2019-04-06 10:00:00 | 0 | 33.831 | 5.729 | 82.6866 | 3.1723 | 254.33 | 0.37567 | 181.699 | 26.46 | 961.193 | 67.3383 | 7.3269
2019-04-06 10:15:00 | 0 | 20.654 | 2.661 | 20.8696 | 1.894 | 253.255 | 5.729 | 219.473 | 26.46 | 961.638 | 68.3609 | 6.8835
2019-04-06 10:30:00 | 0 | 349.413 | 3.9393 | 87.508 | 2.661 | 253.255 | 0 | 158.705 | 26.46 | 961.852 | 64.9838 | 10.9404
2019-04-06 10:45:00 | 0 | 46.0331 | 2.9167 | 88.3605 | 2.4053 | 253.255 | 0 | 180.674 | 26.46 | 961.515 | 64.5404 | 13.3347
2019-04-06 11:00:00 | 0 | 24.7192 | 4.7063 | 79.2179 | 1.007 | 253.232 | 5.4733 | 198.752 | 26.46 | 961.345 | 61.9422 | 15.1969
2019-04-06 11:15:00 | 0 | 11.1534 | 4.4507 | 10.7705 | 6.7517 | 253.264 | 3.428 | 170.904 | 26.46 | 961.642 | 60.9149 | 19.5938
2019-04-06 11:30:00 | 0 | 26.8846 | 7.5187 | 76.8479 | 2.1497 | 267.239 | 5.729 | 220.24 | 26.46 | 961.493 | 60.6413 | 26.7026
2019-04-06 11:45:00 | 0 | 6.6968 | 6.7517 | 70.492 | 4.7063 | 290.665 | 1.6383 | 173.435 | 26.46 | 961.345 | 60.8459 | 29.8839
2019-04-06 12:00:00 | 2.9033 | 355.496 | 8.03 | 48.3572 | 2.9167 | 295.687 | 6.2403 | 175.751 | 26.46 | 961.197 | 58.5958 | 38.4797
2019-04-06 12:15:00 | 0.372 | 16.6086 | 8.5413 | 66.8422 | 4.195 | 297.592 | 2.2853 | 184.935 | 26.46 | 961.345 | 57.7442 | 35.7532
2019-04-06 12:30:00 | 1.138 | 4.8711 | 9.564 | 71.6261 | 4.7063 | 319.254 | 5.2177 | 142.87 | 26.46 | 961.197 | 57.5804 | 38.7383
2019-04-06 12:45:00 | 4.946 | 340.986 | 3.9393 | 0.5151 | 10.331 | 335.165 | 4.4507 | 164.988 | 26.46 | 960.905 | 60.1057 | 43.1365
2019-04-06 13:00:00 | 2.5313 | 353.773 | 8.797 | 52.2646 | 7.7743 | 328.832 | 4.195 | 173.708 | 26.46 | 961.456 | 59.3894 | 40.0848
2019-04-06 13:15:00 | 0 | 35.0728 | 4.7063 | 80.9318 | 3.428 | 327.152 | 0 | 201.425 | 26.46 | 961.786 | 57.7861 | 46.4369
2019-04-06 13:30:00 | 2.276 | 349.121 | 5.2177 | 37.31 | 1.894 | 314.754 | 3.9393 | 139.22 | 26.46 | 961.443 | 59.2188 | 46.7472
2019-04-06 13:45:00 | 0 | 34.8293 | 6.2403 | 89.0424 | 4.7063 | 307.423 | 0 | 198.259 | 26.46 | 961.626 | 56.4216 | 47.5157
2019-04-06 14:00:00 | 0 | 0 | 4.7063 | 95.2045 | 5.9847 | 304.987 | 3.428 | 208.294 | 26.46 | 961.274 | 60.9244 | 52.9285
2019-04-06 14:15:00 | 7.244 | 213.165 | 10.8423 | 53.5068 | 10.5867 | 317.604 | 2.9167 | 165.402 | 26.46 | 961.132 | 59.3553 | 55.4781
2019-04-06 14:30:00 | 1.7653 | 14.8816 | 7.5187 | 83.6353 | 9.3083 | 320.551 | 4.7063 | 188.736 | 26.46 | 961.175 | 59.4235 | 59.8744
2019-04-06 14:45:00 | 2.3927 | 345.979 | 7.263 | 32.8041 | 7.7743 | 322.84 | 3.9393 | 169.056 | 26.46 | 960.852 | 58.8095 | 64.3589
2019-04-06 15:00:00 | 2.9033 | 2.7766 | 10.0753 | 60.6675 | 9.3083 | 336.236 | 2.661 | 185.204 | 26.46 | 960.882 | 57.445 | 67.0245
2019-04-06 15:15:00 | 2.9033 | 7.0146 | 9.0527 | 54.2375 | 7.7743 | 337.698 | 5.729 | 157.998 | 26.46 | 960.599 | 56.8992 | 69.4188
2019-04-06 15:30:00 | 3.6693 | 356.915 | 10.5867 | 44.0323 | 11.098 | 345.565 | 4.4507 | 178.677 | 26.46 | 960.005 | 56.4898 | 66.8989
2019-04-06 15:45:00 | 0.744 | 353.145 | 10.5867 | 60.9123 | 8.797 | 346.593 | 5.729 | 193.464 | 26.46 | 959.857 | 56.7636 | 63.8839
2019-04-06 16:00:00 | 1.3713 | 339.235 | 9.564 | 60.1682 | 5.729 | 348.321 | 2.661 | 169.642 | 26.46 | 960.005 | 57.522 | 57.4319
2019-04-06 16:15:00 | 2.3927 | 78.4256 | 11.098 | 68.5364 | 8.03 | 350.223 | 4.962 | 157.753 | 26.46 | 959.708 | 56.5748 | 60.0708
2019-04-06 16:30:00 | 0.99933 | 356.889 | 9.8197 | 46.3442 | 8.5413 | 357.036 | 3.428 | 179.639 | 26.46 | 960.154 | 56.8502 | 61.1563
2019-04-06 16:45:00 | 6.478 | 6.554 | 8.03 | 72.6336 | 10.5867 | 11.3295 | 5.2177 | 181.905 | 26.46 | 959.857 | 57.3281 | 63.0082
2019-04-06 17:00:00 | 2.9033 | 356.939 | 10.0753 | 69.9048 | 10.8423 | 12.6451 | 4.4507 | 184.025 | 26.46 | 959.708 | 55.2807 | 62.4234
2019-04-06 17:15:00 | 4.18 | 12.7913 | 11.3537 | 46.4175 | 11.3537 | 29.5297 | 4.962 | 182.027 | 26.46 | 959.263 | 51.3223 | 64.2106
2019-04-06 17:30:00 | 1.51 | 355.989 | 9.3083 | 53.2151 | 9.0527 | 356.988 | 3.9393 | 182.928 | 26.46 | 960.005 | 52.2778 | 58.618
2019-04-06 17:45:00 | 6.478 | 0.097458 | 10.8423 | 64.3497 | 11.098 | 19.1017 | 5.4733 | 180.76 | 26.46 | 959.749 | 52.9602 | 58.2482
2019-04-06 18:00:00 | 4.6907 | 6.9928 | 10.0753 | 58.7724 | 8.797 | 6.6029 | 4.7063 | 185.029 | 26.46 | 960.071 | 53.9855 | 57.7974
2019-04-06 18:15:00 | 4.4353 | 64.648 | 7.7743 | 62.5341 | 7.7743 | 11.0387 | 2.1497 | 181.614 | 26.46 | 960.592 | 55.5615 | 51.3008
2019-04-06 18:30:00 | 2.1373 | 352.102 | 9.0527 | 47.5985 | 9.8197 | 12.6473 | 4.4507 | 179.304 | 26.46 | 960.595 | 55.9727 | 46.4421
2019-04-06 18:45:00 | 2.648 | 356.891 | 8.797 | 54.7117 | 9.0527 | 356.989 | 5.4733 | 180.907 | 26.46 | 960.595 | 55.6979 | 51.5799
2019-04-06 19:00:00 | 2.1373 | 0.097472 | 9.0527 | 62.9726 | 9.564 | 16.3752 | 4.962 | 197.063 | 26.46 | 960.595 | 55.4249 | 51.5534
2019-04-06 19:15:00 | 1.3713 | 63.7975 | 7.5187 | 56.1768 | 7.0073 | 12.4281 | 5.2177 | 178.696 | 26.46 | 960.595 | 55.0857 | 49.6152
2019-04-06 19:30:00 | 4.18 | 17.8644 | 7.5187 | 53.1635 | 9.0527 | 25.907 | 3.9393 | 195.241 | 26.46 | 960.892 | 53.4536 | 51.3473
2019-04-06 19:45:00 | 5.2013 | 350.919 | 8.03 | 38.9577 | 8.03 | 4.0946 | 5.4733 | 190.595 | 26.46 | 961.189 | 52.7735 | 52.8643
2019-04-06 20:00:00 | 3.414 | 18.6939 | 9.8197 | 68.2781 | 4.7063 | 12.5276 | 4.195 | 195.981 | 26.46 | 961.189 | 53.2855 | 42.0806
2019-04-06 20:15:00 | 10.308 | 3.8753 | 9.564 | 61.795 | 5.729 | 352.016 | 5.729 | 189.766 | 26.46 | 961.486 | 53.1831 | 37.6705
2019-04-06 20:30:00 | 14.904 | 16.6953 | 9.3083 | 67.4251 | 6.2403 | 353.99 | 5.2177 | 198.955 | 26.46 | 961.486 | 53.1831 | 32.4082
2019-04-06 20:45:00 | 13.8827 | 22.4717 | 9.0527 | 70.5692 | 7.0073 | 354.429 | 4.962 | 201.221 | 26.46 | 961.783 | 53.5245 | 20.4103
2019-04-06 21:00:00 | 1.3713 | 7.2143 | 5.4733 | 60.3326 | 5.9847 | 351.455 | 4.962 | 196.274 | 26.46 | 962.08 | 53.5245 | 17.0739
2019-04-06 21:15:00 | 11.5847 | 17.4996 | 7.263 | 70.2767 | 3.9393 | 354.209 | 3.6837 | 199.491 | 26.46 | 961.783 | 53.1831 | 15.4999
2019-04-06 21:30:00 | 0 | 17.2559 | 5.729 | 64.671 | 1.3827 | 350.724 | 0 | 201.173 | 26.46 | 962.377 | 53.3879 | 8.3467
2019-04-06 21:45:00 | 0 | 14.2824 | 4.4507 | 59.6014 | 3.1723 | 350.139 | 3.5637 | 208.631 | 26.46 | 962.228 | 52.7735 | 6.5066
2019-04-06 22:00:00 | 1.51 | 15.9398 | 5.729 | 67.4982 | 5.9847 | 352.016 | 3.1723 | 209.313 | 26.46 | 961.783 | 52.7735 | 7.6483
2019-04-06 22:15:00 | 0 | 29.3448 | 5.4733 | 73.2989 | 4.4507 | 351.918 | 3.9393 | 228.519 | 26.46 | 961.932 | 52.6028 | 6.2369
2019-04-06 22:30:00 | 0 | 25.6401 | 5.4733 | 70.3742 | 4.4507 | 352.528 | 5.4733 | 221.451 | 26.46 | 961.783 | 52.6711 | 8.6644
2019-04-06 22:45:00 | 0 | 79.8208 | 3.6837 | 127.845 | 5.2177 | 353.624 | 5.729 | 239.584 | 26.46 | 961.486 | 51.0667 | 10.1239
2019-04-06 23:00:00 | 0 | 343.144 | 4.4507 | 28.8186 | 4.4507 | 336.1 | 0.37567 | 187.719 | 26.46 | 961.932 | 50.1792 | 7.7666
2019-04-06 23:15:00 | 0 | 307.267 | 4.4507 | 12.2982 | 4.962 | 324.889 | 5.2177 | 136.195 | 26.46 | 962.525 | 54.7534 | 27.4089
2019-04-06 23:30:00 | 0 | 33.3907 | 5.4733 | 80.3426 | 5.4733 | 348.043 | 4.7063 | 213.798 | 26.46 | 961.635 | 51.3398 | 13.501
2019-04-06 23:45:00 | 0 | 13.99 | 4.4507 | 57.9928 | 3.1723 | 346.532 | 0 | 208.241 | 26.46 | 961.783 | 51.0326 | 0.018474