## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-07 00:00:00 | 0 | 17.4509 | 2.4053 | 48.7799 | 2.661 | 341.097 | 0 | 220.744 | 26.46 | 961.783 | 51.2715 | -0.18844
2019-04-07 00:15:00 | 0 | 0.12186 | 2.661 | 42.638 | 3.1723 | 340.585 | 1.894 | 198.784 | 26.46 | 961.807 | 50.6571 | 4.6407
2019-04-07 00:30:00 | 0 | 22.3254 | 4.7063 | 65.3047 | 4.195 | 344.875 | 5.4733 | 208.046 | 26.46 | 961.2 | 52.4322 | 3.4916
2019-04-07 00:45:00 | 1.3933 | 19.352 | 3.6837 | 73.5914 | 3.428 | 344.582 | 0 | 221.037 | 26.46 | 961.237 | 50.9985 | 0.55423
2019-04-07 01:00:00 | 0 | 4.8746 | 2.9167 | 47.1957 | 2.9167 | 344.265 | 3.428 | 198.614 | 26.46 | 961.399 | 50.4864 | 1.877
2019-04-07 01:15:00 | 0.99933 | 25.6401 | 4.195 | 63.4036 | 3.9393 | 344.485 | 2.4053 | 212.384 | 26.46 | 961.287 | 49.2575 | 2.2317
2019-04-07 01:30:00 | 2.648 | 35.9503 | 4.195 | 68.6204 | 3.6837 | 344.513 | 0 | 223.111 | 26.46 | 961.044 | 49.8385 | 0.11454
2019-04-07 01:45:00 | 0 | 43.1642 | 2.9167 | 68.7656 | 2.4053 | 344.29 | 0 | 232.614 | 26.46 | 961.559 | 47.107 | -0.25864
2019-04-07 02:00:00 | 0 | 119.622 | 1.3827 | 68.7169 | 0 | 343.802 | 0 | 234.417 | 26.46 | 961.982 | 44.8541 | -0.25125
2019-04-07 02:15:00 | 0 | 128.079 | 0 | 68.5706 | 0 | 340 | 0 | 234.417 | 26.46 | 962.378 | 44.9906 | -0.1404
2019-04-07 02:30:00 | 0 | 226.935 | 0.75133 | 66.4746 | 1.3827 | 340.488 | 0 | 233.321 | 26.46 | 962.08 | 46.4926 | 0.26972
2019-04-07 02:45:00 | 0 | 132.003 | 0 | 41.8581 | 1.894 | 340.585 | 0 | 233.345 | 26.46 | 961.783 | 46.4926 | 0.62443
2019-04-07 03:00:00 | 0 | 215.602 | 1.3827 | 69.8868 | 0 | 336.344 | 0 | 53.5226 | 26.46 | 961.932 | 46.834 | 1.4706
2019-04-07 03:15:00 | 0 | 223.791 | 2.1497 | 115.805 | 1.894 | 339.659 | 0 | 51.9627 | 26.46 | 961.486 | 52.9783 | 0.92371
2019-04-07 03:30:00 | 0 | 218.063 | 2.1497 | 161.87 | 0 | 339.659 | 0 | 11.2602 | 26.46 | 961.211 | 51.9201 | -0.096066
2019-04-07 03:45:00 | 0 | 218.575 | 0.37567 | 162.942 | 0 | 339.61 | 0 | 45.7964 | 26.46 | 961.656 | 48.6773 | 1.0382
2019-04-07 04:00:00 | 0 | 218.916 | 1.127 | 79.6846 | 3.428 | 340.975 | 0 | 47.6244 | 26.46 | 961.246 | 53.1149 | 1.3412
2019-04-07 04:15:00 | 0 | 249.161 | 0 | 57.3662 | 3.1723 | 343.346 | 0 | 73.1249 | 26.46 | 960.917 | 56.0556 | 1.9546
2019-04-07 04:30:00 | 0 | 275.803 | 0.37567 | 1.2783 | 2.661 | 342.718 | 0 | 82.4923 | 26.46 | 961.31 | 49.642 | 1.4299
2019-04-07 04:45:00 | 0 | 286.63 | 0 | 74.9744 | 0 | 342.503 | 0 | 79.1534 | 26.46 | 961.164 | 54.9687 | 0.52467
2019-04-07 05:00:00 | 0 | 111.476 | 2.1497 | 151.151 | 2.661 | 342.985 | 0 | 304.957 | 26.46 | 961.372 | 57.2894 | -0.25125
2019-04-07 05:15:00 | 0 | 126.957 | 1.894 | 169.582 | 0 | 342.793 | 0 | 320.122 | 26.46 | 961.677 | 49.1642 | -0.044338
2019-04-07 05:30:00 | 0 | 135.197 | 1.127 | 118.317 | 2.4053 | 342.929 | 0 | 321.285 | 26.46 | 961.824 | 51.75 | -0.11824
2019-04-07 05:45:00 | 0 | 60.7857 | 3.1723 | 73.5914 | 3.9393 | 343.729 | 0 | 262.812 | 26.46 | 961.823 | 56.1871 | -0.12193
2019-04-07 06:00:00 | 0 | 39.0452 | 2.1497 | 77.2961 | 2.9167 | 343.534 | 0 | 226.935 | 26.46 | 961.971 | 54.6851 | 0.33993
2019-04-07 06:15:00 | 0 | 37.5341 | 3.428 | 89.58 | 3.6837 | 343.851 | 0 | 243.825 | 26.46 | 961.837 | 55.6409 | 0.85351
2019-04-07 06:30:00 | 0 | 34.245 | 3.6837 | 88.0729 | 3.6837 | 343.815 | 0 | 223.726 | 26.46 | 961.806 | 50.7956 | -0.081287
2019-04-07 06:45:00 | 0 | 94.3718 | 2.1497 | 90.4579 | 2.1497 | 343.512 | 0 | 273.61 | 26.46 | 962.398 | 51.9546 | 0.26603
2019-04-07 07:00:00 | 0 | 137.95 | 2.1497 | 168.255 | 0 | 339.805 | 0 | 324.475 | 26.46 | 962.829 | 51.3398 | -0.066507
2019-04-07 07:15:00 | 0 | 104.657 | 3.6837 | 161.553 | 3.6837 | 345.143 | 0 | 271.659 | 26.46 | 962.971 | 50.6571 | 0.59857
2019-04-07 07:30:00 | 0 | 93.5427 | 5.2177 | 150.366 | 2.661 | 345.606 | 0 | 270.221 | 26.46 | 962.971 | 50.7937 | 4.4006
2019-04-07 07:45:00 | 3.1587 | 144.597 | 3.6837 | 194.093 | 1.894 | 330.375 | 0 | 329.79 | 26.46 | 963.268 | 50.4074 | 2.7748
2019-04-07 08:00:00 | 0 | 124.67 | 1.894 | 155.04 | 0.75133 | 339.649 | 0 | 298.637 | 26.46 | 963.565 | 49.6928 | 2.2576
2019-04-07 08:15:00 | 0 | 132.47 | 4.962 | 172.918 | 3.9393 | 338.959 | 0.63133 | 306.067 | 26.46 | 963.609 | 50.6741 | 4.5484
2019-04-07 08:30:00 | 0 | 126.89 | 5.4733 | 175.184 | 5.9847 | 299.537 | 5.4733 | 307.431 | 26.46 | 963.865 | 51.6636 | 7.9772
2019-04-07 08:45:00 | 0 | 117.965 | 3.9393 | 149.093 | 3.6837 | 261.263 | 0.63133 | 273.442 | 26.46 | 963.865 | 52.1274 | 8.6792
2019-04-07 09:00:00 | 0 | 108.02 | 1.894 | 206.636 | 2.661 | 269.527 | 0 | 282.168 | 26.46 | 964.458 | 51.7829 | 6.8392
2019-04-07 09:15:00 | 0 | 132.619 | 2.9167 | 176.846 | 1.894 | 269.208 | 0 | 304.939 | 26.46 | 965.052 | 50.5543 | 1.8622
2019-04-07 09:30:00 | 0 | 155.682 | 5.729 | 196.596 | 5.4733 | 267.67 | 0 | 327.78 | 26.46 | 964.767 | 50.1443 | 0.88307
2019-04-07 09:45:00 | 0 | 130.99 | 5.2177 | 205.744 | 4.4507 | 267.094 | 0.75133 | 330.555 | 26.46 | 964.906 | 49.6591 | 0.60965
2019-04-07 10:00:00 | 0 | 152.93 | 5.2177 | 205.986 | 5.2177 | 263.148 | 0 | 346.943 | 26.46 | 965.5 | 49.7272 | 0.48033
2019-04-07 10:15:00 | 0 | 142.747 | 7.0073 | 188.398 | 5.4733 | 261.971 | 0.887 | 332.493 | 26.46 | 965.203 | 52.4542 | 0.40643
2019-04-07 10:30:00 | 0 | 337.283 | 2.1497 | 0.55058 | 1.6383 | 268.375 | 0 | 191.968 | 26.46 | 965.461 | 51.665 | 0.24016
2019-04-07 10:45:00 | 0 | 238.024 | 3.1723 | 323.937 | 3.1723 | 275.958 | 0 | 45.8957 | 26.46 | 964.769 | 56.607 | 0.018474
2019-04-07 11:00:00 | 0 | 235.297 | 2.4053 | 288.95 | 1.6383 | 266.292 | 0 | 31.1652 | 26.46 | 964.612 | 53.9472 | -0.17735
2019-04-07 11:15:00 | 0 | 263.575 | 1.894 | 314.788 | 1.894 | 266.862 | 0 | 70.2883 | 26.46 | 964.76 | 52.6484 | -0.0073897
2019-04-07 11:30:00 | 0 | 212.35 | 2.661 | 333.032 | 2.4053 | 258.725 | 0 | 28.7256 | 26.46 | 965.057 | 49.983 | 0.81287
2019-04-07 11:45:00 | 0 | 199.253 | 6.7517 | 241.573 | 7.0073 | 236.133 | 2.4053 | 15.7503 | 26.46 | 964.464 | 52.0286 | 3.3327
2019-04-07 12:00:00 | 0 | 196.416 | 7.5187 | 235.575 | 7.7743 | 223.439 | 0.75133 | 16.8225 | 26.46 | 964.315 | 52.7136 | 5.4868
2019-04-07 12:15:00 | 5.4567 | 186.869 | 8.2857 | 241.593 | 10.331 | 208.709 | 1.774 | 356.793 | 26.46 | 964.018 | 54.9701 | 8.0991
2019-04-07 12:30:00 | 0 | 191.52 | 5.9847 | 232.389 | 6.7517 | 197.315 | 4.4507 | 13.6835 | 26.46 | 964.464 | 55.1748 | 6.7837
2019-04-07 12:45:00 | 0 | 162.059 | 4.7063 | 224.525 | 4.4507 | 189.037 | 5.729 | 348.174 | 26.46 | 964.391 | 55.5158 | 7.2604
2019-04-07 13:00:00 | 0 | 143.485 | 5.2177 | 199.525 | 6.2403 | 183.392 | 4.962 | 356.777 | 26.46 | 964.508 | 55.2102 | 4.9474
2019-04-07 13:15:00 | 0 | 200.066 | 7.263 | 246.438 | 7.263 | 191.544 | 3.9393 | 10.2261 | 26.46 | 964.127 | 54.0836 | 7.5523
2019-04-07 13:30:00 | 0 | 201.357 | 8.03 | 234.41 | 8.5413 | 197.656 | 3.9393 | 17.433 | 26.46 | 963.693 | 56.0614 | 6.5177
2019-04-07 13:45:00 | 0 | 149.18 | 4.962 | 193.288 | 4.962 | 170.265 | 5.729 | 351.512 | 26.46 | 964.099 | 56.8119 | 5.897
2019-04-07 14:00:00 | 0 | 204.473 | 7.0073 | 250.772 | 8.5413 | 174.184 | 0 | 19.2348 | 26.46 | 963.641 | 54.561 | 6.1963
2019-04-07 14:15:00 | 0 | 216.988 | 5.2177 | 241.837 | 5.729 | 171.993 | 2.9167 | 356.793 | 26.46 | 963.446 | 55.4476 | 5.3908
2019-04-07 14:30:00 | 0 | 182.633 | 7.0073 | 218.633 | 6.7517 | 165.833 | 2.661 | 11.8087 | 26.46 | 963.282 | 55.584 | 9.0191
2019-04-07 14:45:00 | 2.4147 | 193.76 | 8.2857 | 238.379 | 7.5187 | 165.979 | 4.7063 | 8.473 | 26.46 | 963.277 | 55.4476 | 9.178
2019-04-07 15:00:00 | 0 | 190.4 | 4.962 | 226.765 | 4.7063 | 166.101 | 0 | 29.4122 | 26.46 | 963.425 | 57.1185 | 8.5277
2019-04-07 15:15:00 | 0 | 195.172 | 5.2177 | 226.084 | 6.2403 | 167.172 | 0.37567 | 9.3009 | 26.46 | 963.128 | 55.8568 | 9.9465
2019-04-07 15:30:00 | 0 | 186.918 | 5.729 | 221.311 | 8.2857 | 171.36 | 5.4733 | 14.7304 | 26.46 | 962.832 | 56.1978 | 12.0969
2019-04-07 15:45:00 | 0 | 150.786 | 6.2403 | 197.085 | 5.9847 | 149.739 | 1.894 | 330.692 | 26.46 | 962.683 | 56.607 | 9.4625
2019-04-07 16:00:00 | 0 | 190.619 | 5.729 | 233.023 | 5.9847 | 165.2 | 0 | 33.0644 | 26.46 | 962.683 | 56.5388 | 8.8713
2019-04-07 16:15:00 | 0 | 175.28 | 5.2177 | 224.623 | 4.962 | 168.779 | 2.661 | 356.793 | 26.46 | 962.683 | 55.1748 | 9.2593
2019-04-07 16:30:00 | 0 | 155.461 | 4.962 | 221.433 | 7.0073 | 165.37 | 0.37567 | 335.562 | 26.46 | 962.387 | 55.6181 | 9.2704
2019-04-07 16:45:00 | 0 | 175.28 | 5.729 | 213.569 | 5.4733 | 164.883 | 0 | 3.0191 | 26.46 | 962.238 | 55.0384 | 9.7987
2019-04-07 17:00:00 | 0 | 140.024 | 4.7063 | 197.621 | 4.962 | 153.586 | 1.2627 | 321.44 | 26.46 | 962.09 | 54.9702 | 10.0204
2019-04-07 17:15:00 | 0 | 136.908 | 5.729 | 186.226 | 5.4733 | 152.929 | 3.6837 | 326.285 | 26.46 | 962.09 | 55.9591 | 10.0574
2019-04-07 17:30:00 | 0 | 141.753 | 7.7743 | 185.617 | 7.5187 | 140.146 | 5.729 | 330.497 | 26.46 | 962.387 | 56.948 | 15.6033
2019-04-07 17:45:00 | 0 | 167.442 | 6.496 | 194.458 | 7.0073 | 142.704 | 0 | 324.95 | 26.46 | 961.846 | 57.1533 | 21.7368
2019-04-07 18:00:00 | 0.372 | 166.225 | 6.496 | 223.469 | 7.263 | 157.459 | 4.962 | 339.927 | 26.46 | 961.641 | 57.162 | 28.3875
2019-04-07 18:15:00 | 0 | 173.021 | 7.263 | 214.217 | 5.729 | 148.036 | 4.7063 | 354.224 | 26.46 | 961.79 | 58.2537 | 31.7535
2019-04-07 18:30:00 | 0 | 171.44 | 8.797 | 226.918 | 7.7743 | 153.295 | 5.2177 | 321.178 | 26.46 | 961.196 | 59.5248 | 33.7118
2019-04-07 18:45:00 | 0 | 183.548 | 7.7743 | 229.65 | 9.0527 | 148.938 | 4.4507 | 345.321 | 26.46 | 961.363 | 61.4702 | 34.1219
2019-04-07 19:00:00 | 0 | 145.163 | 9.564 | 189.17 | 8.797 | 123.291 | 4.195 | 323.766 | 26.46 | 961.736 | 62.4936 | 32.5036
2019-04-07 19:15:00 | 0 | 162.114 | 7.263 | 210.165 | 7.263 | 132.156 | 5.9847 | 343.762 | 26.46 | 962.083 | 63.1076 | 32.7881
2019-04-07 19:30:00 | 0 | 154.004 | 8.03 | 203.053 | 7.263 | 135.761 | 5.729 | 334.02 | 26.46 | 962.083 | 64.3357 | 32.389
2019-04-07 19:45:00 | 0 | 159.389 | 8.5413 | 203.812 | 7.263 | 134.838 | 5.9847 | 340.285 | 26.46 | 962.083 | 64.2685 | 34.1958
2019-04-07 20:00:00 | 0 | 149.917 | 7.263 | 199.09 | 6.2403 | 136.447 | 4.7063 | 330.109 | 26.46 | 962.529 | 64.8494 | 32.3114
2019-04-07 20:15:00 | 0 | 164.388 | 5.729 | 205.792 | 3.9393 | 138.277 | 5.729 | 310.848 | 26.46 | 962.825 | 65.3963 | 27.3899
2019-04-07 20:30:00 | 0 | 148.672 | 6.496 | 202.96 | 5.9847 | 138.37 | 3.1723 | 322.895 | 26.46 | 963.271 | 66.4518 | 22.642
2019-04-07 20:45:00 | 2.4147 | 148.314 | 5.2177 | 190.11 | 4.962 | 135.965 | 3.1723 | 328.171 | 26.46 | 963.419 | 67.2737 | 18.1639
2019-04-07 21:00:00 | 0.372 | 144.666 | 4.7063 | 200.446 | 3.1723 | 138.552 | 3.428 | 328.355 | 26.46 | 963.716 | 67.9588 | 18.9139
2019-04-07 21:15:00 | 0 | 152.838 | 5.2177 | 194.325 | 3.6837 | 139.732 | 4.962 | 327.09 | 26.46 | 963.568 | 67.8276 | 15.0269
2019-04-07 21:30:00 | 0.744 | 148.389 | 6.496 | 195.799 | 6.2403 | 140.131 | 5.2177 | 327.28 | 26.46 | 963.568 | 66.6033 | 13.2091
2019-04-07 21:45:00 | 0 | 136.728 | 3.428 | 192.207 | 4.195 | 139.944 | 0.63133 | 295.774 | 26.46 | 963.864 | 65.7885 | 8.3319
2019-04-07 22:00:00 | 0 | 128.835 | 5.9847 | 178.929 | 4.7063 | 136.729 | 1.774 | 319.213 | 26.46 | 963.864 | 65.3451 | 5.7529
2019-04-07 22:15:00 | 0 | 142.28 | 6.496 | 191.666 | 5.4733 | 137.212 | 2.2853 | 328.218 | 26.46 | 963.864 | 65.7186 | 5.6162
2019-04-07 22:30:00 | 0 | 138.674 | 4.962 | 194.273 | 4.7063 | 139.21 | 5.729 | 329.291 | 26.46 | 963.864 | 66.1283 | 9.4847
2019-04-07 22:45:00 | 0 | 140.816 | 4.962 | 215.367 | 4.195 | 138.501 | 4.7063 | 328.505 | 26.46 | 963.864 | 67.2188 | 12.4221
2019-04-07 23:00:00 | 0.62733 | 137.607 | 4.7063 | 202.516 | 4.4507 | 139.215 | 1.127 | 318.047 | 26.46 | 963.864 | 67.5638 | 10.534
2019-04-07 23:15:00 | 3.2973 | 142.58 | 4.4507 | 197.378 | 4.195 | 139.802 | 4.4507 | 326.335 | 26.46 | 964.013 | 68.3155 | 13.2312
2019-04-07 23:30:00 | 0 | 140.948 | 4.962 | 200.839 | 5.2177 | 140.534 | 1.127 | 324.168 | 26.46 | 964.31 | 67.3604 | 14.6464
2019-04-07 23:45:00 | 0 | 153.106 | 4.4507 | 194.212 | 3.9393 | 139.194 | 0.75133 | 334.816 | 26.46 | 963.864 | 66.405 | 14.2732