## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-08 00:00:00 | 0 | 132.762 | 4.962 | 193.749 | 3.9393 | 139.559 | 2.4053 | 328.14 | 26.46 | 963.864 | 66.405 | 15.3964
2019-04-08 00:15:00 | 2.1593 | 140.193 | 6.2403 | 187.244 | 5.4733 | 140.193 | 5.9847 | 330.065 | 26.46 | 963.864 | 67.6335 | 17.739
2019-04-08 00:30:00 | 0.744 | 148.842 | 6.7517 | 196.161 | 5.9847 | 139.657 | 4.195 | 327.629 | 26.46 | 963.864 | 67.7017 | 19.4423
2019-04-08 00:45:00 | 0 | 147.673 | 5.4733 | 195.625 | 4.4507 | 141.07 | 5.4733 | 332.282 | 26.46 | 963.864 | 66.951 | 18.6516
2019-04-08 01:00:00 | 9.2867 | 150.207 | 7.5187 | 189.388 | 6.496 | 140.12 | 4.4507 | 336.181 | 26.46 | 963.716 | 67.1216 | 19.0321
2019-04-08 01:15:00 | 0.372 | 149.013 | 5.4733 | 198.841 | 5.729 | 141.289 | 2.9167 | 330.796 | 26.46 | 963.737 | 64.5965 | 20.281
2019-04-08 01:30:00 | 3.414 | 140.266 | 7.7743 | 182.858 | 7.0073 | 140.558 | 5.9847 | 331.6 | 26.46 | 963.583 | 66.405 | 19.3905
2019-04-08 01:45:00 | 0 | 135.076 | 7.0073 | 175.89 | 5.729 | 134.272 | 2.541 | 322.39 | 26.46 | 963.899 | 63.641 | 22.2171
2019-04-08 02:00:00 | 0 | 133.956 | 5.9847 | 181.762 | 5.2177 | 135.076 | 3.0523 | 326.946 | 26.46 | 963.592 | 62.8903 | 21.9363
2019-04-08 02:15:00 | 0 | 144.92 | 6.2403 | 185.295 | 4.4507 | 138.049 | 4.962 | 320.271 | 26.46 | 963.63 | 62.7538 | 20.8352
2019-04-08 02:30:00 | 0 | 131.422 | 4.962 | 182.225 | 5.729 | 132.104 | 0.37567 | 320.563 | 26.46 | 963.667 | 63.8799 | 17.3473
2019-04-08 02:45:00 | 0 | 106.376 | 2.1497 | 174.965 | 0.37567 | 128.158 | 0 | 287.502 | 26.46 | 963.665 | 64.9041 | 17.0702
2019-04-08 03:00:00 | 0 | 138.44 | 2.1497 | 201.913 | 0 | 128.304 | 0 | 330.36 | 26.46 | 963.46 | 63.4026 | 14.0256
2019-04-08 03:15:00 | 0 | 62.5948 | 2.4053 | 137.937 | 0 | 125.238 | 0 | 269.823 | 26.46 | 963.526 | 64.9745 | 10.2532
2019-04-08 03:30:00 | 0 | 110.525 | 2.4053 | 154.999 | 1.3827 | 124.853 | 0 | 295.295 | 26.46 | 963.544 | 67.7751 | 6.3293
2019-04-08 03:45:00 | 0 | 91.668 | 1.894 | 125.567 | 0.75133 | 124.904 | 0 | 278.099 | 26.46 | 963.852 | 64.0226 | 8.1989
2019-04-08 04:00:00 | 0 | 111.324 | 2.1497 | 156.647 | 1.894 | 124.749 | 0 | 296.475 | 26.46 | 963.779 | 63.5404 | 7.1828
2019-04-08 04:15:00 | 0 | 90.32 | 2.1497 | 129.258 | 0 | 124.796 | 0 | 282.899 | 26.46 | 964.106 | 63.1981 | 6.95
2019-04-08 04:30:00 | 0 | 98.4324 | 3.6837 | 137.492 | 2.9167 | 124.746 | 0 | 292.13 | 26.46 | 964.035 | 62.3444 | 5.982
2019-04-08 04:45:00 | 0 | 75.1157 | 2.661 | 114.833 | 2.9167 | 121.53 | 0 | 250.516 | 26.46 | 964.073 | 61.9691 | 4.5003
2019-04-08 05:00:00 | 0 | 72.2406 | 2.9167 | 123.458 | 2.661 | 121.554 | 0 | 254 | 26.46 | 964.037 | 62.7197 | 2.2908
2019-04-08 05:15:00 | 0 | 67.5383 | 2.9167 | 133.642 | 2.4053 | 121.579 | 0 | 260.7 | 26.46 | 964.296 | 65.0743 | 2.8118
2019-04-08 05:30:00 | 0 | 60.2785 | 3.1723 | 115.907 | 1.3827 | 121.629 | 0 | 239.701 | 26.46 | 964.299 | 64.0515 | 1.6664
2019-04-08 05:45:00 | 0 | 84.9345 | 2.4053 | 137.297 | 1.3827 | 121.627 | 0 | 260.066 | 26.46 | 964.574 | 64.2211 | 1.7033
2019-04-08 06:00:00 | 0 | 71.1686 | 4.7063 | 121.655 | 3.428 | 114.172 | 0 | 252.319 | 26.46 | 964.532 | 64.2895 | 4.4375
2019-04-08 06:15:00 | 0 | 34.8899 | 4.195 | 81.3561 | 1.6383 | 114.123 | 0 | 221.034 | 26.46 | 964.558 | 66.0297 | 3.9941
2019-04-08 06:30:00 | 0 | 44.782 | 5.9847 | 90.4201 | 2.9167 | 112.467 | 3.5637 | 226.322 | 26.46 | 964.542 | 65.0403 | 5.7159
2019-04-08 06:45:00 | 0 | 44.8306 | 3.9393 | 103.625 | 3.428 | 111.784 | 1.654 | 235.824 | 26.46 | 964.491 | 65.4496 | 3.2404
2019-04-08 07:00:00 | 0 | 46.9747 | 3.428 | 97.0468 | 1.894 | 111.833 | 0 | 246.13 | 26.46 | 964.904 | 64.9719 | 1.3154
2019-04-08 07:15:00 | 0 | 11.3538 | 1.127 | 48.123 | 0 | 112.125 | 0 | 195.647 | 26.46 | 965.349 | 65.3814 | -0.2143
2019-04-08 07:30:00 | 0 | 5.9449 | 0 | 76.3858 | 0 | 112.661 | 0 | 195.354 | 26.46 | 965.646 | 64.4941 | -0.27342
2019-04-08 07:45:00 | 0 | 237.943 | 1.894 | 312.965 | 1.894 | 134.711 | 0 | 32.1123 | 26.46 | 965.943 | 72.1379 | -0.26233
2019-04-08 08:00:00 | 0 | 261.918 | 1.6383 | 330.946 | 2.1497 | 134.687 | 0 | 30.6992 | 26.46 | 965.943 | 75.3114 | 0.65768
2019-04-08 08:15:00 | 0 | 209.486 | 1.127 | 330.653 | 1.894 | 134.102 | 0 | 16.3729 | 26.46 | 965.694 | 83.467 | 1.2636
2019-04-08 08:30:00 | 0 | 209.322 | 0.75133 | 12.2023 | 0 | 134.049 | 0 | 17.277 | 26.46 | 965.934 | 82.1826 | 2.1282
2019-04-08 08:45:00 | 0 | 22.809 | 2.661 | 44.0407 | 3.428 | 110.731 | 0 | 207.596 | 26.46 | 965.941 | 79.5222 | 3.9313
2019-04-08 09:00:00 | 0.372 | 5.1661 | 3.1723 | 56.9073 | 3.428 | 107.246 | 5.2177 | 193.852 | 26.46 | 965.792 | 81.57 | 3.1886
2019-04-08 09:15:00 | 0 | 20.0552 | 3.428 | 71.4303 | 3.6837 | 107.611 | 0 | 205.742 | 26.46 | 966.238 | 79.8628 | 2.1984
2019-04-08 09:30:00 | 0 | 28.633 | 4.195 | 74.7449 | 3.6837 | 107.49 | 2.661 | 213.736 | 26.46 | 966.386 | 73.8564 | 1.7809
2019-04-08 09:45:00 | 0 | 24.0753 | 3.428 | 94.4553 | 3.428 | 107.462 | 0 | 202.447 | 26.46 | 966.386 | 69.8611 | -0.022169
2019-04-08 10:00:00 | 0 | 15.3032 | 0.75133 | 89.0967 | 2.1497 | 107.805 | 0 | 174.404 | 26.46 | 966.386 | 66.279 | -0.16627
2019-04-08 10:15:00 | 0 | 54.3897 | 2.9167 | 106.861 | 2.661 | 108.097 | 0 | 174.427 | 26.46 | 966.534 | 61.9784 | 0.0073897
2019-04-08 10:30:00 | 0 | 88.7257 | 2.1497 | 63.3159 | 2.661 | 108.196 | 0 | 176.184 | 26.46 | 966.534 | 60.6482 | 0.025864
2019-04-08 10:45:00 | 3.414 | 15.8883 | 3.6837 | 66.411 | 3.6837 | 107.807 | 1.6383 | 245.709 | 26.46 | 966.534 | 59.5222 | 0.059118
2019-04-08 11:00:00 | 0 | 44.2038 | 3.1723 | 64.996 | 3.428 | 107.658 | 0 | 243.438 | 26.46 | 966.237 | 60.1012 | 0.018474
2019-04-08 11:15:00 | 11.5847 | 17.0578 | 2.1497 | 59.1484 | 3.1723 | 107.806 | 0 | 218.657 | 26.46 | 965.941 | 59.9311 | 0.94588
2019-04-08 11:30:00 | 0 | 328.026 | 2.661 | 40.0442 | 2.4053 | 107.563 | 0 | 185.542 | 26.46 | 965.941 | 62.2525 | 3.6616
2019-04-08 11:45:00 | 0 | 15.5957 | 3.6837 | 61.6579 | 4.195 | 106.587 | 0 | 201.087 | 26.46 | 965.495 | 64.7772 | 4.3045
2019-04-08 12:00:00 | 0.99933 | 349.08 | 4.962 | 31.0106 | 4.195 | 105.482 | 2.661 | 175.844 | 26.46 | 965.644 | 70.7949 | 8.2949
2019-04-08 12:15:00 | 0 | 353.21 | 5.9847 | 47.0738 | 2.4053 | 104.754 | 5.4733 | 169.708 | 26.46 | 965.495 | 71.7529 | 11.9713
2019-04-08 12:30:00 | 0 | 0.31685 | 5.2177 | 45.3921 | 4.4507 | 102.561 | 0.63133 | 175.508 | 26.46 | 965.347 | 66.4277 | 10.8259
2019-04-08 12:45:00 | 0 | 0.14624 | 6.2403 | 58.3828 | 5.9847 | 100.611 | 1.774 | 167.075 | 26.46 | 965.347 | 67.7249 | 12.9948
2019-04-08 13:00:00 | 0.372 | 0.097491 | 6.2403 | 57.7004 | 5.9847 | 98.5391 | 2.0297 | 174.582 | 26.46 | 965.347 | 71.0019 | 17.1441
2019-04-08 13:15:00 | 0 | 339.415 | 4.4507 | 97.6717 | 1.894 | 97.8323 | 5.729 | 126.933 | 26.46 | 965.347 | 75.2688 | 22.8194
2019-04-08 13:30:00 | 15.4147 | 356.89 | 7.7743 | 44.5147 | 6.2403 | 89.838 | 6.2403 | 149.015 | 26.46 | 964.485 | 76.566 | 25.5129
2019-04-08 13:45:00 | 1.3933 | 0.26811 | 7.7743 | 51.8536 | 5.2177 | 85.7954 | 1.774 | 179.756 | 26.46 | 964.341 | 81.0408 | 31.6242
2019-04-08 14:00:00 | 0 | 4.1929 | 5.9847 | 54.6182 | 4.962 | 82.2482 | 5.4733 | 188.02 | 26.46 | 964.38 | 79.1743 | 30.6561
2019-04-08 14:15:00 | 0 | 15.5525 | 6.7517 | 65.7824 | 4.962 | 78.0549 | 3.5637 | 197.868 | 26.46 | 964.146 | 78.8665 | 32.2966
2019-04-08 14:30:00 | 5.34 | 3.6565 | 7.0073 | 62.9059 | 5.4733 | 68.8404 | 8.2857 | 187.166 | 26.46 | 964.132 | 81.8027 | 34.1256
2019-04-08 14:45:00 | 0 | 1.8283 | 5.729 | 59.4211 | 3.9393 | 57.3841 | 5.9847 | 192.385 | 26.46 | 964.14 | 76.3411 | 22.6088
2019-04-08 15:00:00 | 0 | 5.1681 | 4.7063 | 62.5184 | 4.195 | 51.3881 | 0.37567 | 193.315 | 26.46 | 963.83 | 72.0405 | 20.0002
2019-04-08 15:15:00 | 0 | 9.3602 | 5.729 | 65.2652 | 4.4507 | 49.9208 | 5.729 | 198.489 | 26.46 | 963.602 | 78.6568 | 20.3882
2019-04-08 15:30:00 | 0.372 | 346.159 | 5.4733 | 25.8019 | 5.2177 | 16.2829 | 5.729 | 181.721 | 26.46 | 963.91 | 76.4727 | 14.9752
2019-04-08 15:45:00 | 0.372 | 10.1885 | 6.2403 | 66.9679 | 5.4733 | 18.1102 | 1.5183 | 195.117 | 26.46 | 963.448 | 71.2115 | 19.4053
2019-04-08 16:00:00 | 0 | 19.2065 | 5.9847 | 61.7738 | 5.4733 | 11.6019 | 2.2853 | 207.664 | 26.46 | 962.987 | 74.3501 | 11.0956
2019-04-08 16:15:00 | 0.372 | 4.631 | 3.9393 | 40.7147 | 3.1723 | 3.0223 | 5.729 | 207.444 | 26.46 | 963.271 | 76.2615 | 10.582
2019-04-08 16:30:00 | 0 | 23.861 | 4.7063 | 74.1767 | 2.1497 | 12.0889 | 0 | 207.535 | 26.46 | 963.314 | 74.6888 | 9.1891
2019-04-08 16:45:00 | 0 | 7.1169 | 4.7063 | 57.3106 | 3.6837 | 0.31685 | 1.007 | 188.572 | 26.46 | 963.18 | 75.3031 | 10.7114
2019-04-08 17:00:00 | 0.744 | 0.097491 | 3.6837 | 49.8036 | 3.9393 | 16.3541 | 2.2853 | 189.62 | 26.46 | 963.352 | 77.5218 | 9.4108
2019-04-08 17:15:00 | 0 | 352.479 | 5.4733 | 36.0574 | 5.4733 | 349.286 | 4.7063 | 183.21 | 26.46 | 963.343 | 80.355 | 11.7385
2019-04-08 17:30:00 | 0 | 12.0889 | 4.4507 | 60.0402 | 3.9393 | 13.8194 | 0.63133 | 204.098 | 26.46 | 963.608 | 81.106 | 7.5597
2019-04-08 17:45:00 | 0 | 23.0079 | 4.7063 | 75.2488 | 3.9393 | 25.5914 | 1.6383 | 208.192 | 26.46 | 963.294 | 81.6522 | 5.4388
2019-04-08 18:00:00 | 0 | 16.5735 | 4.195 | 65.914 | 3.6837 | 16.2323 | 1.2627 | 194.178 | 26.46 | 963.345 | 82.0618 | 3.9424
2019-04-08 18:15:00 | 0 | 351.312 | 4.4507 | 22.2627 | 4.4507 | 3.3147 | 0 | 186.624 | 26.46 | 963.937 | 80.6971 | 3.0002
2019-04-08 18:30:00 | 0 | 351.894 | 4.7063 | 36.4717 | 4.195 | 0.048745 | 2.541 | 174.363 | 26.46 | 963.874 | 78.9213 | 4.4338
2019-04-08 18:45:00 | 0 | 12.552 | 4.195 | 60.8201 | 3.6837 | 17.1097 | 0.37567 | 195.86 | 26.46 | 963.959 | 82.3349 | 5.5127
2019-04-08 19:00:00 | 0 | 356.866 | 4.7063 | 48.6337 | 2.661 | 0.048745 | 0 | 184.794 | 26.46 | 963.597 | 75.5419 | 7.0941
2019-04-08 19:15:00 | 0 | 2.8273 | 3.9393 | 45.2223 | 3.9393 | 355.993 | 0 | 194.643 | 26.46 | 963.89 | 69.7056 | 3.5729
2019-04-08 19:30:00 | 0 | 6.3371 | 3.1723 | 50.975 | 3.428 | 7.0195 | 0.63133 | 213.559 | 26.46 | 964.17 | 71.14 | 4.0643
2019-04-08 19:45:00 | 0 | 354.078 | 3.428 | 55.0713 | 3.1723 | 0.048748 | 0 | 181.292 | 26.46 | 964.184 | 72.1656 | 5.4019
2019-04-08 20:00:00 | 0 | 352.188 | 4.4507 | 34.2541 | 2.4053 | 1.9011 | 3.1723 | 176.484 | 26.46 | 964.62 | 69.9099 | 9.9835
2019-04-08 20:15:00 | 0 | 67.078 | 3.9393 | 48.2967 | 3.428 | 13.4302 | 1.774 | 182.539 | 26.46 | 964.776 | 71.1087 | 10.8887
2019-04-08 20:30:00 | 0 | 2.8277 | 3.6837 | 53.6417 | 3.9393 | 12.5296 | 1.3827 | 191.502 | 26.46 | 965.161 | 70.5351 | 5.5016
2019-04-08 20:45:00 | 0 | 12.676 | 3.6837 | 55.4707 | 3.6837 | 13.066 | 3.9393 | 195.966 | 26.46 | 964.95 | 71.2187 | 5.9376
2019-04-08 21:00:00 | 0.62733 | 6.6305 | 3.428 | 51.4976 | 3.6837 | 4.5829 | 4.4507 | 214.127 | 26.46 | 965.41 | 70.1947 | 4.7035
2019-04-08 21:15:00 | 0.372 | 13.8461 | 3.9393 | 58.7863 | 3.1723 | 6.8012 | 0 | 196.039 | 26.46 | 965.45 | 72.7553 | 4.9991
2019-04-08 21:30:00 | 0 | 18.819 | 3.6837 | 69.0734 | 3.428 | 10.9696 | 3.428 | 270.925 | 26.46 | 965.628 | 70.2971 | 4.6851
2019-04-08 21:45:00 | 0 | 95.4373 | 3.1723 | 84.9932 | 3.1723 | 20.9645 | 2.0297 | 272.149 | 26.46 | 965.047 | 72.5175 | 1.0235
2019-04-08 22:00:00 | 0 | 125.084 | 3.6837 | 169.929 | 2.4053 | 48.4635 | 0 | 301.507 | 26.46 | 965.493 | 68.2516 | -0.25125
2019-04-08 22:15:00 | 0 | 111.77 | 2.1497 | 140.086 | 1.6383 | 50.3637 | 0 | 295.308 | 26.46 | 965.623 | 61.3873 | 0.45077
2019-04-08 22:30:00 | 0 | 144.338 | 2.9167 | 186.696 | 2.9167 | 53.6302 | 0 | 316.857 | 26.46 | 965.448 | 54.7979 | 0.48402
2019-04-08 22:45:00 | 0 | 117.773 | 1.6383 | 160.145 | 0 | 49.8196 | 0 | 289.144 | 26.46 | 965.36 | 55.1649 | 0.33623
2019-04-08 23:00:00 | 0 | 151.94 | 1.3827 | 167.402 | 0 | 50.2079 | 0 | 321.989 | 26.46 | 965.422 | 62.6046 | 1.3966
2019-04-08 23:15:00 | 0 | 153.378 | 2.4053 | 198.136 | 0 | 50.3541 | 0 | 329.52 | 26.46 | 965.466 | 58.9862 | 1.0641
2019-04-08 23:30:00 | 0 | 141.484 | 3.428 | 193.31 | 1.127 | 50.5004 | 0 | 327.789 | 26.46 | 965.415 | 61.6146 | 2.8192
2019-04-08 23:45:00 | 0 | 137.414 | 3.6837 | 191.97 | 3.1723 | 58.6409 | 0 | 314.531 | 26.46 | 965.409 | 39.3241 | 5.4684