## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-09 00:00:00 | 0 | 113.504 | 3.428 | 180.88 | 2.9167 | 58.1047 | 3.1723 | 308.681 | 26.46 | 964.768 | 33.1115 | 19.6677
2019-04-09 00:15:00 | 0 | 105.632 | 5.2177 | 156.654 | 3.428 | 60.6394 | 0 | 296.909 | 26.46 | 964.487 | 32.4288 | 14.2141
2019-04-09 00:30:00 | 0 | 100.416 | 3.6837 | 120.923 | 3.6837 | 59.4696 | 0 | 264.055 | 26.46 | 964.183 | 35.8423 | 7.1791
2019-04-09 00:45:00 | 0 | 33.5421 | 3.1723 | 90.3771 | 2.9167 | 60.4539 | 0 | 222.85 | 26.46 | 963.884 | 39.3985 | 4.0976
2019-04-09 01:00:00 | 0 | 33.4457 | 2.4053 | 89.7224 | 0 | 18.3805 | 0 | 223.784 | 26.46 | 963.854 | 56.4708 | 2.5938
2019-04-09 01:15:00 | 0 | 51.8762 | 1.3827 | 100.622 | 1.3827 | 19.161 | 0 | 231.249 | 26.46 | 963.856 | 44.6587 | 0.95696
2019-04-09 01:30:00 | 0 | 67.5007 | 1.127 | 139.769 | 0 | 12.4812 | 0 | 229.805 | 26.46 | 964.005 | 44.521 | 0.2143
2019-04-09 01:45:00 | 0 | 351.565 | 1.6383 | 29.9242 | 1.894 | 8.1419 | 0 | 186.655 | 26.46 | 964.002 | 50.1197 | -0.26233
2019-04-09 02:00:00 | 0 | 340.643 | 2.661 | 6.5221 | 2.661 | 7.5568 | 0 | 161.375 | 26.46 | 964.132 | 53.1922 | 0.051728
2019-04-09 02:15:00 | 0 | 7.5326 | 1.6383 | 90.4294 | 1.127 | 46.0245 | 0 | 189.851 | 26.46 | 963.854 | 67.8059 | 0.63921
2019-04-09 02:30:00 | 0 | 344.112 | 2.1497 | 24.9276 | 1.6383 | 2.9253 | 0 | 162.232 | 26.46 | 963.413 | 70.879 | 0.19213
2019-04-09 02:45:00 | 0 | 318.752 | 2.9167 | 4.4538 | 2.9167 | 1.0728 | 0.63133 | 138.726 | 26.46 | 963.265 | 78.3322 | 0.22539
2019-04-09 03:00:00 | 0 | 331.436 | 2.661 | 18.8147 | 2.661 | 0.048762 | 0 | 144.165 | 26.46 | 963.413 | 80.8605 | 2.1652
2019-04-09 03:15:00 | 0.62733 | 347.625 | 4.7063 | 34.4429 | 3.6837 | 0.048762 | 1.2627 | 169.278 | 26.46 | 963.355 | 75.1921 | 4.5521
2019-04-09 03:30:00 | 0 | 336.727 | 2.4053 | 51.6072 | 0.75133 | 7.3143 | 0 | 165.743 | 26.46 | 963.508 | 78.4702 | 3.6099
2019-04-09 03:45:00 | 0 | 343.237 | 4.7063 | 33.4189 | 4.195 | 350.234 | 0.887 | 166.06 | 26.46 | 963.559 | 84.4801 | 9.9354
2019-04-09 04:00:00 | 0 | 341.238 | 3.1723 | 49.8031 | 3.1723 | 22.5038 | 1.007 | 164.158 | 26.46 | 963.559 | 85.2315 | 23.1113
2019-04-09 04:15:00 | 5.712 | 0.097548 | 5.729 | 69.7195 | 3.6837 | 20.6801 | 4.195 | 175.513 | 26.46 | 963.559 | 80.675 | 30.0539
2019-04-09 04:30:00 | 0 | 352.67 | 4.4507 | 43.388 | 3.1723 | 1.9268 | 1.2627 | 174.213 | 26.46 | 963.559 | 80.4781 | 23.0004
2019-04-09 04:45:00 | 0 | 3.756 | 4.4507 | 58.1681 | 4.962 | 18.7798 | 5.729 | 184.555 | 26.46 | 963.411 | 76.8574 | 27.3862
2019-04-09 05:00:00 | 0 | 354.378 | 4.7063 | 35.803 | 3.6837 | 0.048779 | 3.9393 | 181.14 | 26.46 | 963.559 | 75.9693 | 34.1261
2019-04-09 05:15:00 | 3.2973 | 13.8532 | 7.0073 | 72.0456 | 5.2177 | 3.9267 | 2.9167 | 191.554 | 26.46 | 962.965 | 83.9624 | 32.9588
2019-04-09 05:30:00 | 0 | 46.1448 | 7.0073 | 91.7523 | 3.9393 | 41.1449 | 0 | 220.919 | 26.46 | 962.977 | 81.2297 | 21.0516
2019-04-09 05:45:00 | 0 | 43.5638 | 6.2403 | 91.5437 | 3.1723 | 15.1229 | 0 | 221.892 | 26.46 | 963.152 | 82.3309 | 21.3045
2019-04-09 06:00:00 | 0 | 24.6883 | 7.0073 | 71.7518 | 4.4507 | 46.0589 | 1.774 | 208.948 | 26.46 | 963.1 | 83.3003 | 29.7989
2019-04-09 06:15:00 | 0 | 40.4729 | 7.0073 | 119.154 | 2.9167 | 59.1358 | 2.661 | 221.344 | 26.46 | 962.962 | 84.4633 | 27.8887
2019-04-09 06:30:00 | 0 | 21.2731 | 7.5187 | 68.0197 | 6.2403 | 2.1712 | 4.962 | 199.703 | 26.46 | 963.258 | 85.3508 | 29.8877
2019-04-09 06:45:00 | 6.478 | 7.9288 | 7.5187 | 60.9225 | 4.4507 | 36.7408 | 4.4507 | 186.924 | 26.46 | 963.259 | 88.633 | 29.8691
2019-04-09 07:00:00 | 3.9247 | 22.1043 | 9.0527 | 78.9813 | 3.9393 | 13.5407 | 3.1723 | 204.404 | 26.46 | 963.213 | 90.6199 | 42.5091
2019-04-09 07:15:00 | 3.1587 | 32.4002 | 8.797 | 76.1271 | 4.962 | 326.881 | 4.195 | 225.411 | 26.46 | 962.657 | 91.9528 | 46.7944
2019-04-09 07:30:00 | 9.7973 | 13.7359 | 9.8197 | 72.443 | 5.4733 | 322.319 | 5.2177 | 202.233 | 26.46 | 962.514 | 90.4152 | 44.7187
2019-04-09 07:45:00 | 2.276 | 44.9406 | 6.2403 | 84.8859 | 3.9393 | 303.727 | 1.007 | 214.92 | 26.46 | 962.664 | 90.5518 | 24.349
2019-04-09 08:00:00 | 13.372 | 10.979 | 7.7743 | 63.3427 | 5.729 | 306.289 | 5.4733 | 197.719 | 26.46 | 963.11 | 90.0051 | 20.2182
2019-04-09 08:15:00 | 5.712 | 18.1763 | 8.03 | 68.5394 | 3.428 | 307.851 | 0.75133 | 192.767 | 26.46 | 963.242 | 91.5086 | 24.9735
2019-04-09 08:30:00 | 5.2013 | 23.0803 | 6.7517 | 53.9495 | 4.7063 | 310.608 | 1.007 | 176.005 | 26.46 | 963.693 | 94.0372 | 20.4251
2019-04-09 08:45:00 | 2.3927 | 1.6834 | 5.9847 | 59.7782 | 4.7063 | 310.94 | 4.7063 | 187.955 | 26.46 | 963.846 | 96.0162 | 22.2319
2019-04-09 09:00:00 | 9.2867 | 354.63 | 6.496 | 50.3601 | 7.5187 | 312.375 | 5.2177 | 177.876 | 26.46 | 964.127 | 96.6642 | 32.7844
2019-04-09 09:15:00 | 0.62733 | 11.5885 | 6.7517 | 65.3889 | 7.0073 | 314.841 | 5.9847 | 182.293 | 26.46 | 964.144 | 97.109 | 40.0056
2019-04-09 09:30:00 | 0 | 19.7376 | 7.0073 | 49.6305 | 6.2403 | 316.289 | 1.3827 | 181.64 | 26.46 | 964.447 | 97.5901 | 44.6522
2019-04-09 09:45:00 | 7.7547 | 0.17077 | 9.0527 | 63.9465 | 7.263 | 320.221 | 1.894 | 173.065 | 26.46 | 964.43 | 98.0622 | 51.7767
2019-04-09 10:00:00 | 7.244 | 351.344 | 9.8197 | 64.5362 | 7.5187 | 322.701 | 6.7517 | 174.733 | 26.46 | 964.431 | 98.5454 | 54.4103
2019-04-09 10:15:00 | 13.6273 | 3.6351 | 7.0073 | 66.0958 | 10.331 | 326.33 | 6.496 | 171.533 | 26.46 | 964.427 | 98.6459 | 49.4149
2019-04-09 10:30:00 | 5.9673 | 355.411 | 7.5187 | 83.1493 | 9.3083 | 330.673 | 3.6837 | 175.949 | 26.46 | 964.744 | 99.022 | 58.0977
2019-04-09 10:45:00 | 4.4353 | 0.46354 | 8.03 | 73.9757 | 7.5187 | 334.843 | 5.4733 | 175.046 | 26.46 | 964.594 | 99.0899 | 64.996
2019-04-09 11:00:00 | 4.946 | 343.345 | 7.263 | 48.0445 | 7.5187 | 329.17 | 4.962 | 173.905 | 26.46 | 964.439 | 99.3666 | 73.5944
2019-04-09 11:15:00 | 6.7333 | 347.789 | 9.564 | 56.9015 | 7.263 | 334.59 | 3.428 | 168.978 | 26.46 | 964.401 | 99.5727 | 75.1162
2019-04-09 11:30:00 | 7.244 | 24.1782 | 10.0753 | 76.8346 | 10.331 | 333.468 | 3.9393 | 169.442 | 26.46 | 964.148 | 99.7095 | 75.7821
2019-04-09 11:45:00 | 5.2013 | 353.816 | 10.331 | 39.0425 | 13.6547 | 339.348 | 4.7063 | 174.2 | 26.46 | 963.853 | 99.812 | 78.5857
2019-04-09 12:00:00 | 7.244 | 352.011 | 12.1207 | 54.8767 | 11.098 | 346.082 | 5.4733 | 185.106 | 26.46 | 963.556 | 99.8462 | 81.7078
2019-04-09 12:15:00 | 6.2227 | 355.621 | 10.8423 | 68.7834 | 8.5413 | 351.596 | 4.7063 | 178.787 | 26.46 | 963.556 | 99.9146 | 80.4959
2019-04-09 12:30:00 | 5.9673 | 348.278 | 10.8423 | 53.5104 | 10.331 | 356.939 | 5.9847 | 180.397 | 26.46 | 963.853 | 99.9146 | 81.7078
2019-04-09 12:45:00 | 6.7333 | 18.1274 | 12.1207 | 85.4461 | 9.0527 | 355.472 | 4.195 | 172.173 | 26.46 | 963.853 | 99.9137 | 80.7102
2019-04-09 13:00:00 | 6.2227 | 352.669 | 11.865 | 59.3902 | 12.3763 | 7.1241 | 5.729 | 180.275 | 26.46 | 963.517 | 99.8462 | 75.5559
2019-04-09 13:15:00 | 6.478 | 13.1991 | 14.6773 | 70.3932 | 8.2857 | 2.1226 | 4.962 | 175.175 | 26.46 | 963.852 | 99.3674 | 80.6939
2019-04-09 13:30:00 | 5.4567 | 9.1246 | 9.0527 | 68.3184 | 7.263 | 355.274 | 0.75133 | 178.954 | 26.46 | 963.844 | 99.2295 | 81.7115
2019-04-09 13:45:00 | 6.9887 | 1.3906 | 12.1207 | 61.8287 | 13.399 | 2.7325 | 4.7063 | 180.979 | 26.46 | 963.69 | 98.7512 | 74.387
2019-04-09 14:00:00 | 6.478 | 356.918 | 11.865 | 52.8473 | 13.1433 | 0.19517 | 6.2403 | 180.41 | 26.46 | 963.223 | 98.2001 | 76.925
2019-04-09 14:15:00 | 7.7547 | 353.981 | 9.564 | 68.3183 | 11.6093 | 15.5899 | 4.962 | 168.439 | 26.46 | 963.229 | 98.6827 | 84.8067
2019-04-09 14:30:00 | 5.2013 | 355.685 | 11.865 | 65.6582 | 13.6547 | 21.7134 | 5.4733 | 191.834 | 26.46 | 962.794 | 98.921 | 88.7982
2019-04-09 14:45:00 | 5.9673 | 9.0516 | 16.9783 | 63.9038 | 11.865 | 1.0247 | 5.2177 | 186.252 | 26.46 | 962.664 | 98.6502 | 89.5905
2019-04-09 15:00:00 | 4.946 | 14.8826 | 13.1433 | 54.1447 | 10.0753 | 6.319 | 5.729 | 179.519 | 26.46 | 962.07 | 96.5317 | 84.9566
2019-04-09 15:15:00 | 4.946 | 1.5615 | 15.7 | 51.1438 | 8.5413 | 9.1736 | 5.4733 | 186.423 | 26.46 | 963.249 | 91.782 | 86.5322
2019-04-09 15:30:00 | 5.2013 | 3.6109 | 12.3763 | 62.22 | 10.5867 | 14.663 | 5.2177 | 189.448 | 26.46 | 963.705 | 86.5877 | 82.7687
2019-04-09 15:45:00 | 5.4567 | 0.24396 | 10.331 | 68.0454 | 13.9103 | 0.80507 | 6.2403 | 179.775 | 26.46 | 963.389 | 84.8054 | 83.8213
2019-04-09 16:00:00 | 7.4993 | 354.706 | 10.331 | 68.5301 | 9.8197 | 13.1978 | 4.195 | 183.549 | 26.46 | 964.002 | 86.6815 | 83.5922
2019-04-09 16:15:00 | 5.9673 | 356.378 | 12.8877 | 65.039 | 12.632 | 13.3194 | 3.6837 | 178.86 | 26.46 | 963.827 | 87.7379 | 84.3845
2019-04-09 16:30:00 | 6.478 | 28.4935 | 11.865 | 65.6758 | 14.6773 | 0.04879 | 4.4507 | 180.402 | 26.46 | 963.824 | 88.0139 | 79.749
2019-04-09 16:45:00 | 8.2653 | 33.8597 | 12.3763 | 75.1145 | 12.3763 | 2.4882 | 4.4507 | 197.743 | 26.46 | 963.85 | 88.6268 | 78.7261
2019-04-09 17:00:00 | 6.2227 | 193.913 | 10.0753 | 78.0906 | 11.6093 | 3.4884 | 2.1497 | 170.372 | 26.46 | 964.891 | 88.3535 | 77.416
2019-04-09 17:15:00 | 6.9887 | 150.493 | 10.8423 | 38.5725 | 13.399 | 298.79 | 5.2177 | 166.984 | 26.46 | 964.721 | 88.2868 | 74.7061
2019-04-09 17:30:00 | 6.2227 | 0.097584 | 10.331 | 78.7308 | 10.8423 | 9.7584 | 1.894 | 177.603 | 26.46 | 965.191 | 89.1105 | 74.6802
2019-04-09 17:45:00 | 4.6907 | 344.137 | 9.564 | 83.0191 | 10.8423 | 18.9791 | 4.962 | 182.375 | 26.46 | 965.039 | 90.1992 | 66.8101
2019-04-09 18:00:00 | 3.414 | 0.09758 | 9.8197 | 51.3799 | 9.3083 | 0.12198 | 3.1723 | 188.915 | 26.46 | 965.04 | 90.7127 | 63.6559
2019-04-09 18:15:00 | 0.99933 | 346.434 | 7.0073 | 75.2627 | 6.7517 | 16.4911 | 1.3827 | 176.401 | 26.46 | 965.934 | 91.3619 | 58.4023
2019-04-09 18:30:00 | 6.2227 | 4.3668 | 11.865 | 48.8934 | 10.5867 | 353.932 | 4.7063 | 179.625 | 26.46 | 965.934 | 90.9883 | 65.1744
2019-04-09 18:45:00 | 5.4567 | 0 | 7.7743 | 60.3091 | 8.03 | 0.04879 | 4.7063 | 178.402 | 26.46 | 966.232 | 90.9525 | 57.4807
2019-04-09 19:00:00 | 8.776 | 354.115 | 8.797 | 49.7204 | 9.0527 | 5.7572 | 5.4733 | 168.958 | 26.46 | 966.826 | 90.336 | 58.3497
2019-04-09 19:15:00 | 7.244 | 1.4149 | 7.7743 | 68.2371 | 8.5413 | 1.9516 | 6.496 | 188.257 | 26.46 | 966.802 | 89.3804 | 63.3555
2019-04-09 19:30:00 | 3.6693 | 0.19516 | 9.8197 | 71.0684 | 8.03 | 8.0017 | 4.4507 | 177.111 | 26.46 | 966.96 | 87.9468 | 65.0752
2019-04-09 19:45:00 | 2.3927 | 14.5893 | 9.3083 | 82.6863 | 6.496 | 11.6861 | 2.9167 | 160.751 | 26.46 | 967.271 | 85.4231 | 67.142
2019-04-09 20:00:00 | 5.712 | 355.067 | 10.5867 | 63.436 | 9.3083 | 2.1469 | 5.2177 | 168.336 | 26.46 | 967.569 | 84.3969 | 64.3013
2019-04-09 20:15:00 | 4.4353 | 12.003 | 10.331 | 77.6586 | 7.5187 | 5.5868 | 4.962 | 183.509 | 26.46 | 968.015 | 83.9522 | 59.0496
2019-04-09 20:30:00 | 1.7653 | 356.45 | 7.0073 | 59.6529 | 8.2857 | 0.048792 | 2.7967 | 174.7 | 26.46 | 968.312 | 84.0534 | 53.8846
2019-04-09 20:45:00 | 1.51 | 10.4902 | 8.797 | 71.4602 | 7.263 | 357.009 | 3.9393 | 167.722 | 26.46 | 968.312 | 83.7797 | 50.0071
2019-04-09 21:00:00 | 0.744 | 117.733 | 7.7743 | 66.6286 | 7.263 | 356.809 | 4.4507 | 182.137 | 26.46 | 968.61 | 84.7352 | 51.2808
2019-04-09 21:15:00 | 2.3927 | 343.226 | 6.496 | 65.7516 | 7.7743 | 356.985 | 5.4733 | 178.09 | 26.46 | 968.312 | 85.4882 | 45.7902
2019-04-09 21:30:00 | 0 | 346.963 | 8.5413 | 51.6761 | 9.8197 | 0.048792 | 3.428 | 175.653 | 26.46 | 968.61 | 85.3526 | 39.7565
2019-04-09 21:45:00 | 0 | 61.8919 | 8.03 | 74.4602 | 5.9847 | 0.048792 | 0.37567 | 164.573 | 26.46 | 968.61 | 85.6242 | 30.1204
2019-04-09 22:00:00 | 9.2867 | 354.966 | 5.729 | 47.4802 | 7.0073 | 0.048793 | 5.9847 | 161.333 | 26.46 | 968.61 | 86.2755 | 30.5231
2019-04-09 22:15:00 | 8.01 | 4.7816 | 7.0073 | 66.727 | 5.2177 | 0.048792 | 5.2177 | 174.381 | 26.46 | 968.61 | 86.9227 | 30.2756
2019-04-09 22:30:00 | 1.882 | 346.307 | 7.5187 | 31.5984 | 6.496 | 353.602 | 2.4053 | 171.116 | 26.46 | 968.906 | 87.2667 | 31.8865
2019-04-09 22:45:00 | 2.648 | 353.196 | 6.496 | 62.7978 | 4.962 | 0.048791 | 4.7063 | 177.208 | 26.46 | 968.61 | 87.9462 | 29.9061
2019-04-09 23:00:00 | 0 | 341.865 | 3.9393 | 55.501 | 4.962 | 332.156 | 5.4733 | 176.104 | 26.46 | 969.203 | 89.1732 | 22.7344
2019-04-09 23:15:00 | 0 | 321.011 | 4.195 | 44.4072 | 2.9167 | 6.7335 | 3.8193 | 148.405 | 26.46 | 968.892 | 91.6412 | 21.0754
2019-04-09 23:30:00 | 2.648 | 353.669 | 4.4507 | 71.3939 | 2.9167 | 356.988 | 7.7743 | 166.295 | 26.46 | 969.203 | 94.3106 | 21.7109
2019-04-09 23:45:00 | 0 | 0.75633 | 4.7063 | 62.0496 | 2.661 | 356.939 | 4.195 | 166.295 | 26.46 | 969.204 | 95.9508 | 22.993