## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-10 00:00:00 | 0 | 352.84 | 3.9393 | 69.9545 | 3.9393 | 0.048795 | 5.729 | 150.168 | 26.46 | 969.204 | 96.805 | 25.4612
2019-04-10 00:15:00 | 0 | 347.717 | 5.9847 | 75.9807 | 5.2177 | 356.622 | 2.0297 | 171.199 | 26.46 | 968.758 | 97.4884 | 17.532
2019-04-10 00:30:00 | 6.478 | 348.278 | 5.9847 | 67.0511 | 4.7063 | 356.622 | 2.4053 | 169.32 | 26.46 | 969.056 | 98.0694 | 17.6983
2019-04-10 00:45:00 | 0.372 | 4.0744 | 6.2403 | 58.6339 | 5.729 | 356.89 | 5.729 | 188.18 | 26.46 | 968.61 | 98.3427 | 13.1167
2019-04-10 01:00:00 | 0 | 355.817 | 5.9847 | 41.3847 | 5.2177 | 356.939 | 2.9167 | 177.616 | 26.46 | 968.758 | 98.5477 | 11.406
2019-04-10 01:15:00 | 3.6693 | 0.097591 | 4.7063 | 61.1957 | 5.2177 | 356.939 | 0.63133 | 178.543 | 26.46 | 969.204 | 98.6844 | 11.5723
2019-04-10 01:30:00 | 0 | 336.835 | 3.6837 | 47.8013 | 5.2177 | 356.939 | 0 | 174.785 | 26.46 | 969.204 | 98.8211 | 9.7322
2019-04-10 01:45:00 | 0 | 355.012 | 5.4733 | 47.0206 | 4.962 | 356.939 | 0 | 178.738 | 26.46 | 969.204 | 98.9578 | 13.7633
2019-04-10 02:00:00 | 0 | 349.4 | 4.7063 | 48.2161 | 3.6837 | 356.939 | 5.9847 | 176.493 | 26.46 | 969.353 | 99.1628 | 9.7064
2019-04-10 02:15:00 | 0 | 6.6362 | 5.4733 | 66.2216 | 5.2177 | 356.939 | 3.1723 | 195.719 | 26.46 | 969.204 | 99.2311 | 9.9096
2019-04-10 02:30:00 | 0 | 356.549 | 3.1723 | 37.969 | 3.9393 | 356.939 | 2.4053 | 177.786 | 26.46 | 969.502 | 99.4362 | 6.8946
2019-04-10 02:45:00 | 0 | 12.1501 | 6.2403 | 72.6626 | 4.962 | 356.939 | 5.9847 | 180.177 | 26.46 | 969.502 | 99.6412 | 12.932
2019-04-10 03:00:00 | 0 | 19.9817 | 5.2177 | 65.4897 | 2.9167 | 356.939 | 0.75133 | 186.35 | 26.46 | 969.204 | 99.7779 | 10.9367
2019-04-10 03:15:00 | 12.3507 | 4.0012 | 5.729 | 51.4854 | 4.962 | 356.939 | 5.2177 | 185.423 | 26.46 | 969.204 | 99.8462 | 11.491
2019-04-10 03:30:00 | 0 | 21.9092 | 5.4733 | 76.9078 | 4.4507 | 356.939 | 0 | 200.135 | 26.46 | 968.907 | 100 | 9.662
2019-04-10 03:45:00 | 0 | 6.1482 | 4.962 | 62.8547 | 1.894 | 356.939 | 0 | 174.541 | 26.46 | 969.204 | 99.9829 | 3.3586
2019-04-10 04:00:00 | 0.99933 | 14.4679 | 5.729 | 34.3826 | 4.962 | 356.939 | 2.661 | 182.544 | 26.46 | 969.204 | 99.9829 | 4.2602
2019-04-10 04:15:00 | 0 | 1.5858 | 4.195 | 41.8239 | 3.428 | 356.915 | 2.0297 | 184.105 | 26.46 | 969.204 | 99.9829 | 2.7748
2019-04-10 04:30:00 | 0 | 1.5127 | 3.6837 | 52.0709 | 2.9167 | 356.939 | 0.37567 | 192.279 | 26.46 | 969.204 | 100 | 2.2132
2019-04-10 04:45:00 | 0 | 3.1229 | 2.661 | 58.4143 | 0.75133 | 356.939 | 0 | 180.202 | 26.46 | 969.204 | 100 | 3.233
2019-04-10 05:00:00 | 0 | 354.06 | 4.195 | 51.4366 | 1.894 | 356.939 | 0.63133 | 171.345 | 26.46 | 969.502 | 99.9829 | 3.7207
2019-04-10 05:15:00 | 0 | 4.6356 | 2.9167 | 57.8288 | 1.127 | 356.939 | 0.63133 | 181.007 | 26.46 | 969.502 | 99.9829 | 3.85
2019-04-10 05:30:00 | 0 | 4.538 | 2.1497 | 58.8535 | 1.3827 | 356.939 | 0 | 183.081 | 26.46 | 969.799 | 99.9829 | 2.1726
2019-04-10 05:45:00 | 0 | 0.097591 | 3.1723 | 51.339 | 1.3827 | 356.939 | 0 | 177.762 | 26.46 | 969.65 | 99.9829 | 2.191
2019-04-10 06:00:00 | 0 | 352.425 | 4.195 | 59.6098 | 2.4053 | 356.915 | 0 | 181.568 | 26.46 | 969.799 | 100 | 2.1467
2019-04-10 06:15:00 | 0 | 8.4904 | 3.1723 | 60.5613 | 2.4053 | 356.939 | 0 | 186.277 | 26.46 | 970.393 | 98.8894 | 2.3204
2019-04-10 06:30:00 | 0 | 10.8814 | 3.428 | 69.4665 | 2.4053 | 356.939 | 0 | 189.424 | 26.46 | 970.691 | 96.4975 | 2.1615
2019-04-10 06:45:00 | 0 | 9.2955 | 3.1723 | 55.5354 | 2.9167 | 356.939 | 0 | 184.227 | 26.46 | 971.137 | 91.3036 | 1.1417
2019-04-10 07:00:00 | 0 | 8.831 | 2.1497 | 64.2119 | 2.4053 | 356.925 | 0 | 188.306 | 26.46 | 971.433 | 89.9954 | 1.0937
2019-04-10 07:15:00 | 0 | 14.7822 | 2.661 | 71.1328 | 2.4053 | 356.969 | 0 | 195.365 | 26.46 | 971.799 | 87.665 | 0.42491
2019-04-10 07:30:00 | 0 | 351.988 | 1.894 | 44.3881 | 2.9167 | 356.964 | 0 | 185.018 | 26.46 | 971.881 | 85.2605 | 0.31037
2019-04-10 07:45:00 | 0 | 18.2433 | 3.6837 | 72.4115 | 2.9167 | 356.964 | 0 | 200.359 | 26.46 | 972.029 | 83.1768 | 0.4988
2019-04-10 08:00:00 | 0 | 19.2158 | 3.428 | 78.0785 | 3.1723 | 356.955 | 0 | 179.136 | 26.46 | 972.177 | 81.7631 | 0.32145
2019-04-10 08:15:00 | 0 | 19.3098 | 4.4507 | 77.1831 | 3.6837 | 356.915 | 0.37567 | 198.779 | 26.46 | 972.365 | 82.1582 | 0.49141
2019-04-10 08:30:00 | 0 | 20.5289 | 3.428 | 73.9891 | 3.1723 | 356.939 | 0 | 196.95 | 26.46 | 972.475 | 78.9483 | 0.10346
2019-04-10 08:45:00 | 0 | 26.6698 | 3.6837 | 85.2165 | 3.9393 | 356.946 | 0 | 196.659 | 26.46 | 972.771 | 79.5537 | 0.30667
2019-04-10 09:00:00 | 0 | 28.6655 | 4.962 | 77.1117 | 2.9167 | 356.954 | 0 | 201.585 | 26.46 | 972.7 | 72.7166 | 0.45077
2019-04-10 09:15:00 | 0 | 16.8903 | 5.2177 | 70.2768 | 2.9167 | 356.915 | 0 | 179.311 | 26.46 | 972.985 | 69.3634 | 0.67985
2019-04-10 09:30:00 | 0.372 | 18.572 | 5.729 | 71.1054 | 1.894 | 356.915 | 4.195 | 201.075 | 26.46 | 973.227 | 69.5341 | 0.32515
2019-04-10 09:45:00 | 0 | 0.29247 | 3.428 | 39.8839 | 3.1723 | 356.964 | 5.729 | 178.92 | 26.46 | 973.068 | 66.6326 | 0.040643
2019-04-10 10:00:00 | 0 | 7.2631 | 3.6837 | 40.8832 | 3.6837 | 356.964 | 0.63133 | 156.619 | 26.46 | 973.513 | 61.2391 | 0.66138
2019-04-10 10:15:00 | 0 | 37.1928 | 4.7063 | 61.0882 | 3.428 | 356.964 | 2.4053 | 180.505 | 26.46 | 973.662 | 54.5144 | 0.38057
2019-04-10 10:30:00 | 0 | 345.961 | 2.9167 | 9.6322 | 2.661 | 356.903 | 0 | 89.7496 | 26.46 | 973.959 | 59.454 | 1.3486
2019-04-10 10:45:00 | 0 | 343.344 | 2.661 | 40.1887 | 2.1497 | 356.697 | 0.37567 | 163.338 | 26.46 | 973.662 | 60.9539 | 2.2649
2019-04-10 11:00:00 | 0 | 82.5595 | 4.195 | 59.5378 | 2.9167 | 356.702 | 5.4733 | 184.662 | 26.46 | 973.662 | 57.6782 | 2.8561
2019-04-10 11:15:00 | 0 | 9.3088 | 3.6837 | 60.0751 | 2.1497 | 356.707 | 0 | 196.849 | 26.46 | 973.513 | 59.3856 | 1.9398
2019-04-10 11:30:00 | 0 | 41.0855 | 3.9393 | 84.59 | 2.9167 | 356.537 | 0 | 221.657 | 26.46 | 972.92 | 59.727 | 1.7588
2019-04-10 11:45:00 | 0 | 0.097473 | 2.9167 | 331.537 | 1.127 | 356.508 | 0.37567 | 216.39 | 26.46 | 972.771 | 56.245 | 1.489
2019-04-10 12:00:00 | 0 | 17.1046 | 1.6383 | 31.2165 | 1.894 | 347.21 | 0 | 233.666 | 26.46 | 972.389 | 58.9006 | 1.707
2019-04-10 12:15:00 | 0 | 345.952 | 3.6837 | 86.5216 | 1.894 | 340.299 | 3.0523 | 129.741 | 26.46 | 972.274 | 52.2779 | 1.2821
2019-04-10 12:30:00 | 0 | 328.189 | 3.6837 | 7.4831 | 3.9393 | 326.995 | 0 | 147.234 | 26.46 | 971.882 | 51.1176 | 1.5112
2019-04-10 12:45:00 | 0 | 344.903 | 4.7063 | 19.7076 | 3.428 | 309.38 | 0 | 172.378 | 26.46 | 971.451 | 50.2304 | 1.3412
2019-04-10 13:00:00 | 0 | 341.371 | 0.75133 | 100.068 | 0 | 330.748 | 0 | 180.054 | 26.46 | 971.426 | 51.6296 | 0.29189
2019-04-10 13:15:00 | 0 | 312.915 | 2.9167 | 19.8538 | 3.428 | 325.073 | 0 | 133.007 | 26.46 | 971.79 | 53.1654 | 0.35101
2019-04-10 13:30:00 | 0 | 295.27 | 5.2177 | 183.263 | 5.4733 | 312.35 | 0 | 124.804 | 26.46 | 971.575 | 54.2609 | -0.040643
2019-04-10 13:45:00 | 0 | 307.173 | 4.195 | 331.619 | 4.7063 | 320.283 | 0 | 122.47 | 26.46 | 971.583 | 53.6489 | -0.077592
2019-04-10 14:00:00 | 0 | 315.264 | 3.9393 | 17.8557 | 3.428 | 318.359 | 0 | 140.356 | 26.46 | 971.434 | 47.2671 | -0.025864
2019-04-10 14:15:00 | 0 | 295.132 | 4.962 | 11.9833 | 4.7063 | 318.037 | 0 | 134.919 | 26.46 | 970.68 | 50.7814 | 0.218
2019-04-10 14:30:00 | 0 | 305.787 | 7.0073 | 18.1808 | 6.7517 | 305.885 | 0.37567 | 131.915 | 26.46 | 970.989 | 48.6628 | 0.1441
2019-04-10 14:45:00 | 0 | 14.0345 | 3.428 | 68.3978 | 3.9393 | 321.965 | 3.8193 | 213.1 | 26.46 | 970.684 | 49.8229 | -0.018474
2019-04-10 15:00:00 | 0 | 295.053 | 5.729 | 13.7871 | 5.4733 | 309.477 | 0 | 118.168 | 26.46 | 970.711 | 48.7971 | 0.23647
2019-04-10 15:15:00 | 0 | 266.206 | 2.4053 | 290.549 | 0 | 312.986 | 0 | 93.3158 | 26.46 | 970.399 | 47.2957 | 0.13301
2019-04-10 15:30:00 | 0 | 304.312 | 3.9393 | 326.974 | 3.428 | 318.151 | 0 | 133.883 | 26.46 | 970.396 | 47.3639 | -0.066507
2019-04-10 15:45:00 | 0 | 279.753 | 3.428 | 324.562 | 2.9167 | 312.986 | 0 | 121.067 | 26.46 | 970.099 | 47.8758 | -0.23278
2019-04-10 16:00:00 | 0 | 252.732 | 1.894 | 314.719 | 1.894 | 320.49 | 0 | 79.1601 | 26.46 | 969.836 | 48.1147 | -0.22539
2019-04-10 16:15:00 | 0 | 302.338 | 4.7063 | 13.446 | 4.4507 | 316.056 | 0 | 133.81 | 26.46 | 970.018 | 51.3223 | -0.25125
2019-04-10 16:30:00 | 0 | 292.395 | 3.1723 | 336.015 | 4.195 | 314.421 | 0 | 110.257 | 26.46 | 970.071 | 53.6467 | -0.22908
2019-04-10 16:45:00 | 0 | 301.439 | 2.9167 | 17.7094 | 2.1497 | 314.598 | 0 | 123.208 | 26.46 | 969.95 | 51.7406 | -0.25125
2019-04-10 17:00:00 | 0 | 290.689 | 3.6837 | 322.667 | 4.195 | 313.326 | 0 | 120.135 | 26.46 | 969.801 | 52.832 | -0.24016
2019-04-10 17:15:00 | 0 | 293.691 | 3.1723 | 18.2453 | 3.428 | 313.943 | 0 | 94.802 | 26.46 | 969.653 | 53.9296 | -0.26233
2019-04-10 17:30:00 | 0 | 292.327 | 3.1723 | 330.334 | 1.6383 | 316.188 | 0 | 109.068 | 26.46 | 969.504 | 54.4803 | -0.25125
2019-04-10 17:45:00 | 6.9887 | 294.569 | 2.1497 | 322.876 | 1.3827 | 315.822 | 0 | 83.3548 | 26.46 | 969.207 | 54.6168 | -0.24016
2019-04-10 18:00:00 | 0 | 320.794 | 1.894 | 15.1254 | 1.127 | 316.017 | 0 | 121.791 | 26.46 | 968.91 | 56.665 | -0.25125
2019-04-10 18:15:00 | 0 | 306.756 | 1.6383 | 10.6409 | 0.75133 | 316.066 | 0 | 122.4 | 26.46 | 968.692 | 57.3477 | -0.25125
2019-04-10 18:30:00 | 0 | 306.81 | 1.3827 | 11.2242 | 0.37567 | 316.122 | 0 | 122.446 | 26.46 | 968.412 | 59.2699 | -0.25125
2019-04-10 18:45:00 | 0 | 347.694 | 0.75133 | 10.9316 | 0 | 316.169 | 0 | 123.179 | 26.46 | 968.46 | 59.9533 | -0.25125
2019-04-10 19:00:00 | 0 | 356.914 | 1.6383 | 9.3699 | 0.75133 | 316.32 | 0 | 123.319 | 26.46 | 968.018 | 61.1916 | -0.25125
2019-04-10 19:15:00 | 5.2013 | 15.994 | 1.894 | 7.7607 | 1.6383 | 316.832 | 0 | 206.361 | 26.46 | 968.018 | 61.3283 | -0.25125
2019-04-10 19:30:00 | 14.3933 | 25.3076 | 1.894 | 79.2797 | 1.6383 | 316.832 | 0 | 224.452 | 26.46 | 968.02 | 61.8064 | -0.24016
2019-04-10 19:45:00 | 12.0953 | 34.4261 | 2.1497 | 77.8656 | 1.6383 | 317.1 | 0 | 217.845 | 26.46 | 968.061 | 59.4161 | -0.25125
2019-04-10 20:00:00 | 23.33 | 34.4261 | 1.894 | 77.4268 | 1.6383 | 317.198 | 0 | 225.232 | 26.46 | 968.121 | 58.938 | -0.25125
2019-04-10 20:15:00 | 1.3933 | 50.6151 | 1.6383 | 91.7629 | 1.127 | 317.149 | 8.797 | 247.76 | 26.46 | 968.153 | 57.777 | -0.25125
2019-04-10 20:30:00 | 0 | 50.6151 | 1.3827 | 94.3473 | 0.37567 | 317.1 | 0 | 244.542 | 26.46 | 968.177 | 57.7087 | -0.25125
2019-04-10 20:45:00 | 0 | 50.6151 | 1.127 | 94.3473 | 0 | 317.1 | 0 | 244.542 | 26.46 | 968.477 | 57.299 | -0.24016
2019-04-10 21:00:00 | 0 | 48.6646 | 1.894 | 93.1282 | 1.3827 | 317.173 | 0 | 215.309 | 26.46 | 968.54 | 58.8697 | -0.24016
2019-04-10 21:15:00 | 0 | 48.6646 | 2.1497 | 91.9579 | 1.6383 | 317.198 | 0 | 215.358 | 26.46 | 968.473 | 59.177 | -0.24016
2019-04-10 21:30:00 | 0 | 47.7869 | 2.1497 | 91.9579 | 1.6383 | 317.295 | 0 | 215.358 | 26.46 | 968.494 | 59.0746 | -0.24016
2019-04-10 21:45:00 | 11.3293 | 47.8844 | 2.1497 | 94.1034 | 1.6383 | 318.563 | 6.2403 | 243.567 | 26.46 | 968.057 | 58.8014 | -0.24016
2019-04-10 22:00:00 | 0 | 71.2415 | 0 | 114.998 | 0 | 318.466 | 0 | 305.007 | 26.46 | 968.204 | 57.1282 | -0.24016
2019-04-10 22:15:00 | 0 | 71.2659 | 0.37567 | 114.998 | 0 | 318.417 | 0 | 304.91 | 26.46 | 967.958 | 56.2062 | -0.24016
2019-04-10 22:30:00 | 0 | 114.64 | 0.75133 | 115.315 | 0 | 318.271 | 0 | 339.19 | 26.46 | 968.297 | 56.5477 | -0.24016
2019-04-10 22:45:00 | 0 | 169.327 | 1.3827 | 115.803 | 0 | 318.076 | 0 | 339.214 | 26.46 | 968.269 | 56.9575 | -0.24016
2019-04-10 23:00:00 | 0 | 198.901 | 1.3827 | 246.705 | 1.127 | 317.783 | 0 | 41.204 | 26.46 | 968.312 | 56.8892 | -0.24016
2019-04-10 23:15:00 | 0 | 234.4 | 1.127 | 247.119 | 0 | 317.783 | 0 | 68.4377 | 26.46 | 968.288 | 56.7184 | -0.24016
2019-04-10 23:30:00 | 3.414 | 224.647 | 1.6383 | 247.095 | 0.37567 | 317.783 | 0 | 37.0105 | 26.46 | 968.261 | 57.2307 | -0.24016
2019-04-10 23:45:00 | 0 | 201.729 | 1.894 | 246.485 | 1.127 | 317.71 | 0 | 20.8702 | 26.46 | 968.012 | 57.7087 | -0.24016