## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-11 00:00:00 | 0 | 181.883 | 1.894 | 220.836 | 0 | 317.783 | 0 | 5.4614 | 26.46 | 967.718 | 58.3917 | -0.24016
2019-04-11 00:15:00 | 0 | 168.522 | 1.3827 | 220.007 | 0 | 317.71 | 0 | 27.3556 | 26.46 | 968.008 | 58.1185 | -0.24016
2019-04-11 00:30:00 | 0 | 187.003 | 2.1497 | 238.001 | 0 | 317.637 | 0 | 27.3556 | 26.46 | 968.015 | 59.1087 | -0.24016
2019-04-11 00:45:00 | 0 | 173.593 | 2.4053 | 226.395 | 1.127 | 317.49 | 0 | 356.793 | 26.46 | 967.682 | 59.621 | -0.29928
2019-04-11 01:00:00 | 0 | 172.13 | 2.9167 | 214.79 | 0 | 317.003 | 0 | 5.0713 | 26.46 | 967.688 | 60.1673 | -0.24016
2019-04-11 01:15:00 | 0 | 159.745 | 2.661 | 202.38 | 1.6383 | 316.759 | 0 | 350.844 | 26.46 | 967.527 | 59.0405 | -0.25125
2019-04-11 01:30:00 | 0 | 161.647 | 2.9167 | 202.234 | 1.894 | 317.222 | 0 | 353.184 | 26.46 | 967.209 | 60.099 | -0.18474
2019-04-11 01:45:00 | 0 | 162.183 | 2.661 | 202.014 | 1.894 | 317.222 | 0 | 353.843 | 26.46 | 967.081 | 59.6893 | -0.25864
2019-04-11 02:00:00 | 0 | 171.838 | 2.661 | 208.475 | 1.3827 | 316.905 | 0 | 30.0619 | 26.46 | 967.107 | 60.2356 | -0.25864
2019-04-11 02:15:00 | 0 | 177.445 | 2.9167 | 222.592 | 1.6383 | 314.467 | 0 | 1.9017 | 26.46 | 967.049 | 59.7917 | 0.018474
2019-04-11 02:30:00 | 0 | 194.122 | 3.428 | 234.977 | 3.1723 | 314.248 | 1.5183 | 12.4343 | 26.46 | 967.085 | 59.9624 | 0.036949
2019-04-11 02:45:00 | 0 | 173.349 | 3.428 | 216.74 | 2.661 | 314.272 | 0 | 356.793 | 26.46 | 966.694 | 60.099 | 0.24016
2019-04-11 03:00:00 | 0 | 184.565 | 3.1723 | 228.37 | 1.6383 | 314.272 | 0 | 7.7532 | 26.46 | 966.758 | 60.3039 | 0.018474
2019-04-11 03:15:00 | 0 | 184.662 | 3.428 | 222.007 | 2.9167 | 313.98 | 0 | 8.2164 | 26.46 | 966.473 | 60.5088 | -0.036948
2019-04-11 03:30:00 | 0 | 183.516 | 2.661 | 224.567 | 1.127 | 314.175 | 0 | 11.2884 | 26.46 | 966.451 | 61.1917 | -0.11084
2019-04-11 03:45:00 | 5.4567 | 187.661 | 2.9167 | 232.149 | 1.127 | 314.175 | 0 | 5.6564 | 26.46 | 966.477 | 61.1917 | -0.12932
2019-04-11 04:00:00 | 0 | 195.219 | 3.428 | 234.002 | 1.6383 | 314.126 | 0 | 20.7727 | 26.46 | 966.514 | 61.8747 | -0.018474
2019-04-11 04:15:00 | 0 | 199.486 | 3.428 | 241.682 | 2.4053 | 313.98 | 0 | 22.8207 | 26.46 | 966.507 | 63.3089 | 0.20322
2019-04-11 04:30:00 | 0 | 201.046 | 2.9167 | 239.171 | 2.1497 | 313.98 | 0 | 30.8177 | 26.46 | 966.52 | 65.0504 | -0.22169
2019-04-11 04:45:00 | 3.6693 | 212.554 | 2.9167 | 247.68 | 1.6383 | 313.98 | 0 | 22.0161 | 26.46 | 966.825 | 65.7674 | -0.22169
2019-04-11 05:00:00 | 7.244 | 203.972 | 1.894 | 246.607 | 1.127 | 313.98 | 0 | 30.0862 | 26.46 | 966.47 | 65.8357 | -0.24016
2019-04-11 05:15:00 | 0 | 223.672 | 2.4053 | 247.655 | 1.6383 | 313.98 | 0 | 46.6166 | 26.46 | 966.652 | 66.7236 | -0.25864
2019-04-11 05:30:00 | 0 | 233.229 | 2.1497 | 269.306 | 1.6383 | 313.98 | 0 | 55.8083 | 26.46 | 966.699 | 66.8602 | -0.25864
2019-04-11 05:45:00 | 0 | 207.678 | 1.127 | 249.801 | 0.37567 | 314.053 | 0 | 38.2051 | 26.46 | 966.758 | 67.1675 | -0.24016
2019-04-11 06:00:00 | 0 | 200.851 | 2.4053 | 249.899 | 1.894 | 313.98 | 0 | 29.5499 | 26.46 | 967.037 | 67.4407 | -0.24016
2019-04-11 06:15:00 | 0 | 190.514 | 2.661 | 235.294 | 1.3827 | 313.98 | 0 | 10.0206 | 26.46 | 966.965 | 67.065 | -0.24016
2019-04-11 06:30:00 | 0 | 178.445 | 3.1723 | 209.133 | 1.6383 | 314.126 | 0 | 2.9745 | 26.46 | 967.096 | 67.748 | -0.24016
2019-04-11 06:45:00 | 0 | 163.304 | 2.661 | 193.822 | 2.1497 | 314.662 | 0 | 354.16 | 26.46 | 967.249 | 69.5919 | -0.24016
2019-04-11 07:00:00 | 1.7653 | 183.199 | 2.661 | 220.983 | 1.6383 | 314.175 | 0 | 3.5109 | 26.46 | 967.688 | 69.7285 | -0.20322
2019-04-11 07:15:00 | 0 | 157.624 | 3.428 | 194.115 | 2.661 | 315.881 | 0 | 343.383 | 26.46 | 967.719 | 71.9139 | 0.018474
2019-04-11 07:30:00 | 0 | 145.458 | 3.1723 | 185.898 | 3.1723 | 315.637 | 0 | 335.727 | 26.46 | 967.719 | 71.2993 | 1.005
2019-04-11 07:45:00 | 0 | 151.406 | 4.4507 | 185.923 | 2.9167 | 313.589 | 0 | 330.51 | 26.46 | 967.719 | 72.9725 | 1.1639
2019-04-11 08:00:00 | 0 | 144.19 | 3.428 | 186.898 | 2.4053 | 321.538 | 0 | 329.047 | 26.46 | 968.017 | 72.9384 | 0.8609
2019-04-11 08:15:00 | 0 | 136.632 | 3.6837 | 177.535 | 3.6837 | 322.659 | 0 | 326.853 | 26.46 | 968.287 | 73.0749 | 1.4779
2019-04-11 08:30:00 | 0 | 136.534 | 4.195 | 176.56 | 3.428 | 316.54 | 0 | 317.588 | 26.46 | 968.128 | 72.5627 | 1.7957
2019-04-11 08:45:00 | 0 | 144.775 | 4.7063 | 190.604 | 4.195 | 312.224 | 2.661 | 328.876 | 26.46 | 968.316 | 70.2066 | 1.7735
2019-04-11 09:00:00 | 0 | 149.828 | 3.9393 | 197.697 | 3.1723 | 309.212 | 0 | 333.054 | 26.46 | 968.761 | 69.3104 | 4.4818
2019-04-11 09:15:00 | 0 | 141.459 | 4.7063 | 187.057 | 4.195 | 306.734 | 2.1497 | 335.913 | 26.46 | 968.705 | 68.2824 | 4.2971
2019-04-11 09:30:00 | 0 | 151.014 | 4.7063 | 202.524 | 4.195 | 306.561 | 4.7063 | 336.321 | 26.46 | 968.966 | 66.4279 | 2.9817
2019-04-11 09:45:00 | 0 | 150.916 | 3.9393 | 209.104 | 3.6837 | 306.366 | 3.308 | 333.956 | 26.46 | 969.212 | 66.496 | 3.2219
2019-04-11 10:00:00 | 0 | 153.89 | 3.9393 | 198.599 | 2.9167 | 294.374 | 0.37567 | 324.621 | 26.46 | 969.356 | 67.3153 | 3.2404
2019-04-11 10:15:00 | 0 | 137.024 | 5.2177 | 179.808 | 4.4507 | 295.154 | 3.9393 | 321.038 | 26.46 | 969.504 | 64.4479 | 2.5531
2019-04-11 10:30:00 | 0 | 185.169 | 4.4507 | 252.319 | 4.7063 | 294.838 | 0 | 5.1666 | 26.46 | 969.504 | 62.6677 | 1.3671
2019-04-11 10:45:00 | 0 | 186.661 | 2.9167 | 245.273 | 2.661 | 293.637 | 2.661 | 15.8637 | 26.46 | 969.207 | 64.0947 | 2.8192
2019-04-11 11:00:00 | 0 | 153.907 | 5.2177 | 186.907 | 4.962 | 293.022 | 4.4507 | 349.141 | 26.46 | 969.356 | 65.1855 | 2.9891
2019-04-11 11:15:00 | 0 | 196.313 | 6.2403 | 232.751 | 4.7063 | 293.154 | 1.3827 | 33.8967 | 26.46 | 969.207 | 63.2423 | 4.9031
2019-04-11 11:30:00 | 0.62733 | 190.683 | 4.962 | 244.032 | 6.2403 | 291.641 | 0 | 21.5417 | 26.46 | 969.504 | 62.3204 | 4.9104
2019-04-11 11:45:00 | 0 | 142.892 | 5.9847 | 196.58 | 5.9847 | 290.024 | 1.654 | 326.82 | 26.46 | 969.504 | 61.2264 | 3.7577
2019-04-11 12:00:00 | 0 | 151.013 | 5.2177 | 200.063 | 4.962 | 289.503 | 0.37567 | 322.371 | 26.46 | 969.039 | 61.6969 | 4.5557
2019-04-11 12:15:00 | 0 | 168.859 | 5.4733 | 234.532 | 6.2403 | 288.84 | 1.007 | 9.113 | 26.46 | 968.903 | 61.5304 | 2.6677
2019-04-11 12:30:00 | 0 | 214.881 | 1.894 | 218.811 | 2.9167 | 289.643 | 0 | 12.2817 | 26.46 | 968.91 | 62.8665 | 0.99022
2019-04-11 12:45:00 | 0 | 159.487 | 2.9167 | 203.233 | 2.661 | 289.635 | 0 | 356.793 | 26.46 | 968.465 | 64.503 | -0.1404
2019-04-11 13:00:00 | 0 | 249.317 | 1.894 | 286.248 | 1.6383 | 289.871 | 0 | 0.19497 | 26.46 | 968.316 | 63.8292 | -0.27342
2019-04-11 13:15:00 | 0 | 204.682 | 4.4507 | 225.116 | 4.4507 | 291.108 | 2.661 | 7.7993 | 26.46 | 968.168 | 64.1746 | -0.24016
2019-04-11 13:30:00 | 0 | 181.041 | 4.195 | 222.655 | 3.9393 | 291.084 | 0 | 9.2129 | 26.46 | 968.316 | 63.8334 | -0.24016
2019-04-11 13:45:00 | 0 | 214.367 | 1.894 | 247.033 | 1.6383 | 291.575 | 0 | 36.2153 | 26.46 | 968.316 | 61.9173 | -0.24016
2019-04-11 14:00:00 | 0 | 264.561 | 2.661 | 307.193 | 2.4053 | 291.515 | 0 | 87.0499 | 26.46 | 967.871 | 63.1437 | -0.24016
2019-04-11 14:15:00 | 0 | 300.922 | 3.428 | 331.856 | 3.6837 | 292.588 | 0 | 111.591 | 26.46 | 968.316 | 60.5499 | -0.26603
2019-04-11 14:30:00 | 0 | 351.823 | 1.3827 | 25.8603 | 1.127 | 313.395 | 0 | 105.61 | 26.46 | 968.316 | 60.3394 | -0.29189
2019-04-11 14:45:00 | 0 | 272.775 | 2.9167 | 315.353 | 2.9167 | 308.45 | 0 | 116.43 | 26.46 | 968.613 | 60.8859 | -0.25125
2019-04-11 15:00:00 | 0 | 242.624 | 3.9393 | 324.371 | 2.1497 | 294.667 | 0 | 88.517 | 26.46 | 968.149 | 59.4103 | -0.27711
2019-04-11 15:15:00 | 0 | 307.382 | 2.661 | 8.8962 | 2.1497 | 312.206 | 0 | 127.085 | 26.46 | 968.617 | 55.4854 | -0.24016
2019-04-11 15:30:00 | 0 | 297.003 | 3.9393 | 335.234 | 2.661 | 309.575 | 0 | 119.581 | 26.46 | 968.021 | 59.8533 | -0.16996
2019-04-11 15:45:00 | 0 | 29.0912 | 2.1497 | 27.9736 | 2.4053 | 309.672 | 0 | 208.121 | 26.46 | 967.724 | 62.6856 | 0.14779
2019-04-11 16:00:00 | 0 | 28.8475 | 1.894 | 95.0246 | 0 | 312.206 | 0 | 214.894 | 26.46 | 967.603 | 64.2211 | -0.040643
2019-04-11 16:15:00 | 0 | 1.0478 | 3.1723 | 56.9557 | 3.1723 | 312.867 | 0 | 185.688 | 26.46 | 967.722 | 67.713 | 0.59857
2019-04-11 16:30:00 | 0 | 354.842 | 3.1723 | 47.1574 | 1.6383 | 314.1 | 0 | 175.642 | 26.46 | 967.722 | 68.6664 | 0.34362
2019-04-11 16:45:00 | 0 | 25.0514 | 3.9393 | 69.5319 | 1.6383 | 316.359 | 0 | 200.265 | 26.46 | 968.316 | 68.9432 | 0.11454
2019-04-11 17:00:00 | 0 | 15.693 | 3.6837 | 80.1035 | 1.894 | 316.247 | 0 | 183.344 | 26.46 | 968.613 | 67.7115 | -0.12932
2019-04-11 17:15:00 | 0 | 356.899 | 1.6383 | 4.8557 | 0 | 315.96 | 0 | 197.871 | 26.46 | 968.613 | 66.6888 | 0.12562
2019-04-11 17:30:00 | 0 | 6.0434 | 2.9167 | 59.3442 | 2.661 | 315.695 | 0 | 151.134 | 26.46 | 968.613 | 65.7338 | 0.25125
2019-04-11 17:45:00 | 0 | 321.129 | 2.9167 | 0.70007 | 2.9167 | 315.354 | 0 | 147.333 | 26.46 | 968.613 | 65.3925 | 0.3584
2019-04-11 18:00:00 | 0 | 317.663 | 2.661 | 0.21311 | 1.6383 | 315.348 | 0 | 141.969 | 26.46 | 968.316 | 67.4389 | 0.19213
2019-04-11 18:15:00 | 0 | 342.458 | 2.1497 | 45.8986 | 1.6383 | 315.334 | 0 | 157.289 | 26.46 | 968.316 | 68.8799 | 0.077592
2019-04-11 18:30:00 | 0 | 324.474 | 2.9167 | 16.7541 | 2.1497 | 315.432 | 0 | 145.603 | 26.46 | 968.168 | 69.773 | 0.18844
2019-04-11 18:45:00 | 6.2227 | 322.549 | 2.661 | 7.2 | 2.4053 | 315.335 | 0 | 145.018 | 26.46 | 968.019 | 70.0802 | 0.10715
2019-04-11 19:00:00 | 0 | 333.078 | 3.9393 | 14.5606 | 2.661 | 315.335 | 0 | 154.596 | 26.46 | 968.166 | 68.5783 | 0.081287
2019-04-11 19:15:00 | 0 | 335.045 | 3.1723 | 21.4357 | 3.1723 | 315.35 | 0.37567 | 156.14 | 26.46 | 968.034 | 69.6399 | 0.39904
2019-04-11 19:30:00 | 0 | 342.644 | 4.195 | 24.5613 | 2.9167 | 315.391 | 0 | 165.374 | 26.46 | 968.172 | 71.4925 | 0.55053
2019-04-11 19:45:00 | 0 | 351.954 | 3.9393 | 35.3356 | 2.9167 | 315.486 | 0 | 175.685 | 26.46 | 968.541 | 72.3797 | 0.74636
2019-04-11 20:00:00 | 0 | 0.073131 | 2.9167 | 52.3025 | 2.4053 | 315.488 | 0 | 179.659 | 26.46 | 968.609 | 73.9847 | 0.61334
2019-04-11 20:15:00 | 0 | 354.92 | 3.1723 | 41.2419 | 2.4053 | 315.523 | 0 | 176.436 | 26.46 | 968.612 | 74.5051 | 0.3584
2019-04-11 20:30:00 | 0 | 77.9913 | 3.9393 | 46.996 | 1.894 | 315.525 | 0 | 177.486 | 26.46 | 968.909 | 74.5055 | 0.077592
2019-04-11 20:45:00 | 0 | 349.38 | 4.4507 | 37.2954 | 2.9167 | 315.588 | 0 | 166.912 | 26.46 | 969.206 | 73.2796 | -0.13671
2019-04-11 21:00:00 | 0 | 350.934 | 3.428 | 39.1961 | 2.1497 | 315.534 | 0 | 171.054 | 26.46 | 969.206 | 73.2101 | -0.059118
2019-04-11 21:15:00 | 0 | 356.889 | 3.1723 | 53.9232 | 2.4053 | 315.831 | 0 | 177.737 | 26.46 | 969.206 | 75.1235 | 0.036949
2019-04-11 21:30:00 | 0 | 344.87 | 3.428 | 31.054 | 2.661 | 315.832 | 0 | 163.134 | 26.46 | 969.355 | 73.4847 | -0.29928
2019-04-11 21:45:00 | 8.5207 | 325.585 | 2.4053 | 7.7944 | 1.6383 | 315.735 | 0 | 147.31 | 26.46 | 969.355 | 73.4506 | -0.25864
2019-04-11 22:00:00 | 0 | 332.412 | 2.661 | 8.9891 | 1.6383 | 315.735 | 0 | 144.677 | 26.46 | 969.206 | 73.8945 | -0.25864
2019-04-11 22:15:00 | 0 | 316.32 | 1.894 | 9.0622 | 0.75133 | 315.735 | 0 | 134.145 | 26.46 | 969.503 | 74.0311 | -0.24016
2019-04-11 22:30:00 | 0 | 316.32 | 1.894 | 8.0382 | 0 | 315.735 | 0 | 134.145 | 26.46 | 969.206 | 72.1188 | -0.24016
2019-04-11 22:45:00 | 0 | 315.93 | 1.3827 | 7.7213 | 0 | 315.735 | 0 | 134.096 | 26.46 | 969.206 | 69.4553 | -0.24016
2019-04-11 23:00:00 | 0.99933 | 330.778 | 1.6383 | 8.6234 | 1.127 | 315.735 | 0 | 134.949 | 26.46 | 969.209 | 68.7041 | -0.24016
2019-04-11 23:15:00 | 0 | 338.556 | 2.4053 | 9.1598 | 0 | 315.735 | 0 | 136.071 | 26.46 | 969.208 | 72.8359 | -0.24016
2019-04-11 23:30:00 | 0 | 329.266 | 1.894 | 9.1598 | 0 | 315.735 | 0 | 146.53 | 26.46 | 969.232 | 69.4553 | -0.24016
2019-04-11 23:45:00 | 0 | 340.994 | 0.75133 | 9.1598 | 0 | 315.735 | 0 | 146.969 | 26.46 | 969.248 | 68.4309 | -0.24016