## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-12 00:00:00 | 0 | 304.422 | 0.75133 | 8.1845 | 0 | 315.735 | 0 | 146.36 | 26.46 | 969.088 | 68.1578 | -0.24016
2019-04-12 00:15:00 | 0 | 231.376 | 1.127 | 7.8919 | 0 | 315.711 | 0 | 145.36 | 26.46 | 969.437 | 69.3188 | -0.24016
2019-04-12 00:30:00 | 0 | 197.389 | 2.4053 | 245.973 | 1.894 | 315.052 | 0 | 142.044 | 26.46 | 969.472 | 68.0895 | -0.24016
2019-04-12 00:45:00 | 3.6693 | 180.201 | 2.4053 | 245.315 | 1.894 | 312.419 | 0 | 6.2903 | 26.46 | 969.268 | 69.7285 | -0.24016
2019-04-12 01:00:00 | 0 | 163.987 | 2.4053 | 208.938 | 2.1497 | 294.182 | 0 | 350.259 | 26.46 | 968.822 | 69.5919 | -0.24016
2019-04-12 01:15:00 | 0 | 164.816 | 1.894 | 204.233 | 1.3827 | 294.28 | 0 | 356.793 | 26.46 | 968.832 | 69.7285 | -0.24016
2019-04-12 01:30:00 | 0 | 194.61 | 2.4053 | 228.833 | 0.75133 | 294.28 | 0 | 0.19505 | 26.46 | 968.769 | 70.4115 | -0.24016
2019-04-12 01:45:00 | 0 | 194.512 | 1.6383 | 231.564 | 0 | 294.377 | 0 | 0.19505 | 26.46 | 968.861 | 65.3577 | -0.24016
2019-04-12 02:00:00 | 0 | 194.561 | 1.127 | 231.564 | 0 | 294.377 | 0 | 0.19505 | 26.46 | 968.655 | 64.3333 | -0.24016
2019-04-12 02:15:00 | 0 | 194.512 | 1.894 | 231.564 | 0 | 294.377 | 0 | 0.19505 | 26.46 | 968.698 | 66.3138 | -0.24016
2019-04-12 02:30:00 | 0 | 192.903 | 2.661 | 231.564 | 1.3827 | 294.328 | 0 | 0.19505 | 26.46 | 968.736 | 67.5431 | -0.24016
2019-04-12 02:45:00 | 0 | 189.343 | 2.661 | 232.393 | 1.3827 | 294.328 | 0 | 6.5341 | 26.46 | 968.557 | 67.4748 | -0.25125
2019-04-12 03:00:00 | 2.276 | 184.175 | 2.9167 | 229.418 | 2.1497 | 294.231 | 0.63133 | 7.997 | 26.46 | 968.813 | 69.1822 | -0.2882
2019-04-12 03:15:00 | 0 | 180.761 | 3.6837 | 225.81 | 2.4053 | 294.231 | 0 | 6.5341 | 26.46 | 968.685 | 71.4017 | -0.15149
2019-04-12 03:30:00 | 0 | 185.247 | 2.4053 | 227.127 | 1.6383 | 294.28 | 0 | 12.5806 | 26.46 | 968.171 | 71.7091 | -0.27711
2019-04-12 03:45:00 | 1.51 | 189.051 | 2.4053 | 222.884 | 1.3827 | 294.28 | 0 | 14.2385 | 26.46 | 968.208 | 72.3237 | -0.24016
2019-04-12 04:00:00 | 3.414 | 183.492 | 1.894 | 223.372 | 1.127 | 294.377 | 0 | 12.8244 | 26.46 | 968.128 | 67.4065 | -0.24016
2019-04-12 04:15:00 | 0 | 179.347 | 1.6383 | 220.446 | 0.75133 | 294.377 | 2.4053 | 356.793 | 26.46 | 968.124 | 59.4161 | -0.24016
2019-04-12 04:30:00 | 0 | 189.758 | 2.1497 | 221.129 | 1.3827 | 294.304 | 0 | 356.549 | 26.46 | 968.296 | 64.9479 | -0.24016
2019-04-12 04:45:00 | 0 | 193.83 | 3.1723 | 222.592 | 1.3827 | 294.353 | 0 | 19.4805 | 26.46 | 968.299 | 61.7381 | -0.24016
2019-04-12 05:00:00 | 0 | 201.266 | 3.428 | 245.12 | 2.4053 | 294.28 | 0 | 25.0881 | 26.46 | 968.847 | 59.2112 | -0.24016
2019-04-12 05:15:00 | 0 | 187.052 | 2.4053 | 236.05 | 1.127 | 294.377 | 0 | 1.9749 | 26.46 | 968.687 | 57.7087 | -0.24016
2019-04-12 05:30:00 | 0 | 177.836 | 1.6383 | 235.611 | 0 | 294.475 | 0 | 0.21943 | 26.46 | 968.659 | 55.455 | -0.24016
2019-04-12 05:45:00 | 0 | 193.439 | 2.661 | 235.66 | 1.6383 | 294.377 | 0 | 9.6305 | 26.46 | 968.752 | 55.1135 | -0.24016
2019-04-12 06:00:00 | 0 | 181.005 | 2.9167 | 234.88 | 1.3827 | 294.377 | 0 | 0.19505 | 26.46 | 968.965 | 54.7721 | -0.1404
2019-04-12 06:15:00 | 0 | 172.179 | 2.9167 | 231.857 | 1.6383 | 294.377 | 0 | 0.19505 | 26.46 | 968.925 | 57.2648 | 0.45816
2019-04-12 06:30:00 | 0 | 166.523 | 3.1723 | 231.857 | 1.3827 | 294.426 | 0 | 0.19505 | 26.46 | 969.206 | 59.2795 | 1.5001
2019-04-12 06:45:00 | 0 | 151.286 | 2.9167 | 200.128 | 2.1497 | 294.625 | 0 | 341.819 | 26.46 | 969.153 | 61.6604 | 2.4682
2019-04-12 07:00:00 | 0 | 174.852 | 3.9393 | 209.156 | 1.6383 | 294.573 | 0 | 355.798 | 26.46 | 969.557 | 67.1796 | 2.9042
2019-04-12 07:15:00 | 0 | 159.958 | 4.7063 | 199.306 | 3.9393 | 290.182 | 0 | 329.861 | 26.46 | 970.099 | 75.6443 | 4.0348
2019-04-12 07:30:00 | 0 | 163.444 | 4.962 | 203.401 | 3.9393 | 288.622 | 0 | 347.726 | 26.46 | 970.098 | 68.1345 | 2.4534
2019-04-12 07:45:00 | 0 | 180.285 | 4.195 | 222.826 | 3.9393 | 288.817 | 5.4733 | 2.9004 | 26.46 | 970.989 | 66.0181 | 2.2871
2019-04-12 08:00:00 | 0 | 192.069 | 4.7063 | 224.387 | 4.195 | 289.102 | 2.1497 | 6.9449 | 26.46 | 971.286 | 57.4048 | 1.8437
2019-04-12 08:15:00 | 0 | 178.841 | 4.4507 | 223.734 | 3.9393 | 289.06 | 0 | 1.8276 | 26.46 | 971.286 | 62.389 | 1.441
2019-04-12 08:30:00 | 0 | 159.005 | 2.9167 | 227.244 | 1.6383 | 289.353 | 0 | 28.365 | 26.46 | 971.583 | 60.273 | 0.41013
2019-04-12 08:45:00 | 0 | 185.024 | 3.9393 | 231.052 | 4.4507 | 289.305 | 0.63133 | 7.3825 | 26.46 | 971.916 | 60.6725 | 0.74266
2019-04-12 09:00:00 | 0 | 195.232 | 2.9167 | 230.808 | 4.7063 | 289.279 | 1.007 | 4.7754 | 26.46 | 971.88 | 59.6144 | 0.25494
2019-04-12 09:15:00 | 0 | 185.535 | 2.4053 | 242.113 | 2.1497 | 289.498 | 0 | 351.482 | 26.46 | 972.028 | 51.6636 | 0.077592
2019-04-12 09:30:00 | 0 | 150.079 | 2.661 | 212.404 | 1.6383 | 289.658 | 0 | 356.463 | 26.46 | 972.177 | 46.748 | 0.51728
2019-04-12 09:45:00 | 0.62733 | 231.288 | 3.1723 | 236.18 | 2.661 | 289.499 | 0 | 64.1058 | 26.46 | 972.622 | 38.9565 | 0.30298
2019-04-12 10:00:00 | 0 | 204.104 | 2.1497 | 226.655 | 3.428 | 289.497 | 0 | 20.7514 | 26.46 | 972.154 | 40.0478 | 0.29189
2019-04-12 10:15:00 | 0 | 225.879 | 0.37567 | 275.148 | 0 | 289.692 | 0.37567 | 41.0888 | 26.46 | 972.323 | 30.9057 | 0.15149
2019-04-12 10:30:00 | 0 | 210.875 | 3.428 | 257.757 | 4.962 | 289.107 | 1.007 | 16.8544 | 26.46 | 972.474 | 35.6814 | 0.44708
2019-04-12 10:45:00 | 0 | 173.952 | 3.9393 | 207.706 | 3.9393 | 289.497 | 0 | 344.859 | 26.46 | 972.474 | 38.6492 | 0.73158
2019-04-12 11:00:00 | 0 | 141.655 | 2.661 | 198.913 | 3.1723 | 289.132 | 0 | 320.965 | 26.46 | 972.77 | 42.9814 | 0.7168
2019-04-12 11:15:00 | 0 | 185.983 | 6.2403 | 238.102 | 6.2403 | 288.791 | 0.75133 | 2.6061 | 26.46 | 972.77 | 42.2992 | 0.2882
2019-04-12 11:30:00 | 0 | 187.424 | 4.195 | 246.34 | 4.195 | 289.211 | 0 | 5.1636 | 26.46 | 972.177 | 38.957 | 0.33254
2019-04-12 11:45:00 | 0 | 180.995 | 4.195 | 227.645 | 4.4507 | 289.252 | 0.37567 | 355.414 | 26.46 | 971.583 | 48.8566 | 1.4927
2019-04-12 12:00:00 | 0 | 192.625 | 4.4507 | 229.345 | 4.195 | 289.4 | 0 | 13.2299 | 26.46 | 971.286 | 52.1753 | 1.622
2019-04-12 12:15:00 | 0 | 153.009 | 4.4507 | 202.35 | 4.7063 | 288.426 | 0.887 | 339.884 | 26.46 | 971.013 | 52.5508 | 2.8192
2019-04-12 12:30:00 | 0 | 150.065 | 4.4507 | 198.579 | 4.4507 | 288.531 | 0 | 330.074 | 26.46 | 970.966 | 56.3741 | 3.4325
2019-04-12 12:45:00 | 0.372 | 142.624 | 6.2403 | 185.859 | 6.496 | 287.491 | 1.3827 | 322.653 | 26.46 | 970.84 | 52.6944 | 3.8833
2019-04-12 13:00:00 | 0 | 136.19 | 4.4507 | 197.212 | 4.7063 | 287.805 | 2.541 | 332.885 | 26.46 | 970.989 | 55.7654 | 6.5029
2019-04-12 13:15:00 | 0 | 148.676 | 7.7743 | 202.405 | 7.0073 | 285.121 | 5.9847 | 341.697 | 26.46 | 970.509 | 57.6028 | 10.3123
2019-04-12 13:30:00 | 0.372 | 150.767 | 4.962 | 214.362 | 4.962 | 287.257 | 4.962 | 340.25 | 26.46 | 970.12 | 60.604 | 17.4434
2019-04-12 13:45:00 | 0 | 175.034 | 8.2857 | 213.07 | 8.2857 | 282.774 | 2.9167 | 351.53 | 26.46 | 969.338 | 60.9452 | 17.3769
2019-04-12 14:00:00 | 0 | 151.729 | 5.2177 | 199.15 | 4.195 | 284.062 | 1.774 | 340.835 | 26.46 | 969.473 | 60.4037 | 19.4423
2019-04-12 14:15:00 | 0 | 153.505 | 7.5187 | 184.868 | 6.7517 | 283.375 | 3.6837 | 335.226 | 26.46 | 969.504 | 60.7441 | 19.7009
2019-04-12 14:30:00 | 7.244 | 145.534 | 9.3083 | 199.824 | 9.564 | 281.541 | 2.9167 | 331.807 | 26.46 | 969.329 | 60.3673 | 25.4205
2019-04-12 14:45:00 | 3.6693 | 153.35 | 9.564 | 201.18 | 10.331 | 280.63 | 4.962 | 336.059 | 26.46 | 969.271 | 61.9007 | 31.8865
2019-04-12 15:00:00 | 0.62733 | 136.441 | 9.0527 | 183.614 | 7.263 | 281.994 | 2.9167 | 331.235 | 26.46 | 968.911 | 62.9244 | 25.9932
2019-04-12 15:15:00 | 0 | 167.189 | 5.2177 | 230.077 | 6.2403 | 266.791 | 2.4053 | 341.37 | 26.46 | 968.615 | 61.423 | 25.4981
2019-04-12 15:30:00 | 0 | 171.867 | 6.7517 | 233.561 | 8.5413 | 266.791 | 0.37567 | 0.4142 | 26.46 | 968.174 | 60.331 | 22.4462
2019-04-12 15:45:00 | 0.372 | 156.712 | 8.2857 | 192.287 | 9.8197 | 266.206 | 2.4053 | 0.21928 | 26.46 | 968.319 | 62.4126 | 27.2088
2019-04-12 16:00:00 | 0 | 132.153 | 8.5413 | 187.488 | 9.8197 | 266.303 | 3.1723 | 328.701 | 26.46 | 968.615 | 58.2153 | 25.7362
2019-04-12 16:15:00 | 0.372 | 149.549 | 4.962 | 226.227 | 5.9847 | 266.839 | 4.4507 | 330.942 | 26.46 | 968.318 | 52.8238 | 30.1536
2019-04-12 16:30:00 | 8.776 | 153.155 | 8.797 | 189.12 | 7.7743 | 266.498 | 6.2403 | 337.521 | 26.46 | 967.872 | 48.4559 | 35.1971
2019-04-12 16:45:00 | 6.7333 | 141.777 | 8.2857 | 205.59 | 7.7743 | 266.498 | 2.1497 | 328.701 | 26.46 | 967.51 | 52.2778 | 44.1571
2019-04-12 17:00:00 | 6.2227 | 151.731 | 7.7743 | 208.51 | 9.0527 | 266.327 | 1.894 | 333.164 | 26.46 | 967.412 | 52.5213 | 46.7546
2019-04-12 17:15:00 | 4.18 | 141.167 | 10.0753 | 193.03 | 9.564 | 266.348 | 5.2177 | 323.273 | 26.46 | 967.128 | 60.5459 | 52.8569
2019-04-12 17:30:00 | 8.5207 | 160.881 | 8.03 | 195.662 | 8.03 | 266.446 | 5.729 | 355.391 | 26.46 | 967.425 | 57.9521 | 46.1256
2019-04-12 17:45:00 | 0 | 164.876 | 7.5187 | 234.991 | 6.7517 | 266.809 | 4.962 | 354.511 | 26.46 | 967.425 | 63.7537 | 49.1082
2019-04-12 18:00:00 | 3.2973 | 185.029 | 7.5187 | 209.574 | 9.564 | 266.492 | 0.75133 | 3.8502 | 26.46 | 967.128 | 70.9207 | 46.0915
2019-04-12 18:15:00 | 0 | 174.387 | 5.9847 | 217.723 | 7.5187 | 266.673 | 1.5183 | 349.358 | 26.46 | 967.425 | 71.0601 | 40.6887
2019-04-12 18:30:00 | 2.9033 | 159.392 | 10.331 | 200.225 | 11.098 | 266.287 | 4.7063 | 342.742 | 26.46 | 966.98 | 64.2408 | 38.7758
2019-04-12 18:45:00 | 0.372 | 152.037 | 5.9847 | 184.512 | 5.4733 | 266.882 | 1.2627 | 342.9 | 26.46 | 967.277 | 66.5642 | 50.0266
2019-04-12 19:00:00 | 4.18 | 145.262 | 9.3083 | 191.556 | 10.5867 | 266.175 | 5.2177 | 323.695 | 26.46 | 966.831 | 65.745 | 56.7344
2019-04-12 19:15:00 | 4.6907 | 156.01 | 12.1207 | 190.02 | 12.632 | 265.712 | 5.729 | 334.565 | 26.46 | 966.534 | 66.7691 | 59.3466
2019-04-12 19:30:00 | 5.712 | 142.337 | 9.564 | 183.634 | 7.7743 | 266.394 | 4.4507 | 327.204 | 26.46 | 966.98 | 68.5783 | 61.2716
2019-04-12 19:45:00 | 1.882 | 147.016 | 9.3083 | 201.89 | 9.3083 | 266.248 | 5.9847 | 330.275 | 26.46 | 966.98 | 68.8855 | 63.5247
2019-04-12 20:00:00 | 5.9673 | 143.702 | 9.3083 | 190.971 | 7.5187 | 266.492 | 5.729 | 325.571 | 26.46 | 967.128 | 68.2028 | 59.6311
2019-04-12 20:15:00 | 3.9247 | 152.72 | 7.0073 | 206.618 | 7.5187 | 266.492 | 3.308 | 327.497 | 26.46 | 967.128 | 68.0662 | 61.3197
2019-04-12 20:30:00 | 0 | 129.127 | 7.7743 | 182.196 | 10.0753 | 266.492 | 3.428 | 328.642 | 26.46 | 967.128 | 68.8855 | 61.0803
2019-04-12 20:45:00 | 3.414 | 153.792 | 9.564 | 205.594 | 11.6093 | 266.102 | 3.6837 | 333.102 | 26.46 | 967.128 | 68.6124 | 58.9513
2019-04-12 21:00:00 | 5.4567 | 146.822 | 8.5413 | 190.8 | 8.03 | 266.297 | 3.6837 | 325.913 | 26.46 | 967.425 | 68.5441 | 61.9884
2019-04-12 21:15:00 | 0 | 149.015 | 9.3083 | 210.054 | 6.2403 | 266.54 | 0.37567 | 326.692 | 26.46 | 967.722 | 67.8614 | 59.3983
2019-04-12 21:30:00 | 4.6907 | 143.848 | 6.496 | 200.622 | 7.263 | 266.297 | 4.195 | 335.272 | 26.46 | 967.722 | 67.5883 | 63.3075
2019-04-12 21:45:00 | 3.5527 | 149.649 | 10.331 | 201.914 | 10.5867 | 266.102 | 2.9167 | 334.711 | 26.46 | 967.425 | 67.9297 | 61.3344
2019-04-12 22:00:00 | 3.9247 | 145.115 | 8.03 | 188.753 | 7.7743 | 266.394 | 2.661 | 325.181 | 26.46 | 967.722 | 68.3393 | 63.2151
2019-04-12 22:15:00 | 3.9247 | 148.918 | 9.564 | 201.085 | 10.0753 | 266.102 | 3.6837 | 329.3 | 26.46 | 967.722 | 68.6807 | 56.2466
2019-04-12 22:30:00 | 0.744 | 154.621 | 8.2857 | 207.154 | 7.7743 | 266.345 | 4.7063 | 332.956 | 26.46 | 967.722 | 69.022 | 52.7291
2019-04-12 22:45:00 | 0 | 155.62 | 7.0073 | 215.758 | 6.496 | 266.614 | 3.308 | 300.76 | 26.46 | 967.722 | 69.5682 | 54.8816
2019-04-12 23:00:00 | 2.276 | 141.752 | 8.03 | 200.452 | 9.3083 | 266.394 | 5.4733 | 329.373 | 26.46 | 967.722 | 70.2509 | 57.9832
2019-04-12 23:15:00 | 2.1373 | 148.333 | 6.496 | 213.442 | 7.263 | 266.516 | 5.2177 | 338.562 | 26.46 | 967.871 | 70.7288 | 60.5807
2019-04-12 23:30:00 | 3.414 | 165.418 | 9.3083 | 204.376 | 10.0753 | 266.151 | 5.729 | 338.416 | 26.46 | 967.722 | 71.1043 | 59.79
2019-04-12 23:45:00 | 3.414 | 159.837 | 7.5187 | 208.032 | 6.496 | 266.492 | 2.1497 | 334.979 | 26.46 | 967.722 | 72.2308 | 59.8454