## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-13 00:00:00 | 2.9033 | 150.599 | 9.0527 | 186.657 | 9.3083 | 266.248 | 2.9167 | 332.152 | 26.46 | 967.574 | 72.7769 | 58.7008
2019-04-13 00:15:00 | 5.2013 | 147.577 | 9.3083 | 195.187 | 9.3083 | 266.224 | 1.894 | 332.469 | 26.46 | 967.425 | 73.7327 | 58.1125
2019-04-13 00:30:00 | 2.648 | 143.434 | 8.5413 | 199.184 | 6.2403 | 266.54 | 5.4733 | 330.153 | 26.46 | 967.425 | 73.4596 | 59.7198
2019-04-13 00:45:00 | 2.9033 | 144.189 | 8.03 | 206.179 | 5.729 | 266.589 | 1.5183 | 341.365 | 26.46 | 967.128 | 73.4596 | 55.7811
2019-04-13 01:00:00 | 6.478 | 141.679 | 9.564 | 197.137 | 9.564 | 266.297 | 5.2177 | 324.986 | 26.46 | 966.831 | 73.7327 | 51.3185
2019-04-13 01:15:00 | 6.478 | 175.63 | 9.0527 | 212.297 | 7.5187 | 266.492 | 2.4053 | 356.184 | 26.46 | 966.831 | 73.8693 | 53.4903
2019-04-13 01:30:00 | 0.744 | 157.082 | 5.9847 | 214.1 | 2.9167 | 266.687 | 3.6837 | 286.209 | 26.46 | 966.98 | 74.0741 | 45.8161
2019-04-13 01:45:00 | 2.5313 | 147.796 | 6.496 | 205.765 | 5.9847 | 266.687 | 4.7063 | 326.741 | 26.46 | 966.534 | 75.3712 | 45.8937
2019-04-13 02:00:00 | 8.2653 | 152.11 | 7.7743 | 195.406 | 6.7517 | 266.492 | 6.496 | 337.928 | 26.46 | 966.534 | 75.7126 | 40.087
2019-04-13 02:15:00 | 2.3927 | 155.401 | 8.03 | 206.374 | 8.2857 | 266.394 | 5.729 | 345.216 | 26.46 | 966.238 | 75.0981 | 37.7059
2019-04-13 02:30:00 | 0 | 137.535 | 6.496 | 207.617 | 6.2403 | 266.589 | 3.6837 | 326.692 | 26.46 | 966.238 | 75.7467 | 38.7589
2019-04-13 02:45:00 | 6.9887 | 181.87 | 7.0073 | 218.414 | 9.3083 | 266.492 | 5.2177 | 332.859 | 26.46 | 965.792 | 75.0299 | 55.4042
2019-04-13 03:00:00 | 4.4353 | 151.477 | 7.7743 | 219.462 | 6.7517 | 266.565 | 6.2403 | 337.611 | 26.46 | 965.941 | 74.3813 | 61.534
2019-04-13 03:15:00 | 2.648 | 158.13 | 7.5187 | 210.688 | 8.5413 | 266.394 | 2.4053 | 349.895 | 26.46 | 965.495 | 76.8732 | 55.3894
2019-04-13 03:30:00 | 6.478 | 150.477 | 8.797 | 200.427 | 7.5187 | 266.394 | 0.37567 | 335.223 | 26.46 | 965.495 | 77.5559 | 56.1062
2019-04-13 03:45:00 | 0.372 | 150.721 | 8.797 | 198.989 | 9.0527 | 266.297 | 1.774 | 337.295 | 26.46 | 965.794 | 76.7366 | 49.3003
2019-04-13 04:00:00 | 5.2013 | 152.988 | 8.797 | 205.789 | 10.0753 | 266.224 | 2.1497 | 338.806 | 26.46 | 965.65 | 76.6342 | 50.6379
2019-04-13 04:15:00 | 2.648 | 162.883 | 8.2857 | 203.498 | 6.7517 | 266.492 | 2.4053 | 340.487 | 26.46 | 965.947 | 74.7568 | 50.2979
2019-04-13 04:30:00 | 2.0207 | 149.259 | 10.331 | 204.278 | 9.564 | 266.297 | 1.3827 | 340.341 | 26.46 | 965.944 | 75.576 | 54.524
2019-04-13 04:45:00 | 4.6907 | 153.402 | 7.7743 | 202.036 | 6.496 | 266.492 | 2.2853 | 337.27 | 26.46 | 965.955 | 77.078 | 46.9984
2019-04-13 05:00:00 | 7.7547 | 149.551 | 7.5187 | 197.6 | 8.2857 | 266.297 | 2.4053 | 330.495 | 26.46 | 966.238 | 77.3511 | 44.3234
2019-04-13 05:15:00 | 4.4353 | 152.72 | 8.797 | 204.863 | 9.564 | 266.248 | 3.5637 | 341.682 | 26.46 | 965.941 | 77.1463 | 50.6362
2019-04-13 05:30:00 | 1.2547 | 157.814 | 8.5413 | 202.158 | 8.2857 | 266.297 | 5.2177 | 334.272 | 26.46 | 965.644 | 77.0097 | 50.9371
2019-04-13 05:45:00 | 1.904 | 149.551 | 7.5187 | 190.239 | 6.2403 | 266.492 | 5.9847 | 335.15 | 26.46 | 965.941 | 77.6924 | 45.0882
2019-04-13 06:00:00 | 7.244 | 151.672 | 7.263 | 199.404 | 7.263 | 266.492 | 4.4507 | 335.881 | 26.46 | 966.242 | 77.6924 | 36.8524
2019-04-13 06:15:00 | 8.776 | 154.231 | 8.03 | 198.721 | 7.263 | 266.492 | 4.962 | 333.102 | 26.46 | 966.539 | 77.829 | 40.2278
2019-04-13 06:30:00 | 2.9033 | 156.766 | 9.3083 | 200.476 | 8.797 | 266.321 | 2.661 | 339.708 | 26.46 | 966.543 | 77.9655 | 38.8476
2019-04-13 06:45:00 | 3.414 | 158.228 | 7.0073 | 207.69 | 7.5187 | 266.492 | 0.75133 | 334.053 | 26.46 | 966.387 | 77.9655 | 46.0747
2019-04-13 07:00:00 | 6.478 | 148.918 | 9.0527 | 199.842 | 9.0527 | 266.297 | 4.962 | 334.443 | 26.46 | 966.535 | 77.4193 | 47.2497
2019-04-13 07:15:00 | 3.042 | 153.378 | 8.5413 | 199.745 | 8.797 | 266.394 | 3.6837 | 337.514 | 26.46 | 966.535 | 77.5559 | 47.0649
2019-04-13 07:30:00 | 5.9673 | 151.818 | 9.8197 | 204.766 | 8.2857 | 266.492 | 1.007 | 335.589 | 26.46 | 966.98 | 77.4193 | 42.5129
2019-04-13 07:45:00 | 5.2013 | 157.448 | 8.797 | 199.891 | 7.0073 | 266.492 | 4.962 | 349.505 | 26.46 | 967.129 | 76.5318 | 44.5208
2019-04-13 08:00:00 | 1.7653 | 155.27 | 8.797 | 205.361 | 8.5413 | 266.378 | 2.1497 | 356.284 | 26.46 | 967.277 | 76.459 | 42.1693
2019-04-13 08:15:00 | 11.5847 | 174.111 | 8.5413 | 218.224 | 7.0073 | 266.54 | 7.0073 | 334.772 | 26.46 | 967.426 | 76.6202 | 37.2367
2019-04-13 08:30:00 | 0.88267 | 167.14 | 6.2403 | 200.384 | 4.7063 | 266.634 | 0.37567 | 43.2287 | 26.46 | 967.723 | 76.1072 | 44.231
2019-04-13 08:45:00 | 9.0313 | 165.511 | 10.331 | 214.986 | 9.8197 | 266.446 | 3.9393 | 347.13 | 26.46 | 967.871 | 74.4025 | 44.1165
2019-04-13 09:00:00 | 3.6693 | 156.831 | 10.0753 | 195.972 | 10.331 | 266.146 | 5.729 | 342.393 | 26.46 | 967.723 | 74.2981 | 41.6023
2019-04-13 09:15:00 | 0.744 | 153.013 | 8.2857 | 192.928 | 9.0527 | 266.385 | 0.37567 | 351.322 | 26.46 | 968.248 | 71.8671 | 43.0708
2019-04-13 09:30:00 | 10.308 | 147.649 | 8.5413 | 196.381 | 7.0073 | 266.401 | 5.9847 | 331.6 | 26.46 | 968.468 | 72.5474 | 40.8022
2019-04-13 09:45:00 | 0.62733 | 147.186 | 5.4733 | 217.066 | 5.9847 | 266.693 | 1.6383 | 326.947 | 26.46 | 968.615 | 72.3426 | 33.745
2019-04-13 10:00:00 | 1.51 | 151.644 | 7.0073 | 221.33 | 6.7517 | 266.62 | 1.127 | 345.342 | 26.46 | 969.06 | 71.2507 | 38.9252
2019-04-13 10:15:00 | 0 | 179.615 | 6.2403 | 219.503 | 5.9847 | 266.693 | 2.2853 | 339.64 | 26.46 | 969.06 | 69.6127 | 30.3568
2019-04-13 10:30:00 | 0 | 182.563 | 8.03 | 212.218 | 7.263 | 266.596 | 3.1723 | 351.774 | 26.46 | 969.06 | 69.9539 | 29.6253
2019-04-13 10:45:00 | 0 | 162.214 | 5.9847 | 231.336 | 6.496 | 266.588 | 5.9847 | 7.8695 | 26.46 | 968.615 | 68.9964 | 34.5802
2019-04-13 11:00:00 | 0 | 166.019 | 5.729 | 225.119 | 5.729 | 266.654 | 0.37567 | 356.594 | 26.46 | 968.615 | 69.6025 | 32.7142
2019-04-13 11:15:00 | 0 | 179.875 | 7.263 | 204.868 | 5.9847 | 266.451 | 0.37567 | 355.95 | 26.46 | 968.615 | 67.9286 | 36.1662
2019-04-13 11:30:00 | 3.9247 | 167.737 | 9.3083 | 209.39 | 9.564 | 266.246 | 4.4507 | 353.33 | 26.46 | 968.466 | 65.7766 | 37.717
2019-04-13 11:45:00 | 0 | 208.506 | 6.7517 | 236.394 | 6.7517 | 266.575 | 0 | 9.8894 | 26.46 | 968.021 | 66.0808 | 32.1932
2019-04-13 12:00:00 | 1.2547 | 181.68 | 5.4733 | 237.358 | 5.9847 | 266.59 | 1.127 | 1.1204 | 26.46 | 968.615 | 65.8395 | 34.6466
2019-04-13 12:15:00 | 2.0207 | 184.523 | 7.5187 | 239.735 | 8.797 | 266.506 | 3.6837 | 2.6061 | 26.46 | 968.313 | 63.6537 | 31.9535
2019-04-13 12:30:00 | 13.372 | 161.238 | 8.2857 | 215.597 | 7.263 | 266.505 | 6.7517 | 351.63 | 26.46 | 968.317 | 65.3591 | 35.356
2019-04-13 12:45:00 | 0.372 | 165.841 | 6.7517 | 206.975 | 7.5187 | 266.578 | 1.007 | 352.312 | 26.46 | 968.614 | 64.3357 | 32.0343
2019-04-13 13:00:00 | 2.9033 | 185.375 | 7.7743 | 230.016 | 7.7743 | 266.505 | 3.1723 | 10.2296 | 26.46 | 968.169 | 63.7217 | 33.1132
2019-04-13 13:15:00 | 9.2867 | 174.512 | 7.7743 | 217.765 | 8.5413 | 266.529 | 5.9847 | 0.19485 | 26.46 | 967.872 | 64.8474 | 28.7385
2019-04-13 13:30:00 | 11.84 | 173.83 | 8.2857 | 224.925 | 9.0527 | 266.432 | 6.7517 | 47.2996 | 26.46 | 968.169 | 64.131 | 20.4362
2019-04-13 13:45:00 | 0 | 177.459 | 8.03 | 225.364 | 7.7743 | 266.529 | 4.7063 | 0.19485 | 26.46 | 968.021 | 63.9946 | 18.3892
2019-04-13 14:00:00 | 0 | 177.459 | 5.2177 | 218.3 | 6.7517 | 266.578 | 3.6837 | 2.1921 | 26.46 | 967.872 | 63.8581 | 15.1156
2019-04-13 14:15:00 | 0 | 180.82 | 7.0073 | 234.984 | 5.4733 | 266.675 | 5.4733 | 1.2665 | 26.46 | 967.872 | 63.1076 | 11.4984
2019-04-13 14:30:00 | 0 | 182.525 | 6.7517 | 247.747 | 7.263 | 266.602 | 0 | 17.5364 | 26.46 | 967.427 | 63.3123 | 10.837
2019-04-13 14:45:00 | 0 | 188.419 | 5.9847 | 242.243 | 7.5187 | 266.554 | 0 | 4.8469 | 26.46 | 967.872 | 61.1291 | 9.008
2019-04-13 15:00:00 | 0 | 169.665 | 5.729 | 216.303 | 6.2403 | 266.602 | 1.007 | 355.356 | 26.46 | 967.689 | 61.8796 | 8.8787
2019-04-13 15:15:00 | 0 | 143.336 | 6.2403 | 198.669 | 5.4733 | 266.602 | 3.428 | 337.235 | 26.46 | 967.586 | 61.9478 | 6.3551
2019-04-13 15:30:00 | 0 | 135.761 | 4.7063 | 187.173 | 5.9847 | 266.602 | 0.37567 | 317.312 | 26.46 | 967.182 | 63.7899 | 5.8933
2019-04-13 15:45:00 | 0 | 219.741 | 4.7063 | 238.029 | 3.6837 | 266.724 | 0 | 48.3226 | 26.46 | 967.449 | 62.0161 | 4.0976
2019-04-13 16:00:00 | 0 | 181.867 | 5.2177 | 225.851 | 5.4733 | 266.675 | 3.5637 | 0.19485 | 26.46 | 967.409 | 62.5619 | 5.0989
2019-04-13 16:15:00 | 0 | 148.28 | 4.962 | 199.254 | 3.428 | 266.7 | 0 | 335.871 | 26.46 | 967.575 | 63.2441 | 5.376
2019-04-13 16:30:00 | 0 | 175.51 | 3.428 | 232.5 | 4.7063 | 266.7 | 2.661 | 351.581 | 26.46 | 967.575 | 62.8347 | 4.2934
2019-04-13 16:45:00 | 0 | 159.776 | 5.2177 | 203.346 | 5.9847 | 266.602 | 0.75133 | 345.2 | 26.46 | 967.427 | 63.1076 | 6.3773
2019-04-13 17:00:00 | 0 | 165.67 | 6.7517 | 211.481 | 6.496 | 266.554 | 5.729 | 353.554 | 26.46 | 967.427 | 63.8581 | 9.0671
2019-04-13 17:15:00 | 0 | 188.37 | 5.729 | 227.288 | 7.0073 | 266.602 | 0.63133 | 340.962 | 26.46 | 967.427 | 63.6534 | 9.7729
2019-04-13 17:30:00 | 0 | 202.18 | 3.9393 | 249.233 | 5.4733 | 266.675 | 0 | 11.009 | 26.46 | 967.724 | 62.9712 | 3.4103
2019-04-13 17:45:00 | 0 | 167.57 | 3.6837 | 227.751 | 2.9167 | 266.7 | 0 | 356.33 | 26.46 | 967.724 | 63.7217 | 2.9078
2019-04-13 18:00:00 | 2.5313 | 171.936 | 3.6837 | 212.049 | 2.9167 | 266.709 | 0.63133 | 19.0715 | 26.46 | 967.872 | 64.0649 | 0.25125
2019-04-13 18:15:00 | 0 | 246.342 | 2.4053 | 307.692 | 0.75133 | 266.704 | 0 | 52.0985 | 26.46 | 968.466 | 64.5072 | -0.4286
2019-04-13 18:30:00 | 0 | 297.697 | 3.9393 | 16.0297 | 3.9393 | 266.763 | 0 | 117.305 | 26.46 | 968.763 | 65.6013 | 0.048033
2019-04-13 18:45:00 | 0 | 297.556 | 3.1723 | 17.9539 | 3.428 | 266.865 | 0 | 117.21 | 26.46 | 968.466 | 67.0695 | 0.0073897
2019-04-13 19:00:00 | 0 | 294.432 | 3.6837 | 7.4295 | 2.4053 | 266.928 | 0 | 118.031 | 26.46 | 968.763 | 67.5909 | 0.65768
2019-04-13 19:15:00 | 0 | 301.767 | 2.9167 | 16.3455 | 1.894 | 266.951 | 0 | 122.5 | 26.46 | 968.614 | 67.7675 | 0.90524
2019-04-13 19:30:00 | 0 | 283.111 | 3.1723 | 326.262 | 1.6383 | 266.884 | 0 | 104.936 | 26.46 | 968.911 | 67.6666 | 0.18844
2019-04-13 19:45:00 | 0 | 251.977 | 1.6383 | 259.07 | 0 | 266.888 | 0 | 98.6516 | 26.46 | 968.614 | 67.7017 | -0.24016
2019-04-13 20:00:00 | 0 | 314.155 | 3.428 | 17.107 | 3.1723 | 266.888 | 0 | 131.251 | 26.46 | 969.06 | 67.7017 | -0.29189
2019-04-13 20:15:00 | 2.3927 | 340.274 | 4.962 | 24.6844 | 5.2177 | 267.034 | 5.729 | 157.346 | 26.46 | 969.356 | 69.9539 | 4.3673
2019-04-13 20:30:00 | 0 | 342.296 | 3.6837 | 36.3306 | 2.4053 | 267.034 | 0 | 160.294 | 26.46 | 969.505 | 71.5919 | 5.6716
2019-04-13 20:45:00 | 0 | 344.367 | 4.4507 | 36.5499 | 2.661 | 267.034 | 0 | 155.518 | 26.46 | 969.802 | 72.2061 | 7.1532
2019-04-13 21:00:00 | 0 | 333.793 | 3.6837 | 35.7702 | 3.1723 | 267.18 | 0.887 | 162.754 | 26.46 | 969.808 | 73.4346 | 12.7952
2019-04-13 21:15:00 | 1.3933 | 349.8 | 5.2177 | 22.857 | 1.6383 | 267.4 | 0.63133 | 172.354 | 26.46 | 969.838 | 75.755 | 17.8239
2019-04-13 21:30:00 | 0 | 353.601 | 5.729 | 55.0912 | 4.4507 | 313.473 | 1.007 | 181.515 | 26.46 | 969.959 | 82.9892 | 20.0408
2019-04-13 21:45:00 | 0.88267 | 1.3889 | 4.962 | 30.6819 | 4.962 | 313.399 | 3.6837 | 178.654 | 26.46 | 970.079 | 84.5313 | 23.5029
2019-04-13 22:00:00 | 6.7333 | 344.596 | 6.7517 | 34.4637 | 5.4733 | 313.428 | 4.195 | 175.38 | 26.46 | 970.692 | 82.8667 | 22.5423
2019-04-13 22:15:00 | 6.9887 | 334.531 | 9.0527 | 16.0654 | 11.865 | 304.997 | 4.4507 | 144.749 | 26.46 | 971.286 | 86.0749 | 57.9731
2019-04-13 22:30:00 | 10.8187 | 119.944 | 4.7063 | 43.6029 | 3.9393 | 327.665 | 1.5183 | 166.781 | 26.46 | 970.247 | 89.6599 | 59.4805
2019-04-13 22:45:00 | 0.372 | 347.58 | 4.7063 | 53.167 | 3.9393 | 328.398 | 4.4507 | 161.786 | 26.46 | 969.504 | 86.2945 | 15.8906
2019-04-13 23:00:00 | 0 | 347.604 | 4.962 | 51.2903 | 5.4733 | 326.229 | 2.661 | 162.566 | 26.46 | 969.391 | 63.8334 | 3.8352
2019-04-13 23:15:00 | 0 | 335.905 | 4.962 | 12.2939 | 4.195 | 326.156 | 1.2627 | 134.684 | 26.46 | 970.142 | 63.1166 | 15.9396
2019-04-13 23:30:00 | 0 | 321.842 | 4.195 | 13.2932 | 7.0073 | 326.595 | 2.2853 | 145.676 | 26.46 | 970.395 | 67.1104 | 25.7309
2019-04-13 23:45:00 | 0 | 343.607 | 4.4507 | 2.2523 | 4.7063 | 325.206 | 3.9393 | 148.723 | 26.46 | 970.544 | 74.2789 | 24.5486