## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-14 00:00:00 | 2.9033 | 340.487 | 4.4507 | 22.4086 | 5.9847 | 325.474 | 5.729 | 159.276 | 26.46 | 970.395 | 85.2364 | 17.8313
2019-04-14 00:15:00 | 0 | 324.133 | 2.9167 | 6.6151 | 3.6837 | 325.084 | 1.6383 | 151.404 | 26.46 | 970.692 | 86.7042 | 20.9719
2019-04-14 00:30:00 | 0 | 318.869 | 5.2177 | 22.238 | 4.195 | 326.059 | 0 | 153.865 | 26.46 | 970.692 | 85.2022 | 20.983
2019-04-14 00:45:00 | 0.88267 | 339.513 | 2.661 | 15.8079 | 3.428 | 325.279 | 0 | 125.398 | 26.46 | 970.722 | 88.1379 | 22.7566
2019-04-14 01:00:00 | 4.18 | 331.811 | 6.2403 | 30.8903 | 4.4507 | 326.692 | 6.2403 | 141.484 | 26.46 | 970.766 | 86.6018 | 21.323
2019-04-14 01:15:00 | 6.7333 | 355.209 | 5.4733 | 24.5047 | 4.962 | 326.473 | 2.1497 | 164.029 | 26.46 | 970.788 | 82.8128 | 20.329
2019-04-14 01:30:00 | 1.2547 | 326.717 | 7.5187 | 30.9634 | 3.6837 | 326.351 | 5.4733 | 145.31 | 26.46 | 970.794 | 84.9974 | 20.3623
2019-04-14 01:45:00 | 0 | 345.095 | 2.661 | 47.3909 | 2.661 | 326.255 | 1.6383 | 144.19 | 26.46 | 970.717 | 83.7688 | 18.9915
2019-04-14 02:00:00 | 0 | 306.999 | 3.9393 | 7.6387 | 4.4507 | 326.351 | 5.2177 | 142.337 | 26.46 | 970.725 | 80.4233 | 19.2243
2019-04-14 02:15:00 | 0.62733 | 334.179 | 5.729 | 20.1911 | 5.4733 | 327.11 | 1.2627 | 152.112 | 26.46 | 970.99 | 80.4242 | 21.8439
2019-04-14 02:30:00 | 0 | 340.659 | 4.195 | 26.1655 | 3.6837 | 326.79 | 4.4507 | 159.41 | 26.46 | 970.873 | 81.3852 | 16.2388
2019-04-14 02:45:00 | 0 | 354.951 | 4.4507 | 22.6595 | 3.9393 | 327.186 | 0 | 162.447 | 26.46 | 971.122 | 80.9147 | 18.4336
2019-04-14 03:00:00 | 1.7653 | 348.942 | 5.729 | 46.7218 | 4.962 | 327.368 | 4.4507 | 171.497 | 26.46 | 971.151 | 81.259 | 23.3662
2019-04-14 03:15:00 | 4.18 | 351.175 | 7.263 | 51.0833 | 4.7063 | 327.749 | 5.9847 | 181.072 | 26.46 | 971.387 | 75.8623 | 26.4255
2019-04-14 03:30:00 | 4.18 | 356.756 | 7.0073 | 43.9163 | 5.729 | 327.967 | 4.962 | 179.439 | 26.46 | 971.251 | 77.535 | 28.4355
2019-04-14 03:45:00 | 0.372 | 352.395 | 7.263 | 38.9437 | 7.0073 | 328.554 | 4.7063 | 176.49 | 26.46 | 971.579 | 75.1797 | 21.4929
2019-04-14 04:00:00 | 4.3187 | 351.003 | 7.263 | 31.9752 | 5.9847 | 328.404 | 8.5413 | 176.209 | 26.46 | 971.434 | 75.7308 | 20.6172
2019-04-14 04:15:00 | 0.62733 | 347.279 | 3.9393 | 53.6053 | 3.6837 | 328.408 | 1.5183 | 183.733 | 26.46 | 971.583 | 78.0592 | 15.7844
2019-04-14 04:30:00 | 3.1587 | 356.89 | 5.9847 | 43.5858 | 4.7063 | 328.291 | 5.9847 | 178.104 | 26.46 | 971.583 | 77.5823 | 15.9433
2019-04-14 04:45:00 | 0 | 343.139 | 6.2403 | 38.9778 | 3.428 | 328.218 | 5.9847 | 176.738 | 26.46 | 971.583 | 75.9433 | 19.228
2019-04-14 05:00:00 | 0 | 0.097524 | 4.962 | 49.2666 | 4.7063 | 328.218 | 5.9847 | 185.491 | 26.46 | 971.458 | 76.3531 | 20.5064
2019-04-14 05:15:00 | 0 | 355.915 | 5.2177 | 61.6766 | 4.7063 | 328.169 | 3.6837 | 192.147 | 26.46 | 971.294 | 77.3092 | 13.4862
2019-04-14 05:30:00 | 0 | 352.989 | 5.729 | 42.2205 | 5.729 | 328.242 | 4.962 | 187.198 | 26.46 | 971.715 | 70.8212 | 10.5377
2019-04-14 05:45:00 | 0 | 2.6332 | 3.9393 | 47.5112 | 3.6837 | 328.218 | 0 | 189.807 | 26.46 | 971.803 | 75.1921 | 8.5462
2019-04-14 06:00:00 | 0 | 350.917 | 4.962 | 36.4666 | 4.195 | 328.218 | 2.661 | 178.811 | 26.46 | 972.453 | 74.9872 | 10.146
2019-04-14 06:15:00 | 0 | 4.6324 | 3.9393 | 53.387 | 3.428 | 328.169 | 3.428 | 189.953 | 26.46 | 972.759 | 73.553 | 11.9011
2019-04-14 06:30:00 | 0.372 | 353.404 | 5.9847 | 42.7569 | 3.9393 | 328.34 | 5.729 | 185.199 | 26.46 | 972.817 | 68.5675 | 19.7896
2019-04-14 06:45:00 | 0 | 356.086 | 4.962 | 44.171 | 4.962 | 328.267 | 1.127 | 183.151 | 26.46 | 972.771 | 68.0895 | 21.2601
2019-04-14 07:00:00 | 0 | 356.836 | 4.7063 | 50.7431 | 4.7063 | 328.29 | 4.7063 | 165.035 | 26.46 | 973.217 | 67.0549 | 18.6516
2019-04-14 07:15:00 | 0 | 63.6417 | 5.2177 | 67.7968 | 5.729 | 328.324 | 0 | 186.83 | 26.46 | 973.12 | 60.151 | 14.3656
2019-04-14 07:30:00 | 0 | 349.774 | 4.195 | 58.6022 | 4.962 | 328.301 | 2.4053 | 182.942 | 26.46 | 973.675 | 58.6448 | 9.1521
2019-04-14 07:45:00 | 0 | 16.1104 | 7.7743 | 66.9864 | 5.2177 | 328.399 | 5.2177 | 195.153 | 26.46 | 973.662 | 56.8015 | 15.8583
2019-04-14 08:00:00 | 0 | 19.8882 | 8.2857 | 81.1714 | 8.2857 | 329.617 | 4.962 | 187.719 | 26.46 | 973.662 | 49.4965 | 13.0317
2019-04-14 08:15:00 | 0 | 6.1907 | 6.496 | 62.6481 | 6.496 | 329.179 | 3.1723 | 158.935 | 26.46 | 974.256 | 51.0668 | 12.9948
2019-04-14 08:30:00 | 0 | 10.8195 | 10.331 | 72.7944 | 7.0073 | 329.289 | 3.6837 | 192.583 | 26.46 | 974.256 | 41.7742 | 11.1584
2019-04-14 08:45:00 | 0 | 84.4602 | 7.263 | 57.9295 | 6.7517 | 329.726 | 2.541 | 186.002 | 26.46 | 974.85 | 44.2996 | 13.1647
2019-04-14 09:00:00 | 0.62733 | 342.915 | 5.9847 | 35.6091 | 5.9847 | 329.415 | 2.9167 | 186.322 | 26.46 | 975.147 | 40.8874 | 15.075
2019-04-14 09:15:00 | 0 | 2.729 | 5.4733 | 70.1803 | 6.496 | 329.191 | 3.9393 | 176.316 | 26.46 | 975.362 | 42.0441 | 11.4799
2019-04-14 09:30:00 | 0 | 347.218 | 3.1723 | 90.5415 | 2.9167 | 329.066 | 3.6837 | 179.907 | 26.46 | 975.896 | 42.5866 | 9.0598
2019-04-14 09:45:00 | 0 | 2.3633 | 6.2403 | 69.4413 | 4.962 | 329.161 | 5.4733 | 167.772 | 26.46 | 976.333 | 41.3579 | 8.0252
2019-04-14 10:00:00 | 0 | 253.462 | 2.4053 | 0.655 | 1.6383 | 328.97 | 0 | 236.12 | 26.46 | 976.63 | 40.2544 | 7.1939
2019-04-14 10:15:00 | 0 | 305.548 | 2.1497 | 318.843 | 2.9167 | 327.931 | 0 | 155.344 | 26.46 | 977.224 | 38.4104 | 8.5905
2019-04-14 10:30:00 | 0 | 23.7472 | 2.1497 | 109.964 | 0.37567 | 327.98 | 0 | 201.377 | 26.46 | 976.644 | 36.5001 | 11.9233
2019-04-14 10:45:00 | 0 | 22.0142 | 6.2403 | 60.5564 | 5.2177 | 328.435 | 0.75133 | 216.051 | 26.46 | 976.925 | 33.9018 | 12.7435
2019-04-14 11:00:00 | 0 | 9.716 | 4.4507 | 41.6807 | 4.7063 | 328.398 | 5.2177 | 195.588 | 26.46 | 976.925 | 33.832 | 11.273
2019-04-14 11:15:00 | 0 | 33.7462 | 2.1497 | 101.642 | 0.37567 | 327.529 | 0 | 200.14 | 26.46 | 977.23 | 28.781 | 9.9281
2019-04-14 11:30:00 | 0 | 19.1861 | 4.195 | 29.0609 | 2.1497 | 327.064 | 0 | 187.965 | 26.46 | 976.776 | 25.5755 | 10.7816
2019-04-14 11:45:00 | 0 | 310.191 | 2.4053 | 7.7565 | 2.9167 | 326.504 | 0.37567 | 212.216 | 26.46 | 976.627 | 24.6888 | 14.4801
2019-04-14 12:00:00 | 0 | 19.186 | 1.6383 | 90.7823 | 2.4053 | 328.208 | 0 | 168.097 | 26.46 | 976.33 | 23.7339 | 16.3682
2019-04-14 12:15:00 | 0 | 305.809 | 5.4733 | 4.7583 | 4.7063 | 309.12 | 0.37567 | 132.379 | 26.46 | 976.478 | 22.0972 | 13.4862
2019-04-14 12:30:00 | 0 | 306.734 | 3.6837 | 7.0713 | 2.4053 | 324.556 | 0.63133 | 126.219 | 26.46 | 976.212 | 21.8926 | 16.2699
2019-04-14 12:45:00 | 0 | 345.865 | 2.9167 | 335.118 | 3.6837 | 309.166 | 1.5183 | 222.791 | 26.46 | 976.177 | 22.237 | 14.554
2019-04-14 13:00:00 | 0 | 311.048 | 6.7517 | 334.321 | 4.7063 | 304.887 | 2.661 | 117.377 | 26.46 | 976.183 | 21.8963 | 15.2265
2019-04-14 13:15:00 | 0 | 347.927 | 6.496 | 36.9689 | 4.7063 | 320.477 | 1.6383 | 168.568 | 26.46 | 975.757 | 20.3991 | 15.607
2019-04-14 13:30:00 | 0 | 288.133 | 2.661 | 303.693 | 2.1497 | 312.781 | 2.7967 | 166.109 | 26.46 | 975.66 | 20.7402 | 12.6068
2019-04-14 13:45:00 | 0 | 305.353 | 8.2857 | 35.7755 | 4.7063 | 292.322 | 0 | 137.758 | 26.46 | 975.713 | 20.1944 | 12.4332
2019-04-14 14:00:00 | 0 | 277.66 | 4.7063 | 16.03 | 3.9393 | 302.942 | 4.195 | 135.81 | 26.46 | 975.727 | 20.672 | 9.8431
2019-04-14 14:15:00 | 0 | 296.512 | 6.496 | 17.8567 | 5.9847 | 300.798 | 0 | 129.745 | 26.46 | 975.94 | 22.8211 | 6.4882
2019-04-14 14:30:00 | 0 | 280.558 | 4.7063 | 325.589 | 1.5183 | 300.896 | 0 | 90.3125 | 26.46 | 975.958 | 20.7402 | 6.0263
2019-04-14 14:45:00 | 0 | 333.12 | 5.4733 | 246.637 | 4.962 | 300.366 | 4.7063 | 166.986 | 26.46 | 976.183 | 22.3062 | 4.3969
2019-04-14 15:00:00 | 0 | 30.2695 | 3.9393 | 13.6057 | 5.729 | 302.647 | 0 | 185.124 | 26.46 | 975.738 | 20.3956 | 3.5618
2019-04-14 15:15:00 | 0 | 307.758 | 5.4733 | 325.522 | 4.195 | 302.426 | 0.63133 | 120.498 | 26.46 | 975.202 | 22.6429 | 1.7588
2019-04-14 15:30:00 | 0 | 318.08 | 6.7517 | 7.753 | 5.2177 | 302.741 | 4.962 | 143.506 | 26.46 | 975.292 | 21.7903 | 1.0198
2019-04-14 15:45:00 | 0 | 301.134 | 4.195 | 4.7108 | 3.9393 | 301.937 | 0 | 145.491 | 26.46 | 975.143 | 20.3223 | -0.1404
2019-04-14 16:00:00 | 0 | 288.525 | 3.1723 | 15.1799 | 2.1497 | 279.858 | 0 | 119.164 | 26.46 | 975.292 | 23.1165 | -0.10715
2019-04-14 16:15:00 | 0 | 287.109 | 1.6383 | 322.709 | 1.3827 | 283.895 | 0 | 93.8447 | 26.46 | 975.737 | 20.3886 | -0.14779
2019-04-14 16:30:00 | 0 | 292.318 | 3.6837 | 36.1364 | 3.6837 | 284.139 | 0 | 115.413 | 26.46 | 975.885 | 20.1159 | -0.11454
2019-04-14 16:45:00 | 0 | 303.225 | 4.4507 | 334.736 | 3.6837 | 286.33 | 0 | 111.397 | 26.46 | 975.143 | 22.4344 | -0.081287
2019-04-14 17:00:00 | 0 | 300.522 | 3.9393 | 19.2697 | 3.9393 | 283.75 | 0 | 113.953 | 26.46 | 974.847 | 21.2751 | -0.15518
2019-04-14 17:15:00 | 0 | 280.707 | 3.6837 | 327.968 | 1.894 | 280.975 | 0 | 103.607 | 26.46 | 974.698 | 21.0706 | -0.2143
2019-04-14 17:30:00 | 0 | 268.353 | 2.4053 | 328.576 | 2.1497 | 279.796 | 0 | 91.1552 | 26.46 | 974.402 | 20.3915 | -0.24016
2019-04-14 17:45:00 | 0 | 253.266 | 3.428 | 288.097 | 3.1723 | 275.423 | 0 | 76.4278 | 26.46 | 973.78 | 21.7562 | -0.24016
2019-04-14 18:00:00 | 0 | 264.949 | 3.1723 | 312.379 | 2.9167 | 279.317 | 0 | 87.6182 | 26.46 | 973.511 | 22.9877 | -0.24016
2019-04-14 18:15:00 | 0 | 265.139 | 3.1723 | 316.941 | 2.1497 | 279.363 | 0 | 89.5083 | 26.46 | 973.43 | 23.4009 | -0.24016
2019-04-14 18:30:00 | 0 | 259.88 | 2.9167 | 299.504 | 2.1497 | 279.243 | 0 | 86.1476 | 26.46 | 973.065 | 22.9234 | -0.24016
2019-04-14 18:45:00 | 0 | 250.803 | 2.661 | 299.399 | 2.4053 | 279.206 | 0 | 69.4727 | 26.46 | 972.77 | 23.1993 | -0.24016
2019-04-14 19:00:00 | 0 | 238.722 | 3.6837 | 290.061 | 3.1723 | 275.171 | 0 | 57.4269 | 26.46 | 972.622 | 22.9994 | -0.26972
2019-04-14 19:15:00 | 0 | 232.705 | 3.6837 | 277.295 | 3.428 | 271.907 | 0 | 54.2596 | 26.46 | 972.349 | 23.2042 | 0.52836
2019-04-14 19:30:00 | 0 | 228.514 | 4.4507 | 267.549 | 3.9393 | 268.399 | 0 | 51.4577 | 26.46 | 972.981 | 23.682 | 5.195
2019-04-14 19:45:00 | 0 | 213.676 | 4.962 | 266.022 | 5.9847 | 256.611 | 3.6837 | 45.6641 | 26.46 | 973.036 | 25.4592 | 10.013
2019-04-14 20:00:00 | 0 | 204.55 | 3.6837 | 262.627 | 3.9393 | 256.211 | 5.4733 | 38.8922 | 26.46 | 972.771 | 26.7576 | 12.3666
2019-04-14 20:15:00 | 0 | 197.971 | 4.4507 | 235.602 | 3.1723 | 256.211 | 1.1427 | 27.4634 | 26.46 | 972.771 | 26.9625 | 13.5896
2019-04-14 20:30:00 | 0 | 193.997 | 3.6837 | 227.34 | 3.6837 | 256.21 | 0.63133 | 12.5741 | 26.46 | 972.919 | 26.6892 | 15.9839
2019-04-14 20:45:00 | 0 | 192.993 | 5.4733 | 231.427 | 2.9167 | 256.203 | 5.729 | 20.2009 | 26.46 | 972.919 | 25.9378 | 13.9591
2019-04-14 21:00:00 | 0 | 191.433 | 4.4507 | 228.405 | 3.428 | 256.203 | 0.75133 | 12.72 | 26.46 | 973.068 | 24.2995 | 10.268
2019-04-14 21:15:00 | 0 | 184.833 | 4.4507 | 226.85 | 3.9393 | 256.208 | 0 | 11.3069 | 26.46 | 973.068 | 24.573 | 10.135
2019-04-14 21:30:00 | 0 | 186.492 | 4.962 | 229.534 | 4.4507 | 255.918 | 0 | 10.9171 | 26.46 | 972.771 | 24.4027 | 12.5699
2019-04-14 21:45:00 | 0 | 177.11 | 4.4507 | 235.723 | 4.4507 | 255.723 | 0.37567 | 4.3863 | 26.46 | 972.771 | 27.3036 | 12.4812
2019-04-14 22:00:00 | 0 | 189.364 | 4.962 | 227.921 | 3.6837 | 255.914 | 0 | 13.8411 | 26.46 | 972.474 | 29.2144 | 12.725
2019-04-14 22:15:00 | 0 | 180.547 | 5.4733 | 228.901 | 4.7063 | 255.334 | 1.2627 | 7.0669 | 26.46 | 972.474 | 28.7372 | 10.146
2019-04-14 22:30:00 | 0 | 184.319 | 5.2177 | 230.778 | 4.962 | 255.165 | 0 | 6.7508 | 26.46 | 972.474 | 29.0815 | 11.5833
2019-04-14 22:45:00 | 0 | 169.473 | 5.729 | 221.806 | 4.7063 | 254.576 | 5.9847 | 9.9189 | 26.46 | 972.622 | 29.5588 | 13.1204
2019-04-14 23:00:00 | 0 | 172.456 | 6.496 | 215.506 | 7.263 | 251.762 | 1.5183 | 354.247 | 26.46 | 972.177 | 29.1508 | 17.3879
2019-04-14 23:15:00 | 3.414 | 182.79 | 6.7517 | 230.056 | 8.03 | 248.545 | 3.6837 | 2.2422 | 26.46 | 971.88 | 29.3556 | 21.3895
2019-04-14 23:30:00 | 3.414 | 185.686 | 8.03 | 225.518 | 9.3083 | 247.857 | 3.9393 | 8.5056 | 26.46 | 971.88 | 29.8328 | 22.8304
2019-04-14 23:45:00 | 9.2867 | 177.383 | 8.03 | 219.557 | 7.5187 | 245.894 | 2.541 | 3.4121 | 26.46 | 972.028 | 26.1474 | 24.822