## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-15 00:00:00 | 12.8613 | 186.235 | 7.0073 | 228.062 | 8.03 | 245.844 | 4.7063 | 9.7967 | 26.46 | 971.88 | 25.667 | 21.722
2019-04-15 00:15:00 | 8.5207 | 177.337 | 9.0527 | 217.773 | 7.263 | 245.693 | 3.1723 | 0.19496 | 26.46 | 971.583 | 24.4719 | 25.2986
2019-04-15 00:30:00 | 0.744 | 187.933 | 7.7743 | 200.831 | 7.7743 | 244.907 | 2.9167 | 11.2097 | 26.46 | 971.286 | 24.915 | 25.6496
2019-04-15 00:45:00 | 2.3927 | 155.523 | 7.7743 | 200.491 | 6.7517 | 244.714 | 5.4733 | 346.698 | 26.46 | 970.989 | 27.0994 | 29.8544
2019-04-15 01:00:00 | 12.8613 | 165.664 | 7.7743 | 215.409 | 8.2857 | 244.67 | 10.331 | 356.185 | 26.46 | 970.989 | 29.0796 | 37.9387
2019-04-15 01:15:00 | 5.2013 | 178.554 | 9.3083 | 214.514 | 7.0073 | 244.58 | 4.4507 | 0.19498 | 26.46 | 970.692 | 28.9468 | 38.3303
2019-04-15 01:30:00 | 1.116 | 159.983 | 7.5187 | 196.796 | 5.9847 | 240.949 | 2.1497 | 346.508 | 26.46 | 970.544 | 31.3364 | 31.7978
2019-04-15 01:45:00 | 7.4993 | 161.908 | 7.5187 | 202.743 | 6.2403 | 241.047 | 2.0297 | 345.898 | 26.46 | 970.247 | 30.9268 | 31.5133
2019-04-15 02:00:00 | 9.542 | 152.988 | 7.5187 | 192.847 | 7.263 | 240.998 | 4.195 | 343.705 | 26.46 | 970.098 | 30.0393 | 36.9226
2019-04-15 02:15:00 | 5.9673 | 159.032 | 8.5413 | 202.962 | 8.5413 | 240.973 | 5.729 | 343.827 | 26.46 | 970.098 | 30.3123 | 38.4005
2019-04-15 02:30:00 | 1.2547 | 152.305 | 7.5187 | 196.162 | 6.7517 | 241.022 | 5.9847 | 345.654 | 26.46 | 970.098 | 32.2922 | 41.8774
2019-04-15 02:45:00 | 0 | 163.834 | 8.797 | 201.256 | 7.7743 | 240.949 | 3.5637 | 342.778 | 26.46 | 969.653 | 33.6576 | 45.6387
2019-04-15 03:00:00 | 0.62733 | 164.004 | 10.0753 | 205.789 | 9.0527 | 240.949 | 4.7063 | 343.705 | 26.46 | 969.504 | 32.6677 | 51.8793
2019-04-15 03:15:00 | 6.478 | 155.547 | 9.8197 | 200.988 | 8.03 | 240.949 | 5.4733 | 349.359 | 26.46 | 969.504 | 35.6375 | 54.8574
2019-04-15 03:30:00 | 0.62733 | 153.987 | 9.8197 | 197.697 | 6.7517 | 240.949 | 3.8193 | 344.509 | 26.46 | 969.089 | 36.2519 | 57.9278
2019-04-15 03:45:00 | 2.3927 | 154.743 | 9.564 | 196.869 | 9.0527 | 240.218 | 4.4507 | 344.095 | 26.46 | 968.797 | 35.9788 | 56.1543
2019-04-15 04:00:00 | 0.62733 | 162.103 | 9.8197 | 207.958 | 8.797 | 240.169 | 0.37567 | 346.166 | 26.46 | 968.849 | 36.6615 | 57.1445
2019-04-15 04:15:00 | 5.2013 | 180.724 | 9.3083 | 218.561 | 9.8197 | 233.735 | 5.4733 | 349.847 | 26.46 | 968.972 | 33.8966 | 64.5268
2019-04-15 04:30:00 | 2.9033 | 166.783 | 11.098 | 209.348 | 10.5867 | 231.59 | 3.1723 | 356.305 | 26.46 | 968.66 | 36.0471 | 67.5676
2019-04-15 04:45:00 | 5.9673 | 170.561 | 8.797 | 210.932 | 12.1207 | 231.2 | 4.7063 | 346.215 | 26.46 | 968.834 | 36.8322 | 72.1973
2019-04-15 05:00:00 | 6.9887 | 182.698 | 9.564 | 215.197 | 12.3763 | 229.957 | 3.9393 | 354.453 | 26.46 | 968.378 | 38.5049 | 75.5744
2019-04-15 05:15:00 | 4.18 | 166.905 | 9.8197 | 212.467 | 7.7743 | 229.055 | 3.6837 | 343.437 | 26.46 | 968.784 | 39.9386 | 69.6146
2019-04-15 05:30:00 | 4.4353 | 161.935 | 9.564 | 217.151 | 7.7743 | 228.986 | 5.4733 | 346.051 | 26.46 | 968.641 | 40.8951 | 70.2649
2019-04-15 05:45:00 | 4.6907 | 175.217 | 10.8423 | 218.815 | 10.0753 | 228.406 | 3.6837 | 356.308 | 26.46 | 968.677 | 39.2616 | 69.0714
2019-04-15 06:00:00 | 2.3927 | 160.499 | 10.8423 | 203.733 | 11.3537 | 227.56 | 3.428 | 347.471 | 26.46 | 968.676 | 39.7067 | 71.2883
2019-04-15 06:15:00 | 12.3507 | 161.09 | 9.8197 | 203.196 | 9.8197 | 227.584 | 6.496 | 89.7465 | 26.46 | 968.939 | 40.0778 | 68.5505
2019-04-15 06:30:00 | 11.5847 | 169.756 | 10.5867 | 197.503 | 11.3537 | 224.985 | 5.729 | 353.381 | 26.46 | 968.934 | 39.4266 | 63.6252
2019-04-15 06:45:00 | 3.414 | 173.583 | 10.8423 | 214.295 | 12.8877 | 224.839 | 5.2177 | 3.1441 | 26.46 | 969.359 | 38.9145 | 66.5516
2019-04-15 07:00:00 | 7.4993 | 189.913 | 9.8197 | 220.413 | 10.5867 | 224.766 | 5.9847 | 345.557 | 26.46 | 969.356 | 40.6213 | 60.3442
2019-04-15 07:15:00 | 8.2653 | 165.735 | 9.3083 | 211.98 | 10.5867 | 224.888 | 4.4507 | 354.283 | 26.46 | 969.207 | 39.4607 | 54.7244
2019-04-15 07:30:00 | 11.5847 | 191.449 | 8.797 | 215.461 | 8.5413 | 225.08 | 2.9167 | 339.618 | 26.46 | 969.504 | 39.3194 | 56.2243
2019-04-15 07:45:00 | 2.3927 | 157.978 | 7.7743 | 215.834 | 7.5187 | 225.088 | 4.195 | 338.57 | 26.46 | 969.801 | 37.3371 | 54.1664
2019-04-15 08:00:00 | 4.18 | 167.729 | 10.331 | 215.474 | 13.1433 | 225.02 | 5.4733 | 342.842 | 26.46 | 969.95 | 36.1775 | 52.188
2019-04-15 08:15:00 | 10.8187 | 181.979 | 10.8423 | 213.054 | 10.331 | 225.013 | 4.7063 | 350.702 | 26.46 | 970.098 | 37.8145 | 49.2264
2019-04-15 08:30:00 | 1.3933 | 174.012 | 9.3083 | 217.311 | 7.0073 | 225.08 | 3.9393 | 6.1399 | 26.46 | 970.043 | 36.7175 | 48.5006
2019-04-15 08:45:00 | 4.946 | 192.43 | 8.03 | 231.88 | 8.797 | 224.762 | 5.2177 | 178.323 | 26.46 | 970.108 | 36.3761 | 49.6402
2019-04-15 09:00:00 | 7.244 | 188.24 | 11.6093 | 229.2 | 15.4443 | 224.031 | 5.9847 | 1.9735 | 26.46 | 970.247 | 36.1713 | 52.7164
2019-04-15 09:15:00 | 5.9673 | 159.1 | 9.0527 | 231.271 | 9.0527 | 224.299 | 4.7063 | 6.1155 | 26.46 | 969.95 | 36.4102 | 51.2419
2019-04-15 09:30:00 | 13.372 | 194.035 | 9.8197 | 237.065 | 9.564 | 224.076 | 5.2177 | 18.1512 | 26.46 | 970.544 | 36.5461 | 45.3526
2019-04-15 09:45:00 | 8.776 | 192.555 | 11.865 | 230.024 | 10.8423 | 223.786 | 4.962 | 21.2921 | 26.46 | 970.544 | 38.1802 | 43.9836
2019-04-15 10:00:00 | 11.074 | 182.686 | 9.8197 | 238.756 | 8.5413 | 223.997 | 4.7063 | 2.8742 | 26.46 | 970.99 | 38.891 | 50.8629
2019-04-15 10:15:00 | 5.2013 | 169.549 | 11.6093 | 215.045 | 13.399 | 223.573 | 4.7063 | 349.255 | 26.46 | 971.138 | 39.2305 | 58.1449
2019-04-15 10:30:00 | 10.5633 | 188.206 | 12.632 | 238.426 | 16.467 | 223.572 | 6.2403 | 12.4464 | 26.46 | 970.396 | 31.7936 | 78.1829
2019-04-15 10:45:00 | 4.18 | 198.699 | 10.8423 | 226.047 | 11.098 | 222.665 | 4.195 | 15.2227 | 26.46 | 970.396 | 31.7246 | 72.3725
2019-04-15 11:00:00 | 9.542 | 175.998 | 11.098 | 237.128 | 16.7227 | 222.64 | 3.9393 | 352.628 | 26.46 | 969.802 | 32.6795 | 74.5287
2019-04-15 11:15:00 | 6.2227 | 176.509 | 13.9103 | 230.99 | 15.1887 | 222.859 | 5.4733 | 6.7223 | 26.46 | 969.802 | 32.5431 | 69.7011
2019-04-15 11:30:00 | 5.712 | 172.052 | 12.1207 | 228.165 | 12.632 | 221.884 | 2.1497 | 0.24356 | 26.46 | 969.95 | 33.2253 | 76.7412
2019-04-15 11:45:00 | 5.712 | 197.431 | 11.3537 | 237.907 | 7.7743 | 222.079 | 0.37567 | 8.2324 | 26.46 | 969.95 | 34.9992 | 73.0992
2019-04-15 12:00:00 | 5.712 | 186.495 | 13.6547 | 231.355 | 14.4217 | 221.958 | 4.4507 | 5.4558 | 26.46 | 969.801 | 33.0889 | 69.6351
2019-04-15 12:15:00 | 10.0527 | 196.871 | 14.933 | 230.113 | 15.7 | 221.836 | 5.4733 | 348.244 | 26.46 | 969.619 | 32.4749 | 64.5306
2019-04-15 12:30:00 | 5.2013 | 178.774 | 10.8423 | 228.676 | 12.8877 | 221.982 | 3.9393 | 353.992 | 26.46 | 969.652 | 33.7029 | 63.8226
2019-04-15 12:45:00 | 5.9673 | 186.641 | 10.8423 | 227.629 | 12.3763 | 222.274 | 4.195 | 349.925 | 26.46 | 969.208 | 32.6113 | 64.0169
2019-04-15 13:00:00 | 11.84 | 184.254 | 7.7743 | 223.464 | 8.5413 | 222.298 | 5.9847 | 1.6806 | 26.46 | 969.505 | 30.2917 | 58.3568
2019-04-15 13:15:00 | 7.4993 | 183.718 | 8.797 | 236.519 | 11.3537 | 222.323 | 1.3827 | 0.19485 | 26.46 | 969.208 | 30.4281 | 55.1689
2019-04-15 13:30:00 | 5.2013 | 169.032 | 11.6093 | 223.561 | 14.933 | 221.982 | 2.1497 | 350.972 | 26.46 | 968.763 | 32.4066 | 58.6019
2019-04-15 13:45:00 | 5.2013 | 161.798 | 12.8877 | 193.287 | 10.0753 | 222.298 | 3.6837 | 354.284 | 26.46 | 968.911 | 33.1571 | 57.3938
2019-04-15 14:00:00 | 6.7333 | 174.098 | 9.564 | 203.346 | 10.331 | 221.982 | 2.1497 | 11.7153 | 26.46 | 968.773 | 32.2702 | 52.8136
2019-04-15 14:15:00 | 5.712 | 210.632 | 9.8197 | 242.34 | 8.797 | 222.372 | 2.4053 | 317.336 | 26.46 | 969.106 | 32.6795 | 54.3691
2019-04-15 14:30:00 | 8.5207 | 160.796 | 9.0527 | 199.785 | 8.797 | 222.488 | 5.4733 | 344.242 | 26.46 | 969.061 | 31.7919 | 58.7274
2019-04-15 14:45:00 | 4.4353 | 154.636 | 9.3083 | 228.854 | 9.3083 | 222.481 | 1.894 | 321.009 | 26.46 | 969.061 | 33.7655 | 55.4539
2019-04-15 15:00:00 | 5.712 | 144.139 | 13.399 | 186.675 | 11.3537 | 221.944 | 4.7063 | 326.049 | 26.46 | 968.913 | 30.5594 | 63.8039
2019-04-15 15:15:00 | 6.2227 | 147.303 | 7.7743 | 204.644 | 9.0527 | 221.941 | 1.894 | 328.09 | 26.46 | 968.319 | 32.6735 | 61.0866
2019-04-15 15:30:00 | 2.648 | 145.223 | 11.865 | 198.443 | 12.632 | 221.876 | 4.7063 | 329.065 | 26.46 | 968.171 | 31.8868 | 68.8329
2019-04-15 15:45:00 | 4.4353 | 180.357 | 11.6093 | 232.846 | 10.0753 | 222.336 | 3.9393 | 356.819 | 26.46 | 967.716 | 33.4892 | 72.2917
2019-04-15 16:00:00 | 1.882 | 140.741 | 8.797 | 191.915 | 7.0073 | 222.215 | 4.4507 | 332.348 | 26.46 | 967.654 | 35.6037 | 69.0012
2019-04-15 16:15:00 | 4.4353 | 177.771 | 12.3763 | 228.846 | 13.399 | 221.818 | 4.195 | 3.7497 | 26.46 | 967.1 | 37.7169 | 65.8126
2019-04-15 16:30:00 | 4.18 | 139.985 | 12.3763 | 202.116 | 12.3763 | 221.702 | 5.4733 | 308.751 | 26.46 | 967.064 | 37.8542 | 67.2351
2019-04-15 16:45:00 | 5.4567 | 162.563 | 9.3083 | 215.297 | 9.3083 | 221.295 | 4.4507 | 332.016 | 26.46 | 967.984 | 38.674 | 64.0781
2019-04-15 17:00:00 | 8.2653 | 161.763 | 10.8423 | 237.536 | 12.3763 | 221.569 | 4.4507 | 351.482 | 26.46 | 967.427 | 38.5727 | 67.2151
2019-04-15 17:15:00 | 6.9887 | 170.634 | 12.3763 | 220.5 | 10.0753 | 221.676 | 2.661 | 344.726 | 26.46 | 967.132 | 41.1323 | 62.6424
2019-04-15 17:30:00 | 2.3927 | 158.702 | 11.3537 | 211.052 | 10.5867 | 221.506 | 2.4053 | 341.585 | 26.46 | 967.132 | 42.7012 | 67.4663
2019-04-15 17:45:00 | 3.6693 | 157.169 | 8.797 | 211.005 | 8.5413 | 222.019 | 4.962 | 336.401 | 26.46 | 967.132 | 43.793 | 63.9181
2019-04-15 18:00:00 | 4.6907 | 141.46 | 11.3537 | 198.595 | 8.5413 | 221.591 | 3.9393 | 320.866 | 26.46 | 966.256 | 44.4821 | 68.1921
2019-04-15 18:15:00 | 4.946 | 143.652 | 13.399 | 197.671 | 14.166 | 221.3 | 2.661 | 327.785 | 26.46 | 965.629 | 44.7894 | 74.4039
2019-04-15 18:30:00 | 2.648 | 168.789 | 8.797 | 203.006 | 6.7517 | 221.569 | 1.6383 | 350.121 | 26.46 | 965.794 | 45.0966 | 74.8907
2019-04-15 18:45:00 | 4.4353 | 155.847 | 11.865 | 195.744 | 12.1207 | 217.352 | 5.4733 | 344.553 | 26.46 | 965.646 | 46.6703 | 78.2108
2019-04-15 19:00:00 | 4.18 | 155.143 | 9.0527 | 210.74 | 8.5413 | 217.901 | 5.2177 | 334.648 | 26.46 | 965.349 | 47.2243 | 78.5524
2019-04-15 19:15:00 | 3.9247 | 149.866 | 11.3537 | 198.817 | 12.8877 | 217.672 | 4.7063 | 335.864 | 26.46 | 965.2 | 48.2511 | 78.4202
2019-04-15 19:30:00 | 4.6907 | 138.39 | 11.3537 | 199.402 | 10.5867 | 217.769 | 3.1723 | 307.577 | 26.46 | 965.052 | 51.1175 | 79.3848
2019-04-15 19:45:00 | 2.9033 | 147.356 | 12.632 | 187.171 | 9.8197 | 217.769 | 1.3827 | 328.822 | 26.46 | 965.052 | 52.4825 | 77.7602
2019-04-15 20:00:00 | 3.1587 | 137.489 | 9.564 | 197.672 | 10.331 | 217.574 | 1.774 | 325.314 | 26.46 | 965.353 | 52.619 | 69.087
2019-04-15 20:15:00 | 5.4567 | 143.019 | 10.8423 | 191.191 | 11.6093 | 217.672 | 5.729 | 329.139 | 26.46 | 965.276 | 53.5062 | 70.7083
2019-04-15 20:30:00 | 5.4567 | 147.015 | 12.1207 | 198.695 | 13.9103 | 217.623 | 5.2177 | 344.538 | 26.46 | 965.169 | 54.803 | 74.9943
2019-04-15 20:45:00 | 3.9247 | 149.579 | 12.632 | 203.966 | 11.865 | 217.363 | 3.9393 | 333.293 | 26.46 | 965.255 | 55.3509 | 78.0758
2019-04-15 21:00:00 | 5.2013 | 168 | 10.331 | 225.629 | 12.632 | 217.633 | 1.007 | 341.312 | 26.46 | 965.625 | 55.4196 | 77.1484
2019-04-15 21:15:00 | 5.4567 | 144.572 | 9.8197 | 189.219 | 9.8197 | 216.236 | 5.2177 | 330.447 | 26.46 | 965.328 | 53.7175 | 82.8606
2019-04-15 21:30:00 | 3.1587 | 135.824 | 10.331 | 185.027 | 9.3083 | 129.44 | 3.1723 | 321.845 | 26.46 | 965.644 | 54.1953 | 84.5487
2019-04-15 21:45:00 | 4.6907 | 171.454 | 13.399 | 209.474 | 15.7 | 130.832 | 4.962 | 348.463 | 26.46 | 964.753 | 54.6745 | 86.4852
2019-04-15 22:00:00 | 5.2013 | 145.31 | 15.1887 | 201.705 | 14.933 | 135.635 | 5.4733 | 320.982 | 26.46 | 964.753 | 53.0374 | 85.7611
2019-04-15 22:15:00 | 5.9673 | 154.375 | 13.399 | 197.319 | 12.3763 | 136.805 | 4.962 | 335.239 | 26.46 | 965.05 | 53.1058 | 84.8612
2019-04-15 22:30:00 | 6.478 | 161.856 | 12.8877 | 209.26 | 13.399 | 148.429 | 4.4507 | 334.24 | 26.46 | 964.753 | 53.1741 | 85.0369
2019-04-15 22:45:00 | 7.244 | 147.138 | 16.7227 | 198.927 | 14.6773 | 144.871 | 5.729 | 333.63 | 26.46 | 964.456 | 52.1502 | 78.7029
2019-04-15 23:00:00 | 5.4567 | 132.856 | 15.9557 | 198.365 | 14.933 | 143.554 | 6.7517 | 288.497 | 26.46 | 964.159 | 51.3646 | 76.7937
2019-04-15 23:15:00 | 3.9247 | 168.118 | 14.166 | 199.462 | 12.632 | 158.638 | 2.1497 | 1.2672 | 26.46 | 964.159 | 50.2385 | 81.0797
2019-04-15 23:30:00 | 6.2227 | 157.857 | 16.2113 | 205.673 | 15.4443 | 162.828 | 3.9393 | 342.177 | 26.46 | 964.01 | 49.0092 | 77.9259
2019-04-15 23:45:00 | 8.01 | 153.081 | 17.4897 | 195.439 | 17.4897 | 162 | 7.263 | 332.772 | 26.46 | 963.565 | 47.8831 | 79.9008