## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-16 00:00:00 | 4.4353 | 153.639 | 13.9103 | 192.048 | 18.768 | 135.387 | 5.4733 | 344.268 | 26.46 | 963.713 | 48.053 | 77.4772
2019-04-16 00:15:00 | 4.6907 | 147.139 | 14.6773 | 203.828 | 12.632 | 137.733 | 4.962 | 330.125 | 26.46 | 964.01 | 48.0552 | 76.1598
2019-04-16 00:30:00 | 5.4567 | 150.801 | 14.6773 | 201.619 | 13.9103 | 162.108 | 4.7063 | 325.118 | 26.46 | 963.416 | 49.081 | 76.4591
2019-04-16 00:45:00 | 5.9673 | 165.383 | 13.399 | 217.985 | 15.1887 | 163.141 | 3.9393 | 343.951 | 26.46 | 963.565 | 50.176 | 70.5811
2019-04-16 01:00:00 | 3.9247 | 157.714 | 13.6547 | 193.307 | 10.8423 | 164.148 | 2.1497 | 43.9922 | 26.46 | 963.565 | 50.4515 | 74.2553
2019-04-16 01:15:00 | 4.946 | 162.883 | 11.6093 | 200.963 | 12.1207 | 152.159 | 4.7063 | 352.893 | 26.46 | 963.268 | 51.8177 | 73.415
2019-04-16 01:30:00 | 2.9033 | 152.939 | 9.8197 | 200.257 | 12.8877 | 165.247 | 4.4507 | 337.514 | 26.46 | 963.416 | 51.9543 | 68.0036
2019-04-16 01:45:00 | 8.5207 | 147.26 | 11.6093 | 200.695 | 9.8197 | 160.056 | 4.7063 | 332.201 | 26.46 | 963.268 | 52.0225 | 64.8335
2019-04-16 02:00:00 | 5.2013 | 158.91 | 11.098 | 202.036 | 9.0527 | 164.394 | 3.1723 | 343.29 | 26.46 | 963.268 | 52.3639 | 70.2797
2019-04-16 02:15:00 | 1.882 | 162.566 | 9.8197 | 208.178 | 9.3083 | 149.308 | 3.1723 | 336.442 | 26.46 | 963.119 | 53.5245 | 75.6483
2019-04-16 02:30:00 | 4.946 | 149.283 | 7.5187 | 206.35 | 8.03 | 146.139 | 2.4053 | 340.512 | 26.46 | 962.971 | 54.5486 | 72.0569
2019-04-16 02:45:00 | 2.0207 | 156.351 | 9.564 | 194.602 | 10.5867 | 140.582 | 2.661 | 331.323 | 26.46 | 962.674 | 55.5043 | 70.1799
2019-04-16 03:00:00 | 3.6693 | 129.59 | 7.7743 | 186.559 | 9.0527 | 141.118 | 2.661 | 333.736 | 26.46 | 962.674 | 55.5385 | 67.307
2019-04-16 03:15:00 | 4.6907 | 138.413 | 8.2857 | 191.507 | 8.03 | 152.598 | 2.1497 | 316.651 | 26.46 | 962.377 | 54.8216 | 68.3953
2019-04-16 03:30:00 | 4.18 | 156.034 | 7.5187 | 200.549 | 8.797 | 144.14 | 5.2177 | 323.524 | 26.46 | 962.228 | 54.2755 | 70.6787
2019-04-16 03:45:00 | 5.2013 | 132.953 | 8.2857 | 196.942 | 7.7743 | 156.424 | 3.1723 | 325.011 | 26.46 | 962.377 | 53.8658 | 67.5787
2019-04-16 04:00:00 | 4.4353 | 143.751 | 10.8423 | 198.794 | 10.331 | 138.803 | 4.4507 | 327.058 | 26.46 | 961.783 | 52.7735 | 66.3011
2019-04-16 04:15:00 | 5.712 | 142.751 | 12.632 | 193.7 | 12.1207 | 143.556 | 4.7063 | 325.523 | 26.46 | 961.783 | 51.4764 | 62.7385
2019-04-16 04:30:00 | 5.4567 | 143.872 | 11.3537 | 199.525 | 11.865 | 140.655 | 4.7063 | 324.499 | 26.46 | 961.486 | 50.8619 | 62.4614
2019-04-16 04:45:00 | 2.1373 | 147.48 | 9.3083 | 199.672 | 7.263 | 151.842 | 2.1497 | 321.452 | 26.46 | 961.783 | 50.4523 | 59.8787
2019-04-16 05:00:00 | 5.9673 | 140.119 | 7.7743 | 202.304 | 5.729 | 154.304 | 5.2177 | 325.766 | 26.46 | 961.783 | 49.0186 | 59.5129
2019-04-16 05:15:00 | 1.7653 | 144.628 | 10.8423 | 195.285 | 10.5867 | 150.258 | 2.661 | 330.495 | 26.46 | 961.338 | 48.2676 | 59.4944
2019-04-16 05:30:00 | 4.946 | 152.744 | 10.8423 | 190.483 | 10.8423 | 153.451 | 3.428 | 323.158 | 26.46 | 961.189 | 48.6772 | 61.3254
2019-04-16 05:45:00 | 2.648 | 153.914 | 8.03 | 209.616 | 8.03 | 155.376 | 3.9393 | 323.841 | 26.46 | 961.189 | 48.8138 | 59.3778
2019-04-16 06:00:00 | 6.478 | 144.238 | 8.797 | 201.695 | 9.8197 | 130.614 | 4.962 | 329.032 | 26.46 | 960.595 | 48.8138 | 58.9106
2019-04-16 06:15:00 | 4.4353 | 136.244 | 11.6093 | 191.092 | 11.098 | 143.361 | 3.9393 | 323.207 | 26.46 | 960.892 | 47.5849 | 60.0228
2019-04-16 06:30:00 | 3.1587 | 150.282 | 11.6093 | 198.624 | 10.8423 | 146.7 | 4.7063 | 323.719 | 26.46 | 961.189 | 47.3118 | 60.3812
2019-04-16 06:45:00 | 4.18 | 136.049 | 11.098 | 188.338 | 10.331 | 139.217 | 4.7063 | 309.193 | 26.46 | 961.189 | 46.2195 | 67.4642
2019-04-16 07:00:00 | 4.4353 | 136.144 | 12.3763 | 185.264 | 10.8423 | 148.525 | 5.729 | 321.618 | 26.46 | 961.338 | 45.1606 | 70.3536
2019-04-16 07:15:00 | 5.4567 | 150.745 | 10.0753 | 209.31 | 10.0753 | 146.895 | 4.962 | 329.49 | 26.46 | 961.338 | 45.8706 | 69.0677
2019-04-16 07:30:00 | 3.1587 | 141.604 | 12.8877 | 190.371 | 10.5867 | 144.285 | 3.1723 | 324.951 | 26.46 | 961.189 | 45.938 | 74.4565
2019-04-16 07:45:00 | 2.9033 | 149.569 | 13.399 | 201.089 | 11.865 | 152.128 | 4.4507 | 332.133 | 26.46 | 961.338 | 46.3465 | 71.2144
2019-04-16 08:00:00 | 1.2547 | 144.067 | 10.8423 | 200.109 | 11.3537 | 153.35 | 4.4507 | 324.461 | 26.46 | 961.522 | 47.3981 | 65.469
2019-04-16 08:15:00 | 1.6267 | 146.382 | 11.098 | 201.692 | 10.8423 | 142.946 | 2.1497 | 328.847 | 26.46 | 961.49 | 48.7289 | 60.2925
2019-04-16 08:30:00 | 0.99933 | 149.257 | 10.8423 | 195.089 | 9.8197 | 147.892 | 0.63133 | 326.557 | 26.46 | 961.49 | 49.582 | 57.7903
2019-04-16 08:45:00 | 1.882 | 144.213 | 10.331 | 199.451 | 10.8423 | 151.791 | 4.195 | 322.805 | 26.46 | 961.935 | 49.8891 | 57.9063
2019-04-16 09:00:00 | 4.946 | 143.237 | 7.5187 | 203.468 | 6.7517 | 147.452 | 0.63133 | 311.788 | 26.46 | 962.232 | 50.2297 | 54.6266
2019-04-16 09:15:00 | 6.478 | 135.985 | 10.0753 | 190.165 | 5.2177 | 143.001 | 2.9167 | 320.424 | 26.46 | 962.529 | 50.2239 | 43.4366
2019-04-16 09:30:00 | 6.2227 | 132.477 | 5.729 | 205.837 | 7.7743 | 159.562 | 3.428 | 319.173 | 26.46 | 962.974 | 50.2148 | 34.5099
2019-04-16 09:45:00 | 0.88267 | 143.654 | 8.5413 | 199.207 | 8.5413 | 149.061 | 2.1497 | 327.033 | 26.46 | 963.271 | 50.623 | 21.8735
2019-04-16 10:00:00 | 1.6267 | 163.43 | 7.0073 | 196.794 | 7.263 | 147.111 | 1.127 | 330.878 | 26.46 | 964.013 | 49.3945 | 8.3245
2019-04-16 10:15:00 | 0.744 | 172.49 | 6.7517 | 218.3 | 8.5413 | 155.295 | 2.541 | 348.439 | 26.46 | 963.759 | 48.2347 | 15.123
2019-04-16 10:30:00 | 11.84 | 171.737 | 9.8197 | 222.361 | 10.5867 | 158.83 | 6.496 | 352.29 | 26.46 | 963.719 | 51.2981 | 29.98
2019-04-16 10:45:00 | 0 | 226.134 | 5.4733 | 208.618 | 6.7517 | 160.23 | 3.1723 | 87.8721 | 26.46 | 963.571 | 52.3935 | 25.9489
2019-04-16 11:00:00 | 0 | 132.178 | 7.7743 | 186.292 | 7.0073 | 136.464 | 4.4507 | 329.945 | 26.46 | 963.571 | 54.1689 | 24.7481
2019-04-16 11:15:00 | 0.372 | 180.749 | 7.0073 | 204.877 | 7.0073 | 150.502 | 3.9393 | 0 | 26.46 | 963.868 | 52.1853 | 20.8131
2019-04-16 11:30:00 | 0 | 180.643 | 6.496 | 235.16 | 7.0073 | 158.799 | 0 | 150.909 | 26.46 | 964.016 | 52.558 | 17.2438
2019-04-16 11:45:00 | 0 | 166.154 | 7.0073 | 204.818 | 8.03 | 153.905 | 0.37567 | 344.167 | 26.46 | 964.016 | 52.6603 | 19.1652
2019-04-16 12:00:00 | 0 | 127.02 | 5.729 | 181.537 | 8.2857 | 134.374 | 3.6837 | 333.452 | 26.46 | 963.868 | 56.2074 | 23.0115
2019-04-16 12:15:00 | 9.542 | 152.054 | 8.5413 | 200.58 | 8.797 | 153.125 | 9.8197 | 336.374 | 26.46 | 963.571 | 53.6835 | 21.105
2019-04-16 12:30:00 | 0.744 | 150.398 | 6.2403 | 203.503 | 6.7517 | 146.209 | 0.37567 | 333.793 | 26.46 | 963.719 | 51.5007 | 18.9952
2019-04-16 12:45:00 | 3.6693 | 141.12 | 9.0527 | 193.859 | 9.564 | 148.255 | 5.9847 | 319.352 | 26.46 | 963.719 | 50.8868 | 17.9163
2019-04-16 13:00:00 | 0 | 137.102 | 7.7743 | 185.969 | 8.5413 | 137.248 | 3.8193 | 320.594 | 26.46 | 963.719 | 50.4775 | 14.4136
2019-04-16 13:15:00 | 2.0207 | 178.573 | 9.0527 | 229.754 | 9.564 | 150.568 | 1.3827 | 86.4496 | 26.46 | 963.422 | 49.352 | 16.9593
2019-04-16 13:30:00 | 0 | 179.474 | 6.2403 | 249.625 | 5.9847 | 151.664 | 0.37567 | 350.206 | 26.46 | 963.571 | 47.5444 | 15.4888
2019-04-16 13:45:00 | 3.2973 | 187.072 | 5.9847 | 225.225 | 7.0073 | 154.392 | 2.4053 | 11.2506 | 26.46 | 963.274 | 46.8622 | 14.8607
2019-04-16 14:00:00 | 0 | 178.671 | 8.03 | 249.357 | 8.2857 | 154.245 | 1.894 | 5.9906 | 26.46 | 962.977 | 46.0778 | 10.1276
2019-04-16 14:15:00 | 0 | 177.38 | 5.9847 | 224.835 | 6.496 | 153.88 | 2.7967 | 351.911 | 26.46 | 963.571 | 45.839 | 9.3221
2019-04-16 14:30:00 | 0 | 177.5 | 6.7517 | 226.099 | 6.2403 | 153.83 | 0 | 356.461 | 26.46 | 963.719 | 43.7922 | 8.0622
2019-04-16 14:45:00 | 0 | 151.956 | 5.9847 | 197.867 | 7.0073 | 151.543 | 3.1723 | 323.562 | 26.46 | 963.952 | 45.1497 | 6.2517
2019-04-16 15:00:00 | 0 | 169.242 | 4.962 | 227.35 | 5.729 | 149.593 | 0 | 347.517 | 26.46 | 964.315 | 46.9224 | 4.977
2019-04-16 15:15:00 | 0 | 143.117 | 3.1723 | 186.728 | 3.9393 | 143.19 | 0 | 326.134 | 26.46 | 964.612 | 46.7784 | 5.6827
2019-04-16 15:30:00 | 0 | 181.701 | 5.729 | 244.275 | 6.7517 | 150.541 | 0.37567 | 0.43819 | 26.46 | 964.018 | 46.2325 | 4.589
2019-04-16 15:45:00 | 0 | 171.501 | 6.496 | 223.339 | 6.7517 | 150.614 | 3.428 | 355.369 | 26.46 | 964.018 | 46.0961 | 4.3377
2019-04-16 16:00:00 | 0 | 177.826 | 4.4507 | 237.841 | 5.729 | 150.732 | 0.37567 | 17.5513 | 26.46 | 964.018 | 46.0267 | 3.4621
2019-04-16 16:15:00 | 0 | 153.947 | 3.1723 | 190.473 | 3.428 | 145.427 | 0 | 340.539 | 26.46 | 963.87 | 46.5728 | 4.8587
2019-04-16 16:30:00 | 0 | 150.832 | 4.4507 | 192.032 | 3.428 | 148.568 | 0 | 334.82 | 26.46 | 964.018 | 47.4595 | 5.2947
2019-04-16 16:45:00 | 0 | 152.537 | 5.4733 | 197.194 | 5.2177 | 147.815 | 2.9167 | 335.504 | 26.46 | 963.87 | 47.9373 | 5.8711
2019-04-16 17:00:00 | 0 | 145.38 | 4.962 | 191.62 | 5.2177 | 144.601 | 5.2177 | 327.788 | 26.46 | 964.018 | 48.1418 | 5.6346
2019-04-16 17:15:00 | 0.744 | 152.416 | 5.4733 | 190.767 | 5.2177 | 147.036 | 0.63133 | 333.606 | 26.46 | 963.722 | 48.8919 | 6.1593
2019-04-16 17:30:00 | 0 | 147.011 | 5.729 | 196.269 | 6.2403 | 139.903 | 3.1723 | 324.379 | 26.46 | 963.425 | 49.7784 | 9.7027
2019-04-16 17:45:00 | 0 | 149.714 | 6.496 | 198.837 | 6.2403 | 147.206 | 1.774 | 330.422 | 26.46 | 963.277 | 50.6049 | 11.6979
2019-04-16 18:00:00 | 0 | 138.783 | 5.4733 | 190.292 | 4.4507 | 146.623 | 0.37567 | 329.913 | 26.46 | 962.98 | 51.3555 | 12.847
2019-04-16 18:15:00 | 0 | 144.926 | 6.496 | 194.711 | 4.7063 | 141.031 | 5.2177 | 327.789 | 26.46 | 962.802 | 51.6994 | 15.16
2019-04-16 18:30:00 | 0 | 143.238 | 6.2403 | 189.353 | 5.4733 | 142.41 | 1.894 | 326.145 | 26.46 | 962.383 | 52.5919 | 19.0469
2019-04-16 18:45:00 | 0 | 143.005 | 5.4733 | 197.941 | 4.7063 | 145.148 | 0 | 323.393 | 26.46 | 962.383 | 52.6641 | 18.5444
2019-04-16 19:00:00 | 0 | 142.581 | 5.9847 | 191.192 | 6.496 | 138.586 | 4.962 | 327.054 | 26.46 | 962.333 | 53.3515 | 23.8724
2019-04-16 19:15:00 | 0 | 152.275 | 7.0073 | 188.878 | 7.0073 | 143.458 | 1.894 | 313.098 | 26.46 | 962.527 | 54.3749 | 26.0265
2019-04-16 19:30:00 | 2.3927 | 140.9 | 6.496 | 184.981 | 8.03 | 145.163 | 4.962 | 327.005 | 26.46 | 962.825 | 55.4665 | 32.4407
2019-04-16 19:45:00 | 1.3933 | 156.537 | 7.7743 | 188.44 | 6.2403 | 129.721 | 0.37567 | 329.49 | 26.46 | 962.677 | 55.6712 | 36.7009
2019-04-16 20:00:00 | 6.2227 | 140.707 | 9.3083 | 177.75 | 6.496 | 139.976 | 1.127 | 324.768 | 26.46 | 962.677 | 56.6269 | 35.2673
2019-04-16 20:15:00 | 2.648 | 143.971 | 7.263 | 201.693 | 5.729 | 142.486 | 5.2177 | 328.789 | 26.46 | 962.974 | 57.9917 | 42.1397
2019-04-16 20:30:00 | 2.9033 | 143.464 | 5.2177 | 191.348 | 4.7063 | 147.337 | 2.9167 | 323.124 | 26.46 | 962.825 | 58.0958 | 41.3654
2019-04-16 20:45:00 | 0.99933 | 136.264 | 9.0527 | 198.109 | 8.2857 | 146.348 | 3.1723 | 327.066 | 26.46 | 962.825 | 58.2702 | 43.226
2019-04-16 21:00:00 | 0 | 137.583 | 7.7743 | 191.174 | 7.263 | 141.749 | 5.729 | 323.277 | 26.46 | 963.271 | 60.2167 | 48.5614
2019-04-16 21:15:00 | 3.6693 | 156.787 | 5.729 | 216.667 | 5.4733 | 145.776 | 1.3827 | 333.819 | 26.46 | 963.271 | 62.9155 | 44.1682
2019-04-16 21:30:00 | 0.372 | 152.371 | 7.0073 | 188.139 | 5.2177 | 142.503 | 4.4507 | 314.316 | 26.46 | 963.271 | 65.1746 | 50.0467
2019-04-16 21:45:00 | 7.4993 | 127.23 | 6.7517 | 224.446 | 6.2403 | 148.159 | 4.195 | 332.181 | 26.46 | 963.271 | 67.7693 | 51.0221
2019-04-16 22:00:00 | 1.138 | 149.622 | 9.564 | 198.914 | 8.03 | 142.678 | 4.962 | 333.744 | 26.46 | 962.974 | 68.3842 | 54.3327
2019-04-16 22:15:00 | 8.2653 | 146.723 | 6.496 | 220.209 | 7.7743 | 143.58 | 7.5187 | 341.614 | 26.46 | 963.419 | 68.862 | 54.9941
2019-04-16 22:30:00 | 3.6693 | 128.035 | 4.962 | 189.973 | 5.4733 | 148.379 | 0.63133 | 336.01 | 26.46 | 963.271 | 70.0222 | 53.6106
2019-04-16 22:45:00 | 1.51 | 152.058 | 6.7517 | 206.175 | 6.7517 | 148.404 | 0.37567 | 335.255 | 26.46 | 963.271 | 70.4999 | 52.9434
2019-04-16 23:00:00 | 0.88267 | 142.605 | 9.8197 | 189.607 | 8.2857 | 144.164 | 2.2853 | 324.827 | 26.46 | 963.271 | 71.1824 | 49.8895
2019-04-16 23:15:00 | 9.2867 | 151.23 | 9.3083 | 203.519 | 7.7743 | 147.99 | 4.4507 | 316.421 | 26.46 | 963.271 | 71.3871 | 49.5553
2019-04-16 23:30:00 | 4.18 | 146.382 | 9.0527 | 196.259 | 8.03 | 140.973 | 5.2177 | 328.335 | 26.46 | 963.271 | 72.0696 | 54.4472
2019-04-16 23:45:00 | 5.9673 | 132.323 | 8.5413 | 185.343 | 7.7743 | 132.275 | 5.4733 | 321.708 | 26.46 | 962.974 | 72.3426 | 54.8315