## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-17 00:00:00 | 1.3713 | 157.589 | 8.2857 | 201.814 | 8.797 | 139.438 | 3.1723 | 343.197 | 26.46 | 962.974 | 72.3426 | 58.0535
2019-04-17 00:15:00 | 0 | 166.994 | 4.7063 | 202.74 | 7.0073 | 152.083 | 4.4507 | 293.884 | 26.46 | 962.974 | 71.7284 | 59.5166
2019-04-17 00:30:00 | 4.18 | 144.237 | 10.5867 | 193.871 | 10.5867 | 143.482 | 4.962 | 329.748 | 26.46 | 962.699 | 71.8649 | 68.4027
2019-04-17 00:45:00 | 4.18 | 142.41 | 12.3763 | 190.095 | 13.1433 | 142.946 | 3.6837 | 324.193 | 26.46 | 962.398 | 70.9776 | 71.4156
2019-04-17 01:00:00 | 5.2013 | 145.943 | 10.0753 | 229.589 | 7.0073 | 149.013 | 4.7063 | 319.467 | 26.46 | 962.677 | 70.4317 | 73.1949
2019-04-17 01:15:00 | 4.6907 | 139.681 | 10.8423 | 187.804 | 10.5867 | 149.525 | 3.1723 | 322.025 | 26.46 | 962.38 | 71.0459 | 72.7515
2019-04-17 01:30:00 | 5.4567 | 132.421 | 9.0527 | 190.436 | 8.797 | 152.887 | 4.7063 | 321.83 | 26.46 | 962.234 | 72.1378 | 69.6236
2019-04-17 01:45:00 | 5.2013 | 149.914 | 12.1207 | 204.055 | 11.6093 | 144.384 | 3.428 | 332.843 | 26.46 | 961.712 | 72.3767 | 73.5016
2019-04-17 02:00:00 | 4.6907 | 144.46 | 8.5413 | 196.653 | 9.0527 | 149.649 | 1.6383 | 327.318 | 26.46 | 961.69 | 72.344 | 79.502
2019-04-17 02:15:00 | 5.712 | 143.508 | 14.4217 | 192.363 | 12.3763 | 151.987 | 2.9167 | 322.565 | 26.46 | 961.799 | 71.3881 | 79.5944
2019-04-17 02:30:00 | 5.9673 | 137.955 | 12.632 | 200.479 | 13.399 | 153.475 | 2.1497 | 325.029 | 26.46 | 961.392 | 72.9585 | 82.9825
2019-04-17 02:45:00 | 4.6907 | 144.854 | 14.166 | 197.147 | 8.797 | 146.9 | 2.4053 | 332.932 | 26.46 | 961.139 | 74.3937 | 78.2006
2019-04-17 03:00:00 | 5.712 | 148.691 | 11.865 | 212.174 | 11.865 | 147.935 | 3.428 | 339.269 | 26.46 | 961.164 | 76.1058 | 77.8947
2019-04-17 03:15:00 | 4.946 | 139.483 | 10.8423 | 190.784 | 12.632 | 140.653 | 4.4507 | 329.895 | 26.46 | 960.595 | 77.1315 | 75.9956
2019-04-17 03:30:00 | 4.4353 | 147.281 | 10.8423 | 204.845 | 11.3537 | 152.131 | 3.428 | 327.63 | 26.46 | 960.892 | 77.1318 | 76.5092
2019-04-17 03:45:00 | 4.6907 | 158.883 | 8.5413 | 229.851 | 8.03 | 156.52 | 4.962 | 312.308 | 26.46 | 960.744 | 77.7816 | 77.4255
2019-04-17 04:00:00 | 4.4353 | 146.38 | 14.166 | 198.461 | 9.8197 | 142.773 | 4.4507 | 328.459 | 26.46 | 960.595 | 78.4969 | 81.8556
2019-04-17 04:15:00 | 3.6693 | 146.553 | 11.865 | 201.437 | 9.8197 | 156.251 | 5.4733 | 322.129 | 26.46 | 960.595 | 77.8157 | 80.5513
2019-04-17 04:30:00 | 4.18 | 138.194 | 11.6093 | 185.549 | 11.6093 | 149.136 | 4.195 | 319.424 | 26.46 | 960.595 | 77.2014 | 83.3298
2019-04-17 04:45:00 | 4.946 | 140.729 | 9.564 | 190.033 | 12.3763 | 155.35 | 3.1723 | 321.836 | 26.46 | 960.595 | 78.157 | 83.7843
2019-04-17 05:00:00 | 5.2013 | 144.408 | 12.8877 | 182.332 | 14.166 | 154.741 | 5.2177 | 322.933 | 26.46 | 960.15 | 79.0444 | 84.5196
2019-04-17 05:15:00 | 6.478 | 162.416 | 13.6547 | 212.184 | 13.399 | 148.38 | 4.7063 | 332.801 | 26.46 | 960.001 | 80.1705 | 86.2229
2019-04-17 05:30:00 | 3.6693 | 136.949 | 12.8877 | 178.478 | 16.2113 | 161.658 | 6.496 | 325.704 | 26.46 | 960.001 | 81.3293 | 88.0038
2019-04-17 05:45:00 | 4.6907 | 145.991 | 14.933 | 200.144 | 13.9103 | 142.774 | 5.2177 | 330.143 | 26.46 | 959.853 | 79.658 | 89.1566
2019-04-17 06:00:00 | 8.2653 | 130.442 | 16.467 | 183.74 | 18.001 | 140.189 | 7.0073 | 319.171 | 26.46 | 959.407 | 77.7453 | 90.0249
2019-04-17 06:15:00 | 4.4353 | 135.365 | 12.8877 | 187.641 | 11.6093 | 142.724 | 4.7063 | 316.518 | 26.46 | 960.001 | 78.1557 | 89.212
2019-04-17 06:30:00 | 5.2013 | 149.94 | 14.166 | 198.952 | 14.4217 | 149.355 | 5.4733 | 329.926 | 26.46 | 960.001 | 78.9078 | 88.7797
2019-04-17 06:45:00 | 3.9247 | 143.819 | 14.166 | 200.626 | 13.399 | 148.059 | 4.7063 | 330.135 | 26.46 | 960.447 | 78.9052 | 87.7119
2019-04-17 07:00:00 | 3.9247 | 146.407 | 11.3537 | 181.203 | 10.8423 | 152.718 | 2.661 | 316.034 | 26.46 | 960.356 | 79.2362 | 87.638
2019-04-17 07:15:00 | 3.6693 | 144.774 | 12.8877 | 195.138 | 12.1207 | 148.623 | 4.7063 | 324.949 | 26.46 | 960.157 | 78.792 | 86.0271
2019-04-17 07:30:00 | 5.2013 | 144.189 | 13.6547 | 195.918 | 12.632 | 149.159 | 3.428 | 324.51 | 26.46 | 960.302 | 77.393 | 86.756
2019-04-17 07:45:00 | 4.6907 | 138.512 | 11.3537 | 188.365 | 11.098 | 146.698 | 5.2177 | 316.86 | 26.46 | 960.302 | 76.4034 | 85.3362
2019-04-17 08:00:00 | 5.4567 | 149.128 | 15.9557 | 199.917 | 15.1887 | 142.04 | 4.195 | 330.167 | 26.46 | 960.451 | 75.4664 | 86.8104
2019-04-17 08:15:00 | 4.946 | 135.033 | 10.0753 | 183.962 | 9.8197 | 140.83 | 3.9393 | 331.834 | 26.46 | 960.599 | 74.2296 | 86.5267
2019-04-17 08:30:00 | 3.6693 | 153.786 | 12.3763 | 205.613 | 13.9103 | 157.634 | 2.9167 | 321.358 | 26.46 | 960.599 | 74.9452 | 83.1008
2019-04-17 08:45:00 | 3.6693 | 137.149 | 14.166 | 204.198 | 12.1207 | 148.183 | 4.962 | 326.299 | 26.46 | 960.896 | 73.1708 | 86.7919
2019-04-17 09:00:00 | 3.1587 | 138.538 | 12.1207 | 206.293 | 13.399 | 160.361 | 5.729 | 321.331 | 26.46 | 961.044 | 70.8511 | 85.2179
2019-04-17 09:15:00 | 4.18 | 144.042 | 11.6093 | 197.72 | 10.5867 | 143.677 | 2.4053 | 323.644 | 26.46 | 961.04 | 70.8852 | 85.4459
2019-04-17 09:30:00 | 4.946 | 145.747 | 11.3537 | 192.605 | 11.6093 | 153.906 | 4.4507 | 327.834 | 26.46 | 961.203 | 69.589 | 88.1738
2019-04-17 09:45:00 | 4.18 | 142.333 | 13.6547 | 197.055 | 12.1207 | 150.127 | 5.9847 | 326.484 | 26.46 | 960.9 | 67.6766 | 83.4422
2019-04-17 10:00:00 | 5.4567 | 137.663 | 12.1207 | 198.512 | 11.865 | 145.066 | 8.2857 | 317.041 | 26.46 | 961.197 | 66.9856 | 85.1551
2019-04-17 10:15:00 | 5.712 | 141.948 | 13.1433 | 207.034 | 13.9103 | 166.275 | 3.428 | 332.405 | 26.46 | 961.048 | 66.0642 | 85.0997
2019-04-17 10:30:00 | 5.4567 | 136.882 | 12.8877 | 187.015 | 13.9103 | 145.064 | 5.9847 | 316.501 | 26.46 | 960.9 | 64.4608 | 84.784
2019-04-17 10:45:00 | 4.946 | 140.911 | 13.9103 | 200.144 | 15.4443 | 139.572 | 4.7063 | 325.14 | 26.46 | 960.577 | 62.545 | 81.3484
2019-04-17 11:00:00 | 3.1587 | 157.799 | 14.4217 | 211.086 | 15.1887 | 162.79 | 3.9393 | 327.917 | 26.46 | 960.379 | 58.1076 | 84.0736
2019-04-17 11:15:00 | 4.18 | 146.16 | 14.166 | 196.136 | 12.8877 | 151.224 | 1.894 | 337.388 | 26.46 | 960.465 | 54.561 | 82.2341
2019-04-17 11:30:00 | 4.18 | 144.235 | 13.1433 | 198.714 | 13.9103 | 160.961 | 4.7063 | 328.229 | 26.46 | 959.717 | 53.4349 | 84.1058
2019-04-17 11:45:00 | 3.6693 | 149.038 | 13.1433 | 192.334 | 11.6093 | 155.538 | 3.1723 | 331.063 | 26.46 | 959.865 | 51.8262 | 82.347
2019-04-17 12:00:00 | 5.4567 | 162.908 | 14.6773 | 213.529 | 16.2113 | 159.427 | 3.9393 | 349.258 | 26.46 | 959.124 | 51.4149 | 83.3653
2019-04-17 12:15:00 | 3.6693 | 138.905 | 13.9103 | 199.02 | 11.098 | 172.231 | 3.9393 | 317.782 | 26.46 | 959.124 | 49.642 | 84.3496
2019-04-17 12:30:00 | 5.4567 | 140.049 | 13.9103 | 198.996 | 13.1433 | 171.915 | 4.7063 | 320.046 | 26.46 | 959.124 | 49.7784 | 81.7337
2019-04-17 12:45:00 | 6.478 | 146.33 | 15.7 | 197.146 | 16.7227 | 146.768 | 5.2177 | 327.349 | 26.46 | 959.124 | 47.9032 | 80.0747
2019-04-17 13:00:00 | 6.2227 | 151.15 | 17.234 | 200.919 | 16.7227 | 139.002 | 4.4507 | 331.804 | 26.46 | 958.678 | 46.9144 | 81.9377
2019-04-17 13:15:00 | 4.6907 | 150.249 | 17.234 | 202.891 | 16.2113 | 157.382 | 5.729 | 334.068 | 26.46 | 958.382 | 46.7098 | 82.3433
2019-04-17 13:30:00 | 4.6907 | 147.255 | 11.3537 | 204.083 | 13.1433 | 151.345 | 5.4733 | 328.347 | 26.46 | 958.827 | 44.8005 | 79.3062
2019-04-17 13:45:00 | 5.2013 | 148.448 | 13.6547 | 201.966 | 13.9103 | 154.68 | 4.7063 | 324.16 | 26.46 | 958.234 | 44.5278 | 80.252
2019-04-17 14:00:00 | 4.18 | 145.595 | 18.5123 | 204.247 | 14.6773 | 150.829 | 5.4733 | 323.176 | 26.46 | 958.53 | 43.8104 | 79.3679
2019-04-17 14:15:00 | 5.2013 | 187.274 | 13.9103 | 230.728 | 15.7 | 162.739 | 5.729 | 353.128 | 26.46 | 958.53 | 43.7033 | 79.977
2019-04-17 14:30:00 | 5.712 | 135.571 | 14.6773 | 195.648 | 13.399 | 156.625 | 4.962 | 324.422 | 26.46 | 958.382 | 45.4065 | 77.71
2019-04-17 14:45:00 | 5.2013 | 147.352 | 10.0753 | 210.52 | 11.6093 | 191.017 | 2.2853 | 337.589 | 26.46 | 958.53 | 44.4179 | 77.7258
2019-04-17 15:00:00 | 5.712 | 160.201 | 21.5803 | 206.841 | 19.2793 | 157.426 | 5.4733 | 334.542 | 26.46 | 958.085 | 43.6333 | 81.3051
2019-04-17 15:15:00 | 5.9673 | 165.85 | 16.7227 | 227.132 | 15.7 | 188.263 | 5.729 | 345.62 | 26.46 | 957.415 | 41.1054 | 79.6276
2019-04-17 15:30:00 | 5.712 | 149.565 | 17.234 | 199.359 | 15.9557 | 155.357 | 5.4733 | 341.839 | 26.46 | 957.26 | 39.741 | 62.0057
2019-04-17 15:45:00 | 5.9673 | 161.611 | 14.166 | 221.675 | 12.632 | 168.644 | 6.2403 | 0.29202 | 26.46 | 957.354 | 40.4908 | 45.3146
2019-04-17 16:00:00 | 8.2653 | 148.738 | 11.098 | 224.79 | 12.3763 | 178.646 | 5.4733 | 3.1393 | 26.46 | 957.2 | 41.0361 | 40.7541
2019-04-17 16:15:00 | 7.4993 | 147.691 | 16.7227 | 204.543 | 15.7 | 144.503 | 6.7517 | 335.439 | 26.46 | 956.766 | 41.5133 | 39.6826
2019-04-17 16:30:00 | 4.6907 | 172.221 | 11.6093 | 215.566 | 13.1433 | 167.573 | 3.6837 | 288.374 | 26.46 | 957.052 | 40.559 | 41.4931
2019-04-17 16:45:00 | 7.4993 | 179.06 | 18.5123 | 209.434 | 21.836 | 146.548 | 6.2403 | 340.939 | 26.46 | 956.215 | 41.7178 | 40.2923
2019-04-17 17:00:00 | 6.2227 | 150.638 | 18.001 | 193.668 | 16.7227 | 156.965 | 5.729 | 333.18 | 26.46 | 956.578 | 42.2637 | 40.2738
2019-04-17 17:15:00 | 5.9673 | 161.811 | 17.234 | 206.132 | 16.2113 | 157.723 | 5.9847 | 338.394 | 26.46 | 956.78 | 42.1281 | 42.0473
2019-04-17 17:30:00 | 5.2013 | 143.881 | 15.4443 | 206.48 | 14.933 | 160.576 | 5.4733 | 334.148 | 26.46 | 956.566 | 42.8796 | 41.8256
2019-04-17 17:45:00 | 5.9673 | 172.905 | 12.3763 | 194.33 | 9.3083 | 153.945 | 5.2177 | 351.214 | 26.46 | 956.865 | 44.3831 | 41.0682
2019-04-17 18:00:00 | 6.2227 | 144.528 | 15.9557 | 201.1 | 16.467 | 156.381 | 6.496 | 323.131 | 26.46 | 955.711 | 45.5429 | 41.0867
2019-04-17 18:15:00 | 5.4567 | 154.41 | 14.166 | 203.193 | 13.6547 | 156.065 | 4.4507 | 338.563 | 26.46 | 955.86 | 46.8382 | 39.7196
2019-04-17 18:30:00 | 4.6907 | 158.653 | 13.6547 | 201.622 | 14.166 | 161.233 | 4.962 | 333.395 | 26.46 | 955.267 | 46.9087 | 40.4216
2019-04-17 18:45:00 | 6.9887 | 154.094 | 19.535 | 205.567 | 19.535 | 161.056 | 5.2177 | 335.94 | 26.46 | 954.97 | 47.8005 | 41.8626
2019-04-17 19:00:00 | 4.6907 | 115.608 | 10.0753 | 196.586 | 8.797 | 164.466 | 7.5187 | 306.901 | 26.46 | 955.415 | 49.5738 | 41.4562
2019-04-17 19:15:00 | 5.4567 | 157.859 | 13.9103 | 207.221 | 16.2113 | 143.252 | 4.962 | 335.365 | 26.46 | 956.008 | 51.0788 | 41.216
2019-04-17 19:30:00 | 7.244 | 150.956 | 18.001 | 203.61 | 15.9557 | 152.49 | 6.2403 | 325.116 | 26.46 | 954.97 | 52.0374 | 41.5116
2019-04-17 19:45:00 | 5.712 | 165.03 | 9.0527 | 231.659 | 12.632 | 143.263 | 4.962 | 325.311 | 26.46 | 955.86 | 52.9923 | 40.9019
2019-04-17 20:00:00 | 5.4567 | 152.174 | 17.234 | 203.976 | 16.2113 | 162.473 | 6.2403 | 339.043 | 26.46 | 955.712 | 53.6402 | 42.269
2019-04-17 20:15:00 | 5.9673 | 150.129 | 18.768 | 202.929 | 15.9557 | 146.428 | 5.9847 | 334.685 | 26.46 | 955.563 | 54.595 | 42.62
2019-04-17 20:30:00 | 4.6907 | 156.897 | 15.7 | 216.977 | 16.2113 | 161.012 | 4.195 | 340.675 | 26.46 | 956.021 | 55.9932 | 41.4746
2019-04-17 20:45:00 | 5.9673 | 140.562 | 16.467 | 200.352 | 16.9783 | 154.076 | 6.2403 | 326.169 | 26.46 | 956.032 | 58.2448 | 41.5485
2019-04-17 21:00:00 | 3.6693 | 166.157 | 13.6547 | 209.537 | 11.865 | 153.739 | 4.7063 | 319.19 | 26.46 | 956.436 | 59.1331 | 39.6457
2019-04-17 21:15:00 | 6.2227 | 152.221 | 12.8877 | 191.005 | 15.1887 | 165.297 | 5.9847 | 335.684 | 26.46 | 956.3 | 58.8662 | 39.6642
2019-04-17 21:30:00 | 6.478 | 131.451 | 13.6547 | 200.773 | 12.3763 | 160.722 | 5.9847 | 320.908 | 26.46 | 955.854 | 57.8781 | 41.4377
2019-04-17 21:45:00 | 5.712 | 145.674 | 13.9103 | 194.833 | 15.7 | 145.04 | 6.2403 | 335.765 | 26.46 | 956.003 | 57.4352 | 40.1445
2019-04-17 22:00:00 | 4.18 | 159.554 | 17.4897 | 200.605 | 14.4217 | 174.19 | 4.4507 | 327.997 | 26.46 | 956.151 | 56.0709 | 39.9043
2019-04-17 22:15:00 | 4.946 | 155.755 | 9.8197 | 191.789 | 10.5867 | 158.142 | 6.2403 | 337.202 | 26.46 | 956.448 | 55.5252 | 39.7565
2019-04-17 22:30:00 | 4.946 | 157.387 | 13.6547 | 204.623 | 13.6547 | 168.564 | 5.4733 | 338.005 | 26.46 | 956.003 | 54.7749 | 40.0521
2019-04-17 22:45:00 | 6.478 | 154.124 | 12.3763 | 194.638 | 14.6773 | 161.989 | 5.4733 | 327.778 | 26.46 | 956.596 | 55.5252 | 40.2184
2019-04-17 23:00:00 | 5.4567 | 153.466 | 17.4897 | 204.939 | 15.1887 | 157.119 | 4.7063 | 334.085 | 26.46 | 956.3 | 55.5934 | 38.7774
2019-04-17 23:15:00 | 5.4567 | 154.659 | 15.7 | 199.704 | 13.6547 | 149.643 | 5.729 | 343.996 | 26.46 | 956.151 | 55.457 | 39.3132
2019-04-17 23:30:00 | 4.946 | 162.452 | 15.7 | 204.598 | 15.4443 | 145.065 | 4.962 | 354.613 | 26.46 | 956.3 | 55.0477 | 39.0176
2019-04-17 23:45:00 | 5.2013 | 140.073 | 19.2793 | 213.584 | 16.2113 | 157.411 | 5.4733 | 340.368 | 26.46 | 955.854 | 55.6617 | 40.2923