## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-18 00:00:00 | 4.4353 | 155.244 | 13.9103 | 212.342 | 13.6547 | 161.795 | 4.962 | 334.499 | 26.46 | 956.151 | 55.457 | 40.4586
2019-04-18 00:15:00 | 4.6907 | 151.908 | 17.4897 | 197.439 | 18.2567 | 147.938 | 5.9847 | 340.002 | 26.46 | 956.151 | 55.2524 | 39.3686
2019-04-18 00:30:00 | 4.18 | 158.799 | 16.2113 | 212.805 | 13.399 | 151.299 | 4.962 | 332.283 | 26.46 | 956.151 | 54.502 | 39.4794
2019-04-18 00:45:00 | 3.9247 | 153.442 | 15.1887 | 212.488 | 14.4217 | 152.224 | 4.7063 | 334.937 | 26.46 | 955.854 | 53.9563 | 40.126
2019-04-18 01:00:00 | 4.6907 | 151.323 | 16.2113 | 192.666 | 12.632 | 157.436 | 5.729 | 331.796 | 26.46 | 956.151 | 54.2974 | 40.7172
2019-04-18 01:15:00 | 3.414 | 135.153 | 13.1433 | 208.884 | 12.8877 | 169.758 | 4.7063 | 326.146 | 26.46 | 956.151 | 53.7517 | 40.7911
2019-04-18 01:30:00 | 4.4353 | 167.785 | 14.6773 | 207.74 | 16.2113 | 148.693 | 4.962 | 333.866 | 26.46 | 955.854 | 53.8199 | 40.6618
2019-04-18 01:45:00 | 5.712 | 146.356 | 16.467 | 195.491 | 17.234 | 156.316 | 5.729 | 332.137 | 26.46 | 955.409 | 53.3425 | 39.2762
2019-04-18 02:00:00 | 5.2013 | 140.395 | 13.1433 | 199.201 | 12.8877 | 138.374 | 5.729 | 324.82 | 26.46 | 956.003 | 53.4129 | 39.4425
2019-04-18 02:15:00 | 4.6907 | 160.077 | 11.098 | 213.748 | 11.6093 | 136.113 | 5.729 | 327.705 | 26.46 | 955.558 | 53.3464 | 38.7959
2019-04-18 02:30:00 | 4.18 | 148.414 | 13.1433 | 191.174 | 13.1433 | 140.158 | 5.729 | 331.312 | 26.46 | 955.558 | 53.8245 | 39.1284
2019-04-18 02:45:00 | 3.9247 | 146.47 | 13.399 | 205.478 | 12.3763 | 163.421 | 5.2177 | 330.009 | 26.46 | 955.409 | 53.8264 | 39.1284
2019-04-18 03:00:00 | 4.6907 | 149.739 | 14.933 | 201.564 | 13.399 | 131.789 | 3.9393 | 335.889 | 26.46 | 955.262 | 53.9646 | 39.1284
2019-04-18 03:15:00 | 4.18 | 143.213 | 13.9103 | 189.145 | 12.3763 | 152.274 | 5.9847 | 325.007 | 26.46 | 955.41 | 54.7158 | 39.1284
2019-04-18 03:30:00 | 4.946 | 147.525 | 16.7227 | 200.423 | 15.4443 | 129.185 | 4.7063 | 332.437 | 26.46 | 954.379 | 54.5796 | 39.1284
2019-04-18 03:45:00 | 4.946 | 151.422 | 14.933 | 198.426 | 13.9103 | 152.567 | 4.7063 | 341.083 | 26.46 | 954.708 | 54.9548 | 39.1284
2019-04-18 04:00:00 | 3.6693 | 143.555 | 12.8877 | 193.238 | 13.1433 | 165.281 | 5.2177 | 331.974 | 26.46 | 955.387 | 55.6712 | 39.1284
2019-04-18 04:15:00 | 5.4567 | 134.543 | 7.7743 | 192.483 | 7.263 | 167.911 | 6.2403 | 311.198 | 26.46 | 955.907 | 55.6712 | 39.1284
2019-04-18 04:30:00 | 4.946 | 143.628 | 8.2857 | 203.078 | 12.1207 | 130.817 | 5.4733 | 330.878 | 26.46 | 956.492 | 56.2852 | 39.1284
2019-04-18 04:45:00 | 8.2653 | 139.975 | 7.0073 | 207.584 | 6.7517 | 143.506 | 1.3827 | 330.683 | 26.46 | 957.286 | 56.831 | 39.1284
2019-04-18 05:00:00 | 2.0207 | 142.069 | 8.03 | 187.563 | 7.5187 | 139.074 | 1.2627 | 316.337 | 26.46 | 957.696 | 56.0805 | 39.1284
2019-04-18 05:15:00 | 0 | 112.939 | 4.7063 | 173.485 | 4.195 | 148.28 | 3.428 | 315.923 | 26.46 | 958.168 | 57.1039 | 39.1284
2019-04-18 05:30:00 | 0.372 | 128.479 | 5.2177 | 189.024 | 5.729 | 142.045 | 4.4507 | 330.074 | 26.46 | 958.209 | 56.7627 | 39.1284
2019-04-18 05:45:00 | 0 | 134.056 | 5.4733 | 193.774 | 4.4507 | 141.071 | 3.9393 | 323.352 | 26.46 | 958.519 | 57.1721 | 39.1284
2019-04-18 06:00:00 | 0 | 133.788 | 7.0073 | 186.175 | 7.0073 | 147.062 | 0.63133 | 317.409 | 26.46 | 958.932 | 56.4898 | 39.1284
2019-04-18 06:15:00 | 0.62733 | 144.724 | 5.9847 | 192.483 | 5.729 | 140.194 | 2.541 | 323.62 | 26.46 | 959.404 | 57.1721 | 39.1284
2019-04-18 06:30:00 | 0 | 132.619 | 5.9847 | 186.491 | 4.962 | 137.831 | 0 | 302.454 | 26.46 | 959.61 | 55.33 | 39.1284
2019-04-18 06:45:00 | 0 | 140.048 | 7.263 | 179.72 | 4.962 | 137.563 | 1.007 | 326.786 | 26.46 | 960.014 | 56.1828 | 39.1284
2019-04-18 07:00:00 | 0 | 126.022 | 5.2177 | 186.457 | 3.428 | 126.826 | 0 | 315.969 | 26.46 | 960.455 | 55.5256 | 39.1284
2019-04-18 07:15:00 | 0 | 110.533 | 5.4733 | 161.299 | 5.2177 | 116.694 | 0.75133 | 292.757 | 26.46 | 960.603 | 55.7976 | 39.1284
2019-04-18 07:30:00 | 0 | 113.754 | 5.4733 | 166.408 | 4.4507 | 117.844 | 0.37567 | 293.953 | 26.46 | 960.782 | 55.9254 | 39.1284
2019-04-18 07:45:00 | 0 | 113.266 | 4.195 | 152.821 | 3.1723 | 111.757 | 0.37567 | 293.343 | 26.46 | 961.054 | 55.243 | 39.1284
2019-04-18 08:00:00 | 0 | 130.979 | 4.195 | 177.003 | 2.661 | 120.461 | 0 | 320.118 | 26.46 | 961.793 | 54.8966 | 39.1284
2019-04-18 08:15:00 | 0 | 89.1451 | 4.7063 | 144.561 | 4.4507 | 96.8862 | 0 | 275.347 | 26.46 | 962.238 | 52.7097 | 39.1284
2019-04-18 08:30:00 | 0 | 103.007 | 5.4733 | 153.081 | 4.195 | 96.8973 | 0 | 282.854 | 26.46 | 962.387 | 52.0888 | 39.1284
2019-04-18 08:45:00 | 0 | 61.2139 | 2.661 | 163.788 | 2.9167 | 96.9688 | 0 | 245.562 | 26.46 | 962.979 | 50.2472 | 39.1284
2019-04-18 09:00:00 | 0 | 119.171 | 1.894 | 157.722 | 1.127 | 96.9526 | 0 | 301.711 | 26.46 | 963.167 | 49.2845 | 39.1284
2019-04-18 09:15:00 | 0 | 103.52 | 5.2177 | 170.346 | 4.195 | 97.143 | 3.308 | 283.569 | 26.46 | 963.577 | 46.2496 | 39.1284
2019-04-18 09:30:00 | 0 | 134.814 | 2.9167 | 187.064 | 3.6837 | 97.1446 | 0 | 311.68 | 26.46 | 964.466 | 47.4424 | 39.1284
2019-04-18 09:45:00 | 0 | 95.8784 | 4.195 | 153.36 | 1.894 | 98.4098 | 0 | 288.124 | 26.46 | 964.445 | 46.2494 | 39.1284
2019-04-18 10:00:00 | 0 | 89.275 | 3.9393 | 137.332 | 1.894 | 98.6916 | 0 | 265.416 | 26.46 | 964.59 | 44.7454 | 39.1284
2019-04-18 10:15:00 | 0 | 6.6657 | 3.9393 | 69.3298 | 2.4053 | 87.3836 | 0 | 195.713 | 26.46 | 964.619 | 44.3615 | 39.1284
2019-04-18 10:30:00 | 0.99933 | 1.0704 | 3.6837 | 73.0268 | 3.6837 | 39.4099 | 3.6837 | 151.777 | 26.46 | 964.617 | 50.8348 | 39.1284
2019-04-18 10:45:00 | 3.6693 | 17.4182 | 8.5413 | 97.5972 | 7.0073 | 53.8115 | 1.6383 | 207.243 | 26.46 | 964.024 | 53.0494 | 39.1284
2019-04-18 11:00:00 | 7.7547 | 17.0099 | 8.03 | 53.9284 | 7.263 | 28.7148 | 2.661 | 175.258 | 26.46 | 964.3 | 55.2129 | 39.1284
2019-04-18 11:15:00 | 13.372 | 17.716 | 10.0753 | 77.0971 | 6.2403 | 27.7419 | 3.1723 | 190.909 | 26.46 | 964.318 | 53.6463 | 23.4986
2019-04-18 11:30:00 | 0.99933 | 13.0438 | 9.8197 | 65.8552 | 8.5413 | 27.426 | 2.661 | 193.174 | 26.46 | 964.169 | 50.9202 | 18.5851
2019-04-18 11:45:00 | 4.18 | 10.0505 | 11.865 | 69.9922 | 6.496 | 22.3155 | 2.9167 | 187.82 | 26.46 | 964.021 | 51.5337 | 18.5851
2019-04-18 12:00:00 | 4.4353 | 18.7869 | 11.098 | 77.9012 | 8.2857 | 40.4941 | 1.894 | 192.006 | 26.46 | 964.031 | 53.4424 | 18.5851
2019-04-18 12:15:00 | 6.9887 | 10.5866 | 9.3083 | 81.923 | 7.5187 | 76.5152 | 3.9393 | 207.253 | 26.46 | 964.126 | 48.333 | 18.5851
2019-04-18 12:30:00 | 5.712 | 22.3437 | 12.1207 | 77.7718 | 8.797 | 148.958 | 4.4507 | 198.221 | 26.46 | 964.017 | 41.6567 | 18.5851
2019-04-18 12:45:00 | 4.6907 | 13.4354 | 12.1207 | 78.0639 | 5.9847 | 2.8721 | 2.1497 | 193.743 | 26.46 | 964.167 | 36.6797 | 18.5851
2019-04-18 13:00:00 | 5.2013 | 9.7131 | 11.3537 | 60.6259 | 6.496 | 3.3351 | 5.2177 | 195.576 | 26.46 | 964.167 | 34.6402 | 18.5851
2019-04-18 13:15:00 | 3.9247 | 12.0258 | 10.331 | 65.6654 | 8.2857 | 4.0897 | 0.75133 | 190.489 | 26.46 | 964.167 | 30.9581 | 18.5851
2019-04-18 13:30:00 | 4.4353 | 18.0873 | 10.8423 | 75.7193 | 5.9847 | 0.779 | 5.2177 | 204.511 | 26.46 | 964.167 | 29.3215 | 18.5851
2019-04-18 13:45:00 | 8.2653 | 1.0224 | 8.5413 | 47.505 | 1.3827 | 2.337 | 3.428 | 188.152 | 26.46 | 964.463 | 28.435 | 18.5851
2019-04-18 14:00:00 | 4.4353 | 12.2205 | 11.865 | 67.832 | 4.195 | 32.3284 | 3.9393 | 197.768 | 26.46 | 964.315 | 28.8101 | 18.5851
2019-04-18 14:15:00 | 5.4567 | 13.8514 | 11.098 | 77.5443 | 9.0527 | 31.8412 | 5.2177 | 202.221 | 26.46 | 964.167 | 27.412 | 18.5851
2019-04-18 14:30:00 | 6.2227 | 18.4768 | 11.098 | 71.727 | 7.263 | 39.3394 | 3.1723 | 202.953 | 26.46 | 964.612 | 27.7531 | 18.5851
2019-04-18 14:45:00 | 6.2227 | 34.2028 | 7.7743 | 77.2286 | 4.962 | 73.5422 | 1.127 | 212.593 | 26.46 | 965.353 | 28.0941 | 18.5851
2019-04-18 15:00:00 | 0.372 | 15.6749 | 8.797 | 74.4143 | 3.6837 | 72.9222 | 0 | 210.54 | 26.46 | 965.353 | 27.3397 | 13.7851
2019-04-18 15:15:00 | 4.946 | 27.601 | 8.03 | 76.847 | 3.6837 | 72.191 | 4.4507 | 211.438 | 26.46 | 965.947 | 27.7484 | 11.3062
2019-04-18 15:30:00 | 10.308 | 33.2235 | 9.0527 | 73.5368 | 6.2403 | 72.191 | 5.729 | 224.167 | 26.46 | 965.495 | 26.2485 | 18.6146
2019-04-18 15:45:00 | 5.9673 | 36.9231 | 9.8197 | 83.2726 | 8.5413 | 69.0512 | 4.4507 | 225.116 | 26.46 | 965.057 | 25.5667 | 33.6208
2019-04-18 16:00:00 | 10.8187 | 13.6301 | 9.3083 | 62.1703 | 3.6837 | 69.4407 | 3.6837 | 200.071 | 26.46 | 965.324 | 23.4532 | 46.5334
2019-04-18 16:15:00 | 3.1587 | 23.3416 | 9.0527 | 80.4006 | 4.4507 | 69.0269 | 1.2627 | 201.215 | 26.46 | 964.903 | 23.5896 | 41.1938
2019-04-18 16:30:00 | 3.6693 | 16.0158 | 10.5867 | 69.5475 | 8.2857 | 68.9314 | 5.4733 | 199.541 | 26.46 | 964.611 | 23.5561 | 42.2236
2019-04-18 16:45:00 | 7.7547 | 14.3383 | 9.3083 | 64.6908 | 5.4733 | 68.6485 | 4.195 | 201.125 | 26.46 | 964.463 | 23.6956 | 41.8146
2019-04-18 17:00:00 | 2.3927 | 8.7637 | 10.8423 | 67.6616 | 6.7517 | 68.6492 | 3.6837 | 196.088 | 26.46 | 964.315 | 23.7982 | 38.8735
2019-04-18 17:15:00 | 1.2547 | 9.5929 | 6.496 | 62.6355 | 6.2403 | 68.6356 | 3.6837 | 189.058 | 26.46 | 964.315 | 23.8018 | 38.893
2019-04-18 17:30:00 | 1.882 | 7.0365 | 9.564 | 58.1565 | 8.03 | 68.5391 | 2.9167 | 200.188 | 26.46 | 964.018 | 23.6658 | 40.5087
2019-04-18 17:45:00 | 3.9247 | 17.2164 | 10.8423 | 67.8595 | 5.2177 | 66.82 | 5.2177 | 193.836 | 26.46 | 964.144 | 24.1467 | 44.2679
2019-04-18 18:00:00 | 4.4353 | 20.2608 | 9.564 | 74.7048 | 4.195 | 66.627 | 5.729 | 204.776 | 26.46 | 964.312 | 23.7381 | 39.2045
2019-04-18 18:15:00 | 6.478 | 12.8842 | 8.5413 | 66.3898 | 7.0073 | 66.6616 | 4.195 | 202.031 | 26.46 | 964.016 | 24.2875 | 36.0221
2019-04-18 18:30:00 | 6.2227 | 8.0862 | 9.0527 | 63.8338 | 8.03 | 66.8332 | 4.962 | 193.022 | 26.46 | 964.092 | 24.629 | 33.8289
2019-04-18 18:45:00 | 0.744 | 4.0188 | 7.5187 | 62.3724 | 5.2177 | 66.8332 | 2.4053 | 192.901 | 26.46 | 964.161 | 24.3561 | 27.231
2019-04-18 19:00:00 | 0.372 | 29.6663 | 6.496 | 74.2111 | 5.9847 | 66.8344 | 5.729 | 219.623 | 26.46 | 964.458 | 24.1519 | 24.1569
2019-04-18 19:15:00 | 0 | 7.429 | 5.729 | 45.5701 | 5.4733 | 66.8367 | 5.9847 | 197.636 | 26.46 | 964.755 | 24.221 | 21.238
2019-04-18 19:30:00 | 0 | 25.7743 | 6.2403 | 78.7367 | 4.7063 | 66.8476 | 2.2853 | 199.739 | 26.46 | 965.052 | 24.4979 | 20.2478
2019-04-18 19:45:00 | 0 | 27.6779 | 6.496 | 79.7962 | 5.2177 | 66.8556 | 1.774 | 216.038 | 26.46 | 965.2 | 24.9103 | 14.3766
2019-04-18 20:00:00 | 0 | 18.8824 | 5.9847 | 71.0742 | 3.428 | 66.8559 | 3.8193 | 200.592 | 26.46 | 965.349 | 25.1834 | 13.15
2019-04-18 20:15:00 | 0 | 37.5212 | 5.9847 | 77.5796 | 3.9393 | 66.856 | 0.37567 | 214.651 | 26.46 | 965.646 | 25.5929 | 10.0056
2019-04-18 20:30:00 | 0 | 37.6674 | 5.2177 | 94.9758 | 3.6837 | 66.856 | 0.37567 | 221.034 | 26.46 | 965.943 | 25.0469 | 6.3477
2019-04-18 20:45:00 | 0 | 29.9926 | 4.962 | 88.8603 | 3.9393 | 66.856 | 2.1497 | 208.803 | 26.46 | 966.239 | 25.1152 | 4.7442
2019-04-18 21:00:00 | 0 | 47.0721 | 4.4507 | 106.817 | 3.1723 | 66.856 | 1.007 | 224.811 | 26.46 | 966.091 | 24.9104 | 3.9941
2019-04-18 21:15:00 | 0 | 36.839 | 4.4507 | 104.795 | 3.428 | 66.856 | 0 | 223.787 | 26.46 | 966.239 | 23.682 | 3.4805
2019-04-18 21:30:00 | 0 | 35.8645 | 3.428 | 91.8815 | 1.127 | 66.856 | 0 | 233.752 | 26.46 | 966.239 | 26.8214 | 3.148
2019-04-18 21:45:00 | 0 | 36.839 | 3.1723 | 83.89 | 2.661 | 66.856 | 0 | 229.513 | 26.46 | 966.091 | 27.2991 | 1.1787
2019-04-18 22:00:00 | 0 | 44.0996 | 3.428 | 72.4874 | 2.661 | 66.856 | 0 | 231.925 | 26.46 | 966.274 | 30.0972 | 1.6183
2019-04-18 22:15:00 | 4.18 | 4.3371 | 3.428 | 59.9204 | 3.428 | 66.8602 | 0 | 216.224 | 26.46 | 966.618 | 31.9419 | 2.5938
2019-04-18 22:30:00 | 0 | 34.2129 | 3.6837 | 67.628 | 2.9167 | 66.8663 | 0.37567 | 251.869 | 26.46 | 966.534 | 31.194 | 0.46925
2019-04-18 22:45:00 | 0 | 7.8954 | 2.9167 | 56.4199 | 2.9167 | 66.8674 | 0 | 202.064 | 26.46 | 966.534 | 29.9317 | 0.29559
2019-04-18 23:00:00 | 0 | 14.8646 | 2.4053 | 56.8575 | 2.4053 | 66.8665 | 0.37567 | 208.056 | 26.46 | 966.534 | 30.3068 | 0.17735
2019-04-18 23:15:00 | 2.0207 | 1.2672 | 2.661 | 59.1492 | 3.428 | 66.8674 | 0.63133 | 197.118 | 26.46 | 966.534 | 31.2287 | 0.2845
2019-04-18 23:30:00 | 0 | 31.9472 | 2.4053 | 71.7234 | 2.661 | 66.8674 | 0 | 263.863 | 26.46 | 966.534 | 27.6109 | -0.13671
2019-04-18 23:45:00 | 0 | 64.3326 | 2.1497 | 106.156 | 1.894 | 66.867 | 0 | 273.804 | 26.46 | 966.534 | 26.894 | -0.2143