## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-19 00:00:00 | 0 | 64.8203 | 1.127 | 105.937 | 1.3827 | 66.8672 | 0 | 273.805 | 26.46 | 966.534 | 28.1911 | -0.24016
2019-04-19 00:15:00 | 0 | 64.8199 | 0 | 105.96 | 1.3827 | 66.8668 | 0 | 273.754 | 26.46 | 967.128 | 27.6448 | -0.15888
2019-04-19 00:30:00 | 0 | 350.957 | 0.75133 | 104.085 | 0 | 66.8674 | 0 | 273.927 | 26.46 | 966.98 | 27.1672 | -0.25125
2019-04-19 00:45:00 | 0 | 235.054 | 0.37567 | 261.939 | 1.127 | 66.866 | 0 | 58.9951 | 26.46 | 967.128 | 27.5079 | -0.24016
2019-04-19 01:00:00 | 0 | 295.681 | 1.127 | 6.9022 | 1.894 | 66.8657 | 0 | 84.8979 | 26.46 | 966.831 | 27.5078 | -0.25125
2019-04-19 01:15:00 | 0 | 138.167 | 0.75133 | 164.149 | 1.127 | 66.8659 | 0 | 344.954 | 26.46 | 966.534 | 21.7743 | -0.24016
2019-04-19 01:30:00 | 0 | 196.36 | 2.4053 | 227.631 | 1.6383 | 66.8666 | 0 | 23.0037 | 26.46 | 966.534 | 28.1566 | -0.24016
2019-04-19 01:45:00 | 0 | 209.908 | 1.6383 | 269.641 | 1.3827 | 66.8664 | 0 | 30.2166 | 26.46 | 966.534 | 27.4398 | -0.24016
2019-04-19 02:00:00 | 0 | 184.614 | 1.3827 | 246.248 | 0 | 66.8666 | 0 | 355.143 | 26.46 | 966.534 | 27.4399 | -0.24016
2019-04-19 02:15:00 | 0 | 201.791 | 2.1497 | 266.762 | 1.127 | 66.8656 | 0 | 24.4654 | 26.46 | 966.534 | 26.0061 | -0.24016
2019-04-19 02:30:00 | 0 | 202.013 | 1.6383 | 312.457 | 1.6383 | 66.8666 | 0 | 37.5272 | 26.46 | 966.534 | 23.0031 | -0.24016
2019-04-19 02:45:00 | 0 | 249.573 | 2.4053 | 17.8556 | 2.9167 | 66.8646 | 0 | 43.2768 | 26.46 | 966.534 | 25.5962 | -0.25125
2019-04-19 03:00:00 | 0 | 307.587 | 2.4053 | 2.0297 | 2.1497 | 66.8688 | 0 | 123.844 | 26.46 | 966.534 | 26.3487 | -0.18105
2019-04-19 03:15:00 | 0 | 348.314 | 2.4053 | 34.6891 | 1.894 | 66.8748 | 0 | 179.714 | 26.46 | 966.534 | 23.6886 | -0.10346
2019-04-19 03:30:00 | 0 | 351.6 | 2.9167 | 40.9317 | 2.1497 | 66.8786 | 0 | 181.113 | 26.46 | 966.831 | 24.6457 | 0.26972
2019-04-19 03:45:00 | 0 | 1.1699 | 2.4053 | 66.0846 | 1.3827 | 66.8788 | 0 | 192.862 | 26.46 | 966.831 | 22.8025 | 0.39165
2019-04-19 04:00:00 | 0.372 | 17.5484 | 2.9167 | 62.5993 | 1.894 | 66.8788 | 0 | 208.801 | 26.46 | 966.683 | 23.6218 | -0.24016
2019-04-19 04:15:00 | 1.51 | 24.4215 | 2.661 | 77.028 | 2.661 | 66.8788 | 0 | 204.463 | 26.46 | 966.534 | 25.7382 | -0.084981
2019-04-19 04:30:00 | 5.9673 | 22.3254 | 3.1723 | 76.9548 | 2.9167 | 66.8788 | 0.75133 | 205.487 | 26.46 | 966.534 | 28.2301 | 0.014779
2019-04-19 04:45:00 | 0 | 8.6767 | 3.6837 | 66.767 | 2.9167 | 66.8788 | 1.774 | 163.444 | 26.46 | 966.534 | 26.2161 | 0.33623
2019-04-19 05:00:00 | 4.574 | 10.7728 | 3.1723 | 70.691 | 2.9167 | 66.8788 | 0 | 164.321 | 26.46 | 966.683 | 24.9189 | 0.025864
2019-04-19 05:15:00 | 0 | 28.7599 | 3.6837 | 96.8917 | 3.428 | 66.8788 | 3.1723 | 201.88 | 26.46 | 966.534 | 33.4528 | -0.040643
2019-04-19 05:30:00 | 0 | 52.1577 | 3.6837 | 105.032 | 3.1723 | 66.8788 | 0.887 | 236.294 | 26.46 | 966.534 | 37.0029 | 0.070202
2019-04-19 05:45:00 | 0 | 54.595 | 2.4053 | 106.738 | 2.1497 | 66.8788 | 0 | 243.216 | 26.46 | 966.98 | 29.2883 | 0.11454
2019-04-19 06:00:00 | 0 | 56.9835 | 2.4053 | 102.644 | 2.1497 | 66.8788 | 0 | 224.376 | 26.46 | 967.128 | 30.7902 | 0.48033
2019-04-19 06:15:00 | 0 | 355.72 | 3.6837 | 41.9068 | 3.9393 | 66.8788 | 1.007 | 187.743 | 26.46 | 967.128 | 44.3762 | 2.0839
2019-04-19 06:30:00 | 0 | 18.3283 | 3.9393 | 72.4215 | 3.6837 | 66.8788 | 1.6383 | 197.102 | 26.46 | 966.99 | 41.304 | 1.2969
2019-04-19 06:45:00 | 0 | 23.1054 | 4.4507 | 74.3469 | 4.195 | 66.8788 | 4.7063 | 201.197 | 26.46 | 967.172 | 45.5368 | 0.34731
2019-04-19 07:00:00 | 4.18 | 45.3333 | 2.9167 | 88.6781 | 3.1723 | 66.8788 | 0.37567 | 224.473 | 26.46 | 967.277 | 39.4607 | -0.12193
2019-04-19 07:15:00 | 0 | 1.9498 | 3.428 | 50.9735 | 3.1723 | 66.8788 | 1.774 | 189.035 | 26.46 | 967.47 | 44.4444 | -0.12932
2019-04-19 07:30:00 | 0 | 11.5527 | 3.1723 | 71.2029 | 2.661 | 66.8788 | 0 | 208.875 | 26.46 | 967.787 | 40.7578 | -0.096066
2019-04-19 07:45:00 | 0 | 21.0581 | 2.661 | 63.2573 | 2.1497 | 66.8788 | 0 | 224.059 | 26.46 | 967.781 | 44.1031 | -0.19583
2019-04-19 08:00:00 | 0 | 12.1864 | 1.6383 | 52.2896 | 2.4053 | 66.8788 | 0 | 218.112 | 26.46 | 968.054 | 43.8983 | -0.11824
2019-04-19 08:15:00 | 0 | 341.682 | 2.9167 | 37.6172 | 2.1497 | 66.8788 | 0 | 169.196 | 26.46 | 968.324 | 52.2273 | 0.49141
2019-04-19 08:30:00 | 0 | 355.794 | 2.1497 | 73.3964 | 0.37567 | 66.8788 | 0 | 153.353 | 26.46 | 968.368 | 51.4764 | 0.58009
2019-04-19 08:45:00 | 0 | 9.3591 | 2.9167 | 79.6846 | 0 | 66.8788 | 0 | 178.457 | 26.46 | 968.317 | 50.9985 | 0.11454
2019-04-19 09:00:00 | 1.6487 | 21.7405 | 2.9167 | 74.2982 | 1.894 | 66.8788 | 0 | 197.614 | 26.46 | 968.614 | 52.2956 | -0.12932
2019-04-19 09:15:00 | 0 | 3.4122 | 2.1497 | 68.2538 | 2.1497 | 66.8788 | 0 | 201.27 | 26.46 | 968.911 | 52.0908 | 0.059118
2019-04-19 09:30:00 | 9.7973 | 17.5484 | 2.661 | 60.2351 | 2.1497 | 66.8788 | 0 | 195.591 | 26.46 | 968.911 | 52.7735 | -0.073897
2019-04-19 09:45:00 | 0 | 4.1434 | 2.1497 | 55.4581 | 1.894 | 66.8788 | 0 | 189.937 | 26.46 | 969.207 | 51.5446 | -0.22908
2019-04-19 10:00:00 | 0 | 37.3391 | 1.6383 | 68.9606 | 1.6383 | 66.8788 | 0 | 237.269 | 26.46 | 969.356 | 50.9985 | -0.26233
2019-04-19 10:15:00 | 0.372 | 67.0728 | 1.127 | 97.4505 | 0 | 66.8778 | 0 | 277.626 | 26.46 | 969.504 | 52.2265 | -0.24016
2019-04-19 10:30:00 | 0 | 4.5814 | 1.127 | 32.0526 | 0.75133 | 66.8691 | 0 | 279.71 | 26.46 | 969.504 | 50.9228 | -0.24016
2019-04-19 10:45:00 | 0 | 35.8701 | 1.3827 | 103.401 | 0 | 66.8666 | 0 | 289.568 | 26.46 | 969.95 | 49.9652 | -0.24016
2019-04-19 11:00:00 | 0 | 307.678 | 0.75133 | 17.6606 | 0.75133 | 66.8674 | 0 | 301.464 | 26.46 | 970.098 | 52.7645 | -0.24016
2019-04-19 11:15:00 | 0 | 327.853 | 1.894 | 5.9768 | 1.3827 | 66.867 | 0 | 191.561 | 26.46 | 969.801 | 55.9724 | -0.24016
2019-04-19 11:30:00 | 0 | 306.408 | 2.1497 | 11.6173 | 2.4053 | 66.8668 | 0 | 110.023 | 26.46 | 969.801 | 56.4499 | -0.24016
2019-04-19 11:45:00 | 0 | 293.379 | 0 | 74.2029 | 0 | 66.8631 | 0 | 104.534 | 26.46 | 969.794 | 52.4198 | -0.24016
2019-04-19 12:00:00 | 0 | 317.469 | 2.4053 | 6.7278 | 2.9167 | 66.8562 | 0 | 141.631 | 26.46 | 969.809 | 53.438 | -0.25864
2019-04-19 12:15:00 | 0 | 313.01 | 3.1723 | 1.4343 | 3.1723 | 66.8561 | 0 | 132.202 | 26.46 | 969.505 | 56.0997 | -0.2882
2019-04-19 12:30:00 | 0 | 307.085 | 2.661 | 7.6718 | 3.1723 | 66.8551 | 0 | 166.163 | 26.46 | 969.505 | 54.8022 | 0.025864
2019-04-19 12:45:00 | 0 | 0.097458 | 3.1723 | 11.5763 | 2.661 | 66.8559 | 1.007 | 183.415 | 26.46 | 969.208 | 56.5091 | 0.59487
2019-04-19 13:00:00 | 0 | 33.4524 | 2.661 | 60.3296 | 0 | 66.8559 | 0 | 140.388 | 26.46 | 969.06 | 56.5774 | 0.86459
2019-04-19 13:15:00 | 0 | 7.3093 | 2.4053 | 7.5741 | 1.6383 | 66.8559 | 0 | 229.684 | 26.46 | 968.923 | 54.7347 | 1.7809
2019-04-19 13:30:00 | 0 | 0.097458 | 4.195 | 72.0488 | 1.3827 | 66.8559 | 0 | 183.635 | 26.46 | 968.791 | 59.2049 | 2.5642
2019-04-19 13:45:00 | 0 | 11.9888 | 3.1723 | 71.8166 | 3.1723 | 66.8643 | 0 | 181.611 | 26.46 | 968.464 | 61.0893 | 2.6012
2019-04-19 14:00:00 | 0 | 19.0071 | 3.428 | 80.6887 | 3.6837 | 66.8659 | 2.4053 | 175.011 | 26.46 | 968.316 | 57.9509 | 2.8746
2019-04-19 14:15:00 | 0 | 343.203 | 3.1723 | 71.7465 | 1.894 | 66.8665 | 0 | 157.248 | 26.46 | 968.316 | 59.9992 | 3.754
2019-04-19 14:30:00 | 0 | 83.0479 | 2.1497 | 76.8892 | 1.127 | 66.8672 | 0 | 176.769 | 26.46 | 968.316 | 57.3377 | 2.8672
2019-04-19 14:45:00 | 0 | 352.128 | 4.4507 | 48.5493 | 4.962 | 66.8679 | 3.428 | 178.282 | 26.46 | 967.871 | 54.8126 | 2.6788
2019-04-19 15:00:00 | 0 | 355.856 | 3.1723 | 78.5536 | 3.1723 | 66.8722 | 2.9167 | 178.391 | 26.46 | 967.871 | 51.7443 | 1.6664
2019-04-19 15:15:00 | 0 | 356.932 | 3.9393 | 53.2093 | 2.4053 | 66.8729 | 0 | 174.347 | 26.46 | 967.722 | 51.3353 | 1.223
2019-04-19 15:30:00 | 0 | 84.0982 | 2.661 | 56.0807 | 1.3827 | 66.8691 | 0 | 186.498 | 26.46 | 967.722 | 50.445 | 0.6429
2019-04-19 15:45:00 | 0 | 354.85 | 2.4053 | 17.527 | 2.4053 | 66.8663 | 0 | 171.918 | 26.46 | 967.722 | 55.9035 | 0.4286
2019-04-19 16:00:00 | 0 | 23.4906 | 3.6837 | 73.4751 | 1.3827 | 66.8654 | 0 | 200.572 | 26.46 | 967.425 | 56.8583 | 0.44708
2019-04-19 16:15:00 | 0 | 7.7979 | 2.661 | 82.3228 | 0 | 66.8668 | 0 | 160.417 | 26.46 | 967.425 | 56.8595 | 0.38796
2019-04-19 16:30:00 | 0 | 352.002 | 3.6837 | 37.9725 | 3.1723 | 66.867 | 2.661 | 178.913 | 26.46 | 967.128 | 57.2692 | 0.24755
2019-04-19 16:45:00 | 0 | 0.097486 | 3.6837 | 58.8171 | 2.9167 | 66.8751 | 0.37567 | 183.614 | 26.46 | 966.831 | 59.529 | 0.18844
2019-04-19 17:00:00 | 0 | 8.8717 | 3.1723 | 69.1067 | 2.4053 | 66.8787 | 0 | 192.813 | 26.46 | 966.534 | 59.2592 | 0.0073897
2019-04-19 17:15:00 | 0 | 15.5011 | 2.4053 | 68.8631 | 1.3827 | 66.8788 | 0 | 201.977 | 26.46 | 966.98 | 57.8256 | 0.062812
2019-04-19 17:30:00 | 0 | 5.8007 | 2.1497 | 68.6193 | 1.127 | 66.8788 | 0 | 192.35 | 26.46 | 966.831 | 58.3035 | -0.16627
2019-04-19 17:45:00 | 0 | 82.5993 | 2.1497 | 49.0237 | 0.37567 | 66.8788 | 0 | 184.258 | 26.46 | 966.831 | 58.6448 | -0.218
2019-04-19 18:00:00 | 0 | 334.144 | 1.894 | 12.1227 | 1.3827 | 66.8776 | 0 | 182.89 | 26.46 | 966.831 | 61.511 | -0.25125
2019-04-19 18:15:00 | 0 | 11.7958 | 2.4053 | 63.9833 | 1.3827 | 66.8747 | 0 | 186.245 | 26.46 | 966.534 | 61.918 | -0.20322
2019-04-19 18:30:00 | 0 | 18.5717 | 1.894 | 64.3283 | 0.75133 | 66.8777 | 0 | 205.313 | 26.46 | 966.534 | 62.3304 | -0.19952
2019-04-19 18:45:00 | 0 | 24.2265 | 2.4053 | 74.6636 | 0.75133 | 66.8787 | 0 | 205.852 | 26.46 | 966.386 | 65.0622 | -0.10715
2019-04-19 19:00:00 | 0 | 19.6444 | 1.6383 | 75.0049 | 0 | 66.8787 | 0 | 200.1 | 26.46 | 966.534 | 56.4942 | -0.25864
2019-04-19 19:15:00 | 0 | 25.2989 | 1.894 | 75.0294 | 0 | 66.8788 | 0 | 200.442 | 26.46 | 966.386 | 56.5284 | -0.25125
2019-04-19 19:30:00 | 0 | 82.7211 | 2.1497 | 73.0064 | 2.1497 | 66.8788 | 0 | 194.373 | 26.46 | 966.534 | 55.6409 | -0.25125
2019-04-19 19:45:00 | 0 | 7.3118 | 2.1497 | 42.1993 | 1.127 | 66.8788 | 0 | 196.883 | 26.46 | 966.534 | 55.5043 | -0.24016
2019-04-19 20:00:00 | 0.372 | 2.291 | 1.894 | 42.3943 | 2.1497 | 66.8788 | 0 | 194.982 | 26.46 | 966.534 | 56.7674 | -0.24016
2019-04-19 20:15:00 | 0 | 6.0688 | 1.894 | 48.6824 | 1.127 | 66.8788 | 0 | 200.783 | 26.46 | 966.683 | 65.4036 | -0.24016
2019-04-19 20:30:00 | 0 | 70.9247 | 2.4053 | 51.5584 | 2.4053 | 66.8788 | 0 | 276.485 | 26.46 | 966.534 | 60.3516 | -0.24016
2019-04-19 20:45:00 | 0 | 117.306 | 2.9167 | 159.237 | 1.3827 | 66.8788 | 0 | 295.544 | 26.46 | 966.534 | 49.4282 | -0.20322
2019-04-19 21:00:00 | 0 | 121.839 | 0.75133 | 129.064 | 0.37567 | 66.8788 | 0 | 291.425 | 26.46 | 966.534 | 56.8698 | -0.20322
2019-04-19 21:15:00 | 0 | 88.8631 | 1.6383 | 117.438 | 1.6383 | 66.8788 | 0 | 302.515 | 26.46 | 966.386 | 53.4904 | -0.16627
2019-04-19 21:30:00 | 0 | 111.286 | 1.6383 | 139.154 | 2.1497 | 66.8788 | 0 | 291.254 | 26.46 | 966.238 | 52.7735 | -0.18474
2019-04-19 21:45:00 | 0 | 118.11 | 0 | 95.5756 | 1.6383 | 66.8788 | 0 | 298.932 | 26.46 | 966.386 | 58.0986 | -0.092371
2019-04-19 22:00:00 | 0 | 106.338 | 1.894 | 153.973 | 1.6383 | 66.8788 | 0 | 283.845 | 26.46 | 966.238 | 55.2313 | 0.022169
2019-04-19 22:15:00 | 0 | 118.013 | 2.9167 | 179.808 | 2.1497 | 66.8788 | 0 | 308.023 | 26.46 | 966.238 | 45.1954 | 0.16996
2019-04-19 22:30:00 | 0 | 118.208 | 1.894 | 144.906 | 1.6383 | 66.8788 | 0 | 292.034 | 26.46 | 966.534 | 45.2637 | 0.26972
2019-04-19 22:45:00 | 0 | 106.558 | 2.1497 | 142.176 | 1.127 | 66.8788 | 0 | 285.795 | 26.46 | 966.534 | 52.1591 | 0.87568
2019-04-19 23:00:00 | 0 | 87.5712 | 4.7063 | 144.443 | 3.1723 | 66.8787 | 0 | 294.666 | 26.46 | 966.238 | 42.9424 | 1.5334
2019-04-19 23:15:00 | 0 | 106.013 | 5.729 | 145.527 | 3.1723 | 66.8738 | 0 | 286.066 | 26.46 | 966.386 | 43.2123 | 1.7735
2019-04-19 23:30:00 | 1.7653 | 120.48 | 6.7517 | 169.2 | 6.7517 | 116.215 | 1.007 | 307.731 | 26.46 | 966.238 | 37.7479 | 2.494
2019-04-19 23:45:00 | 0 | 113.336 | 5.729 | 171.485 | 5.2177 | 130.077 | 1.007 | 303.164 | 26.46 | 966.386 | 37.4737 | 2.9485