## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-20 00:00:00 | 0 | 128.447 | 3.9393 | 183.575 | 3.6837 | 141.776 | 0 | 308.311 | 26.46 | 966.534 | 37.6108 | 2.627
2019-04-20 00:15:00 | 0 | 131.785 | 3.6837 | 176.703 | 2.4053 | 141.777 | 0 | 326.759 | 26.46 | 966.534 | 39.3857 | 1.5777
2019-04-20 00:30:00 | 0 | 142.214 | 2.1497 | 186.742 | 1.6383 | 145.236 | 0 | 302.071 | 26.46 | 966.386 | 40.2045 | 1.659
2019-04-20 00:45:00 | 0 | 149.037 | 5.9847 | 180.015 | 4.962 | 139.533 | 1.5183 | 318.153 | 26.46 | 966.386 | 40.1361 | 1.4632
2019-04-20 01:00:00 | 0 | 139.97 | 4.4507 | 189.516 | 3.1723 | 147.377 | 0 | 322.9 | 26.46 | 966.386 | 41.2276 | 1.7292
2019-04-20 01:15:00 | 0 | 135.681 | 5.2177 | 195.802 | 3.6837 | 152.884 | 2.1497 | 331.038 | 26.46 | 965.941 | 42.0807 | 2.0396
2019-04-20 01:30:00 | 0 | 149.596 | 1.894 | 199.899 | 1.894 | 175.159 | 0 | 333.991 | 26.46 | 965.941 | 44.0949 | 1.3671
2019-04-20 01:45:00 | 0 | 147.966 | 3.9393 | 188.838 | 3.6837 | 170.239 | 0 | 334.751 | 26.46 | 965.941 | 45.5972 | 0.68355
2019-04-20 02:00:00 | 0 | 154.536 | 4.4507 | 203.968 | 3.428 | 168.524 | 1.3827 | 340.777 | 26.46 | 965.495 | 46.8985 | 0.48033
2019-04-20 02:15:00 | 0 | 154.766 | 4.962 | 208.858 | 4.195 | 168.463 | 0 | 340.436 | 26.46 | 965.347 | 48.1307 | 1.3966
2019-04-20 02:30:00 | 0 | 156.546 | 4.962 | 210.81 | 3.6837 | 168.391 | 0.37567 | 345.557 | 26.46 | 965.347 | 49.4282 | 1.2341
2019-04-20 02:45:00 | 0 | 146.87 | 4.195 | 199.891 | 3.6837 | 167.831 | 0 | 343.51 | 26.46 | 965.198 | 50.5888 | 1.2193
2019-04-20 03:00:00 | 0 | 148.089 | 2.9167 | 198.624 | 2.1497 | 167.733 | 0 | 335.442 | 26.46 | 965.05 | 51.135 | 0.40274
2019-04-20 03:15:00 | 0 | 159.812 | 3.428 | 202.889 | 2.9167 | 167.733 | 0 | 339.732 | 26.46 | 964.753 | 51.9543 | -0.11084
2019-04-20 03:30:00 | 0 | 169.513 | 2.9167 | 192.457 | 2.9167 | 167.733 | 0 | 351.577 | 26.46 | 964.456 | 51.6812 | 0.036949
2019-04-20 03:45:00 | 0 | 148.771 | 2.9167 | 195.309 | 1.3827 | 167.733 | 0 | 346.824 | 26.46 | 964.307 | 52.0908 | 0.28081
2019-04-20 04:00:00 | 0 | 157.838 | 2.9167 | 194.651 | 2.1497 | 167.733 | 0 | 344.29 | 26.46 | 964.159 | 52.2956 | -0.055423
2019-04-20 04:15:00 | 0 | 150.331 | 3.428 | 191.531 | 3.1723 | 167.733 | 0 | 336.905 | 26.46 | 964.01 | 52.5687 | 0.025864
2019-04-20 04:30:00 | 0 | 143.848 | 3.6837 | 192.433 | 3.1723 | 167.733 | 0 | 335.589 | 26.46 | 963.862 | 52.4322 | 0.32515
2019-04-20 04:45:00 | 0 | 139.51 | 3.6837 | 190.605 | 3.1723 | 167.733 | 0 | 330.86 | 26.46 | 963.565 | 51.7836 | 1.962
2019-04-20 05:00:00 | 0 | 135.805 | 3.6837 | 179.442 | 1.6383 | 167.733 | 0 | 321.574 | 26.46 | 963.416 | 50.4523 | 2.9891
2019-04-20 05:15:00 | 0 | 128.006 | 2.661 | 178.54 | 3.428 | 167.685 | 0 | 315.627 | 26.46 | 963.565 | 48.1993 | 2.7527
2019-04-20 05:30:00 | 0 | 136.244 | 3.9393 | 189.728 | 4.195 | 167.636 | 0 | 321.062 | 26.46 | 963.416 | 48.0628 | 4.1936
2019-04-20 05:45:00 | 0 | 154.426 | 3.9393 | 200.184 | 3.1723 | 167.538 | 0 | 329.325 | 26.46 | 963.566 | 48.1993 | 5.7824
2019-04-20 06:00:00 | 0 | 139.51 | 4.962 | 190.897 | 4.962 | 165.905 | 2.1497 | 325.888 | 26.46 | 963.297 | 50.1109 | 7.0572
2019-04-20 06:15:00 | 0 | 139.583 | 4.195 | 206.325 | 2.4053 | 165.735 | 0 | 321.623 | 26.46 | 963.714 | 48.5066 | 5.1728
2019-04-20 06:30:00 | 0 | 151.355 | 2.661 | 194.821 | 2.4053 | 166.076 | 0 | 328.52 | 26.46 | 964.159 | 44.2396 | 1.5297
2019-04-20 06:45:00 | 0 | 101.244 | 1.3827 | 164.599 | 0.75133 | 166.076 | 0 | 258.205 | 26.46 | 964.456 | 39.9386 | 1.1897
2019-04-20 07:00:00 | 0 | 72.8597 | 1.3827 | 141.412 | 1.127 | 166.042 | 0 | 264.001 | 26.46 | 965.05 | 40.2034 | 1.0235
2019-04-20 07:15:00 | 0 | 124.948 | 1.3827 | 187.353 | 1.127 | 166.078 | 0 | 296.24 | 26.46 | 965.317 | 37.6067 | 0.46555
2019-04-20 07:30:00 | 0 | 138.729 | 3.9393 | 209.144 | 2.9167 | 166.065 | 0 | 327.209 | 26.46 | 965.351 | 35.2152 | 0.74266
2019-04-20 07:45:00 | 0 | 137.984 | 3.428 | 188.546 | 3.428 | 166.019 | 0.37567 | 321.953 | 26.46 | 965.497 | 35.0007 | 0.43599
2019-04-20 08:00:00 | 0 | 147.696 | 3.9393 | 204.807 | 3.9393 | 166.06 | 0.75133 | 324.546 | 26.46 | 965.646 | 33.4982 | 0.26972
2019-04-20 08:15:00 | 0 | 131.207 | 3.428 | 202.713 | 3.428 | 166.109 | 1.2627 | 330.001 | 26.46 | 965.782 | 32.1337 | 0.073897
2019-04-20 08:30:00 | 0 | 152.235 | 3.428 | 200.402 | 3.6837 | 166.093 | 0 | 342.024 | 26.46 | 965.947 | 33.7678 | 0.31406
2019-04-20 08:45:00 | 0 | 160.528 | 2.661 | 213.219 | 2.9167 | 165.545 | 0 | 330.164 | 26.46 | 966.093 | 31.5826 | 0.24755
2019-04-20 09:00:00 | 0 | 146.594 | 4.4507 | 197.554 | 4.4507 | 166.27 | 2.4053 | 329.082 | 26.46 | 966.242 | 30.1491 | 0.7907
2019-04-20 09:15:00 | 0 | 90.5258 | 3.428 | 171.302 | 3.428 | 166.248 | 0 | 280.927 | 26.46 | 966.177 | 33.0096 | 0.60965
2019-04-20 09:30:00 | 0 | 177.812 | 3.428 | 212.644 | 2.9167 | 166.685 | 0 | 322.998 | 26.46 | 966.246 | 28.474 | 0.95327
2019-04-20 09:45:00 | 1.138 | 154.649 | 2.9167 | 224.634 | 3.9393 | 167.114 | 2.4053 | 323.273 | 26.46 | 966.54 | 26.1878 | 0.69463
2019-04-20 10:00:00 | 0 | 143.311 | 3.6837 | 197.146 | 4.195 | 167.485 | 1.2627 | 340.617 | 26.46 | 966.392 | 24.5483 | 0.70202
2019-04-20 10:15:00 | 0 | 161.251 | 4.4507 | 197.63 | 4.962 | 168.31 | 5.9847 | 340.369 | 26.46 | 966.243 | 25.5708 | 0.36579
2019-04-20 10:30:00 | 0 | 151.515 | 5.729 | 206.396 | 5.9847 | 175.08 | 0.63133 | 333.021 | 26.46 | 965.947 | 28.776 | 0.5727
2019-04-20 10:45:00 | 0 | 134.959 | 2.9167 | 192.761 | 2.9167 | 172.692 | 5.729 | 315.1 | 26.46 | 966.243 | 30.0712 | 0.48402
2019-04-20 11:00:00 | 0 | 156.286 | 4.195 | 214.795 | 4.7063 | 175.615 | 3.5637 | 356.075 | 26.46 | 965.65 | 28.3669 | 1.1528
2019-04-20 11:15:00 | 0 | 157.16 | 3.6837 | 206.684 | 4.195 | 174.298 | 0 | 334.622 | 26.46 | 965.947 | 29.3892 | 0.63551
2019-04-20 11:30:00 | 0 | 179.583 | 3.6837 | 226.577 | 3.1723 | 173.132 | 3.428 | 347.774 | 26.46 | 966.243 | 30.6171 | 0.18844
2019-04-20 11:45:00 | 0 | 207.53 | 5.729 | 243.399 | 7.0073 | 203.124 | 0 | 15.7504 | 26.46 | 965.947 | 32.7992 | 1.0198
2019-04-20 12:00:00 | 0 | 204.803 | 6.7517 | 234.683 | 7.263 | 199.156 | 0.63133 | 19.8157 | 26.46 | 965.65 | 35.254 | 1.1084
2019-04-20 12:15:00 | 0 | 216.954 | 5.4733 | 255.575 | 4.7063 | 207.217 | 0.37567 | 18.5502 | 26.46 | 965.798 | 35.7319 | 1.2045
2019-04-20 12:30:00 | 0 | 178.638 | 4.7063 | 229.198 | 5.2177 | 201.988 | 3.428 | 5.8921 | 26.46 | 965.65 | 37.1693 | 0.8609
2019-04-20 12:45:00 | 0 | 211.363 | 5.4733 | 236.87 | 5.9847 | 201.6 | 2.661 | 20.16 | 26.46 | 965.502 | 37.1696 | 0.76483
2019-04-20 13:00:00 | 0 | 200.577 | 5.2177 | 242.518 | 5.9847 | 201.892 | 1.5183 | 11.5896 | 26.46 | 965.205 | 38.7383 | 1.4742
2019-04-20 13:15:00 | 0 | 191.057 | 5.9847 | 242.543 | 8.797 | 202.33 | 2.1497 | 12.5635 | 26.46 | 965.361 | 40.1023 | 0.81656
2019-04-20 13:30:00 | 0 | 198.582 | 4.7063 | 232.635 | 4.962 | 201.894 | 3.1723 | 26.8559 | 26.46 | 965.425 | 40.3754 | -0.022169
2019-04-20 13:45:00 | 0 | 188.793 | 5.2177 | 248.654 | 5.4733 | 201.941 | 1.6383 | 35.3774 | 26.46 | 965.296 | 39.1475 | -0.14779
2019-04-20 14:00:00 | 0 | 199.652 | 4.4507 | 205.412 | 3.9393 | 223.951 | 1.007 | 49.5965 | 26.46 | 965.205 | 38.1245 | -0.12193
2019-04-20 14:15:00 | 0 | 199.628 | 3.9393 | 227.764 | 5.4733 | 222.758 | 2.0297 | 34.2087 | 26.46 | 965.65 | 38.2609 | 0.21061
2019-04-20 14:30:00 | 0 | 263.319 | 3.1723 | 314.675 | 1.894 | 260.154 | 0 | 92.6097 | 26.46 | 965.65 | 39.9618 | 0.16627
2019-04-20 14:45:00 | 0 | 321.334 | 5.4733 | 336.827 | 4.7063 | 280.972 | 0 | 141.849 | 26.46 | 965.798 | 40.0269 | 1.1306
2019-04-20 15:00:00 | 0 | 312.042 | 3.6837 | 332.742 | 2.9167 | 301.794 | 0 | 123.05 | 26.46 | 965.353 | 42.9568 | 1.2747
2019-04-20 15:15:00 | 0 | 323.05 | 3.6837 | 12.6978 | 3.428 | 280.234 | 0 | 140.689 | 26.46 | 965.353 | 41.7951 | 1.8622
2019-04-20 15:30:00 | 0 | 301.089 | 4.4507 | 10.6533 | 3.9393 | 280.205 | 0 | 114.156 | 26.46 | 965.353 | 41.3852 | 1.5851
2019-04-20 15:45:00 | 0 | 313.852 | 4.195 | 19.854 | 3.428 | 304.31 | 0 | 126.013 | 26.46 | 964.612 | 42.75 | 2.7748
2019-04-20 16:00:00 | 0 | 299.475 | 3.428 | 16.9327 | 3.6837 | 304.051 | 0 | 120.501 | 26.46 | 964.167 | 43.3002 | 2.2612
2019-04-20 16:15:00 | 0 | 335.65 | 3.1723 | 1.9579 | 1.6383 | 304.052 | 0 | 181.822 | 26.46 | 964.612 | 42.2774 | 2.1245
2019-04-20 16:30:00 | 0 | 339.399 | 3.1723 | 12.7179 | 3.428 | 304.15 | 0 | 152.684 | 26.46 | 964.167 | 44.1186 | 1.8696
2019-04-20 16:45:00 | 0 | 279.492 | 0 | 263.289 | 1.894 | 304.079 | 0 | 125.882 | 26.46 | 964.464 | 43.0961 | 0.25864
2019-04-20 17:00:00 | 0 | 23.4673 | 5.4733 | 57.9971 | 2.4053 | 304.247 | 0 | 208.187 | 26.46 | 964.76 | 43.6413 | 0.7907
2019-04-20 17:15:00 | 0 | 353.227 | 1.6383 | 67.7346 | 1.6383 | 304.15 | 0 | 129.362 | 26.46 | 964.315 | 44.255 | 0.97544
2019-04-20 17:30:00 | 0 | 344.016 | 3.1723 | 19.344 | 2.4053 | 304.185 | 0 | 156.743 | 26.46 | 963.87 | 45.1467 | 0.60965
2019-04-20 17:45:00 | 0 | 223.829 | 2.1497 | 52.1426 | 2.1497 | 304.177 | 0 | 178.786 | 26.46 | 963.722 | 45.6266 | 0.80548
2019-04-20 18:00:00 | 0 | 0.097391 | 3.1723 | 82.0174 | 1.127 | 304.153 | 0 | 144.723 | 26.46 | 963.766 | 44.6718 | 2.0211
2019-04-20 18:15:00 | 0 | 338.905 | 4.195 | 25.7329 | 3.428 | 304.253 | 0 | 153.32 | 26.46 | 963.569 | 46.7938 | 3.5581
2019-04-20 18:30:00 | 0 | 342.319 | 2.9167 | 47.3096 | 2.9167 | 304.306 | 0 | 185.637 | 26.46 | 963.719 | 52.2516 | 4.4782
2019-04-20 18:45:00 | 0 | 355.916 | 4.4507 | 36.8958 | 3.9393 | 5.0174 | 2.9167 | 173.927 | 26.46 | 963.492 | 55.1253 | 4.5336
2019-04-20 19:00:00 | 0 | 348.512 | 3.6837 | 68.8755 | 3.1723 | 1.1691 | 0.63133 | 171.029 | 26.46 | 963.562 | 56.4216 | 7.0609
2019-04-20 19:15:00 | 0 | 343.519 | 4.195 | 41.8646 | 3.9393 | 25.6957 | 3.428 | 176.168 | 26.46 | 963.716 | 55.2959 | 13.2571
2019-04-20 19:30:00 | 0 | 1.7537 | 6.2403 | 57.6984 | 3.1723 | 2.3383 | 1.5183 | 188.595 | 26.46 | 963.568 | 56.1504 | 14.3914
2019-04-20 19:45:00 | 0.372 | 3.5564 | 6.7517 | 57.1684 | 5.4733 | 14.0793 | 1.774 | 188.001 | 26.46 | 963.568 | 55.2677 | 12.9948
2019-04-20 20:00:00 | 2.648 | 7.3815 | 5.729 | 55.6177 | 4.195 | 7.6982 | 0 | 193.088 | 26.46 | 963.864 | 54.3866 | 13.0576
2019-04-20 20:15:00 | 0.99933 | 9.8914 | 7.263 | 58.0592 | 4.4507 | 3.557 | 1.007 | 195.489 | 26.46 | 964.013 | 52.0018 | 12.2152
2019-04-20 20:30:00 | 0.62733 | 10.428 | 5.729 | 52.8009 | 4.4507 | 16.5678 | 5.4733 | 192.528 | 26.46 | 963.864 | 54.5981 | 14.4949
2019-04-20 20:45:00 | 1.882 | 11.5975 | 6.496 | 61.5721 | 5.2177 | 17.9079 | 0.63133 | 196.938 | 26.46 | 963.864 | 53.711 | 12.6844
2019-04-20 21:00:00 | 2.648 | 14.2776 | 5.729 | 66.3232 | 4.962 | 11.9873 | 5.729 | 201.226 | 26.46 | 963.864 | 54.5299 | 12.3556
2019-04-20 21:15:00 | 0.62733 | 9.2098 | 5.9847 | 61.8889 | 3.6837 | 7.0657 | 0.37567 | 195.232 | 26.46 | 963.864 | 55.7584 | 12.4258
2019-04-20 21:30:00 | 0 | 13.9365 | 6.496 | 59.9884 | 4.4507 | 15.2521 | 0.37567 | 201.494 | 26.46 | 963.864 | 59.3073 | 14.0552
2019-04-20 21:45:00 | 0 | 15.2034 | 6.2403 | 58.9651 | 5.4733 | 9.4534 | 0.37567 | 195.354 | 26.46 | 963.568 | 61.7642 | 13.9222
2019-04-20 22:00:00 | 0 | 7.5042 | 6.2403 | 60.4026 | 4.4507 | 28.2384 | 2.2853 | 196.962 | 26.46 | 963.745 | 64.0846 | 13.8741
2019-04-20 22:15:00 | 0.372 | 12.767 | 6.7517 | 60.7925 | 5.729 | 12.8157 | 0.75133 | 197.864 | 26.46 | 964.053 | 65.8591 | 12.1228
2019-04-20 22:30:00 | 0 | 17.0559 | 5.2177 | 66.9606 | 4.7063 | 15.5209 | 4.7063 | 196.411 | 26.46 | 963.946 | 66.0668 | 8.1545
2019-04-20 22:45:00 | 0.99933 | 9.4544 | 5.2177 | 52.8083 | 4.195 | 4.849 | 5.4733 | 194.765 | 26.46 | 964.124 | 64.9784 | 7.0941
2019-04-20 23:00:00 | 0 | 6.2865 | 5.4733 | 55.3408 | 4.195 | 0.58479 | 1.774 | 192.835 | 26.46 | 963.862 | 65.8643 | 9.0782
2019-04-20 23:15:00 | 0.744 | 9.9169 | 5.729 | 60.6268 | 5.4733 | 13.2063 | 5.4733 | 194.489 | 26.46 | 963.862 | 67.2622 | 10.2089
2019-04-20 23:30:00 | 1.6267 | 17.9591 | 5.4733 | 62.2901 | 3.9393 | 11.794 | 5.2177 | 199.255 | 26.46 | 964.01 | 67.3698 | 8.96
2019-04-20 23:45:00 | 0 | 9.4546 | 5.4733 | 53.0783 | 3.9393 | 12.9148 | 1.774 | 193.868 | 26.46 | 964.159 | 66.6865 | 9.3849