## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-21 00:00:00 | 0 | 2.5343 | 5.729 | 45.843 | 4.4507 | 0.048737 | 3.1723 | 196.359 | 26.46 | 964.159 | 67.6782 | 13.1278
2019-04-21 00:15:00 | 1.51 | 9.8204 | 5.4733 | 55.9804 | 4.962 | 0.048737 | 1.774 | 195.994 | 26.46 | 963.862 | 69.0095 | 15.4777
2019-04-21 00:30:00 | 1.2547 | 356.901 | 6.2403 | 44.4302 | 5.2177 | 356.949 | 2.4053 | 191.634 | 26.46 | 963.862 | 70.102 | 16.0098
2019-04-21 00:45:00 | 5.9673 | 8.0416 | 6.496 | 62.2438 | 6.2403 | 14.8648 | 2.4053 | 195.655 | 26.46 | 963.862 | 71.0578 | 17.1884
2019-04-21 01:00:00 | 0.372 | 8.2852 | 7.263 | 59.3431 | 5.729 | 0.12184 | 4.962 | 182.25 | 26.46 | 963.565 | 71.5349 | 19.4608
2019-04-21 01:15:00 | 1.6267 | 16.2778 | 7.263 | 62.3638 | 6.7517 | 12.4277 | 2.9167 | 196.577 | 26.46 | 963.565 | 71.8753 | 20.2071
2019-04-21 01:30:00 | 0.62733 | 13.4024 | 6.2403 | 65.7025 | 5.9847 | 14.8889 | 5.2177 | 199.964 | 26.46 | 963.565 | 71.8755 | 12.6844
2019-04-21 01:45:00 | 0 | 12.3793 | 5.4733 | 62.6588 | 5.4733 | 16.1565 | 2.7967 | 196.388 | 26.46 | 963.565 | 71.0585 | 10.8813
2019-04-21 02:00:00 | 0 | 25.2453 | 5.4733 | 77.1311 | 4.962 | 28.072 | 4.195 | 204.789 | 26.46 | 963.268 | 71.3978 | 11.7792
2019-04-21 02:15:00 | 0 | 13.3535 | 4.962 | 63.4838 | 4.7063 | 14.182 | 1.2627 | 195.575 | 26.46 | 963.416 | 70.0999 | 9.7064
2019-04-21 02:30:00 | 0.62733 | 10.332 | 7.263 | 58.8793 | 5.4733 | 356.139 | 2.4053 | 196.552 | 26.46 | 963.268 | 68.7355 | 10.5636
2019-04-21 02:45:00 | 0 | 26.1224 | 5.729 | 71.1361 | 5.4733 | 19.2019 | 1.007 | 210.295 | 26.46 | 963.268 | 69.2814 | 8.0917
2019-04-21 03:00:00 | 0 | 24.0761 | 5.4733 | 69.5786 | 4.7063 | 23.8324 | 0.37567 | 213.419 | 26.46 | 962.971 | 67.7813 | 7.6003
2019-04-21 03:15:00 | 0 | 18.5198 | 5.4733 | 62.4132 | 4.7063 | 12.7446 | 5.2177 | 212.418 | 26.46 | 963.268 | 68.7361 | 7.7333
2019-04-21 03:30:00 | 0.99933 | 11.8673 | 4.4507 | 55.2487 | 4.7063 | 28.5838 | 4.962 | 204.205 | 26.46 | 963.119 | 68.9406 | 9.9909
2019-04-21 03:45:00 | 0 | 26.9028 | 5.729 | 69.1641 | 4.962 | 21.7123 | 1.6383 | 216.709 | 26.46 | 962.971 | 68.1224 | 7.1717
2019-04-21 04:00:00 | 0 | 15.7904 | 4.195 | 56.5641 | 3.428 | 12.6713 | 3.1723 | 201.62 | 26.46 | 963.119 | 69.8275 | 6.1408
2019-04-21 04:15:00 | 0 | 19.3974 | 5.4733 | 64.7784 | 5.4733 | 11.4533 | 3.6837 | 207.231 | 26.46 | 962.971 | 70.785 | 6.1741
2019-04-21 04:30:00 | 0 | 8.7735 | 3.9393 | 51.8938 | 3.6837 | 19.1067 | 1.3827 | 196.623 | 26.46 | 962.971 | 72.9075 | 6.4771
2019-04-21 04:45:00 | 0.372 | 6.9217 | 3.6837 | 53.6043 | 4.4507 | 15.9882 | 0.37567 | 197.537 | 26.46 | 962.971 | 73.1169 | 7.7148
2019-04-21 05:00:00 | 0 | 14.8186 | 5.2177 | 61.015 | 4.195 | 6.8244 | 2.4053 | 202.732 | 26.46 | 962.971 | 74.8933 | 6.732
2019-04-21 05:15:00 | 0 | 16.3785 | 4.962 | 60.9663 | 4.4507 | 15.3061 | 0.37567 | 206.291 | 26.46 | 962.971 | 73.3914 | 5.8711
2019-04-21 05:30:00 | 0 | 19.0351 | 4.7063 | 55.653 | 3.1723 | 5.167 | 5.4733 | 209.021 | 26.46 | 962.971 | 74.2789 | 5.6199
2019-04-21 05:45:00 | 0 | 25.3233 | 4.4507 | 62.7211 | 3.428 | 16.2566 | 0.63133 | 217.21 | 26.46 | 963.268 | 75.0299 | 4.2934
2019-04-21 06:00:00 | 0.744 | 25.3477 | 4.4507 | 67.7907 | 4.4507 | 13.7706 | 4.195 | 228.105 | 26.46 | 963.268 | 74.2106 | 3.8242
2019-04-21 06:15:00 | 0 | 50.4516 | 4.195 | 73.2014 | 3.9393 | 19.3032 | 0.75133 | 239.097 | 26.46 | 963.565 | 73.1183 | 1.7033
2019-04-21 06:30:00 | 0 | 42.4086 | 2.661 | 75.2975 | 1.894 | 13.5513 | 0 | 247.335 | 26.46 | 964.01 | 71.4115 | 0.63182
2019-04-21 06:45:00 | 0 | 52.9372 | 3.428 | 84.022 | 2.1497 | 23.9582 | 0 | 240.338 | 26.46 | 964.159 | 67.4512 | 0.033254
2019-04-21 07:00:00 | 0 | 19.2512 | 3.6837 | 55.3964 | 3.428 | 7.4568 | 0 | 207.45 | 26.46 | 964.604 | 72.8327 | 1.8363
2019-04-21 07:15:00 | 0 | 19.641 | 3.9393 | 73.1365 | 4.195 | 7.3837 | 0.37567 | 191.439 | 26.46 | 964.901 | 72.9691 | 3.0372
2019-04-21 07:30:00 | 0.62733 | 350.175 | 3.1723 | 32.3435 | 3.428 | 356.633 | 0 | 199.773 | 26.46 | 965.05 | 73.4809 | 3.5544
2019-04-21 07:45:00 | 0.99933 | 0.12184 | 1.894 | 60.7329 | 3.1723 | 5.4829 | 1.774 | 168.386 | 26.46 | 965.347 | 72.696 | 6.211
2019-04-21 08:00:00 | 0 | 2.6318 | 5.2177 | 55.6401 | 4.4507 | 10.2348 | 2.0297 | 187.2 | 26.46 | 965.347 | 74.1638 | 7.7629
2019-04-21 08:15:00 | 1.2547 | 0.97474 | 4.962 | 42.871 | 5.4733 | 4.7763 | 0.887 | 183.276 | 26.46 | 965.347 | 75.2218 | 7.8737
2019-04-21 08:30:00 | 0 | 356.633 | 4.195 | 42.6515 | 5.4733 | 9.2357 | 0 | 178.597 | 26.46 | 965.644 | 74.8803 | 10.5081
2019-04-21 08:45:00 | 2.648 | 346.716 | 4.962 | 43.2853 | 4.195 | 15.6203 | 2.4053 | 175.113 | 26.46 | 965.941 | 73.7201 | 12.0119
2019-04-21 09:00:00 | 0 | 75.5393 | 3.9393 | 46.4746 | 5.4733 | 25.3178 | 2.9167 | 159.558 | 26.46 | 966.238 | 71.7374 | 9.4551
2019-04-21 09:15:00 | 2.648 | 0.097458 | 4.195 | 70.3924 | 5.2177 | 30.9917 | 4.195 | 177.447 | 26.46 | 966.34 | 70.8073 | 10.5525
2019-04-21 09:30:00 | 0 | 347.754 | 4.4507 | 37.2808 | 3.9393 | 7.3824 | 0 | 172.768 | 26.46 | 966.24 | 71.5919 | 9.6177
2019-04-21 09:45:00 | 0 | 333.671 | 4.7063 | 41.6421 | 5.2177 | 28.6039 | 0 | 161.902 | 26.46 | 966.388 | 70.4317 | 9.8985
2019-04-21 10:00:00 | 0.372 | 25.5322 | 5.2177 | 84.4922 | 4.7063 | 33.8887 | 3.0523 | 219.728 | 26.46 | 966.388 | 69.3351 | 7.12
2019-04-21 10:15:00 | 0.372 | 4.8232 | 4.962 | 69.6434 | 4.4507 | 28.6469 | 3.9393 | 172.905 | 26.46 | 966.536 | 70.0766 | 12.8359
2019-04-21 10:30:00 | 0 | 346.607 | 5.9847 | 58.7589 | 5.2177 | 10.2559 | 0.37567 | 175.301 | 26.46 | 966.24 | 71.3427 | 10.1682
2019-04-21 10:45:00 | 0 | 74.5551 | 4.7063 | 52.4111 | 5.2177 | 356.452 | 1.894 | 186.363 | 26.46 | 965.943 | 71.8648 | 8.2358
2019-04-21 11:00:00 | 0.372 | 1.3157 | 5.2177 | 67.6632 | 3.428 | 347.924 | 1.007 | 198.327 | 26.46 | 966.091 | 71.7284 | 7.5412
2019-04-21 11:15:00 | 0 | 356.257 | 4.7063 | 65.4705 | 5.2177 | 16.1293 | 0.63133 | 175.375 | 26.46 | 966.24 | 68.7937 | 8.0917
2019-04-21 11:30:00 | 0 | 0.097458 | 3.6837 | 46.4662 | 3.6837 | 355.331 | 0.75133 | 193.356 | 26.46 | 966.24 | 68.7937 | 4.6186
2019-04-21 11:45:00 | 0 | 7.1142 | 3.6837 | 59.1819 | 2.661 | 17.4931 | 0.37567 | 170.546 | 26.46 | 966.388 | 67.5631 | 4.9548
2019-04-21 12:00:00 | 0 | 12.2521 | 3.428 | 69.2482 | 3.1723 | 341.671 | 0 | 187.679 | 26.46 | 966.833 | 64.5797 | 3.3734
2019-04-21 12:15:00 | 1.882 | 356.915 | 4.195 | 44.4221 | 3.9393 | 16.8545 | 0 | 170.761 | 26.46 | 967.13 | 63.5853 | 4.7848
2019-04-21 12:30:00 | 0 | 326.494 | 3.6837 | 45.859 | 4.195 | 15.7341 | 0.63133 | 179.164 | 26.46 | 967.337 | 63.5852 | 6.0115
2019-04-21 12:45:00 | 0 | 4.4328 | 2.661 | 42.3517 | 0.37567 | 33.0269 | 4.962 | 183.889 | 26.46 | 966.836 | 64.1992 | 7.5375
2019-04-21 13:00:00 | 0 | 19.8746 | 3.428 | 76.1337 | 2.9167 | 12.2755 | 0 | 186.568 | 26.46 | 966.847 | 64.745 | 9.6214
2019-04-21 13:15:00 | 0.744 | 1.6806 | 4.962 | 52.5326 | 5.729 | 24.2831 | 2.9167 | 175.729 | 26.46 | 966.538 | 64.9497 | 9.8394
2019-04-21 13:30:00 | 0 | 346.904 | 4.195 | 67.9743 | 3.1723 | 356.135 | 5.2177 | 162.626 | 26.46 | 966.563 | 64.5403 | 8.6792
2019-04-21 13:45:00 | 0 | 30.7374 | 2.1497 | 70.824 | 3.6837 | 355.892 | 0 | 188.979 | 26.46 | 966.503 | 66.7917 | 13.7153
2019-04-21 14:00:00 | 0 | 5.4314 | 3.9393 | 83.1238 | 2.9167 | 43.1103 | 0 | 180.406 | 26.46 | 966.388 | 67.3375 | 13.6414
2019-04-21 14:15:00 | 2.3927 | 15.0034 | 5.4733 | 66.7078 | 4.195 | 16.343 | 2.1497 | 179.919 | 26.46 | 966.091 | 65.8366 | 18.7144
2019-04-21 14:30:00 | 0 | 333.201 | 4.962 | 69.9253 | 4.962 | 19.2906 | 3.1723 | 162.801 | 26.46 | 965.943 | 64.6104 | 11.5464
2019-04-21 14:45:00 | 0 | 354.83 | 4.7063 | 58.5995 | 4.4507 | 26.1592 | 3.6837 | 171.107 | 26.46 | 966.239 | 60.7898 | 13.5047
2019-04-21 15:00:00 | 1.138 | 356.092 | 7.5187 | 51.9247 | 4.962 | 38.0205 | 3.6837 | 198.554 | 26.46 | 966.239 | 61.9828 | 11.5723
2019-04-21 15:15:00 | 0 | 9.3528 | 6.7517 | 94.8636 | 4.7063 | 53.8514 | 2.1497 | 150.984 | 26.46 | 966.685 | 60.1058 | 12.629
2019-04-21 15:30:00 | 0 | 81.2997 | 4.195 | 55.844 | 3.428 | 3.7995 | 0.75133 | 181.207 | 26.46 | 966.57 | 60.4461 | 11.576
2019-04-21 15:45:00 | 0 | 356.881 | 3.6837 | 61.0196 | 2.1497 | 33.4599 | 3.308 | 156.925 | 26.46 | 966.538 | 59.7548 | 11.7422
2019-04-21 16:00:00 | 0 | 3.2388 | 3.9393 | 70.9303 | 3.1723 | 16.949 | 0.37567 | 177.015 | 26.46 | 966.835 | 59.1405 | 10.2052
2019-04-21 16:15:00 | 0 | 16.0959 | 1.894 | 74.7006 | 0 | 293.428 | 0 | 190.984 | 26.46 | 966.835 | 57.6373 | 9.5142
2019-04-21 16:30:00 | 0.372 | 325.507 | 3.6837 | 46.3236 | 2.4053 | 41.294 | 0.63133 | 137.931 | 26.46 | 966.589 | 57.6983 | 11.2878
2019-04-21 16:45:00 | 0 | 37.1791 | 3.1723 | 74.7131 | 0.75133 | 57.2661 | 3.428 | 192.64 | 26.46 | 966.244 | 61.4493 | 15.0565
2019-04-21 17:00:00 | 0.372 | 347.078 | 4.195 | 42.5739 | 3.428 | 33.2348 | 2.661 | 191.082 | 26.46 | 965.958 | 64.4501 | 14.0293
2019-04-21 17:15:00 | 0.62733 | 344.599 | 6.2403 | 45.2622 | 6.7517 | 20.2362 | 5.2177 | 162.328 | 26.46 | 965.643 | 64.6988 | 12.8248
2019-04-21 17:30:00 | 0 | 349.368 | 5.4733 | 51.3543 | 4.4507 | 0.048706 | 3.9393 | 167.159 | 26.46 | 965.351 | 64.9072 | 10.9885
2019-04-21 17:45:00 | 0.88267 | 350.582 | 5.729 | 46.1999 | 4.4507 | 29.1056 | 3.6837 | 174.487 | 26.46 | 965.638 | 65.4272 | 9.2334
2019-04-21 18:00:00 | 2.0207 | 356.915 | 4.962 | 48.5625 | 3.6837 | 13.128 | 1.007 | 181.283 | 26.46 | 965.346 | 65.973 | 7.1865
2019-04-21 18:15:00 | 0.62733 | 355.923 | 4.7063 | 41.1351 | 2.661 | 354.267 | 0.75133 | 184.428 | 26.46 | 965.2 | 66.3154 | 5.1026
2019-04-21 18:30:00 | 0 | 356.86 | 3.6837 | 45.2778 | 4.195 | 13.2261 | 0.887 | 189.452 | 26.46 | 965.2 | 66.9316 | 4.5853
2019-04-21 18:45:00 | 0 | 356.933 | 4.962 | 46.197 | 5.2177 | 355.447 | 0.37567 | 196.959 | 26.46 | 965.052 | 67.7347 | 7.0867
2019-04-21 19:00:00 | 1.6487 | 356.915 | 5.2177 | 44.785 | 4.962 | 0.048729 | 4.195 | 184.268 | 26.46 | 965.052 | 68.9985 | 8.8455
2019-04-21 19:15:00 | 0.372 | 0.95021 | 4.962 | 66.2501 | 4.195 | 13.7659 | 0.887 | 181.345 | 26.46 | 965.349 | 69.4762 | 8.04
2019-04-21 19:30:00 | 0 | 0.097458 | 4.7063 | 62.4493 | 4.195 | 3.5328 | 1.774 | 192.43 | 26.46 | 965.38 | 71.3189 | 7.2234
2019-04-21 19:45:00 | 2.1373 | 13.0593 | 5.2177 | 65.5679 | 4.195 | 15.9343 | 2.4053 | 197.133 | 26.46 | 965.588 | 71.3189 | 5.7122
2019-04-21 20:00:00 | 0 | 21.149 | 4.7063 | 72.4902 | 3.9393 | 23.7804 | 0.37567 | 199.746 | 26.46 | 965.903 | 68.7275 | 4.7442
2019-04-21 20:15:00 | 0 | 22.7092 | 4.962 | 77.9516 | 3.9393 | 26.2179 | 2.9167 | 208.72 | 26.46 | 965.928 | 66.3412 | 4.1899
2019-04-21 20:30:00 | 0 | 34.5506 | 4.195 | 82.3116 | 3.9393 | 23.2936 | 0.37567 | 202.503 | 26.46 | 966.37 | 62.9959 | 1.9583
2019-04-21 20:45:00 | 0 | 27.8729 | 3.428 | 91.1994 | 3.428 | 25.9238 | 0 | 221.668 | 26.46 | 966.428 | 60.8088 | 1.5777
2019-04-21 21:00:00 | 0 | 46.0001 | 2.1497 | 90.7121 | 2.4053 | 36.1325 | 0 | 216.015 | 26.46 | 966.894 | 55.5537 | -0.46925
2019-04-21 21:15:00 | 0 | 100.747 | 1.894 | 92.7587 | 1.894 | 54.7713 | 0 | 304.799 | 26.46 | 967.427 | 55.4854 | -0.29559
2019-04-21 21:30:00 | 0 | 123.375 | 1.6383 | 93.0939 | 1.3827 | 114.97 | 0 | 317.672 | 26.46 | 967.724 | 55.3802 | -0.24016
2019-04-21 21:45:00 | 0 | 147.755 | 1.3827 | 93.4837 | 1.127 | 135.674 | 0 | 318.188 | 26.46 | 967.724 | 56.2894 | -0.25125
2019-04-21 22:00:00 | 0 | 151.621 | 1.3827 | 93.5024 | 1.3827 | 135.618 | 0 | 318.148 | 26.46 | 967.724 | 56.1501 | -0.24016
2019-04-21 22:15:00 | 0 | 151.647 | 1.6383 | 93.601 | 0.75133 | 135.668 | 0 | 319.223 | 26.46 | 967.427 | 57.7882 | -0.24016
2019-04-21 22:30:00 | 0 | 151.62 | 1.3827 | 93.8912 | 1.6383 | 141.706 | 0 | 322.14 | 26.46 | 967.427 | 57.6507 | -0.24016
2019-04-21 22:45:00 | 4.6907 | 157.733 | 2.9167 | 206.467 | 2.9167 | 148.21 | 0.37567 | 349.151 | 26.46 | 967.427 | 55.6039 | -0.25864
2019-04-21 23:00:00 | 9.0313 | 150.041 | 2.661 | 199.557 | 2.1497 | 141.273 | 0 | 336.96 | 26.46 | 967.427 | 55.6057 | -0.24016
2019-04-21 23:15:00 | 0 | 154.794 | 3.6837 | 209.89 | 3.1723 | 144.734 | 1.6383 | 333.677 | 26.46 | 967.279 | 56.528 | -0.16627
2019-04-21 23:30:00 | 0 | 141.562 | 3.6837 | 194.268 | 2.661 | 141.076 | 2.2853 | 324.875 | 26.46 | 967.13 | 55.9118 | -0.18474
2019-04-21 23:45:00 | 0 | 136.305 | 3.428 | 192.812 | 2.661 | 140.74 | 0 | 330.099 | 26.46 | 967.13 | 56.0839 | 0.18474