## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-22 00:00:00 | 0 | 142.523 | 3.9393 | 188.657 | 2.9167 | 139.43 | 0 | 323.365 | 26.46 | 967.13 | 58.4065 | 2.0654
2019-04-22 00:15:00 | 0 | 140.644 | 5.729 | 192.257 | 4.962 | 142.398 | 3.1723 | 328.519 | 26.46 | 966.833 | 58.8144 | 3.8205
2019-04-22 00:30:00 | 0.372 | 143.088 | 3.6837 | 197.872 | 3.428 | 134.538 | 3.1723 | 325.516 | 26.46 | 966.982 | 55.4742 | 5.2356
2019-04-22 00:45:00 | 0 | 132.902 | 5.2177 | 184.542 | 5.9847 | 134.462 | 0 | 311.432 | 26.46 | 966.833 | 58.3387 | 9.1263
2019-04-22 01:00:00 | 0 | 136.309 | 5.9847 | 186.095 | 4.962 | 124.032 | 1.774 | 321.748 | 26.46 | 966.833 | 59.7698 | 12.4627
2019-04-22 01:15:00 | 0 | 131.04 | 6.7517 | 183.185 | 6.7517 | 117.06 | 1.007 | 314.035 | 26.46 | 966.536 | 67.8171 | 15.0824
2019-04-22 01:30:00 | 0 | 132.458 | 7.263 | 182.852 | 7.263 | 123.223 | 1.894 | 316.521 | 26.46 | 966.24 | 73.4145 | 17.6835
2019-04-22 01:45:00 | 0 | 119.304 | 6.7517 | 173.059 | 5.9847 | 121.984 | 0 | 323.106 | 26.46 | 966.24 | 75.7341 | 17.9791
2019-04-22 02:00:00 | 0 | 120.671 | 6.2403 | 177.863 | 6.496 | 120.549 | 0 | 311.616 | 26.46 | 966.091 | 79.6933 | 16.6342
2019-04-22 02:15:00 | 0 | 138.972 | 6.7517 | 188.568 | 6.7517 | 135.83 | 1.2627 | 320.647 | 26.46 | 965.794 | 80.5849 | 18.7181
2019-04-22 02:30:00 | 0 | 136.471 | 6.7517 | 187.337 | 5.9847 | 126.385 | 4.195 | 311.749 | 26.46 | 965.943 | 83.4556 | 23.4512
2019-04-22 02:45:00 | 0 | 135.775 | 7.5187 | 185.185 | 8.03 | 130.78 | 1.2627 | 320.227 | 26.46 | 965.646 | 83.3596 | 25.8935
2019-04-22 03:00:00 | 4.946 | 144.018 | 6.496 | 200.96 | 5.9847 | 143.579 | 4.195 | 315.348 | 26.46 | 965.646 | 83.33 | 24.0424
2019-04-22 03:15:00 | 0 | 143.896 | 7.5187 | 199.328 | 7.263 | 142.678 | 5.2177 | 321.975 | 26.46 | 965.794 | 86.06 | 26.3701
2019-04-22 03:30:00 | 11.3293 | 147.99 | 6.496 | 189.217 | 5.2177 | 155.104 | 2.661 | 313.57 | 26.46 | 965.349 | 86.2993 | 25.7494
2019-04-22 03:45:00 | 8.01 | 138.317 | 7.7743 | 194.456 | 7.0073 | 140.802 | 5.2177 | 321.416 | 26.46 | 965.201 | 87.05 | 23.1556
2019-04-22 04:00:00 | 6.9887 | 142.897 | 6.496 | 199.182 | 5.4733 | 146.016 | 5.9847 | 327.19 | 26.46 | 965.201 | 87.6983 | 16.8965
2019-04-22 04:15:00 | 2.3927 | 134.492 | 5.729 | 191.24 | 4.962 | 135.588 | 4.7063 | 315.178 | 26.46 | 965.052 | 88.0737 | 14.1808
2019-04-22 04:30:00 | 1.7653 | 135.856 | 8.03 | 187.829 | 8.2857 | 131.812 | 5.4733 | 317.396 | 26.46 | 965.052 | 87.5618 | 12.3482
2019-04-22 04:45:00 | 0 | 131.324 | 6.7517 | 180.836 | 6.496 | 131.276 | 2.1497 | 312.06 | 26.46 | 965.207 | 88.1761 | 10.7335
2019-04-22 05:00:00 | 0 | 141.192 | 6.2403 | 201.059 | 5.9847 | 140.047 | 0.37567 | 316.64 | 26.46 | 965.201 | 87.2206 | 8.8935
2019-04-22 05:15:00 | 0 | 118.801 | 4.7063 | 167.655 | 3.428 | 119.118 | 4.4507 | 319.004 | 26.46 | 965.646 | 87.1182 | 7.5966
2019-04-22 05:30:00 | 0 | 125.526 | 6.496 | 173.649 | 4.4507 | 114.586 | 3.9393 | 303.483 | 26.46 | 965.658 | 86.1969 | 6.6249
2019-04-22 05:45:00 | 0 | 121.895 | 5.2177 | 178.546 | 4.4507 | 114.415 | 0 | 301.875 | 26.46 | 965.802 | 86.1286 | 8.9378
2019-04-22 06:00:00 | 0 | 130.057 | 5.2177 | 199.524 | 1.6383 | 132.177 | 0 | 311.621 | 26.46 | 966.422 | 86.8794 | 7.8442
2019-04-22 06:15:00 | 0 | 117.095 | 4.4507 | 176.816 | 4.4507 | 133.517 | 2.1497 | 294.493 | 26.46 | 966.404 | 85.7874 | 8.4834
2019-04-22 06:30:00 | 0 | 144.993 | 4.195 | 175.89 | 4.195 | 127.475 | 1.894 | 312.45 | 26.46 | 966.536 | 87.5618 | 9.1669
2019-04-22 06:45:00 | 0 | 134.248 | 3.6837 | 185.197 | 2.4053 | 136.49 | 0 | 312.011 | 26.46 | 966.536 | 87.9031 | 8.5942
2019-04-22 07:00:00 | 0 | 119.432 | 3.6837 | 176.057 | 2.9167 | 147.159 | 0 | 297.339 | 26.46 | 966.536 | 86.8779 | 6.5621
2019-04-22 07:15:00 | 0 | 119.504 | 3.428 | 197.329 | 2.661 | 160.086 | 0 | 286.264 | 26.46 | 966.982 | 85.3581 | 6.3921
2019-04-22 07:30:00 | 0 | 128.893 | 3.428 | 172.56 | 2.661 | 149.401 | 0 | 255.399 | 26.46 | 967.427 | 84.2232 | 7.6853
2019-04-22 07:45:00 | 0 | 117.665 | 3.6837 | 194.383 | 3.9393 | 132.303 | 1.007 | 297.973 | 26.46 | 967.379 | 86.6792 | 8.2099
2019-04-22 08:00:00 | 0 | 119.467 | 4.195 | 179.599 | 3.428 | 134.202 | 0.75133 | 290.983 | 26.46 | 967.344 | 86.8157 | 8.9378
2019-04-22 08:15:00 | 0 | 80.5214 | 5.2177 | 182.619 | 4.4507 | 132.01 | 0 | 259.71 | 26.46 | 967.303 | 84.5642 | 10.1941
2019-04-22 08:30:00 | 0 | 86.9371 | 6.2403 | 144.864 | 5.4733 | 95.3143 | 0.887 | 260.617 | 26.46 | 967.577 | 81.6513 | 9.8357
2019-04-22 08:45:00 | 0 | 84.5455 | 3.9393 | 176.193 | 2.9167 | 115.617 | 0 | 307.135 | 26.46 | 967.874 | 81.6122 | 10.8148
2019-04-22 09:00:00 | 0 | 117.357 | 3.1723 | 166.188 | 3.1723 | 140.024 | 0 | 296.045 | 26.46 | 968.186 | 77.5107 | 10.0019
2019-04-22 09:15:00 | 0 | 96.0207 | 4.4507 | 142.51 | 3.428 | 121.097 | 0.75133 | 286.723 | 26.46 | 968.172 | 75.6295 | 10.4084
2019-04-22 09:30:00 | 0 | 113.393 | 2.9167 | 172.778 | 4.962 | 141.193 | 0 | 279.1 | 26.46 | 968.023 | 76.1678 | 7.9587
2019-04-22 09:45:00 | 0 | 130.872 | 4.962 | 177.086 | 4.962 | 148.983 | 0 | 281.413 | 26.46 | 968.468 | 74.3948 | 8.5573
2019-04-22 10:00:00 | 0 | 147.249 | 5.4733 | 211.28 | 7.0073 | 176.363 | 2.4053 | 327.993 | 26.46 | 968.765 | 73.9145 | 10.5303
2019-04-22 10:15:00 | 0 | 159.642 | 5.729 | 202.618 | 6.2403 | 154.627 | 0 | 311.859 | 26.46 | 968.468 | 76.5069 | 12.1523
2019-04-22 10:30:00 | 0 | 139.002 | 6.496 | 203.621 | 7.7743 | 168.702 | 5.4733 | 321.799 | 26.46 | 968.023 | 76.0313 | 20.7022
2019-04-22 10:45:00 | 6.7333 | 145.6 | 10.0753 | 199.75 | 8.03 | 168.823 | 5.4733 | 327.276 | 26.46 | 968.023 | 75.554 | 20.2441
2019-04-22 11:00:00 | 0 | 126.567 | 5.4733 | 179.624 | 6.7517 | 134.333 | 2.7967 | 315.114 | 26.46 | 968.172 | 72.4196 | 18.5777
2019-04-22 11:15:00 | 0 | 142.22 | 6.7517 | 202.97 | 6.2403 | 156.972 | 0.75133 | 338.41 | 26.46 | 968.023 | 68.5323 | 18.7366
2019-04-22 11:30:00 | 0 | 99.7361 | 7.0073 | 146.413 | 5.9847 | 82.1843 | 1.5183 | 279.733 | 26.46 | 967.875 | 71.224 | 17.654
2019-04-22 11:45:00 | 0 | 96.62 | 6.2403 | 152.134 | 5.2177 | 129.971 | 5.2177 | 276.593 | 26.46 | 967.875 | 64.5073 | 17.8941
2019-04-22 12:00:00 | 1.6267 | 85.9068 | 5.9847 | 158.24 | 4.4507 | 114.559 | 0 | 293.992 | 26.46 | 967.727 | 64.574 | 20.5618
2019-04-22 12:15:00 | 0 | 111.542 | 4.7063 | 201.38 | 5.4733 | 174.08 | 4.195 | 308.992 | 26.46 | 967.578 | 67.7799 | 19.9226
2019-04-22 12:30:00 | 0 | 124.883 | 8.2857 | 212.336 | 6.2403 | 178.731 | 4.7063 | 318.513 | 26.46 | 967.133 | 66.7576 | 21.0643
2019-04-22 12:45:00 | 2.3927 | 136.446 | 8.2857 | 188.065 | 8.2857 | 134.864 | 4.7063 | 316.273 | 26.46 | 967.282 | 67.2348 | 23.2997
2019-04-22 13:00:00 | 4.18 | 121.134 | 6.7517 | 179.058 | 6.496 | 121.28 | 0.37567 | 310.041 | 26.46 | 967.282 | 64.6778 | 21.9215
2019-04-22 13:15:00 | 0 | 163.248 | 5.2177 | 210.924 | 5.4733 | 163.175 | 0.37567 | 344.633 | 26.46 | 967.282 | 67.0302 | 13.8224
2019-04-22 13:30:00 | 0 | 154.24 | 7.5187 | 214.963 | 7.7743 | 157.502 | 0.75133 | 324.206 | 26.46 | 966.837 | 63.5862 | 18.9308
2019-04-22 13:45:00 | 0.99933 | 127.536 | 7.7743 | 189.842 | 6.7517 | 155.848 | 2.1497 | 309.213 | 26.46 | 966.837 | 62.598 | 21.3156
2019-04-22 14:00:00 | 0 | 157.309 | 5.9847 | 232.127 | 6.7517 | 176.686 | 0 | 320.996 | 26.46 | 966.688 | 63.3481 | 20.318
2019-04-22 14:15:00 | 0 | 133.744 | 7.0073 | 184.049 | 6.2403 | 135.74 | 2.1497 | 312.987 | 26.46 | 966.688 | 63.5527 | 24.6927
2019-04-22 14:30:00 | 0 | 144.826 | 5.2177 | 201.949 | 4.962 | 145.946 | 1.894 | 350.61 | 26.46 | 966.54 | 65.5325 | 20.0371
2019-04-22 14:45:00 | 0 | 189.998 | 7.7743 | 232.251 | 9.3083 | 192.627 | 0.75133 | 1.0225 | 26.46 | 965.947 | 69.4584 | 18.6701
2019-04-22 15:00:00 | 0.372 | 182.706 | 6.2403 | 233.388 | 7.0073 | 184.995 | 1.127 | 15.5582 | 26.46 | 965.798 | 73.4526 | 19.3832
2019-04-22 15:15:00 | 0 | 192.299 | 6.2403 | 237.356 | 6.7517 | 191.106 | 3.428 | 2.0452 | 26.46 | 965.866 | 74.2029 | 15.6588
2019-04-22 15:30:00 | 0 | 161.583 | 4.4507 | 225.004 | 5.729 | 190.413 | 0 | 336.291 | 26.46 | 965.778 | 74.4126 | 11.8641
2019-04-22 15:45:00 | 0 | 128.627 | 3.9393 | 189.378 | 3.428 | 174.165 | 2.4053 | 334.742 | 26.46 | 965.648 | 73.9426 | 12.6364
2019-04-22 16:00:00 | 0 | 153.466 | 7.0073 | 204.964 | 5.9847 | 159.992 | 0.75133 | 333.305 | 26.46 | 965.351 | 75.8185 | 14.2695
2019-04-22 16:15:00 | 0 | 158.731 | 5.9847 | 205.652 | 5.4733 | 156.491 | 0 | 341.498 | 26.46 | 965.499 | 78.1743 | 13.6598
2019-04-22 16:30:00 | 0 | 142.38 | 5.729 | 182.707 | 5.729 | 145.448 | 1.5183 | 320.415 | 26.46 | 965.499 | 78.6593 | 18.4188
2019-04-22 16:45:00 | 0 | 155.489 | 6.2403 | 201.811 | 5.4733 | 146.94 | 3.1723 | 325.081 | 26.46 | 965.552 | 80.6413 | 18.2747
2019-04-22 17:00:00 | 0.62733 | 143.652 | 8.03 | 185.59 | 7.5187 | 146.892 | 1.127 | 325.203 | 26.46 | 965.147 | 83.3021 | 19.7637
2019-04-22 17:15:00 | 6.2227 | 145.211 | 7.263 | 194.504 | 8.797 | 138.927 | 1.894 | 328.199 | 26.46 | 964.755 | 86.4404 | 24.1938
2019-04-22 17:30:00 | 0 | 144.093 | 5.2177 | 195.312 | 5.2177 | 140.05 | 0 | 325.964 | 26.46 | 964.903 | 92.1728 | 26.2851
2019-04-22 17:45:00 | 0 | 155.253 | 5.9847 | 203.941 | 5.729 | 153.597 | 3.6837 | 330.285 | 26.46 | 964.458 | 94.5635 | 28.7496
2019-04-22 18:00:00 | 1.3713 | 152.502 | 7.5187 | 202.676 | 6.496 | 152.283 | 3.1723 | 329.434 | 26.46 | 964.458 | 95.3146 | 27.2384
2019-04-22 18:15:00 | 2.276 | 151.032 | 7.7743 | 203.917 | 7.7743 | 147.938 | 1.894 | 314.658 | 26.46 | 964.458 | 95.8024 | 29.2336
2019-04-22 18:30:00 | 9.0313 | 138.28 | 8.2857 | 184.375 | 8.2857 | 137.305 | 5.729 | 321.143 | 26.46 | 964.458 | 96.2887 | 31.5688
2019-04-22 18:45:00 | 1.3713 | 125.501 | 8.2857 | 177.23 | 7.7743 | 123.893 | 2.661 | 304.604 | 26.46 | 964.31 | 96.8776 | 36.0691
2019-04-22 19:00:00 | 2.276 | 128.839 | 5.9847 | 185.222 | 7.7743 | 139.633 | 3.9393 | 309.648 | 26.46 | 963.864 | 96.707 | 40.6174
2019-04-22 19:15:00 | 9.0313 | 128.79 | 8.03 | 189.071 | 8.03 | 144.53 | 4.7063 | 312.23 | 26.46 | 963.864 | 95.6151 | 41.8959
2019-04-22 19:30:00 | 0.372 | 118.728 | 10.0753 | 183.833 | 10.0753 | 122.456 | 4.7063 | 292.276 | 26.46 | 964.161 | 92.7828 | 48.8902
2019-04-22 19:45:00 | 6.9887 | 142.435 | 8.5413 | 193.725 | 7.5187 | 133.322 | 4.962 | 317.956 | 26.46 | 964.013 | 94.4549 | 51.1995
2019-04-22 20:00:00 | 3.9247 | 145.456 | 10.5867 | 186.44 | 8.5413 | 154.446 | 2.4053 | 314.204 | 26.46 | 963.864 | 94.6596 | 51.1256
2019-04-22 20:15:00 | 4.18 | 139.194 | 9.8197 | 195.089 | 7.5187 | 128.449 | 3.428 | 309.575 | 26.46 | 964.161 | 91.6567 | 53.7267
2019-04-22 20:30:00 | 3.9247 | 117.339 | 10.5867 | 178.595 | 11.3537 | 129.253 | 5.2177 | 301.559 | 26.46 | 963.864 | 87.9031 | 48.962
2019-04-22 20:45:00 | 2.648 | 119.386 | 9.0527 | 176.256 | 9.3083 | 138 | 2.0297 | 272.589 | 26.46 | 964.458 | 88.2102 | 40.7985
2019-04-22 21:00:00 | 4.4353 | 113.343 | 8.5413 | 165.121 | 8.2857 | 137.903 | 4.195 | 289.23 | 26.46 | 964.755 | 88.6197 | 38.8956
2019-04-22 21:15:00 | 0.372 | 131.958 | 6.496 | 170.043 | 4.7063 | 151.133 | 0.37567 | 321.903 | 26.46 | 964.903 | 89.7458 | 44.0352
2019-04-22 21:30:00 | 0 | 119.556 | 10.8423 | 174.915 | 8.797 | 127.84 | 0.37567 | 298.537 | 26.46 | 964.755 | 91.452 | 52.9287
2019-04-22 21:45:00 | 0 | 120.75 | 9.8197 | 173.332 | 9.3083 | 127.036 | 0.63133 | 304.775 | 26.46 | 964.607 | 93.8406 | 54.3274
2019-04-22 22:00:00 | 0.62733 | 132.128 | 7.5187 | 182.688 | 8.2857 | 137.05 | 0.37567 | 322.78 | 26.46 | 964.458 | 95.3421 | 56.738
2019-04-22 22:15:00 | 0 | 115.049 | 4.7063 | 164.122 | 5.2177 | 130.642 | 1.007 | 308.624 | 26.46 | 964.458 | 96.0928 | 61.5266
2019-04-22 22:30:00 | 0.372 | 106.692 | 10.331 | 167.874 | 9.3083 | 116.462 | 3.428 | 280.094 | 26.46 | 964.161 | 96.434 | 60.2592
2019-04-22 22:45:00 | 2.5313 | 115 | 8.2857 | 183.248 | 6.496 | 127.012 | 2.661 | 280.215 | 26.46 | 963.864 | 95.9563 | 59.884
2019-04-22 23:00:00 | 2.0207 | 81.231 | 5.729 | 183.516 | 10.8423 | 129.96 | 1.007 | 287.305 | 26.46 | 964.161 | 94.9667 | 51.8182
2019-04-22 23:15:00 | 0 | 135.418 | 5.9847 | 198.476 | 4.962 | 166.044 | 0 | 306.139 | 26.46 | 964.462 | 94.762 | 42.4205
2019-04-22 23:30:00 | 0 | 129.692 | 4.195 | 182.59 | 6.496 | 139.998 | 0 | 298.294 | 26.46 | 964.463 | 95.0691 | 29.8137
2019-04-22 23:45:00 | 0 | 151.669 | 4.4507 | 195.114 | 7.0073 | 170.234 | 0 | 332.185 | 26.46 | 964.755 | 95.5809 | 21.9843