## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-23 00:00:00 | 0 | 138 | 4.7063 | 210.049 | 3.9393 | 159.66 | 0.37567 | 316.104 | 26.46 | 965.052 | 96.3658 | 17.4101
2019-04-23 00:15:00 | 0 | 160.854 | 7.0073 | 189.997 | 5.9847 | 143.848 | 3.9393 | 308.917 | 26.46 | 965.052 | 96.9118 | 13.5675
2019-04-23 00:30:00 | 0 | 132.201 | 4.195 | 206.005 | 2.9167 | 156.907 | 0 | 305.554 | 26.46 | 964.755 | 97.4578 | 8.2765
2019-04-23 00:45:00 | 0 | 141.85 | 4.7063 | 194.285 | 4.7063 | 149.208 | 1.774 | 322.926 | 26.46 | 964.607 | 97.6625 | 5.9709
2019-04-23 01:00:00 | 0 | 135.515 | 2.661 | 174.769 | 1.894 | 138.098 | 0 | 312.791 | 26.46 | 964.458 | 97.8672 | 4.2897
2019-04-23 01:15:00 | 0 | 142.069 | 5.9847 | 197.087 | 5.4733 | 148.233 | 0 | 322.122 | 26.46 | 964.31 | 97.9355 | 3.6468
2019-04-23 01:30:00 | 0 | 140.924 | 5.4733 | 191.849 | 4.962 | 149.305 | 3.1723 | 325.168 | 26.46 | 964.161 | 97.9355 | 2.0248
2019-04-23 01:45:00 | 0 | 142.629 | 4.4507 | 202.033 | 4.7063 | 149.671 | 0 | 326.459 | 26.46 | 963.865 | 98.072 | 1.0752
2019-04-23 02:00:00 | 0 | 150.913 | 3.6837 | 190.241 | 3.6837 | 136.197 | 4.195 | 329.139 | 26.46 | 964.016 | 98.4132 | 0.54314
2019-04-23 02:15:00 | 0 | 133.152 | 2.9167 | 204.689 | 2.1497 | 163.29 | 0 | 327.482 | 26.46 | 963.865 | 98.5497 | 0.055423
2019-04-23 02:30:00 | 0 | 127.426 | 2.4053 | 176.134 | 1.3827 | 152.18 | 0 | 303.508 | 26.46 | 963.865 | 98.618 | -0.26603
2019-04-23 02:45:00 | 0 | 129.765 | 0 | 171.919 | 0 | 141.314 | 0 | 284.918 | 26.46 | 963.875 | 98.8227 | -0.22908
2019-04-23 03:00:00 | 0 | 115.341 | 0 | 96.5595 | 0 | 138.487 | 0 | 278.778 | 26.46 | 963.747 | 98.891 | -0.2143
2019-04-23 03:15:00 | 0 | 101.112 | 2.9167 | 153.865 | 2.661 | 125.696 | 0 | 287.427 | 26.46 | 963.463 | 98.9251 | 0.14779
2019-04-23 03:30:00 | 0 | 112.612 | 2.4053 | 163.464 | 2.9167 | 127.28 | 0 | 297.271 | 26.46 | 963.272 | 99.0275 | 1.8474
2019-04-23 03:45:00 | 0 | 119.776 | 4.195 | 167.557 | 3.9393 | 107.52 | 0 | 300.462 | 26.46 | 962.699 | 99.0957 | 2.7231
2019-04-23 04:00:00 | 0 | 139.706 | 3.428 | 185.538 | 2.9167 | 139.267 | 0 | 321.854 | 26.46 | 962.74 | 99.1981 | 2.1208
2019-04-23 04:15:00 | 0 | 117.924 | 3.9393 | 170.359 | 3.6837 | 127.962 | 0 | 299.902 | 26.46 | 962.809 | 99.3004 | 1.404
2019-04-23 04:30:00 | 0 | 110.349 | 2.661 | 165.052 | 0.75133 | 118.95 | 0 | 295.402 | 26.46 | 962.832 | 99.3711 | 0.82395
2019-04-23 04:45:00 | 0 | 120.022 | 0 | 166.562 | 0 | 114.369 | 0 | 312.115 | 26.46 | 962.893 | 99.4389 | 0.5764
2019-04-23 05:00:00 | 2.1373 | 146.238 | 1.6383 | 197.773 | 1.6383 | 142.096 | 0 | 320.983 | 26.46 | 962.906 | 99.4729 | 0.39535
2019-04-23 05:15:00 | 0 | 143.217 | 1.894 | 191.342 | 1.894 | 140.927 | 0 | 323.981 | 26.46 | 962.942 | 99.5756 | 0.39535
2019-04-23 05:30:00 | 0 | 135.712 | 3.428 | 199.552 | 3.428 | 144.8 | 0 | 324.638 | 26.46 | 962.935 | 99.5752 | 1.441
2019-04-23 05:45:00 | 0 | 138.683 | 5.2177 | 193.189 | 4.7063 | 140.534 | 1.5183 | 320.32 | 26.46 | 962.875 | 99.6419 | 1.8437
2019-04-23 06:00:00 | 0 | 138.734 | 4.962 | 202.842 | 4.4507 | 150.234 | 0.37567 | 329.147 | 26.46 | 962.889 | 99.6439 | 3.6431
2019-04-23 06:15:00 | 0 | 127.526 | 4.195 | 195.24 | 4.195 | 138.905 | 0.75133 | 327.368 | 26.46 | 962.94 | 99.7121 | 5.4314
2019-04-23 06:30:00 | 0 | 146.138 | 4.7063 | 199.622 | 5.2177 | 149.793 | 0 | 320.954 | 26.46 | 962.929 | 99.7444 | 2.3462
2019-04-23 06:45:00 | 0 | 146.334 | 4.4507 | 197.211 | 3.1723 | 144.385 | 0 | 323.003 | 26.46 | 962.893 | 99.8475 | 1.7846
2019-04-23 07:00:00 | 0 | 163.389 | 2.4053 | 205.957 | 3.428 | 156.762 | 0 | 333.307 | 26.46 | 962.848 | 99.9493 | 1.973
2019-04-23 07:15:00 | 0 | 146.822 | 4.7063 | 197.991 | 4.195 | 153.157 | 0 | 328.022 | 26.46 | 962.986 | 99.9158 | 1.9878
2019-04-23 07:30:00 | 0 | 156.03 | 4.962 | 202.058 | 4.962 | 145.699 | 1.774 | 334.11 | 26.46 | 963.365 | 99.983 | 1.6036
2019-04-23 07:45:00 | 0 | 178.884 | 2.1497 | 232.245 | 2.661 | 184.975 | 0 | 3.3623 | 26.46 | 963.148 | 99.9488 | 0.21061
2019-04-23 08:00:00 | 0 | 161.049 | 3.428 | 219.697 | 3.428 | 152.375 | 0 | 341.858 | 26.46 | 963.423 | 99.983 | 0.39535
2019-04-23 08:15:00 | 0 | 151.596 | 3.9393 | 210.731 | 3.1723 | 158.491 | 0 | 338.008 | 26.46 | 963.29 | 99.983 | 0.45816
2019-04-23 08:30:00 | 0 | 137.074 | 3.9393 | 196.502 | 3.428 | 139.413 | 0 | 324.291 | 26.46 | 963.568 | 99.983 | 0.7168
2019-04-23 08:45:00 | 0 | 156.712 | 4.4507 | 207.028 | 3.428 | 149.549 | 0 | 336.96 | 26.46 | 963.568 | 99.983 | 0.9311
2019-04-23 09:00:00 | 0 | 146.82 | 1.3827 | 182.493 | 2.1497 | 131.909 | 0 | 356.647 | 26.46 | 963.865 | 99.9488 | 0.040643
2019-04-23 09:15:00 | 0 | 142.629 | 1.6383 | 199.621 | 2.4053 | 145.163 | 0 | 323.56 | 26.46 | 963.865 | 99.983 | -0.29189
2019-04-23 09:30:00 | 0 | 136.685 | 1.127 | 187.731 | 1.894 | 147.21 | 0 | 320.246 | 26.46 | 963.865 | 99.983 | -0.31776
2019-04-23 09:45:00 | 0 | 177.519 | 0.37567 | 190.923 | 1.3827 | 154.958 | 0 | 316.494 | 26.46 | 964.161 | 99.983 | -0.25125
2019-04-23 10:00:00 | 0 | 90.8964 | 0 | 258.658 | 0 | 165.397 | 0 | 314.325 | 26.46 | 964.161 | 99.9407 | -0.24016
2019-04-23 10:15:00 | 0 | 148.638 | 0.75133 | 200.594 | 0 | 163.424 | 0 | 314.571 | 26.46 | 964.161 | 99.9601 | -0.24016
2019-04-23 10:30:00 | 0 | 104.908 | 0 | 200.606 | 0 | 163.463 | 0 | 314.456 | 26.46 | 964.458 | 99.9546 | -0.24016
2019-04-23 10:45:00 | 0 | 178.83 | 1.127 | 233.655 | 0.75133 | 172.546 | 0 | 316.594 | 26.46 | 964.31 | 99.9528 | -0.24016
2019-04-23 11:00:00 | 0 | 183.699 | 1.3827 | 257.035 | 0 | 172.787 | 0 | 318.953 | 26.46 | 964.31 | 99.9518 | -0.24016
2019-04-23 11:15:00 | 0 | 183.7 | 0.37567 | 257.961 | 0 | 172.812 | 0 | 319.051 | 26.46 | 964.161 | 99.9521 | -0.24016
2019-04-23 11:30:00 | 0 | 245.221 | 0 | 259.077 | 0 | 172.809 | 0 | 319.168 | 26.46 | 964.013 | 99.8139 | -0.25864
2019-04-23 11:45:00 | 0 | 201.749 | 0.75133 | 258.473 | 0 | 173.178 | 0 | 355.855 | 26.46 | 964.31 | 99.8159 | -0.25864
2019-04-23 12:00:00 | 0 | 167.621 | 1.127 | 227.778 | 2.1497 | 171.883 | 0 | 356.749 | 26.46 | 964.161 | 99.6772 | -0.24016
2019-04-23 12:15:00 | 0 | 226.877 | 1.894 | 282.26 | 2.1497 | 204.543 | 0 | 36.9726 | 26.46 | 964.458 | 98.9255 | -0.25864
2019-04-23 12:30:00 | 0 | 192.706 | 2.9167 | 242.121 | 2.4053 | 201.133 | 0 | 15.1008 | 26.46 | 964.268 | 94.525 | -0.24016
2019-04-23 12:45:00 | 0 | 163.235 | 2.9167 | 235.691 | 3.1723 | 188.419 | 0 | 2.1433 | 26.46 | 964.034 | 89.3741 | -0.24016
2019-04-23 13:00:00 | 0 | 196.943 | 2.9167 | 254.712 | 3.428 | 194.166 | 4.195 | 3.7021 | 26.46 | 963.869 | 88.8962 | -0.24016
2019-04-23 13:15:00 | 0 | 173.821 | 1.127 | 244.786 | 0.37567 | 196.446 | 0 | 356.799 | 26.46 | 964.164 | 86.7088 | -0.25125
2019-04-23 13:30:00 | 0 | 213.908 | 2.9167 | 241.37 | 3.1723 | 189.385 | 0 | 15.9749 | 26.46 | 964.164 | 85.6413 | -0.27342
2019-04-23 13:45:00 | 0 | 187.07 | 1.6383 | 246.456 | 1.894 | 182.881 | 0 | 323.537 | 26.46 | 964.164 | 83.628 | -0.24016
2019-04-23 14:00:00 | 0 | 143.45 | 2.661 | 190.999 | 3.1723 | 166.68 | 0 | 314.757 | 26.46 | 963.571 | 83.9314 | -0.2143
2019-04-23 14:15:00 | 0 | 155.09 | 3.1723 | 204.441 | 3.1723 | 153.069 | 0 | 338.378 | 26.46 | 963.844 | 84.8526 | -0.19583
2019-04-23 14:30:00 | 0 | 141.626 | 3.1723 | 197.114 | 3.428 | 161.715 | 0 | 337.359 | 26.46 | 963.57 | 86.1836 | -0.10715
2019-04-23 14:45:00 | 0 | 139.999 | 1.3827 | 199.216 | 2.9167 | 156.972 | 0 | 306.298 | 26.46 | 963.422 | 84.8565 | -0.11084
2019-04-23 15:00:00 | 0 | 138.659 | 3.1723 | 186.698 | 2.9167 | 155.681 | 0 | 323.635 | 26.46 | 963.274 | 84.4467 | -0.21061
2019-04-23 15:15:00 | 0 | 143.214 | 3.6837 | 216.555 | 4.7063 | 167.493 | 0.37567 | 324.807 | 26.46 | 962.977 | 85.5389 | 0.11454
2019-04-23 15:30:00 | 0 | 135.592 | 2.9167 | 211.636 | 3.1723 | 160.138 | 0 | 320.618 | 26.46 | 963.125 | 84.9248 | 0.44708
2019-04-23 15:45:00 | 0 | 159.602 | 3.428 | 219.768 | 3.9393 | 171.023 | 0.37567 | 339.951 | 26.46 | 962.68 | 84.7197 | 0.68355
2019-04-23 16:00:00 | 0 | 132.572 | 0.75133 | 183.607 | 2.9167 | 140.754 | 0 | 324.368 | 26.46 | 962.828 | 85.266 | 0.12562
2019-04-23 16:15:00 | 0 | 124.584 | 2.1497 | 185.7 | 3.1723 | 167.638 | 0 | 310.754 | 26.46 | 962.68 | 83.0145 | -0.11084
2019-04-23 16:30:00 | 0 | 154.878 | 2.661 | 206.01 | 3.6837 | 156.924 | 0 | 333.33 | 26.46 | 962.68 | 83.6971 | -0.23647
2019-04-23 16:45:00 | 0 | 147.645 | 2.9167 | 202.624 | 3.428 | 158.847 | 0 | 326.363 | 26.46 | 962.68 | 82.4006 | -0.25864
2019-04-23 17:00:00 | 0 | 159.444 | 1.127 | 199.637 | 1.6383 | 148.34 | 0 | 332.913 | 26.46 | 963.109 | 80.8937 | -0.24016
2019-04-23 17:15:00 | 0 | 143.434 | 0 | 203.368 | 1.6383 | 150.471 | 0 | 329.526 | 26.46 | 963.109 | 78.5001 | -0.24016
2019-04-23 17:30:00 | 0 | 150.737 | 1.894 | 194.967 | 3.1723 | 149.715 | 0 | 335.002 | 26.46 | 962.886 | 80.5797 | -0.24016
2019-04-23 17:45:00 | 0 | 147.962 | 2.661 | 206.337 | 3.428 | 153.732 | 0 | 329.523 | 26.46 | 962.563 | 80.8866 | -0.12193
2019-04-23 18:00:00 | 0 | 155.923 | 2.661 | 200.202 | 2.9167 | 142.289 | 0.37567 | 329.426 | 26.46 | 962.094 | 80.8866 | -0.073897
2019-04-23 18:15:00 | 0 | 154.365 | 3.428 | 201.054 | 2.9167 | 151.638 | 0.37567 | 331.885 | 26.46 | 961.88 | 82.7281 | 0.025864
2019-04-23 18:30:00 | 0 | 173.866 | 3.428 | 219.76 | 3.428 | 160.96 | 0.75133 | 346.978 | 26.46 | 961.481 | 84.7852 | 0.19583
2019-04-23 18:45:00 | 0 | 182.226 | 3.6837 | 235.452 | 4.195 | 171.584 | 0 | 356.854 | 26.46 | 961.493 | 85.0614 | 1.0493
2019-04-23 19:00:00 | 0 | 173.487 | 1.894 | 223.511 | 3.1723 | 161.041 | 0 | 349.313 | 26.46 | 961.196 | 85.5528 | 0.37318
2019-04-23 19:15:00 | 0 | 157.243 | 0.75133 | 219.762 | 2.661 | 158.826 | 0 | 347.465 | 26.46 | 961.572 | 85.8605 | 0.036949
2019-04-23 19:30:00 | 0 | 153.322 | 2.4053 | 202.956 | 3.428 | 155.831 | 0 | 338.014 | 26.46 | 961.785 | 86.1334 | -0.062812
2019-04-23 19:45:00 | 0 | 157.511 | 1.6383 | 223.634 | 2.661 | 158.023 | 0 | 343.397 | 26.46 | 961.49 | 85.8946 | -0.218
2019-04-23 20:00:00 | 0 | 161.505 | 2.1497 | 205.586 | 2.9167 | 158.656 | 0 | 345.224 | 26.46 | 961.786 | 85.9287 | -0.25494
2019-04-23 20:15:00 | 0 | 165.94 | 2.4053 | 221.665 | 2.661 | 156.953 | 0 | 346.007 | 26.46 | 961.935 | 86.3391 | -0.048033
2019-04-23 20:30:00 | 0 | 164.505 | 3.1723 | 216.114 | 3.1723 | 165.382 | 0 | 348.228 | 26.46 | 962.38 | 86.1696 | 0.32515
2019-04-23 20:45:00 | 0 | 162.461 | 3.428 | 219.819 | 3.6837 | 164.604 | 0 | 346.989 | 26.46 | 962.38 | 86.2046 | 0.96805
2019-04-23 21:00:00 | 0 | 166.752 | 2.1497 | 216.001 | 2.9167 | 163.878 | 0 | 348.971 | 26.46 | 962.677 | 86.9915 | 1.0826
2019-04-23 21:15:00 | 0 | 171.877 | 2.1497 | 221.86 | 3.1723 | 161.11 | 1.2627 | 352.937 | 26.46 | 962.677 | 87.6785 | 0.33254
2019-04-23 21:30:00 | 0 | 158.177 | 2.4053 | 210.007 | 2.661 | 164.997 | 0 | 350.017 | 26.46 | 962.677 | 86.9227 | 0.56531
2019-04-23 21:45:00 | 0 | 166.559 | 2.9167 | 221.971 | 3.428 | 162.906 | 0 | 348.172 | 26.46 | 962.974 | 85.9349 | 1.2267
2019-04-23 22:00:00 | 0 | 166.661 | 2.9167 | 244.022 | 3.1723 | 171.874 | 0 | 353.832 | 26.46 | 962.974 | 85.9713 | 1.7588
2019-04-23 22:15:00 | 0 | 182.143 | 1.894 | 232.292 | 2.661 | 197.391 | 0 | 356.735 | 26.46 | 962.974 | 84.3973 | 2.1356
2019-04-23 22:30:00 | 0 | 137.131 | 1.127 | 180.143 | 2.661 | 182.923 | 0 | 356.76 | 26.46 | 963.271 | 84.0562 | 1.2082
2019-04-23 22:45:00 | 0 | 192.344 | 3.6837 | 249.7 | 2.9167 | 162.117 | 0 | 12.4949 | 26.46 | 963.271 | 82.6213 | 0.16257
2019-04-23 23:00:00 | 0 | 168.571 | 4.7063 | 227.681 | 4.962 | 177.34 | 0 | 351.488 | 26.46 | 963.271 | 82.1435 | -0.15888
2019-04-23 23:15:00 | 0 | 182.922 | 1.127 | 225.958 | 1.894 | 165.336 | 0 | 1.364 | 26.46 | 963.271 | 82.4185 | -0.24016
2019-04-23 23:30:00 | 0 | 177.438 | 1.127 | 238.813 | 1.894 | 178.68 | 0 | 9.8888 | 26.46 | 963.271 | 82.8942 | -0.24016
2019-04-23 23:45:00 | 0 | 177.878 | 0.75133 | 222.496 | 0.75133 | 177.902 | 0 | 20.752 | 26.46 | 963.716 | 83.4409 | -0.24016