## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-24 00:00:00 | 0 | 194.464 | 1.6383 | 238.327 | 1.6383 | 177.853 | 0 | 9.8401 | 26.46 | 963.419 | 84.0886 | -0.24016
2019-04-24 00:15:00 | 6.2227 | 156.151 | 1.6383 | 198.772 | 2.1497 | 173.663 | 0 | 344.939 | 26.46 | 963.271 | 84.4637 | -0.11084
2019-04-24 00:30:00 | 0 | 177.615 | 1.127 | 193.323 | 0.37567 | 157.837 | 0 | 356.764 | 26.46 | 963.271 | 84.262 | -0.25864
2019-04-24 00:45:00 | 0 | 199.583 | 1.3827 | 236.871 | 0.75133 | 178.343 | 0 | 33.5399 | 26.46 | 963.271 | 83.5104 | -0.25864
2019-04-24 01:00:00 | 0 | 225.67 | 1.127 | 237.943 | 0.75133 | 178.441 | 0 | 49.5914 | 26.46 | 963.271 | 82.6236 | -0.24016
2019-04-24 01:15:00 | 0 | 272.308 | 1.3827 | 318.072 | 1.3827 | 184.113 | 0 | 91.7762 | 26.46 | 963.419 | 82.349 | -0.24016
2019-04-24 01:30:00 | 0 | 312.693 | 1.127 | 17.8079 | 0 | 183.992 | 0 | 123.27 | 26.46 | 963.271 | 83.4409 | -0.24016
2019-04-24 01:45:00 | 0 | 334.327 | 1.894 | 9.6184 | 1.3827 | 184.019 | 0 | 136.522 | 26.46 | 962.974 | 83.1693 | -0.24016
2019-04-24 02:00:00 | 0 | 343.014 | 0.75133 | 32.4154 | 1.3827 | 181.603 | 0 | 148.161 | 26.46 | 963.122 | 83.3036 | -0.24016
2019-04-24 02:15:00 | 0 | 327.986 | 2.1497 | 41.9632 | 1.894 | 275.278 | 0 | 140.294 | 26.46 | 963.122 | 83.406 | -0.25864
2019-04-24 02:30:00 | 0 | 348.871 | 2.1497 | 51.3429 | 2.4053 | 326.389 | 0 | 166.264 | 26.46 | 962.974 | 83.9205 | -0.24016
2019-04-24 02:45:00 | 0 | 342.901 | 2.1497 | 42.4763 | 1.6383 | 326.411 | 0 | 160.027 | 26.46 | 962.677 | 83.8517 | -0.24016
2019-04-24 03:00:00 | 0 | 331.997 | 3.1723 | 38.2394 | 2.4053 | 326.394 | 0 | 144.612 | 26.46 | 962.677 | 83.6147 | -0.24016
2019-04-24 03:15:00 | 0 | 330.352 | 2.1497 | 19.9452 | 1.3827 | 333.64 | 0 | 142.95 | 26.46 | 962.677 | 83.9186 | -0.24016
2019-04-24 03:30:00 | 0 | 332.682 | 2.4053 | 35.6825 | 2.4053 | 333.803 | 0 | 147.829 | 26.46 | 962.677 | 84.2639 | -0.24016
2019-04-24 03:45:00 | 0 | 343.006 | 3.428 | 39.5548 | 3.1723 | 340.181 | 0 | 153.576 | 26.46 | 962.677 | 84.2629 | -0.24016
2019-04-24 04:00:00 | 0 | 343.898 | 3.1723 | 40.7954 | 2.661 | 343.192 | 0 | 158.492 | 26.46 | 962.677 | 84.2606 | -0.24016
2019-04-24 04:15:00 | 1.3933 | 356.362 | 1.6383 | 42.8444 | 1.894 | 343.598 | 0 | 170.021 | 26.46 | 962.529 | 86.755 | -0.24016
2019-04-24 04:30:00 | 0 | 0.097431 | 1.127 | 53.7551 | 1.6383 | 343.59 | 0 | 174.231 | 26.46 | 962.38 | 87.8788 | -0.25125
2019-04-24 04:45:00 | 0 | 349.45 | 1.3827 | 45.0377 | 2.1497 | 343.604 | 0 | 160.572 | 26.46 | 962.38 | 86.6883 | -0.25125
2019-04-24 05:00:00 | 0 | 354.478 | 1.6383 | 47.6218 | 1.6383 | 343.614 | 0 | 164.256 | 26.46 | 962.38 | 86.8615 | -0.24016
2019-04-24 05:15:00 | 0 | 2.5334 | 2.661 | 48.8403 | 2.661 | 344.201 | 0 | 181.723 | 26.46 | 962.38 | 87.408 | -0.20322
2019-04-24 05:30:00 | 0.372 | 10.9619 | 2.661 | 49.5715 | 2.661 | 344.204 | 0 | 191.322 | 26.46 | 962.38 | 89.7286 | -0.22169
2019-04-24 05:45:00 | 0 | 7.4056 | 2.1497 | 49.5739 | 2.1497 | 344.215 | 0 | 185.871 | 26.46 | 962.529 | 89.6634 | -0.24016
2019-04-24 06:00:00 | 0 | 7.4056 | 1.894 | 49.5735 | 1.894 | 344.214 | 0 | 186.163 | 26.46 | 962.677 | 89.5606 | -0.24016
2019-04-24 06:15:00 | 0 | 12.9589 | 0 | 49.5687 | 1.6383 | 344.482 | 0 | 186.637 | 26.46 | 962.677 | 87.1662 | -0.24016
2019-04-24 06:30:00 | 0 | 12.9583 | 1.127 | 50.3454 | 1.127 | 6.0407 | 0 | 186.63 | 26.46 | 962.677 | 87.1628 | -0.24016
2019-04-24 06:45:00 | 0 | 0.31663 | 1.127 | 50.3408 | 1.127 | 6.0891 | 0 | 170.153 | 26.46 | 962.974 | 87.3277 | -0.24016
2019-04-24 07:00:00 | 0 | 332.37 | 0 | 23.915 | 0 | 356.824 | 0 | 137.079 | 26.46 | 963.271 | 86.1009 | -0.24016
2019-04-24 07:15:00 | 0 | 356.915 | 0.75133 | 51.4122 | 1.3827 | 5.1635 | 0 | 182.33 | 26.46 | 963.716 | 86.304 | -0.24016
2019-04-24 07:30:00 | 0 | 4.6764 | 0.75133 | 51.4122 | 1.3827 | 5.3583 | 0 | 182.939 | 26.46 | 963.864 | 85.8946 | -0.24016
2019-04-24 07:45:00 | 0 | 24.7945 | 0 | 51.4609 | 0.75133 | 6.43 | 0 | 183.524 | 26.46 | 963.864 | 85.3488 | -0.24016
2019-04-24 08:00:00 | 0 | 24.7945 | 0 | 51.4366 | 0 | 6.7223 | 0 | 183.524 | 26.46 | 964.431 | 84.1208 | -0.24016
2019-04-24 08:15:00 | 0 | 344.347 | 0 | 51.3148 | 0 | 6.7223 | 0 | 146.527 | 26.46 | 964.489 | 83.8479 | -0.24016
2019-04-24 08:30:00 | 0 | 1.4614 | 0 | 51.3143 | 0 | 6.6248 | 0 | 147.086 | 26.46 | 964.911 | 82.244 | -0.24016
2019-04-24 08:45:00 | 0 | 354.226 | 0 | 51.3031 | 1.3827 | 6.7212 | 0 | 146.819 | 26.46 | 965.203 | 79.4685 | -0.24016
2019-04-24 09:00:00 | 0 | 290.86 | 0 | 2.8562 | 1.127 | 356.123 | 0 | 263.488 | 26.46 | 965.5 | 77.3193 | -0.24016
2019-04-24 09:15:00 | 0 | 9.7396 | 0 | 48.6634 | 0 | 356.125 | 0 | 196.738 | 26.46 | 965.292 | 78.9117 | -0.25125
2019-04-24 09:30:00 | 0 | 270.407 | 2.1497 | 320.285 | 1.127 | 344.96 | 0 | 88.8209 | 26.46 | 965.323 | 78.2268 | -0.24016
2019-04-24 09:45:00 | 0 | 304.81 | 0.37567 | 9.1409 | 0 | 325.628 | 0 | 122.421 | 26.46 | 965.371 | 79.3862 | -0.25864
2019-04-24 10:00:00 | 0 | 299.819 | 2.4053 | 10.553 | 1.894 | 311.725 | 0 | 117.186 | 26.46 | 965.508 | 79.0452 | -0.25864
2019-04-24 10:15:00 | 0 | 305.842 | 3.1723 | 3.5694 | 1.894 | 303.528 | 0 | 110.834 | 26.46 | 965.411 | 81.5709 | -0.24016
2019-04-24 10:30:00 | 2.648 | 313.68 | 1.894 | 3.7828 | 1.894 | 304.427 | 0 | 125.209 | 26.46 | 965.498 | 81.2356 | -0.25864
2019-04-24 10:45:00 | 0 | 285.4 | 1.3827 | 330.223 | 1.894 | 285.935 | 0 | 113.868 | 26.46 | 965.648 | 80.4213 | -0.25864
2019-04-24 11:00:00 | 0 | 265.083 | 1.6383 | 319.158 | 1.6383 | 285.976 | 0 | 14.026 | 26.46 | 965.937 | 78.9866 | -0.24016
2019-04-24 11:15:00 | 0 | 301.306 | 0 | 336.844 | 0.75133 | 285.017 | 0 | 121.618 | 26.46 | 965.507 | 77.6816 | -0.24016
2019-04-24 11:30:00 | 0 | 214.09 | 0 | 327.444 | 0 | 255.993 | 0 | 83.6348 | 26.46 | 965.515 | 74.6121 | -0.24016
2019-04-24 11:45:00 | 0 | 19.962 | 1.894 | 6.4648 | 1.3827 | 256 | 0 | 211.621 | 26.46 | 965.798 | 69.3493 | -0.24016
2019-04-24 12:00:00 | 0 | 319.038 | 1.3827 | 9.2908 | 1.127 | 300.783 | 0 | 128.048 | 26.46 | 966.095 | 70.8358 | -0.24016
2019-04-24 12:15:00 | 0 | 305.056 | 3.6837 | 31.8365 | 3.1723 | 278.943 | 0 | 124.943 | 26.46 | 965.767 | 73.2818 | -0.25864
2019-04-24 12:30:00 | 0 | 346.122 | 3.1723 | 20.2507 | 4.4507 | 319.158 | 0.37567 | 134.891 | 26.46 | 965.766 | 73.4151 | -0.26972
2019-04-24 12:45:00 | 0 | 292.536 | 2.4053 | 332.912 | 3.1723 | 268.128 | 0 | 98.1204 | 26.46 | 965.403 | 70.6545 | -0.25864
2019-04-24 13:00:00 | 0 | 264.574 | 2.1497 | 311.959 | 3.428 | 281.463 | 0 | 104.958 | 26.46 | 965.094 | 71.8473 | -0.26233
2019-04-24 13:15:00 | 0 | 317.65 | 4.4507 | 10.0712 | 3.1723 | 322.006 | 0 | 197.092 | 26.46 | 965.092 | 71.9155 | -0.25864
2019-04-24 13:30:00 | 0 | 329.306 | 2.4053 | 12.6094 | 2.4053 | 296.6 | 0 | 118.075 | 26.46 | 965.115 | 73.0061 | -0.25864
2019-04-24 13:45:00 | 0 | 316.701 | 3.9393 | 5.8855 | 2.9167 | 288.666 | 0 | 140.293 | 26.46 | 964.653 | 72.3927 | -0.30667
2019-04-24 14:00:00 | 0 | 312.508 | 3.9393 | 12.7958 | 3.9393 | 324.726 | 0 | 133.303 | 26.46 | 964.867 | 74.9929 | 0.070202
2019-04-24 14:15:00 | 0 | 335.399 | 3.428 | 12.0795 | 2.4053 | 41.1094 | 0 | 147.108 | 26.46 | 964.018 | 76.9729 | 1.2673
2019-04-24 14:30:00 | 0 | 29.7958 | 1.6383 | 51.179 | 1.127 | 7.0838 | 0 | 199.175 | 26.46 | 963.573 | 78.3136 | 1.2821
2019-04-24 14:45:00 | 0 | 27.9709 | 2.9167 | 76.7418 | 2.1497 | 28.6282 | 0 | 199.083 | 26.46 | 963.425 | 76.8155 | 0.81656
2019-04-24 15:00:00 | 0 | 25.9017 | 3.6837 | 76.4983 | 2.1497 | 11.1007 | 0 | 199.375 | 26.46 | 963.276 | 76.7814 | 0.12193
2019-04-24 15:15:00 | 0 | 2.6292 | 3.1723 | 56.3436 | 4.4507 | 10.395 | 2.1497 | 187.792 | 26.46 | 963.128 | 76.7151 | 0.011085
2019-04-24 15:30:00 | 0 | 15.4828 | 3.9393 | 73.9678 | 2.661 | 21.1793 | 0 | 195.653 | 26.46 | 963.276 | 75.2481 | 0.30298
2019-04-24 15:45:00 | 0 | 11.587 | 2.661 | 73.6457 | 2.4053 | 35.9296 | 0 | 203.747 | 26.46 | 963.722 | 72.7548 | -0.16996
2019-04-24 16:00:00 | 0 | 31.471 | 4.195 | 82.1531 | 3.1723 | 37.1665 | 0 | 206.18 | 26.46 | 964.167 | 70.9051 | -0.25125
2019-04-24 16:15:00 | 0 | 356.807 | 2.4053 | 53.5419 | 2.9167 | 11.389 | 0 | 188.503 | 26.46 | 963.465 | 71.2342 | -0.15149
2019-04-24 16:30:00 | 0 | 9.0041 | 3.6837 | 77.2442 | 1.6383 | 17.6188 | 1.007 | 192.42 | 26.46 | 962.984 | 74.0286 | 0.033254
2019-04-24 16:45:00 | 0 | 356.903 | 2.1497 | 57.1918 | 1.894 | 23.8487 | 0 | 173.317 | 26.46 | 961.955 | 73.9264 | -0.092371
2019-04-24 17:00:00 | 0 | 21.1266 | 0 | 53.7485 | 0 | 354.528 | 0 | 226.332 | 26.46 | 961.931 | 72.7456 | -0.14779
2019-04-24 17:15:00 | 0 | 356.449 | 0 | 53.5097 | 0 | 354.404 | 0 | 189.397 | 26.46 | 961.645 | 72.2047 | -0.24016
2019-04-24 17:30:00 | 0 | 284.382 | 2.1497 | 334.249 | 2.1497 | 283.652 | 0 | 108.329 | 26.46 | 961.645 | 73.9856 | -0.25125
2019-04-24 17:45:00 | 1.2547 | 284.874 | 2.1497 | 334.96 | 1.127 | 277.376 | 0 | 92.8724 | 26.46 | 961.497 | 72.5547 | -0.25864
2019-04-24 18:00:00 | 3.414 | 266.218 | 1.894 | 322.402 | 1.6383 | 270.698 | 0 | 16.8486 | 26.46 | 961.2 | 70.9971 | 2.0026
2019-04-24 18:15:00 | 0 | 327.819 | 2.661 | 27.1374 | 2.4053 | 355.04 | 0 | 120.936 | 26.46 | 960.903 | 74.5439 | 5.376
2019-04-24 18:30:00 | 0 | 311.419 | 2.1497 | 7.8062 | 3.9393 | 343.56 | 0 | 132.652 | 26.46 | 961.133 | 75.5013 | 4.7996
2019-04-24 18:45:00 | 0 | 354.71 | 2.9167 | 46.6268 | 2.4053 | 355.465 | 0 | 202.51 | 26.46 | 960.751 | 77.7965 | 2.0876
2019-04-24 19:00:00 | 0 | 87.3775 | 1.894 | 89.4897 | 2.661 | 22.161 | 0 | 274.017 | 26.46 | 960.9 | 77.5603 | 1.2821
2019-04-24 19:15:00 | 0 | 64.1052 | 2.4053 | 71.1648 | 3.1723 | 17.0493 | 0 | 343.762 | 26.46 | 960.909 | 78.7991 | 3.8574
2019-04-24 19:30:00 | 0 | 26.3046 | 3.1723 | 77.9116 | 3.9393 | 23.5767 | 0 | 243.318 | 26.46 | 961.467 | 80.4366 | 4.637
2019-04-24 19:45:00 | 0 | 134.616 | 2.9167 | 93.1099 | 3.1723 | 26.6943 | 0 | 290.861 | 26.46 | 961.193 | 81.9376 | 1.4927
2019-04-24 20:00:00 | 0 | 153.687 | 1.127 | 172.292 | 2.4053 | 28.3992 | 0 | 350.29 | 26.46 | 961.193 | 82.3469 | 0.059118
2019-04-24 20:15:00 | 0 | 151.352 | 2.661 | 156.025 | 2.9167 | 62.3042 | 0 | 338.995 | 26.46 | 961.49 | 80.5064 | -0.16996
2019-04-24 20:30:00 | 0 | 95.2576 | 4.962 | 134.127 | 3.9393 | 93.6744 | 0 | 275.373 | 26.46 | 962.083 | 77.7765 | 2.0469
2019-04-24 20:45:00 | 5.712 | 80.4483 | 6.7517 | 137.633 | 5.9847 | 83.8826 | 2.0297 | 270.499 | 26.46 | 962.825 | 78.6628 | 7.12
2019-04-24 21:00:00 | 11.074 | 105.365 | 6.496 | 144.574 | 5.4733 | 82.4699 | 3.428 | 285.357 | 26.46 | 962.825 | 81.3918 | 23.1519
2019-04-24 21:15:00 | 0 | 99.3243 | 6.2403 | 157.41 | 7.0073 | 99.4705 | 1.6383 | 282.02 | 26.46 | 962.677 | 82.8927 | 27.7409
2019-04-24 21:30:00 | 0 | 114.912 | 5.729 | 168.931 | 5.4733 | 87.5116 | 0.63133 | 295.513 | 26.46 | 962.232 | 83.8138 | 35.8031
2019-04-24 21:45:00 | 0 | 108.19 | 4.962 | 165.545 | 6.7517 | 133.788 | 3.6837 | 295.805 | 26.46 | 962.232 | 84.5301 | 25.6681
2019-04-24 22:00:00 | 0 | 129.672 | 6.2403 | 176.651 | 4.962 | 122.877 | 4.195 | 310.979 | 26.46 | 961.935 | 84.803 | 49.9692
2019-04-24 22:15:00 | 3.6693 | 126.043 | 9.8197 | 187.295 | 7.7743 | 136.248 | 2.541 | 307.935 | 26.46 | 961.638 | 86.0311 | 66.1377
2019-04-24 22:30:00 | 2.3927 | 115.521 | 9.3083 | 174.971 | 7.263 | 132.327 | 2.4053 | 300.871 | 26.46 | 961.49 | 86.3722 | 51.351
2019-04-24 22:45:00 | 0 | 108.996 | 6.2403 | 189.248 | 5.729 | 124.706 | 0.37567 | 305.384 | 26.46 | 961.49 | 88.2162 | 59.8454
2019-04-24 23:00:00 | 6.478 | 124.949 | 6.2403 | 184.667 | 5.729 | 141.194 | 5.4733 | 316.658 | 26.46 | 961.49 | 88.8295 | 55.6739
2019-04-24 23:15:00 | 5.4567 | 126.509 | 8.03 | 160.021 | 10.331 | 156.176 | 4.4507 | 304.923 | 26.46 | 961.341 | 88.592 | 53.7748
2019-04-24 23:30:00 | 4.6907 | 127.217 | 8.797 | 183.235 | 9.0527 | 151.525 | 2.9167 | 311.331 | 26.46 | 961.044 | 89.0362 | 46.7767
2019-04-24 23:45:00 | 1.3713 | 273.806 | 12.3763 | 326.685 | 12.1207 | 284.548 | 5.4733 | 104.617 | 26.46 | 964.161 | 79.5552 | 22.9404