## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-25 00:00:00 | 2.0207 | 310.036 | 11.6093 | 19.1716 | 7.0073 | 341.052 | 1.2627 | 135.1 | 26.46 | 961.193 | 94.9663 | 50.5622
2019-04-25 00:15:00 | 10.308 | 23.712 | 8.5413 | 79.527 | 8.2857 | 42.2819 | 3.428 | 205.122 | 26.46 | 959.405 | 97.9577 | 38.5754
2019-04-25 00:30:00 | 5.712 | 271.464 | 13.6547 | 316.563 | 13.1433 | 273.414 | 5.729 | 96.9792 | 26.46 | 961.783 | 98.6516 | 59.4146
2019-04-25 00:45:00 | 4.3187 | 5.3871 | 5.2177 | 61.6351 | 4.962 | 343.725 | 4.4507 | 196.519 | 26.46 | 960.742 | 99.2108 | 78.024
2019-04-25 01:00:00 | 6.9887 | 345.23 | 12.8877 | 44.3893 | 10.0753 | 23.2104 | 2.4053 | 166.617 | 26.46 | 959.699 | 99.5031 | 76.5572
2019-04-25 01:15:00 | 5.712 | 356.256 | 8.03 | 65.0412 | 9.3083 | 22.6013 | 1.894 | 175.812 | 26.46 | 960.252 | 99.9146 | 62.0529
2019-04-25 01:30:00 | 6.7333 | 4.4861 | 9.8197 | 76.3784 | 4.962 | 19.4073 | 0 | 181.688 | 26.46 | 960.728 | 99.9829 | 75.272
2019-04-25 01:45:00 | 6.9887 | 348.323 | 9.564 | 54.4631 | 10.331 | 353.858 | 4.4507 | 169.919 | 26.46 | 959.993 | 99.9873 | 77.5954
2019-04-25 02:00:00 | 8.2653 | 0 | 11.865 | 50.1184 | 10.8423 | 8.0972 | 3.1723 | 179.625 | 26.46 | 960.885 | 100 | 78.4859
2019-04-25 02:15:00 | 10.308 | 347.964 | 11.865 | 50.6073 | 15.9557 | 20.3652 | 5.729 | 170.214 | 26.46 | 959.993 | 99.9829 | 81.9591
2019-04-25 02:30:00 | 11.3293 | 274.283 | 13.1433 | 53.5828 | 14.4217 | 9.6582 | 6.7517 | 182.994 | 26.46 | 960.29 | 100 | 80.1671
2019-04-25 02:45:00 | 8.5207 | 3.6828 | 13.1433 | 58.3876 | 14.4217 | 13.9751 | 7.7743 | 182.116 | 26.46 | 959.993 | 100 | 79.1251
2019-04-25 03:00:00 | 7.7547 | 15.5361 | 13.9103 | 52.5341 | 12.8877 | 12.6581 | 8.2857 | 176.701 | 26.46 | 959.696 | 100 | 82.7165
2019-04-25 03:15:00 | 8.01 | 0.097558 | 15.4443 | 61.0948 | 12.8877 | 5.3413 | 7.7743 | 187.847 | 26.46 | 958.21 | 100 | 86.3374
2019-04-25 03:30:00 | 9.2867 | 7.9022 | 20.5577 | 70.6554 | 16.7227 | 15.4629 | 7.7743 | 193.725 | 26.46 | 958.804 | 99.9829 | 83.3594
2019-04-25 03:45:00 | 5.4567 | 16.6341 | 14.6773 | 68.5853 | 11.098 | 22.0976 | 5.2177 | 190.098 | 26.46 | 959.255 | 99.9863 | 82.7793
2019-04-25 04:00:00 | 7.4993 | 14.9288 | 16.467 | 72.2072 | 12.8877 | 9.6354 | 6.496 | 191.806 | 26.46 | 959.377 | 99.9995 | 84.4214
2019-04-25 04:15:00 | 6.478 | 139.54 | 12.8877 | 52.4044 | 14.4217 | 23.4192 | 5.729 | 188.744 | 26.46 | 959.377 | 99.5618 | 85.4802
2019-04-25 04:30:00 | 6.478 | 3.2934 | 14.166 | 68.8966 | 11.865 | 5.6109 | 5.4733 | 187.942 | 26.46 | 959.394 | 96.2488 | 85.3916
2019-04-25 04:45:00 | 7.244 | 8.392 | 15.7 | 64.9936 | 13.1433 | 3.6593 | 4.195 | 195.602 | 26.46 | 959.692 | 91.2266 | 83.8213
2019-04-25 05:00:00 | 5.4567 | 11.7097 | 15.4443 | 64.1394 | 12.1207 | 8.0992 | 4.962 | 190.137 | 26.46 | 960.583 | 91.6361 | 81.4402
2019-04-25 05:15:00 | 6.478 | 15.1743 | 14.933 | 56.9936 | 16.2113 | 1.1954 | 4.962 | 181.213 | 26.46 | 960.435 | 90.1352 | 82.1528
2019-04-25 05:30:00 | 8.2653 | 290.313 | 14.4217 | 43.6005 | 17.4897 | 13.0519 | 5.2177 | 185.849 | 26.46 | 961.029 | 88.4955 | 86.016
2019-04-25 05:45:00 | 7.244 | 8.9778 | 19.0237 | 62.9712 | 15.9557 | 15.4671 | 6.2403 | 192.193 | 26.46 | 960.732 | 86.8557 | 84.9556
2019-04-25 06:00:00 | 6.9887 | 15.394 | 15.4443 | 67.8022 | 16.7227 | 16.7358 | 4.4507 | 190.291 | 26.46 | 960.88 | 89.1113 | 84.5085
2019-04-25 06:15:00 | 4.18 | 25.5179 | 16.9783 | 65.1165 | 7.0073 | 36.3495 | 4.195 | 206.021 | 26.46 | 961.466 | 91.6375 | 78.5424
2019-04-25 06:30:00 | 4.4353 | 3.7811 | 12.3763 | 63.9651 | 9.0527 | 6.2449 | 6.2403 | 180.103 | 26.46 | 962.34 | 93.4773 | 71.552
2019-04-25 06:45:00 | 4.946 | 12.2953 | 11.6093 | 55.1379 | 8.5413 | 20.297 | 5.9847 | 189.943 | 26.46 | 962.629 | 95.6 | 77.4587
2019-04-25 07:00:00 | 5.712 | 3.0982 | 11.3537 | 56.8451 | 9.8197 | 2.6103 | 5.9847 | 188.502 | 26.46 | 963.252 | 97.0344 | 76.9774
2019-04-25 07:15:00 | 4.946 | 3.3179 | 8.2857 | 68.3381 | 13.9103 | 30.6658 | 4.962 | 184.434 | 26.46 | 963.705 | 96.73 | 80.2032
2019-04-25 07:30:00 | 4.18 | 23.1027 | 12.8877 | 79.6077 | 4.195 | 5.0011 | 5.2177 | 194.605 | 26.46 | 964.418 | 93.2777 | 78.7372
2019-04-25 07:45:00 | 5.712 | 8.8066 | 12.1207 | 60.9674 | 13.399 | 13.7589 | 5.729 | 186.379 | 26.46 | 964.121 | 92.7288 | 74.8666
2019-04-25 08:00:00 | 4.4353 | 16.5618 | 13.9103 | 68.7361 | 9.564 | 22.3914 | 5.2177 | 200.571 | 26.46 | 964.31 | 91.69 | 79.114
2019-04-25 08:15:00 | 4.946 | 14.1703 | 14.166 | 74.0459 | 11.865 | 21.8042 | 3.9393 | 173.922 | 26.46 | 964.171 | 89.4282 | 75.4868
2019-04-25 08:30:00 | 4.6907 | 14.6824 | 12.1207 | 74.7285 | 8.797 | 17.097 | 5.2177 | 199.871 | 26.46 | 964.897 | 83.7575 | 70.7359
2019-04-25 08:45:00 | 5.2013 | 5.3901 | 13.399 | 61.7777 | 5.9847 | 33.0233 | 5.4733 | 194.506 | 26.46 | 964.748 | 79.2485 | 67.2059
2019-04-25 09:00:00 | 4.946 | 23.7004 | 12.632 | 76.9227 | 7.5187 | 56.9101 | 5.4733 | 200.063 | 26.46 | 965.937 | 77.657 | 73.3256
2019-04-25 09:15:00 | 4.4353 | 11.0203 | 13.399 | 68.5521 | 5.2177 | 45.105 | 5.4733 | 188.32 | 26.46 | 965.621 | 77.8556 | 74.9212
2019-04-25 09:30:00 | 4.4353 | 346.309 | 10.331 | 44.1954 | 9.8197 | 55.7839 | 3.428 | 172.691 | 26.46 | 965.791 | 77.036 | 71.3364
2019-04-25 09:45:00 | 5.2013 | 341.311 | 11.098 | 38.1733 | 9.564 | 55.1988 | 5.729 | 173.642 | 26.46 | 966.384 | 76.9678 | 73.739
2019-04-25 10:00:00 | 5.9673 | 348.423 | 10.331 | 45.9891 | 9.564 | 55.385 | 4.7063 | 184.414 | 26.46 | 966.355 | 78.3211 | 73.941
2019-04-25 10:15:00 | 4.18 | 0.51193 | 14.4217 | 66.6129 | 12.1207 | 54.8979 | 4.195 | 187.17 | 26.46 | 966.365 | 78.3218 | 76.8908
2019-04-25 10:30:00 | 6.2227 | 77.963 | 10.5867 | 62.7168 | 10.8423 | 55.3639 | 5.4733 | 177.355 | 26.46 | 966.681 | 81.5354 | 79.4096
2019-04-25 10:45:00 | 5.4567 | 7.6556 | 12.1207 | 49.3639 | 9.8197 | 54.6622 | 6.2403 | 159.184 | 26.46 | 966.235 | 85.231 | 75.6113
2019-04-25 11:00:00 | 6.2227 | 356.72 | 10.8423 | 77.3293 | 4.962 | 54.2479 | 5.4733 | 184.516 | 26.46 | 966.533 | 86.5972 | 73.6472
2019-04-25 11:15:00 | 7.4993 | 33.0851 | 9.564 | 88.0569 | 6.496 | 55.0281 | 4.962 | 182.37 | 26.46 | 966.681 | 86.324 | 65.8358
2019-04-25 11:30:00 | 4.4353 | 346.455 | 9.3083 | 25.7145 | 10.0753 | 55.0037 | 3.1723 | 163.938 | 26.46 | 966.822 | 87.5533 | 57.1471
2019-04-25 11:45:00 | 3.6693 | 350.799 | 9.0527 | 51.0472 | 9.8197 | 55.0531 | 3.9393 | 176.253 | 26.46 | 966.531 | 88.5787 | 52.1822
2019-04-25 12:00:00 | 5.712 | 10.0206 | 10.5867 | 80.6451 | 10.0753 | 54.9794 | 4.195 | 178.372 | 26.46 | 966.828 | 84.4801 | 57.9277
2019-04-25 12:15:00 | 0.99933 | 355.281 | 6.7517 | 68.0645 | 5.2177 | 55.3938 | 4.195 | 176.324 | 26.46 | 966.977 | 87.6217 | 55.7885
2019-04-25 12:30:00 | 3.6693 | 2.1943 | 9.564 | 66.1877 | 8.797 | 54.2971 | 5.4733 | 178.422 | 26.46 | 966.828 | 87.9638 | 59.2025
2019-04-25 12:45:00 | 5.712 | 2.8527 | 5.729 | 70.9925 | 7.5187 | 54.9807 | 4.962 | 186.642 | 26.46 | 966.977 | 90.3557 | 55.3126
2019-04-25 13:00:00 | 6.478 | 352.145 | 7.0073 | 49.1026 | 5.9847 | 55.0821 | 6.7517 | 192.873 | 26.46 | 967.125 | 92.1379 | 44.6928
2019-04-25 13:15:00 | 5.712 | 4.9014 | 9.3083 | 75.1755 | 9.564 | 55.1106 | 2.541 | 178.792 | 26.46 | 966.828 | 92.7253 | 42.4216
2019-04-25 13:30:00 | 7.7547 | 331.547 | 8.797 | 73.2263 | 8.5413 | 55.1115 | 1.6383 | 174.601 | 26.46 | 967.125 | 91.9414 | 44.1975
2019-04-25 13:45:00 | 2.7867 | 7.7532 | 6.7517 | 57.6542 | 6.7517 | 55.3698 | 4.4507 | 178.007 | 26.46 | 967.125 | 87.0417 | 52.604
2019-04-25 14:00:00 | 4.18 | 76.1665 | 11.098 | 42.4643 | 8.5413 | 55.2963 | 2.1497 | 179.957 | 26.46 | 966.97 | 85.0606 | 55.3414
2019-04-25 14:15:00 | 3.9247 | 356.525 | 8.2857 | 73.7209 | 10.0753 | 54.8087 | 4.962 | 185.077 | 26.46 | 966.679 | 87.6217 | 56.054
2019-04-25 14:30:00 | 3.2973 | 7.8022 | 7.5187 | 79.5757 | 6.2403 | 55.0056 | 3.1723 | 179.109 | 26.46 | 966.828 | 89.6052 | 45.0919
2019-04-25 14:45:00 | 2.9033 | 337.548 | 7.7743 | 47.0513 | 7.0073 | 55.1284 | 4.7063 | 178.088 | 26.46 | 966.531 | 88.7871 | 47.5339
2019-04-25 15:00:00 | 0.99933 | 19.0448 | 7.7743 | 68.6886 | 6.496 | 55.2078 | 5.2177 | 190.252 | 26.46 | 966.234 | 89.3095 | 34.3436
2019-04-25 15:15:00 | 0.744 | 1.9993 | 7.0073 | 58.4132 | 7.5187 | 55.2013 | 3.9393 | 194.765 | 26.46 | 967.125 | 82.5034 | 22.2815
2019-04-25 15:30:00 | 7.244 | 15.2626 | 8.797 | 61.4572 | 4.4507 | 57.2468 | 3.9393 | 190.684 | 26.46 | 967.294 | 80.1093 | 27.4675
2019-04-25 15:45:00 | 2.3927 | 356.886 | 6.2403 | 52.1183 | 6.2403 | 57.246 | 5.9847 | 184.514 | 26.46 | 966.83 | 80.6545 | 35.5305
2019-04-25 16:00:00 | 7.244 | 349.771 | 7.7743 | 55.4594 | 9.0527 | 57.2955 | 4.195 | 171.911 | 26.46 | 966.533 | 79.8361 | 31.7904
2019-04-25 16:15:00 | 6.7333 | 19.9193 | 10.0753 | 68.6984 | 2.4053 | 56.0277 | 4.962 | 199.852 | 26.46 | 966.83 | 78.4361 | 26.6214
2019-04-25 16:30:00 | 0.88267 | 11.7761 | 5.9847 | 62.2861 | 5.9847 | 56.2715 | 3.428 | 185.662 | 26.46 | 966.83 | 77.719 | 23.6544
2019-04-25 16:45:00 | 9.2867 | 178.299 | 8.2857 | 64.2366 | 7.5187 | 56.1984 | 3.6837 | 174.544 | 26.46 | 966.681 | 76.6263 | 24.9513
2019-04-25 17:00:00 | 6.7333 | 5.0225 | 8.2857 | 67.0892 | 4.195 | 56.8567 | 4.075 | 197.609 | 26.46 | 966.83 | 73.1091 | 27.9479
2019-04-25 17:15:00 | 0 | 28.0382 | 3.9393 | 74.7936 | 4.195 | 56.9054 | 0 | 195.975 | 26.46 | 967.127 | 72.5969 | 15.8952
2019-04-25 17:30:00 | 4.18 | 26.9167 | 7.5187 | 86.2771 | 3.428 | 57.71 | 5.729 | 208.604 | 26.46 | 966.83 | 69.4553 | 7.8146
2019-04-25 17:45:00 | 0 | 23.6003 | 6.7517 | 67.2334 | 2.9167 | 57.733 | 1.774 | 207.527 | 26.46 | 966.83 | 69.8635 | 5.2984
2019-04-25 18:00:00 | 0.744 | 22.2355 | 6.2403 | 67.5765 | 3.1723 | 57.6854 | 0 | 199.68 | 26.46 | 966.829 | 70.138 | 5.3132
2019-04-25 18:15:00 | 0 | 12.5319 | 6.7517 | 64.6267 | 2.9167 | 57.6856 | 0 | 199.267 | 26.46 | 966.83 | 69.8651 | 7.1089
2019-04-25 18:30:00 | 0 | 25.4538 | 5.4733 | 81.1815 | 3.428 | 57.6856 | 0 | 209.19 | 26.46 | 966.849 | 70.2407 | 5.4979
2019-04-25 18:45:00 | 0 | 26.4291 | 5.9847 | 70.9902 | 3.1723 | 57.6856 | 0.75133 | 207.385 | 26.46 | 966.938 | 71.1286 | 5.679
2019-04-25 19:00:00 | 0 | 31.0127 | 5.9847 | 80.7914 | 4.7063 | 57.6612 | 0 | 218.43 | 26.46 | 966.672 | 72.1871 | 5.812
2019-04-25 19:15:00 | 0 | 28.1359 | 5.2177 | 77.8662 | 2.661 | 57.686 | 0 | 204.266 | 26.46 | 966.828 | 70.6851 | 3.4731
2019-04-25 19:30:00 | 0 | 45.5953 | 4.7063 | 91.7695 | 3.428 | 57.6403 | 0.37567 | 227.785 | 26.46 | 967.125 | 70.3132 | 1.8474
2019-04-25 19:45:00 | 0 | 52.4267 | 4.195 | 99.1427 | 4.7063 | 57.645 | 0 | 227.995 | 26.46 | 967.125 | 68.7479 | 2.1726
2019-04-25 20:00:00 | 0 | 37.9415 | 3.1723 | 90.4596 | 2.661 | 57.6438 | 0 | 227.796 | 26.46 | 967.274 | 68.849 | 1.1195
2019-04-25 20:15:00 | 0 | 37.7217 | 3.9393 | 95.3353 | 3.6837 | 57.6674 | 0 | 221.55 | 26.46 | 967.422 | 68.3019 | 1.829
2019-04-25 20:30:00 | 0 | 53.548 | 1.894 | 96.7033 | 1.6383 | 57.6933 | 0 | 222.019 | 26.46 | 967.719 | 68.1668 | 0.41382
2019-04-25 20:45:00 | 0 | 67.4003 | 2.4053 | 119.214 | 1.894 | 57.695 | 0 | 244.289 | 26.46 | 967.868 | 67.8956 | 0.63182
2019-04-25 21:00:00 | 0 | 79.8814 | 4.195 | 135.52 | 2.1497 | 57.6922 | 0 | 272.343 | 26.46 | 967.719 | 68.5753 | 0.76853
2019-04-25 21:15:00 | 0 | 90.025 | 3.1723 | 140.787 | 2.9167 | 57.6908 | 0 | 282.504 | 26.46 | 967.719 | 67.1408 | 0.69833
2019-04-25 21:30:00 | 0 | 101.82 | 3.428 | 155.113 | 2.661 | 57.6884 | 0 | 282.2 | 26.46 | 967.274 | 67.5122 | 0.7131
2019-04-25 21:45:00 | 0 | 116.421 | 2.4053 | 194.118 | 1.3827 | 57.6865 | 0 | 282.557 | 26.46 | 967.421 | 67.4075 | 1.4964
2019-04-25 22:00:00 | 0 | 111.227 | 3.6837 | 171.392 | 3.6837 | 57.6858 | 0 | 299.327 | 26.46 | 967.125 | 65.9383 | 1.3154
2019-04-25 22:15:00 | 0 | 120.662 | 5.2177 | 174.39 | 4.195 | 57.6857 | 0 | 300.326 | 26.46 | 966.828 | 65.7675 | 2.095
2019-04-25 22:30:00 | 0 | 128.537 | 2.4053 | 180.827 | 2.661 | 57.6857 | 0 | 295.255 | 26.46 | 967.125 | 65.8358 | 0.11084
2019-04-25 22:45:00 | 0 | 150.066 | 5.9847 | 196.163 | 3.428 | 133.145 | 0 | 325.341 | 26.46 | 966.531 | 64.8114 | 4.1493
2019-04-25 23:00:00 | 0 | 117.98 | 4.962 | 169.539 | 4.195 | 124.685 | 1.5183 | 296.376 | 26.46 | 966.531 | 66.0407 | 4.3304
2019-04-25 23:15:00 | 0 | 142.971 | 2.661 | 206.866 | 2.1497 | 156.673 | 0 | 321.123 | 26.46 | 966.825 | 67.2017 | 1.6294
2019-04-25 23:30:00 | 0 | 149.651 | 2.661 | 192.457 | 2.9167 | 117.712 | 0 | 321.587 | 26.46 | 966.828 | 68.3627 | 0.44708
2019-04-25 23:45:00 | 0 | 151.26 | 3.1723 | 206.208 | 2.9167 | 138.631 | 0 | 329.705 | 26.46 | 966.828 | 70.6847 | 0.13671