## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-26 00:00:00 | 0 | 245.518 | 2.1497 | 305.439 | 2.9167 | 181.932 | 0 | 51.6879 | 26.46 | 968.017 | 76.9336 | -0.25864
2019-04-26 00:15:00 | 0 | 116.883 | 2.9167 | 156.3 | 2.661 | 181.444 | 0 | 298.278 | 26.46 | 967.125 | 70.4456 | -0.25125
2019-04-26 00:30:00 | 0 | 149.457 | 5.729 | 200.163 | 4.7063 | 150.872 | 2.661 | 330.489 | 26.46 | 967.125 | 74.9196 | 4.02
2019-04-26 00:45:00 | 0 | 90.6292 | 1.894 | 154.724 | 1.6383 | 151.171 | 0 | 295.733 | 26.46 | 967.422 | 70.7908 | -0.22169
2019-04-26 01:00:00 | 0 | 136.393 | 2.1497 | 171.423 | 1.3827 | 125.811 | 0 | 321.989 | 26.46 | 967.125 | 68.3994 | -0.084981
2019-04-26 01:15:00 | 0 | 154.291 | 2.1497 | 222.994 | 0 | 127.958 | 0 | 308.826 | 26.46 | 967.125 | 68.7757 | -0.25864
2019-04-26 01:30:00 | 0 | 35.2572 | 2.1497 | 81.8217 | 1.894 | 119.572 | 0 | 214.469 | 26.46 | 966.828 | 73.1136 | -0.25864
2019-04-26 01:45:00 | 0 | 84.2217 | 1.6383 | 117.964 | 1.127 | 52.6691 | 0 | 264.564 | 26.46 | 966.531 | 76.3958 | -0.24016
2019-04-26 02:00:00 | 0 | 90.3333 | 0 | 132.108 | 0 | 80.6756 | 0 | 269.098 | 26.46 | 967.125 | 69.6118 | -0.24016
2019-04-26 02:15:00 | 0 | 92.5301 | 0.37567 | 135.55 | 0 | 80.531 | 0 | 256.031 | 26.46 | 967.125 | 71.8676 | -0.24016
2019-04-26 02:30:00 | 0 | 325.135 | 2.661 | 25.5594 | 3.1723 | 38.3157 | 4.195 | 156.873 | 26.46 | 967.868 | 70.8454 | 0.43969
2019-04-26 02:45:00 | 0 | 343.007 | 4.195 | 31.3144 | 4.195 | 356.567 | 1.5183 | 148.748 | 26.46 | 968.165 | 75.7971 | 1.3228
2019-04-26 03:00:00 | 0 | 348.029 | 4.962 | 40.4356 | 3.9393 | 0.048778 | 0 | 173.6 | 26.46 | 968.314 | 78.9052 | 4.0569
2019-04-26 03:15:00 | 0 | 352.279 | 3.428 | 54.7775 | 2.9167 | 3.9511 | 0 | 171.579 | 26.46 | 968.611 | 78.6333 | 4.6777
2019-04-26 03:30:00 | 0 | 356.963 | 3.6837 | 53.7534 | 3.428 | 4.5364 | 0.37567 | 171.311 | 26.46 | 968.908 | 78.9409 | 7.0387
2019-04-26 03:45:00 | 0 | 0.097557 | 3.9393 | 53.1675 | 3.9393 | 357.009 | 2.661 | 181.797 | 26.46 | 968.908 | 81.5022 | 12.9652
2019-04-26 04:00:00 | 0 | 13.3166 | 5.2177 | 72.265 | 2.661 | 18.3408 | 0 | 197.408 | 26.46 | 968.462 | 84.9188 | 15.7068
2019-04-26 04:15:00 | 0 | 10.1704 | 5.729 | 62.6313 | 4.7063 | 9.0729 | 1.5183 | 193.579 | 26.46 | 968.462 | 82.801 | 16.1021
2019-04-26 04:30:00 | 4.4353 | 9.3168 | 7.5187 | 65.0703 | 5.2177 | 9.585 | 2.0297 | 197.701 | 26.46 | 968.462 | 84.0307 | 26.1521
2019-04-26 04:45:00 | 11.074 | 16.0238 | 7.7743 | 78.0942 | 6.7517 | 25.4869 | 8.797 | 203.017 | 26.46 | 968.314 | 80.4099 | 28.3432
2019-04-26 05:00:00 | 4.18 | 24.7553 | 8.03 | 73.6309 | 4.195 | 55.7786 | 4.195 | 202.164 | 26.46 | 968.314 | 78.7361 | 35.6146
2019-04-26 05:15:00 | 11.84 | 32.8525 | 7.263 | 72.2651 | 4.7063 | 12.9752 | 4.195 | 220.797 | 26.46 | 968.314 | 82.1862 | 28.1336
2019-04-26 05:30:00 | 0.62733 | 25.1455 | 7.0073 | 83.7525 | 3.428 | 72.6804 | 0 | 209.651 | 26.46 | 968.611 | 82.2545 | 19.9152
2019-04-26 05:45:00 | 0 | 32.2428 | 5.2177 | 80.4112 | 3.6837 | 23.9748 | 1.007 | 212.139 | 26.46 | 968.611 | 83.7574 | 13.9222
2019-04-26 06:00:00 | 5.2013 | 49.1203 | 6.7517 | 94.6302 | 5.2177 | 48.7544 | 1.2627 | 228.187 | 26.46 | 968.908 | 83.1426 | 9.3516
2019-04-26 06:15:00 | 0 | 48.0465 | 7.0073 | 102.58 | 5.4733 | 35.7544 | 1.654 | 230.306 | 26.46 | 969.205 | 81.9801 | 6.7061
2019-04-26 06:30:00 | 0 | 39.8518 | 4.4507 | 90.7996 | 4.4507 | 23.1696 | 1.2627 | 225.989 | 26.46 | 969.502 | 80.6821 | 5.0028
2019-04-26 06:45:00 | 0 | 35.2182 | 3.428 | 90.0692 | 0 | 357.012 | 0 | 212.139 | 26.46 | 970.097 | 78.3602 | 3.8574
2019-04-26 07:00:00 | 0 | 19.0235 | 4.962 | 70.4836 | 3.1723 | 45.9979 | 0 | 200.527 | 26.46 | 970.245 | 78.1544 | 6.769
2019-04-26 07:15:00 | 0 | 10.1944 | 6.496 | 66.2381 | 2.9167 | 357.001 | 0 | 201.255 | 26.46 | 970.543 | 77.6747 | 8.8011
2019-04-26 07:30:00 | 0 | 21.1681 | 4.7063 | 66.2821 | 3.1723 | 24.6799 | 0.37567 | 213.389 | 26.46 | 970.691 | 77.7387 | 2.2612
2019-04-26 07:45:00 | 0 | 54.5664 | 3.6837 | 103.396 | 3.428 | 48.7148 | 0 | 252.303 | 26.46 | 971.434 | 74.443 | 0.65029
2019-04-26 08:00:00 | 0 | 61.7085 | 4.7063 | 112.194 | 2.9167 | 48.1039 | 0 | 247.102 | 26.46 | 971.782 | 70.4798 | 0.36579
2019-04-26 08:15:00 | 0 | 31.7433 | 2.9167 | 87.9564 | 3.1723 | 35.3028 | 0 | 226.104 | 26.46 | 972.177 | 66.79 | -0.13671
2019-04-26 08:30:00 | 0 | 19.0872 | 4.195 | 87.722 | 2.9167 | 17.6002 | 0.37567 | 206.132 | 26.46 | 972.694 | 66.7124 | 3.063
2019-04-26 08:45:00 | 0 | 13.4052 | 5.4733 | 66.1831 | 4.7063 | 10.8216 | 1.007 | 183.139 | 26.46 | 972.516 | 69.6373 | 7.0091
2019-04-26 09:00:00 | 0 | 6.7756 | 4.4507 | 60.8445 | 5.4733 | 25.2502 | 5.729 | 188.938 | 26.46 | 972.474 | 71.2067 | 9.5733
2019-04-26 09:15:00 | 0 | 0.46308 | 3.9393 | 75.395 | 2.1497 | 10.5534 | 0.63133 | 177.677 | 26.46 | 973.068 | 71.4115 | 4.8292
2019-04-26 09:30:00 | 0 | 38.2409 | 3.1723 | 81.147 | 1.6383 | 13.7462 | 0 | 179.359 | 26.46 | 973.662 | 68.1687 | 3.4658
2019-04-26 09:45:00 | 0 | 31.0969 | 4.4507 | 79.4563 | 3.1723 | 23.7857 | 4.4507 | 200.472 | 26.46 | 973.81 | 67.6506 | 5.2762
2019-04-26 10:00:00 | 0 | 11.6481 | 3.9393 | 85.9296 | 3.9393 | 44.0581 | 1.894 | 225.018 | 26.46 | 974.256 | 66.0746 | 7.1939
2019-04-26 10:15:00 | 0 | 8.4315 | 4.7063 | 62.9259 | 4.4507 | 11.0145 | 5.729 | 183.397 | 26.46 | 974.256 | 63.8904 | 7.3269
2019-04-26 10:30:00 | 0 | 17.3267 | 4.962 | 83.5459 | 2.4053 | 14.7679 | 0 | 192.592 | 26.46 | 974.256 | 60.6848 | 4.2897
2019-04-26 10:45:00 | 0 | 10.6735 | 4.962 | 74.819 | 3.1723 | 12.3793 | 0 | 191.417 | 26.46 | 974.553 | 54.4032 | 1.8253
2019-04-26 11:00:00 | 0 | 11.4042 | 3.428 | 63.2654 | 2.661 | 0.048736 | 0 | 201.06 | 26.46 | 974.701 | 50.7154 | -0.28081
2019-04-26 11:15:00 | 0 | 15.011 | 3.6837 | 62.0733 | 2.661 | 43.8147 | 0 | 188.808 | 26.46 | 974.85 | 48.9419 | -0.26972
2019-04-26 11:30:00 | 0 | 21.9768 | 4.4507 | 70.6846 | 1.3827 | 0.097458 | 0.63133 | 201.348 | 26.46 | 974.561 | 50.8447 | -0.048033
2019-04-26 11:45:00 | 0 | 24.3382 | 3.9393 | 89.1442 | 0.37567 | 0.77965 | 0 | 208.884 | 26.46 | 974.849 | 48.1791 | 0.018474
2019-04-26 12:00:00 | 0 | 347.059 | 0 | 310.935 | 1.6383 | 13.5423 | 0 | 195.998 | 26.46 | 974.552 | 48.6452 | 0.87937
2019-04-26 12:15:00 | 0 | 39.8467 | 2.1497 | 114.251 | 0.37567 | 46.9587 | 0 | 237.132 | 26.46 | 974.552 | 44.5506 | 3.1813
2019-04-26 12:30:00 | 0 | 352.092 | 5.2177 | 54.1157 | 5.4733 | 43.6218 | 0 | 159.801 | 26.46 | 974.552 | 45.9151 | 10.3567
2019-04-26 12:45:00 | 0 | 0.29229 | 1.6383 | 319.353 | 4.195 | 288.372 | 0 | 214.495 | 26.46 | 974.552 | 45.5089 | 18.2008
2019-04-26 13:00:00 | 0 | 69.1899 | 1.127 | 115.164 | 1.6383 | 22.4624 | 0 | 236.293 | 26.46 | 974.403 | 46.3709 | 16.7118
2019-04-26 13:15:00 | 0 | 15.9343 | 1.894 | 58.2586 | 1.127 | 69.3655 | 3.5637 | 214.115 | 26.46 | 973.958 | 46.0672 | 19.5257
2019-04-26 13:30:00 | 0 | 18.7606 | 4.7063 | 72.926 | 2.1497 | 34.3051 | 2.2853 | 187.143 | 26.46 | 973.958 | 44.2928 | 20.7392
2019-04-26 13:45:00 | 0.744 | 15.5932 | 6.496 | 72.3412 | 2.9167 | 333.549 | 5.729 | 191.821 | 26.46 | 974.255 | 44.088 | 23.3281
2019-04-26 14:00:00 | 0 | 322.951 | 3.428 | 14.1102 | 3.428 | 15.3983 | 0.37567 | 155.153 | 26.46 | 974.552 | 44.5658 | 21.2934
2019-04-26 14:15:00 | 1.3933 | 27.5075 | 7.5187 | 76.2639 | 2.9167 | 2.7288 | 2.7967 | 224.299 | 26.46 | 974.552 | 45.18 | 23.8761
2019-04-26 14:30:00 | 0 | 13.1549 | 5.4733 | 64.6783 | 3.1723 | 356.789 | 0.37567 | 197.542 | 26.46 | 974.255 | 47.5275 | 24.4857
2019-04-26 14:45:00 | 0 | 24.8193 | 6.2403 | 11.1277 | 4.195 | 309.474 | 4.962 | 216.53 | 26.46 | 974.7 | 44.8242 | 22.3834
2019-04-26 15:00:00 | 3.2973 | 356.915 | 5.2177 | 119.025 | 4.7063 | 36.7291 | 5.729 | 163.771 | 26.46 | 974.231 | 45.9151 | 23.126
2019-04-26 15:15:00 | 0 | 85.831 | 5.9847 | 61.1547 | 3.9393 | 1.8511 | 0 | 181.478 | 26.46 | 974.373 | 47.1431 | 22.6642
2019-04-26 15:30:00 | 0 | 11.9589 | 7.263 | 70.0203 | 5.9847 | 23.187 | 2.4053 | 203.861 | 26.46 | 973.573 | 47.416 | 20.3919
2019-04-26 15:45:00 | 4.4353 | 348.098 | 7.263 | 48.319 | 9.564 | 21.4578 | 4.7063 | 174.926 | 26.46 | 973.724 | 46.1198 | 22.5792
2019-04-26 16:00:00 | 0 | 0.097425 | 6.2403 | 65.9528 | 4.4507 | 352.774 | 2.541 | 178.214 | 26.46 | 973.163 | 48.5076 | 25.6733
2019-04-26 16:15:00 | 0 | 356.915 | 5.9847 | 43.8374 | 5.2177 | 0.87682 | 5.729 | 174.463 | 26.46 | 972.947 | 47.3819 | 24.5596
2019-04-26 16:30:00 | 0 | 0.43841 | 4.4507 | 59.8394 | 5.9847 | 25.8662 | 4.4507 | 154.661 | 26.46 | 972.754 | 46.6655 | 17.1182
2019-04-26 16:45:00 | 5.712 | 0.97425 | 10.5867 | 60.4483 | 6.2403 | 26.4264 | 3.9393 | 206.223 | 26.46 | 973.067 | 44.8917 | 20.0371
2019-04-26 17:00:00 | 0.372 | 7.453 | 5.9847 | 65.7823 | 6.496 | 11.4474 | 3.1723 | 182.038 | 26.46 | 972.769 | 47.5525 | 26.8615
2019-04-26 17:15:00 | 2.276 | 356.915 | 6.496 | 60.3022 | 6.496 | 18.7299 | 2.9167 | 179.212 | 26.46 | 972.325 | 48.4053 | 26.8578
2019-04-26 17:30:00 | 10.5633 | 18.1697 | 7.5187 | 87.3619 | 2.9167 | 6.43 | 5.4733 | 198.162 | 26.46 | 972.177 | 48.5758 | 23.5251
2019-04-26 17:45:00 | 1.6487 | 16.0757 | 7.7743 | 76.9899 | 4.4507 | 40.3597 | 2.9167 | 202.042 | 26.46 | 972.177 | 48.6459 | 18.9324
2019-04-26 18:00:00 | 0 | 0.24361 | 4.962 | 56.6398 | 4.962 | 356.986 | 3.8193 | 181.465 | 26.46 | 972.325 | 49.1997 | 17.3695
2019-04-26 18:15:00 | 0 | 344.196 | 4.962 | 41.5689 | 4.4507 | 8.9661 | 1.2627 | 165.045 | 26.46 | 971.88 | 52.6189 | 17.484
2019-04-26 18:30:00 | 0 | 4.2638 | 4.962 | 60.3539 | 3.6837 | 7.4311 | 5.4733 | 178.08 | 26.46 | 971.833 | 52.7555 | 15.7659
2019-04-26 18:45:00 | 1.138 | 356.9 | 4.195 | 58.2715 | 3.9393 | 15.4496 | 2.541 | 168.995 | 26.46 | 971.879 | 56.3137 | 19.446
2019-04-26 19:00:00 | 0 | 353.954 | 5.9847 | 42.1929 | 5.2177 | 356.927 | 3.428 | 178.463 | 26.46 | 971.88 | 57.2735 | 17.8202
2019-04-26 19:15:00 | 0 | 356.963 | 4.4507 | 65.8896 | 3.9393 | 356.963 | 4.962 | 182.674 | 26.46 | 972.028 | 59.191 | 14.5503
2019-04-26 19:30:00 | 2.648 | 0.097491 | 5.2177 | 67.8394 | 3.1723 | 356.573 | 5.2177 | 183.941 | 26.46 | 972.474 | 58.8496 | 13.3273
2019-04-26 19:45:00 | 0 | 4.1921 | 2.9167 | 53.2401 | 3.1723 | 356.963 | 0 | 182.576 | 26.46 | 972.474 | 60.4199 | 9.3369
2019-04-26 20:00:00 | 0 | 4.8258 | 4.962 | 64.8172 | 2.4053 | 10.334 | 0 | 191.667 | 26.46 | 972.51 | 60.1468 | 9.4108
2019-04-26 20:15:00 | 0 | 8.3842 | 3.6837 | 67.8394 | 2.9167 | 2.876 | 3.6837 | 193.593 | 26.46 | 973.116 | 61.9218 | 10.6744
2019-04-26 20:30:00 | 0 | 6.8244 | 4.962 | 60.7469 | 3.428 | 12.552 | 0 | 195.518 | 26.46 | 973.125 | 62.5363 | 8.7531
2019-04-26 20:45:00 | 0 | 19.6936 | 4.195 | 72.7646 | 3.1723 | 20.571 | 0 | 206.149 | 26.46 | 973.259 | 62.6741 | 6.769
2019-04-26 21:00:00 | 0 | 22.2292 | 4.7063 | 70.6717 | 3.9393 | 15.9894 | 0 | 205.157 | 26.46 | 973.55 | 57.4874 | 6.3773
2019-04-26 21:15:00 | 0 | 26.5198 | 4.7063 | 78.0843 | 3.6837 | 20.2799 | 1.6383 | 210.355 | 26.46 | 973.681 | 56.8746 | 4.9548
2019-04-26 21:30:00 | 0 | 32.3695 | 4.7063 | 89.1007 | 3.6837 | 27.007 | 0 | 214.667 | 26.46 | 973.723 | 55.9865 | 3.6875
2019-04-26 21:45:00 | 0 | 31.6862 | 4.4507 | 83.0047 | 3.428 | 29.2488 | 0 | 215.808 | 26.46 | 973.573 | 55.7121 | 2.9817
2019-04-26 22:00:00 | 0 | 33.735 | 3.428 | 93.6362 | 2.661 | 35.8312 | 0 | 224.03 | 26.46 | 973.685 | 56.2606 | 2.0654
2019-04-26 22:15:00 | 0 | 39.9756 | 4.195 | 92.6385 | 4.195 | 36.6118 | 1.007 | 228.689 | 26.46 | 973.785 | 54.2812 | 4.3008
2019-04-26 22:30:00 | 0 | 71.5725 | 4.4507 | 114.662 | 2.9167 | 35.8594 | 0.37567 | 235.658 | 26.46 | 973.513 | 55.1739 | 5.9487
2019-04-26 22:45:00 | 0 | 70.9858 | 2.661 | 114.854 | 4.4507 | 69.7426 | 2.0297 | 253.765 | 26.46 | 973.402 | 54.4556 | 5.3354
2019-04-26 23:00:00 | 0 | 97.1419 | 2.661 | 141.814 | 3.9393 | 77.0309 | 0 | 278.189 | 26.46 | 973.523 | 54.2164 | 8.9526
2019-04-26 23:15:00 | 0 | 102.577 | 4.195 | 161.875 | 5.2177 | 91.9248 | 0 | 289.913 | 26.46 | 973.172 | 50.6654 | 14.3138
2019-04-26 23:30:00 | 1.904 | 100.249 | 7.7743 | 162.169 | 6.496 | 97.5923 | 7.7743 | 280.03 | 26.46 | 973.101 | 47.9964 | 21.6555
2019-04-26 23:45:00 | 0 | 107.071 | 6.496 | 157.192 | 5.729 | 94.226 | 1.2627 | 277.486 | 26.46 | 973.402 | 46.493 | 21.77