## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-27 00:00:00 | 2.9033 | 98.1256 | 7.0073 | 145.712 | 7.7743 | 91.5937 | 4.195 | 277.486 | 26.46 | 973.105 | 44.718 | 26.5696
2019-04-27 00:15:00 | 6.9887 | 96.9792 | 7.5187 | 142.859 | 5.9847 | 87.9857 | 5.4733 | 262.763 | 26.46 | 973.172 | 43.1473 | 28.2877
2019-04-27 00:30:00 | 0.88267 | 96.5162 | 8.2857 | 143.444 | 7.7743 | 80.3083 | 2.2853 | 294.959 | 26.46 | 973.137 | 45.9464 | 30.6783
2019-04-27 00:45:00 | 0 | 133.1 | 6.2403 | 175.86 | 7.263 | 121.035 | 5.729 | 295.69 | 26.46 | 973.273 | 48.3359 | 33.3497
2019-04-27 01:00:00 | 1.2547 | 105.78 | 6.2403 | 149.394 | 7.0073 | 120.501 | 2.1497 | 270.811 | 26.46 | 972.813 | 48.4733 | 36.7342
2019-04-27 01:15:00 | 0 | 113.654 | 7.5187 | 158.658 | 5.9847 | 127.084 | 3.9393 | 257.58 | 26.46 | 972.52 | 49.4982 | 38.2712
2019-04-27 01:30:00 | 2.648 | 101.354 | 9.8197 | 149.753 | 7.0073 | 123.878 | 1.007 | 279.907 | 26.46 | 972.364 | 50.4585 | 41.7481
2019-04-27 01:45:00 | 0 | 122.764 | 5.4733 | 173.556 | 3.9393 | 131.102 | 0 | 302.718 | 26.46 | 972.235 | 52.2373 | 44.9737
2019-04-27 02:00:00 | 0 | 104.676 | 4.7063 | 163.366 | 3.9393 | 121.399 | 0 | 311.419 | 26.46 | 972.213 | 53.944 | 31.7868
2019-04-27 02:15:00 | 0 | 108.941 | 5.729 | 148.738 | 5.4733 | 127.541 | 2.4053 | 285.602 | 26.46 | 972.142 | 52.6805 | 29.64
2019-04-27 02:30:00 | 0.372 | 128.467 | 6.496 | 170.483 | 7.5187 | 108.697 | 5.9847 | 307.59 | 26.46 | 972.022 | 51.8611 | 16.734
2019-04-27 02:45:00 | 0 | 125.492 | 5.729 | 177.307 | 5.4733 | 135.414 | 5.2177 | 298.008 | 26.46 | 972.321 | 51.7583 | 15.4925
2019-04-27 03:00:00 | 0 | 136.707 | 5.2177 | 174.481 | 5.4733 | 116.913 | 4.195 | 336.137 | 26.46 | 972.167 | 52.1002 | 15.0971
2019-04-27 03:15:00 | 2.1373 | 135.146 | 7.5187 | 189.106 | 7.0073 | 136.926 | 6.496 | 314.439 | 26.46 | 971.571 | 53.4997 | 22.6198
2019-04-27 03:30:00 | 9.7973 | 130.028 | 7.263 | 181.454 | 7.5187 | 141.412 | 7.5187 | 312.492 | 26.46 | 971.285 | 54.0806 | 24.6557
2019-04-27 03:45:00 | 1.2547 | 129.542 | 5.729 | 177.36 | 6.7517 | 136.075 | 4.4507 | 315.542 | 26.46 | 971.283 | 55.1736 | 18.5001
2019-04-27 04:00:00 | 0 | 126.5 | 6.7517 | 180.147 | 5.9847 | 102.146 | 2.0297 | 304.195 | 26.46 | 971.583 | 55.5515 | 15.1636
2019-04-27 04:15:00 | 0 | 129.997 | 8.03 | 178.701 | 7.0073 | 125.755 | 1.5183 | 313.582 | 26.46 | 971.731 | 56.1366 | 19.6714
2019-04-27 04:30:00 | 10.5633 | 133.799 | 7.263 | 191.377 | 7.0073 | 142.259 | 8.5413 | 318.041 | 26.46 | 972.028 | 54.8387 | 22.9413
2019-04-27 04:45:00 | 5.2013 | 130.068 | 7.5187 | 179.869 | 6.7517 | 127.508 | 5.729 | 324.549 | 26.46 | 971.731 | 54.053 | 18.5333
2019-04-27 05:00:00 | 0.744 | 141.847 | 5.9847 | 203.035 | 6.7517 | 128.657 | 2.541 | 322.85 | 26.46 | 971.583 | 54.1568 | 17.7353
2019-04-27 05:15:00 | 1.138 | 140.477 | 5.4733 | 195.348 | 4.4507 | 150.912 | 2.9167 | 329.422 | 26.46 | 971.583 | 54.9062 | 13.0613
2019-04-27 05:30:00 | 0 | 151.203 | 5.2177 | 197.418 | 5.2177 | 146.424 | 4.7063 | 335.66 | 26.46 | 971.583 | 54.7007 | 11.321
2019-04-27 05:45:00 | 0.99933 | 130.843 | 6.7517 | 194.439 | 5.4733 | 144.032 | 3.6837 | 323.17 | 26.46 | 971.583 | 54.358 | 18.6885
2019-04-27 06:00:00 | 0 | 133.741 | 5.9847 | 188.218 | 7.263 | 149.807 | 3.9393 | 319.847 | 26.46 | 971.434 | 55.0397 | 25.5351
2019-04-27 06:15:00 | 0 | 120.422 | 6.2403 | 166.337 | 5.9847 | 123.835 | 2.9167 | 305.005 | 26.46 | 970.989 | 52.3388 | 28.7755
2019-04-27 06:30:00 | 0 | 117.328 | 5.4733 | 166.876 | 4.4507 | 103.604 | 0 | 301.815 | 26.46 | 971.261 | 53.8418 | 30.6329
2019-04-27 06:45:00 | 0 | 115.45 | 5.9847 | 145.666 | 3.9393 | 109.989 | 0 | 290.184 | 26.46 | 971.474 | 56.1628 | 29.9496
2019-04-27 07:00:00 | 0 | 123.836 | 4.7063 | 184.33 | 5.2177 | 100.58 | 1.1427 | 303.765 | 26.46 | 971.491 | 54.0123 | 36.5457
2019-04-27 07:15:00 | 0 | 99.193 | 6.7517 | 142.941 | 4.7063 | 99.3636 | 1.6383 | 282.952 | 26.46 | 971.238 | 54.3548 | 28.1399
2019-04-27 07:30:00 | 0 | 120.471 | 3.6837 | 189.641 | 3.6837 | 145.237 | 0.37567 | 295.935 | 26.46 | 972.001 | 51.7582 | 20.8648
2019-04-27 07:45:00 | 0 | 127.13 | 6.496 | 189.243 | 7.263 | 139.853 | 0.63133 | 312.122 | 26.46 | 972.497 | 43.148 | 19.3203
2019-04-27 08:00:00 | 0 | 139.802 | 5.4733 | 191.141 | 4.962 | 151.452 | 0.37567 | 325.181 | 26.46 | 972.528 | 51.5447 | 25.0584
2019-04-27 08:15:00 | 0 | 118.037 | 6.7517 | 187.29 | 6.496 | 143.141 | 1.774 | 302.564 | 26.46 | 972.506 | 55.7092 | 28.0587
2019-04-27 08:30:00 | 0 | 106.948 | 8.2857 | 184.658 | 8.2857 | 123.643 | 4.962 | 295.032 | 26.46 | 971.926 | 39.1193 | 38.3303
2019-04-27 08:45:00 | 0 | 102.853 | 4.962 | 176.518 | 5.4733 | 136.488 | 3.0523 | 269.563 | 26.46 | 971.593 | 52.1591 | 30.9443
2019-04-27 09:00:00 | 2.648 | 137.901 | 4.4507 | 207.349 | 5.2177 | 97.6861 | 1.5183 | 303.904 | 26.46 | 972.23 | 46.6974 | 20.0002
2019-04-27 09:15:00 | 0 | 94.3229 | 4.4507 | 162.845 | 3.9393 | 98.1738 | 0.37567 | 304.002 | 26.46 | 972.551 | 47.7899 | 15.4925
2019-04-27 09:30:00 | 0 | 108.313 | 4.4507 | 170.01 | 2.9167 | 89.4968 | 5.9847 | 294.569 | 26.46 | 972.532 | 47.4484 | 10.9589
2019-04-27 09:45:00 | 0 | 98.8072 | 2.1497 | 156.215 | 1.894 | 89.4968 | 0 | 291.693 | 26.46 | 972.773 | 45.6733 | 7.3084
2019-04-27 10:00:00 | 0 | 68.6825 | 3.9393 | 164.453 | 3.428 | 89.4968 | 0 | 278.508 | 26.46 | 973.068 | 41.8502 | 11.0365
2019-04-27 10:15:00 | 0 | 68.6825 | 3.9393 | 164.453 | 3.428 | 89.4968 | 0 | 278.508 | 26.46 | 973.068 | 41.8502 | 11.0365
2019-04-27 10:30:00 | 0 | 68.6825 | 3.9393 | 164.453 | 3.428 | 89.4968 | 0 | 278.508 | 26.46 | 973.068 | 41.8502 | 11.0365
2019-04-27 10:45:00 | 0 | 129.517 | 4.7063 | 180.758 | 4.195 | 89.0581 | 2.1497 | 318.479 | 0 | 973.068 | 43.6252 | 8.79
2019-04-27 11:00:00 | 0 | 129.517 | 4.7063 | 180.758 | 4.195 | 89.0581 | 2.1497 | 318.479 | 0 | 973.068 | 43.6252 | 8.79
2019-04-27 11:15:00 | 0 | 129.517 | 4.7063 | 180.758 | 4.195 | 89.0581 | 2.1497 | 318.479 | 0 | 973.068 | 43.6252 | 8.79
2019-04-27 11:30:00 | 0 | 122.132 | 4.195 | 197.966 | 4.4507 | 89.1068 | 0 | 304.903 | 0 | 972.474 | 43.4204 | 5.5977
2019-04-27 11:45:00 | 0 | 135.756 | 4.7063 | 179.223 | 3.6837 | 89.3506 | 3.1723 | 321.282 | 0 | 971.732 | 38.5732 | 6.4253
2019-04-27 12:00:00 | 0 | 100.952 | 5.2177 | 151.633 | 5.2177 | 89.3262 | 0.37567 | 284.162 | 0 | 971.286 | 33.5211 | 4.4412
2019-04-27 12:15:00 | 0 | 110.652 | 2.661 | 173.374 | 1.894 | 89.3018 | 0 | 283.894 | 0 | 971.286 | 35.3644 | 3.2552
2019-04-27 12:30:00 | 0 | 106.801 | 2.661 | 172.594 | 3.1723 | 89.3018 | 0 | 305.683 | 0 | 971.286 | 35.9789 | 0.12193
2019-04-27 12:45:00 | 0 | 85.1341 | 3.9393 | 126.042 | 3.6837 | 89.3018 | 0 | 289.597 | 0 | 971.286 | 35.774 | 0.018474
2019-04-27 13:00:00 | 0 | 137.194 | 3.1723 | 179.905 | 2.9167 | 89.3506 | 0 | 305.245 | 0 | 970.989 | 36.7981 | 0.12932
2019-04-27 13:15:00 | 0 | 136.682 | 3.1723 | 185.462 | 2.661 | 89.3506 | 0 | 317.918 | 0 | 971.286 | 37.4125 | -0.16627
2019-04-27 13:30:00 | 0 | 155.523 | 3.6837 | 214.32 | 3.6837 | 89.3506 | 0 | 337.855 | 0 | 971.286 | 38.0953 | -0.24016
2019-04-27 13:45:00 | 0 | 124.886 | 2.4053 | 191.702 | 2.1497 | 89.3018 | 0 | 313.409 | 0 | 970.841 | 38.1635 | -0.24016
2019-04-27 14:00:00 | 0 | 162.566 | 0.75133 | 215.148 | 0.37567 | 89.3018 | 0 | 324.207 | 0 | 971.286 | 38.4366 | -0.24016
2019-04-27 14:15:00 | 0 | 210.8 | 0 | 256.923 | 0 | 89.3018 | 0 | 16.3298 | 0 | 970.841 | 40.3482 | -0.24016
2019-04-27 14:30:00 | 0 | 342.34 | 0.75133 | 319.025 | 0 | 89.3018 | 0 | 164.784 | 0 | 970.692 | 40.6213 | -0.24016
2019-04-27 14:45:00 | 0 | 6.9706 | 5.4733 | 66.7671 | 2.1497 | 13.7219 | 5.729 | 155.718 | 0 | 970.692 | 49.36 | 0.077592
2019-04-27 15:00:00 | 0 | 8.8717 | 2.4053 | 37.666 | 2.9167 | 332.688 | 0 | 155.913 | 0 | 970.989 | 53.388 | 9.2075
2019-04-27 15:15:00 | 0 | 338.44 | 3.9393 | 32.0115 | 3.428 | 336.003 | 0 | 146.797 | 0 | 970.698 | 55.914 | 8.7125
2019-04-27 15:30:00 | 0 | 11.7964 | 5.9847 | 67.4495 | 4.7063 | 339.61 | 3.1723 | 178.238 | 0 | 970.132 | 58.2694 | 19.5975
2019-04-27 15:45:00 | 0 | 351.628 | 5.2177 | 76.3351 | 4.4507 | 351.482 | 1.5183 | 180.068 | 0 | 970.007 | 71.217 | 24.87
2019-04-27 16:00:00 | 0 | 7.8746 | 4.195 | 54.2601 | 5.729 | 354.259 | 0.37567 | 174.046 | 0 | 969.946 | 75.7337 | 19.8635
2019-04-27 16:15:00 | 0 | 15.7502 | 4.195 | 66.6991 | 4.195 | 354.233 | 4.4507 | 170.521 | 0 | 969.949 | 75.5335 | 30.4307
2019-04-27 16:30:00 | 1.3933 | 345.334 | 8.5413 | 41.5866 | 5.9847 | 355.72 | 4.195 | 160.476 | 0 | 969.847 | 71.2993 | 43.0455
2019-04-27 16:45:00 | 3.414 | 355.513 | 9.3083 | 49.1716 | 8.2857 | 17.6525 | 4.962 | 176.403 | 0 | 969.201 | 81.3414 | 48.9493
2019-04-27 17:00:00 | 4.6907 | 356.889 | 6.7517 | 56.0703 | 6.2403 | 15.8774 | 4.962 | 161.701 | 0 | 969.502 | 92.7751 | 35.9767
2019-04-27 17:15:00 | 0 | 0.097558 | 7.7743 | 70.6311 | 6.496 | 15.9995 | 1.774 | 182.384 | 0 | 969.502 | 96.5329 | 27.6818
2019-04-27 17:30:00 | 0 | 0.097558 | 4.962 | 70.4603 | 5.2177 | 15.9995 | 4.962 | 177.384 | 0 | 969.502 | 97.6943 | 21.0854
2019-04-27 17:45:00 | 0 | 8.5851 | 4.195 | 61.7777 | 4.4507 | 15.9751 | 0.63133 | 192.628 | 0 | 969.502 | 98.3774 | 14.8902
2019-04-27 18:00:00 | 0 | 9.4143 | 5.2177 | 62.3386 | 3.428 | 15.9995 | 5.729 | 187.359 | 0 | 969.502 | 98.7874 | 11.9048
2019-04-27 18:15:00 | 6.9887 | 10.4387 | 7.263 | 62.2655 | 7.0073 | 15.9263 | 4.7063 | 195.774 | 0 | 969.205 | 99.1289 | 15.2819
2019-04-27 18:30:00 | 0 | 19.4627 | 6.7517 | 76.7528 | 3.6837 | 15.9019 | 1.894 | 200.969 | 0 | 969.205 | 99.2997 | 11.6129
2019-04-27 18:45:00 | 0 | 21.4139 | 5.4733 | 72.2408 | 4.4507 | 15.9019 | 3.6837 | 211.651 | 0 | 969.502 | 99.4705 | 11.5205
2019-04-27 19:00:00 | 0 | 26.7796 | 6.2403 | 74.8504 | 5.4733 | 15.9019 | 2.4053 | 209.383 | 0 | 969.354 | 99.4022 | 16.6785
2019-04-27 19:15:00 | 0 | 26.6576 | 5.729 | 73.6553 | 6.2403 | 15.9019 | 0.887 | 210.285 | 0 | 969.502 | 98.8557 | 12.5366
2019-04-27 19:30:00 | 0 | 31.2184 | 4.7063 | 80.1673 | 4.195 | 15.9019 | 3.428 | 219.505 | 0 | 969.502 | 97.6943 | 9.8172
2019-04-27 19:45:00 | 0 | 25.9016 | 4.4507 | 76.3138 | 3.428 | 15.9019 | 0 | 219.578 | 0 | 969.8 | 96.1913 | 5.158
2019-04-27 20:00:00 | 0 | 24.5845 | 3.6837 | 82.7282 | 3.1723 | 15.9019 | 0 | 212.334 | 0 | 970.097 | 96.2596 | 4.6925
2019-04-27 20:15:00 | 0 | 37.0231 | 3.9393 | 89.8255 | 1.3827 | 15.9019 | 0 | 231.163 | 0 | 970.097 | 97.216 | 4.238
2019-04-27 20:30:00 | 0 | 55.0225 | 3.428 | 115.239 | 3.6837 | 15.9019 | 0 | 238.26 | 0 | 970.097 | 88.5397 | 2.3832
2019-04-27 20:45:00 | 0 | 72.778 | 3.1723 | 126.068 | 2.661 | 15.9019 | 0 | 247.431 | 0 | 970.394 | 86.6268 | 2.3351
2019-04-27 21:00:00 | 0 | 81.7777 | 4.195 | 135.263 | 3.1723 | 15.9019 | 0 | 273.747 | 0 | 970.691 | 79.4535 | 1.5038
2019-04-27 21:15:00 | 0 | 118.411 | 2.4053 | 174.798 | 2.661 | 15.9019 | 0 | 287.576 | 0 | 970.691 | 74.2613 | 0.37687
2019-04-27 21:30:00 | 0 | 132.727 | 1.894 | 192.212 | 2.4053 | 15.9019 | 0 | 316.233 | 0 | 970.988 | 76.7891 | 0.22169
2019-04-27 21:45:00 | 0 | 75.8021 | 0 | 144.238 | 0 | 15.8531 | 0 | 254.039 | 0 | 970.988 | 79.2483 | -0.14779
2019-04-27 22:00:00 | 0 | 77.3876 | 1.127 | 105.801 | 1.127 | 15.9019 | 0 | 268.405 | 0 | 970.691 | 81.7763 | -0.055423
2019-04-27 22:15:00 | 0 | 99.5296 | 2.4053 | 163.353 | 1.3827 | 15.9013 | 0 | 281.931 | 0 | 970.691 | 79.7922 | 0.12932
2019-04-27 22:30:00 | 0 | 77.8017 | 3.6837 | 121.433 | 0 | 15.9017 | 0 | 262.014 | 0 | 970.988 | 76.5153 | 0.99761
2019-04-27 22:45:00 | 0 | 110.77 | 4.195 | 177.055 | 3.9393 | 15.9985 | 1.774 | 279.681 | 0 | 970.988 | 75.9647 | 1.9398
2019-04-27 23:00:00 | 0 | 89.541 | 2.661 | 155.863 | 2.1497 | 15.8989 | 0 | 292.301 | 0 | 970.988 | 74.6571 | 3.196
2019-04-27 23:15:00 | 0 | 102.727 | 4.962 | 146.734 | 3.1723 | 15.898 | 0 | 285.92 | 0 | 970.84 | 71.6817 | 3.2626
2019-04-27 23:30:00 | 0 | 144.742 | 2.661 | 114.452 | 2.1497 | 15.8982 | 0 | 250.519 | 0 | 970.988 | 74.654 | 1.5925
2019-04-27 23:45:00 | 0 | 59.5025 | 0 | 77.155 | 0 | 15.8999 | 0 | 278.906 | 0 | 970.988 | 76.5743 | 0.31406