## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-28 00:00:00 | 0 | 94.5314 | 2.1497 | 153.21 | 0.75133 | 15.9015 | 0 | 261.791 | 0 | 970.691 | 72.2786 | 0.40643
2019-04-28 00:15:00 | 0 | 74.5822 | 1.894 | 138.749 | 1.6383 | 15.9017 | 0 | 285.183 | 0 | 970.394 | 73.3042 | 0.38796
2019-04-28 00:30:00 | 0 | 84.68 | 2.9167 | 117.093 | 1.127 | 15.9018 | 0 | 263.796 | 0 | 970.394 | 73.4073 | 0.092371
2019-04-28 00:45:00 | 0 | 98.4844 | 0 | 141.702 | 0 | 15.9018 | 0 | 271.722 | 0 | 970.097 | 72.5192 | -1.1176e-08
2019-04-28 01:00:00 | 0 | 115.557 | 0 | 143.043 | 0 | 15.9018 | 0 | 299.502 | 0 | 970.097 | 72.9633 | -0.16627
2019-04-28 01:15:00 | 0 | 137.995 | 0 | 163.164 | 0 | 15.9018 | 0 | 308.331 | 0 | 970.097 | 71.3237 | -0.25864
2019-04-28 01:30:00 | 0 | 114.581 | 1.127 | 162.969 | 0 | 15.9018 | 0 | 292.892 | 0 | 969.8 | 72.6217 | -0.24016
2019-04-28 01:45:00 | 0 | 80.8753 | 0 | 137.409 | 0 | 15.9018 | 0 | 261.552 | 0 | 969.8 | 72.1435 | -0.24016
2019-04-28 02:00:00 | 0 | 19.9993 | 1.3827 | 46.1685 | 2.4053 | 15.9018 | 0 | 261.211 | 0 | 969.8 | 78.0188 | -0.24016
2019-04-28 02:15:00 | 0 | 332.525 | 2.9167 | 30.8031 | 2.9167 | 15.9018 | 0 | 147.532 | 0 | 969.8 | 78.2921 | -0.31406
2019-04-28 02:30:00 | 0 | 1.1707 | 2.661 | 64.4361 | 2.4053 | 15.9019 | 0 | 169.116 | 0 | 969.502 | 89.7694 | -0.25125
2019-04-28 02:45:00 | 0 | 0.097558 | 2.1497 | 63.8508 | 2.1497 | 15.9019 | 0 | 167.067 | 0 | 969.502 | 83.2451 | -0.24016
2019-04-28 03:00:00 | 0 | 329.989 | 1.6383 | 38.1931 | 1.127 | 15.9019 | 0 | 164.848 | 0 | 969.354 | 80.4782 | -0.24016
2019-04-28 03:15:00 | 0 | 333.94 | 2.661 | 37.0224 | 2.1497 | 15.9019 | 0 | 155.8 | 0 | 969.502 | 79.5901 | -0.38796
2019-04-28 03:30:00 | 0 | 338.427 | 1.894 | 38.5346 | 1.6383 | 15.9019 | 0 | 148.458 | 0 | 969.502 | 84.2357 | -0.25125
2019-04-28 03:45:00 | 0 | 339.062 | 1.894 | 41.5833 | 1.894 | 15.9019 | 0 | 147.849 | 0 | 969.502 | 84.9189 | -0.19583
2019-04-28 04:00:00 | 26.394 | 331.72 | 1.6383 | 37.9492 | 1.894 | 15.9019 | 2.9167 | 148.873 | 0 | 969.354 | 82.0495 | -0.218
2019-04-28 04:15:00 | 0 | 333.257 | 3.1723 | 33.5591 | 2.661 | 15.9019 | 0 | 143.898 | 0 | 969.502 | 81.503 | -0.096066
2019-04-28 04:30:00 | 0 | 328.891 | 2.661 | 29.7788 | 2.661 | 15.9019 | 0 | 137.849 | 0 | 969.502 | 79.8634 | 0.073897
2019-04-28 04:45:00 | 0 | 351.793 | 2.4053 | 52.8999 | 2.4053 | 15.9019 | 0 | 156.97 | 0 | 969.205 | 83.1426 | 0.24016
2019-04-28 05:00:00 | 0 | 349.744 | 2.661 | 51.7049 | 2.1497 | 15.9019 | 0 | 152.336 | 0 | 969.205 | 84.5773 | 0.31406
2019-04-28 05:15:00 | 0 | 345.622 | 3.9393 | 33.7055 | 2.9167 | 15.9019 | 0 | 142.337 | 0 | 969.502 | 85.2605 | 1.6775
2019-04-28 05:30:00 | 0 | 342.379 | 3.9393 | 44.2905 | 3.428 | 15.9019 | 0.37567 | 153.946 | 0 | 969.502 | 80.7857 | 2.8413
2019-04-28 05:45:00 | 0 | 341.354 | 3.9393 | 39.6565 | 2.4053 | 15.9019 | 0 | 160.165 | 0 | 969.8 | 78.8386 | 2.0876
2019-04-28 06:00:00 | 0 | 343.647 | 4.4507 | 47.0709 | 3.428 | 15.9019 | 0 | 149.605 | 0 | 969.948 | 80.3416 | 1.8105
2019-04-28 06:15:00 | 0 | 355.402 | 2.9167 | 54.534 | 2.661 | 15.9019 | 0 | 164.507 | 0 | 970.097 | 82.4594 | 1.6183
2019-04-28 06:30:00 | 0 | 354.241 | 3.428 | 31.8497 | 2.9167 | 15.9012 | 0 | 154.159 | 0 | 970.245 | 81.6021 | 1.5001
2019-04-28 06:45:00 | 0 | 9.5574 | 2.661 | 65.2611 | 2.1497 | 15.8966 | 0 | 188.126 | 0 | 970.661 | 80.0414 | 1.0161
2019-04-28 07:00:00 | 0 | 82.4325 | 3.1723 | 68.2595 | 3.1723 | 15.8965 | 0 | 174.495 | 0 | 970.405 | 73.075 | 0.45816
2019-04-28 07:15:00 | 0 | 11.263 | 3.428 | 74.7356 | 2.1497 | 15.8949 | 0 | 149.88 | 0 | 970.84 | 72.3849 | 0.16996
2019-04-28 07:30:00 | 0 | 30.7606 | 3.428 | 80.5202 | 1.894 | 15.8921 | 0 | 217.859 | 0 | 971.017 | 69.3341 | -0.0036948
2019-04-28 07:45:00 | 0 | 26.7613 | 2.9167 | 89.5312 | 2.1497 | 15.8911 | 0 | 210.093 | 0 | 971.001 | 73.1866 | -0.19583
2019-04-28 08:00:00 | 0 | 27.2 | 3.428 | 84.4617 | 3.428 | 15.891 | 0 | 208.387 | 0 | 971.286 | 70.7971 | -0.18474
2019-04-28 08:15:00 | 0 | 27.7572 | 3.9393 | 82.6456 | 3.6837 | 15.9135 | 0 | 204.609 | 0 | 971.286 | 70.6519 | -0.20691
2019-04-28 08:30:00 | 0 | 17.204 | 3.6837 | 70.6014 | 1.3827 | 15.8881 | 0 | 207.155 | 0 | 971.583 | 66.006 | -0.22539
2019-04-28 08:45:00 | 0 | 19.5911 | 3.428 | 65.7718 | 0 | 15.9116 | 0 | 197.909 | 0 | 971.88 | 60.5079 | -0.24016
2019-04-28 09:00:00 | 0 | 18.8581 | 2.661 | 52.5574 | 2.661 | 15.8856 | 0 | 218.549 | 0 | 971.591 | 59.4438 | -0.25864
2019-04-28 09:15:00 | 0 | 8.5519 | 3.9393 | 62.3518 | 4.7063 | 15.91 | 4.7063 | 194.891 | 0 | 971.583 | 60.1945 | -0.27711
2019-04-28 09:30:00 | 0 | 8.8173 | 2.9167 | 62.3272 | 1.007 | 15.8809 | 0 | 204.576 | 0 | 972.028 | 60.8588 | -0.040643
2019-04-28 09:45:00 | 0 | 52.2196 | 3.1723 | 15.9253 | 1.3827 | 15.8802 | 0 | 255.131 | 0 | 972.177 | 69.3844 | -0.10346
2019-04-28 10:00:00 | 0 | 310.249 | 2.4053 | 6.1657 | 1.6383 | 15.8802 | 0 | 163.99 | 0 | 972.177 | 65.3591 | -0.16996
2019-04-28 10:15:00 | 0 | 300.165 | 2.661 | 1.8303 | 2.4053 | 15.8802 | 0 | 140.876 | 0 | 972.085 | 63.9946 | -0.22169
2019-04-28 10:30:00 | 0 | 296.658 | 3.6837 | 335.453 | 3.1723 | 15.8802 | 0 | 130.549 | 0 | 971.783 | 64.3357 | -0.24016
2019-04-28 10:45:00 | 0 | 314.779 | 3.6837 | 335.137 | 3.1723 | 270.67 | 0 | 165.037 | 0 | 971.733 | 65.4955 | -0.24016
2019-04-28 11:00:00 | 0 | 289.716 | 5.2177 | 336.915 | 5.4733 | 286.794 | 0 | 110.09 | 0 | 971.387 | 65.2567 | -0.073897
2019-04-28 11:15:00 | 0 | 275.906 | 3.1723 | 280.798 | 1.3827 | 216.234 | 0 | 100.152 | 0 | 971.284 | 63.517 | -0.25125
2019-04-28 11:30:00 | 0 | 300.02 | 3.9393 | 17.467 | 2.661 | 300.629 | 0 | 130.16 | 0 | 971.286 | 63.3125 | -0.25864
2019-04-28 11:45:00 | 0 | 269.72 | 3.1723 | 309.636 | 4.195 | 264.167 | 0 | 117.713 | 0 | 970.989 | 65.0179 | -0.23278
2019-04-28 12:00:00 | 0 | 308.714 | 3.428 | 336.817 | 2.661 | 332.364 | 0 | 156.902 | 0 | 970.989 | 64.1992 | -0.25125
2019-04-28 12:15:00 | 0 | 89.8254 | 0 | 282.065 | 2.661 | 82.8352 | 0 | 253.645 | 0 | 970.97 | 62.6983 | -0.24016
2019-04-28 12:30:00 | 0 | 299.605 | 4.7063 | 6.9938 | 4.4507 | 278.707 | 0 | 119.783 | 0 | 970.989 | 63.9263 | -0.24016
2019-04-28 12:45:00 | 0 | 292.712 | 1.6383 | 11.5656 | 2.661 | 297.462 | 0 | 114.961 | 0 | 970.989 | 64.0628 | -0.26233
2019-04-28 13:00:00 | 0 | 295.05 | 1.894 | 323.324 | 2.1497 | 277.319 | 0 | 99.1295 | 0 | 970.989 | 62.8347 | -0.16627
2019-04-28 13:15:00 | 0 | 298.972 | 3.1723 | 199.766 | 1.007 | 287.208 | 0 | 70.6328 | 0 | 970.841 | 61.675 | -0.24016
2019-04-28 13:30:00 | 0 | 68.2953 | 0 | 4.0641 | 1.127 | 65.4213 | 0 | 163.651 | 0 | 970.544 | 61.3003 | -0.24016
2019-04-28 13:45:00 | 0 | 174.707 | 4.4507 | 210.068 | 2.9167 | 162.991 | 0.37567 | 30.7131 | 0 | 970.989 | 54.6478 | -0.26972
2019-04-28 14:00:00 | 0 | 228.509 | 3.9393 | 243.192 | 2.661 | 167.789 | 0.37567 | 49.5404 | 0 | 970.841 | 56.0123 | -0.26233
2019-04-28 14:15:00 | 0 | 196.286 | 4.962 | 236.714 | 4.962 | 195.969 | 0 | 11.9102 | 0 | 969.94 | 55.0572 | -0.27342
2019-04-28 14:30:00 | 0 | 135.03 | 1.3827 | 203.492 | 0 | 169.421 | 0 | 345.882 | 0 | 969.802 | 54.9889 | -0.25125
2019-04-28 14:45:00 | 0 | 211.338 | 3.6837 | 243.241 | 4.4507 | 199.964 | 0 | 337.527 | 0 | 969.505 | 54.6478 | -0.26233
2019-04-28 15:00:00 | 0 | 176.485 | 5.2177 | 223.537 | 3.9393 | 176.144 | 0 | 356.769 | 14 | 969.06 | 57.1039 | -0.12562
2019-04-28 15:15:00 | 0 | 178.482 | 2.9167 | 264.14 | 3.9393 | 188.298 | 0.37567 | 6.43 | 13.66 | 968.614 | 57.5817 | -0.1441
2019-04-28 15:30:00 | 0 | 209.183 | 2.4053 | 240.316 | 2.4053 | 180.901 | 1.3827 | 27.8684 | 13.59 | 968.317 | 57.9329 | -0.25125
2019-04-28 15:45:00 | 0 | 202.663 | 1.6383 | 263.212 | 0.75133 | 226.248 | 0 | 26.1918 | 13.63 | 968.021 | 57.3963 | -0.24016
2019-04-28 16:00:00 | 0 | 191.87 | 3.428 | 247.741 | 3.428 | 207.049 | 0 | 87.3465 | 13.57 | 967.872 | 58.3859 | -0.25864
2019-04-28 16:15:00 | 0 | 152.838 | 3.9393 | 199.621 | 3.428 | 156.858 | 0 | 324.291 | 13.52 | 967.872 | 59.8533 | -0.25864
2019-04-28 16:30:00 | 0 | 180.175 | 3.9393 | 226.714 | 3.6837 | 182.051 | 0 | 0.17055 | 13.43 | 967.823 | 59.3073 | -0.24016
2019-04-28 16:45:00 | 0 | 190.198 | 3.9393 | 232.622 | 5.2177 | 180.841 | 0 | 356.371 | 13.44 | 967.842 | 58.7641 | -0.25125
2019-04-28 17:00:00 | 0 | 173.38 | 3.9393 | 218.199 | 4.195 | 170.87 | 0 | 0.29242 | 13.43 | 967.87 | 58.7021 | -0.18474
2019-04-28 17:15:00 | 0 | 216.44 | 2.9167 | 257.386 | 2.661 | 209.227 | 0 | 49.9065 | 13.57 | 968.316 | 58.02 | -0.12932
2019-04-28 17:30:00 | 0 | 257.913 | 4.4507 | 299.126 | 4.7063 | 246.948 | 0 | 80.269 | 13.42 | 968.613 | 65.1867 | 0.97913
2019-04-28 17:45:00 | 0 | 266.885 | 5.2177 | 310.706 | 3.428 | 264.18 | 0 | 87.4831 | 12.87 | 968.316 | 67.645 | 1.1528
2019-04-28 18:00:00 | 0 | 266.027 | 3.1723 | 322.86 | 2.661 | 261.178 | 0 | 95.9863 | 12.63 | 968.019 | 68.3265 | 1.1158
2019-04-28 18:15:00 | 0 | 270.464 | 2.4053 | 312.774 | 1.894 | 265.274 | 0 | 88.7738 | 12.44 | 967.871 | 69.692 | 0.29189
2019-04-28 18:30:00 | 0 | 247.557 | 2.661 | 279.71 | 2.661 | 248.313 | 0 | 83.835 | 12.29 | 967.722 | 69.2891 | 0.099761
2019-04-28 18:45:00 | 0 | 230.127 | 3.6837 | 267.549 | 3.9393 | 218.428 | 0 | 48.9404 | 12.17 | 967.871 | 69.6022 | 0.58009
2019-04-28 19:00:00 | 0 | 227.008 | 1.6383 | 259.872 | 1.3827 | 234.027 | 0 | 51.8409 | 12.16 | 967.722 | 71.0019 | 0.38057
2019-04-28 19:15:00 | 0 | 224.376 | 1.894 | 268.72 | 1.127 | 199.32 | 0 | 42.6036 | 12.14 | 967.722 | 67.8614 | -0.17366
2019-04-28 19:30:00 | 0 | 224.181 | 2.661 | 271.839 | 1.894 | 223.888 | 0 | 53.8151 | 12.1 | 967.871 | 66.9056 | -0.16257
2019-04-28 19:45:00 | 0 | 240.949 | 2.4053 | 281.32 | 2.1497 | 230.128 | 0 | 65.8064 | 12.15 | 968.168 | 66.2229 | -0.11454
2019-04-28 20:00:00 | 0 | 242.46 | 2.661 | 281.418 | 1.3827 | 225.643 | 0 | 69.9011 | 12.1 | 968.316 | 66.0181 | -0.10715
2019-04-28 20:15:00 | 0 | 240.267 | 2.9167 | 282.953 | 2.661 | 239.292 | 0 | 68 | 12.17 | 968.613 | 65.4036 | -0.13671
2019-04-28 20:30:00 | 0 | 244.678 | 2.4053 | 284.123 | 0 | 237.147 | 0 | 68.2925 | 12.15 | 968.316 | 66.3594 | -0.19583
2019-04-28 20:45:00 | 0 | 229.25 | 2.4053 | 265.917 | 1.6383 | 204.097 | 0 | 58.324 | 12.06 | 968.316 | 66.5643 | -0.24016
2019-04-28 21:00:00 | 0 | 226.91 | 2.4053 | 268.525 | 1.3827 | 216.284 | 0 | 55.2774 | 12.07 | 968.613 | 66.7691 | -0.24016
2019-04-28 21:15:00 | 0 | 212.092 | 2.4053 | 241.227 | 0.37567 | 184.404 | 0 | 41.653 | 12.01 | 968.465 | 67.3835 | -0.24016
2019-04-28 21:30:00 | 3.414 | 207.388 | 2.9167 | 245.322 | 2.1497 | 192.301 | 0 | 38.9233 | 11.96 | 968.316 | 67.6566 | -0.24016
2019-04-28 21:45:00 | 0 | 226.52 | 2.4053 | 265.405 | 1.894 | 232.321 | 0 | 57.3978 | 12.01 | 968.316 | 65.3354 | -0.24016
2019-04-28 22:00:00 | 3.6693 | 231.785 | 1.894 | 278.859 | 1.3827 | 231.785 | 0 | 62.3943 | 12.16 | 968.019 | 64.3796 | -0.24016
2019-04-28 22:15:00 | 0 | 231.785 | 1.127 | 278.859 | 0 | 231.639 | 0 | 62.1993 | 12.09 | 968.019 | 64.994 | -0.22169
2019-04-28 22:30:00 | 0 | 231.785 | 0 | 278.761 | 0 | 229.543 | 0 | 62.1993 | 11.91 | 967.871 | 66.496 | -0.24016
2019-04-28 22:45:00 | 0 | 231.785 | 0 | 278.761 | 0 | 229.543 | 0 | 62.2237 | 11.89 | 967.732 | 66.6325 | -0.22169
2019-04-28 23:00:00 | 0 | 231.736 | 0.37567 | 278.761 | 0 | 229.445 | 0 | 60.8344 | 11.9 | 967.724 | 66.7691 | -0.24016
2019-04-28 23:15:00 | 0 | 231.736 | 0.37567 | 278.737 | 0 | 229.494 | 0 | 60.8344 | 11.93 | 967.723 | 65.0623 | -0.20691
2019-04-28 23:30:00 | 0 | 231.736 | 1.127 | 278.761 | 0 | 227.154 | 0 | 61.9068 | 12.02 | 967.759 | 65.2671 | -0.22169
2019-04-28 23:45:00 | 0 | 231.761 | 0.37567 | 278.761 | 0 | 227.154 | 0 | 61.9068 | 11.99 | 967.429 | 65.4036 | -0.22169