## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-29 00:00:00 | 0 | 231.785 | 1.3827 | 278.761 | 0.37567 | 227.154 | 0 | 60.81 | 11.95 | 967.725 | 66.0864 | -0.22169
2019-04-29 00:15:00 | 0 | 218.039 | 2.4053 | 277.689 | 1.3827 | 202.416 | 0 | 34.6337 | 11.89 | 967.578 | 65.1988 | -0.24016
2019-04-29 00:30:00 | 0 | 196.786 | 2.1497 | 276.129 | 1.127 | 194.933 | 0 | 6.0444 | 11.75 | 967.592 | 65.3012 | -0.24016
2019-04-29 00:45:00 | 1.51 | 163.151 | 1.894 | 197.405 | 1.6383 | 145.262 | 0 | 349.359 | 11.77 | 967.146 | 66.4277 | -0.24016
2019-04-29 01:00:00 | 0 | 163.346 | 2.661 | 199.428 | 1.3827 | 140.387 | 0 | 349.773 | 11.68 | 967.129 | 67.1446 | -0.24016
2019-04-29 01:15:00 | 0 | 156.132 | 3.428 | 195.675 | 2.4053 | 147.748 | 0 | 345.703 | 11.5 | 966.839 | 68.8855 | -0.24016
2019-04-29 01:30:00 | 0 | 155.352 | 3.1723 | 198.039 | 2.9167 | 154.085 | 0 | 342.632 | 11.5 | 966.54 | 69.4658 | -0.25864
2019-04-29 01:45:00 | 0 | 148.625 | 3.9393 | 199.55 | 3.1723 | 151.794 | 0 | 337.319 | 11.3 | 966.553 | 72.5721 | -0.048033
2019-04-29 02:00:00 | 0 | 149.697 | 3.9393 | 195.26 | 3.9393 | 142.629 | 0.37567 | 337.977 | 10.88 | 966.261 | 73.9034 | 0.7907
2019-04-29 02:15:00 | 0 | 143.166 | 4.962 | 187.315 | 3.6837 | 134.196 | 2.1497 | 332.688 | 10.79 | 965.954 | 75.9174 | 1.6664
2019-04-29 02:30:00 | 0 | 137.219 | 4.7063 | 192.116 | 4.7063 | 140.68 | 0.37567 | 326.059 | 10.96 | 965.657 | 73.6644 | 3.3845
2019-04-29 02:45:00 | 0 | 147.041 | 3.6837 | 203.986 | 3.428 | 163.468 | 0 | 324.158 | 10.76 | 965.358 | 75.9857 | 3.9646
2019-04-29 03:00:00 | 0 | 139.12 | 4.4507 | 190.069 | 3.6837 | 146.773 | 3.9393 | 320.014 | 10.86 | 965.401 | 73.1865 | 2.531
2019-04-29 03:15:00 | 0 | 145.994 | 2.1497 | 195.019 | 2.1497 | 164.518 | 0 | 324.795 | 10.79 | 965.529 | 73.1873 | 0.21061
2019-04-29 03:30:00 | 0 | 158.865 | 3.428 | 206.622 | 2.9167 | 164.422 | 0 | 338.569 | 10.84 | 965.654 | 74.4851 | 0.092371
2019-04-29 03:45:00 | 0 | 169.147 | 4.195 | 215.003 | 2.9167 | 164.029 | 0 | 348.921 | 10.76 | 965.677 | 75.3714 | 0.49141
2019-04-29 04:00:00 | 0 | 142.788 | 5.729 | 193.646 | 5.729 | 145.616 | 3.308 | 323.066 | 10.74 | 965.255 | 74.7635 | 2.8376
2019-04-29 04:15:00 | 0 | 153.246 | 4.195 | 204.08 | 3.9393 | 155.66 | 2.7967 | 333.208 | 10.79 | 965.66 | 75.993 | 2.2797
2019-04-29 04:30:00 | 0 | 157.902 | 4.962 | 204.811 | 4.962 | 151.272 | 5.2177 | 339.228 | 10.62 | 965.428 | 76.0954 | 3.8168
2019-04-29 04:45:00 | 0 | 159.768 | 5.9847 | 204.27 | 5.4733 | 150.553 | 6.2403 | 342.547 | 10.6 | 965.322 | 77.6381 | 6.6138
2019-04-29 05:00:00 | 0 | 154.209 | 5.4733 | 198.808 | 5.729 | 146.676 | 4.7063 | 339.157 | 10.3 | 965.241 | 78.8666 | 5.5755
2019-04-29 05:15:00 | 0 | 156.524 | 4.195 | 203.147 | 3.428 | 165.52 | 0 | 342.423 | 10.14 | 965.62 | 80.7786 | 2.4829
2019-04-29 05:30:00 | 0 | 162.277 | 4.962 | 204.707 | 4.4507 | 158.791 | 5.4733 | 350.808 | 10.05 | 965.641 | 80.5053 | 1.8585
2019-04-29 05:45:00 | 0 | 168.348 | 4.195 | 213.386 | 4.195 | 168.64 | 0.37567 | 356.782 | 10.03 | 965.64 | 81.8031 | 3.0815
2019-04-29 06:00:00 | 0 | 171.565 | 4.4507 | 213.823 | 3.6837 | 158.353 | 0.63133 | 355.245 | 10.11 | 965.938 | 80.0956 | 2.7822
2019-04-29 06:15:00 | 1.2547 | 171.569 | 3.6837 | 217.388 | 3.428 | 167.985 | 0 | 73.9126 | 10.33 | 966.254 | 79.961 | 2.5162
2019-04-29 06:30:00 | 0 | 159.277 | 4.195 | 197.651 | 4.4507 | 147.968 | 5.729 | 346.827 | 10.35 | 966.152 | 80.3557 | 3.4953
2019-04-29 06:45:00 | 0 | 163.224 | 4.7063 | 203.011 | 4.962 | 148.625 | 1.6383 | 347.994 | 10.35 | 966.548 | 81.1743 | 2.797
2019-04-29 07:00:00 | 0 | 156.327 | 5.4733 | 196.04 | 4.962 | 156.108 | 5.729 | 337.465 | 10.45 | 966.535 | 81.2426 | 4.6075
2019-04-29 07:15:00 | 0 | 156.895 | 4.962 | 202.427 | 4.7063 | 155.896 | 2.7967 | 343.254 | 10.59 | 966.683 | 81.507 | 3.1554
2019-04-29 07:30:00 | 0 | 149.397 | 4.4507 | 205.545 | 4.4507 | 146.083 | 5.9847 | 79.8765 | 10.88 | 967.129 | 79.9962 | 0.32884
2019-04-29 07:45:00 | 0 | 180.207 | 2.9167 | 211.618 | 2.9167 | 158.034 | 1.774 | 1.9005 | 11.31 | 967.508 | 77.4643 | -0.10346
2019-04-29 08:00:00 | 0 | 147.454 | 3.6837 | 209.537 | 3.1723 | 173.28 | 0 | 334.524 | 12.01 | 967.577 | 72.7862 | -0.2882
2019-04-29 08:15:00 | 0 | 222.846 | 2.1497 | 235.12 | 2.4053 | 244.11 | 0 | 21.873 | 12.75 | 967.872 | 71.6395 | -0.24016
2019-04-29 08:30:00 | 0 | 122.926 | 1.127 | 182.059 | 1.127 | 155.392 | 0 | 325.301 | 13.08 | 968.021 | 69.8619 | -0.24016
2019-04-29 08:45:00 | 0 | 184.614 | 3.1723 | 225.966 | 2.4053 | 178.674 | 0 | 10.0102 | 13.49 | 968.207 | 68.2918 | -0.24016
2019-04-29 09:00:00 | 0 | 189.167 | 3.428 | 226.784 | 3.428 | 180.79 | 0 | 0.19482 | 13.43 | 967.725 | 68.9636 | -0.24016
2019-04-29 09:15:00 | 0 | 208.651 | 3.6837 | 257.642 | 4.4507 | 203.051 | 0 | 30.0753 | 13.35 | 967.725 | 68.4186 | -0.25864
2019-04-29 09:30:00 | 0 | 200.496 | 5.4733 | 244.551 | 5.2177 | 194.675 | 3.308 | 26.7425 | 13.65 | 967.429 | 63.9933 | -0.022169
2019-04-29 09:45:00 | 0 | 179.651 | 4.962 | 236.348 | 4.962 | 213.555 | 0 | 356.184 | 13.63 | 967.448 | 64.745 | 0.23278
2019-04-29 10:00:00 | 0 | 149.668 | 5.2177 | 205.635 | 5.4733 | 172.807 | 0 | 326.055 | 14.07 | 967.167 | 61.6749 | 1.1158
2019-04-29 10:15:00 | 0 | 151.075 | 4.7063 | 200.999 | 4.195 | 149.104 | 5.729 | 327.922 | 14.12 | 968.025 | 61.9454 | 1.8253
2019-04-29 10:30:00 | 0 | 189.556 | 5.729 | 245.486 | 5.2177 | 187.291 | 0.75133 | 7.8901 | 14.74 | 968.022 | 62.4149 | 1.1417
2019-04-29 10:45:00 | 0 | 198.128 | 5.9847 | 227.928 | 5.729 | 194.743 | 4.4507 | 17.5334 | 14.88 | 967.725 | 63.6426 | 1.6848
2019-04-29 11:00:00 | 0 | 176.047 | 7.263 | 230.688 | 7.5187 | 194.36 | 4.195 | 338.821 | 14.73 | 968.022 | 62.8263 | 3.4399
2019-04-29 11:15:00 | 0 | 201.328 | 4.195 | 233.011 | 4.7063 | 185.496 | 5.4733 | 5.675 | 14.76 | 967.429 | 64.0627 | 4.0459
2019-04-29 11:30:00 | 0 | 195.799 | 5.2177 | 243.314 | 5.729 | 217.135 | 2.9167 | 16.5378 | 15.1 | 967.314 | 63.7899 | 3.5175
2019-04-29 11:45:00 | 0 | 195.58 | 5.729 | 235.179 | 6.2403 | 194.289 | 0.37567 | 6.0403 | 15.16 | 966.993 | 62.63 | 3.8168
2019-04-29 12:00:00 | 0 | 172.198 | 4.4507 | 242.535 | 4.7063 | 200.354 | 5.9847 | 352.799 | 15.52 | 966.578 | 63.3805 | 3.8205
2019-04-29 12:15:00 | 0 | 182.768 | 4.7063 | 222.149 | 4.962 | 173.148 | 2.2853 | 342.837 | 16.06 | 966.589 | 62.2207 | 1.1084
2019-04-29 12:30:00 | 0 | 187.177 | 5.4733 | 252.155 | 5.2177 | 225.879 | 2.1497 | 14.0291 | 16.17 | 966.728 | 61.8796 | 0.77222
2019-04-29 12:45:00 | 0 | 211.777 | 5.9847 | 226.387 | 4.962 | 190.538 | 0 | 22.1884 | 16.4 | 966.335 | 60.4128 | 2.1873
2019-04-29 13:00:00 | 0 | 191.683 | 4.4507 | 233.888 | 4.4507 | 193.826 | 2.661 | 3.7996 | 16.5 | 966.461 | 61.2656 | 3.148
2019-04-29 13:15:00 | 0 | 189.515 | 6.7517 | 238.516 | 7.263 | 176.411 | 3.428 | 5.6506 | 16.3 | 966.398 | 61.1632 | 3.7909
2019-04-29 13:30:00 | 0 | 146.843 | 4.4507 | 178.356 | 4.195 | 134.762 | 2.1653 | 336.431 | 16.7 | 966.022 | 63.1076 | 5.5053
2019-04-29 13:45:00 | 0 | 167.887 | 5.4733 | 226.338 | 6.7517 | 196.554 | 0.37567 | 348.877 | 16.71 | 966.276 | 61.7431 | 6.4586
2019-04-29 14:00:00 | 0 | 181.255 | 4.962 | 210.94 | 4.195 | 178.868 | 0 | 342.976 | 16.93 | 966.242 | 59.32 | 4.9622
2019-04-29 14:15:00 | 0 | 170.489 | 4.4507 | 231.801 | 4.4507 | 211.255 | 5.729 | 332.188 | 17.12 | 966.242 | 58.4247 | 8.1767
2019-04-29 14:30:00 | 0 | 156.169 | 6.2403 | 190.133 | 5.729 | 152.103 | 4.7063 | 333.038 | 17.23 | 965.945 | 55.0478 | 6.998
2019-04-29 14:45:00 | 0 | 150.858 | 5.729 | 207.784 | 5.2177 | 201.899 | 5.4733 | 329.599 | 17.46 | 966.064 | 55.5242 | 8.4723
2019-04-29 15:00:00 | 0 | 152.863 | 4.4507 | 189.255 | 4.962 | 143.513 | 2.0297 | 328.346 | 17.48 | 965.881 | 57.4623 | 8.5684
2019-04-29 15:15:00 | 0 | 190.449 | 6.7517 | 241.374 | 7.5187 | 184.581 | 2.0297 | 10.3235 | 17.6 | 965.466 | 58.3122 | 9.8468
2019-04-29 15:30:00 | 0 | 172.139 | 5.2177 | 225.037 | 7.263 | 206.981 | 0 | 339.799 | 17.31 | 965.466 | 61.5858 | 11.7939
2019-04-29 15:45:00 | 0 | 190.255 | 5.9847 | 210.965 | 8.03 | 182.804 | 1.894 | 13.8053 | 17.55 | 965.197 | 59.2671 | 11.3321
2019-04-29 16:00:00 | 0 | 173.169 | 6.2403 | 216.622 | 7.0073 | 158.974 | 1.007 | 356.808 | 17.39 | 965.164 | 61.4518 | 10.8665
2019-04-29 16:15:00 | 3.2973 | 183.167 | 8.2857 | 231.618 | 4.962 | 215.627 | 0 | 13.4417 | 17.07 | 964.904 | 63.2987 | 14.0958
2019-04-29 16:30:00 | 0 | 186.439 | 5.729 | 244.024 | 5.729 | 187.461 | 5.4733 | 13.3205 | 17.02 | 964.757 | 63.9495 | 14.7313
2019-04-29 16:45:00 | 0 | 159.578 | 5.2177 | 223.325 | 5.4733 | 194.938 | 2.541 | 3.1414 | 16.84 | 964.609 | 64.6998 | 11.8272
2019-04-29 17:00:00 | 0 | 164.671 | 5.9847 | 202.63 | 5.729 | 169.2 | 5.9847 | 344.221 | 16.93 | 964.461 | 64.5986 | 10.7816
2019-04-29 17:15:00 | 0 | 203.451 | 6.496 | 246.211 | 7.7743 | 190.544 | 0.75133 | 8.5725 | 16.95 | 964.164 | 64.8069 | 7.8257
2019-04-29 17:30:00 | 0 | 183.645 | 5.729 | 228.407 | 5.2177 | 184.862 | 1.007 | 5.2609 | 16.74 | 964.164 | 65.6999 | 4.589
2019-04-29 17:45:00 | 0 | 203.69 | 5.2177 | 215.865 | 4.4507 | 160.775 | 5.9847 | 0.24356 | 16.74 | 963.828 | 66.0072 | 3.8907
2019-04-29 18:00:00 | 0 | 154.467 | 4.7063 | 202.615 | 4.7063 | 163.771 | 3.9393 | 341.497 | 16.54 | 963.908 | 67.5763 | 4.8513
2019-04-29 18:15:00 | 0 | 151.739 | 5.4733 | 196.964 | 4.962 | 153.444 | 0.63133 | 334.093 | 16.29 | 963.714 | 67.8151 | 7.3971
2019-04-29 18:30:00 | 0 | 140.778 | 5.729 | 190.266 | 4.7063 | 143.141 | 3.428 | 331.998 | 16.14 | 963.419 | 68.088 | 7.2789
2019-04-29 18:45:00 | 0 | 131.748 | 4.195 | 186.305 | 3.6837 | 151.77 | 0.63133 | 349.794 | 15.99 | 963.419 | 68.5686 | 8.5129
2019-04-29 19:00:00 | 0 | 168.298 | 7.0073 | 208.133 | 5.729 | 157.286 | 3.8193 | 351.043 | 15.87 | 963.271 | 68.4819 | 15.9433
2019-04-29 19:15:00 | 0 | 150.597 | 5.2177 | 192.555 | 4.4507 | 168.943 | 2.4053 | 344.635 | 15.87 | 963.716 | 68.1454 | 18.5777
2019-04-29 19:30:00 | 0 | 167.384 | 7.0073 | 220.94 | 7.263 | 159.709 | 3.1723 | 343.977 | 15.66 | 964.013 | 69.2032 | 31.9641
2019-04-29 19:45:00 | 6.7333 | 161.439 | 10.0753 | 207.369 | 10.0753 | 155.786 | 1.894 | 344.44 | 15.69 | 963.568 | 70.7729 | 41.9217
2019-04-29 20:00:00 | 4.18 | 150.377 | 8.797 | 207.515 | 8.5413 | 166.019 | 5.9847 | 334.183 | 15.69 | 963.864 | 70.4317 | 44.2642
2019-04-29 20:15:00 | 4.946 | 146.065 | 7.0073 | 203.787 | 7.5187 | 159.027 | 3.428 | 341.078 | 15.52 | 963.888 | 72.0696 | 51.5653
2019-04-29 20:30:00 | 2.3927 | 153.398 | 11.098 | 204.616 | 9.8197 | 157.321 | 5.4733 | 337.204 | 15.52 | 963.888 | 71.4554 | 53.4238
2019-04-29 20:45:00 | 4.18 | 150.621 | 10.5867 | 201.375 | 9.0527 | 148.672 | 2.1497 | 334.548 | 15.22 | 963.937 | 72.8203 | 42.0141
2019-04-29 21:00:00 | 0 | 180.053 | 9.3083 | 225.618 | 8.797 | 172.086 | 4.7063 | 354.99 | 15.16 | 964.619 | 72.0014 | 39.7602
2019-04-29 21:15:00 | 0 | 161.683 | 8.5413 | 211.877 | 8.2857 | 171.233 | 4.962 | 337.862 | 15.49 | 964.694 | 70.227 | 41.434
2019-04-29 21:30:00 | 5.9673 | 167.701 | 9.0527 | 220.843 | 8.797 | 184.293 | 6.2403 | 350.434 | 15.43 | 964.89 | 70.9777 | 48.0108
2019-04-29 21:45:00 | 5.712 | 175.57 | 9.8197 | 228.274 | 11.865 | 181.296 | 5.9847 | 344.757 | 15.37 | 964.854 | 71.8649 | 41.955
2019-04-29 22:00:00 | 0.372 | 180.443 | 10.5867 | 228.371 | 11.3537 | 171.477 | 3.6837 | 0.43856 | 15.15 | 965.039 | 73.3663 | 43.189
2019-04-29 22:15:00 | 3.414 | 203.203 | 12.1207 | 233.444 | 15.7 | 194.481 | 7.0073 | 81.0134 | 14.92 | 964.14 | 74.7327 | 49.8139
2019-04-29 22:30:00 | 2.5313 | 148.629 | 9.3083 | 213.932 | 8.2857 | 182.96 | 2.4053 | 356.222 | 14.67 | 965.013 | 76.0309 | 48.2362
2019-04-29 22:45:00 | 3.1587 | 174.719 | 11.3537 | 224.924 | 12.1207 | 180.495 | 4.962 | 355.677 | 14.41 | 964.898 | 77.8142 | 45.1953
2019-04-29 23:00:00 | 6.478 | 171.992 | 11.865 | 218.42 | 12.1207 | 179.522 | 4.4507 | 0.19495 | 14.4 | 964.753 | 78.088 | 45.72
2019-04-29 23:15:00 | 5.2013 | 180.06 | 12.1207 | 227.536 | 12.8877 | 172.432 | 2.9167 | 1.0235 | 14.33 | 964.604 | 79.2491 | 40.7468
2019-04-29 23:30:00 | 5.4567 | 174.356 | 11.865 | 220.712 | 11.6093 | 189.099 | 2.7967 | 356.803 | 14.45 | 964.604 | 79.1121 | 40.8059
2019-04-29 23:45:00 | 3.414 | 175.503 | 9.0527 | 217.448 | 10.5867 | 167.753 | 5.2177 | 15.9371 | 14.47 | 964.604 | 78.3618 | 42.402