## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-04-30 00:00:00 | 5.4567 | 177.598 | 8.5413 | 212.866 | 8.2857 | 173.309 | 3.428 | 11.4532 | 14.35 | 964.753 | 79.0442 | 40.95
2019-04-30 00:15:00 | 9.7973 | 174.528 | 8.5413 | 209.576 | 8.5413 | 154.935 | 4.7063 | 70.9368 | 13.84 | 964.456 | 83.0714 | 36.664
2019-04-30 00:30:00 | 9.2867 | 175.745 | 6.2403 | 212.109 | 5.729 | 166.339 | 5.4733 | 4.167 | 13.66 | 964.753 | 82.1153 | 33.9852
2019-04-30 00:45:00 | 0 | 172.408 | 8.03 | 210.6 | 8.2857 | 167.827 | 4.4507 | 356.683 | 13.75 | 964.307 | 82.7304 | 39.5369
2019-04-30 01:00:00 | 0 | 170.773 | 8.03 | 218.663 | 7.5187 | 168.19 | 3.6837 | 356.801 | 13.5 | 964.159 | 85.1868 | 38.1973
2019-04-30 01:15:00 | 0.744 | 151.498 | 7.7743 | 191.859 | 6.7517 | 149.33 | 2.9167 | 340.085 | 13.06 | 964.159 | 87.9856 | 31.953
2019-04-30 01:30:00 | 0 | 176.56 | 10.331 | 205.324 | 7.7743 | 153.92 | 5.2177 | 344.712 | 13.08 | 964.159 | 86.0113 | 30.8113
2019-04-30 01:45:00 | 1.7653 | 164.791 | 6.2403 | 229.867 | 8.2857 | 155.603 | 2.661 | 356.827 | 13.34 | 964.159 | 86.2852 | 28.6942
2019-04-30 02:00:00 | 3.6693 | 177.493 | 9.564 | 216.544 | 8.2857 | 173.155 | 3.1723 | 0.19497 | 13.27 | 964.159 | 84.718 | 28.2064
2019-04-30 02:15:00 | 0 | 163.234 | 6.7517 | 207.913 | 6.7517 | 162.673 | 5.4733 | 0.19496 | 13.28 | 964.159 | 87.3107 | 20.2478
2019-04-30 02:30:00 | 0.372 | 174.107 | 7.263 | 214.133 | 7.263 | 171.816 | 2.1497 | 2.7052 | 12.97 | 964.159 | 87.7221 | 13.9961
2019-04-30 02:45:00 | 0 | 175.677 | 7.5187 | 217.924 | 7.5187 | 166.439 | 3.6837 | 355.594 | 12.98 | 964.159 | 87.3858 | 18.4484
2019-04-30 03:00:00 | 3.2973 | 161.348 | 7.7743 | 212.93 | 7.5187 | 163.078 | 6.496 | 347.409 | 13.19 | 963.862 | 85.7484 | 30.2312
2019-04-30 03:15:00 | 10.0527 | 162.54 | 8.5413 | 215.39 | 8.03 | 166.367 | 6.7517 | 352.816 | 13.25 | 963.862 | 86.2937 | 26.2999
2019-04-30 03:30:00 | 0 | 167.436 | 7.5187 | 219.601 | 8.5413 | 163.56 | 1.007 | 0.53618 | 13.46 | 963.862 | 84.3804 | 21.3858
2019-04-30 03:45:00 | 0 | 177.624 | 6.2403 | 213.68 | 4.4507 | 166.34 | 0 | 7.6285 | 13.25 | 964.456 | 86.9067 | 10.4158
2019-04-30 04:00:00 | 0 | 182.647 | 3.6837 | 216.705 | 2.4053 | 182.744 | 0 | 0.87741 | 12.91 | 964.456 | 87.2833 | 6.6027
2019-04-30 04:15:00 | 0 | 170.731 | 5.729 | 232.258 | 4.4507 | 185.915 | 0.63133 | 3.266 | 13.21 | 964.159 | 86.0898 | 10.8481
2019-04-30 04:30:00 | 0 | 155.474 | 3.9393 | 201.037 | 2.9167 | 194.885 | 1.007 | 352.479 | 12.91 | 964.159 | 88.0014 | 11.1584
2019-04-30 04:45:00 | 0 | 161.981 | 5.729 | 208.495 | 4.195 | 148.065 | 1.007 | 348.409 | 12.76 | 964.159 | 87.9672 | 12.5107
2019-04-30 05:00:00 | 0 | 166.71 | 4.4507 | 216.879 | 5.4733 | 162.396 | 1.9097 | 349.895 | 12.88 | 964.159 | 86.4994 | 8.8085
2019-04-30 05:15:00 | 0 | 174.29 | 4.962 | 238.692 | 3.9393 | 197.882 | 0 | 8.3842 | 12.9 | 964.456 | 87.0797 | 10.6116
2019-04-30 05:30:00 | 0 | 178.019 | 5.2177 | 227.7 | 5.4733 | 180.212 | 4.962 | 356.281 | 13.07 | 964.901 | 86.0898 | 10.5414
2019-04-30 05:45:00 | 0 | 190.278 | 4.962 | 233.428 | 5.4733 | 177.531 | 5.9847 | 2.7541 | 13.06 | 964.901 | 87.3186 | 6.1408
2019-04-30 06:00:00 | 0 | 182.373 | 4.195 | 231.125 | 2.9167 | 189.27 | 0.37567 | 2.9246 | 13.11 | 964.901 | 87.8948 | 1.5666
2019-04-30 06:15:00 | 0 | 183.797 | 3.1723 | 230.083 | 3.428 | 193.302 | 0.75133 | 5.6538 | 13.3 | 965.05 | 87.2399 | 1.005
2019-04-30 06:30:00 | 0 | 194.608 | 4.7063 | 238.161 | 4.195 | 188.174 | 4.962 | 16.2782 | 13.28 | 965.347 | 87.7134 | 3.7614
2019-04-30 06:45:00 | 0 | 181.833 | 4.4507 | 217.1 | 4.4507 | 170.185 | 0 | 1.9494 | 13.43 | 965.198 | 85.936 | 7.8663
2019-04-30 07:00:00 | 0 | 176.595 | 3.6837 | 220.805 | 3.9393 | 169.796 | 1.2627 | 2.3393 | 13.53 | 965.347 | 86.0731 | 4.5151
2019-04-30 07:15:00 | 0 | 180.352 | 3.9393 | 234.457 | 3.428 | 197.386 | 0 | 5.9459 | 13.64 | 965.941 | 86.4846 | 0.70202
2019-04-30 07:30:00 | 0 | 208.644 | 3.428 | 241.767 | 3.428 | 188.857 | 1.127 | 37.2352 | 13.57 | 966.238 | 86.4846 | 0.84612
2019-04-30 07:45:00 | 0 | 197.581 | 3.1723 | 247.738 | 3.1723 | 191.878 | 1.007 | 30.1196 | 13.4 | 966.238 | 87.2696 | 1.1195
2019-04-30 08:00:00 | 0 | 195.19 | 4.195 | 226.461 | 4.4507 | 172.479 | 4.7063 | 25.1724 | 13.62 | 966.083 | 86.1422 | 0.62073
2019-04-30 08:15:00 | 0.62733 | 160.733 | 3.428 | 211.536 | 3.1723 | 163.194 | 0 | 19.0043 | 13.79 | 966.122 | 84.764 | -0.36949
2019-04-30 08:30:00 | 0 | 211.215 | 3.1723 | 233.731 | 1.894 | 200.422 | 0 | 47.6569 | 14.01 | 966.266 | 85.3779 | -0.25864
2019-04-30 08:45:00 | 0 | 212.653 | 2.1497 | 247.375 | 2.4053 | 190.238 | 0 | 40.2257 | 14.09 | 966.24 | 85.4462 | -0.25864
2019-04-30 09:00:00 | 0 | 237.358 | 1.894 | 265.088 | 1.127 | 211.02 | 0 | 56.5255 | 14.28 | 966.536 | 84.832 | -0.27711
2019-04-30 09:15:00 | 0 | 209.291 | 3.428 | 234.024 | 2.9167 | 163.023 | 0 | 57.9143 | 14.41 | 966.982 | 84.7637 | -0.27711
2019-04-30 09:30:00 | 0 | 191.163 | 2.661 | 233.195 | 2.9167 | 183.416 | 0 | 13.5466 | 14.39 | 966.833 | 85.8898 | -0.24016
2019-04-30 09:45:00 | 0 | 196.62 | 1.6383 | 220.476 | 2.9167 | 164.021 | 0 | 13.4491 | 14.53 | 966.982 | 85.2411 | -0.22539
2019-04-30 10:00:00 | 0 | 187.484 | 2.9167 | 232.367 | 2.1497 | 174.06 | 0 | 347.193 | 14.63 | 966.982 | 84.7978 | -0.24016
2019-04-30 10:15:00 | 0 | 205.157 | 1.894 | 240.015 | 1.6383 | 164.915 | 0 | 45.3333 | 15.41 | 967.279 | 81.4718 | -0.24016
2019-04-30 10:30:00 | 0 | 186.276 | 2.4053 | 234.668 | 2.9167 | 180.577 | 0 | 330.708 | 16.18 | 967.427 | 78.7994 | -0.24016
2019-04-30 10:45:00 | 0 | 304.909 | 0.75133 | 305.855 | 0 | 220.565 | 0 | 146.865 | 17.57 | 967.752 | 70.4065 | -0.24016
2019-04-30 11:00:00 | 0 | 300.606 | 3.428 | 19.8539 | 3.1723 | 282.442 | 0 | 147.795 | 17.91 | 967.581 | 64.4517 | -0.24016
2019-04-30 11:15:00 | 0 | 286.184 | 3.428 | 18.6365 | 3.6837 | 298.164 | 0 | 107.082 | 17.88 | 967.579 | 62.5405 | -0.25125
2019-04-30 11:30:00 | 0 | 307.268 | 4.962 | 3.4192 | 2.4053 | 317.056 | 0 | 126.145 | 18.24 | 967.578 | 60.6305 | 0.11454
2019-04-30 11:45:00 | 0 | 313.984 | 2.4053 | 2.8117 | 1.127 | 323.405 | 0 | 133.365 | 17.89 | 967.282 | 65.0577 | 0.63921
2019-04-30 12:00:00 | 0 | 325.383 | 2.9167 | 15.3259 | 1.894 | 271.631 | 0 | 134.574 | 18.66 | 967.43 | 61.2352 | 1.2341
2019-04-30 12:15:00 | 0 | 343.952 | 3.428 | 7.9499 | 2.4053 | 302.008 | 0 | 231.484 | 18.86 | 967.578 | 57.9271 | 1.6516
2019-04-30 12:30:00 | 0 | 311.38 | 2.661 | 6.7294 | 4.195 | 298.161 | 0 | 144.967 | 19.57 | 967.43 | 57.0065 | 3.1074
2019-04-30 12:45:00 | 0 | 328.834 | 4.4507 | 19.3637 | 2.4053 | 327.325 | 0 | 141.558 | 19.08 | 967.43 | 59.5295 | 3.4362
2019-04-30 13:00:00 | 0 | 344.341 | 3.428 | 1.5441 | 1.6383 | 252.395 | 0 | 31.3546 | 18.96 | 966.985 | 60.7228 | 4.6038
2019-04-30 13:15:00 | 0.88267 | 313.668 | 4.4507 | 1.791 | 4.195 | 299.232 | 0.37567 | 156.14 | 19.32 | 966.985 | 57.3473 | 2.7601
2019-04-30 13:30:00 | 0 | 323.917 | 2.9167 | 43.8778 | 3.428 | 7.4005 | 0 | 155.167 | 19.34 | 966.688 | 56.7678 | 2.6714
2019-04-30 13:45:00 | 0 | 306.487 | 2.9167 | 5.2964 | 3.6837 | 312.329 | 0 | 140.268 | 19.52 | 966.688 | 57.6202 | 2.4423
2019-04-30 14:00:00 | 0 | 6.6458 | 3.6837 | 12.3074 | 0.75133 | 310.649 | 0 | 275.96 | 19.92 | 966.688 | 55.3017 | 1.2304
2019-04-30 14:15:00 | 0 | 304.004 | 3.428 | 11.2363 | 2.661 | 299.354 | 0 | 141.291 | 20.34 | 966.837 | 50.6648 | 0.29189
2019-04-30 14:30:00 | 0 | 341.03 | 2.661 | 5.8563 | 2.9167 | 306.73 | 0 | 157.163 | 20.6 | 966.54 | 49.5056 | 0.4323
2019-04-30 14:45:00 | 0 | 335.692 | 2.9167 | 34.4313 | 1.3827 | 294.893 | 0 | 225.539 | 20.59 | 966.392 | 49.5046 | 0.29928
2019-04-30 15:00:00 | 0 | 293.292 | 3.6837 | 35.4791 | 2.661 | 255.072 | 0 | 114.488 | 20.45 | 966.243 | 49.5737 | 0.036949
2019-04-30 15:15:00 | 0 | 301.313 | 2.9167 | 333.845 | 3.6837 | 295.033 | 0 | 105.282 | 20.59 | 966.54 | 49.4354 | -0.13301
2019-04-30 15:30:00 | 0 | 286.306 | 3.428 | 17.7121 | 3.9393 | 303.563 | 0 | 109.431 | 20.88 | 966.837 | 48.6791 | 1.622
2019-04-30 15:45:00 | 4.6907 | 309.136 | 9.0527 | 8.4874 | 6.7517 | 328.535 | 1.2627 | 122.452 | 20.91 | 966.974 | 41.1454 | 11.7607
2019-04-30 16:00:00 | 0 | 353.556 | 5.729 | 32.2326 | 5.4733 | 319.091 | 0.37567 | 171.083 | 21.14 | 966.54 | 34.1572 | 46.5767
2019-04-30 16:15:00 | 0 | 326.466 | 6.496 | 15.6574 | 2.9167 | 319.919 | 3.1723 | 145.258 | 21.35 | 966.243 | 25.8394 | 58.9143
2019-04-30 16:30:00 | 0 | 330.604 | 6.2403 | 11.3351 | 5.2177 | 1.9472 | 1.2627 | 145.21 | 21.21 | 966.243 | 25.4986 | 46.7776
2019-04-30 16:45:00 | 0.372 | 335.666 | 6.7517 | 45.1326 | 5.4733 | 356.939 | 1.774 | 146.475 | 20.89 | 965.798 | 21.4079 | 48.772
2019-04-30 17:00:00 | 0 | 340.105 | 3.9393 | 27.9014 | 4.195 | 356.948 | 0.37567 | 168.58 | 21.13 | 966.243 | 19.7721 | 43.6715
2019-04-30 17:15:00 | 0 | 298.555 | 2.4053 | 13.8327 | 2.1497 | 343.074 | 2.7967 | 137.521 | 20.95 | 966.54 | 21.5788 | 40.9389
2019-04-30 17:30:00 | 0 | 21.4441 | 2.9167 | 4.4624 | 3.9393 | 325.216 | 0 | 184.892 | 20.51 | 966.243 | 22.4657 | 43.8971
2019-04-30 17:45:00 | 0 | 324.059 | 6.496 | 3.9052 | 5.2177 | 339.347 | 3.9393 | 165.657 | 20.05 | 965.798 | 22.2977 | 40.3625
2019-04-30 18:00:00 | 0 | 325.864 | 6.7517 | 9.6506 | 7.263 | 310.382 | 0 | 147.45 | 19.69 | 965.798 | 24.4119 | 52.8965
2019-04-30 18:15:00 | 0.372 | 322.121 | 6.7517 | 6.2435 | 5.729 | 356.987 | 0 | 162.254 | 19.19 | 965.501 | 26.9394 | 61.0094
2019-04-30 18:30:00 | 4.6907 | 339.683 | 8.03 | 26.1189 | 2.9167 | 0.0487 | 1.2627 | 160.248 | 18.75 | 965.905 | 28.4425 | 51.485
2019-04-30 18:45:00 | 5.712 | 311.827 | 4.195 | 67.8619 | 5.729 | 22.4525 | 2.661 | 141.777 | 18.36 | 965.351 | 29.3997 | 49.9432
2019-04-30 19:00:00 | 2.648 | 325.98 | 7.5187 | 39.185 | 6.2403 | 1.3639 | 4.4507 | 158.46 | 18.09 | 965.679 | 27.6307 | 51.7764
2019-04-30 19:15:00 | 5.4567 | 2.1677 | 5.9847 | 52.8005 | 3.428 | 13.7612 | 2.661 | 190.075 | 18.17 | 966.082 | 27.358 | 47.3494
2019-04-30 19:30:00 | 8.5207 | 353.115 | 5.2177 | 50.5353 | 3.1723 | 15.1982 | 1.3827 | 156.659 | 17.74 | 965.943 | 27.6991 | 47.4751
2019-04-30 19:45:00 | 3.2973 | 343.034 | 4.7063 | 41.1587 | 4.195 | 354.628 | 3.428 | 158.754 | 17.84 | 966.239 | 27.4946 | 44.1486
2019-04-30 20:00:00 | 0.99933 | 346.624 | 3.6837 | 47.9315 | 2.9167 | 356.44 | 0.37567 | 175.882 | 17.56 | 966.239 | 28.0412 | 37.4251
2019-04-30 20:15:00 | 0.372 | 353.437 | 2.9167 | 47.9105 | 3.6837 | 26.1607 | 6.2403 | 160.155 | 17.25 | 966.536 | 30.5671 | 22.4942
2019-04-30 20:30:00 | 0.88267 | 348.643 | 5.2177 | 26.5767 | 5.4733 | 345.549 | 2.661 | 167.16 | 16.99 | 966.536 | 30.7743 | 17.5468
2019-04-30 20:45:00 | 4.946 | 330.444 | 3.428 | 52.4088 | 3.6837 | 14.8131 | 4.962 | 156.122 | 16.79 | 966.536 | 32.0072 | 19.3832
2019-04-30 21:00:00 | 0 | 351.335 | 3.6837 | 37.1833 | 2.661 | 11.1102 | 0 | 166.36 | 16.73 | 966.536 | 32.1447 | 15.2412
2019-04-30 21:15:00 | 0 | 345.999 | 6.496 | 40.302 | 2.661 | 3.1674 | 0.63133 | 166.165 | 16.72 | 966.685 | 31.7352 | 14.5577
2019-04-30 21:30:00 | 0 | 3.8009 | 4.195 | 67.4927 | 2.661 | 12.0848 | 0.887 | 195.988 | 16.56 | 966.536 | 33.6461 | 15.9506
2019-04-30 21:45:00 | 0 | 5.4576 | 4.195 | 50.3158 | 2.661 | 13.303 | 5.2177 | 186.144 | 16.65 | 966.685 | 31.6669 | 15.8546
2019-04-30 22:00:00 | 1.116 | 356.647 | 4.962 | 34.0403 | 3.6837 | 269.519 | 2.541 | 174.279 | 16.73 | 966.685 | 29.4148 | 16.7598
2019-04-30 22:15:00 | 11.3293 | 346.901 | 5.4733 | 39.9122 | 3.6837 | 7.2362 | 3.428 | 164.363 | 16.72 | 966.833 | 29.9608 | 11.1917
2019-04-30 22:30:00 | 0 | 332.38 | 5.729 | 18.5445 | 3.428 | 3.2161 | 5.9847 | 149.768 | 16.76 | 966.833 | 29.4148 | 11.9011
2019-04-30 22:45:00 | 4.6907 | 338.666 | 4.7063 | 29.1187 | 3.6837 | 356.988 | 3.1723 | 158.466 | 16.88 | 966.833 | 27.8451 | 15.9802
2019-04-30 23:00:00 | 0 | 341.297 | 5.729 | 23.856 | 3.1723 | 357.036 | 4.4507 | 165.191 | 16.82 | 967.13 | 28.3228 | 17.4766
2019-04-30 23:15:00 | 0 | 335.45 | 4.7063 | 21.1759 | 3.1723 | 0.048729 | 0 | 146.479 | 16.92 | 966.833 | 27.0261 | 16.213
2019-04-30 23:30:00 | 0 | 0.097458 | 3.428 | 47.9281 | 3.1723 | 0.92585 | 0 | 162.706 | 17.01 | 967.13 | 26.5484 | 16.9815
2019-04-30 23:45:00 | 0 | 336.863 | 4.4507 | 19.178 | 2.4053 | 357.012 | 3.6837 | 164.509 | 17.09 | 967.13 | 25.2517 | 17.6059