## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-01 00:00:00 | 0 | 352.042 | 5.9847 | 22.8327 | 2.661 | 7.7723 | 1.5183 | 139.876 | 17.08 | 967.13 | 25.7294 | 13.2054
2019-05-01 00:15:00 | 0 | 331.746 | 4.962 | 21.1272 | 3.6837 | 337.983 | 1.894 | 147.332 | 17.24 | 967.427 | 24.4327 | 9.5992
2019-05-01 00:30:00 | 0 | 333.257 | 4.4507 | 24.7575 | 3.1723 | 347.486 | 0 | 148.989 | 17.38 | 967.278 | 24.6374 | 7.5633
2019-05-01 00:45:00 | 2.9033 | 332.55 | 2.9167 | 11.9661 | 3.1723 | 341.297 | 0 | 141.046 | 17 | 967.427 | 25.3882 | 6.3736
2019-05-01 01:00:00 | 0 | 334.914 | 2.1497 | 4.0721 | 2.9167 | 344.464 | 0 | 146.528 | 17.05 | 967.427 | 25.0469 | 5.8674
2019-05-01 01:15:00 | 0 | 324.193 | 3.428 | 8.0678 | 3.9393 | 333.111 | 0 | 143.823 | 17.02 | 967.575 | 25.627 | 5.3021
2019-05-01 01:30:00 | 0 | 330.431 | 4.195 | 25.5615 | 2.4053 | 357.036 | 0 | 161.95 | 16.78 | 967.278 | 26.2754 | 4.9733
2019-05-01 01:45:00 | 0 | 335.108 | 4.962 | 31.3602 | 3.428 | 354.161 | 0 | 153.472 | 16.67 | 967.13 | 25.6611 | 4.2047
2019-05-01 02:00:00 | 0 | 331.503 | 4.195 | 25.9026 | 3.9393 | 353.772 | 0 | 145.042 | 16.66 | 967.427 | 25.7294 | 4.8772
2019-05-01 02:15:00 | 0 | 347.047 | 3.428 | 24.2458 | 3.428 | 356.988 | 0 | 170.502 | 16.76 | 967.427 | 24.7739 | 4.7553
2019-05-01 02:30:00 | 0 | 342.028 | 3.6837 | 13.9884 | 3.9393 | 355.233 | 1.007 | 152.253 | 16.71 | 967.278 | 24.6374 | 4.541
2019-05-01 02:45:00 | 0 | 334.621 | 2.661 | 19.4704 | 2.9167 | 341.565 | 0 | 146.942 | 16.58 | 967.427 | 24.7057 | 5.1691
2019-05-01 03:00:00 | 0 | 314.228 | 4.195 | 14.8899 | 4.7063 | 348.728 | 0 | 147.892 | 16.84 | 967.427 | 24.5692 | 6.2147
2019-05-01 03:15:00 | 0 | 301.9 | 2.1497 | 0.46613 | 2.1497 | 318.833 | 0 | 124.283 | 16.39 | 967.427 | 26.9579 | 4.9289
2019-05-01 03:30:00 | 0 | 342.369 | 2.1497 | 8.1166 | 2.9167 | 355.185 | 2.9167 | 141.216 | 15.69 | 967.427 | 27.9133 | 3.4731
2019-05-01 03:45:00 | 0 | 308.015 | 2.9167 | 13.1049 | 2.4053 | 305.213 | 0 | 137.878 | 15.25 | 967.433 | 29.8243 | 3.1591
2019-05-01 04:00:00 | 0 | 307.863 | 0 | 1.0538 | 0 | 354.552 | 0 | 155.491 | 15.1 | 967.422 | 29.5554 | 3.8279
2019-05-01 04:15:00 | 0 | 327.831 | 2.661 | 7.439 | 2.1497 | 337.018 | 0 | 135.124 | 15.52 | 967.574 | 29.0785 | 3.9387
2019-05-01 04:30:00 | 0 | 334.577 | 3.1723 | 19.6473 | 2.1497 | 356.801 | 0 | 148.135 | 15.37 | 967.722 | 29.9997 | 3.3217
2019-05-01 04:45:00 | 0 | 321.909 | 3.6837 | 22.6938 | 2.4053 | 357 | 0 | 121.575 | 15.13 | 967.722 | 30.5119 | 3.7281
2019-05-01 05:00:00 | 0 | 346.763 | 3.428 | 23.1809 | 2.661 | 0.048737 | 0 | 138.242 | 15.14 | 967.722 | 29.0442 | 3.5138
2019-05-01 05:15:00 | 0 | 325.409 | 3.428 | 12.7505 | 2.9167 | 4.1913 | 0 | 140.554 | 15.23 | 967.722 | 28.9753 | 4.286
2019-05-01 05:30:00 | 0 | 335.945 | 3.6837 | 16.7478 | 2.1497 | 348.081 | 0 | 153.278 | 15.47 | 968.019 | 27.3038 | 3.8242
2019-05-01 05:45:00 | 0 | 343.812 | 3.1723 | 11.3864 | 1.3827 | 3.0217 | 0 | 151.376 | 15.97 | 968.316 | 25.6993 | 2.4645
2019-05-01 06:00:00 | 0 | 337.45 | 3.9393 | 19.3732 | 2.9167 | 347.975 | 0 | 154.667 | 16.14 | 968.402 | 26.3438 | 1.6183
2019-05-01 06:15:00 | 0 | 332.13 | 3.428 | 22.0523 | 2.1497 | 343.046 | 0 | 135.099 | 16.27 | 968.615 | 26.4114 | 1.2673
2019-05-01 06:30:00 | 0 | 348.276 | 2.4053 | 45.349 | 2.1497 | 0.048713 | 0 | 148.162 | 16.47 | 969.06 | 27.9727 | 1.223
2019-05-01 06:45:00 | 0 | 85.6362 | 2.1497 | 82.2471 | 1.127 | 11.3987 | 0 | 179.407 | 16.59 | 969.149 | 27.8356 | 1.2636
2019-05-01 07:00:00 | 0 | 342.652 | 3.428 | 18.1861 | 2.1497 | 9.1569 | 0 | 160.976 | 16.59 | 969.36 | 26.9456 | 1.5481
2019-05-01 07:15:00 | 0 | 347.819 | 3.6837 | 35.5712 | 3.1723 | 2.4352 | 0 | 161.989 | 16.9 | 969.654 | 26.3984 | 1.7661
2019-05-01 07:30:00 | 0 | 356.795 | 2.9167 | 67.4092 | 2.4053 | 36.4246 | 0 | 145.893 | 17.09 | 969.882 | 27.5534 | 1.7735
2019-05-01 07:45:00 | 0 | 0.21913 | 3.6837 | 49.0991 | 4.4507 | 31.8957 | 0 | 190.984 | 17.03 | 970.398 | 26.5985 | 1.5371
2019-05-01 08:00:00 | 0 | 0.17043 | 4.962 | 55.3293 | 3.9393 | 24.3469 | 0.37567 | 183.916 | 16.87 | 970.1 | 25.0971 | 2.5014
2019-05-01 08:15:00 | 0 | 8.132 | 5.2177 | 66.1897 | 4.4507 | 21.9613 | 1.2627 | 183.652 | 16.87 | 970.397 | 24.2792 | 1.9398
2019-05-01 08:30:00 | 0 | 6.0383 | 3.9393 | 74.08 | 3.6837 | 43.3878 | 0 | 176.351 | 17.34 | 970.545 | 24.3478 | 2.3906
2019-05-01 08:45:00 | 0 | 24.6389 | 7.0073 | 65.8708 | 2.1497 | 35.9114 | 1.894 | 199.229 | 17.43 | 970.842 | 24.3467 | 2.531
2019-05-01 09:00:00 | 0 | 27.0475 | 4.7063 | 74.0698 | 3.1723 | 34.6675 | 3.308 | 181.226 | 17.61 | 970.693 | 25.3681 | 2.6603
2019-05-01 09:15:00 | 0 | 26.5599 | 4.962 | 65.5469 | 2.4053 | 6.4757 | 0 | 206.539 | 17.77 | 971.138 | 24.6174 | 2.4608
2019-05-01 09:30:00 | 0 | 6.8163 | 3.428 | 54.2977 | 2.1497 | 23.1754 | 4.195 | 183.602 | 18.63 | 971.287 | 24.7531 | 3.3956
2019-05-01 09:45:00 | 0 | 36.9048 | 4.195 | 97.7254 | 3.1723 | 55.2842 | 2.541 | 189.003 | 19.04 | 971.583 | 23.6617 | 2.8709
2019-05-01 10:00:00 | 0 | 16.8201 | 5.729 | 75.1272 | 4.195 | 27.4087 | 0.37567 | 204.665 | 19.38 | 971.732 | 24.9553 | 4.8218
2019-05-01 10:15:00 | 0 | 28.4286 | 5.729 | 77.699 | 4.195 | 30.0837 | 3.6837 | 192.502 | 20.18 | 972.173 | 24.6804 | 8.4797
2019-05-01 10:30:00 | 0 | 354.213 | 4.962 | 73.0257 | 3.428 | 9.1517 | 1.127 | 172.373 | 20.66 | 972.313 | 24.3395 | 10.1719
2019-05-01 10:45:00 | 0 | 6.1569 | 4.7063 | 60.4052 | 4.962 | 14.3094 | 4.195 | 192.009 | 20.2 | 972.07 | 27.8804 | 12.0193
2019-05-01 11:00:00 | 0 | 27.0609 | 4.4507 | 81.7219 | 3.9393 | 21.6098 | 0 | 213.47 | 20.49 | 971.969 | 26.7553 | 12.3777
2019-05-01 11:15:00 | 0 | 15.7693 | 3.9393 | 56.2184 | 4.962 | 9.2231 | 1.894 | 199.939 | 20.52 | 972.151 | 25.3238 | 13.5675
2019-05-01 11:30:00 | 0 | 227.501 | 5.4733 | 60.6279 | 3.428 | 23.193 | 0 | 177.854 | 20.71 | 972.076 | 23.9278 | 13.5675
2019-05-01 11:45:00 | 9.2867 | 349.779 | 6.7517 | 42.6648 | 5.729 | 11.6569 | 3.9393 | 176.021 | 21.52 | 972.053 | 20.4844 | 14.8644
2019-05-01 12:00:00 | 0 | 9.1022 | 4.962 | 90.1267 | 0.37567 | 356.957 | 5.729 | 217.771 | 21.76 | 972.184 | 24.6783 | 15.5368
2019-05-01 12:15:00 | 1.2547 | 1.1683 | 4.4507 | 31.7457 | 5.729 | 14.1169 | 1.3827 | 193.888 | 21.5 | 972.017 | 22.7714 | 15.9554
2019-05-01 12:30:00 | 0 | 21.1754 | 2.9167 | 87.7024 | 2.661 | 29.0127 | 0 | 195.787 | 22.33 | 972.177 | 22.976 | 16.3829
2019-05-01 12:45:00 | 0 | 27.797 | 6.2403 | 84.1535 | 6.496 | 40.089 | 0 | 207.382 | 22.22 | 971.731 | 22.0225 | 19.2417
2019-05-01 13:00:00 | 0 | 19.6689 | 7.0073 | 80.6082 | 3.428 | 13.8997 | 5.2177 | 215.968 | 22.31 | 971.583 | 20.6606 | 17.2586
2019-05-01 13:15:00 | 0 | 7.3029 | 4.4507 | 80.0006 | 3.6837 | 14.2893 | 0.37567 | 145.717 | 22.42 | 971.731 | 22.2973 | 17.639
2019-05-01 13:30:00 | 3.808 | 313.35 | 7.5187 | 19.148 | 3.9393 | 283.943 | 1.6383 | 133.378 | 22.6 | 971.583 | 21.8887 | 16.479
2019-05-01 13:45:00 | 0 | 314.702 | 6.2403 | 8.6076 | 6.7517 | 311.927 | 0 | 147.273 | 22.51 | 971.88 | 23.5926 | 13.9776
2019-05-01 14:00:00 | 0 | 6.7182 | 4.195 | 49.3241 | 4.195 | 304.145 | 0 | 161.846 | 23.11 | 972.177 | 22.3299 | 14.9678
2019-05-01 14:15:00 | 0 | 15.3826 | 4.962 | 3.6681 | 5.4733 | 279.856 | 0 | 190.993 | 22.6 | 972.028 | 22.6351 | 8.4575
2019-05-01 14:30:00 | 0 | 293.851 | 3.6837 | 336.769 | 3.6837 | 292.074 | 0 | 127.028 | 22.23 | 971.555 | 20.0784 | 12.0415
2019-05-01 14:45:00 | 0 | 306.043 | 6.496 | 12.602 | 5.2177 | 300.933 | 0 | 121.069 | 22.63 | 971.482 | 18.6777 | 11.2323
2019-05-01 15:00:00 | 0 | 318.818 | 4.962 | 16.374 | 4.7063 | 308.183 | 0 | 173.268 | 22.88 | 971.588 | 18.6094 | 10.5562
2019-05-01 15:15:00 | 0 | 296.673 | 4.195 | 332.182 | 3.6837 | 300.542 | 0 | 124.086 | 22.6 | 971.139 | 18.6094 | 11.0735
2019-05-01 15:30:00 | 0 | 302.683 | 5.9847 | 14.0135 | 4.4507 | 295.042 | 0 | 123.818 | 23.14 | 970.99 | 19.1547 | 13.283
2019-05-01 15:45:00 | 0 | 317.842 | 4.962 | 0.75085 | 2.9167 | 15.2582 | 1.3827 | 148.98 | 22.83 | 970.99 | 17.3823 | 11.8715
2019-05-01 16:00:00 | 0 | 314.249 | 3.428 | 15.2599 | 2.9167 | 346.71 | 0 | 122.887 | 22.59 | 970.99 | 18.7447 | 9.2667
2019-05-01 16:15:00 | 0 | 300.225 | 3.9393 | 10.437 | 2.9167 | 336.068 | 4.195 | 130.451 | 22.68 | 970.842 | 17.0742 | 10.4121
2019-05-01 16:30:00 | 1.3713 | 347.96 | 5.729 | 24.2889 | 4.962 | 348.836 | 0.63133 | 162.19 | 22.61 | 970.99 | 18.4725 | 7.9144
2019-05-01 16:45:00 | 0 | 299.171 | 3.6837 | 18.7589 | 2.4053 | 321.462 | 0 | 98.8963 | 22.67 | 970.99 | 16.8366 | 6.8096
2019-05-01 17:00:00 | 0 | 322.334 | 3.1723 | 16.1065 | 2.661 | 328.028 | 0 | 152.017 | 22.44 | 970.99 | 18.4723 | 5.1839
2019-05-01 17:15:00 | 0 | 322.587 | 4.7063 | 0.23987 | 3.6837 | 345.243 | 0 | 141.436 | 22.28 | 970.249 | 19.359 | 5.0804
2019-05-01 17:30:00 | 0 | 317.504 | 3.6837 | 2.8436 | 3.6837 | 341.717 | 0.75133 | 141.535 | 22.38 | 970.546 | 19.4274 | 3.7872
2019-05-01 17:45:00 | 0 | 300.493 | 3.428 | 18.9292 | 0.75133 | 342.058 | 0 | 171.345 | 21.95 | 970.101 | 21.711 | 3.6246
2019-05-01 18:00:00 | 0 | 297.281 | 2.9167 | 36.02 | 1.6383 | 342.058 | 0 | 118.562 | 21.69 | 969.73 | 21.6087 | 4.8365
2019-05-01 18:15:00 | 0 | 316.341 | 1.894 | 17.4687 | 1.894 | 342.067 | 0 | 132.894 | 21.43 | 969.95 | 23.6577 | 4.8181
2019-05-01 18:30:00 | 0 | 311.782 | 2.661 | 10.7497 | 1.894 | 342.016 | 0 | 129.747 | 21.23 | 969.358 | 23.3882 | 4.722
2019-05-01 18:45:00 | 0 | 319.713 | 3.428 | 0.1829 | 3.1723 | 342.014 | 0 | 138.164 | 21.1 | 968.913 | 23.6641 | 6.4327
2019-05-01 19:00:00 | 0 | 340.943 | 4.7063 | 30.3756 | 3.1723 | 6.9148 | 3.428 | 154.779 | 21.05 | 968.616 | 21.7562 | 7.8035
2019-05-01 19:15:00 | 0 | 342.132 | 5.4733 | 26.1208 | 4.7063 | 0.048702 | 1.894 | 161.179 | 21.03 | 969.057 | 20.7359 | 7.6557
2019-05-01 19:30:00 | 0 | 349.451 | 5.9847 | 34.6458 | 4.4507 | 357 | 4.195 | 170.634 | 21.09 | 969.209 | 20.4638 | 7.0424
2019-05-01 19:45:00 | 0 | 354.37 | 5.2177 | 40.539 | 4.962 | 7.4517 | 4.4507 | 178.013 | 20.97 | 969.357 | 19.5089 | 5.7935
2019-05-01 20:00:00 | 0 | 7.1108 | 3.9393 | 50.4746 | 3.1723 | 8.2797 | 0 | 187.364 | 20.32 | 969.209 | 20.7367 | 4.6777
2019-05-01 20:15:00 | 0 | 85.6808 | 2.9167 | 50.0449 | 2.661 | 6.8194 | 0 | 172.847 | 20.42 | 969.506 | 20.1935 | 4.201
2019-05-01 20:30:00 | 0 | 8.0862 | 3.6837 | 56.6731 | 2.1497 | 11.9345 | 0 | 188.029 | 20.65 | 969.506 | 19.3075 | 4.1936
2019-05-01 20:45:00 | 0 | 354.284 | 3.428 | 37.5535 | 2.661 | 5.1635 | 0 | 178.165 | 20.65 | 969.657 | 17.8066 | 1.7144
2019-05-01 21:00:00 | 0 | 85.6361 | 3.428 | 54.481 | 2.661 | 13.4933 | 0 | 184.084 | 20.82 | 970.302 | 18.0795 | 1.0235
2019-05-01 21:15:00 | 0 | 5.2609 | 3.6837 | 55.504 | 2.9167 | 14.1266 | 0 | 188.979 | 20.86 | 970.159 | 18.2842 | 0.69463
2019-05-01 21:30:00 | 0 | 11.5935 | 3.428 | 62.0314 | 2.661 | 16.8057 | 0 | 195.044 | 20.87 | 970.275 | 17.6701 | 0.099761
2019-05-01 21:45:00 | 0 | 9.9373 | 2.9167 | 68.4128 | 2.4053 | 16.8544 | 0 | 194.338 | 20.76 | 970.134 | 17.5337 | -0.15149
2019-05-01 22:00:00 | 0 | 19.4849 | 2.9167 | 67.6334 | 2.661 | 18.8516 | 0 | 197.747 | 20.67 | 970.025 | 17.1243 | -0.22169
2019-05-01 22:15:00 | 0 | 18.8029 | 2.661 | 73.0891 | 1.894 | 24.3561 | 0 | 198.478 | 20.78 | 970.141 | 17.3972 | -0.33254
2019-05-01 22:30:00 | 0 | 20.654 | 2.4053 | 70.2638 | 1.894 | 22.5051 | 0 | 197.674 | 20.82 | 970.327 | 17.4655 | -0.28081
2019-05-01 22:45:00 | 0 | 21.4334 | 2.661 | 70.4587 | 1.894 | 25.4278 | 0 | 199.087 | 20.94 | 970.36 | 17.2608 | -0.22539
2019-05-01 23:00:00 | 0 | 10.1321 | 2.4053 | 69.7767 | 1.3827 | 25.9149 | 0 | 190.66 | 20.7 | 970.384 | 17.4655 | -0.22539
2019-05-01 23:15:00 | 0 | 0.097424 | 1.6383 | 68.023 | 1.894 | 24.8433 | 0 | 177.337 | 20.8 | 970.394 | 16.9197 | -0.22539
2019-05-01 23:30:00 | 0 | 356.915 | 2.4053 | 67.0975 | 1.894 | 24.5997 | 0 | 172.222 | 20.83 | 970.201 | 16.8514 | -0.24016
2019-05-01 23:45:00 | 0 | 356.915 | 1.894 | 66.7078 | 0 | 11.5448 | 0 | 177.459 | 20.79 | 970.375 | 17.329 | -0.22539