## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-02 00:00:00 | 8.776 | 329.733 | 2.4053 | 65.7092 | 2.4053 | 356.817 | 0 | 153.712 | 20.74 | 970.386 | 18.0113 | -0.22539
2019-05-02 00:15:00 | 0 | 327.76 | 1.6383 | 9.3735 | 1.3827 | 320.673 | 0 | 149.79 | 20.16 | 970.099 | 19.1711 | -0.24016
2019-05-02 00:30:00 | 0 | 256.957 | 1.3827 | 252.837 | 0 | 297.388 | 0 | 147.817 | 19.43 | 969.802 | 19.6486 | -0.24016
2019-05-02 00:45:00 | 12.606 | 241.564 | 1.894 | 284.111 | 1.3827 | 263.777 | 1.894 | 57.4074 | 19.71 | 969.802 | 19.1711 | -0.24016
2019-05-02 01:00:00 | 7.244 | 249.626 | 2.1497 | 286.936 | 2.1497 | 252.573 | 0 | 78.1345 | 19.89 | 969.802 | 18.6935 | -0.29189
2019-05-02 01:15:00 | 0 | 240.298 | 3.6837 | 284.306 | 3.6837 | 237.813 | 0 | 62.6683 | 20.05 | 969.802 | 18.5571 | 0.75005
2019-05-02 01:30:00 | 0 | 230.701 | 4.4507 | 273.394 | 4.4507 | 222.469 | 0.75133 | 58.8201 | 19.26 | 969.95 | 22.7188 | 1.973
2019-05-02 01:45:00 | 0 | 227.925 | 4.195 | 262.702 | 3.428 | 208.391 | 2.4053 | 50.0519 | 18.94 | 969.505 | 23.6739 | 2.2021
2019-05-02 02:00:00 | 0 | 224.612 | 5.2177 | 266.209 | 3.6837 | 208.44 | 0.37567 | 47.9816 | 18.68 | 969.356 | 24.629 | 3.185
2019-05-02 02:15:00 | 0 | 227.34 | 4.962 | 262.897 | 4.4507 | 205.517 | 1.1427 | 50.539 | 18.97 | 969.208 | 24.4244 | 4.1826
2019-05-02 02:30:00 | 0 | 232.114 | 4.7063 | 259.365 | 3.9393 | 202.984 | 0.887 | 52.2196 | 18.9 | 969.505 | 24.629 | 4.7035
2019-05-02 02:45:00 | 0 | 227.243 | 4.195 | 255.712 | 3.1723 | 189.15 | 0 | 53.4374 | 18.74 | 969.505 | 24.4926 | 5.0324
2019-05-02 03:00:00 | 0 | 229.729 | 4.195 | 261.632 | 3.6837 | 200.355 | 1.007 | 57.3834 | 18.73 | 969.208 | 24.0152 | 4.1308
2019-05-02 03:15:00 | 0 | 215.65 | 5.4733 | 254.494 | 3.9393 | 212.824 | 4.4507 | 41.3081 | 18.74 | 969.356 | 24.6973 | 3.9794
2019-05-02 03:30:00 | 0 | 216.335 | 4.962 | 250.017 | 3.6837 | 203.523 | 0.63133 | 42.6727 | 18.72 | 969.356 | 25.1753 | 4.9215
2019-05-02 03:45:00 | 0 | 217.016 | 3.9393 | 252.549 | 3.428 | 206.592 | 0.887 | 50.8807 | 18.49 | 969.208 | 26.1986 | 3.8316
2019-05-02 04:00:00 | 0 | 209.593 | 3.6837 | 251.046 | 3.428 | 207.669 | 0 | 37.169 | 18.35 | 969.653 | 27.0862 | 3.7207
2019-05-02 04:15:00 | 1.7653 | 206.548 | 3.9393 | 249.292 | 2.661 | 217.801 | 0 | 34.0025 | 18.07 | 969.505 | 28.1096 | 3.9239
2019-05-02 04:30:00 | 0 | 207.326 | 4.4507 | 244.76 | 3.6837 | 206.888 | 3.428 | 31.5666 | 18.01 | 969.356 | 27.9048 | 3.0704
2019-05-02 04:45:00 | 0 | 200.696 | 3.6837 | 238.055 | 3.1723 | 193.17 | 5.729 | 28.7405 | 17.95 | 969.505 | 28.1087 | 3.7133
2019-05-02 05:00:00 | 0 | 214.298 | 3.9393 | 242.599 | 3.428 | 203.946 | 0 | 36.5364 | 17.9 | 969.505 | 27.9055 | 1.8031
2019-05-02 05:15:00 | 0.62733 | 211.627 | 3.428 | 248.967 | 2.9167 | 204.904 | 1.774 | 40.2891 | 18.07 | 969.95 | 27.4972 | 0.69833
2019-05-02 05:30:00 | 0 | 210.988 | 3.9393 | 245.258 | 2.4053 | 206.214 | 0 | 34.6857 | 18.11 | 969.802 | 26.9506 | 0.41013
2019-05-02 05:45:00 | 0 | 223.992 | 3.428 | 243.403 | 2.4053 | 203.727 | 0 | 44.0385 | 18.38 | 970.099 | 26.268 | 0.12932
2019-05-02 06:00:00 | 1.116 | 218.67 | 2.9167 | 241.439 | 2.1497 | 197.163 | 0 | 59.5264 | 18.63 | 970.099 | 25.4819 | -0.099761
2019-05-02 06:15:00 | 0 | 214.164 | 2.4053 | 247.187 | 1.3827 | 197.139 | 0 | 43.8411 | 19.09 | 970.529 | 24.4244 | -0.10346
2019-05-02 06:30:00 | 0 | 221.512 | 1.894 | 271.721 | 0 | 200.813 | 0 | 57.5698 | 19.53 | 970.4 | 23.807 | -0.24016
2019-05-02 06:45:00 | 0 | 227.522 | 1.3827 | 259.825 | 1.127 | 200.884 | 0 | 83.2755 | 20.17 | 970.769 | 22.3034 | -0.27711
2019-05-02 07:00:00 | 0 | 245.604 | 0 | 313.81 | 0 | 200.807 | 0 | 77.0555 | 20.99 | 970.992 | 21.6183 | -0.22539
2019-05-02 07:15:00 | 0 | 278.399 | 0.75133 | 280.597 | 0 | 201.388 | 0 | 79.2993 | 23.34 | 971.732 | 19.7037 | -0.22169
2019-05-02 07:30:00 | 0 | 321.374 | 1.6383 | 12.4148 | 1.127 | 219.53 | 0 | 77.4111 | 22.67 | 971.592 | 20.2455 | -0.24016
2019-05-02 07:45:00 | 0 | 324.628 | 0 | 14.2635 | 0 | 219.501 | 0 | 149.003 | 22.14 | 972.177 | 20.3813 | -0.24016
2019-05-02 08:00:00 | 0 | 222.84 | 0.75133 | 246.24 | 0 | 226.635 | 0 | 110.374 | 21.81 | 971.748 | 22.1469 | -0.24016
2019-05-02 08:15:00 | 0 | 170.679 | 1.3827 | 178.704 | 0.37567 | 226.461 | 0 | 356.781 | 22.41 | 972.029 | 21.7377 | -0.24016
2019-05-02 08:30:00 | 0 | 211.548 | 3.9393 | 260.37 | 2.4053 | 200.261 | 0 | 18.3183 | 22.93 | 972.473 | 22.6235 | -0.24016
2019-05-02 08:45:00 | 0 | 203.01 | 3.428 | 242.246 | 3.1723 | 202.304 | 0 | 46.2701 | 21.81 | 972.473 | 23.7819 | -0.24016
2019-05-02 09:00:00 | 0 | 200.066 | 2.4053 | 227.504 | 3.428 | 181.188 | 0 | 33.0848 | 21.51 | 972.177 | 24.3612 | -0.24016
2019-05-02 09:15:00 | 0 | 210.626 | 3.1723 | 256.617 | 1.894 | 198.581 | 0 | 34.4555 | 21.55 | 972.496 | 21.0613 | -0.27711
2019-05-02 09:30:00 | 0 | 227.584 | 4.7063 | 234.401 | 5.2177 | 194.877 | 0 | 41.4673 | 21.78 | 972.324 | 28.1526 | -0.092371
2019-05-02 09:45:00 | 0 | 202.392 | 3.428 | 244.956 | 3.428 | 200.323 | 5.4733 | 14.2115 | 21.19 | 972.473 | 24.8119 | -0.099761
2019-05-02 10:00:00 | 0 | 192.566 | 4.7063 | 240.534 | 4.195 | 176.48 | 1.3827 | 8.7364 | 21.2 | 972.325 | 21.6087 | 0.11084
2019-05-02 10:15:00 | 0 | 174.704 | 3.9393 | 212.257 | 4.195 | 178.135 | 1.894 | 26.1605 | 21.56 | 972.325 | 21.6087 | 1.3338
2019-05-02 10:30:00 | 0 | 193.15 | 4.195 | 237.468 | 3.9393 | 199.501 | 0.37567 | 12.119 | 21.98 | 972.621 | 22.0177 | 1.9878
2019-05-02 10:45:00 | 0 | 156.33 | 4.962 | 189.698 | 2.9167 | 167.622 | 1.007 | 1.0464 | 21.91 | 972.497 | 21.1997 | 4.4116
2019-05-02 11:00:00 | 0 | 183.294 | 3.9393 | 226.809 | 3.6837 | 159.835 | 4.7063 | 2.5309 | 22.14 | 972.541 | 17.5869 | 6.4253
2019-05-02 11:15:00 | 0 | 153.41 | 5.4733 | 199.87 | 6.7517 | 164.045 | 4.7063 | 338.675 | 22.37 | 972.449 | 18.6094 | 6.5362
2019-05-02 11:30:00 | 0 | 135.232 | 4.962 | 197.193 | 3.9393 | 142.07 | 1.2627 | 329.988 | 22.63 | 972.554 | 18.6776 | 7.5005
2019-05-02 11:45:00 | 0 | 144.187 | 5.9847 | 190.72 | 5.2177 | 157.28 | 5.729 | 335.682 | 22.38 | 972.302 | 20.3136 | 5.5016
2019-05-02 12:00:00 | 0 | 178.086 | 2.1497 | 196.56 | 2.4053 | 127.712 | 1.2627 | 331.302 | 22.51 | 972.671 | 21.8814 | 9.0154
2019-05-02 12:15:00 | 0 | 134.542 | 5.2177 | 176.799 | 5.4733 | 131.037 | 5.4733 | 317.322 | 22.11 | 972.264 | 22.0885 | 8.96
2019-05-02 12:30:00 | 0 | 146.451 | 4.4507 | 199.835 | 4.7063 | 167.456 | 0 | 327.342 | 22.36 | 972.318 | 22.2942 | 12.5218
2019-05-02 12:45:00 | 0 | 192.453 | 5.4733 | 232.449 | 5.4733 | 197.588 | 4.7063 | 0.31641 | 22.57 | 971.581 | 20.317 | 11.9048
2019-05-02 13:00:00 | 0 | 150.516 | 5.9847 | 186.302 | 8.2857 | 143.822 | 3.308 | 334.328 | 22.55 | 971.731 | 20.1807 | 14.8089
2019-05-02 13:15:00 | 0 | 171.847 | 5.2177 | 154.087 | 7.0073 | 113.867 | 5.9847 | 355.33 | 22.51 | 971.731 | 19.5342 | 14.8153
2019-05-02 13:30:00 | 0 | 153.149 | 6.496 | 205.804 | 7.0073 | 145.238 | 5.2177 | 332.706 | 22.66 | 972.028 | 19.0904 | 14.0995
2019-05-02 13:45:00 | 0 | 136.111 | 5.9847 | 181.879 | 5.4733 | 139.446 | 5.9847 | 314.283 | 22.69 | 972.325 | 18.886 | 16.1117
2019-05-02 14:00:00 | 0 | 190.822 | 5.4733 | 221.351 | 5.2177 | 185.565 | 6.2403 | 23.6094 | 23.14 | 972.77 | 19.4989 | 13.719
2019-05-02 14:15:00 | 8.2653 | 191.869 | 5.4733 | 244.06 | 6.2403 | 193.061 | 2.2853 | 26.5544 | 22.92 | 972.77 | 20.8284 | 13.815
2019-05-02 14:30:00 | 0 | 153.309 | 5.9847 | 203.744 | 4.195 | 125.392 | 1.6383 | 340.594 | 22.79 | 972.468 | 22.9069 | 14.7387
2019-05-02 14:45:00 | 0 | 144.869 | 6.496 | 188.895 | 5.9847 | 149.347 | 2.7967 | 337.8 | 23.02 | 972.019 | 23.2448 | 9.4255
2019-05-02 15:00:00 | 0 | 182.418 | 5.9847 | 230.362 | 5.729 | 186.287 | 2.4053 | 0.19468 | 23.06 | 971.881 | 23.4492 | 10.1424
2019-05-02 15:15:00 | 0 | 195.048 | 4.4507 | 229.292 | 4.7063 | 183.343 | 3.1723 | 15.6963 | 23.24 | 971.732 | 24.3354 | 10.6485
2019-05-02 15:30:00 | 0 | 194.61 | 5.729 | 234.207 | 5.4733 | 194.488 | 0 | 18.6896 | 23.32 | 971.732 | 23.7901 | 11.2508
2019-05-02 15:45:00 | 0 | 147.156 | 4.7063 | 197.364 | 6.7517 | 155.065 | 3.0523 | 329.404 | 22.73 | 971.732 | 22.5631 | 9.5475
2019-05-02 16:00:00 | 0 | 154.749 | 4.7063 | 198.191 | 5.729 | 157.547 | 2.541 | 350.575 | 22.84 | 972.028 | 22.4949 | 10.5673
2019-05-02 16:15:00 | 0 | 146.888 | 5.4733 | 198.41 | 5.729 | 152.778 | 2.661 | 341.912 | 22.97 | 971.435 | 22.4949 | 12.3223
2019-05-02 16:30:00 | 0 | 152.534 | 6.496 | 191.231 | 7.5187 | 144.576 | 1.774 | 339.089 | 22.79 | 971.435 | 22.3586 | 12.6401
2019-05-02 16:45:00 | 0 | 176.699 | 4.195 | 206.149 | 3.428 | 162.268 | 0.37567 | 355.978 | 22.67 | 971.732 | 21.6769 | 12.6475
2019-05-02 17:00:00 | 0 | 139.223 | 5.4733 | 182.495 | 7.263 | 148.786 | 4.4507 | 326.556 | 22.62 | 971.435 | 20.7907 | 13.8704
2019-05-02 17:15:00 | 0 | 156.915 | 4.4507 | 227.588 | 5.9847 | 188.551 | 5.4733 | 330.085 | 22.97 | 970.99 | 20.0409 | 9.7211
2019-05-02 17:30:00 | 0 | 174.923 | 5.4733 | 182.86 | 3.9393 | 169.764 | 5.9847 | 0.70573 | 22.68 | 971.139 | 22.0859 | 10.3456
2019-05-02 17:45:00 | 0 | 161.368 | 4.4507 | 208.412 | 4.195 | 165.821 | 1.5183 | 342.812 | 22.42 | 970.787 | 21.1997 | 8.0326
2019-05-02 18:00:00 | 0 | 161.15 | 4.195 | 193.139 | 4.7063 | 163.779 | 3.6837 | 0.63282 | 22.27 | 970.686 | 21.4076 | 6.1815
2019-05-02 18:15:00 | 0 | 147.205 | 4.7063 | 193.847 | 4.7063 | 153.947 | 3.6837 | 334.182 | 21.98 | 970.396 | 22.8396 | 4.3488
2019-05-02 18:30:00 | 0 | 156.375 | 5.2177 | 201.831 | 4.195 | 152.845 | 4.195 | 339.234 | 21.74 | 970.1 | 24.4105 | 5.0878
2019-05-02 18:45:00 | 0 | 160.473 | 3.6837 | 206.932 | 3.9393 | 167.533 | 0.63133 | 347.433 | 21.61 | 970.1 | 24.6164 | 3.9018
2019-05-02 19:00:00 | 0 | 156.41 | 5.2177 | 190.316 | 4.7063 | 152.611 | 4.4507 | 348.684 | 21.64 | 969.655 | 24.6205 | 3.8574
2019-05-02 19:15:00 | 0 | 158.918 | 3.428 | 206.289 | 3.9393 | 152.223 | 3.0523 | 346.372 | 21.64 | 969.897 | 25.098 | 4.0126
2019-05-02 19:30:00 | 0 | 157.3 | 5.2177 | 209.473 | 3.9393 | 160.271 | 3.0523 | 351.393 | 21.45 | 970.24 | 25.8505 | 7.0424
2019-05-02 19:45:00 | 0 | 156.241 | 5.729 | 209.297 | 4.962 | 156.582 | 3.6837 | 341.266 | 21.33 | 970.099 | 25.2727 | 7.9144
2019-05-02 20:00:00 | 0 | 156.948 | 4.962 | 203.795 | 4.7063 | 159.846 | 5.729 | 341.658 | 21.13 | 970.396 | 25.6139 | 7.4119
2019-05-02 20:15:00 | 0 | 176.722 | 4.7063 | 220.062 | 4.962 | 158.166 | 0 | 344.507 | 21.27 | 970.396 | 24.7612 | 10.0869
2019-05-02 20:30:00 | 0 | 152.541 | 4.962 | 202.285 | 4.7063 | 149.716 | 3.6837 | 342.949 | 21.6 | 970.693 | 25.0341 | 9.6953
2019-05-02 20:45:00 | 0 | 167.566 | 7.263 | 214.899 | 5.729 | 158.921 | 5.2177 | 352.617 | 21.18 | 970.693 | 25.307 | 9.4403
2019-05-02 21:00:00 | 0 | 156.34 | 4.7063 | 212.61 | 4.4507 | 153.831 | 4.7063 | 350.425 | 21.27 | 970.693 | 25.0341 | 7.7887
2019-05-02 21:15:00 | 0 | 173.216 | 5.4733 | 218.357 | 4.962 | 161.624 | 1.2627 | 356.805 | 21.48 | 971.138 | 24.4884 | 8.2136
2019-05-02 21:30:00 | 0 | 158.775 | 3.428 | 224.445 | 2.9167 | 158.702 | 4.195 | 347.941 | 21.21 | 971.138 | 25.648 | 9.3036
2019-05-02 21:45:00 | 0 | 155.414 | 4.962 | 197.536 | 4.7063 | 149.862 | 0 | 340.684 | 20.99 | 970.99 | 26.1937 | 8.4353
2019-05-02 22:00:00 | 0 | 159.993 | 5.9847 | 205.353 | 4.195 | 159.408 | 1.2627 | 342.535 | 20.66 | 971.138 | 26.3984 | 9.7322
2019-05-02 22:15:00 | 0 | 159.946 | 5.2177 | 203.262 | 4.7063 | 153.03 | 5.9847 | 344.342 | 20.78 | 971.138 | 26.5352 | 10.6707
2019-05-02 22:30:00 | 0 | 149.829 | 4.7063 | 202.308 | 4.4507 | 157.671 | 2.661 | 337.261 | 20.92 | 971.138 | 26.674 | 13.7153
2019-05-02 22:45:00 | 0 | 156.818 | 5.2177 | 197.363 | 5.2177 | 167.534 | 4.962 | 344.225 | 20.58 | 971.138 | 27.1514 | 13.8076
2019-05-02 23:00:00 | 0 | 156.362 | 4.7063 | 200.466 | 5.2177 | 150.907 | 5.729 | 341.561 | 20.33 | 971.138 | 28.0395 | 13.8187
2019-05-02 23:15:00 | 0 | 160.31 | 5.9847 | 199.154 | 5.2177 | 147.889 | 0 | 340.544 | 20.01 | 970.99 | 29.6773 | 13.9111
2019-05-02 23:30:00 | 0 | 157.243 | 5.9847 | 202.371 | 5.2177 | 160.19 | 4.4507 | 342.082 | 19.78 | 971.287 | 30.4963 | 18.659
2019-05-02 23:45:00 | 0.372 | 149.961 | 6.7517 | 197.452 | 4.195 | 150.691 | 3.1723 | 340.961 | 19.53 | 971.076 | 31.5879 | 18.0863