## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-04 00:00:00 | 5.2013 | 147.061 | 12.3763 | 200.542 | 11.6093 | 142.238 | 5.4733 | 323.47 | 19.78 | 970.248 | 36.1585 | 49.9802
2019-05-04 00:15:00 | 3.9247 | 140.437 | 10.5867 | 191.752 | 9.8197 | 138.611 | 1.774 | 326.129 | 19.43 | 970.099 | 37.0459 | 47.9664
2019-05-04 00:30:00 | 2.276 | 144.066 | 8.797 | 198.377 | 9.0527 | 155.806 | 5.729 | 327.98 | 19.33 | 969.982 | 37.5917 | 50.5271
2019-05-04 00:45:00 | 2.3927 | 142.897 | 12.1207 | 192.921 | 10.8423 | 146.405 | 5.4733 | 323.839 | 19.07 | 969.572 | 37.4552 | 51.2069
2019-05-04 01:00:00 | 3.6693 | 136.321 | 12.8877 | 187.344 | 12.1207 | 154.734 | 6.2403 | 320.721 | 19.17 | 969.839 | 37.3188 | 51.5098
2019-05-04 01:15:00 | 2.9033 | 139.755 | 12.3763 | 193.067 | 12.8877 | 141.241 | 1.894 | 319.601 | 19.15 | 969.702 | 37.4211 | 48.5059
2019-05-04 01:30:00 | 2.1373 | 135.639 | 9.3083 | 185.249 | 12.1207 | 158.29 | 2.4053 | 308.032 | 19.02 | 969.698 | 36.9094 | 50.4385
2019-05-04 01:45:00 | 3.414 | 138.44 | 13.1433 | 202.201 | 11.3537 | 152.518 | 5.9847 | 320.478 | 19.17 | 969.177 | 35.852 | 46.3223
2019-05-04 02:00:00 | 4.18 | 145.309 | 10.5867 | 195.625 | 10.8423 | 147.403 | 2.9167 | 327.2 | 19.18 | 969.598 | 35.9543 | 40.3034
2019-05-04 02:15:00 | 3.6693 | 135.323 | 10.331 | 190.072 | 9.3083 | 142.824 | 3.428 | 324.935 | 19.02 | 969.885 | 35.852 | 42.4094
2019-05-04 02:30:00 | 4.946 | 142.459 | 10.0753 | 206.098 | 10.0753 | 125.872 | 5.729 | 327.541 | 18.96 | 969.186 | 35.3062 | 47.5194
2019-05-04 02:45:00 | 3.414 | 136.54 | 10.8423 | 196.891 | 10.0753 | 136.711 | 3.1723 | 314.194 | 18.98 | 969.287 | 34.4534 | 54.3865
2019-05-04 03:00:00 | 5.712 | 131.45 | 12.632 | 189.39 | 11.3537 | 160.507 | 5.729 | 311.734 | 18.96 | 968.892 | 33.7029 | 50.0171
2019-05-04 03:15:00 | 3.1587 | 147.306 | 8.2857 | 185.688 | 10.5867 | 131.206 | 1.5183 | 323.571 | 18.77 | 969.206 | 33.1571 | 47.2312
2019-05-04 03:30:00 | 10.308 | 144.383 | 9.0527 | 183.179 | 6.7517 | 148.865 | 3.428 | 330.902 | 18.77 | 969.356 | 32.8842 | 47.6561
2019-05-04 03:45:00 | 3.6693 | 138.757 | 10.331 | 192.946 | 9.3083 | 137.125 | 6.2403 | 321.696 | 18.59 | 969.208 | 32.4407 | 48.8015
2019-05-04 04:00:00 | 4.6907 | 143.677 | 12.1207 | 191.119 | 11.865 | 145.333 | 5.4733 | 325.982 | 18.45 | 969.208 | 33.5323 | 51.7943
2019-05-04 04:15:00 | 0 | 135.834 | 9.8197 | 184.056 | 8.797 | 148.402 | 3.9393 | 320.381 | 18.12 | 969.208 | 34.3851 | 47.8261
2019-05-04 04:30:00 | 3.6693 | 140.511 | 10.331 | 191.606 | 9.3083 | 144.578 | 1.3827 | 325.739 | 18.16 | 969.06 | 34.3169 | 47.2423
2019-05-04 04:45:00 | 0.744 | 139.171 | 10.5867 | 185.639 | 10.0753 | 143.117 | 3.9393 | 320.21 | 18.06 | 968.911 | 34.658 | 49.0639
2019-05-04 05:00:00 | 4.18 | 137.466 | 10.0753 | 198.06 | 9.564 | 140.998 | 2.9167 | 329.149 | 18.16 | 968.911 | 33.9076 | 48.0293
2019-05-04 05:15:00 | 3.1587 | 140.389 | 10.0753 | 191.314 | 9.564 | 138.124 | 3.9393 | 328.199 | 18.16 | 969.356 | 32.6795 | 46.0378
2019-05-04 05:30:00 | 7.4993 | 131.669 | 9.564 | 176.408 | 7.5187 | 159.849 | 4.7063 | 320.77 | 18.28 | 969.208 | 31.315 | 45.7163
2019-05-04 05:45:00 | 4.6907 | 144.822 | 11.3537 | 195.284 | 10.8423 | 150.545 | 4.4507 | 313.683 | 18.34 | 969.06 | 30.8375 | 51.3805
2019-05-04 06:00:00 | 4.6907 | 130.646 | 4.962 | 176.359 | 5.9847 | 152.445 | 2.1497 | 314.243 | 18.41 | 969.653 | 30.6669 | 52.0788
2019-05-04 06:15:00 | 0 | 147.574 | 7.5187 | 202.664 | 9.3083 | 162.455 | 3.9393 | 317.287 | 18.42 | 969.802 | 30.4281 | 49.4259
2019-05-04 06:30:00 | 6.9887 | 142.094 | 7.5187 | 204.442 | 8.03 | 160.629 | 4.962 | 331.536 | 18.46 | 969.802 | 30.9057 | 51.0628
2019-05-04 06:45:00 | 1.138 | 123.583 | 8.03 | 175.677 | 7.263 | 131.815 | 2.1497 | 308.446 | 18.54 | 969.738 | 30.9398 | 52.2414
2019-05-04 07:00:00 | 1.51 | 138.879 | 8.2857 | 182.229 | 5.9847 | 153.833 | 3.1723 | 318.14 | 18.61 | 969.617 | 31.5197 | 51.8424
2019-05-04 07:15:00 | 4.18 | 146.405 | 5.9847 | 210.994 | 5.9847 | 154.783 | 1.5183 | 339.744 | 18.61 | 969.824 | 30.7692 | 49.8804
2019-05-04 07:30:00 | 4.18 | 126.11 | 8.5413 | 181.659 | 8.2857 | 143.304 | 3.1723 | 311.256 | 18.76 | 969.655 | 29.1986 | 47.7596
2019-05-04 07:45:00 | 5.2013 | 136.715 | 9.564 | 181.688 | 8.03 | 109.659 | 5.4733 | 321.843 | 18.67 | 969.803 | 30.56 | 44.5414
2019-05-04 08:00:00 | 0.372 | 142.708 | 7.7743 | 185.684 | 7.7743 | 135.767 | 3.9393 | 317.221 | 18.78 | 970.1 | 30.1512 | 40.0189
2019-05-04 08:15:00 | 0 | 131.337 | 8.797 | 179.818 | 10.331 | 163.386 | 2.1497 | 305.316 | 18.78 | 970.1 | 29.8105 | 39.243
2019-05-04 08:30:00 | 5.9673 | 136.25 | 8.2857 | 182.026 | 6.2403 | 151.957 | 5.2177 | 321.838 | 18.84 | 970.1 | 31.2417 | 42.1323
2019-05-04 08:45:00 | 6.7333 | 145.723 | 8.2857 | 193.252 | 8.2857 | 143.288 | 7.0073 | 333.868 | 18.81 | 970.545 | 30.8324 | 44.316
2019-05-04 09:00:00 | 5.9673 | 151.494 | 8.03 | 207.302 | 7.7743 | 147.451 | 2.9167 | 334.548 | 18.69 | 970.396 | 32.4693 | 42.3762
2019-05-04 09:15:00 | 8.5207 | 141.778 | 8.03 | 212.49 | 7.7743 | 151.884 | 4.4507 | 326.684 | 18.6 | 970.545 | 34.9934 | 42.8951
2019-05-04 09:30:00 | 9.2867 | 139.493 | 9.3083 | 192.721 | 5.9847 | 143.048 | 2.4053 | 326.303 | 18.63 | 970.545 | 35.0625 | 36.6085
2019-05-04 09:45:00 | 0 | 147.63 | 8.5413 | 200.836 | 7.263 | 154.353 | 5.9847 | 330.966 | 18.54 | 970.396 | 36.3594 | 30.9037
2019-05-04 10:00:00 | 0.372 | 160.786 | 7.0073 | 206.908 | 6.2403 | 148.363 | 2.2853 | 348.112 | 18.41 | 970.693 | 37.5887 | 25.3245
2019-05-04 10:15:00 | 0.744 | 162.625 | 5.2177 | 204.855 | 5.2177 | 121.902 | 1.3983 | 337.283 | 18.35 | 970.693 | 37.114 | 23.5509
2019-05-04 10:30:00 | 6.7333 | 155.587 | 7.263 | 208.753 | 7.0073 | 169.494 | 6.2403 | 356.817 | 18.24 | 970.76 | 39.8431 | 24.3343
2019-05-04 10:45:00 | 6.9887 | 182.184 | 5.9847 | 221.272 | 8.2857 | 144.627 | 5.729 | 350.777 | 18.11 | 970.779 | 42.5038 | 27.9811
2019-05-04 11:00:00 | 4.6907 | 158.851 | 7.263 | 222.563 | 7.263 | 130.792 | 3.9393 | 338.648 | 18.13 | 970.635 | 43.3908 | 26.0228
2019-05-04 11:15:00 | 0 | 175.9 | 7.0073 | 225.12 | 7.5187 | 197.674 | 0 | 356.817 | 17.64 | 970.302 | 47.6889 | 25.6274
2019-05-04 11:30:00 | 0 | 156.098 | 7.263 | 206.439 | 8.03 | 176.655 | 3.428 | 338.964 | 17.32 | 970.244 | 48.951 | 25.3984
2019-05-04 11:45:00 | 5.2013 | 154.54 | 7.5187 | 221.345 | 7.7743 | 167.278 | 3.6837 | 334.483 | 17.43 | 969.799 | 46.3585 | 26.8948
2019-05-04 12:00:00 | 3.6693 | 139.147 | 7.0073 | 197.841 | 8.2857 | 143.214 | 5.729 | 316.045 | 17.26 | 969.505 | 50.2132 | 29.2078
2019-05-04 12:15:00 | 2.648 | 140.559 | 7.5187 | 199.351 | 7.7743 | 178.384 | 4.962 | 325.885 | 17.24 | 969.49 | 52.8057 | 30.7079
2019-05-04 12:30:00 | 0 | 169.299 | 6.7517 | 220.614 | 7.5187 | 164.331 | 5.9847 | 325.666 | 17.02 | 969.356 | 56.2852 | 26.4847
2019-05-04 12:45:00 | 3.9247 | 142.345 | 9.0527 | 192.299 | 8.5413 | 138.545 | 5.2177 | 332.091 | 16.49 | 969.356 | 59.0173 | 30.4677
2019-05-04 13:00:00 | 0.99933 | 146.362 | 6.2403 | 161.533 | 5.2177 | 140.174 | 2.4053 | 318.613 | 16.62 | 968.911 | 51.3751 | 24.7813
2019-05-04 13:15:00 | 6.9887 | 129.313 | 8.2857 | 188.206 | 6.2403 | 147.556 | 4.962 | 314.94 | 16.81 | 968.614 | 46.3948 | 19.7453
2019-05-04 13:30:00 | 0 | 143.365 | 7.5187 | 186.474 | 6.496 | 138.202 | 2.0297 | 319.199 | 18.06 | 969.06 | 41.9595 | 17.5616
2019-05-04 13:45:00 | 0.62733 | 141.437 | 6.2403 | 194.189 | 7.5187 | 155.247 | 5.4733 | 315.487 | 17.73 | 969.06 | 50.0088 | 15.1378
2019-05-04 14:00:00 | 0.62733 | 144.334 | 5.729 | 201.324 | 6.2403 | 159.046 | 3.9393 | 321.257 | 17.43 | 968.614 | 45.5398 | 20.7466
2019-05-04 14:15:00 | 0 | 139.39 | 5.729 | 183.617 | 5.4733 | 143.945 | 3.9393 | 329.806 | 18.18 | 968.614 | 39.9795 | 29.8137
2019-05-04 14:30:00 | 1.882 | 130.841 | 8.03 | 170.441 | 7.5187 | 124.703 | 3.1723 | 313.488 | 18.63 | 968.591 | 34.5216 | 41.9587
2019-05-04 14:45:00 | 1.7653 | 140.973 | 9.0527 | 187.393 | 9.564 | 142.386 | 3.1723 | 322.841 | 19.66 | 968.151 | 33.9076 | 47.2608
2019-05-04 15:00:00 | 1.51 | 131.435 | 10.331 | 176.946 | 8.797 | 125.152 | 3.6837 | 305.124 | 20.01 | 968.319 | 32.5735 | 54.7173
2019-05-04 15:15:00 | 2.648 | 142.873 | 12.3763 | 198.705 | 11.3537 | 150.179 | 4.7063 | 327.072 | 19.62 | 968.467 | 47.2033 | 58.0793
2019-05-04 15:30:00 | 0 | 144.847 | 9.8197 | 199.06 | 10.0753 | 145.431 | 5.2177 | 322.198 | 17.98 | 968.723 | 58.8583 | 49.958
2019-05-04 15:45:00 | 0 | 144.602 | 8.03 | 185.666 | 8.2857 | 137.151 | 3.428 | 326.553 | 17.77 | 968.769 | 63.9045 | 37.3991
2019-05-04 16:00:00 | 6.2227 | 142.337 | 8.797 | 203.83 | 9.0527 | 165.37 | 2.1497 | 329.183 | 17.73 | 968.365 | 55.5158 | 36.712
2019-05-04 16:15:00 | 11.3293 | 139.635 | 9.3083 | 199.106 | 9.564 | 167.464 | 4.195 | 341.089 | 18.04 | 968.417 | 46.3768 | 35.3951
2019-05-04 16:30:00 | 2.7867 | 145.99 | 9.564 | 191.266 | 9.3083 | 145.576 | 4.4507 | 321.878 | 18.6 | 968.651 | 41.4663 | 27.8296
2019-05-04 16:45:00 | 6.9887 | 155.339 | 8.2857 | 203.464 | 8.797 | 163.812 | 1.2627 | 333.906 | 18.79 | 968.913 | 42.2165 | 23.8909
2019-05-04 17:00:00 | 11.074 | 148.717 | 10.331 | 195.381 | 10.8423 | 144.237 | 3.6837 | 340.529 | 18.48 | 968.617 | 42.8645 | 28.9713
2019-05-04 17:15:00 | 0 | 150.177 | 6.7517 | 204.243 | 7.263 | 162.083 | 4.962 | 335.367 | 18.7 | 968.617 | 43.8534 | 22.4351
2019-05-04 17:30:00 | 5.2013 | 154.803 | 6.7517 | 201.468 | 7.0073 | 154.657 | 0.75133 | 331.252 | 18.87 | 968.765 | 43.376 | 24.8404
2019-05-04 17:45:00 | 5.2013 | 140.146 | 7.0073 | 189.44 | 5.9847 | 137.395 | 5.729 | 325.336 | 19.01 | 968.617 | 43.6147 | 19.2095
2019-05-04 18:00:00 | 0 | 120.717 | 8.2857 | 174.734 | 8.03 | 113.899 | 0.37567 | 305.273 | 19.13 | 968.172 | 40.5115 | 22.8711
2019-05-04 18:15:00 | 4.18 | 109.857 | 7.5187 | 186.762 | 7.263 | 131.259 | 2.661 | 297.482 | 19.27 | 968.072 | 39.1475 | 22.6568
2019-05-04 18:30:00 | 2.3927 | 120.78 | 6.496 | 170.789 | 7.263 | 119.368 | 4.7063 | 302.924 | 19.21 | 968.312 | 39.6298 | 20.4103
2019-05-04 18:45:00 | 0 | 118.351 | 6.7517 | 166.536 | 7.263 | 114.211 | 1.007 | 304.083 | 19.03 | 968.319 | 41.5416 | 19.7526
2019-05-04 19:00:00 | 0 | 129.366 | 7.0073 | 176.631 | 6.7517 | 114.973 | 1.5183 | 324.536 | 19.25 | 968.319 | 41.4762 | 23.998
2019-05-04 19:15:00 | 8.2653 | 136.394 | 8.2857 | 165.301 | 6.2403 | 127.991 | 5.729 | 314.803 | 19.3 | 968.319 | 41.8216 | 31.1439
2019-05-04 19:30:00 | 7.244 | 132.522 | 7.5187 | 179.501 | 7.263 | 135.03 | 6.2403 | 317.75 | 19.18 | 968.281 | 41.6851 | 39.8563
2019-05-04 19:45:00 | 3.1587 | 136.053 | 7.7743 | 181.742 | 7.5187 | 137.953 | 2.1497 | 321.525 | 19.18 | 968.439 | 40.3889 | 36.7268
2019-05-04 20:00:00 | 8.2653 | 136.321 | 8.5413 | 180.061 | 7.7743 | 133.301 | 4.7063 | 320.795 | 19.21 | 968.677 | 41.6169 | 38.4929
2019-05-04 20:15:00 | 0.372 | 152.226 | 6.496 | 177.333 | 7.263 | 121.245 | 3.9393 | 322.597 | 19.32 | 968.558 | 41.7534 | 33.0615
2019-05-04 20:30:00 | 1.51 | 136.078 | 8.03 | 187.441 | 7.5187 | 140.608 | 5.9847 | 322.134 | 19.24 | 968.803 | 40.73 | 37.4066
2019-05-04 20:45:00 | 0 | 152.348 | 7.5187 | 191.971 | 6.496 | 134.689 | 5.729 | 330.61 | 19.35 | 969.172 | 40.73 | 36.9743
2019-05-04 21:00:00 | 0 | 130.865 | 7.0073 | 188.074 | 6.2403 | 151.495 | 5.2177 | 311.734 | 18.98 | 969.12 | 42.7085 | 43.0782
2019-05-04 21:15:00 | 7.4993 | 136.005 | 8.797 | 179.598 | 6.496 | 125.483 | 4.4507 | 318.31 | 18.88 | 969.014 | 42.7426 | 40.5435
2019-05-04 21:30:00 | 3.6693 | 135.128 | 6.496 | 182.643 | 6.496 | 140.876 | 5.9847 | 317.36 | 18.77 | 968.91 | 43.3225 | 42.0104
2019-05-04 21:45:00 | 1.6267 | 132.01 | 9.564 | 174.654 | 7.263 | 128.6 | 4.962 | 322.426 | 18.65 | 968.613 | 43.6637 | 43.3997
2019-05-04 22:00:00 | 0 | 136.784 | 6.496 | 186.467 | 5.9847 | 139.098 | 4.962 | 306.912 | 18.67 | 969.06 | 44.9599 | 43.141
2019-05-04 22:15:00 | 1.116 | 141.46 | 7.7743 | 191.216 | 7.7743 | 134.933 | 5.4733 | 316.264 | 18.62 | 968.762 | 45.4375 | 41.5153
2019-05-04 22:30:00 | 2.1373 | 136.102 | 7.263 | 182.74 | 7.0073 | 129.234 | 5.4733 | 308.227 | 18.91 | 969.06 | 44.1412 | 34.9422
2019-05-04 22:45:00 | 3.042 | 126.676 | 6.2403 | 182.887 | 6.496 | 135.688 | 5.2177 | 307.837 | 18.96 | 969.208 | 44.2777 | 34.787
2019-05-04 23:00:00 | 0.62733 | 116.495 | 6.496 | 183.788 | 7.0073 | 130.939 | 3.428 | 298.265 | 18.94 | 969.208 | 43.1179 | 33.309
2019-05-04 23:15:00 | 0.372 | 138.489 | 5.2177 | 170.124 | 5.9847 | 115.034 | 1.5183 | 331.609 | 19.14 | 969.356 | 41.7534 | 31.1291
2019-05-04 23:30:00 | 3.1587 | 133.058 | 5.4733 | 199.887 | 5.9847 | 143.726 | 5.9847 | 318.992 | 19.04 | 969.505 | 41.6169 | 31.9678
2019-05-04 23:45:00 | 4.946 | 134.105 | 8.03 | 187.344 | 7.263 | 139.463 | 6.496 | 318.481 | 18.98 | 969.356 | 41.4122 | 32.7031