## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-05 00:00:00 | 10.308 | 130.792 | 8.5413 | 183.033 | 8.03 | 135.152 | 7.263 | 317.312 | 19.21 | 969.347 | 40.7982 | 33.346
2019-05-05 00:15:00 | 0 | 125.556 | 6.2403 | 183.958 | 6.7517 | 137.393 | 0 | 312.148 | 19.29 | 969.642 | 40.8664 | 26.5364
2019-05-05 00:30:00 | 0.88267 | 142.8 | 7.5187 | 187.392 | 7.7743 | 132.181 | 4.4507 | 323.133 | 19.2 | 969.157 | 40.7982 | 41.9919
2019-05-05 00:45:00 | 1.2547 | 128.04 | 8.03 | 181.084 | 5.9847 | 145.796 | 5.729 | 309.591 | 19.21 | 969.202 | 40.3207 | 35.707
2019-05-05 01:00:00 | 0 | 135.615 | 8.2857 | 182.448 | 5.729 | 133.179 | 4.962 | 322.816 | 19.26 | 969.284 | 39.7066 | 27.6337
2019-05-05 01:15:00 | 0 | 137.929 | 6.2403 | 177.772 | 4.7063 | 144.481 | 5.2177 | 324.935 | 19.15 | 969.18 | 39.9795 | 25.2395
2019-05-05 01:30:00 | 0 | 134.007 | 5.9847 | 181.791 | 4.962 | 140.048 | 3.6837 | 312.928 | 19.28 | 969.149 | 40.1842 | 20.6874
2019-05-05 01:45:00 | 0 | 127.431 | 4.962 | 187.685 | 5.2177 | 134.665 | 0 | 324.399 | 19.25 | 969.027 | 40.5253 | 20.1702
2019-05-05 02:00:00 | 0.99933 | 129.404 | 4.4507 | 188.927 | 3.9393 | 142.581 | 4.4507 | 298.704 | 18.92 | 969.188 | 39.0244 | 22.1469
2019-05-05 02:15:00 | 0 | 131.645 | 4.195 | 184.007 | 4.7063 | 130.305 | 2.1497 | 306.035 | 18.72 | 969.059 | 39.8431 | 23.03
2019-05-05 02:30:00 | 0 | 140.243 | 4.962 | 175.604 | 4.4507 | 128.917 | 1.007 | 319.577 | 18.53 | 968.911 | 39.3655 | 21.6001
2019-05-05 02:45:00 | 0 | 138.051 | 3.1723 | 197.987 | 3.428 | 154.613 | 5.4733 | 316.971 | 18.73 | 968.911 | 39.7066 | 21.9437
2019-05-05 03:00:00 | 0 | 137.076 | 6.7517 | 185.566 | 5.2177 | 131.815 | 5.9847 | 321.55 | 19.26 | 968.614 | 36.773 | 22.4647
2019-05-05 03:15:00 | 0 | 131.937 | 5.2177 | 189.268 | 5.4733 | 134.373 | 4.4507 | 308.47 | 19.28 | 969.06 | 37.2847 | 20.3882
2019-05-05 03:30:00 | 0 | 138.197 | 6.2403 | 187.855 | 5.9847 | 136.979 | 4.962 | 325.398 | 19.44 | 969.208 | 37.7963 | 19.1171
2019-05-05 03:45:00 | 0 | 113.841 | 5.729 | 169.588 | 5.2177 | 99.714 | 1.1427 | 304.963 | 19.51 | 969.204 | 36.9777 | 17.1589
2019-05-05 04:00:00 | 0 | 130.232 | 5.4733 | 176.164 | 5.2177 | 122.901 | 0 | 310.054 | 19.5 | 969.202 | 36.2272 | 17.085
2019-05-05 04:15:00 | 0 | 124.216 | 4.962 | 185.712 | 4.4507 | 106.704 | 0 | 307.788 | 19.66 | 969.426 | 36.5683 | 14.4173
2019-05-05 04:30:00 | 0 | 121.781 | 3.9393 | 165.789 | 3.428 | 83.6389 | 0 | 310.078 | 19.73 | 969.719 | 36.5683 | 12.9393
2019-05-05 04:45:00 | 0 | 116.422 | 3.9393 | 167.055 | 2.661 | 83.9312 | 0 | 300.944 | 19.78 | 969.538 | 36.5683 | 11.7053
2019-05-05 05:00:00 | 0 | 134.446 | 3.9393 | 176.018 | 3.6837 | 120.904 | 0 | 312.002 | 19.44 | 969.384 | 36.773 | 10.5266
2019-05-05 05:15:00 | 0 | 140.437 | 2.661 | 185.955 | 1.127 | 118.468 | 0 | 310.979 | 19.68 | 969.451 | 37.9328 | 9.9798
2019-05-05 05:30:00 | 0 | 130.695 | 3.1723 | 176.408 | 0.37567 | 98.3988 | 0 | 320.673 | 19.36 | 969.894 | 38.5468 | 10.9552
2019-05-05 05:45:00 | 0 | 122.438 | 4.4507 | 174.386 | 2.4053 | 123.875 | 0 | 307.959 | 19.23 | 969.888 | 37.7281 | 11.4245
2019-05-05 06:00:00 | 0 | 124.606 | 2.9167 | 165.326 | 1.894 | 133.179 | 0 | 310.687 | 19.65 | 969.886 | 38.0692 | 12.374
2019-05-05 06:15:00 | 0 | 121.669 | 4.195 | 171.66 | 2.661 | 134.089 | 0 | 313.11 | 19.58 | 970.101 | 37.7236 | 10.2791
2019-05-05 06:30:00 | 0 | 116.67 | 4.4507 | 168.874 | 3.6837 | 118.01 | 0 | 294.537 | 19.91 | 970.545 | 36.9032 | 7.6225
2019-05-05 06:45:00 | 0 | 70.4901 | 1.3827 | 125.217 | 0.75133 | 73.8502 | 0 | 269.348 | 20.25 | 971.168 | 37.5123 | 4.5114
2019-05-05 07:00:00 | 0 | 91.541 | 1.894 | 138.809 | 0.37567 | 91.541 | 0 | 277.277 | 21.1 | 971.584 | 36.0758 | 2.9781
2019-05-05 07:15:00 | 0 | 94.6452 | 1.6383 | 112.036 | 0 | 65.8232 | 0 | 274.904 | 21.1 | 971.732 | 36.6166 | 2.2908
2019-05-05 07:30:00 | 0 | 34.7569 | 3.1723 | 88.1407 | 1.6383 | 20.64 | 0 | 245.854 | 21.29 | 972.028 | 37.2934 | 0.7131
2019-05-05 07:45:00 | 0.372 | 16.4531 | 2.661 | 60.1235 | 2.661 | 4.3323 | 0 | 202.743 | 21.17 | 972.008 | 37.565 | 0.61334
2019-05-05 08:00:00 | 0 | 84.809 | 2.4053 | 49.6967 | 2.1497 | 333.687 | 0.75133 | 180.861 | 20.84 | 971.971 | 41.5815 | -0.12193
2019-05-05 08:15:00 | 0 | 2.8959 | 1.3827 | 16.447 | 0 | 353.496 | 0 | 134.064 | 21.32 | 972.623 | 44.1718 | -0.33254
2019-05-05 08:30:00 | 0 | 16.8888 | 2.1497 | 48.6258 | 2.4053 | 319.718 | 0 | 198.358 | 21.34 | 972.622 | 45.5692 | 0.20322
2019-05-05 08:45:00 | 0 | 16.9618 | 2.1497 | 45.5108 | 2.661 | 318.793 | 0 | 201.619 | 20.2 | 972.622 | 47.955 | 0.28081
2019-05-05 09:00:00 | 0 | 8.3964 | 2.1497 | 77.0578 | 2.4053 | 41.8604 | 1.007 | 201.904 | 19.74 | 972.665 | 49.0499 | 1.1417
2019-05-05 09:15:00 | 0 | 0.82754 | 2.661 | 317.297 | 2.9167 | 307.992 | 0.37567 | 212.679 | 20.53 | 973.347 | 45.6792 | 3.1591
2019-05-05 09:30:00 | 1.2547 | 29.1101 | 5.729 | 59.4199 | 2.4053 | 0.048679 | 2.661 | 194.716 | 20.57 | 973.066 | 44.1111 | 4.9252
2019-05-05 09:45:00 | 0 | 16.6482 | 5.729 | 72.6362 | 4.195 | 22.6844 | 3.0523 | 217.084 | 20.18 | 972.918 | 48.8836 | 8.7827
2019-05-05 10:00:00 | 5.4567 | 24.0479 | 8.03 | 68.4272 | 5.2177 | 25.3866 | 4.962 | 161.253 | 20.08 | 972.77 | 46.0892 | 20.765
2019-05-05 10:15:00 | 10.8187 | 348.682 | 7.0073 | 68.1685 | 5.729 | 14.5812 | 5.729 | 166.99 | 20.32 | 972.621 | 46.1621 | 35.2881
2019-05-05 10:30:00 | 4.18 | 15.5556 | 7.7743 | 81.4157 | 7.263 | 38.2196 | 4.195 | 183.405 | 20.6 | 973.066 | 42.2093 | 46.2466
2019-05-05 10:45:00 | 5.712 | 19.6453 | 9.564 | 80.1252 | 4.7063 | 60.7616 | 1.5183 | 181.189 | 20.83 | 973.215 | 42.3456 | 59.1006
2019-05-05 11:00:00 | 3.6693 | 352.086 | 8.2857 | 46.4786 | 6.496 | 57.7398 | 5.9847 | 181.763 | 20.86 | 973.066 | 44.8661 | 67.309
2019-05-05 11:15:00 | 2.5313 | 355.628 | 8.5413 | 40.103 | 9.0527 | 52.6784 | 3.9393 | 169.89 | 20.37 | 972.918 | 45.0722 | 67.8104
2019-05-05 11:30:00 | 4.6907 | 347.725 | 11.6093 | 47.4076 | 10.5867 | 53.7264 | 3.1723 | 171.306 | 20.84 | 972.918 | 45.8915 | 71.7079
2019-05-05 11:45:00 | 13.1167 | 341.395 | 9.8197 | 76.985 | 9.564 | 53.3612 | 6.2403 | 151.247 | 20.8 | 972.77 | 46.6757 | 63.1782
2019-05-05 12:00:00 | 3.1587 | 330.731 | 8.03 | 60.1389 | 7.263 | 53.8479 | 3.9393 | 151.612 | 20.47 | 972.918 | 47.8688 | 64.1753
2019-05-05 12:15:00 | 6.2227 | 1.8014 | 9.0527 | 67.0043 | 9.0527 | 45.7661 | 4.195 | 169.602 | 20.71 | 972.918 | 48.5851 | 67.4568
2019-05-05 12:30:00 | 3.6693 | 350.378 | 11.098 | 46.653 | 8.2857 | 28.3117 | 1.894 | 170.26 | 21.17 | 972.621 | 49.642 | 64.4341
2019-05-05 12:45:00 | 10.308 | 0.26778 | 9.0527 | 80.5394 | 6.2403 | 37.5379 | 3.6837 | 185.742 | 20.69 | 972.621 | 52.0286 | 69.5214
2019-05-05 13:00:00 | 1.51 | 21.958 | 9.3083 | 80.9288 | 11.098 | 30.6487 | 1.2627 | 207.53 | 20.9 | 972.325 | 55.7109 | 75.7887
2019-05-05 13:15:00 | 5.4567 | 0.17041 | 10.331 | 67.9537 | 10.5867 | 18.769 | 2.4053 | 174.885 | 20.55 | 972.177 | 54.8244 | 78.0758
2019-05-05 13:30:00 | 5.712 | 13.1702 | 8.03 | 95.075 | 11.098 | 29.7486 | 5.729 | 174.694 | 20.39 | 971.731 | 57.2123 | 72.9178
2019-05-05 13:45:00 | 4.946 | 19.3072 | 9.8197 | 80.9673 | 5.9847 | 38.6632 | 5.4733 | 181.629 | 19.91 | 971.88 | 58.7194 | 79.369
2019-05-05 14:00:00 | 5.9673 | 8.1565 | 10.331 | 70.4035 | 12.1207 | 40.6609 | 5.729 | 180.636 | 19.84 | 971.583 | 60.017 | 79.1177
2019-05-05 14:15:00 | 13.8827 | 13.0261 | 11.865 | 70.2087 | 9.8197 | 49.8643 | 5.4733 | 188.501 | 19.65 | 971.583 | 64.8593 | 81.0538
2019-05-05 14:30:00 | 5.712 | 22.2539 | 16.7227 | 81.2139 | 7.263 | 49.6209 | 5.729 | 200.139 | 19.51 | 971.444 | 62.8133 | 76.9341
2019-05-05 14:45:00 | 5.4567 | 10.4209 | 14.166 | 68.5774 | 10.0753 | 49.8643 | 3.9393 | 196.122 | 19.75 | 971.624 | 59.335 | 86.4113
2019-05-05 15:00:00 | 4.4353 | 16.8974 | 14.933 | 69.3078 | 10.0753 | 48.0139 | 4.962 | 193.492 | 18.83 | 971.146 | 56.1296 | 85.9975
2019-05-05 15:15:00 | 5.9673 | 15.8024 | 14.6773 | 69.3848 | 11.098 | 46.7499 | 5.9847 | 196.666 | 17.95 | 971.044 | 55.5182 | 85.628
2019-05-05 15:30:00 | 5.4567 | 16.535 | 14.933 | 67.1312 | 10.8423 | 46.0739 | 5.9847 | 198.152 | 17.68 | 970.989 | 54.6384 | 82.8717
2019-05-05 15:45:00 | 5.712 | 10.3018 | 13.9103 | 64.4847 | 10.5867 | 45.6885 | 4.4507 | 193.153 | 17.48 | 970.841 | 53.9954 | 82.6183
2019-05-05 16:00:00 | 5.2013 | 18.2915 | 12.1207 | 65.7823 | 9.564 | 45.5947 | 2.2853 | 199.038 | 17.25 | 971.382 | 54.0338 | 80.3629
2019-05-05 16:15:00 | 4.946 | 21.8474 | 13.399 | 76.3041 | 6.496 | 45.7895 | 3.6837 | 195.044 | 17.05 | 971.415 | 53.3174 | 76.7087
2019-05-05 16:30:00 | 5.9673 | 21.3116 | 14.933 | 84.1955 | 8.797 | 47.2752 | 5.2177 | 208.001 | 16.8 | 971.583 | 51.373 | 78.0499
2019-05-05 16:45:00 | 5.2013 | 23.1383 | 15.1887 | 74.1121 | 6.7517 | 53.3886 | 6.2403 | 204.518 | 16.28 | 971.286 | 51.0319 | 79.3953
2019-05-05 17:00:00 | 7.244 | 26.4512 | 14.933 | 80.3488 | 6.7517 | 48.8835 | 5.729 | 210.562 | 15.93 | 971.286 | 48.9177 | 73.2946
2019-05-05 17:15:00 | 5.9673 | 12.0323 | 12.8877 | 65.7848 | 11.098 | 48.3727 | 2.1497 | 207.618 | 15.69 | 971.286 | 47.6903 | 78.4194
2019-05-05 17:30:00 | 5.2013 | 21.3396 | 12.3763 | 72.0817 | 9.564 | 48.4282 | 4.7063 | 213.03 | 15.35 | 971.583 | 47.0146 | 74.6375
2019-05-05 17:45:00 | 6.7333 | 20.5878 | 14.166 | 85.8628 | 3.6837 | 48.826 | 3.6837 | 202.467 | 15.17 | 971.286 | 46.5446 | 73.2931
2019-05-05 18:00:00 | 5.4567 | 31.1865 | 13.9103 | 74.0955 | 8.797 | 51.2628 | 5.4733 | 207.195 | 15.15 | 971.731 | 45.9307 | 71.9756
2019-05-05 18:15:00 | 4.946 | 3.1917 | 12.632 | 63.6431 | 7.7743 | 51.4577 | 4.195 | 188.581 | 15.08 | 972.177 | 44.8388 | 69.9337
2019-05-05 18:30:00 | 5.9673 | 24.0721 | 11.3537 | 82.9885 | 8.03 | 7.5286 | 6.2403 | 201.981 | 15.09 | 972.325 | 43.3714 | 63.4846
2019-05-05 18:45:00 | 4.946 | 15.7638 | 12.3763 | 64.6908 | 5.2177 | 93.8031 | 3.428 | 204.734 | 15.08 | 972.201 | 41.7335 | 62.2766
2019-05-05 19:00:00 | 5.9673 | 12.2066 | 12.632 | 78.5054 | 6.7517 | 44.8793 | 5.2177 | 203.833 | 14.93 | 972.514 | 41.8359 | 57.6359
2019-05-05 19:15:00 | 5.712 | 12.6451 | 10.0753 | 62.6929 | 2.1497 | 13.7903 | 2.2853 | 201.664 | 14.81 | 972.863 | 42.1771 | 48.5852
2019-05-05 19:30:00 | 5.9673 | 35.5245 | 10.331 | 84.6973 | 6.7517 | 29.9205 | 4.7063 | 218.702 | 14.46 | 973.111 | 42.5538 | 40.6831
2019-05-05 19:45:00 | 1.51 | 16.3996 | 8.5413 | 70.5753 | 6.2403 | 44.2033 | 4.4507 | 211.805 | 14.16 | 973.216 | 42.183 | 33.5529
2019-05-05 20:00:00 | 6.7333 | 15.6933 | 8.03 | 73.4288 | 4.962 | 39.5744 | 3.9393 | 211.104 | 14.05 | 973.662 | 39.5903 | 33.5328
2019-05-05 20:15:00 | 6.478 | 41.3534 | 7.7743 | 107.521 | 5.729 | 26.1231 | 2.1497 | 220.024 | 13.9 | 973.662 | 37.2013 | 29.0616
2019-05-05 20:30:00 | 4.946 | 39.3302 | 7.7743 | 99.745 | 4.195 | 49.6135 | 2.9167 | 222.164 | 14.02 | 973.959 | 35.7331 | 28.8678
2019-05-05 20:45:00 | 13.8827 | 28.5841 | 7.7743 | 83.2976 | 6.2403 | 46.4705 | 1.894 | 212.078 | 14.09 | 974.256 | 32.7642 | 26.7876
2019-05-05 21:00:00 | 5.712 | 26.6835 | 7.7743 | 82.4938 | 3.9393 | 38.4778 | 4.962 | 219.633 | 14.21 | 974.85 | 30.307 | 19.6898
2019-05-05 21:15:00 | 3.808 | 22.5162 | 6.7517 | 77.3265 | 5.9847 | 2.9242 | 4.195 | 198.357 | 14.35 | 974.85 | 28.6002 | 14.2917
2019-05-05 21:30:00 | 0.88267 | 18.1788 | 5.4733 | 22.937 | 3.1723 | 56.7051 | 0 | 213.588 | 14.33 | 974.85 | 28.3273 | 13.7744
2019-05-05 21:45:00 | 5.4567 | 10.4296 | 5.729 | 49.7174 | 1.6383 | 79.684 | 4.195 | 197.431 | 14.24 | 975.295 | 26.4159 | 10.4749
2019-05-05 22:00:00 | 9.0313 | 29.4611 | 7.5187 | 81.0549 | 2.4053 | 23.6128 | 1.6383 | 201.647 | 14.31 | 975.443 | 24.6412 | 10.3751
2019-05-05 22:15:00 | 2.276 | 14.6694 | 7.0073 | 65.7258 | 1.6383 | 78.513 | 5.4733 | 198.695 | 14.09 | 975.443 | 24.0265 | 9.3664
2019-05-05 22:30:00 | 0.372 | 27.9262 | 6.496 | 83.6633 | 1.3827 | 58.338 | 5.4733 | 217.293 | 14.07 | 975.443 | 22.5937 | 11.8383
2019-05-05 22:45:00 | 5.712 | 25.8546 | 9.3083 | 78.3741 | 4.195 | 13.5487 | 0.37567 | 218.85 | 13.99 | 975.146 | 21.3648 | 13.6894
2019-05-05 23:00:00 | 6.2227 | 28.7302 | 6.7517 | 76.7663 | 4.195 | 23.0524 | 4.962 | 225.114 | 14.08 | 975.443 | 19.8632 | 17.2475
2019-05-05 23:15:00 | 9.0313 | 25.8545 | 7.263 | 84.8801 | 1.894 | 6.8474 | 5.729 | 218.996 | 14.08 | 975.295 | 19.3852 | 19.3795
2019-05-05 23:30:00 | 0 | 27.5606 | 4.962 | 81.7379 | 3.6837 | 36.5038 | 5.729 | 216.05 | 13.99 | 975.74 | 19.4537 | 17.4138
2019-05-05 23:45:00 | 9.0313 | 28.5358 | 6.7517 | 83.5183 | 4.7063 | 24.32 | 3.428 | 223.656 | 14.06 | 975.443 | 18.7032 | 14.7055