## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-06 00:00:00 | 0 | 28.3651 | 4.7063 | 78.303 | 2.1497 | 21.9317 | 3.1723 | 219.707 | 13.94 | 975.889 | 19.5905 | 7.3786
2019-05-06 00:15:00 | 0 | 38.8441 | 5.2177 | 83.9091 | 2.9167 | 32.7275 | 0.75133 | 224.633 | 13.96 | 976.037 | 18.2938 | 2.2169
2019-05-06 00:30:00 | 0 | 33.2391 | 4.7063 | 84.055 | 3.428 | 25.7335 | 0.37567 | 215.932 | 14.05 | 976.037 | 18.7715 | 2.9965
2019-05-06 00:45:00 | 0 | 14.4271 | 4.962 | 71.0467 | 3.9393 | 21.6406 | 0 | 207.463 | 13.75 | 976.037 | 16.7246 | 5.8453
2019-05-06 01:00:00 | 0 | 24.8821 | 4.962 | 80.3569 | 3.6837 | 22.1282 | 0 | 218.382 | 13.95 | 976.037 | 18.0217 | 6.5805
2019-05-06 01:15:00 | 0 | 44.0369 | 4.962 | 85.0355 | 3.1723 | 18.0339 | 0 | 226.204 | 13.58 | 976.037 | 18.0217 | 5.1839
2019-05-06 01:30:00 | 0 | 45.0391 | 5.9847 | 98.6906 | 4.7063 | 36.8014 | 0 | 231.215 | 14.02 | 976.037 | 17.4767 | 5.6568
2019-05-06 01:45:00 | 0 | 50.2521 | 6.7517 | 94.9315 | 5.2177 | 38.5055 | 5.4733 | 233.08 | 14.55 | 975.74 | 15.5644 | 10.0093
2019-05-06 02:00:00 | 17.4573 | 52.3927 | 6.496 | 101.722 | 4.962 | 48.3962 | 8.2857 | 230.82 | 14.55 | 976.037 | 15.0854 | 10.752
2019-05-06 02:15:00 | 0.99933 | 41.133 | 5.729 | 88.8271 | 4.195 | 50.4172 | 0 | 248.163 | 14.53 | 976.037 | 15.2897 | 10.837
2019-05-06 02:30:00 | 0 | 27.3903 | 4.195 | 73.2342 | 3.1723 | 11.2095 | 4.7063 | 220.048 | 14.33 | 975.889 | 15.9044 | 9.9798
2019-05-06 02:45:00 | 0 | 31.2395 | 4.962 | 79.8105 | 3.1723 | 26.5365 | 3.1723 | 231.153 | 14.23 | 975.74 | 15.8357 | 9.3738
2019-05-06 03:00:00 | 11.074 | 52.9265 | 6.496 | 101.034 | 5.2177 | 33.5786 | 5.4733 | 233.612 | 14.05 | 975.443 | 16.1768 | 12.7435
2019-05-06 03:15:00 | 0 | 43.6923 | 5.4733 | 106.788 | 5.2177 | 60.214 | 3.9393 | 230.134 | 14.17 | 975.74 | 15.9042 | 10.8591
2019-05-06 03:30:00 | 0 | 88.0164 | 4.4507 | 107.297 | 3.9393 | 31.1664 | 0.63133 | 258.908 | 14.15 | 975.74 | 15.6991 | 11.1547
2019-05-06 03:45:00 | 8.2653 | 67.3533 | 7.5187 | 126.233 | 6.496 | 59.9941 | 4.7063 | 248.335 | 14.37 | 975.74 | 14.8119 | 16.1132
2019-05-06 04:00:00 | 0 | 40.8413 | 2.9167 | 62.7304 | 1.6383 | 299.194 | 0 | 232.693 | 14.35 | 976.334 | 19.7949 | 3.2662
2019-05-06 04:15:00 | 0 | 14.2076 | 2.661 | 52.8655 | 1.6383 | 9.9185 | 0 | 204.803 | 11.86 | 976.037 | 21.4344 | 0.11084
2019-05-06 04:30:00 | 0 | 4.6552 | 2.661 | 44.4415 | 2.9167 | 0.048745 | 0 | 219.452 | 11.4 | 976.037 | 37.1394 | 2.494
2019-05-06 04:45:00 | 0 | 0.8043 | 4.4507 | 52.8502 | 2.9167 | 5.2645 | 4.195 | 202.318 | 8.23 | 975.473 | 60.6588 | 4.7516
2019-05-06 05:00:00 | 0 | 85.315 | 3.9393 | 63.2431 | 4.4507 | 13.9429 | 0.63133 | 190.472 | 8.65 | 975.611 | 41.4456 | 6.7874
2019-05-06 05:15:00 | 3.9247 | 5.997 | 4.962 | 59.6427 | 4.4507 | 9.7512 | 2.9167 | 198.193 | 9.72 | 976.038 | 36.3962 | 4.4264
2019-05-06 05:30:00 | 2.0207 | 5.1194 | 4.4507 | 54.7915 | 3.9393 | 11.0188 | 0 | 190.245 | 10.74 | 976.336 | 32.9136 | 5.594
2019-05-06 05:45:00 | 0.372 | 8.5808 | 4.962 | 65.1739 | 4.195 | 13.2612 | 0 | 198.187 | 10.63 | 976.618 | 32.5029 | 3.7946
2019-05-06 06:00:00 | 0 | 15.6004 | 4.4507 | 68.7275 | 2.4053 | 8.239 | 0 | 200.417 | 11.39 | 976.776 | 28.8138 | 2.8561
2019-05-06 06:15:00 | 0 | 16.0373 | 3.428 | 72.5681 | 3.1723 | 15.4036 | 0 | 201.856 | 11.95 | 977.331 | 25.2604 | 1.1824
2019-05-06 06:30:00 | 0 | 18.9133 | 4.195 | 66.962 | 1.894 | 11.8452 | 0 | 207.534 | 12.03 | 977.525 | 25.2603 | 1.4558
2019-05-06 06:45:00 | 0 | 15.5011 | 3.6837 | 57.7979 | 2.1497 | 7.1169 | 0 | 200.856 | 12.1 | 977.819 | 31.4047 | 1.1011
2019-05-06 07:00:00 | 0 | 20.4693 | 3.6837 | 67.0431 | 1.127 | 16.8628 | 0 | 207.154 | 11.9 | 978.116 | 33.1052 | 0.45077
2019-05-06 07:15:00 | 0 | 31.3846 | 2.4053 | 77.0046 | 0 | 27.7783 | 0 | 216.67 | 12.23 | 978.71 | 37.4718 | -0.12932
2019-05-06 07:30:00 | 0 | 39.909 | 1.894 | 82.9155 | 1.3827 | 24.3645 | 0 | 241.622 | 12.66 | 978.565 | 33.9874 | -0.23647
2019-05-06 07:45:00 | 0 | 92.5075 | 1.127 | 81.8118 | 0.37567 | 18.3164 | 0 | 278.131 | 12.98 | 979.005 | 34.0451 | -0.24016
2019-05-06 08:00:00 | 0 | 41.99 | 1.6383 | 57.2577 | 1.3827 | 20.0695 | 0 | 271.376 | 14.23 | 979.299 | 34.1122 | -0.24016
2019-05-06 08:15:00 | 0 | 0.12176 | 1.894 | 62.4562 | 1.894 | 17.0465 | 0 | 201.246 | 13.31 | 979.151 | 39.1543 | -0.24016
2019-05-06 08:30:00 | 0 | 5.1624 | 1.894 | 58.7023 | 1.894 | 20.8444 | 0 | 191.399 | 13.5 | 979.143 | 40.1075 | -0.24016
2019-05-06 08:45:00 | 0 | 4.2609 | 1.894 | 60.8841 | 1.894 | 18.115 | 0 | 190.815 | 14.23 | 979.464 | 36.0105 | -0.24016
2019-05-06 09:00:00 | 0 | 15.12 | 4.4507 | 28.0139 | 3.6837 | 6.1357 | 0 | 190.181 | 15.03 | 979.448 | 44.9446 | -0.24016
2019-05-06 09:15:00 | 0 | 300.428 | 2.661 | 6.9983 | 2.9167 | 287.694 | 0 | 100.605 | 13.93 | 979.593 | 46.6155 | -0.25864
2019-05-06 09:30:00 | 0 | 290.664 | 1.894 | 236.796 | 2.1497 | 295.728 | 0 | 114.581 | 14.22 | 979.593 | 40.9206 | -0.25864
2019-05-06 09:45:00 | 0 | 255.474 | 2.1497 | 311.819 | 0.37567 | 292.185 | 0 | 89.8807 | 14.92 | 979.742 | 36.7558 | -0.24016
2019-05-06 10:00:00 | 0 | 285.698 | 3.428 | 333.909 | 3.1723 | 274.743 | 0.37567 | 83.0607 | 14.73 | 979.742 | 36.686 | -0.25864
2019-05-06 10:15:00 | 0 | 291.929 | 3.6837 | 11.2363 | 2.9167 | 298.21 | 0 | 101.805 | 15.28 | 979.593 | 38.5271 | -0.25864
2019-05-06 10:30:00 | 0 | 254.757 | 4.4507 | 298.44 | 5.2177 | 258.92 | 0 | 107.258 | 15.67 | 979.89 | 35.3904 | -0.26972
2019-05-06 10:45:00 | 0 | 312.335 | 3.1723 | 18.7071 | 2.9167 | 325.432 | 0.887 | 137.836 | 15.8 | 979.445 | 36.0047 | -0.218
2019-05-06 11:00:00 | 0 | 303.287 | 5.2177 | 7.6329 | 4.962 | 307.693 | 0 | 119.727 | 16.11 | 979.593 | 33.8917 | 0.34362
2019-05-06 11:15:00 | 0 | 299.667 | 4.7063 | 19.8539 | 3.428 | 276.781 | 0 | 116.137 | 15.82 | 979 | 33.2815 | 1.1713
2019-05-06 11:30:00 | 0 | 278.71 | 3.428 | 325.496 | 3.6837 | 291.833 | 0 | 102.236 | 16.27 | 979 | 31.5771 | 1.6516
2019-05-06 11:45:00 | 0 | 316.741 | 4.962 | 7.6313 | 5.2177 | 292.515 | 0 | 120.668 | 16.35 | 978.852 | 31.5771 | 1.7624
2019-05-06 12:00:00 | 0 | 303.082 | 3.9393 | 12.0661 | 3.6837 | 273.012 | 1.127 | 138.003 | 16.82 | 978.703 | 32.3274 | 2.1208
2019-05-06 12:15:00 | 0 | 7.2069 | 5.4733 | 35.7565 | 3.6837 | 356.988 | 3.9393 | 170.995 | 16.79 | 978.555 | 28.133 | 3.7207
2019-05-06 12:30:00 | 0.62733 | 296.216 | 5.2177 | 5.6835 | 3.6837 | 327.673 | 0.75133 | 154.828 | 17.56 | 978.451 | 26.9054 | 7.604
2019-05-06 12:45:00 | 0 | 280.054 | 5.2177 | 329.52 | 5.2177 | 269.098 | 0 | 106.5 | 17.41 | 977.974 | 25.3032 | 6.1002
2019-05-06 13:00:00 | 6.478 | 307 | 7.7743 | 336.795 | 4.4507 | 271.206 | 1.774 | 117.755 | 17.67 | 978.253 | 24.5543 | 7.7813
2019-05-06 13:15:00 | 0 | 300.572 | 5.4733 | 15.8602 | 4.4507 | 302.739 | 0 | 119.128 | 17.53 | 977.964 | 20.3271 | 9.5549
2019-05-06 13:30:00 | 0 | 299.28 | 4.4507 | 19.8295 | 4.195 | 284.134 | 0.75133 | 120.297 | 17.63 | 977.964 | 18.2466 | 11.5464
2019-05-06 13:45:00 | 0 | 299.553 | 7.263 | 334.808 | 5.2177 | 301.428 | 1.007 | 127.361 | 17.75 | 977.964 | 18.8267 | 11.8383
2019-05-06 14:00:00 | 0 | 313.917 | 6.2403 | 14.5209 | 5.2177 | 307.659 | 2.541 | 166.005 | 17.83 | 977.815 | 18.2126 | 9.4994
2019-05-06 14:15:00 | 6.9887 | 288.603 | 5.4733 | 15.252 | 4.962 | 277.11 | 2.4053 | 123.666 | 18.14 | 977.776 | 19.7789 | 10.9959
2019-05-06 14:30:00 | 0 | 356.89 | 2.9167 | 32.5426 | 3.1723 | 348.564 | 2.0297 | 158.09 | 18.14 | 977.243 | 21.0742 | 8.8639
2019-05-06 14:45:00 | 0 | 271.819 | 3.1723 | 318.678 | 3.428 | 261.277 | 0 | 95.687 | 17.72 | 977.223 | 19.5055 | 8.1693
2019-05-06 15:00:00 | 0 | 291.588 | 6.496 | 19.8539 | 4.962 | 267.362 | 0 | 114.41 | 18.04 | 977.072 | 20.5966 | 7.2641
2019-05-06 15:15:00 | 0 | 276.184 | 3.1723 | 306.289 | 3.9393 | 274.334 | 0 | 118.372 | 17.91 | 976.923 | 21.0046 | 5.291
2019-05-06 15:30:00 | 0 | 302.36 | 5.2177 | 9.7753 | 4.7063 | 285.878 | 0 | 117.39 | 17.68 | 976.33 | 22.5375 | 5.6827
2019-05-06 15:45:00 | 0 | 295.981 | 4.962 | 331.584 | 4.962 | 281.326 | 0 | 112.448 | 17.52 | 976.33 | 21.7533 | 5.6974
2019-05-06 16:00:00 | 0 | 338.776 | 2.661 | 15.9567 | 2.4053 | 319.277 | 0 | 146.87 | 17.91 | 976.182 | 21.0712 | 5.3206
2019-05-06 16:15:00 | 0 | 305.99 | 4.962 | 15.3258 | 6.496 | 304.821 | 0 | 129.368 | 17.7 | 976.033 | 22.5377 | 4.6703
2019-05-06 16:30:00 | 0 | 334.897 | 5.2177 | 1.6422 | 4.195 | 307.262 | 0 | 141.652 | 17.5 | 975.885 | 22.9151 | 3.621
2019-05-06 16:45:00 | 0 | 317.739 | 4.195 | 6.9009 | 3.428 | 296.094 | 0 | 125.245 | 17.58 | 975.737 | 22.3018 | 3.632
2019-05-06 17:00:00 | 0 | 297.652 | 3.9393 | 19.8539 | 3.9393 | 298.212 | 0 | 121.155 | 17.45 | 975.588 | 22.2336 | 4.068
2019-05-06 17:15:00 | 0 | 312.894 | 3.6837 | 8.4104 | 3.9393 | 292.904 | 0 | 153.732 | 17.22 | 975.292 | 21.2788 | 3.9165
2019-05-06 17:30:00 | 0 | 292.466 | 3.1723 | 36.4869 | 3.9393 | 289.544 | 0 | 122.494 | 17.15 | 975.186 | 23.1202 | 3.499
2019-05-06 17:45:00 | 0 | 307.15 | 3.1723 | 4.0252 | 3.1723 | 290.42 | 0 | 123.391 | 17.04 | 974.994 | 22.5101 | 1.5629
2019-05-06 18:00:00 | 0 | 297.849 | 2.661 | 12.4022 | 2.4053 | 303.328 | 0 | 121.662 | 16.76 | 974.699 | 23.8745 | 0.23647
2019-05-06 18:15:00 | 0 | 301.569 | 3.1723 | 16.5903 | 2.661 | 305.856 | 0 | 123.531 | 16.59 | 974.554 | 24.9012 | 0.29189
2019-05-06 18:30:00 | 5.9673 | 296.706 | 2.9167 | 17.9541 | 2.4053 | 299.045 | 0 | 123.875 | 16.36 | 974.384 | 25.6524 | 0.048033
2019-05-06 18:45:00 | 0 | 284.242 | 2.1497 | 327.057 | 1.894 | 285.216 | 0 | 110.092 | 16.17 | 973.958 | 25.6529 | 0.048033
2019-05-06 19:00:00 | 0 | 295.79 | 2.4053 | 329.627 | 2.1497 | 296.764 | 0 | 123.558 | 16.03 | 973.809 | 25.6574 | -0.048033
2019-05-06 19:15:00 | 0 | 300.73 | 2.9167 | 333.381 | 1.894 | 297.684 | 0 | 123.917 | 16.07 | 973.958 | 26.0706 | 0.088676
2019-05-06 19:30:00 | 0 | 310.939 | 3.1723 | 13.4703 | 2.4053 | 308.356 | 0 | 134.419 | 16.02 | 973.809 | 25.8659 | 0.18844
2019-05-06 19:45:00 | 0 | 317.761 | 2.9167 | 3.6271 | 2.661 | 317.566 | 0 | 140.534 | 16.03 | 974.432 | 25.3199 | 0.34362
2019-05-06 20:00:00 | 0 | 318.151 | 2.9167 | 0.02116 | 2.661 | 319.905 | 0 | 142.873 | 16 | 974.451 | 25.1152 | 0.23647
2019-05-06 20:15:00 | 0 | 331.521 | 2.9167 | 11.4319 | 2.1497 | 356.082 | 0 | 156.087 | 15.97 | 974.288 | 25.6626 | 0.10346
2019-05-06 20:30:00 | 3.6693 | 333.541 | 2.661 | 13.6246 | 2.661 | 333.127 | 0 | 158.011 | 15.99 | 974.179 | 23.922 | 0.0073897
2019-05-06 20:45:00 | 0 | 343.408 | 2.661 | 16.329 | 2.4053 | 349.451 | 0 | 166.368 | 16.19 | 974.552 | 22.1815 | -0.29559
2019-05-06 21:00:00 | 0 | 343.412 | 2.1497 | 14.7944 | 1.127 | 322.36 | 0 | 163.373 | 15.96 | 974.533 | 24.1611 | -0.25494
2019-05-06 21:15:00 | 17.968 | 343.412 | 2.1497 | 19.0828 | 1.894 | 344.898 | 16.2113 | 162.959 | 16.17 | 974.55 | 21.8405 | -0.24016
2019-05-06 21:30:00 | 6.478 | 343.318 | 2.1497 | 22.7381 | 1.894 | 353.406 | 0 | 156.966 | 16.14 | 974.545 | 21.4995 | -0.22539
2019-05-06 21:45:00 | 8.01 | 343.323 | 1.894 | 30.3654 | 1.127 | 354.336 | 0 | 158.723 | 16.1 | 974.22 | 22.4553 | -0.24016
2019-05-06 22:00:00 | 0 | 343.329 | 1.3827 | 33.0222 | 0.75133 | 356.974 | 0 | 163.38 | 15.97 | 974.255 | 22.2509 | -0.24016
2019-05-06 22:15:00 | 0 | 343.429 | 1.3827 | 33.0227 | 0 | 356.977 | 0 | 164.209 | 15.92 | 974.107 | 22.9337 | -0.22539
2019-05-06 22:30:00 | 0 | 17.6669 | 1.127 | 33.0738 | 0 | 356.993 | 0 | 207.86 | 16 | 973.959 | 22.2521 | -0.20691
2019-05-06 22:45:00 | 0 | 42.2064 | 1.6383 | 34.1958 | 0 | 16.327 | 0 | 224.678 | 16.22 | 973.662 | 18.2253 | -0.20691
2019-05-06 23:00:00 | 0.744 | 42.3038 | 1.6383 | 35.8527 | 0.75133 | 37.2839 | 0 | 228.723 | 16.32 | 973.662 | 19.3174 | -0.20691
2019-05-06 23:15:00 | 0 | 42.4009 | 1.127 | 104.571 | 0 | 46.1293 | 0 | 228.015 | 16.32 | 973.662 | 22.0476 | -0.20691
2019-05-06 23:30:00 | 0 | 42.4012 | 0 | 105.01 | 0 | 46.2026 | 0 | 228.041 | 15.79 | 973.662 | 22.1842 | -0.20691
2019-05-06 23:45:00 | 0 | 195.29 | 0.75133 | 221.785 | 0 | 60.9215 | 0 | 314.111 | 15.43 | 973.365 | 23.4812 | -0.20691