## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-07 00:00:00 | 0 | 188.343 | 0 | 221.71 | 0 | 60.921 | 0 | 314.109 | 15.53 | 973.068 | 22.7985 | -0.20691
2019-05-07 00:15:00 | 0 | 130.415 | 0.75133 | 221.093 | 0 | 60.8216 | 0 | 313.952 | 15.87 | 973.068 | 20.0674 | -0.20691
2019-05-07 00:30:00 | 0 | 36.8934 | 2.661 | 88.2921 | 2.4053 | 30.4115 | 0 | 221.263 | 15.99 | 973.068 | 20.887 | -0.20691
2019-05-07 00:45:00 | 0 | 35.2854 | 1.894 | 87.2209 | 1.894 | 30.3143 | 0 | 214.783 | 15.94 | 973.068 | 21.4333 | -0.20691
2019-05-07 01:00:00 | 0.372 | 27.7802 | 2.661 | 76.4996 | 2.1497 | 20.0797 | 0 | 215.004 | 15.96 | 973.216 | 21.2969 | -0.22539
2019-05-07 01:15:00 | 0 | 28.7549 | 1.894 | 76.5971 | 1.894 | 20.762 | 0 | 215.54 | 15.87 | 972.919 | 20.6143 | -0.22169
2019-05-07 01:30:00 | 0 | 29.2666 | 1.3827 | 79.18 | 0 | 22.1266 | 0 | 220.633 | 16.03 | 972.771 | 21.5017 | -0.20691
2019-05-07 01:45:00 | 0 | 29.2666 | 0.75133 | 79.1798 | 0 | 13.9388 | 0 | 220.632 | 15.54 | 972.474 | 21.5699 | -0.22539
2019-05-07 02:00:00 | 0 | 196.995 | 2.661 | 233.823 | 2.1497 | 155.252 | 0 | 17.2529 | 15.17 | 972.474 | 22.0477 | -0.22539
2019-05-07 02:15:00 | 0 | 200.236 | 3.1723 | 247.517 | 2.661 | 158.639 | 0 | 19.3242 | 15.15 | 972.177 | 23.2763 | -0.24016
2019-05-07 02:30:00 | 9.0313 | 209.423 | 2.9167 | 254.926 | 2.661 | 167.266 | 0 | 31.2892 | 14.88 | 972.325 | 25.7337 | -0.24016
2019-05-07 02:45:00 | 4.4353 | 209.52 | 2.661 | 254.145 | 2.661 | 167.704 | 0 | 26.4885 | 14.83 | 972.177 | 26.4162 | -0.24016
2019-05-07 03:00:00 | 0 | 203.33 | 3.1723 | 241.279 | 2.661 | 167.752 | 0 | 23.0769 | 14.81 | 972.474 | 26.1432 | -0.24016
2019-05-07 03:15:00 | 0.744 | 167.895 | 2.9167 | 206.402 | 2.661 | 168.48 | 0 | 0.19494 | 14.67 | 972.474 | 24.3679 | -0.25864
2019-05-07 03:30:00 | 0 | 175.01 | 3.1723 | 209.886 | 3.428 | 168.431 | 0 | 6.2869 | 14.42 | 972.474 | 24.4361 | -0.25864
2019-05-07 03:45:00 | 0 | 184.299 | 2.9167 | 221.394 | 2.9167 | 167.85 | 0 | 15.3521 | 14.67 | 972.474 | 24.5732 | -0.24016
2019-05-07 04:00:00 | 0 | 197.358 | 3.428 | 240.862 | 2.9167 | 168.384 | 0 | 16.7166 | 14.73 | 972.325 | 25.5968 | -0.24016
2019-05-07 04:15:00 | 0 | 218.29 | 3.6837 | 258.528 | 3.1723 | 171.649 | 0 | 41.8401 | 14.97 | 972.474 | 24.5047 | -0.22169
2019-05-07 04:30:00 | 0 | 213.947 | 3.9393 | 258.423 | 3.428 | 171.84 | 0 | 37.3554 | 14.97 | 972.474 | 24.504 | -0.22169
2019-05-07 04:45:00 | 0 | 214.979 | 3.9393 | 257.021 | 3.428 | 204.915 | 0 | 35.383 | 15.08 | 972.474 | 24.5391 | -0.22169
2019-05-07 05:00:00 | 0 | 195.387 | 3.428 | 238.063 | 2.661 | 195.607 | 0 | 17.253 | 15.04 | 972.474 | 25.1877 | -0.12932
2019-05-07 05:15:00 | 0 | 190.023 | 2.9167 | 219.441 | 1.3827 | 183.541 | 0 | 11.6967 | 14.81 | 972.474 | 25.5968 | -0.092371
2019-05-07 05:30:00 | 0 | 185.25 | 3.1723 | 225.684 | 2.1497 | 191.878 | 0 | 8.7727 | 14.68 | 972.474 | 26.1091 | -0.12932
2019-05-07 05:45:00 | 0 | 166.8 | 2.4053 | 205.576 | 1.894 | 178.424 | 0 | 2.6318 | 14.78 | 972.474 | 27.3033 | -0.092371
2019-05-07 06:00:00 | 0 | 172.335 | 3.1723 | 209.211 | 2.661 | 174.43 | 0 | 89.0672 | 14.78 | 972.622 | 27.0307 | 0.051728
2019-05-07 06:15:00 | 0 | 160.52 | 4.195 | 202.603 | 3.6837 | 169.023 | 0 | 346.062 | 14.77 | 972.678 | 24.9114 | 1.1565
2019-05-07 06:30:00 | 0 | 159.733 | 4.4507 | 202.642 | 4.4507 | 165.776 | 1.2627 | 347.266 | 14.88 | 972.772 | 25.2517 | 1.8807
2019-05-07 06:45:00 | 0 | 157.704 | 4.4507 | 200.528 | 4.195 | 163.063 | 0 | 343.666 | 15.1 | 973.364 | 24.6326 | 1.8179
2019-05-07 07:00:00 | 0 | 156.488 | 4.195 | 204.661 | 3.6837 | 162.846 | 0 | 354.772 | 15.23 | 973.513 | 25.1067 | 1.3671
2019-05-07 07:15:00 | 0 | 155.368 | 3.6837 | 192.897 | 4.4507 | 156.927 | 0.37567 | 353.018 | 15.49 | 973.785 | 25.3795 | 1.5666
2019-05-07 07:30:00 | 0 | 156.211 | 3.6837 | 193.858 | 4.195 | 149.489 | 5.729 | 354.02 | 15.49 | 973.663 | 25.7191 | 1.7366
2019-05-07 07:45:00 | 0 | 142.8 | 5.729 | 182.657 | 5.9847 | 141.29 | 4.195 | 331.333 | 15.84 | 973.958 | 25.4434 | 1.6811
2019-05-07 08:00:00 | 0 | 149.203 | 4.7063 | 196.365 | 4.962 | 159.163 | 5.9847 | 338.538 | 15.87 | 974.551 | 26.5346 | 2.4386
2019-05-07 08:15:00 | 0 | 140.469 | 4.4507 | 193.564 | 3.9393 | 172.974 | 5.729 | 338.498 | 16.58 | 974.476 | 24.8945 | 3.3327
2019-05-07 08:30:00 | 0 | 202.722 | 4.7063 | 244.395 | 3.9393 | 204.767 | 0 | 46.5535 | 16.45 | 974.056 | 25.2347 | 2.8783
2019-05-07 08:45:00 | 0 | 183.193 | 6.7517 | 226.668 | 5.729 | 191.35 | 0 | 31.2626 | 16.5 | 974.08 | 24.6206 | 4.1161
2019-05-07 09:00:00 | 0 | 198.974 | 5.2177 | 239.187 | 5.9847 | 196.393 | 0.37567 | 9.0089 | 16.44 | 974.373 | 24.8598 | 4.6962
2019-05-07 09:15:00 | 0 | 200.113 | 4.195 | 247.174 | 4.7063 | 207.491 | 4.7063 | 8.4983 | 16.57 | 974.402 | 24.3506 | 4.9511
2019-05-07 09:30:00 | 0 | 195.099 | 5.729 | 244.401 | 5.4733 | 200.139 | 0 | 0.97403 | 16.95 | 974.254 | 27.0792 | 4.9585
2019-05-07 09:45:00 | 0 | 202.158 | 5.9847 | 249.926 | 7.0073 | 204.033 | 2.0297 | 21.5989 | 16.73 | 974.183 | 23.8049 | 5.2282
2019-05-07 10:00:00 | 0 | 196.3 | 6.496 | 234.543 | 7.263 | 192.161 | 5.4733 | 8.2299 | 17 | 974.393 | 25.6447 | 6.5066
2019-05-07 10:15:00 | 0 | 158 | 3.9393 | 211.119 | 4.4507 | 183.079 | 3.1723 | 3.6523 | 17.3 | 974.213 | 23.3258 | 5.5164
2019-05-07 10:30:00 | 0 | 208.516 | 5.9847 | 242.958 | 7.263 | 172.018 | 2.541 | 2.167 | 17.56 | 973.985 | 25.0982 | 4.9585
2019-05-07 10:45:00 | 0 | 159.697 | 7.263 | 208.723 | 7.263 | 153.562 | 0.37567 | 353.141 | 17.84 | 973.921 | 24.3478 | 5.1839
2019-05-07 11:00:00 | 0 | 170.97 | 3.9393 | 212.083 | 3.6837 | 189.158 | 5.4733 | 356.793 | 17.79 | 973.665 | 24.3478 | 5.8563
2019-05-07 11:15:00 | 0 | 137.468 | 6.496 | 173.614 | 6.7517 | 128.897 | 0 | 353.044 | 18.65 | 973.512 | 22.6428 | 6.8244
2019-05-07 11:30:00 | 0 | 181.684 | 7.5187 | 221.141 | 6.7517 | 174.257 | 5.2177 | 90.647 | 17.72 | 973.363 | 25.3367 | 5.1913
2019-05-07 11:45:00 | 0 | 188.451 | 5.729 | 239.206 | 5.9847 | 185.237 | 2.541 | 2.8243 | 18.18 | 972.918 | 23.7339 | 2.9485
2019-05-07 12:00:00 | 0 | 185.457 | 4.962 | 227.763 | 6.496 | 180.271 | 2.661 | 15.4852 | 18.18 | 972.918 | 24.9957 | 3.7318
2019-05-07 12:15:00 | 0 | 180.247 | 6.2403 | 215.346 | 8.03 | 177.569 | 5.9847 | 0.19478 | 18.44 | 972.622 | 23.2566 | 2.9743
2019-05-07 12:30:00 | 0 | 204.814 | 6.2403 | 250.821 | 7.0073 | 186.602 | 3.9393 | 30.5809 | 18.52 | 972.197 | 23.5294 | 3.1517
2019-05-07 12:45:00 | 0 | 155.047 | 3.428 | 203.732 | 3.428 | 149.544 | 0 | 338.678 | 18.75 | 972.303 | 25.2344 | 6.7283
2019-05-07 13:00:00 | 0.62733 | 211.316 | 3.9393 | 257.128 | 0 | 93.3986 | 2.1497 | 10.3722 | 18.62 | 972.407 | 24.0751 | 8.0806
2019-05-07 13:15:00 | 0 | 202.039 | 5.729 | 241.594 | 5.2177 | 203.646 | 0 | 14.1218 | 18.84 | 971.781 | 24.8253 | 6.9906
2019-05-07 13:30:00 | 0 | 150.762 | 6.7517 | 230.759 | 6.496 | 181.1 | 5.4733 | 178.568 | 19.19 | 971.776 | 24.8253 | 6.3108
2019-05-07 13:45:00 | 0 | 224.563 | 5.4733 | 236.386 | 5.729 | 221.422 | 0 | 335.006 | 19.16 | 971.581 | 20.5288 | 5.0139
2019-05-07 14:00:00 | 0 | 195.294 | 3.9393 | 235.287 | 4.4507 | 181.903 | 0.63133 | 5.3809 | 19.16 | 971.392 | 21.688 | 7.9476
2019-05-07 14:15:00 | 0 | 179.93 | 5.9847 | 223.844 | 7.0073 | 176.863 | 0.37567 | 1.8504 | 19.29 | 971.038 | 22.029 | 8.1434
2019-05-07 14:30:00 | 0 | 183.631 | 4.4507 | 227.812 | 5.4733 | 182.901 | 0 | 3.3113 | 19.32 | 970.999 | 22.2336 | 6.8096
2019-05-07 14:45:00 | 0 | 168.974 | 6.7517 | 214.932 | 6.496 | 165.2 | 2.0297 | 351.704 | 19.52 | 970.991 | 25.098 | 9.0524
2019-05-07 15:00:00 | 0 | 179.979 | 4.4507 | 235.53 | 5.729 | 191.837 | 3.6837 | 66.2017 | 19.53 | 970.99 | 24.2796 | 8.4908
2019-05-07 15:15:00 | 0 | 176.157 | 6.2403 | 223.284 | 5.2177 | 172.334 | 2.7967 | 356.793 | 19.67 | 970.545 | 25.4732 | 8.1065
2019-05-07 15:30:00 | 0 | 180.296 | 5.729 | 223.527 | 6.2403 | 172.504 | 4.7063 | 1.8261 | 19.37 | 970.397 | 26.6667 | 8.8344
2019-05-07 15:45:00 | 0 | 179.2 | 6.496 | 226.4 | 6.7517 | 187.43 | 5.2177 | 2.9217 | 19.44 | 970.409 | 26.8031 | 12.6585
2019-05-07 16:00:00 | 0 | 193.882 | 6.496 | 224.428 | 7.263 | 184.289 | 0 | 4.6261 | 19.21 | 969.995 | 28.6445 | 18.2895
2019-05-07 16:15:00 | 0 | 154.561 | 5.9847 | 226.329 | 6.7517 | 189.257 | 1.6383 | 350.368 | 19.13 | 970.047 | 30.3497 | 18.7624
2019-05-07 16:30:00 | 0 | 174.96 | 7.7743 | 227.695 | 9.564 | 178.71 | 0.75133 | 352.038 | 18.95 | 969.653 | 28.9207 | 21.5594
2019-05-07 16:45:00 | 2.0207 | 194.864 | 9.8197 | 231.945 | 9.3083 | 188.752 | 5.2177 | 17.2412 | 18.83 | 969.506 | 28.4447 | 24.5929
2019-05-07 17:00:00 | 2.5313 | 188.07 | 8.03 | 228.682 | 9.0527 | 182.859 | 1.2627 | 7.2082 | 18.75 | 969.357 | 28.9222 | 21.2454
2019-05-07 17:15:00 | 13.6273 | 177.848 | 8.5413 | 215.345 | 8.2857 | 169.617 | 5.4733 | 356.767 | 18.69 | 969.209 | 29.4688 | 21.8735
2019-05-07 17:30:00 | 20.0107 | 172.17 | 8.03 | 223.507 | 8.5413 | 178.259 | 13.9103 | 356.809 | 18.57 | 969.209 | 29.8475 | 19.0063
2019-05-07 17:45:00 | 0.372 | 173.927 | 7.0073 | 222.587 | 8.5413 | 186.519 | 5.9847 | 354.236 | 18.46 | 968.976 | 30.8375 | 14.9013
2019-05-07 18:00:00 | 0.62733 | 186.227 | 7.7743 | 226.922 | 7.5187 | 194.581 | 1.5183 | 8.2811 | 18.32 | 969.075 | 32.2019 | 16.7266
2019-05-07 18:15:00 | 11.5847 | 180.065 | 9.0527 | 229.894 | 8.2857 | 174.536 | 4.195 | 2.6305 | 18.21 | 969.168 | 33.2253 | 17.3916
2019-05-07 18:30:00 | 9.0313 | 177.434 | 9.0527 | 210.969 | 9.3083 | 173.294 | 5.2177 | 88.291 | 18.11 | 969.06 | 35.3403 | 17.2993
2019-05-07 18:45:00 | 0 | 165.622 | 6.496 | 219.128 | 6.7517 | 182.281 | 2.4053 | 0.19485 | 18.03 | 969.208 | 35.6132 | 15.5368
2019-05-07 19:00:00 | 0 | 169.835 | 7.0073 | 229.358 | 6.7517 | 178.53 | 2.4053 | 352.019 | 17.94 | 969.06 | 35.9543 | 16.1058
2019-05-07 19:15:00 | 8.5207 | 182.866 | 9.0527 | 230.186 | 8.2857 | 185.058 | 6.2403 | 1.3152 | 17.91 | 968.614 | 36.0907 | 16.9889
2019-05-07 19:30:00 | 2.276 | 175.364 | 8.5413 | 220.858 | 9.0527 | 168.934 | 5.4733 | 356.72 | 17.87 | 968.763 | 35.8861 | 16.6342
2019-05-07 19:45:00 | 11.3293 | 175.169 | 6.496 | 226.094 | 8.797 | 175.656 | 1.007 | 355.551 | 17.76 | 969.06 | 36.9094 | 19.7785
2019-05-07 20:00:00 | 0 | 191.54 | 7.0073 | 235.305 | 8.03 | 191.954 | 0.63133 | 89.3153 | 17.49 | 968.911 | 39.2297 | 24.0497
2019-05-07 20:15:00 | 0 | 157.637 | 7.7743 | 208.905 | 8.2857 | 177.025 | 1.1427 | 346.865 | 17.31 | 968.614 | 41.004 | 23.7985
2019-05-07 20:30:00 | 2.1373 | 186.206 | 6.2403 | 213.872 | 8.5413 | 150.354 | 3.1723 | 8.7927 | 17.11 | 968.911 | 42.3683 | 24.4673
2019-05-07 20:45:00 | 0 | 164.021 | 7.7743 | 201.211 | 7.7743 | 163.558 | 4.4507 | 5.5291 | 16.96 | 968.911 | 43.7337 | 15.7659
2019-05-07 21:00:00 | 1.6267 | 173.037 | 8.797 | 221.555 | 8.797 | 159.494 | 4.7063 | 1.5102 | 16.79 | 968.911 | 43.4617 | 17.7316
2019-05-07 21:15:00 | 7.4993 | 169.268 | 8.5413 | 217.375 | 9.0527 | 183.323 | 5.9847 | 356.659 | 16.76 | 968.911 | 44.0093 | 17.6207
2019-05-07 21:30:00 | 0.372 | 182.606 | 7.263 | 217.32 | 9.0527 | 155.639 | 4.4507 | 5.1888 | 16.55 | 969.06 | 44.968 | 14.0774
2019-05-07 21:45:00 | 0 | 176.99 | 7.0073 | 212.876 | 7.7743 | 165.515 | 3.428 | 355.928 | 16.3 | 968.911 | 46.3355 | 11.6203
2019-05-07 22:00:00 | 1.6487 | 190.382 | 7.263 | 222.912 | 7.5187 | 169.088 | 2.9167 | 1.0233 | 16.11 | 968.763 | 47.1588 | 8.9822
2019-05-07 22:15:00 | 0 | 175.57 | 5.2177 | 201.229 | 3.9393 | 175.935 | 1.5183 | 348.313 | 15.91 | 968.763 | 48.1828 | 9.1189
2019-05-07 22:30:00 | 0.372 | 166.092 | 4.4507 | 220.623 | 5.4733 | 158.076 | 0.37567 | 351.238 | 15.83 | 968.614 | 49.2066 | 8.0695
2019-05-07 22:45:00 | 0 | 175.863 | 4.7063 | 197.867 | 4.7063 | 150.792 | 2.541 | 0.43856 | 15.59 | 968.317 | 50.2303 | 6.6027
2019-05-07 23:00:00 | 9.7973 | 179.517 | 7.5187 | 225.496 | 6.2403 | 173.767 | 3.1723 | 87.8338 | 15.48 | 968.021 | 49.4114 | 7.87
2019-05-07 23:15:00 | 7.4993 | 156.736 | 6.2403 | 200.498 | 5.729 | 173.572 | 13.399 | 0.19492 | 15.47 | 968.021 | 50.2986 | 9.795
2019-05-07 23:30:00 | 6.478 | 174.62 | 6.496 | 222.426 | 5.9847 | 144.237 | 4.962 | 2.4608 | 14.89 | 967.872 | 52.9602 | 11.6203
2019-05-07 23:45:00 | 8.2653 | 167.652 | 8.2857 | 212.12 | 8.5413 | 171.989 | 4.195 | 348.728 | 15.14 | 967.454 | 50.5716 | 12.9024