## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-08 00:00:00 | 3.1587 | 176.74 | 10.0753 | 215.214 | 10.8423 | 164.606 | 3.9393 | 2.3877 | 15.19 | 967.544 | 50.7081 | 12.0009
2019-05-08 00:15:00 | 4.4353 | 172.135 | 6.7517 | 211.438 | 7.5187 | 163.12 | 5.4733 | 0.63348 | 15.04 | 967.518 | 51.0493 | 11.0365
2019-05-08 00:30:00 | 3.414 | 166.848 | 8.2857 | 218.747 | 7.5187 | 160.562 | 5.9847 | 3.143 | 14.96 | 967.149 | 48.9337 | 11.9898
2019-05-08 00:45:00 | 4.18 | 185.492 | 7.263 | 220.582 | 5.9847 | 168.169 | 13.1433 | 9.8923 | 14.83 | 967.375 | 51.9382 | 13.0502
2019-05-08 01:00:00 | 0 | 184.157 | 7.0073 | 203.337 | 7.0073 | 158.548 | 0.37567 | 350.454 | 14.69 | 967.118 | 46.4794 | 12.5625
2019-05-08 01:15:00 | 2.9033 | 173.776 | 9.564 | 218.053 | 9.564 | 156.525 | 1.5183 | 0.80407 | 14.82 | 966.532 | 43.2713 | 15.7142
2019-05-08 01:30:00 | 5.2013 | 182.213 | 9.564 | 202.954 | 8.797 | 168.349 | 1.6383 | 7.4074 | 14.79 | 966.664 | 46.4808 | 19.2575
2019-05-08 01:45:00 | 2.648 | 185.522 | 9.3083 | 224.488 | 11.098 | 169.416 | 3.9393 | 4.1178 | 14.89 | 966.51 | 42.2479 | 18.5851
2019-05-08 02:00:00 | 3.414 | 176.22 | 8.797 | 209.827 | 9.564 | 165.06 | 2.9167 | 89.7182 | 14.79 | 966.532 | 42.3858 | 18.6959
2019-05-08 02:15:00 | 5.2013 | 180.752 | 10.5867 | 214.042 | 10.331 | 163.037 | 2.661 | 2.3636 | 14.81 | 966.534 | 43.2047 | 20.8796
2019-05-08 02:30:00 | 4.4353 | 179.737 | 11.3537 | 223.849 | 10.0753 | 171.038 | 5.4733 | 8.1632 | 14.68 | 966.219 | 41.2273 | 23.1852
2019-05-08 02:45:00 | 4.946 | 177.134 | 10.331 | 225.975 | 10.8423 | 186.784 | 2.9167 | 5.4098 | 14.66 | 966.238 | 44.3683 | 23.7948
2019-05-08 03:00:00 | 5.4567 | 177.524 | 11.098 | 214.888 | 11.3537 | 176.476 | 1.5183 | 12.3548 | 14.37 | 966.089 | 46.2796 | 26.4255
2019-05-08 03:15:00 | 4.6907 | 176.549 | 12.3763 | 222.149 | 14.4217 | 170.53 | 2.4053 | 1.3159 | 14.42 | 965.644 | 44.846 | 25.5609
2019-05-08 03:30:00 | 5.2013 | 186.761 | 13.6547 | 227.536 | 12.3763 | 170.02 | 4.7063 | 5.3611 | 14.65 | 965.644 | 41.4334 | 29.8285
2019-05-08 03:45:00 | 5.9673 | 173.017 | 12.632 | 209.309 | 12.8877 | 162.465 | 3.9393 | 356.22 | 14.52 | 965.347 | 43.3788 | 29.507
2019-05-08 04:00:00 | 0.372 | 175.428 | 10.331 | 224.975 | 8.797 | 173.551 | 0.37567 | 356.85 | 14.3 | 965.347 | 47.5763 | 31.8754
2019-05-08 04:15:00 | 5.2013 | 171.75 | 9.0527 | 221.371 | 8.2857 | 173.212 | 5.2177 | 352.54 | 13.34 | 965.05 | 50.6484 | 33.5751
2019-05-08 04:30:00 | 0.99933 | 169.7 | 9.564 | 209.792 | 8.03 | 171.747 | 1.5183 | 343.981 | 13.16 | 964.753 | 47.0981 | 33.4014
2019-05-08 04:45:00 | 3.042 | 164.801 | 9.0527 | 206.233 | 8.797 | 155.931 | 3.6837 | 349.632 | 13.27 | 964.753 | 51.1592 | 33.6563
2019-05-08 05:00:00 | 5.712 | 168.241 | 9.0527 | 203.996 | 9.0527 | 153.741 | 4.7063 | 13.5246 | 12.88 | 964.456 | 53.3105 | 38.3377
2019-05-08 05:15:00 | 0.372 | 175.487 | 8.03 | 234.786 | 7.0073 | 172.124 | 3.6837 | 344.93 | 12.76 | 964.604 | 53.5179 | 38.3451
2019-05-08 05:30:00 | 7.4993 | 167.913 | 12.1207 | 213.908 | 11.865 | 157.287 | 5.2177 | 355.127 | 12.92 | 964.159 | 53.3147 | 40.0632
2019-05-08 05:45:00 | 12.0953 | 212.454 | 11.6093 | 212.756 | 10.0753 | 165.22 | 6.2403 | 1.4136 | 12.75 | 964.456 | 51.4072 | 41.5744
2019-05-08 06:00:00 | 2.3927 | 165.048 | 10.331 | 220.042 | 11.6093 | 189.25 | 4.195 | 322.298 | 13.14 | 964.159 | 50.8607 | 42.9304
2019-05-08 06:15:00 | 3.1587 | 179.097 | 9.0527 | 207.325 | 9.0527 | 165.985 | 5.9847 | 338.478 | 12.86 | 964.456 | 52.9728 | 43.9687
2019-05-08 06:30:00 | 6.9887 | 167.243 | 10.0753 | 215.647 | 10.8423 | 185.886 | 2.1497 | 89.5799 | 13.24 | 964.159 | 47.7138 | 46.5661
2019-05-08 06:45:00 | 0.744 | 143.869 | 8.2857 | 229.456 | 9.8197 | 193.604 | 4.962 | 352.338 | 13.34 | 964.456 | 50.8521 | 45.8522
2019-05-08 07:00:00 | 2.9033 | 155.979 | 12.3763 | 203.016 | 10.5867 | 162.607 | 4.962 | 336.57 | 13.21 | 964.159 | 54.06 | 44.6374
2019-05-08 07:15:00 | 3.5527 | 152.839 | 11.6093 | 203.679 | 10.8423 | 168.459 | 4.4507 | 355.902 | 13.59 | 964.604 | 50.1705 | 47.9934
2019-05-08 07:30:00 | 1.3713 | 157.714 | 11.6093 | 211.526 | 12.632 | 159.858 | 5.9847 | 344.718 | 13.71 | 964.456 | 53.2764 | 45.3579
2019-05-08 07:45:00 | 2.1373 | 150.938 | 10.331 | 202.192 | 9.8197 | 152.23 | 4.195 | 335.042 | 13.67 | 964.753 | 50.6141 | 46.108
2019-05-08 08:00:00 | 2.1373 | 152.723 | 11.3537 | 209.864 | 11.865 | 165.491 | 4.962 | 348.086 | 14 | 965.009 | 50.3008 | 43.1299
2019-05-08 08:15:00 | 8.01 | 139.365 | 9.0527 | 206.565 | 7.7743 | 163.047 | 5.2177 | 323.438 | 14.45 | 965.076 | 45.5213 | 43.178
2019-05-08 08:30:00 | 8.2653 | 206.123 | 10.5867 | 244.379 | 10.0753 | 208.072 | 6.2403 | 6.2129 | 14.61 | 964.904 | 46.3402 | 49.0934
2019-05-08 08:45:00 | 2.3927 | 159.173 | 14.166 | 214.118 | 13.9103 | 158.077 | 2.661 | 338.3 | 14.86 | 964.458 | 48.0464 | 45.336
2019-05-08 09:00:00 | 4.946 | 173.509 | 12.3763 | 198.214 | 13.1433 | 169.099 | 4.4507 | 356.616 | 15.11 | 964.755 | 45.7221 | 47.1336
2019-05-08 09:15:00 | 5.712 | 151.815 | 9.564 | 201.646 | 9.0527 | 159.415 | 7.5187 | 346.864 | 15.31 | 965.052 | 45.8479 | 49.5185
2019-05-08 09:30:00 | 0.62733 | 163.259 | 11.865 | 203.127 | 9.564 | 178.945 | 0.37567 | 339.793 | 15.62 | 965.052 | 44.7553 | 51.5275
2019-05-08 09:45:00 | 5.2013 | 141.558 | 13.1433 | 192.459 | 11.6093 | 152.518 | 4.7063 | 327.712 | 15.55 | 964.747 | 48.0983 | 56.1469
2019-05-08 10:00:00 | 3.1587 | 178.75 | 10.331 | 217.838 | 13.1433 | 152.737 | 2.4053 | 351.142 | 15.47 | 965.05 | 49.8039 | 59.8446
2019-05-08 10:15:00 | 2.0207 | 184.741 | 7.5187 | 229.09 | 6.496 | 194.386 | 5.2177 | 27.3032 | 15.48 | 965.05 | 49.9403 | 53.7869
2019-05-08 10:30:00 | 5.2013 | 165.11 | 11.3537 | 231.404 | 12.632 | 165.159 | 5.4733 | 353.067 | 15.6 | 964.747 | 48.7123 | 52.0694
2019-05-08 10:45:00 | 2.9033 | 187.274 | 8.03 | 216.693 | 8.797 | 190.636 | 1.2627 | 8.6708 | 15.61 | 965.052 | 45.4375 | 52.0799
2019-05-08 11:00:00 | 0.372 | 158.632 | 11.865 | 204.612 | 12.1207 | 150.326 | 5.4733 | 344.542 | 15.78 | 964.458 | 43.2543 | 54.4472
2019-05-08 11:15:00 | 6.478 | 188.687 | 8.2857 | 225.851 | 8.797 | 185.058 | 4.962 | 356.769 | 16.18 | 964.607 | 40.5253 | 53.2723
2019-05-08 11:30:00 | 0 | 174.195 | 7.263 | 217.813 | 9.0527 | 189.077 | 4.195 | 343.397 | 16.69 | 964.755 | 42.5721 | 44.5746
2019-05-08 11:45:00 | 12.0953 | 178.847 | 11.3537 | 223.44 | 13.1433 | 187.445 | 6.496 | 355.794 | 16.61 | 964.247 | 39.9113 | 51.0221
2019-05-08 12:00:00 | 1.2547 | 143.287 | 8.03 | 181.888 | 8.5413 | 142.24 | 2.661 | 336.651 | 16.37 | 964.41 | 41.2758 | 50.878
2019-05-08 12:15:00 | 3.1587 | 197.187 | 11.865 | 240.124 | 14.166 | 179.797 | 5.4733 | 7.8183 | 16.54 | 963.808 | 40.7641 | 48.7219
2019-05-08 12:30:00 | 3.6693 | 188.297 | 8.5413 | 227.41 | 9.0527 | 193.193 | 4.195 | 3.7021 | 16.08 | 963.99 | 40.4571 | 48.7498
2019-05-08 12:45:00 | 2.5313 | 179.675 | 7.0073 | 249.403 | 10.331 | 206.418 | 0.75133 | 13.128 | 16.23 | 963.864 | 41.0711 | 53.2972
2019-05-08 13:00:00 | 3.808 | 152.128 | 8.797 | 211.992 | 9.0527 | 193.388 | 5.4733 | 351.776 | 16.44 | 964.157 | 40.3889 | 49.0111
2019-05-08 13:15:00 | 3.6693 | 136.565 | 9.8197 | 188.903 | 7.7743 | 189.929 | 5.729 | 323.206 | 16.52 | 964.161 | 40.3889 | 48.5872
2019-05-08 13:30:00 | 0 | 193.29 | 8.2857 | 240.854 | 8.797 | 198.454 | 4.962 | 2.3626 | 16.58 | 963.834 | 36.7048 | 45.8552
2019-05-08 13:45:00 | 3.9247 | 156.854 | 10.5867 | 203.857 | 13.399 | 181.624 | 5.2177 | 347.197 | 16.41 | 963.552 | 37.8646 | 47.8952
2019-05-08 14:00:00 | 11.074 | 182.233 | 11.3537 | 220.273 | 11.865 | 191.293 | 5.4733 | 2.2164 | 16.23 | 963.419 | 38.4104 | 49.3393
2019-05-08 14:15:00 | 4.4353 | 180.406 | 9.0527 | 211.944 | 9.3083 | 182.33 | 5.9847 | 2.2408 | 16.16 | 963.271 | 41.2076 | 47.7773
2019-05-08 14:30:00 | 5.2013 | 181.526 | 10.0753 | 227.897 | 10.331 | 188.102 | 1.2627 | 356.769 | 16.28 | 963.271 | 42.9473 | 45.607
2019-05-08 14:45:00 | 4.18 | 193.534 | 9.0527 | 243.192 | 12.3763 | 190.538 | 2.9167 | 28.0339 | 16.64 | 963.122 | 42.3674 | 38.3747
2019-05-08 15:00:00 | 2.276 | 175.121 | 9.8197 | 209.484 | 8.5413 | 181.38 | 4.4507 | 343.008 | 16.52 | 963.122 | 43.1179 | 33.2647
2019-05-08 15:15:00 | 1.7653 | 193.997 | 10.331 | 231.599 | 10.8423 | 182.915 | 2.0297 | 2.4843 | 16.59 | 962.974 | 42.5721 | 25.3725
2019-05-08 15:30:00 | 3.9247 | 180.382 | 7.5187 | 229.163 | 8.5413 | 193.412 | 1.007 | 328.516 | 16.55 | 962.677 | 43.0496 | 28.0439
2019-05-08 15:45:00 | 0 | 176.582 | 7.0073 | 240.903 | 7.0073 | 193.047 | 3.1723 | 348.609 | 16.51 | 962.825 | 42.2992 | 29.9902
2019-05-08 16:00:00 | 0.372 | 148.256 | 6.7517 | 205.66 | 7.7743 | 182.33 | 5.2177 | 342.326 | 16.57 | 962.677 | 44.0048 | 35.6553
2019-05-08 16:15:00 | 0 | 180.138 | 3.1723 | 205.952 | 3.428 | 184.279 | 0 | 4.3841 | 16.69 | 963.271 | 37.694 | 30.2566
2019-05-08 16:30:00 | 0 | 174.317 | 6.7517 | 229.018 | 6.7517 | 188.833 | 0.75133 | 356.428 | 16.83 | 962.974 | 35.8179 | 24.7592
2019-05-08 16:45:00 | 10.0527 | 176.241 | 8.5413 | 217.083 | 9.0527 | 192.024 | 2.0297 | 356.744 | 16.63 | 962.677 | 36.9094 | 33.2832
2019-05-08 17:00:00 | 0 | 180.309 | 4.195 | 231.21 | 4.7063 | 188.956 | 5.729 | 326.593 | 16.56 | 962.974 | 36.9096 | 40.2514
2019-05-08 17:15:00 | 11.074 | 179.24 | 9.0527 | 224.808 | 8.797 | 190.493 | 4.4507 | 1.9242 | 16.35 | 962.38 | 40.5261 | 39.2757
2019-05-08 17:30:00 | 0 | 169.55 | 5.2177 | 252.508 | 6.496 | 202.798 | 0.63133 | 349.111 | 16.16 | 962.677 | 42.0963 | 30.1824
2019-05-08 17:45:00 | 0 | 123.415 | 4.7063 | 186.422 | 3.428 | 166.794 | 5.729 | 322.188 | 16.06 | 962.677 | 41.8223 | 29.7841
2019-05-08 18:00:00 | 0.744 | 159.599 | 7.263 | 196.039 | 6.2403 | 160.476 | 5.729 | 325.337 | 15.88 | 962.677 | 44.8968 | 23.5657
2019-05-08 18:15:00 | 1.51 | 144.93 | 5.729 | 185.883 | 6.2403 | 147.609 | 2.9167 | 336.147 | 15.68 | 962.677 | 46.0626 | 15.8952
2019-05-08 18:30:00 | 1.2547 | 154.981 | 7.0073 | 211.12 | 6.7517 | 161.438 | 5.9847 | 330.38 | 15.49 | 962.083 | 47.0907 | 25.1582
2019-05-08 18:45:00 | 10.308 | 139.657 | 7.263 | 183.955 | 6.2403 | 154.349 | 4.4507 | 331.332 | 15.35 | 962.232 | 48.1829 | 28.2582
2019-05-08 19:00:00 | 0 | 132.932 | 3.9393 | 187.78 | 3.9393 | 163.558 | 0 | 305.628 | 15.25 | 962.825 | 49.3431 | 19.9004
2019-05-08 19:15:00 | 7.7547 | 156.517 | 7.7743 | 201.059 | 8.2857 | 146.674 | 4.7063 | 328.725 | 15.2 | 962.38 | 49.7526 | 36.5568
2019-05-08 19:30:00 | 9.2867 | 145.967 | 7.5187 | 203.105 | 6.496 | 153.423 | 5.9847 | 328.969 | 15.04 | 962.38 | 50.0938 | 36.5162
2019-05-08 19:45:00 | 10.8187 | 139.584 | 6.496 | 196.649 | 6.2403 | 181.954 | 5.4733 | 326.703 | 15.03 | 962.405 | 49.4796 | 40.0373
2019-05-08 20:00:00 | 0.372 | 137.415 | 5.729 | 190.655 | 4.962 | 169.966 | 3.308 | 333.939 | 14.96 | 962.892 | 49.8891 | 30.6487
2019-05-08 20:15:00 | 6.9887 | 135.009 | 6.2403 | 191.127 | 6.496 | 137.299 | 5.4733 | 331.37 | 14.93 | 962.966 | 49.277 | 34.1958
2019-05-08 20:30:00 | 9.2867 | 153.418 | 7.7743 | 187.929 | 7.0073 | 151.079 | 5.9847 | 339.489 | 14.88 | 962.96 | 49.3495 | 28.4983
2019-05-08 20:45:00 | 0 | 152.199 | 6.496 | 206.08 | 7.0073 | 162.311 | 1.5183 | 336.099 | 14.93 | 963.119 | 48.6665 | 19.0137
2019-05-08 21:00:00 | 0 | 159.345 | 4.962 | 221.832 | 5.2177 | 182.617 | 3.6837 | 340.061 | 14.91 | 963.862 | 48.805 | 17.2106
2019-05-08 21:15:00 | 0 | 139.825 | 4.4507 | 201.604 | 4.195 | 156.98 | 4.195 | 329.068 | 14.91 | 963.862 | 49.1459 | 13.6155
2019-05-08 21:30:00 | 0 | 151.402 | 5.729 | 200.633 | 4.962 | 155.252 | 3.8193 | 336.969 | 14.62 | 963.862 | 51.1263 | 15.8213
2019-05-08 21:45:00 | 0 | 154.153 | 6.496 | 201.214 | 6.7517 | 151.521 | 5.9847 | 341.033 | 14.16 | 963.713 | 52.6271 | 16.5307
2019-05-08 22:00:00 | 0 | 155.667 | 5.4733 | 202.826 | 4.7063 | 151.67 | 0 | 345.327 | 14.19 | 963.565 | 54.1297 | 14.6907
2019-05-08 22:15:00 | 0 | 160.638 | 5.2177 | 205.068 | 3.428 | 167.68 | 4.962 | 348.909 | 14.01 | 963.862 | 55.0853 | 13.2571
2019-05-08 22:30:00 | 0 | 168.188 | 5.2177 | 211.423 | 4.4507 | 158.148 | 3.428 | 353.288 | 14.07 | 963.565 | 54.2649 | 8.8233
2019-05-08 22:45:00 | 2.1373 | 171.72 | 4.4507 | 206.596 | 2.4053 | 160.047 | 0.75133 | 2.7292 | 14.05 | 963.565 | 52.0119 | 3.4916
2019-05-08 23:00:00 | 0 | 190.483 | 4.7063 | 218.56 | 3.428 | 170.72 | 5.729 | 11.7209 | 14.67 | 963.713 | 48.7355 | 3.4103
2019-05-08 23:15:00 | 0 | 177.79 | 4.195 | 235.037 | 2.661 | 177.449 | 0 | 11.5992 | 14.76 | 963.565 | 48.156 | 2.1837
2019-05-08 23:30:00 | 0 | 175.988 | 4.4507 | 216.738 | 4.195 | 161.976 | 0 | 0.77978 | 14.71 | 963.565 | 49.2826 | 3.5101
2019-05-08 23:45:00 | 0.372 | 177.646 | 5.2177 | 218.982 | 4.195 | 167.217 | 4.962 | 4.2401 | 14.45 | 963.268 | 50.4093 | 5.2319