## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-09 00:00:00 | 0 | 183.006 | 5.9847 | 219.93 | 4.962 | 168.629 | 3.0523 | 7.4567 | 14.45 | 963.416 | 51.6035 | 9.1558
2019-05-09 00:15:00 | 0 | 163.167 | 6.2403 | 206.109 | 5.729 | 157.465 | 0 | 355.477 | 14.21 | 963.268 | 52.3532 | 14.7055
2019-05-09 00:30:00 | 1.3713 | 168.409 | 7.5187 | 206.918 | 6.496 | 159.783 | 5.4733 | 7.1155 | 14.3 | 962.971 | 49.8287 | 19.0321
2019-05-09 00:45:00 | 5.712 | 163.926 | 8.03 | 205.067 | 8.2857 | 151.645 | 3.5637 | 356.802 | 14.44 | 962.971 | 51.672 | 20.8426
2019-05-09 01:00:00 | 8.776 | 149.813 | 6.7517 | 197.775 | 6.2403 | 150.496 | 5.729 | 350.653 | 14.07 | 962.674 | 53.8549 | 21.6038
2019-05-09 01:15:00 | 9.0313 | 154.734 | 5.729 | 206.472 | 4.962 | 159.193 | 4.7063 | 346.311 | 13.82 | 962.674 | 53.0352 | 21.903
2019-05-09 01:30:00 | 12.3507 | 155.904 | 7.5187 | 197.505 | 7.5187 | 157.756 | 5.729 | 353.087 | 14.37 | 962.822 | 52.2846 | 23.684
2019-05-09 01:45:00 | 5.4567 | 160.633 | 9.3083 | 207.353 | 8.2857 | 154.931 | 2.9167 | 349.363 | 14.19 | 962.822 | 53.5139 | 24.8922
2019-05-09 02:00:00 | 0 | 159.784 | 6.496 | 204.507 | 6.496 | 150.11 | 1.774 | 339.429 | 14.11 | 962.971 | 52.696 | 18.8178
2019-05-09 02:15:00 | 0.62733 | 161.314 | 7.263 | 212.712 | 7.263 | 161.826 | 4.195 | 353.795 | 14 | 962.971 | 53.3769 | 17.872
2019-05-09 02:30:00 | 0 | 161.318 | 6.496 | 204.481 | 7.5187 | 164.535 | 1.2627 | 344.982 | 13.84 | 962.971 | 54.4703 | 19.228
2019-05-09 02:45:00 | 0 | 175.377 | 6.2403 | 214.055 | 5.9847 | 162.486 | 1.774 | 86.9696 | 13.85 | 963.119 | 53.992 | 17.1995
2019-05-09 03:00:00 | 0 | 137.775 | 4.962 | 189.952 | 3.6837 | 159.852 | 0 | 351.284 | 13.58 | 963.119 | 55.3562 | 14.8754
2019-05-09 03:15:00 | 0 | 157.642 | 6.7517 | 208.774 | 5.729 | 158.494 | 5.4733 | 346.183 | 13.43 | 963.119 | 56.4509 | 16.9704
2019-05-09 03:30:00 | 0 | 161.086 | 4.962 | 213.416 | 3.1723 | 171.638 | 0 | 349.271 | 13.22 | 962.971 | 54.679 | 11.3543
2019-05-09 03:45:00 | 0.372 | 167.365 | 5.4733 | 208.173 | 4.4507 | 187.813 | 5.9847 | 349.304 | 13.56 | 962.971 | 55.5374 | 15.1304
2019-05-09 04:00:00 | 0 | 160.779 | 7.0073 | 212.286 | 4.7063 | 162.412 | 3.9393 | 345.687 | 13.79 | 962.377 | 54.819 | 14.8754
2019-05-09 04:15:00 | 0.62733 | 178.913 | 5.729 | 203.635 | 4.195 | 164.363 | 5.729 | 0.3412 | 13.53 | 962.377 | 54.2049 | 8.8196
2019-05-09 04:30:00 | 0.372 | 180.155 | 5.2177 | 218.963 | 4.962 | 167.433 | 3.428 | 0.19497 | 14.16 | 962.674 | 52.4296 | 8.0658
2019-05-09 04:45:00 | 0 | 185.301 | 5.729 | 229.879 | 5.2177 | 180.233 | 5.2177 | 8.7728 | 14.27 | 962.822 | 47.4409 | 10.7224
2019-05-09 05:00:00 | 0 | 193.359 | 5.729 | 240.59 | 4.962 | 186.999 | 5.4733 | 9.8203 | 14.38 | 962.971 | 48.9747 | 15.9802
2019-05-09 05:15:00 | 0 | 178.109 | 4.7063 | 222.466 | 3.6837 | 170.628 | 0.37567 | 4.5081 | 13.98 | 963.268 | 51.6719 | 7.6964
2019-05-09 05:30:00 | 0 | 184.808 | 3.6837 | 219.538 | 3.9393 | 177.79 | 5.9847 | 3.4115 | 14.32 | 963.268 | 50.4426 | 8.2691
2019-05-09 05:45:00 | 0 | 169.605 | 5.2177 | 214.669 | 4.962 | 167.265 | 3.6837 | 352.027 | 14.12 | 963.565 | 52.4912 | 11.9565
2019-05-09 06:00:00 | 0 | 171.626 | 6.7517 | 208.623 | 5.9847 | 164.486 | 3.6837 | 349.685 | 13.79 | 963.565 | 53.9925 | 14.3914
2019-05-09 06:15:00 | 0 | 156.278 | 7.0073 | 200.017 | 6.7517 | 159.787 | 1.5183 | 345.474 | 13.9 | 963.534 | 52.8253 | 15.0787
2019-05-09 06:30:00 | 0 | 162.828 | 4.7063 | 209.464 | 4.4507 | 156.371 | 3.9393 | 354.966 | 14.16 | 963.574 | 52.2778 | 10.2384
2019-05-09 06:45:00 | 0 | 156.176 | 4.4507 | 192.093 | 2.661 | 148.916 | 0.887 | 354.113 | 14.59 | 963.865 | 50.5716 | 11.103
2019-05-09 07:00:00 | 0 | 157.398 | 5.2177 | 201.604 | 4.962 | 150.334 | 2.4053 | 341.929 | 14.98 | 963.865 | 49.4653 | 11.5944
2019-05-09 07:15:00 | 0 | 179.042 | 5.2177 | 224.487 | 5.729 | 176.923 | 1.007 | 2.1433 | 15.22 | 964.161 | 49.1216 | 13.634
2019-05-09 07:30:00 | 0 | 155.879 | 7.0073 | 206.561 | 7.0073 | 161.725 | 4.962 | 341.96 | 15.43 | 964.108 | 47.5525 | 16.6046
2019-05-09 07:45:00 | 7.244 | 155.977 | 7.7743 | 187.441 | 7.0073 | 158.242 | 5.9847 | 336.31 | 15.57 | 964.176 | 49.4627 | 21.0274
2019-05-09 08:00:00 | 0.372 | 150.809 | 7.5187 | 197.981 | 7.5187 | 163.352 | 5.4733 | 334.181 | 15.37 | 964.609 | 48.7791 | 19.7896
2019-05-09 08:15:00 | 0 | 156.268 | 7.263 | 201.922 | 7.5187 | 156.682 | 5.4733 | 342.271 | 15.53 | 964.906 | 48.7045 | 19.0321
2019-05-09 08:30:00 | 0.372 | 154.052 | 7.7743 | 202.919 | 8.5413 | 160.651 | 1.2627 | 322.471 | 15.59 | 964.758 | 50.0003 | 18.574
2019-05-09 08:45:00 | 0 | 156.583 | 7.5187 | 202.821 | 6.7517 | 160.358 | 3.428 | 349.256 | 15.91 | 964.906 | 50.3752 | 16.2462
2019-05-09 09:00:00 | 0 | 159.92 | 8.03 | 198.583 | 8.5413 | 144.578 | 3.428 | 349.646 | 16.17 | 965.203 | 48.7722 | 13.8741
2019-05-09 09:15:00 | 0 | 161.912 | 7.0073 | 212.434 | 8.03 | 163.349 | 1.894 | 341.382 | 16.64 | 965.351 | 48.8392 | 12.4332
2019-05-09 09:30:00 | 0.372 | 142.179 | 4.962 | 196.568 | 5.2177 | 152.747 | 5.4733 | 332.936 | 16.92 | 965.636 | 47.8471 | 8.1693
2019-05-09 09:45:00 | 0.372 | 143.993 | 5.2177 | 188.612 | 5.2177 | 153.684 | 5.2177 | 324.216 | 17.85 | 965.72 | 48.0137 | 6.4586
2019-05-09 10:00:00 | 0 | 162.546 | 4.195 | 223.235 | 5.2177 | 219.715 | 5.4733 | 338.41 | 18.37 | 965.799 | 46.6155 | 5.025
2019-05-09 10:15:00 | 0 | 194.561 | 4.962 | 237.058 | 5.4733 | 195.219 | 1.2627 | 18.8693 | 18.86 | 965.798 | 45.2162 | 3.2478
2019-05-09 10:30:00 | 0 | 186.255 | 3.6837 | 227.48 | 4.962 | 184.502 | 0 | 9.9323 | 19.32 | 965.947 | 44.3918 | 2.5679
2019-05-09 10:45:00 | 0 | 146.062 | 4.962 | 176.551 | 4.7063 | 136.641 | 5.4733 | 313.814 | 19.83 | 966.243 | 44.9369 | 1.3412
2019-05-09 11:00:00 | 0 | 206.471 | 3.9393 | 251.684 | 4.962 | 209.538 | 1.5183 | 16.3093 | 20.18 | 966.392 | 40.4341 | 0.98652
2019-05-09 11:15:00 | 0 | 172.324 | 5.2177 | 240.871 | 5.729 | 205.231 | 3.1723 | 87.2086 | 20.52 | 966.243 | 41.0772 | 0.60226
2019-05-09 11:30:00 | 0 | 183.252 | 5.729 | 240.287 | 7.5187 | 193.572 | 2.4053 | 2.726 | 20.76 | 966.228 | 41.2477 | 0.084981
2019-05-09 11:45:00 | 0 | 187.463 | 4.962 | 244.206 | 5.4733 | 195.252 | 1.2627 | 25.7512 | 20.65 | 966.243 | 42.134 | -0.15518
2019-05-09 12:00:00 | 2.276 | 200.728 | 2.661 | 229.821 | 2.9167 | 151.392 | 3.6837 | 19.6663 | 21.03 | 966.391 | 42.918 | -0.17735
2019-05-09 12:15:00 | 0 | 197.953 | 4.962 | 234.957 | 4.7063 | 181.987 | 5.729 | 8.8353 | 21.46 | 966.376 | 42.134 | -0.11454
2019-05-09 12:30:00 | 0 | 176.851 | 5.2177 | 221.935 | 6.2403 | 174.052 | 3.9393 | 4.6732 | 21.54 | 965.944 | 39.7137 | 0.24755
2019-05-09 12:45:00 | 0 | 181.184 | 3.428 | 215.705 | 2.9167 | 171.546 | 0.75133 | 3.5049 | 21.98 | 965.934 | 39.2707 | 0.0036948
2019-05-09 13:00:00 | 0.62733 | 172.032 | 2.1497 | 224.125 | 2.661 | 181.232 | 0 | 345.767 | 22.41 | 965.942 | 37.4979 | 0.25864
2019-05-09 13:15:00 | 0 | 215.04 | 2.9167 | 258.566 | 2.1497 | 192.38 | 0.37567 | 61.725 | 22.32 | 966.083 | 36.3048 | -0.048033
2019-05-09 13:30:00 | 0.744 | 173.322 | 3.428 | 208.207 | 4.195 | 148.763 | 2.661 | 346.692 | 23.24 | 965.785 | 35.1116 | 0.42491
2019-05-09 13:45:00 | 0 | 190.419 | 5.2177 | 235.06 | 5.4733 | 187.304 | 0 | 10.2949 | 22.89 | 966.076 | 35.3818 | 1.0013
2019-05-09 14:00:00 | 0 | 240.58 | 1.3827 | 18.2478 | 2.1497 | 293.34 | 0 | 230.457 | 23.07 | 965.76 | 33.6062 | 0.66507
2019-05-09 14:15:00 | 0 | 223.447 | 3.6837 | 241.727 | 2.4053 | 218.41 | 0 | 64.8295 | 23.54 | 965.802 | 37.0143 | 0.82764
2019-05-09 14:30:00 | 0 | 185.752 | 2.9167 | 224.814 | 2.4053 | 198.577 | 2.2853 | 3.7963 | 23.44 | 965.801 | 33.8105 | 0.22169
2019-05-09 14:45:00 | 0 | 174.625 | 3.6837 | 198.159 | 3.9393 | 155.06 | 0 | 353.727 | 23.71 | 965.652 | 32.8891 | 0.87568
2019-05-09 15:00:00 | 0 | 181.68 | 5.9847 | 232.396 | 5.9847 | 185.913 | 4.962 | 2.7011 | 23.41 | 965.208 | 30.878 | 1.1602
2019-05-09 15:15:00 | 1.6487 | 200.571 | 5.4733 | 242.431 | 5.4733 | 191.47 | 1.007 | 19.3709 | 23.27 | 964.763 | 32.7878 | 1.8326
2019-05-09 15:30:00 | 0 | 188.769 | 4.4507 | 241.557 | 5.729 | 188.137 | 3.0523 | 11.9973 | 23.22 | 964.763 | 31.0157 | 2.6123
2019-05-09 15:45:00 | 0 | 161.514 | 4.195 | 223.354 | 3.428 | 199.866 | 0 | 347.071 | 23.31 | 964.614 | 30.1977 | 3.2626
2019-05-09 16:00:00 | 0 | 195.997 | 4.195 | 230.971 | 3.9393 | 185.217 | 0.37567 | 14.9663 | 23.4 | 965.059 | 30.0613 | 4.637
2019-05-09 16:15:00 | 0 | 180.982 | 5.2177 | 239.415 | 5.2177 | 188.064 | 0 | 332.251 | 23.05 | 964.638 | 30.1295 | 6.9648
2019-05-09 16:30:00 | 0 | 184.757 | 7.5187 | 239.03 | 7.0073 | 185.439 | 0 | 12.1192 | 22.89 | 964.64 | 30.539 | 6.1408
2019-05-09 16:45:00 | 0 | 177.967 | 4.962 | 225.216 | 5.2177 | 182.397 | 0 | 356.665 | 22.79 | 964.588 | 32.6566 | 6.7874
2019-05-09 17:00:00 | 0.372 | 168.916 | 5.4733 | 222.592 | 5.2177 | 172.372 | 5.4733 | 0.19472 | 22.54 | 964.755 | 35.1798 | 6.684
2019-05-09 17:15:00 | 0 | 180.309 | 5.4733 | 220.111 | 6.7517 | 177.242 | 0.63133 | 1.0953 | 22.35 | 964.315 | 35.6574 | 5.5571
2019-05-09 17:30:00 | 0 | 174.967 | 4.962 | 215.018 | 5.2177 | 173.702 | 1.007 | 0.46249 | 22.26 | 964.463 | 35.7624 | 4.6333
2019-05-09 17:45:00 | 0 | 179.729 | 4.962 | 236.241 | 5.2177 | 192.12 | 0 | 0.19475 | 22.14 | 964.167 | 36.0722 | 6.0743
2019-05-09 18:00:00 | 0 | 164.709 | 5.729 | 213.893 | 6.7517 | 167.289 | 2.9167 | 356.804 | 21.81 | 963.87 | 37.2996 | 5.4277
2019-05-09 18:15:00 | 0 | 171.389 | 5.4733 | 205.387 | 6.496 | 156.32 | 3.428 | 6.0376 | 21.57 | 964.018 | 38.6657 | 7.0128
2019-05-09 18:30:00 | 0 | 176.327 | 7.5187 | 219.339 | 7.263 | 174.014 | 1.774 | 0.19478 | 21.37 | 963.87 | 42.5575 | 10.5636
2019-05-09 18:45:00 | 7.4993 | 180.636 | 7.5187 | 218.243 | 6.496 | 184.118 | 4.195 | 3.1165 | 21.2 | 963.87 | 43.8193 | 18.4594
2019-05-09 19:00:00 | 12.0953 | 174.988 | 8.5413 | 216.661 | 8.03 | 167.562 | 5.729 | 1.5583 | 21.13 | 964.092 | 45.6607 | 23.115
2019-05-09 19:15:00 | 0 | 168.23 | 6.7517 | 229.581 | 6.2403 | 180.551 | 5.9847 | 354.795 | 20.89 | 964.592 | 47.8121 | 17.2845
2019-05-09 19:30:00 | 0.372 | 179.322 | 6.496 | 222.659 | 7.7743 | 173.526 | 0.37567 | 3.9205 | 20.65 | 964.607 | 47.8838 | 17.1256
2019-05-09 19:45:00 | 5.4567 | 180.838 | 7.0073 | 217.018 | 6.2403 | 180.74 | 5.2177 | 2.8979 | 20.57 | 964.461 | 48.0218 | 16.2684
2019-05-09 20:00:00 | 0 | 161.502 | 6.496 | 222.497 | 6.7517 | 170.513 | 4.4507 | 351.155 | 20.44 | 964.609 | 48.1923 | 11.9824
2019-05-09 20:15:00 | 3.042 | 180.351 | 6.496 | 224.104 | 7.0073 | 160.26 | 1.6383 | 7.5004 | 20.3 | 964.757 | 48.3629 | 14.4468
2019-05-09 20:30:00 | 0 | 187.169 | 7.0073 | 226.393 | 7.0073 | 179.084 | 1.3983 | 0.26787 | 20.19 | 964.757 | 48.09 | 10.8998
2019-05-09 20:45:00 | 0 | 177.989 | 7.263 | 219.77 | 5.9847 | 171.681 | 0 | 10.3252 | 20.1 | 964.757 | 48.9768 | 11.6018
2019-05-09 21:00:00 | 0 | 177.748 | 5.9847 | 221.697 | 5.9847 | 160.312 | 4.7063 | 353.742 | 19.89 | 964.757 | 50.2054 | 11.5242
2019-05-09 21:15:00 | 0 | 179.441 | 6.7517 | 227.705 | 5.2177 | 171.721 | 1.127 | 356.787 | 19.78 | 964.757 | 50.8912 | 10.5451
2019-05-09 21:30:00 | 0 | 178.407 | 7.5187 | 216.495 | 6.7517 | 170.199 | 4.195 | 2.0459 | 19.61 | 964.77 | 51.236 | 9.9798
2019-05-09 21:45:00 | 0 | 180.404 | 5.729 | 210.382 | 5.9847 | 153.004 | 4.962 | 7.9887 | 19.63 | 964.764 | 51.236 | 10.3382
2019-05-09 22:00:00 | 0 | 165.719 | 5.2177 | 206.415 | 6.496 | 150.375 | 4.7063 | 356.793 | 19.37 | 964.953 | 51.5095 | 9.5992
2019-05-09 22:15:00 | 0 | 159.825 | 5.9847 | 197.281 | 5.729 | 151.836 | 0 | 1.2665 | 19.4 | 964.808 | 51.373 | 10.5783
2019-05-09 22:30:00 | 2.0207 | 166.498 | 5.729 | 218.69 | 6.2403 | 164.477 | 1.6383 | 0.19485 | 19.41 | 964.854 | 49.8039 | 13.8631
2019-05-09 22:45:00 | 7.1273 | 186.203 | 7.7743 | 216.206 | 7.5187 | 181.794 | 4.4507 | 355.478 | 19.33 | 964.88 | 49.1898 | 15.9285
2019-05-09 23:00:00 | 0 | 144.748 | 7.0073 | 199.838 | 6.496 | 148.792 | 3.428 | 349.851 | 18.91 | 964.963 | 51.0319 | 20.2071
2019-05-09 23:15:00 | 0 | 158.558 | 5.729 | 209.557 | 5.729 | 152.396 | 5.2177 | 7.8427 | 18.65 | 965.122 | 53.5562 | 21.2934
2019-05-09 23:30:00 | 0.62733 | 156.488 | 5.729 | 201.422 | 5.4733 | 150.618 | 3.5637 | 352.409 | 18.3 | 965.052 | 54.2384 | 16.7598
2019-05-09 23:45:00 | 0 | 157.657 | 4.962 | 199.473 | 4.7063 | 153.492 | 0 | 345.151 | 18.13 | 964.755 | 54.1702 | 14.1882