## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-10 00:00:00 | 0 | 160.263 | 4.7063 | 198.231 | 4.195 | 148.134 | 4.195 | 351.459 | 18.01 | 964.607 | 54.4431 | 14.2695
2019-05-10 00:15:00 | 0 | 162.018 | 6.2403 | 191.924 | 4.7063 | 140.95 | 0.37567 | 350.974 | 17.91 | 964.607 | 54.6823 | 16.3312
2019-05-10 00:30:00 | 7.4993 | 159.418 | 6.496 | 198.776 | 5.729 | 147.872 | 3.6837 | 344.142 | 17.68 | 964.458 | 53.5585 | 17.3916
2019-05-10 00:45:00 | 5.2013 | 160.537 | 7.263 | 209.394 | 6.496 | 158.442 | 4.195 | 346.965 | 17.88 | 964.161 | 52.1253 | 15.9987
2019-05-10 01:00:00 | 12.606 | 151.522 | 7.0073 | 220.423 | 7.5187 | 163.627 | 3.428 | 348.054 | 18.21 | 964.013 | 51.442 | 23.1925
2019-05-10 01:15:00 | 0.88267 | 160.095 | 6.496 | 199.598 | 5.729 | 164.649 | 0.75133 | 343.962 | 17.88 | 964.161 | 54.0686 | 19.9374
2019-05-10 01:30:00 | 0 | 150.253 | 6.7517 | 202.055 | 5.4733 | 154.369 | 5.2177 | 347.221 | 17.78 | 963.716 | 53.5562 | 14.8348
2019-05-10 01:45:00 | 0 | 160.63 | 6.496 | 207.731 | 4.962 | 150.839 | 2.2853 | 339.649 | 17.68 | 963.568 | 53.2837 | 15.5775
2019-05-10 02:00:00 | 2.276 | 148.794 | 6.2403 | 194.288 | 6.2403 | 153.421 | 4.962 | 342.646 | 17.72 | 963.716 | 54.1368 | 16.4679
2019-05-10 02:15:00 | 0.744 | 158.489 | 7.0073 | 193.096 | 5.729 | 159.268 | 5.9847 | 345.45 | 17.41 | 963.419 | 53.148 | 17.096
2019-05-10 02:30:00 | 0 | 144.727 | 5.9847 | 184.45 | 4.7063 | 148.77 | 0.37567 | 338.46 | 17.3 | 963.568 | 54.5125 | 19.9854
2019-05-10 02:45:00 | 0 | 152.132 | 5.9847 | 185.62 | 4.962 | 154.056 | 5.9847 | 336.732 | 17.42 | 963.419 | 53.2847 | 19.9374
2019-05-10 03:00:00 | 0 | 151.262 | 5.2177 | 198.587 | 4.962 | 130.582 | 0 | 333.8 | 17.32 | 963.419 | 52.1954 | 18.4779
2019-05-10 03:15:00 | 0.372 | 159.346 | 4.7063 | 217.971 | 4.195 | 167.627 | 0.887 | 329.847 | 17.32 | 963.568 | 51.8531 | 22.3021
2019-05-10 03:30:00 | 0.372 | 147.363 | 5.2177 | 206.769 | 5.729 | 164.535 | 3.6837 | 324.783 | 17.18 | 963.568 | 53.6957 | 23.9315
2019-05-10 03:45:00 | 0 | 148.055 | 4.7063 | 182.814 | 5.729 | 165.618 | 3.1723 | 336.01 | 17.03 | 963.568 | 54.0064 | 21.0643
2019-05-10 04:00:00 | 0 | 174.482 | 7.5187 | 215.208 | 7.263 | 160.89 | 5.2177 | 0.19487 | 17.16 | 963.568 | 54.1079 | 18.7994
2019-05-10 04:15:00 | 5.712 | 159.4 | 6.496 | 207.749 | 6.2403 | 155.551 | 4.4507 | 345.35 | 17.23 | 963.864 | 53.4242 | 23.0152
2019-05-10 04:30:00 | 2.9033 | 145.567 | 7.263 | 191.335 | 6.496 | 148.782 | 5.9847 | 328.548 | 16.98 | 963.716 | 55.472 | 26.8394
2019-05-10 04:45:00 | 0.372 | 147.449 | 5.729 | 190.102 | 5.729 | 151.785 | 2.4053 | 332.047 | 16.63 | 963.864 | 57.8286 | 31.6759
2019-05-10 05:00:00 | 2.276 | 139.361 | 5.4733 | 209.711 | 6.2403 | 169.86 | 5.4733 | 330.779 | 16.59 | 963.568 | 59.2273 | 37.5101
2019-05-10 05:15:00 | 8.2653 | 148.626 | 7.0073 | 212.598 | 6.2403 | 183.486 | 4.195 | 329.676 | 16.66 | 963.568 | 60.8681 | 35.234
2019-05-10 05:30:00 | 5.9673 | 147.828 | 7.263 | 204.325 | 6.7517 | 155.6 | 2.9167 | 328.399 | 16.78 | 963.568 | 60.2566 | 32.9322
2019-05-10 05:45:00 | 8.5207 | 154.597 | 6.2403 | 203.515 | 5.2177 | 170.7 | 2.4053 | 337.258 | 16.89 | 963.864 | 59.6409 | 32.9654
2019-05-10 06:00:00 | 5.4567 | 145.479 | 6.7517 | 196.391 | 7.5187 | 138.292 | 4.4507 | 327.181 | 16.95 | 963.864 | 59.365 | 32.4925
2019-05-10 06:15:00 | 0 | 152.094 | 4.4507 | 215.546 | 7.0073 | 139.135 | 3.428 | 331.104 | 16.93 | 963.864 | 59.8384 | 35.1195
2019-05-10 06:30:00 | 2.648 | 151.408 | 10.8423 | 202.606 | 8.03 | 137.086 | 4.7063 | 343.543 | 16.9 | 964.013 | 61.4746 | 34.7944
2019-05-10 06:45:00 | 3.414 | 149.671 | 8.2857 | 212.533 | 6.7517 | 144.971 | 5.9847 | 341.187 | 17.01 | 964.161 | 62.0855 | 35.1565
2019-05-10 07:00:00 | 5.9673 | 150.618 | 8.5413 | 196.331 | 7.7743 | 150.618 | 4.195 | 344.518 | 16.9 | 964.458 | 62.2207 | 39.1358
2019-05-10 07:15:00 | 6.7333 | 141.241 | 9.3083 | 192.921 | 9.564 | 147.623 | 5.729 | 341.4 | 17.02 | 964.295 | 61.9478 | 38.2195
2019-05-10 07:30:00 | 0.372 | 149.766 | 9.8197 | 198.231 | 9.0527 | 156.756 | 2.4053 | 337.016 | 17.05 | 964.188 | 62.1184 | 39.3723
2019-05-10 07:45:00 | 4.18 | 147.257 | 11.3537 | 197.354 | 9.8197 | 149.766 | 3.1723 | 341.254 | 17.23 | 964.167 | 60.788 | 44.3825
2019-05-10 08:00:00 | 2.3927 | 152.005 | 10.5867 | 197.449 | 9.0527 | 140.728 | 3.6837 | 333.431 | 17.4 | 964.164 | 60.9237 | 46.4854
2019-05-10 08:15:00 | 3.414 | 137.512 | 10.8423 | 180.836 | 10.0753 | 142.139 | 5.4733 | 320.909 | 17.68 | 963.868 | 59.6951 | 55.0162
2019-05-10 08:30:00 | 3.6693 | 140.973 | 9.564 | 191.63 | 9.8197 | 151.544 | 4.4507 | 326.591 | 17.72 | 964.164 | 61.0609 | 51.6872
2019-05-10 08:45:00 | 3.9247 | 148.67 | 9.564 | 213.113 | 12.3763 | 156.878 | 2.9167 | 334.751 | 18.04 | 964.182 | 60.3786 | 54.652
2019-05-10 09:00:00 | 9.542 | 132.229 | 7.7743 | 196.38 | 7.263 | 150.716 | 6.7517 | 314.097 | 18.34 | 964.762 | 59.4235 | 55.2416
2019-05-10 09:15:00 | 4.18 | 136.494 | 8.5413 | 192.229 | 7.0073 | 143.799 | 1.007 | 317.941 | 18.69 | 965.055 | 57.913 | 54.7946
2019-05-10 09:30:00 | 0.744 | 133.351 | 10.5867 | 183.679 | 7.7743 | 129.357 | 3.6837 | 312.726 | 18.62 | 964.906 | 57.162 | 51.2364
2019-05-10 09:45:00 | 6.9887 | 128.822 | 7.263 | 181.902 | 7.263 | 141.704 | 5.729 | 320.667 | 19.09 | 964.906 | 55.2524 | 49.9988
2019-05-10 10:00:00 | 6.2227 | 130.992 | 8.03 | 191.729 | 7.263 | 150.032 | 6.2403 | 305.347 | 19.46 | 964.984 | 55.5842 | 52.2351
2019-05-10 10:15:00 | 6.2227 | 154.066 | 8.5413 | 194.3 | 8.2857 | 152.07 | 3.9393 | 343.971 | 20.08 | 965.205 | 54.7973 | 56.0397
2019-05-10 10:30:00 | 5.2013 | 150.101 | 14.933 | 199.479 | 13.9103 | 144.039 | 6.2403 | 330.509 | 19.91 | 964.612 | 52.437 | 62.1177
2019-05-10 10:45:00 | 4.6907 | 150.062 | 12.1207 | 199.566 | 10.5867 | 151.595 | 7.0073 | 328.899 | 19.8 | 964.464 | 54.0769 | 63.4611
2019-05-10 11:00:00 | 5.712 | 147.28 | 10.8423 | 195.794 | 10.0753 | 152.003 | 4.7063 | 330.959 | 19.88 | 964.464 | 54.7654 | 60.0191
2019-05-10 11:15:00 | 5.9673 | 159.965 | 7.263 | 225.45 | 10.331 | 180.174 | 5.729 | 337.948 | 20.11 | 964.464 | 55.0383 | 50.4938
2019-05-10 11:30:00 | 1.2547 | 146.066 | 8.2857 | 213.17 | 6.7517 | 152.055 | 1.007 | 314.675 | 20.6 | 964.76 | 53.9394 | 48.6537
2019-05-10 11:45:00 | 1.51 | 140.341 | 9.3083 | 195.052 | 9.0527 | 140.341 | 6.2403 | 322.116 | 21.24 | 964.76 | 47.4599 | 49.7991
2019-05-10 12:00:00 | 4.18 | 136.203 | 9.8197 | 186.483 | 9.0527 | 138.71 | 5.2177 | 326.863 | 21.43 | 964.76 | 47.119 | 44.4749
2019-05-10 12:15:00 | 2.0207 | 144.32 | 8.2857 | 197.052 | 9.564 | 157.611 | 4.962 | 333.429 | 21.6 | 964.76 | 46.7055 | 41.8102
2019-05-10 12:30:00 | 0 | 152.173 | 7.7743 | 196.869 | 7.263 | 151.297 | 4.7063 | 328.248 | 22.13 | 964.76 | 47.9639 | 44.503
2019-05-10 12:45:00 | 2.0207 | 159.863 | 8.797 | 204.437 | 8.5413 | 166.727 | 4.195 | 328.757 | 22.25 | 964.76 | 47.2477 | 45.1732
2019-05-10 13:00:00 | 6.7333 | 131.579 | 6.2403 | 183.381 | 7.5187 | 136.107 | 4.195 | 318.994 | 22.37 | 964.76 | 45.0997 | 43.4735
2019-05-10 13:15:00 | 4.4353 | 135.011 | 10.8423 | 194.431 | 9.8197 | 148.106 | 7.5187 | 323.229 | 22.32 | 964.757 | 44.9293 | 41.8441
2019-05-10 13:30:00 | 5.4567 | 118.947 | 9.3083 | 176.128 | 7.263 | 145.575 | 4.7063 | 303.83 | 22.75 | 964.611 | 43.4294 | 45.7107
2019-05-10 13:45:00 | 2.9033 | 136.52 | 11.3537 | 182.018 | 10.0753 | 130.265 | 4.7063 | 323.618 | 22.88 | 964.759 | 44.1793 | 48.7076
2019-05-10 14:00:00 | 7.244 | 133.746 | 9.0527 | 181.75 | 8.797 | 131.239 | 4.4507 | 316.828 | 23.09 | 965.057 | 43.3271 | 43.1336
2019-05-10 14:15:00 | 4.946 | 180.233 | 8.2857 | 211.175 | 11.098 | 178.066 | 3.6837 | 12.9728 | 23.06 | 964.293 | 42.6789 | 37.9835
2019-05-10 14:30:00 | 4.6907 | 156.64 | 8.2857 | 203.814 | 9.3083 | 162.676 | 4.7063 | 328.784 | 23.43 | 964.457 | 42.3361 | 38.2256
2019-05-10 14:45:00 | 4.4353 | 133.675 | 9.0527 | 190.842 | 10.0753 | 146.938 | 4.195 | 311.518 | 23.54 | 964.449 | 42.4678 | 35.6477
2019-05-10 15:00:00 | 7.244 | 153.605 | 9.564 | 213.863 | 8.03 | 173.171 | 4.962 | 333.516 | 23.32 | 963.875 | 43.6265 | 35.2345
2019-05-10 15:15:00 | 0 | 200.743 | 8.03 | 238.417 | 8.797 | 186.823 | 4.195 | 4.5994 | 23.28 | 964.24 | 42.604 | 28.7702
2019-05-10 15:30:00 | 0 | 168.425 | 5.4733 | 214.739 | 6.2403 | 175.482 | 5.729 | 346.511 | 23.84 | 964.173 | 43.2175 | 31.3183
2019-05-10 15:45:00 | 5.9673 | 194.294 | 7.7743 | 234.305 | 12.3763 | 185.922 | 5.729 | 1.4845 | 23.58 | 964.466 | 44.0355 | 34.1493
2019-05-10 16:00:00 | 0 | 188.94 | 8.5413 | 184.223 | 5.729 | 130.584 | 1.774 | 15.5746 | 23.47 | 963.576 | 45.3988 | 29.0821
2019-05-10 16:15:00 | 2.276 | 151.046 | 7.263 | 199.317 | 7.0073 | 153.091 | 2.661 | 327.186 | 23.26 | 963.085 | 45.8142 | 29.5883
2019-05-10 16:30:00 | 0 | 148.568 | 7.7743 | 194.894 | 7.263 | 157.258 | 5.729 | 342.481 | 23.14 | 962.823 | 46.7701 | 28.4844
2019-05-10 16:45:00 | 1.6267 | 143.319 | 8.03 | 191.182 | 7.7743 | 156.269 | 1.007 | 325.536 | 23.19 | 963.128 | 46.7728 | 23.2997
2019-05-10 17:00:00 | 0 | 152.902 | 6.496 | 203.572 | 7.0073 | 156.505 | 3.428 | 332.387 | 23.15 | 963.276 | 46.7779 | 22.4351
2019-05-10 17:15:00 | 0 | 137.005 | 6.496 | 184.072 | 6.2403 | 129.313 | 3.1723 | 321.895 | 23.13 | 963.276 | 47.221 | 19.1134
2019-05-10 17:30:00 | 7.7547 | 125.954 | 8.797 | 175.357 | 8.2857 | 130.798 | 4.4507 | 314.568 | 23.18 | 962.98 | 46.5051 | 28.9935
2019-05-10 17:45:00 | 0 | 85.3974 | 3.9393 | 133.681 | 2.4053 | 61.0538 | 0 | 251.567 | 23.16 | 962.98 | 50.5283 | 11.3563
2019-05-10 18:00:00 | 8.2653 | 284.403 | 14.4217 | 322.838 | 14.166 | 287.739 | 6.496 | 109.905 | 19.1 | 963.87 | 82.2496 | 36.6693
2019-05-10 18:15:00 | 0 | 39.1121 | 1.894 | 104.691 | 0 | 353.081 | 0 | 225.954 | 15.92 | 962.676 | 79.6783 | 17.6133
2019-05-10 18:30:00 | 2.0207 | 50.2499 | 6.7517 | 81.7664 | 2.9167 | 81.3303 | 5.4733 | 241.336 | 15.41 | 962.081 | 81.4993 | 26.0142
2019-05-10 18:45:00 | 0 | 77.966 | 10.331 | 132.375 | 8.5413 | 73.3124 | 4.195 | 263.33 | 15.75 | 962.38 | 69.8172 | 30.0828
2019-05-10 19:00:00 | 10.0527 | 101.21 | 8.797 | 149.771 | 4.7063 | 92.4143 | 4.4507 | 290.375 | 19.2 | 962.974 | 53.0967 | 18.8363
2019-05-10 19:15:00 | 0 | 34.3689 | 5.729 | 74.0212 | 5.2177 | 14.3224 | 2.661 | 240.801 | 19.57 | 964.161 | 63.2144 | 16.5086
2019-05-10 19:30:00 | 0 | 55.338 | 4.962 | 109.772 | 4.4507 | 50.1501 | 0 | 240.496 | 17.15 | 963.864 | 72.3873 | 17.8239
2019-05-10 19:45:00 | 0 | 81.8858 | 4.4507 | 137.658 | 3.6837 | 84.7598 | 0 | 259.565 | 18.59 | 965.052 | 62.3575 | 9.9687
2019-05-10 20:00:00 | 0 | 127.921 | 7.263 | 180.065 | 7.7743 | 123.001 | 0 | 311.155 | 19.65 | 963.864 | 41.6859 | 19.579
2019-05-10 20:15:00 | 11.84 | 142.703 | 9.0527 | 179.355 | 7.0073 | 137.028 | 2.661 | 327.981 | 21.25 | 964.31 | 54.7844 | 23.4179
2019-05-10 20:30:00 | 1.7653 | 137.247 | 9.564 | 189.341 | 8.797 | 141.387 | 2.541 | 323.206 | 21.41 | 965.2 | 52.1235 | 35.537
2019-05-10 20:45:00 | 0 | 146.134 | 6.2403 | 178.937 | 9.0527 | 110.769 | 1.3827 | 327.9 | 21.17 | 965.373 | 53.6915 | 38.3821
2019-05-10 21:00:00 | 6.478 | 138.929 | 9.8197 | 185.605 | 9.3083 | 134.423 | 5.729 | 318.306 | 20.57 | 965.351 | 56.003 | 40.4696
2019-05-10 21:15:00 | 2.1373 | 140.024 | 8.03 | 196.781 | 8.797 | 132.548 | 5.2177 | 327.388 | 20.37 | 965.351 | 57.1624 | 44.6374
2019-05-10 21:30:00 | 2.0207 | 135.811 | 8.03 | 187.528 | 7.5187 | 156.218 | 5.729 | 321.105 | 19.71 | 965.5 | 59.5498 | 41.9661
2019-05-10 21:45:00 | 1.2547 | 130.871 | 8.2857 | 186.681 | 5.9847 | 159.51 | 0.37567 | 317.121 | 19.29 | 965.351 | 64.8723 | 32.4186
2019-05-10 22:00:00 | 4.946 | 141.36 | 6.7517 | 200.004 | 6.2403 | 151.76 | 5.2177 | 324.368 | 19.15 | 965.203 | 64.88 | 32.1858
2019-05-10 22:15:00 | 1.7653 | 150.838 | 7.263 | 210.799 | 6.496 | 170.201 | 5.729 | 333.192 | 18.8 | 965.211 | 67.6104 | 32.8139
2019-05-10 22:30:00 | 3.1587 | 149.936 | 9.0527 | 198.328 | 8.5413 | 152.421 | 5.4733 | 328.028 | 18.86 | 965.035 | 66.9964 | 27.8047
2019-05-10 22:45:00 | 0.372 | 153.005 | 8.797 | 198.767 | 8.797 | 157.146 | 3.1723 | 334.678 | 18.28 | 964.955 | 68.0198 | 39.6457
2019-05-10 23:00:00 | 0 | 155.66 | 10.331 | 197.768 | 10.331 | 145.528 | 1.894 | 337.673 | 18.1 | 965.049 | 68.7702 | 45.0513
2019-05-10 23:15:00 | 0 | 149.254 | 6.496 | 195.698 | 7.263 | 141.046 | 3.428 | 329.1 | 17.96 | 965.2 | 70.817 | 47.4418
2019-05-10 23:30:00 | 6.478 | 149.595 | 7.5187 | 194.529 | 6.7517 | 151.934 | 5.2177 | 328.856 | 17.89 | 964.903 | 70.4417 | 34.617
2019-05-10 23:45:00 | 0 | 136.078 | 6.7517 | 189.122 | 5.4733 | 152.883 | 3.9393 | 320.746 | 18.05 | 964.755 | 68.0198 | 34.7426