## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-11 00:00:00 | 1.2547 | 149.79 | 8.797 | 197.646 | 8.2857 | 148.231 | 5.2177 | 328.954 | 18.33 | 965.052 | 66.6553 | 34.1958
2019-05-11 00:15:00 | 2.1373 | 143.165 | 8.2857 | 190.583 | 7.5187 | 167.936 | 3.9393 | 328.735 | 18.4 | 964.903 | 66.9282 | 30.6487
2019-05-11 00:30:00 | 1.882 | 145.309 | 9.0527 | 193.701 | 8.03 | 148.694 | 4.195 | 334.921 | 18.31 | 965.052 | 66.9964 | 28.2656
2019-05-11 00:45:00 | 11.84 | 157.219 | 8.03 | 207.389 | 6.7517 | 171.881 | 5.729 | 335.067 | 18.02 | 965.052 | 68.5656 | 27.1756
2019-05-11 01:00:00 | 5.9673 | 149.206 | 5.9847 | 201.057 | 6.7517 | 154.272 | 5.4733 | 335.872 | 17.88 | 965.052 | 69.1798 | 30.2349
2019-05-11 01:15:00 | 0.99933 | 147.965 | 7.7743 | 197.308 | 7.0073 | 160.509 | 4.7063 | 335.315 | 17.82 | 965.052 | 70.7495 | 25.04
2019-05-11 01:30:00 | 7.7547 | 149.184 | 7.0073 | 203.812 | 6.7517 | 156.418 | 5.729 | 333.466 | 17.53 | 965.052 | 71.2276 | 31.9087
2019-05-11 01:45:00 | 0.62733 | 153.399 | 7.5187 | 203.254 | 7.5187 | 165.358 | 3.428 | 338.56 | 17.6 | 964.458 | 70.2049 | 24.7148
2019-05-11 02:00:00 | 3.6693 | 151.987 | 8.03 | 190.614 | 6.496 | 143.998 | 3.1723 | 334.445 | 17.46 | 964.755 | 69.5229 | 22.1875
2019-05-11 02:15:00 | 6.9887 | 146.651 | 7.5187 | 189.467 | 5.9847 | 146.53 | 6.496 | 331.762 | 17.31 | 964.755 | 71.6372 | 21.4301
2019-05-11 02:30:00 | 0 | 145.9 | 5.9847 | 189.082 | 4.7063 | 151.526 | 0 | 337.055 | 17.31 | 964.458 | 71.7753 | 17.9089
2019-05-11 02:45:00 | 0 | 141.784 | 7.7743 | 189.862 | 6.2403 | 138.227 | 4.7063 | 333.67 | 17.54 | 964.458 | 70.9226 | 17.3325
2019-05-11 03:00:00 | 0 | 138.934 | 5.9847 | 189.862 | 5.2177 | 144.853 | 1.774 | 327.849 | 17.58 | 964.458 | 70.7179 | 21.1604
2019-05-11 03:15:00 | 4.946 | 138.299 | 8.2857 | 190.226 | 8.2857 | 146.751 | 5.729 | 326.603 | 17.35 | 964.458 | 71.7748 | 26.7692
2019-05-11 03:30:00 | 0.372 | 138.763 | 5.4733 | 201.82 | 5.9847 | 153.206 | 2.9167 | 329.065 | 16.99 | 964.458 | 73.8219 | 34.6096
2019-05-11 03:45:00 | 4.18 | 140.596 | 8.2857 | 188.142 | 8.2857 | 147.685 | 3.9393 | 325.184 | 16.66 | 964.755 | 74.6102 | 35.7218
2019-05-11 04:00:00 | 0 | 153.762 | 6.7517 | 211.569 | 5.9847 | 155.151 | 4.4507 | 329.863 | 16.86 | 964.607 | 75.8104 | 36.2538
2019-05-11 04:15:00 | 11.3293 | 144.562 | 7.263 | 193.749 | 7.263 | 157.327 | 5.9847 | 328.127 | 16.49 | 964.755 | 76.7698 | 32.0786
2019-05-11 04:30:00 | 0 | 149.107 | 6.7517 | 192.234 | 8.5413 | 136.755 | 0.63133 | 336.174 | 16.47 | 964.607 | 76.9136 | 26.3664
2019-05-11 04:45:00 | 0 | 154.275 | 9.0527 | 195.04 | 6.7517 | 150.377 | 5.729 | 345.316 | 16.39 | 964.903 | 78.0751 | 24.301
2019-05-11 05:00:00 | 0.372 | 150.352 | 8.797 | 190.094 | 7.0073 | 149.158 | 4.4507 | 345.827 | 16.26 | 964.755 | 77.5632 | 23.0078
2019-05-11 05:15:00 | 2.67 | 134.638 | 7.7743 | 206.37 | 7.7743 | 155.835 | 4.962 | 330.357 | 16.54 | 965.052 | 76.4716 | 22.6346
2019-05-11 05:30:00 | 0 | 161.509 | 6.2403 | 197.668 | 5.2177 | 149.254 | 0 | 344.8 | 16.88 | 965.497 | 76.0949 | 17.2106
2019-05-11 05:45:00 | 0 | 157.775 | 6.496 | 197.098 | 5.9847 | 165.376 | 2.2853 | 352.898 | 16.68 | 965.646 | 75.7504 | 15.171
2019-05-11 06:00:00 | 0 | 153.167 | 6.496 | 191.238 | 4.4507 | 150.512 | 4.7063 | 345.942 | 16.99 | 965.943 | 74.4065 | 11.1289
2019-05-11 06:15:00 | 0 | 152.277 | 5.9847 | 195.506 | 4.4507 | 150.401 | 1.6383 | 348.054 | 17.2 | 966.091 | 71.0228 | 12.0341
2019-05-11 06:30:00 | 0 | 156.22 | 4.4507 | 205.976 | 3.428 | 166.742 | 0 | 345.808 | 17.25 | 966.239 | 69.9301 | 11.7533
2019-05-11 06:45:00 | 0 | 150.472 | 5.4733 | 190.437 | 6.2403 | 139.244 | 0.75133 | 330.391 | 17.24 | 966.361 | 70.9535 | 9.6509
2019-05-11 07:00:00 | 0 | 160.395 | 5.4733 | 209.146 | 6.2403 | 154.769 | 5.2177 | 336.888 | 17.33 | 966.242 | 70.7424 | 7.9254
2019-05-11 07:15:00 | 0 | 140.657 | 4.962 | 188.307 | 4.195 | 142.605 | 3.1723 | 329.093 | 17.4 | 966.687 | 69.2019 | 5.8822
2019-05-11 07:30:00 | 0 | 130.268 | 2.4053 | 195.855 | 3.428 | 158.61 | 0 | 323.478 | 17.68 | 966.968 | 66.909 | 4.6814
2019-05-11 07:45:00 | 0 | 137.127 | 2.661 | 179.336 | 2.9167 | 139.026 | 0 | 316.936 | 18.41 | 966.99 | 64.5865 | 2.5273
2019-05-11 08:00:00 | 0 | 160.232 | 1.6383 | 190.38 | 2.1497 | 173.061 | 0 | 325.088 | 19.34 | 967.43 | 61.3712 | 1.6553
2019-05-11 08:15:00 | 3.414 | 173.055 | 2.9167 | 207.576 | 3.428 | 155.482 | 1.6383 | 351.1 | 20.07 | 967.578 | 57.8835 | 2.7859
2019-05-11 08:30:00 | 0.744 | 162.731 | 4.195 | 190.873 | 5.2177 | 160.126 | 4.4507 | 339.724 | 19.95 | 967.705 | 64.0859 | 1.9028
2019-05-11 08:45:00 | 0 | 147.135 | 3.428 | 211.095 | 3.6837 | 167.529 | 0 | 323.328 | 19.47 | 968.02 | 58.7608 | 1.3006
2019-05-11 09:00:00 | 0 | 116.81 | 1.894 | 165.971 | 0 | 146.304 | 0 | 0.19468 | 19.91 | 967.731 | 57.6006 | -0.20691
2019-05-11 09:15:00 | 0 | 152.557 | 1.3827 | 212.011 | 2.4053 | 165.381 | 0 | 318.741 | 21.35 | 968.173 | 51.465 | -0.41013
2019-05-11 09:30:00 | 0 | 161.116 | 2.1497 | 226.529 | 2.4053 | 173.016 | 0 | 2.4334 | 22.7 | 968.264 | 46.8961 | -0.27711
2019-05-11 09:45:00 | 0 | 245.208 | 3.6837 | 232.069 | 3.6837 | 206.039 | 0 | 5.3523 | 22.08 | 967.882 | 54.5179 | -0.12562
2019-05-11 10:00:00 | 4.6907 | 167.562 | 2.9167 | 191.899 | 3.6837 | 141.525 | 2.541 | 343.033 | 21.29 | 968.09 | 59.8121 | 0.40643
2019-05-11 10:15:00 | 0 | 152.509 | 3.1723 | 197.265 | 3.428 | 142.312 | 0.37567 | 320.081 | 21.59 | 968.321 | 55.5551 | 1.0604
2019-05-11 10:30:00 | 0 | 160.387 | 4.7063 | 200.858 | 5.729 | 147.612 | 5.2177 | 352.726 | 21.28 | 968.469 | 58.2114 | 0.51728
2019-05-11 10:45:00 | 2.648 | 146.784 | 4.4507 | 167.3 | 3.9393 | 131.77 | 0.887 | 339.146 | 21.18 | 968.469 | 58.4839 | 0.25125
2019-05-11 11:00:00 | 0 | 140.092 | 3.428 | 180.222 | 2.661 | 134.325 | 0.37567 | 318.121 | 21.54 | 968.618 | 55.9618 | -0.077592
2019-05-11 11:15:00 | 0 | 121.86 | 3.6837 | 192.38 | 3.9393 | 117.845 | 0 | 323.095 | 22.09 | 968.321 | 53.5056 | -0.22169
2019-05-11 11:30:00 | 0 | 163.673 | 2.661 | 239.988 | 2.661 | 210.248 | 0 | 347.591 | 22.98 | 967.876 | 51.327 | -0.24016
2019-05-11 11:45:00 | 0 | 209.565 | 2.9167 | 260.523 | 2.1497 | 205.72 | 4.4507 | 27.2298 | 23.3 | 967.876 | 49.1111 | -0.24016
2019-05-11 12:00:00 | 0.99933 | 181.509 | 5.4733 | 237.018 | 2.9167 | 189.588 | 4.7063 | 14.4545 | 23.3 | 967.728 | 50.0998 | -0.25864
2019-05-11 12:15:00 | 0 | 210.524 | 5.2177 | 239.267 | 6.496 | 174.459 | 3.6837 | 31.7574 | 23.06 | 967.283 | 47.4434 | -0.18474
2019-05-11 12:30:00 | 0 | 197.847 | 3.6837 | 226.225 | 2.9167 | 212.813 | 0.37567 | 26.2822 | 23.45 | 967.283 | 45.2965 | -0.27711
2019-05-11 12:45:00 | 0 | 251.871 | 1.3827 | 302.103 | 0 | 245.009 | 0 | 85.7579 | 23.9 | 967.284 | 44.4785 | -0.25864
2019-05-11 13:00:00 | 0 | 173.219 | 2.1497 | 183.59 | 2.1497 | 245.495 | 0.37567 | 10.1235 | 24.81 | 967.58 | 44.3422 | -0.26972
2019-05-11 13:15:00 | 0 | 200.475 | 2.1497 | 244.793 | 2.1497 | 211.961 | 0.37567 | 5.9865 | 24.16 | 967.728 | 42.6721 | -0.26972
2019-05-11 13:30:00 | 0 | 245.568 | 1.894 | 300.229 | 1.127 | 233.352 | 0 | 72.2274 | 24.67 | 967.58 | 38.2413 | -0.24016
2019-05-11 13:45:00 | 0 | 198.327 | 2.1497 | 232.861 | 2.1497 | 182.51 | 0 | 24.1399 | 24.38 | 967.58 | 47.8513 | -0.24016
2019-05-11 14:00:00 | 0 | 206.807 | 5.729 | 236.324 | 5.2177 | 182.717 | 0.63133 | 41.2445 | 24.59 | 967.283 | 47.8823 | -0.25125
2019-05-11 14:15:00 | 0 | 263.945 | 2.661 | 307.625 | 4.195 | 199.291 | 1.2627 | 30.3681 | 24.61 | 967.283 | 46.2472 | -0.25864
2019-05-11 14:30:00 | 0 | 195.63 | 3.428 | 276.547 | 6.496 | 243.74 | 0.75133 | 5.5241 | 24.83 | 967.432 | 46.0117 | -0.24016
2019-05-11 14:45:00 | 0 | 163.6 | 3.6837 | 225.023 | 3.6837 | 175.597 | 0 | 24.2127 | 24.53 | 966.983 | 47.2374 | -0.25125
2019-05-11 15:00:00 | 0 | 191.22 | 3.9393 | 227.238 | 3.9393 | 191.829 | 5.4733 | 23.0447 | 24.79 | 966.514 | 46.4195 | -0.24016
2019-05-11 15:15:00 | 0 | 208.816 | 2.661 | 251.526 | 3.1723 | 222.905 | 0 | 61.7613 | 25.03 | 967.135 | 45.6701 | -0.18474
2019-05-11 15:30:00 | 0 | 131.881 | 2.1497 | 189.793 | 2.9167 | 133.171 | 0 | 320.067 | 24.91 | 967.256 | 45.4611 | -0.24016
2019-05-11 15:45:00 | 0 | 147.521 | 2.9167 | 185.42 | 1.6383 | 124.702 | 0 | 1.6543 | 24.72 | 967.586 | 45.043 | -0.22169
2019-05-11 16:00:00 | 0 | 152.117 | 4.4507 | 211.302 | 4.7063 | 183.572 | 5.4733 | 334.303 | 24.84 | 967.433 | 45.1789 | -0.24016
2019-05-11 16:15:00 | 0 | 152.993 | 4.195 | 206.729 | 4.4507 | 168.222 | 0 | 340.482 | 25.09 | 966.692 | 44.3952 | 0.16996
2019-05-11 16:30:00 | 0 | 179.145 | 4.195 | 230.496 | 4.4507 | 186.735 | 4.7063 | 10.8256 | 24.8 | 966.544 | 44.0205 | 0.65029
2019-05-11 16:45:00 | 0 | 127.988 | 3.6837 | 205.22 | 3.6837 | 173.83 | 0.63133 | 322.306 | 24.57 | 966.483 | 44.7115 | 0.89046
2019-05-11 17:00:00 | 0 | 151.023 | 3.6837 | 201.473 | 4.195 | 164.262 | 0 | 329.448 | 24.31 | 966.681 | 45.8072 | 0.11084
2019-05-11 17:15:00 | 0 | 156.299 | 3.428 | 192.39 | 3.9393 | 146.054 | 0.37567 | 349.587 | 24.17 | 966.245 | 48.6004 | 1.8105
2019-05-11 17:30:00 | 0 | 157.13 | 5.2177 | 195.705 | 4.7063 | 156.206 | 0.37567 | 356.847 | 24.05 | 965.652 | 48.2267 | 3.1702
2019-05-11 17:45:00 | 0 | 179.79 | 5.729 | 226.542 | 5.4733 | 174.582 | 1.654 | 0.21902 | 23.7 | 965.059 | 47.1029 | 4.7183
2019-05-11 18:00:00 | 0 | 177.739 | 5.729 | 211.575 | 5.4733 | 172.92 | 0 | 356.842 | 23.62 | 965.15 | 46.5623 | 4.105
2019-05-11 18:15:00 | 0 | 185.224 | 5.4733 | 224.223 | 4.4507 | 175.829 | 0 | 0.2434 | 23.68 | 965.646 | 43.4975 | 4.0495
2019-05-11 18:30:00 | 0 | 199.404 | 2.661 | 236.825 | 2.661 | 196.094 | 0 | 15.8949 | 23.36 | 965.353 | 47.1144 | 2.2871
2019-05-11 18:45:00 | 0 | 163.346 | 3.428 | 204.887 | 2.9167 | 154.12 | 0 | 350.5 | 23.17 | 965.205 | 45.5847 | 2.1245
2019-05-11 19:00:00 | 0 | 157.479 | 3.6837 | 224.751 | 3.428 | 176.053 | 0 | 1.2172 | 23.32 | 965.205 | 42.482 | 0.58009
2019-05-11 19:15:00 | 1.138 | 177.198 | 2.1497 | 227.721 | 2.9167 | 163.784 | 0.37567 | 2.5317 | 23.19 | 965.501 | 43.0958 | 0.34362
2019-05-11 19:30:00 | 0 | 188.944 | 2.9167 | 238.79 | 2.4053 | 206.107 | 0 | 9.6407 | 22.83 | 965.65 | 45.9628 | 0.51728
2019-05-11 19:45:00 | 0 | 171.651 | 3.6837 | 208.893 | 3.428 | 165.759 | 0 | 356.792 | 22.8 | 965.501 | 46.6153 | 0.41752
2019-05-11 20:00:00 | 0 | 163.325 | 4.195 | 207.165 | 3.1723 | 170.532 | 0 | 351.217 | 22.68 | 965.798 | 47.127 | 1.5851
2019-05-11 20:15:00 | 0 | 168.73 | 3.9393 | 210.33 | 3.428 | 159.04 | 0 | 356.793 | 22.31 | 965.798 | 50.8099 | 2.6455
2019-05-11 20:30:00 | 0.88267 | 182 | 3.6837 | 206.435 | 2.4053 | 166.831 | 0.37567 | 2.0452 | 22.58 | 966.095 | 50.2643 | 1.8437
2019-05-11 20:45:00 | 0 | 163.812 | 4.195 | 202.344 | 2.4053 | 186.967 | 0 | 348.076 | 22.48 | 965.96 | 50.9463 | 1.6996
2019-05-11 21:00:00 | 0 | 166.563 | 4.195 | 207.457 | 3.6837 | 159.6 | 0 | 352.118 | 22.4 | 965.991 | 51.4919 | 4.5557
2019-05-11 21:15:00 | 0 | 161.645 | 4.962 | 208.504 | 4.7063 | 155.777 | 0 | 346.64 | 22.47 | 966.319 | 50.6053 | 7.3453
2019-05-11 21:30:00 | 0 | 164.885 | 4.7063 | 204.514 | 4.7063 | 167.539 | 1.007 | 343.771 | 22.53 | 966.323 | 50.6058 | 10.0352
2019-05-11 21:45:00 | 0 | 158.748 | 5.729 | 203.83 | 4.962 | 155.923 | 0.75133 | 346.007 | 22.59 | 966.46 | 51.4919 | 11.1769
2019-05-11 22:00:00 | 0 | 148.376 | 4.962 | 189.318 | 4.4507 | 159.137 | 0 | 332.543 | 22.12 | 966.104 | 52.6513 | 10.6338
2019-05-11 22:15:00 | 0 | 154.317 | 5.4733 | 201.054 | 4.7063 | 150.372 | 0.63133 | 346.81 | 22.02 | 965.755 | 53.2651 | 6.3551
2019-05-11 22:30:00 | 0 | 163.403 | 5.729 | 200.257 | 4.195 | 154.954 | 3.9393 | 350.18 | 21.93 | 965.769 | 54.6307 | 5.8083
2019-05-11 22:45:00 | 0 | 150.182 | 5.4733 | 196.799 | 4.962 | 151.18 | 0.37567 | 338.152 | 21.92 | 966.155 | 55.9266 | 6.0706
2019-05-11 23:00:00 | 0 | 158.61 | 6.496 | 208.054 | 4.7063 | 162.823 | 4.4507 | 347.706 | 21.73 | 965.917 | 56.8488 | 5.1617
2019-05-11 23:15:00 | 0 | 180.77 | 4.962 | 219.233 | 3.6837 | 184.861 | 0 | 10.7625 | 21.65 | 966.24 | 57.2588 | 6.5916
2019-05-11 23:30:00 | 0.372 | 177.495 | 4.962 | 220.442 | 3.9393 | 174.743 | 1.127 | 1.2663 | 21.4 | 965.944 | 64.4586 | 9.2223
2019-05-11 23:45:00 | 0 | 179.302 | 5.2177 | 223.762 | 3.428 | 152.662 | 3.1723 | 356.852 | 21.13 | 965.944 | 64.9382 | 8.6349