## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-12 00:00:00 | 0 | 160.82 | 4.962 | 204.183 | 3.428 | 149.228 | 0 | 355.488 | 20.96 | 965.796 | 67.1211 | 7.9291
2019-05-12 00:15:00 | 0 | 157.46 | 5.9847 | 211.563 | 4.962 | 151.177 | 0 | 354.54 | 20.72 | 965.945 | 67.1214 | 9.6731
2019-05-12 00:30:00 | 0 | 161.916 | 5.4733 | 201.895 | 5.4733 | 158.775 | 0.75133 | 356.659 | 20.83 | 965.945 | 65.8254 | 12.0341
2019-05-12 00:45:00 | 0 | 153.49 | 5.9847 | 198.315 | 6.2403 | 152.736 | 0 | 339.734 | 20.66 | 966.093 | 66.985 | 13.7744
2019-05-12 01:00:00 | 0 | 161.624 | 5.9847 | 193.713 | 4.7063 | 153.661 | 0 | 341.415 | 20.26 | 966.093 | 67.8376 | 15.0306
2019-05-12 01:15:00 | 2.9033 | 157.996 | 7.0073 | 201.846 | 5.9847 | 158.312 | 0 | 353.079 | 20.1 | 965.945 | 65.4161 | 16.2943
2019-05-12 01:30:00 | 0 | 161.505 | 5.4733 | 199.83 | 3.9393 | 154.297 | 1.894 | 349.677 | 20.18 | 965.945 | 65.6561 | 12.2447
2019-05-12 01:45:00 | 0 | 145.682 | 5.4733 | 198.035 | 4.4507 | 151.137 | 0 | 338.657 | 20.17 | 965.945 | 66.443 | 10.4712
2019-05-12 02:00:00 | 0 | 175.18 | 4.195 | 229.217 | 2.1497 | 191.425 | 0 | 5.6989 | 19.84 | 965.945 | 63.8192 | 7.9476
2019-05-12 02:15:00 | 0 | 164.353 | 5.2177 | 201.151 | 4.7063 | 164.743 | 0 | 348.435 | 20.27 | 966.093 | 63.9256 | 8.6127
2019-05-12 02:30:00 | 0 | 157.341 | 4.195 | 201.933 | 4.7063 | 146.526 | 3.9393 | 346.734 | 20.03 | 965.948 | 60.788 | 7.0609
2019-05-12 02:45:00 | 0 | 185.241 | 4.4507 | 227.613 | 4.195 | 176.035 | 0.37567 | 5.4798 | 21.35 | 965.945 | 49.9371 | 6.3736
2019-05-12 03:00:00 | 0 | 165.118 | 3.9393 | 206.733 | 3.1723 | 167.261 | 0 | 355.297 | 20.62 | 965.945 | 59.5541 | 7.1237
2019-05-12 03:15:00 | 0 | 171.293 | 4.195 | 206.548 | 3.6837 | 171.537 | 0 | 2.4839 | 20.25 | 965.648 | 59.9595 | 7.6779
2019-05-12 03:30:00 | 0.372 | 169.354 | 4.195 | 204.004 | 3.6837 | 151.479 | 0 | 0.19483 | 20.27 | 965.5 | 58.6667 | 7.604
2019-05-12 03:45:00 | 0 | 169.018 | 4.195 | 206.469 | 3.9393 | 171.818 | 5.729 | 348.946 | 20.65 | 965.648 | 56.0076 | 8.7161
2019-05-12 04:00:00 | 3.9247 | 155.769 | 4.195 | 201.306 | 3.9393 | 157.328 | 0 | 338.79 | 20.2 | 965.648 | 63.6482 | 9.1447
2019-05-12 04:15:00 | 0 | 155.439 | 5.9847 | 195.671 | 6.496 | 146.403 | 0.75133 | 349.726 | 19.52 | 965.5 | 65.8359 | 12.0674
2019-05-12 04:30:00 | 0 | 153.151 | 7.263 | 198.815 | 6.496 | 146.332 | 5.2177 | 343.884 | 19.73 | 965.218 | 64.2674 | 16.2499
2019-05-12 04:45:00 | 0 | 152.883 | 7.0073 | 200.106 | 5.4733 | 153.979 | 4.4507 | 335.335 | 19.99 | 965.438 | 63.517 | 16.9039
2019-05-12 05:00:00 | 0.372 | 151.349 | 6.496 | 193.896 | 5.2177 | 146.989 | 5.4733 | 339.013 | 19.25 | 965.603 | 68.2927 | 16.5862
2019-05-12 05:15:00 | 8.5207 | 152.128 | 6.7517 | 196.258 | 6.7517 | 149.06 | 5.2177 | 338.964 | 19.2 | 965.529 | 69.1114 | 20.68
2019-05-12 05:30:00 | 2.9033 | 155.002 | 6.7517 | 189.877 | 5.9847 | 139.22 | 2.1497 | 341.79 | 18.99 | 965.501 | 62.4254 | 20.5655
2019-05-12 05:45:00 | 3.042 | 144.334 | 7.263 | 190.486 | 5.9847 | 142.824 | 5.729 | 332.705 | 19.6 | 965.693 | 62.9712 | 21.7405
2019-05-12 06:00:00 | 8.5207 | 145.969 | 7.5187 | 186.607 | 6.2403 | 150.109 | 4.7063 | 335.019 | 19.54 | 965.945 | 62.8938 | 27.6337
2019-05-12 06:15:00 | 6.7333 | 145.552 | 8.03 | 190.304 | 7.0073 | 145.04 | 2.7967 | 334.499 | 19.7 | 965.945 | 60.3684 | 27.0463
2019-05-12 06:30:00 | 4.946 | 146.701 | 8.03 | 193.391 | 7.0073 | 149.111 | 5.9847 | 331.093 | 20.27 | 966.327 | 55.2448 | 28.2434
2019-05-12 06:45:00 | 2.276 | 143.311 | 7.5187 | 204.097 | 6.496 | 153.61 | 3.1723 | 335.708 | 20.22 | 966.691 | 55.5158 | 27.0167
2019-05-12 07:00:00 | 2.276 | 157.697 | 7.5187 | 196.349 | 7.263 | 149.175 | 2.9167 | 341.323 | 20.4 | 966.54 | 54.9686 | 30.4307
2019-05-12 07:15:00 | 4.946 | 150.421 | 6.7517 | 198.17 | 5.4733 | 140.902 | 7.0073 | 340.376 | 20.38 | 966.688 | 51.7563 | 33.7229
2019-05-12 07:30:00 | 2.648 | 135.473 | 5.4733 | 204.741 | 5.9847 | 179.218 | 5.2177 | 333.849 | 20.76 | 966.985 | 55.6427 | 33.3608
2019-05-12 07:45:00 | 0 | 154.817 | 8.5413 | 192.435 | 8.2857 | 143.108 | 4.195 | 336.58 | 20.78 | 967.43 | 49.98 | 34.3103
2019-05-12 08:00:00 | 11.84 | 146.577 | 9.3083 | 188.451 | 9.3083 | 154.561 | 8.2857 | 335.142 | 20.78 | 967.133 | 55.5669 | 40.259
2019-05-12 08:15:00 | 3.1587 | 136.083 | 7.5187 | 183.82 | 7.7743 | 137.422 | 4.195 | 325.202 | 20.56 | 967.43 | 57.6789 | 41.5728
2019-05-12 08:30:00 | 6.478 | 155.335 | 9.0527 | 206.09 | 7.5187 | 140.39 | 5.2177 | 340.656 | 20.57 | 967.43 | 62.3147 | 40.6839
2019-05-12 08:45:00 | 4.6907 | 155.627 | 7.263 | 205.165 | 8.5413 | 163.756 | 1.894 | 331.188 | 20.73 | 967.43 | 60.917 | 39.8489
2019-05-12 09:00:00 | 5.2013 | 140.05 | 8.03 | 188.444 | 7.263 | 141.753 | 5.729 | 326.417 | 20.99 | 967.578 | 60.542 | 38.8476
2019-05-12 09:15:00 | 3.9247 | 148.228 | 9.0527 | 201.538 | 11.098 | 152.317 | 3.9393 | 329.241 | 21.41 | 967.43 | 60.6443 | 40.6766
2019-05-12 09:30:00 | 1.51 | 148.69 | 10.331 | 197.79 | 10.8423 | 133.04 | 3.6837 | 338.758 | 21.84 | 967.43 | 55.9741 | 40.1371
2019-05-12 09:45:00 | 2.1373 | 131.843 | 10.331 | 193.889 | 7.7743 | 143.355 | 3.9393 | 319.908 | 22.09 | 967.578 | 57.9494 | 46.2069
2019-05-12 10:00:00 | 6.9887 | 137.803 | 10.331 | 190.549 | 10.331 | 139.141 | 2.9167 | 320.046 | 22.79 | 967.702 | 47.2787 | 43.2149
2019-05-12 10:15:00 | 0 | 192.762 | 6.2403 | 223.185 | 4.4507 | 180.156 | 5.2177 | 31.4171 | 23.39 | 968.001 | 42.945 | 37.4177
2019-05-12 10:30:00 | 0.88267 | 151.22 | 5.2177 | 225.033 | 5.4733 | 211.718 | 2.9167 | 11.4863 | 23.86 | 968.184 | 39.9455 | 27.6374
2019-05-12 10:45:00 | 0 | 139.125 | 4.962 | 190.89 | 4.962 | 141.34 | 4.4507 | 324.537 | 24.08 | 968.173 | 41.2747 | 23.5842
2019-05-12 11:00:00 | 0 | 189.427 | 7.263 | 241.411 | 7.5187 | 196.873 | 1.1427 | 4.5264 | 24.44 | 967.877 | 42.638 | 20.5323
2019-05-12 11:15:00 | 2.648 | 147.009 | 9.564 | 210.989 | 9.564 | 175.189 | 2.1497 | 347.482 | 24.32 | 967.58 | 44.444 | 23.6692
2019-05-12 11:30:00 | 0 | 156.034 | 7.263 | 192.15 | 8.797 | 134.473 | 2.2853 | 340.637 | 24.47 | 967.58 | 43.8978 | 23.0558
2019-05-12 11:45:00 | 2.276 | 136.368 | 8.797 | 204.896 | 8.2857 | 150.798 | 2.661 | 0 | 24.63 | 967.58 | 44.408 | 20.3623
2019-05-12 12:00:00 | 0 | 157.687 | 5.729 | 207.04 | 5.9847 | 187.764 | 5.9847 | 339.319 | 24.67 | 967.135 | 44.5108 | 25.5831
2019-05-12 12:15:00 | 5.4567 | 154.284 | 9.8197 | 196.29 | 7.7743 | 168.35 | 4.4507 | 346.555 | 24.97 | 966.987 | 44.4438 | 21.2934
2019-05-12 12:30:00 | 0 | 117.418 | 5.4733 | 201.184 | 4.7063 | 191.3 | 1.894 | 309.595 | 24.73 | 967.283 | 44.0014 | 18.2082
2019-05-12 12:45:00 | 0 | 134.137 | 7.5187 | 190.963 | 5.9847 | 150.977 | 3.1723 | 326.094 | 25.09 | 966.839 | 44.6489 | 19.6159
2019-05-12 13:00:00 | 0 | 150.685 | 5.9847 | 205.37 | 7.263 | 135.548 | 5.729 | 338.383 | 25.49 | 966.542 | 43.9673 | 18.3966
2019-05-12 13:15:00 | 0 | 152.777 | 7.5187 | 174.342 | 8.03 | 133.747 | 0.63133 | 332.251 | 25.57 | 966.839 | 43.4901 | 21.1567
2019-05-12 13:30:00 | 0 | 202.276 | 5.4733 | 232.991 | 6.496 | 192.201 | 0.37567 | 13.0681 | 25.86 | 966.542 | 44.1718 | 17.5062
2019-05-12 13:45:00 | 0 | 145.939 | 7.263 | 194.638 | 6.7517 | 155.235 | 3.9393 | 337.945 | 26.11 | 966.69 | 43.7968 | 19.8007
2019-05-12 14:00:00 | 2.7867 | 147.272 | 8.797 | 189.593 | 7.0073 | 130.165 | 5.729 | 338.25 | 25.95 | 966.69 | 43.659 | 18.005
2019-05-12 14:15:00 | 0 | 136.908 | 7.7743 | 187.43 | 8.03 | 143.867 | 5.729 | 350.713 | 26.3 | 966.69 | 42.637 | 21.0902
2019-05-12 14:30:00 | 0 | 178.509 | 5.4733 | 208.782 | 5.729 | 179.117 | 6.2403 | 3.4553 | 26.58 | 966.765 | 42.464 | 19.6233
2019-05-12 14:45:00 | 7.4993 | 183.599 | 7.0073 | 227.41 | 7.263 | 164.6 | 5.9847 | 353.259 | 26.7 | 966.398 | 42.3175 | 25.3503
2019-05-12 15:00:00 | 3.414 | 180.629 | 6.2403 | 216.873 | 6.2403 | 171.019 | 5.2177 | 335.544 | 26.66 | 966.099 | 42.0443 | 30.6044
2019-05-12 15:15:00 | 2.0207 | 183.197 | 9.564 | 232.924 | 10.0753 | 191.834 | 0 | 7.9556 | 26.41 | 965.266 | 41.1616 | 33.251
2019-05-12 15:30:00 | 0 | 169.318 | 7.7743 | 215.653 | 7.5187 | 169.269 | 5.2177 | 352.945 | 26.17 | 965.645 | 42.3976 | 25.595
2019-05-12 15:45:00 | 1.3933 | 194.654 | 8.03 | 237.852 | 8.2857 | 187.281 | 4.962 | 18.7865 | 26.01 | 965.652 | 44.7843 | 25.7752
2019-05-12 16:00:00 | 0 | 192.347 | 9.564 | 234.475 | 9.8197 | 184.584 | 2.661 | 14.0658 | 25.78 | 965.504 | 44.683 | 24.7887
2019-05-12 16:15:00 | 7.244 | 217.266 | 6.7517 | 248.297 | 7.7743 | 183.635 | 2.661 | 23.7027 | 25.61 | 965.955 | 45.7396 | 28.9859
2019-05-12 16:30:00 | 13.8827 | 320.081 | 10.331 | 1.4913 | 8.797 | 301.145 | 4.962 | 186.314 | 18.84 | 966.96 | 84.8112 | 59.265
2019-05-12 16:45:00 | 12.606 | 356.121 | 7.7743 | 44.9573 | 7.0073 | 7.9614 | 1.654 | 171.402 | 16.06 | 965.65 | 94.182 | 36.1152
2019-05-12 17:00:00 | 2.1593 | 350.298 | 3.1723 | 25.9791 | 3.428 | 35.5315 | 5.729 | 167.527 | 15.85 | 965.942 | 94.48 | 13.0543
2019-05-12 17:15:00 | 0 | 11.5935 | 5.729 | 57.5742 | 4.962 | 21.336 | 4.4507 | 186.787 | 15.87 | 965.934 | 95.3095 | 16.6416
2019-05-12 17:30:00 | 0 | 29.8858 | 4.962 | 81.5679 | 4.962 | 33.4176 | 0.887 | 208.373 | 15.69 | 965.2 | 96.745 | 9.444
2019-05-12 17:45:00 | 0 | 26.5056 | 5.2177 | 71.6976 | 4.7063 | 31.1343 | 0 | 213.774 | 15.84 | 964.755 | 88.2346 | 6.8207
2019-05-12 18:00:00 | 0 | 29.0413 | 3.9393 | 77.0397 | 4.4507 | 35.2783 | 0 | 218.297 | 17.94 | 964.903 | 68.3815 | 2.4534
2019-05-12 18:15:00 | 8.01 | 209.295 | 14.4217 | 248.293 | 14.4217 | 207.882 | 7.5187 | 31.9107 | 19.51 | 966.536 | 69.0863 | 0.044338
2019-05-12 18:30:00 | 0 | 193.231 | 3.6837 | 231.471 | 2.9167 | 179.518 | 0 | 20.9234 | 16.47 | 966.239 | 84.5362 | -0.62812
2019-05-12 18:45:00 | 0 | 103.235 | 4.195 | 146.472 | 4.7063 | 95.4885 | 0 | 281.496 | 17.19 | 965.497 | 73.6238 | 4.02
2019-05-12 19:00:00 | 0 | 60.8691 | 3.428 | 81.1806 | 4.7063 | 39.1667 | 0 | 246.74 | 17.5 | 965.794 | 77.6435 | 0.77222
2019-05-12 19:15:00 | 0 | 32.4426 | 1.894 | 89.1164 | 2.661 | 59.6243 | 0 | 213.605 | 19.13 | 966.536 | 62.4941 | 0.014779
2019-05-12 19:30:00 | 0 | 20.0452 | 3.9393 | 79.4708 | 3.428 | 23.6742 | 0 | 203.496 | 18.55 | 966.091 | 72.9322 | -0.29928
2019-05-12 19:45:00 | 0 | 6.6736 | 3.428 | 66.4887 | 1.894 | 15.5879 | 0 | 197.967 | 18.04 | 966.536 | 72.2497 | -0.28081
2019-05-12 20:00:00 | 0 | 356.915 | 1.6383 | 56.2347 | 2.9167 | 11.9345 | 0 | 176.29 | 19.01 | 966.833 | 68.7021 | -0.19213
2019-05-12 20:15:00 | 0 | 15.0034 | 3.9393 | 66.099 | 2.9167 | 19.8746 | 0 | 197.577 | 19.08 | 966.981 | 68.4292 | 1.0937
2019-05-12 20:30:00 | 0 | 15.1008 | 3.1723 | 70.751 | 1.894 | 26.9866 | 0 | 195.093 | 19.09 | 967.13 | 71.3628 | 0.93849
2019-05-12 20:45:00 | 0 | 0.87682 | 3.9393 | 58.0371 | 2.661 | 22.6269 | 0 | 184.522 | 19.57 | 967.427 | 61.7432 | 2.797
2019-05-12 21:00:00 | 0.99933 | 338.209 | 4.7063 | 27.4945 | 3.9393 | 354.966 | 0 | 149.279 | 19.91 | 967.724 | 57.445 | 4.541
2019-05-12 21:15:00 | 0 | 354.772 | 2.9167 | 50.6328 | 3.428 | 5.9429 | 0 | 168.301 | 20.27 | 967.823 | 56.6945 | 4.4523
2019-05-12 21:30:00 | 0.372 | 344.079 | 2.9167 | 29.516 | 2.661 | 349.023 | 4.195 | 162.675 | 20.34 | 967.961 | 53.4198 | 7.3343
2019-05-12 21:45:00 | 0 | 327.2 | 5.4733 | 15.4138 | 4.4507 | 341.595 | 0 | 154.881 | 19.94 | 967.731 | 54.1702 | 10.8887
2019-05-12 22:00:00 | 0 | 342.788 | 4.962 | 16.0958 | 4.7063 | 348.536 | 2.661 | 148.84 | 19.78 | 967.726 | 53.8973 | 12.0341
2019-05-12 22:15:00 | 0 | 332.34 | 4.7063 | 8.9351 | 4.195 | 335.701 | 0.63133 | 161.262 | 19.56 | 967.764 | 58.4684 | 15.8841
2019-05-12 22:30:00 | 0 | 333.484 | 4.7063 | 32.1221 | 3.428 | 323.425 | 0 | 144.943 | 18.93 | 967.921 | 63.4147 | 13.9628
2019-05-12 22:45:00 | 1.51 | 323.279 | 5.729 | 20.5286 | 4.4507 | 356.988 | 1.5183 | 155.563 | 18.49 | 967.966 | 66.7235 | 14.3323
2019-05-12 23:00:00 | 0 | 336.504 | 5.729 | 5.7688 | 5.2177 | 313.585 | 0 | 141.509 | 18.45 | 968.004 | 69.9983 | 22.0619
2019-05-12 23:15:00 | 0 | 331.633 | 4.195 | 6.2631 | 4.195 | 338.599 | 0 | 152.104 | 17.72 | 968.317 | 77.2983 | 26.1965
2019-05-12 23:30:00 | 0 | 331.633 | 2.661 | 39.8917 | 3.6837 | 17.3903 | 1.2627 | 161.944 | 17.01 | 967.872 | 86.0311 | 34.654
2019-05-12 23:45:00 | 5.2013 | 343.503 | 8.03 | 31.7337 | 5.4733 | 37.144 | 1.2627 | 160.754 | 16.1 | 967.427 | 93.197 | 40.5842