## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-14 00:00:00 | 4.18 | 160.196 | 8.2857 | 200.62 | 6.7517 | 157.76 | 5.9847 | 356.842 | 15.6 | 963.716 | 39.4472 | 29.7657
2019-05-14 00:15:00 | 0 | 170.113 | 6.7517 | 222.475 | 7.263 | 159.002 | 3.428 | 3.8983 | 15.89 | 963.864 | 38.4917 | 30.3051
2019-05-14 00:30:00 | 2.1373 | 175.132 | 8.03 | 212.291 | 8.2857 | 170.259 | 3.9393 | 355.404 | 15.46 | 963.424 | 39.7202 | 34.968
2019-05-14 00:45:00 | 3.414 | 170.429 | 9.8197 | 239.14 | 8.5413 | 169.503 | 3.1723 | 0.99894 | 15.83 | 963.28 | 37.7069 | 37.9461
2019-05-14 01:00:00 | 9.2867 | 146.942 | 7.5187 | 205.079 | 8.03 | 154.836 | 1.774 | 337.155 | 15.88 | 963.272 | 41.5287 | 36.0026
2019-05-14 01:15:00 | 2.648 | 168.772 | 8.03 | 194.602 | 8.03 | 184.877 | 2.1497 | 356.452 | 15.2 | 962.974 | 41.2216 | 35.7181
2019-05-14 01:30:00 | 2.276 | 171.94 | 5.9847 | 189.778 | 8.2857 | 159.685 | 3.1723 | 26.5572 | 15.31 | 962.942 | 41.6994 | 33.612
2019-05-14 01:45:00 | 2.7867 | 181.442 | 6.7517 | 232.732 | 6.496 | 162.608 | 5.4733 | 340.883 | 15.21 | 963.19 | 42.5183 | 36.9115
2019-05-14 02:00:00 | 4.6907 | 167.046 | 8.03 | 205.814 | 9.8197 | 155.302 | 4.962 | 348.223 | 15.25 | 963.37 | 44.0888 | 41.0793
2019-05-14 02:15:00 | 1.2547 | 149.846 | 8.797 | 186.008 | 7.7743 | 154.061 | 4.195 | 322.79 | 14.68 | 963.215 | 47.2971 | 52.9508
2019-05-14 02:30:00 | 2.9033 | 154.681 | 9.3083 | 195.33 | 9.3083 | 174.661 | 1.894 | 332.9 | 14.86 | 962.97 | 47.4368 | 56.8046
2019-05-14 02:45:00 | 0.372 | 148.862 | 7.7743 | 212.175 | 7.5187 | 172.011 | 5.729 | 332.96 | 14.54 | 962.971 | 48.3258 | 62.3985
2019-05-14 03:00:00 | 6.478 | 153.815 | 8.03 | 207.091 | 6.496 | 140.631 | 5.2177 | 330.365 | 14.53 | 962.674 | 48.7713 | 68.0738
2019-05-14 03:15:00 | 5.712 | 154.492 | 9.564 | 191.342 | 6.7517 | 156.637 | 2.4053 | 356.843 | 14.45 | 962.674 | 59.1108 | 71.1258
2019-05-14 03:30:00 | 4.6907 | 131.005 | 8.2857 | 179.675 | 6.496 | 171.139 | 5.4733 | 319.202 | 14.28 | 962.674 | 61.6378 | 69.9767
2019-05-14 03:45:00 | 5.4567 | 140.534 | 12.8877 | 184.282 | 9.564 | 169.874 | 3.9393 | 314.818 | 14.12 | 962.377 | 66.0068 | 66.6661
2019-05-14 04:00:00 | 4.6907 | 148.697 | 9.0527 | 158.695 | 7.0073 | 171.506 | 4.4507 | 329.756 | 13.96 | 962.674 | 68.3276 | 71.9239
2019-05-14 04:15:00 | 4.4353 | 149.548 | 9.0527 | 196.292 | 9.3083 | 158.418 | 4.962 | 330.554 | 13.75 | 962.674 | 68.736 | 65.916
2019-05-14 04:30:00 | 0.88267 | 139.63 | 6.7517 | 196.902 | 5.9847 | 190.097 | 2.9167 | 347.321 | 13.77 | 962.971 | 68.8729 | 58.5411
2019-05-14 04:45:00 | 6.9887 | 152.326 | 8.5413 | 208.33 | 8.797 | 158.71 | 5.9847 | 336.281 | 13.88 | 963.268 | 68.1218 | 52.4114
2019-05-14 05:00:00 | 2.648 | 158.488 | 6.2403 | 201.039 | 4.962 | 170.842 | 1.774 | 333.399 | 14.08 | 963.119 | 67.5061 | 52.4003
2019-05-14 05:15:00 | 4.18 | 146.427 | 9.564 | 204.038 | 8.03 | 162.704 | 2.1497 | 330.697 | 14.25 | 963.119 | 67.3701 | 60.9577
2019-05-14 05:30:00 | 4.18 | 151.644 | 9.8197 | 186.327 | 8.2857 | 144.09 | 2.9167 | 328.875 | 14.52 | 962.971 | 65.5965 | 67.926
2019-05-14 05:45:00 | 3.9247 | 153.888 | 9.564 | 203.728 | 5.729 | 152.767 | 0.75133 | 332.193 | 14.68 | 963.416 | 64.9147 | 68.9384
2019-05-14 06:00:00 | 4.6907 | 121.958 | 7.7743 | 209.88 | 8.5413 | 175.371 | 2.661 | 339.191 | 14.8 | 963.522 | 62.9315 | 68.7611
2019-05-14 06:15:00 | 5.4567 | 147.21 | 11.3537 | 192.556 | 10.5867 | 159.734 | 4.4507 | 331.016 | 14.78 | 963.37 | 60.3311 | 66.3262
2019-05-14 06:30:00 | 4.18 | 151.596 | 13.1433 | 204.055 | 12.632 | 156.347 | 3.1723 | 336.376 | 14.81 | 963.421 | 59.8192 | 71.074
2019-05-14 06:45:00 | 5.2013 | 153.935 | 11.098 | 201.522 | 10.8423 | 161.682 | 4.195 | 332.039 | 14.75 | 963.271 | 59.8533 | 69.0382
2019-05-14 07:00:00 | 5.712 | 148.373 | 11.6093 | 205.094 | 8.2857 | 148.203 | 4.195 | 339.651 | 14.87 | 963.716 | 60.3285 | 69.9582
2019-05-14 07:15:00 | 5.4567 | 152.211 | 13.1433 | 205.698 | 12.632 | 141.177 | 5.4733 | 335.063 | 14.89 | 963.568 | 59.7682 | 63.7915
2019-05-14 07:30:00 | 4.18 | 157.13 | 9.3083 | 202.335 | 8.5413 | 166.873 | 5.4733 | 334.988 | 15.12 | 964.013 | 60.5865 | 60.1094
2019-05-14 07:45:00 | 3.9247 | 150.887 | 11.6093 | 203.37 | 10.5867 | 139.585 | 5.9847 | 336.018 | 15.38 | 963.865 | 58.1956 | 61.8932
2019-05-14 08:00:00 | 4.6907 | 145.698 | 12.1207 | 196.015 | 10.0753 | 146.697 | 5.9847 | 330.951 | 15.57 | 964.31 | 58.1273 | 63.1782
2019-05-14 08:15:00 | 5.2013 | 147.476 | 10.0753 | 200.837 | 11.098 | 149.206 | 6.496 | 330.708 | 15.78 | 964.072 | 62.4254 | 60.6472
2019-05-14 08:30:00 | 4.946 | 150.058 | 11.6093 | 200.715 | 11.098 | 152.81 | 7.0073 | 329.271 | 16.03 | 964.26 | 58.6389 | 59.9747
2019-05-14 08:45:00 | 2.7867 | 150.372 | 11.865 | 199.08 | 12.8877 | 141.677 | 5.4733 | 334.477 | 16.22 | 964.175 | 59.1837 | 62.0808
2019-05-14 09:00:00 | 0.372 | 145.368 | 9.8197 | 201.814 | 9.564 | 154.378 | 4.962 | 323.052 | 16.78 | 964.609 | 59.827 | 60.2197
2019-05-14 09:15:00 | 1.882 | 143.604 | 9.564 | 195.978 | 9.0527 | 160.431 | 5.4733 | 337.69 | 16.97 | 964.758 | 60.7096 | 54.6098
2019-05-14 09:30:00 | 4.4353 | 143.336 | 10.331 | 195.223 | 9.3083 | 147.841 | 5.2177 | 324.198 | 17.36 | 964.758 | 60.9141 | 50.2249
2019-05-14 09:45:00 | 2.648 | 141.525 | 10.8423 | 193.968 | 9.564 | 144.691 | 5.9847 | 324.397 | 18.35 | 965.055 | 59.819 | 45.6181
2019-05-14 10:00:00 | 5.2013 | 154.415 | 10.5867 | 204.732 | 9.3083 | 153.003 | 5.9847 | 339.217 | 18.44 | 965.121 | 58.1079 | 44.5281
2019-05-14 10:15:00 | 9.542 | 169.485 | 10.331 | 213.228 | 10.8423 | 182.852 | 2.4053 | 350.049 | 19.34 | 964.944 | 44.4672 | 39.3073
2019-05-14 10:30:00 | 5.712 | 136.177 | 8.03 | 180.212 | 9.564 | 156.167 | 5.4733 | 322.609 | 19.51 | 965.057 | 45.8994 | 44.8385
2019-05-14 10:45:00 | 4.6907 | 151.005 | 10.0753 | 198.91 | 9.8197 | 157.384 | 5.2177 | 334.465 | 19.53 | 965.502 | 49.4456 | 48.7748
2019-05-14 11:00:00 | 6.478 | 141.685 | 8.2857 | 184.739 | 8.03 | 140.979 | 6.2403 | 321.785 | 19.94 | 965.205 | 50.6329 | 37.5841
2019-05-14 11:15:00 | 6.9887 | 147.401 | 8.5413 | 179.984 | 9.3083 | 135.789 | 2.1497 | 330.442 | 20.04 | 965.057 | 43.8119 | 35.4779
2019-05-14 11:30:00 | 1.6267 | 148.083 | 10.5867 | 191.279 | 9.564 | 147.231 | 5.729 | 330.636 | 20.4 | 965.057 | 45.9598 | 36.9476
2019-05-14 11:45:00 | 2.0207 | 150.03 | 8.03 | 201.479 | 8.797 | 147.985 | 5.2177 | 338.182 | 20.58 | 965.502 | 42.8572 | 36.9728
2019-05-14 12:00:00 | 4.6907 | 147.254 | 10.0753 | 190.304 | 9.564 | 139.781 | 3.428 | 319.802 | 20.82 | 965.205 | 39.1748 | 38.7611
2019-05-14 12:15:00 | 7.7547 | 155.799 | 8.797 | 215.087 | 9.564 | 167.314 | 5.4733 | 341.274 | 20.62 | 965.205 | 44.1868 | 33.9208
2019-05-14 12:30:00 | 0 | 159.889 | 7.0073 | 200.554 | 8.03 | 161.252 | 3.6837 | 356.44 | 20.79 | 965.057 | 44.7664 | 34.1958
2019-05-14 12:45:00 | 1.138 | 153.024 | 7.5187 | 205.228 | 7.0073 | 157.796 | 4.195 | 332.388 | 20.64 | 965.205 | 43.5731 | 30.2719
2019-05-14 13:00:00 | 0 | 163.124 | 6.496 | 195.803 | 6.496 | 142.946 | 3.9393 | 346.751 | 20.86 | 965.205 | 47.2546 | 31.469
2019-05-14 13:15:00 | 0 | 150.444 | 7.263 | 209.147 | 7.5187 | 157.479 | 3.6837 | 336.965 | 20.77 | 965.057 | 49.0965 | 27.1312
2019-05-14 13:30:00 | 4.6907 | 143.311 | 9.564 | 201.6 | 8.5413 | 157.333 | 4.195 | 329.516 | 20.79 | 964.908 | 48.5509 | 28.9402
2019-05-14 13:45:00 | 0 | 134.133 | 4.7063 | 198.825 | 4.4507 | 160.303 | 2.1497 | 315.591 | 20.58 | 964.76 | 54.0061 | 21.7626
2019-05-14 14:00:00 | 0.62733 | 142.946 | 7.7743 | 189.405 | 5.9847 | 148.156 | 2.7967 | 326.814 | 20.65 | 964.908 | 52.3356 | 22.1986
2019-05-14 14:15:00 | 8.01 | 140.341 | 8.797 | 200.213 | 8.797 | 155.946 | 5.729 | 325.232 | 20.92 | 965.057 | 51.7218 | 25.4797
2019-05-14 14:30:00 | 0 | 128.948 | 5.2177 | 198.898 | 5.9847 | 157.99 | 2.2853 | 321.215 | 21.12 | 965.353 | 50.5967 | 21.8218
2019-05-14 14:45:00 | 0 | 144.495 | 7.7743 | 187.176 | 6.7517 | 142.742 | 0.37567 | 324.602 | 21.25 | 966.243 | 48.0706 | 27.1996
2019-05-14 15:00:00 | 0 | 150.248 | 5.729 | 200.516 | 7.263 | 152.658 | 5.2177 | 340.315 | 21.76 | 965.947 | 48.3723 | 26.3627
2019-05-14 15:15:00 | 1.2547 | 161.834 | 7.7743 | 210.398 | 8.2857 | 165.46 | 5.9847 | 344.575 | 21.77 | 965.637 | 49.1222 | 28.1732
2019-05-14 15:30:00 | 5.2013 | 142.581 | 9.8197 | 195.697 | 8.797 | 150.078 | 5.729 | 326.588 | 21.67 | 965.638 | 46.9064 | 28.4725
2019-05-14 15:45:00 | 7.244 | 138.443 | 9.3083 | 188.711 | 9.3083 | 137.664 | 4.4507 | 326.223 | 22.07 | 965.353 | 39.6455 | 25.1102
2019-05-14 16:00:00 | 0 | 141.997 | 6.496 | 202.123 | 6.7517 | 162.491 | 1.3827 | 331.894 | 22.1 | 965.353 | 43.7703 | 26.6879
2019-05-14 16:15:00 | 4.6907 | 149.177 | 7.7743 | 192.362 | 7.5187 | 147.619 | 5.729 | 332.04 | 22.1 | 965.322 | 46.736 | 27.6744
2019-05-14 16:30:00 | 0 | 145.356 | 7.5187 | 195.843 | 7.263 | 155.359 | 2.661 | 329.265 | 22.18 | 965.044 | 49.1563 | 25.6755
2019-05-14 16:45:00 | 0 | 134.963 | 4.7063 | 205.092 | 5.2177 | 161.079 | 4.962 | 320.454 | 22.1 | 964.908 | 51.9516 | 25.4907
2019-05-14 17:00:00 | 3.6693 | 151.488 | 6.7517 | 205.199 | 9.8197 | 143.406 | 3.6837 | 338.37 | 21.94 | 964.612 | 50.2547 | 29.6622
2019-05-14 17:15:00 | 2.7867 | 166.511 | 4.962 | 223.924 | 4.7063 | 169.968 | 3.9393 | 344.585 | 21.85 | 964.612 | 48.0736 | 30.2164
2019-05-14 17:30:00 | 9.0313 | 153.195 | 8.5413 | 199.604 | 7.5187 | 142.703 | 4.195 | 332.948 | 21.76 | 964.463 | 45.6188 | 35.9102
2019-05-14 17:45:00 | 0 | 152.201 | 5.729 | 202.702 | 5.9847 | 159.406 | 0.63133 | 336.195 | 21.63 | 964.315 | 45.7563 | 34.8018
2019-05-14 18:00:00 | 7.7547 | 150.858 | 7.5187 | 193.529 | 5.9847 | 165.369 | 5.9847 | 332.735 | 21.57 | 963.87 | 47.1948 | 27.9774
2019-05-14 18:15:00 | 0.372 | 189.475 | 2.661 | 240.741 | 2.661 | 176.156 | 4.962 | 347.078 | 21.45 | 964.167 | 48.0818 | 28.7089
2019-05-14 18:30:00 | 9.0313 | 151.687 | 9.0527 | 201.882 | 7.0073 | 151.93 | 4.4507 | 338.824 | 21.38 | 964.048 | 52.4467 | 28.4946
2019-05-14 18:45:00 | 4.6907 | 144.139 | 6.496 | 198.083 | 5.4733 | 149.471 | 3.6837 | 331.447 | 21.17 | 964.215 | 53.5038 | 25.2986
2019-05-14 19:00:00 | 0 | 135.764 | 6.496 | 188.54 | 6.496 | 151.371 | 4.4507 | 318.105 | 20.95 | 963.997 | 54.1519 | 20.765
2019-05-14 19:15:00 | 8.776 | 165.802 | 4.7063 | 194.869 | 3.9393 | 175.226 | 7.5187 | 345.46 | 20.79 | 964.306 | 52.1114 | 20.8094
2019-05-14 19:30:00 | 1.3933 | 150.881 | 8.2857 | 193.294 | 8.2857 | 145.427 | 4.4507 | 344.304 | 21.04 | 964.312 | 51.9087 | 22.3723
2019-05-14 19:45:00 | 5.712 | 152.297 | 6.7517 | 213.754 | 4.962 | 157.191 | 4.962 | 334.498 | 20.98 | 964.461 | 51.7733 | 28.1067
2019-05-14 20:00:00 | 0 | 159.7 | 5.9847 | 203.6 | 6.496 | 151.494 | 3.0523 | 329.165 | 20.89 | 964.461 | 53.6834 | 43.492
2019-05-14 20:15:00 | 0.99933 | 217.512 | 6.496 | 238.204 | 10.331 | 158.604 | 4.962 | 305.057 | 20.79 | 963.719 | 53.6835 | 57.4438
2019-05-14 20:30:00 | 3.9247 | 154.294 | 9.8197 | 204.574 | 8.2857 | 163.913 | 2.4053 | 331.43 | 20.8 | 964.016 | 52.6603 | 64.274
2019-05-14 20:45:00 | 4.18 | 158.653 | 11.865 | 203.843 | 12.632 | 172.996 | 1.6383 | 338.322 | 20.88 | 964.016 | 54.2292 | 57.3165
2019-05-14 21:00:00 | 3.414 | 150.982 | 12.1207 | 198.437 | 11.098 | 154.221 | 4.962 | 336.203 | 20.76 | 964.164 | 55.2183 | 51.6059
2019-05-14 21:15:00 | 1.882 | 150.106 | 8.03 | 199.29 | 9.8197 | 151.859 | 3.428 | 335.448 | 20.62 | 964.461 | 56.2756 | 49.8878
2019-05-14 21:30:00 | 5.4567 | 146.55 | 8.2857 | 193.177 | 7.263 | 172.461 | 5.9847 | 332.916 | 20.56 | 964.757 | 57.2305 | 50.5972
2019-05-14 21:45:00 | 2.0207 | 148.644 | 9.8197 | 201.627 | 10.331 | 153.831 | 2.4053 | 335.789 | 20.54 | 964.757 | 57.7762 | 48.1549
2019-05-14 22:00:00 | 5.712 | 149.716 | 8.797 | 208.251 | 8.03 | 167.566 | 5.729 | 346.991 | 20.44 | 964.757 | 59.9591 | 42.3377
2019-05-14 22:15:00 | 0 | 167.176 | 6.7517 | 214.388 | 8.5413 | 133.692 | 3.9393 | 356.854 | 20.63 | 964.757 | 59.8226 | 31.7038
2019-05-14 22:30:00 | 0 | 180.911 | 7.263 | 218.235 | 7.5187 | 158.239 | 2.7967 | 354.419 | 20.78 | 965.203 | 60.6412 | 25.6127
2019-05-14 22:45:00 | 7.4993 | 151.64 | 5.729 | 201.213 | 5.729 | 161.502 | 8.5413 | 345.335 | 20.58 | 965.054 | 62.3806 | 22.3427
2019-05-14 23:00:00 | 0 | 153.125 | 8.03 | 207.033 | 6.7517 | 154.294 | 4.4507 | 341.829 | 20.37 | 964.906 | 63.3015 | 25.0252
2019-05-14 23:15:00 | 7.4993 | 149.716 | 8.2857 | 202.65 | 9.0527 | 155.682 | 7.0073 | 345.067 | 20.29 | 965.054 | 65.3479 | 28.8255
2019-05-14 23:30:00 | 0 | 153.052 | 7.263 | 208.3 | 8.03 | 162.16 | 0.75133 | 345.92 | 20.13 | 964.757 | 68.281 | 30.9665
2019-05-14 23:45:00 | 0.372 | 163.718 | 7.0073 | 217.846 | 7.0073 | 172.875 | 2.661 | 344.459 | 19.9 | 964.757 | 70.191 | 33.9372