## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-15 00:00:00 | 4.946 | 176.454 | 7.7743 | 223.374 | 10.331 | 157.923 | 1.3983 | 346.65 | 20 | 964.757 | 71.0095 | 38.722
2019-05-15 00:15:00 | 0 | 184.15 | 7.0073 | 208.665 | 6.496 | 135.47 | 1.3983 | 350.254 | 20.03 | 964.757 | 74.0791 | 39.7713
2019-05-15 00:30:00 | 4.6907 | 151.737 | 8.5413 | 210.857 | 8.2857 | 165.277 | 6.2403 | 345.385 | 20.03 | 964.757 | 73.0901 | 39.4462
2019-05-15 00:45:00 | 0.88267 | 143.508 | 7.263 | 198.294 | 5.729 | 156.658 | 3.6837 | 341.103 | 19.87 | 964.757 | 74.5576 | 37.8869
2019-05-15 01:00:00 | 4.946 | 161.898 | 7.7743 | 208.479 | 6.7517 | 156.395 | 4.7063 | 339.748 | 19.67 | 964.906 | 78.2432 | 35.7846
2019-05-15 01:15:00 | 0.372 | 136.799 | 5.729 | 205.425 | 6.7517 | 157.281 | 5.4733 | 326.18 | 19.56 | 964.609 | 79.6126 | 29.7066
2019-05-15 01:30:00 | 0.99933 | 155.05 | 7.5187 | 200.007 | 7.0073 | 154.027 | 5.4733 | 338.085 | 19.45 | 964.328 | 80.9136 | 29.8505
2019-05-15 01:45:00 | 3.414 | 143.336 | 9.564 | 189.146 | 6.496 | 153.979 | 4.195 | 339.524 | 19.32 | 964.164 | 82.8927 | 30.7928
2019-05-15 02:00:00 | 6.478 | 153.054 | 7.263 | 201.665 | 7.0073 | 145.991 | 6.7517 | 322.402 | 19.19 | 964.164 | 84.2572 | 30.4086
2019-05-15 02:15:00 | 4.946 | 149.644 | 8.2857 | 209.751 | 7.263 | 136.857 | 7.5187 | 337.479 | 19.19 | 964.03 | 85.6217 | 33.6379
2019-05-15 02:30:00 | 6.7333 | 149.23 | 8.797 | 194.383 | 8.03 | 147.866 | 4.7063 | 340.961 | 19.09 | 964.057 | 86.8497 | 36.0506
2019-05-15 02:45:00 | 4.4353 | 155.709 | 8.5413 | 202.907 | 5.729 | 147.184 | 5.4733 | 327.444 | 19.13 | 964.013 | 87.9413 | 38.543
2019-05-15 03:00:00 | 0.62733 | 181.599 | 6.7517 | 220.882 | 4.7063 | 146.843 | 1.127 | 14.224 | 19.01 | 964.254 | 89.4764 | 41.6742
2019-05-15 03:15:00 | 1.3933 | 121.659 | 9.564 | 184.713 | 9.0527 | 138.051 | 2.661 | 340.523 | 18.95 | 963.692 | 90.3633 | 40.0189
2019-05-15 03:30:00 | 0 | 145.625 | 8.5413 | 195.6 | 7.263 | 155.611 | 3.6837 | 345.078 | 18.76 | 964.209 | 91.2161 | 37.7798
2019-05-15 03:45:00 | 2.9033 | 167.96 | 5.9847 | 221.247 | 6.7517 | 152.542 | 0 | 337.868 | 18.61 | 963.976 | 92.5465 | 38.7589
2019-05-15 04:00:00 | 5.34 | 152.664 | 7.0073 | 208.314 | 4.4507 | 151.057 | 6.2403 | 326.226 | 18.46 | 964.01 | 93.8768 | 39.1395
2019-05-15 04:15:00 | 1.3933 | 144.651 | 5.9847 | 208.948 | 6.2403 | 138.538 | 0.63133 | 328.881 | 18.33 | 963.849 | 95.1049 | 34.9052
2019-05-15 04:30:00 | 0 | 163.844 | 5.729 | 206.293 | 4.7063 | 155.49 | 2.4053 | 330.123 | 18.34 | 964.161 | 95.1049 | 35.1491
2019-05-15 04:45:00 | 0.372 | 132.01 | 7.0073 | 217.302 | 5.2177 | 178.823 | 2.4053 | 318.749 | 18.4 | 963.994 | 95.139 | 31.6279
2019-05-15 05:00:00 | 0 | 145.504 | 5.2177 | 207.705 | 5.9847 | 154.393 | 3.6837 | 327.419 | 18.47 | 964.01 | 95.0367 | 20.5507
2019-05-15 05:15:00 | 0 | 162.309 | 4.195 | 211.822 | 3.9393 | 151.593 | 0 | 348.926 | 18.39 | 964.16 | 96.1965 | 7.7592
2019-05-15 05:30:00 | 0 | 148.524 | 3.428 | 195.089 | 2.661 | 126.067 | 0 | 330.026 | 18.51 | 964.458 | 96.06 | 3.8205
2019-05-15 05:45:00 | 0 | 141.314 | 3.9393 | 191.752 | 3.9393 | 127.626 | 0 | 321.647 | 18.65 | 964.755 | 95.3778 | 5.0915
2019-05-15 06:00:00 | 0 | 146.624 | 3.6837 | 181.596 | 1.894 | 127.918 | 0 | 333.046 | 18.68 | 965.184 | 94.9684 | 3.5212
2019-05-15 06:15:00 | 0 | 145.163 | 2.1497 | 186.686 | 1.3827 | 128.698 | 0 | 323.888 | 18.81 | 965.228 | 94.6273 | 0.58748
2019-05-15 06:30:00 | 0 | 147.671 | 3.6837 | 205.416 | 3.428 | 128.698 | 0.75133 | 327.687 | 18.89 | 965.267 | 93.604 | 1.1084
2019-05-15 06:45:00 | 0 | 149.693 | 4.7063 | 194.772 | 3.9393 | 128.795 | 0.37567 | 329.855 | 18.99 | 965.361 | 93.2287 | 1.6405
2019-05-15 07:00:00 | 0 | 147.483 | 6.496 | 192.75 | 6.7517 | 129.559 | 3.308 | 330.96 | 18.94 | 965.351 | 92.7059 | 3.414
2019-05-15 07:15:00 | 0 | 145.138 | 4.195 | 192.301 | 2.9167 | 130.04 | 4.195 | 326.609 | 18.96 | 965.797 | 92.8377 | 4.4818
2019-05-15 07:30:00 | 0 | 139.634 | 4.962 | 191.497 | 3.428 | 129.942 | 5.2177 | 324.904 | 19.02 | 965.945 | 91.4393 | 3.7909
2019-05-15 07:45:00 | 0 | 147.354 | 5.9847 | 206.655 | 4.962 | 134.985 | 0 | 332.885 | 19.46 | 965.839 | 89.5486 | 5.291
2019-05-15 08:00:00 | 0 | 142.079 | 4.7063 | 186.326 | 4.7063 | 134.873 | 0 | 334.845 | 19.71 | 966.243 | 84.2879 | 4.068
2019-05-15 08:15:00 | 0 | 145.45 | 4.7063 | 191.615 | 4.4507 | 134.958 | 0 | 336.349 | 20.2 | 966.392 | 84.8942 | 3.935
2019-05-15 08:30:00 | 0 | 131.458 | 5.2177 | 183.235 | 4.195 | 134.939 | 2.661 | 337.298 | 20.18 | 966.54 | 77.4502 | 3.3254
2019-05-15 08:45:00 | 0 | 142.864 | 4.195 | 171.784 | 3.428 | 134.881 | 2.1497 | 324.158 | 20.75 | 966.798 | 68.7192 | 4.0828
2019-05-15 09:00:00 | 0 | 129.829 | 4.4507 | 191.694 | 3.6837 | 136.376 | 3.9393 | 344.54 | 21.58 | 966.547 | 68.2345 | 5.2799
2019-05-15 09:15:00 | 0 | 153.045 | 5.729 | 197.631 | 5.729 | 142.435 | 4.4507 | 334.611 | 21.71 | 966.245 | 68.0982 | 4.855
2019-05-15 09:30:00 | 0 | 198.139 | 4.962 | 239.026 | 5.729 | 183.659 | 0.37567 | 12.1677 | 21.77 | 966.542 | 64.4513 | 5.9081
2019-05-15 09:45:00 | 0 | 175.653 | 5.2177 | 226.152 | 5.9847 | 191.714 | 1.6383 | 356.513 | 22.01 | 966.394 | 65.2352 | 5.7824
2019-05-15 10:00:00 | 0 | 196.484 | 6.496 | 233.818 | 7.0073 | 185.849 | 5.4733 | 14.6742 | 22.23 | 966.245 | 62.4404 | 6.3773
2019-05-15 10:15:00 | 0 | 172.294 | 2.9167 | 226.615 | 2.661 | 164.312 | 0 | 16.8888 | 22.44 | 966.097 | 61.8269 | 8.439
2019-05-15 10:30:00 | 4.946 | 165.846 | 6.2403 | 233.599 | 5.729 | 172.757 | 4.962 | 3.8693 | 22.45 | 966.097 | 59.2706 | 11.103
2019-05-15 10:45:00 | 0 | 182.369 | 3.1723 | 230.727 | 2.9167 | 198.333 | 0 | 351.257 | 22.75 | 966.097 | 61.0089 | 10.97
2019-05-15 11:00:00 | 0 | 202.957 | 5.9847 | 234.013 | 4.7063 | 166.649 | 3.1723 | 16.402 | 23.07 | 966.542 | 60.1909 | 10.9404
2019-05-15 11:15:00 | 0 | 196.411 | 5.2177 | 245.402 | 5.4733 | 172.538 | 0 | 26.8663 | 22.98 | 966.245 | 60.225 | 8.6681
2019-05-15 11:30:00 | 0.372 | 172.27 | 6.496 | 203.788 | 4.4507 | 160.638 | 5.729 | 21.2448 | 23.33 | 966.097 | 60.8385 | 6.647
2019-05-15 11:45:00 | 0 | 184.657 | 5.2177 | 235.205 | 5.9847 | 173.073 | 2.0297 | 1.5575 | 23.43 | 965.949 | 58.4186 | 9.0671
2019-05-15 12:00:00 | 0 | 143.919 | 6.2403 | 196.439 | 6.7517 | 155.26 | 3.9393 | 320.4 | 23.61 | 966.097 | 58.6231 | 12.145
2019-05-15 12:15:00 | 0 | 158.375 | 4.962 | 207.974 | 5.2177 | 146.183 | 3.6837 | 346.195 | 23.75 | 966.097 | 55.3511 | 16.9372
2019-05-15 12:30:00 | 0 | 164.848 | 7.263 | 216.37 | 6.2403 | 165.189 | 3.6837 | 3.6016 | 23.91 | 965.801 | 55.317 | 18.053
2019-05-15 12:45:00 | 7.4993 | 181.591 | 7.0073 | 232.699 | 6.2403 | 167.768 | 3.428 | 6.0108 | 23.65 | 965.504 | 56.2372 | 21.6436
2019-05-15 13:00:00 | 5.9673 | 185.557 | 7.7743 | 236.227 | 6.2403 | 163.631 | 5.729 | 8.3714 | 24.23 | 965.504 | 54.7376 | 21.6629
2019-05-15 13:15:00 | 1.7653 | 181.761 | 8.03 | 224.838 | 7.7743 | 170.81 | 4.4507 | 354.445 | 23.95 | 965.208 | 54.908 | 20.6062
2019-05-15 13:30:00 | 7.244 | 187.163 | 7.0073 | 227.442 | 7.7743 | 169.423 | 7.0073 | 0.29202 | 24.19 | 964.763 | 53.8173 | 18.537
2019-05-15 13:45:00 | 0 | 182.637 | 7.0073 | 234.183 | 7.5187 | 170.761 | 0 | 0.94908 | 24.47 | 965.073 | 51.8746 | 16.7783
2019-05-15 14:00:00 | 5.4567 | 176.018 | 8.797 | 211.113 | 10.0753 | 170.859 | 3.6837 | 347.509 | 24.63 | 964.911 | 51.5338 | 25.2276
2019-05-15 14:15:00 | 1.2547 | 195.024 | 8.2857 | 236.86 | 9.564 | 172.246 | 0.37567 | 13.2384 | 24.8 | 964.911 | 51.6019 | 22.8157
2019-05-15 14:30:00 | 1.2547 | 169.42 | 8.5413 | 217.899 | 11.6093 | 168.641 | 4.195 | 352.492 | 24.87 | 964.169 | 52.1464 | 20.2841
2019-05-15 14:45:00 | 0 | 183.391 | 7.7743 | 232.066 | 7.0073 | 170.542 | 0.75133 | 346.73 | 24.64 | 964.021 | 52.6585 | 21.0421
2019-05-15 15:00:00 | 0 | 182.272 | 6.496 | 219.655 | 6.7517 | 171.248 | 3.9393 | 352.912 | 24.66 | 964.318 | 50.1704 | 20.2847
2019-05-15 15:15:00 | 2.5313 | 198.479 | 6.2403 | 242.214 | 7.5187 | 171.467 | 3.6837 | 16.9131 | 24.94 | 964.169 | 50.7498 | 19.5716
2019-05-15 15:30:00 | 0 | 186.117 | 6.7517 | 231.506 | 7.0073 | 171.491 | 1.1427 | 18.8599 | 24.84 | 964.318 | 50.6135 | 21.4338
2019-05-15 15:45:00 | 0 | 186.604 | 7.7743 | 249.101 | 7.0073 | 170.226 | 0.75133 | 5.9378 | 24.84 | 963.873 | 46.6939 | 22.4794
2019-05-15 16:00:00 | 0 | 198.869 | 7.0073 | 234.937 | 6.7517 | 171.662 | 4.195 | 10.5616 | 24.93 | 963.873 | 46.0804 | 20.802
2019-05-15 16:15:00 | 0 | 165.383 | 6.496 | 214.447 | 7.0073 | 171.516 | 4.7063 | 354.007 | 24.86 | 964.021 | 46.6258 | 19.9706
2019-05-15 16:30:00 | 13.8827 | 170.104 | 8.797 | 217.051 | 7.0073 | 172.197 | 8.2857 | 352.912 | 24.78 | 963.576 | 48.6026 | 29.5809
2019-05-15 16:45:00 | 0 | 188.623 | 6.7517 | 233.599 | 6.2403 | 164.507 | 0.37567 | 1.8495 | 24.67 | 963.428 | 50.9884 | 39.0952
2019-05-15 17:00:00 | 0 | 204.198 | 8.03 | 241.021 | 8.03 | 171.199 | 4.4507 | 5.8405 | 24.51 | 963.132 | 47.0348 | 39.9006
2019-05-15 17:15:00 | 3.1587 | 149.298 | 11.098 | 199.505 | 12.632 | 150.563 | 3.428 | 338.919 | 24.44 | 962.572 | 50.6816 | 49.2338
2019-05-15 17:30:00 | 7.4993 | 182.807 | 5.4733 | 234.645 | 8.2857 | 191.373 | 0 | 1.0221 | 24 | 962.638 | 53.6469 | 40.3736
2019-05-15 17:45:00 | 5.4567 | 164.131 | 8.2857 | 208.333 | 8.5413 | 163.668 | 2.1497 | 340.625 | 23.84 | 962.173 | 56.1053 | 56.4535
2019-05-15 18:00:00 | 1.51 | 149.785 | 9.564 | 208.085 | 9.8197 | 173.03 | 3.1723 | 333.476 | 23.42 | 962.089 | 58.5648 | 46.677
2019-05-15 18:15:00 | 9.0313 | 148.422 | 8.797 | 204.508 | 5.4733 | 151.879 | 3.9393 | 344.477 | 23.22 | 962.238 | 58.9057 | 48.5872
2019-05-15 18:30:00 | 0 | 164.229 | 7.7743 | 226.915 | 7.263 | 171.288 | 4.4507 | 331.281 | 23.13 | 962.386 | 56.2503 | 48.5888
2019-05-15 18:45:00 | 1.116 | 158.355 | 7.5187 | 230.909 | 7.0073 | 184.767 | 1.774 | 16.6266 | 22.99 | 962.238 | 55.9833 | 49.7448
2019-05-15 19:00:00 | 0.372 | 188.493 | 8.2857 | 242.62 | 9.0527 | 197.086 | 0.75133 | 356.61 | 22.8 | 961.942 | 58.0293 | 45.4392
2019-05-15 19:15:00 | 3.6693 | 145.651 | 6.7517 | 221.568 | 8.2857 | 184.188 | 5.9847 | 1.2416 | 22.65 | 962.238 | 59.94 | 39.1912
2019-05-15 19:30:00 | 1.2547 | 179.545 | 7.5187 | 212.812 | 9.3083 | 197.95 | 5.4733 | 349.595 | 22.47 | 962.09 | 61.4083 | 40.126
2019-05-15 19:45:00 | 6.2227 | 203.036 | 11.098 | 248.068 | 12.1207 | 195.877 | 4.195 | 0.19478 | 22.27 | 961.942 | 62.4038 | 46.0895
2019-05-15 20:00:00 | 4.4353 | 179.151 | 8.797 | 241.788 | 11.098 | 192.956 | 1.894 | 33.3322 | 22.25 | 962.683 | 63.0179 | 44.4501
2019-05-15 20:15:00 | 4.946 | 165.322 | 7.5187 | 205.315 | 9.564 | 198.313 | 4.195 | 351.047 | 21.74 | 962.832 | 67.0418 | 43.0471
2019-05-15 20:30:00 | 2.3927 | 183.217 | 11.3537 | 239.036 | 12.632 | 204.156 | 2.4053 | 2.2643 | 21.42 | 962.394 | 68.3376 | 45.6276
2019-05-15 20:45:00 | 2.9033 | 133.523 | 8.5413 | 245.489 | 7.5187 | 190.254 | 2.9167 | 335.05 | 21.17 | 962.911 | 69.0196 | 58.8285
2019-05-15 21:00:00 | 7.4993 | 154.075 | 8.797 | 213.887 | 8.5413 | 182.903 | 4.962 | 349.224 | 21.06 | 962.859 | 69.4977 | 60.7137
2019-05-15 21:15:00 | 3.1587 | 159.351 | 11.3537 | 216.835 | 10.5867 | 193.174 | 3.5637 | 354.62 | 20.98 | 963.273 | 69.9828 | 46.4368
2019-05-15 21:30:00 | 8.5207 | 172.624 | 9.8197 | 206.537 | 10.5867 | 165.465 | 6.496 | 352.189 | 20.87 | 963.274 | 72.0981 | 54.3807
2019-05-15 21:45:00 | 4.6907 | 182.882 | 10.331 | 230.41 | 8.2857 | 194.693 | 1.007 | 7.963 | 20.62 | 963.422 | 74.4197 | 49.9174
2019-05-15 22:00:00 | 2.5313 | 173.483 | 8.2857 | 224.81 | 9.8197 | 177.525 | 1.007 | 349.742 | 20.48 | 963.274 | 75.9206 | 49.1082
2019-05-15 22:15:00 | 4.18 | 177.575 | 11.865 | 200.97 | 11.865 | 167.98 | 1.894 | 353.688 | 20.24 | 963.125 | 77.6262 | 51.9728
2019-05-15 22:30:00 | 1.882 | 163.816 | 11.098 | 215.484 | 9.0527 | 182.055 | 3.428 | 346.431 | 20.22 | 963.274 | 77.3533 | 54.5581
2019-05-15 22:45:00 | 3.6693 | 182.275 | 10.8423 | 212.099 | 8.797 | 189.434 | 2.0297 | 2.8979 | 20.18 | 963.719 | 78.3083 | 52.2747
2019-05-15 23:00:00 | 4.18 | 167.712 | 9.0527 | 216.945 | 8.2857 | 193.087 | 4.962 | 339.564 | 20.08 | 963.57 | 79.8772 | 48.3195
2019-05-15 23:15:00 | 0.372 | 174.092 | 8.5413 | 225.005 | 8.5413 | 182.323 | 1.3827 | 351.813 | 19.93 | 963.274 | 79.809 | 51.1313
2019-05-15 23:30:00 | 0.372 | 199.054 | 6.496 | 235.332 | 7.7743 | 184.711 | 4.962 | 24.4252 | 20.02 | 963.57 | 80.287 | 47.2866
2019-05-15 23:45:00 | 7.244 | 169.661 | 8.797 | 210.249 | 8.5413 | 153.613 | 5.729 | 344.534 | 19.75 | 963.57 | 82.4016 | 44.1275