## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-16 00:00:00 | 5.9673 | 168.92 | 8.797 | 224.393 | 11.6093 | 186.138 | 5.2177 | 351.576 | 19.55 | 963.274 | 82.34 | 42.8676
2019-05-16 00:15:00 | 1.51 | 173.355 | 10.8423 | 218.747 | 10.5867 | 172.6 | 2.661 | 0.073063 | 19.6 | 962.977 | 82.0685 | 43.7617
2019-05-16 00:30:00 | 2.7867 | 194.431 | 8.2857 | 210.477 | 8.2857 | 187.952 | 3.9393 | 0.46276 | 19.41 | 962.977 | 84.0847 | 47.7099
2019-05-16 00:45:00 | 4.6907 | 154.929 | 9.3083 | 204.49 | 8.2857 | 152.177 | 0.63133 | 342.568 | 19.03 | 962.829 | 84.0524 | 47.4455
2019-05-16 01:00:00 | 2.0207 | 156.927 | 7.0073 | 202.907 | 9.8197 | 161.457 | 0.37567 | 349.048 | 19.14 | 962.533 | 83.6432 | 47.416
2019-05-16 01:15:00 | 11.84 | 172.441 | 9.564 | 212.187 | 11.6093 | 147.208 | 7.0073 | 354.333 | 18.74 | 962.307 | 87.0544 | 50.4236
2019-05-16 01:30:00 | 15.67 | 162.334 | 8.797 | 208.534 | 9.8197 | 150.886 | 5.4733 | 349.803 | 18.67 | 962.685 | 88.146 | 46.9652
2019-05-16 01:45:00 | 0.372 | 166.036 | 6.2403 | 222.051 | 6.2403 | 138.44 | 0 | 341.911 | 18.47 | 962.661 | 88.4189 | 35.2082
2019-05-16 02:00:00 | 0.372 | 151.958 | 6.496 | 201.787 | 7.7743 | 151.203 | 2.541 | 345.881 | 18.44 | 962.641 | 89.1011 | 37.5803
2019-05-16 02:15:00 | 0.372 | 161.773 | 10.5867 | 203.175 | 10.0753 | 153.76 | 1.3827 | 348.609 | 18.45 | 962.823 | 89.8516 | 35.1047
2019-05-16 02:30:00 | 0 | 159.581 | 7.0073 | 217.521 | 7.0073 | 153.638 | 5.9847 | 344.737 | 18.39 | 962.667 | 89.8516 | 34.532
2019-05-16 02:45:00 | 12.3507 | 143.214 | 9.564 | 196.696 | 7.7743 | 168.715 | 5.9847 | 351.605 | 18.39 | 962.38 | 90.6703 | 35.6737
2019-05-16 03:00:00 | 12.606 | 168.52 | 6.7517 | 222.27 | 7.5187 | 158.705 | 3.1723 | 341.108 | 18.28 | 962.677 | 91.1138 | 37.1997
2019-05-16 03:15:00 | 10.8187 | 147.793 | 8.03 | 197.963 | 7.7743 | 164.404 | 6.2403 | 328.954 | 18.11 | 962.529 | 92.6488 | 46.2669
2019-05-16 03:30:00 | 0.372 | 156.975 | 6.7517 | 190.169 | 5.9847 | 162.723 | 2.541 | 324.229 | 17.98 | 962.38 | 93.3993 | 53.3388
2019-05-16 03:45:00 | 1.7653 | 133.179 | 7.263 | 192.605 | 8.2857 | 155.952 | 0.37567 | 333.192 | 18.04 | 962.38 | 91.7619 | 54.4214
2019-05-16 04:00:00 | 1.2547 | 145.357 | 8.5413 | 210.336 | 8.797 | 154.32 | 3.428 | 331.779 | 18.06 | 962.083 | 92.8535 | 59.1212
2019-05-16 04:15:00 | 2.1373 | 145.236 | 9.8197 | 204.198 | 8.2857 | 133.252 | 4.195 | 330.245 | 18.17 | 962.083 | 93.1946 | 57.9278
2019-05-16 04:30:00 | 1.51 | 145.26 | 9.564 | 212.942 | 7.0073 | 154.174 | 5.2177 | 330.61 | 18.27 | 962.083 | 91.1138 | 58.1421
2019-05-16 04:45:00 | 2.1373 | 139.755 | 8.5413 | 194.87 | 10.5867 | 147.671 | 4.7063 | 316.532 | 18.41 | 962.232 | 90.8067 | 62.9786
2019-05-16 05:00:00 | 2.648 | 145.747 | 7.263 | 199.23 | 7.263 | 148.499 | 2.661 | 329.295 | 18.41 | 962.529 | 90.9432 | 60.4735
2019-05-16 05:15:00 | 2.1373 | 151.13 | 8.03 | 196.843 | 8.5413 | 147.696 | 3.428 | 329.441 | 18.23 | 962.38 | 92.4441 | 54.2087
2019-05-16 05:30:00 | 3.1587 | 136.029 | 9.8197 | 188.147 | 8.03 | 152.128 | 5.9847 | 336.553 | 18.38 | 962.677 | 92.1712 | 50.1169
2019-05-16 05:45:00 | 4.6907 | 151.008 | 10.331 | 203.394 | 8.03 | 150.034 | 6.2403 | 336.188 | 18.4 | 962.974 | 93.2287 | 49.2486
2019-05-16 06:00:00 | 3.1587 | 150.448 | 8.03 | 196.623 | 8.797 | 168.934 | 5.9847 | 328.272 | 18.4 | 963.414 | 92.5806 | 41.9402
2019-05-16 06:15:00 | 1.6267 | 145.455 | 11.098 | 195.357 | 11.3537 | 139.682 | 3.6837 | 329.831 | 18.35 | 963.225 | 92.0348 | 44.0499
2019-05-16 06:30:00 | 7.4993 | 142.703 | 8.2857 | 205.221 | 7.5187 | 139.609 | 5.729 | 323.303 | 18.39 | 963.207 | 91.7619 | 42.1325
2019-05-16 06:45:00 | 0 | 145.941 | 7.263 | 191.215 | 7.263 | 143.968 | 1.007 | 322.181 | 18.4 | 963.423 | 91.2837 | 42.7754
2019-05-16 07:00:00 | 2.3927 | 148.109 | 10.5867 | 191.035 | 11.098 | 141.023 | 3.428 | 329.751 | 18.47 | 963.422 | 91.4736 | 49.9579
2019-05-16 07:15:00 | 5.4567 | 147.037 | 11.098 | 193.567 | 11.6093 | 157.655 | 6.7517 | 331.138 | 18.4 | 963.422 | 91.4052 | 47.2238
2019-05-16 07:30:00 | 5.4567 | 144.626 | 11.865 | 194.371 | 9.8197 | 155.561 | 7.5187 | 327.826 | 18.46 | 963.571 | 90.6549 | 37.4103
2019-05-16 07:45:00 | 4.4353 | 143.863 | 10.5867 | 188.295 | 10.5867 | 136.412 | 3.6837 | 326.298 | 18.6 | 963.868 | 90.1723 | 33.0467
2019-05-16 08:00:00 | 6.478 | 142.095 | 8.2857 | 187.81 | 7.7743 | 157.653 | 4.4507 | 331.108 | 18.86 | 963.983 | 89.4123 | 29.8026
2019-05-16 08:15:00 | 3.6693 | 155.656 | 8.797 | 196.501 | 9.0527 | 146.671 | 5.4733 | 329.743 | 18.94 | 964.175 | 89.0708 | 35.2747
2019-05-16 08:30:00 | 7.4993 | 145.673 | 9.564 | 191.217 | 9.3083 | 149.033 | 7.5187 | 324.191 | 19.2 | 964.315 | 88.9344 | 35.6746
2019-05-16 08:45:00 | 6.7333 | 144.623 | 8.03 | 195.108 | 7.7743 | 145.986 | 5.729 | 329.515 | 19.4 | 964.612 | 87.159 | 33.0393
2019-05-16 09:00:00 | 4.18 | 150.785 | 10.331 | 198.12 | 9.564 | 148.205 | 2.4053 | 331.611 | 19.67 | 964.464 | 85.0327 | 34.0952
2019-05-16 09:15:00 | 3.6693 | 137.444 | 8.5413 | 189.745 | 8.2857 | 147.693 | 3.6837 | 323.941 | 20.03 | 964.612 | 83.7027 | 26.2593
2019-05-16 09:30:00 | 0.62733 | 136.835 | 7.5187 | 187.601 | 7.5187 | 145.963 | 4.962 | 321.845 | 20.47 | 964.76 | 82.2359 | 24.3047
2019-05-16 09:45:00 | 3.1587 | 137.767 | 7.7743 | 189.596 | 7.7743 | 147.455 | 4.7063 | 321.709 | 20.71 | 965.205 | 79.567 | 24.3712
2019-05-16 10:00:00 | 0 | 122.501 | 7.7743 | 191.17 | 8.797 | 198.343 | 0.887 | 312.228 | 20.9 | 965.056 | 78.541 | 24.8885
2019-05-16 10:15:00 | 8.01 | 179.334 | 7.263 | 210.763 | 6.496 | 162.199 | 2.661 | 342.968 | 21.17 | 965.353 | 78.4728 | 28.9048
2019-05-16 10:30:00 | 1.2547 | 147.838 | 8.03 | 195.21 | 7.0073 | 150.077 | 5.9847 | 329.605 | 21.78 | 965.205 | 76.5296 | 24.5633
2019-05-16 10:45:00 | 3.414 | 156.758 | 7.7743 | 209.941 | 8.03 | 167.905 | 4.962 | 332.913 | 21.93 | 965.326 | 75.5691 | 28.2914
2019-05-16 11:00:00 | 0 | 155.602 | 8.03 | 191.866 | 8.797 | 159.642 | 2.0297 | 319.381 | 21.91 | 964.617 | 74.9496 | 27.0943
2019-05-16 11:15:00 | 0 | 158.886 | 6.496 | 197.291 | 7.5187 | 159.056 | 4.195 | 346.56 | 22.21 | 964.776 | 73.4492 | 22.9487
2019-05-16 11:30:00 | 0.744 | 129.44 | 6.496 | 181.327 | 5.9847 | 159.324 | 2.541 | 311.858 | 22.5 | 964.949 | 70.5522 | 20.2847
2019-05-16 11:45:00 | 0 | 184.365 | 5.729 | 231.749 | 7.0073 | 192.371 | 0 | 13.4331 | 22.83 | 964.913 | 69.8705 | 15.7733
2019-05-16 12:00:00 | 0 | 174.971 | 5.2177 | 208.996 | 4.7063 | 185.849 | 3.428 | 356.805 | 23.28 | 964.614 | 70.9612 | 17.7796
2019-05-16 12:15:00 | 0 | 158.74 | 8.5413 | 182.008 | 7.263 | 185.509 | 4.4507 | 334.027 | 23.24 | 964.021 | 69.1888 | 19.0055
2019-05-16 12:30:00 | 5.712 | 180.885 | 7.5187 | 227.126 | 8.03 | 185.241 | 4.962 | 343.153 | 23.74 | 964.358 | 68.7117 | 17.4544
2019-05-16 12:45:00 | 0 | 139.077 | 4.962 | 189.041 | 4.7063 | 185.022 | 0.37567 | 317.017 | 23.58 | 964.323 | 67.3824 | 14.9826
2019-05-16 13:00:00 | 0 | 173.949 | 6.2403 | 202.571 | 6.7517 | 185.192 | 0.63133 | 338.675 | 24.08 | 964.328 | 67.3143 | 10.8444
2019-05-16 13:15:00 | 0.62733 | 152.388 | 4.195 | 202.596 | 4.962 | 188.453 | 0 | 334.198 | 24.52 | 964.466 | 65.3715 | 6.6138
2019-05-16 13:30:00 | 4.6907 | 138.128 | 8.5413 | 191.061 | 8.2857 | 186.239 | 2.4053 | 310.544 | 24.84 | 964.169 | 63.2584 | 5.8711
2019-05-16 13:45:00 | 0 | 181.922 | 6.7517 | 219.034 | 8.03 | 198.226 | 1.1427 | 5.0128 | 25.27 | 964.911 | 63.5958 | 9.6251
2019-05-16 14:00:00 | 0 | 180.393 | 6.496 | 230.209 | 7.263 | 194.507 | 0.37567 | 14.3088 | 25.18 | 964.169 | 62.3023 | 11.9196
2019-05-16 14:15:00 | 0 | 201.656 | 5.4733 | 256.678 | 4.962 | 195.257 | 1.5183 | 22.7767 | 25.1 | 963.576 | 63.3913 | 10.1387
2019-05-16 14:30:00 | 0 | 194.433 | 4.962 | 234.442 | 3.9393 | 197.11 | 3.9393 | 5.0373 | 25.19 | 964.021 | 62.3701 | 9.5253
2019-05-16 14:45:00 | 0 | 186.912 | 7.0073 | 231.787 | 7.5187 | 196.816 | 0.37567 | 6.5216 | 25.09 | 963.131 | 64.1417 | 10.8555
2019-05-16 15:00:00 | 0 | 183.187 | 6.496 | 235.314 | 9.3083 | 197.764 | 1.1427 | 355.692 | 24.66 | 962.983 | 65.5045 | 12.5366
2019-05-16 15:15:00 | 0 | 164.069 | 6.496 | 216.54 | 5.2177 | 194.975 | 0 | 0.38937 | 24.51 | 962.687 | 64.8602 | 11.1252
2019-05-16 15:30:00 | 0 | 187.966 | 7.263 | 226.42 | 7.0073 | 193.71 | 1.127 | 11.9973 | 24.54 | 962.538 | 65.0307 | 15.6255
2019-05-16 15:45:00 | 0 | 178.524 | 5.2177 | 228.683 | 7.5187 | 193.637 | 2.0297 | 346.73 | 24.45 | 962.398 | 64.1445 | 14.8902
2019-05-16 16:00:00 | 0 | 179.303 | 9.0527 | 227.953 | 6.2403 | 192.347 | 2.9167 | 5.4268 | 24.42 | 962.442 | 64.4853 | 17.4508
2019-05-16 16:15:00 | 0 | 190.207 | 7.0073 | 247.108 | 7.7743 | 193.687 | 1.6383 | 4.4534 | 24.44 | 962.288 | 63.3613 | 17.6909
2019-05-16 16:30:00 | 0 | 170.3 | 7.0073 | 222.977 | 7.5187 | 194.566 | 5.9847 | 346.588 | 24.43 | 962.064 | 63.9497 | 15.9026
2019-05-16 16:45:00 | 1.2547 | 186.806 | 8.03 | 233.837 | 7.7743 | 192.769 | 0.37567 | 6.8637 | 24.34 | 962.229 | 65.3826 | 13.5638
2019-05-16 17:00:00 | 0 | 201.263 | 7.5187 | 231.963 | 7.5187 | 192.404 | 0.37567 | 351.414 | 24.31 | 962.385 | 64.0191 | 11.2878
2019-05-16 17:15:00 | 9.542 | 173.322 | 8.797 | 213.732 | 7.7743 | 192.258 | 6.2403 | 0.31641 | 24.28 | 962.535 | 64.2918 | 14.3175
2019-05-16 17:30:00 | 7.244 | 169.427 | 6.7517 | 221.472 | 6.2403 | 193.402 | 0.63133 | 69.5137 | 24.28 | 962.535 | 63.0987 | 15.5738
2019-05-16 17:45:00 | 0 | 173.809 | 4.7063 | 243.208 | 7.0073 | 191.552 | 0 | 356.623 | 24.16 | 962.386 | 67.2916 | 15.8398
2019-05-16 18:00:00 | 0 | 190.165 | 4.962 | 235.712 | 5.9847 | 192.623 | 0 | 3.0181 | 23.82 | 962.535 | 70.0871 | 11.927
2019-05-16 18:15:00 | 0 | 194.66 | 5.9847 | 235.368 | 5.729 | 192.128 | 0 | 21.1285 | 23.62 | 962.832 | 69.9566 | 16.2019
2019-05-16 18:30:00 | 0 | 184.597 | 5.9847 | 223.362 | 6.2403 | 195.722 | 4.7063 | 15.5068 | 23.62 | 962.832 | 69.1438 | 21.1556
2019-05-16 18:45:00 | 2.648 | 177.563 | 9.0527 | 225.068 | 9.8197 | 203.951 | 0.37567 | 356.781 | 23.63 | 962.386 | 66.0757 | 23.2036
2019-05-16 19:00:00 | 4.946 | 179.291 | 8.03 | 224.995 | 8.03 | 205.85 | 2.7967 | 356.148 | 23.63 | 962.683 | 67.0302 | 27.9663
2019-05-16 19:15:00 | 0 | 164.465 | 5.4733 | 203.474 | 4.962 | 204.778 | 3.9393 | 350.158 | 23.61 | 962.98 | 67.1664 | 27.9552
2019-05-16 19:30:00 | 0 | 163.955 | 5.729 | 215.89 | 7.5187 | 200.129 | 1.774 | 342.248 | 23.45 | 962.832 | 68.6669 | 29.9837
2019-05-16 19:45:00 | 3.042 | 144.723 | 7.0073 | 187.919 | 4.7063 | 200.981 | 4.195 | 311.988 | 23.09 | 962.832 | 71.3945 | 36.0137
2019-05-16 20:00:00 | 3.6693 | 155.41 | 10.0753 | 210.486 | 9.0527 | 194.895 | 1.774 | 338.596 | 22.8 | 962.386 | 73.4401 | 42.1988
2019-05-16 20:15:00 | 3.1587 | 141.388 | 8.2857 | 200.554 | 7.7743 | 194.311 | 4.195 | 329.053 | 22.54 | 962.683 | 76.1677 | 47.9332
2019-05-16 20:30:00 | 2.3927 | 158.812 | 7.0073 | 198.972 | 8.5413 | 187.005 | 3.9393 | 323.272 | 22.44 | 962.832 | 74.7443 | 51.3215
2019-05-16 20:45:00 | 9.2867 | 153.095 | 8.797 | 200.805 | 8.797 | 187.376 | 5.4733 | 330.928 | 22.32 | 962.832 | 73.7237 | 54.4488
2019-05-16 21:00:00 | 4.6907 | 160.647 | 10.0753 | 213.763 | 10.0753 | 186.918 | 5.4733 | 339.676 | 22.22 | 962.832 | 72.4296 | 60.5976
2019-05-16 21:15:00 | 5.2013 | 139.903 | 13.399 | 199.252 | 12.1207 | 186.796 | 7.263 | 322.389 | 22.12 | 962.386 | 72.8389 | 63.2447
2019-05-16 21:30:00 | 6.2227 | 150.689 | 12.3763 | 194.991 | 11.3537 | 186.504 | 6.7517 | 333.395 | 22.1 | 962.238 | 72.9753 | 58.301
2019-05-16 21:45:00 | 0.99933 | 156.556 | 7.7743 | 212.181 | 7.263 | 186.918 | 3.9393 | 326.723 | 21.86 | 962.832 | 73.7937 | 60.4677
2019-05-16 22:00:00 | 2.1373 | 138.831 | 11.098 | 200.81 | 10.331 | 186.845 | 3.0523 | 327.551 | 21.71 | 962.386 | 74.6803 | 70.5457
2019-05-16 22:15:00 | 1.882 | 135.642 | 11.098 | 188.003 | 11.865 | 187.259 | 4.962 | 324.118 | 21.51 | 962.238 | 76.3171 | 72.8143
2019-05-16 22:30:00 | 4.18 | 139.805 | 10.331 | 204.097 | 11.3537 | 184.849 | 2.541 | 326.869 | 21.28 | 962.128 | 76.3171 | 65.9973
2019-05-16 22:45:00 | 5.9673 | 151.93 | 10.331 | 194.358 | 9.3083 | 185.384 | 5.4733 | 325.53 | 21.19 | 962.19 | 77.7494 | 59.9664
2019-05-16 23:00:00 | 7.7547 | 151.178 | 9.564 | 203.566 | 9.0527 | 185.777 | 4.195 | 315.432 | 21.04 | 962.37 | 77.8189 | 54.7088
2019-05-16 23:15:00 | 0.372 | 122.651 | 2.4053 | 168.786 | 1.007 | 185.45 | 4.4507 | 290.982 | 20.84 | 962.524 | 77.9609 | 48.7793
2019-05-16 23:30:00 | 0 | 154.068 | 4.7063 | 185.692 | 4.4507 | 185.797 | 4.195 | 306.407 | 20.83 | 962.68 | 77.4862 | 42.2232
2019-05-16 23:45:00 | 0 | 133.716 | 7.0073 | 187.478 | 6.2403 | 185.805 | 5.4733 | 311.436 | 20.84 | 962.977 | 77.694 | 31.9347