## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-17 00:00:00 | 0 | 161.206 | 8.2857 | 213.7 | 8.2857 | 185.801 | 3.6837 | 335.805 | 20.9 | 962.828 | 76.8056 | 26.6398
2019-05-17 00:15:00 | 0 | 136.029 | 8.03 | 198.265 | 4.7063 | 185.804 | 4.4507 | 325.584 | 20.81 | 962.828 | 77.5916 | 31.9678
2019-05-17 00:30:00 | 1.2547 | 134.47 | 8.2857 | 186.259 | 8.03 | 185.804 | 4.195 | 317.254 | 20.69 | 962.235 | 79.0578 | 33.0763
2019-05-17 00:45:00 | 0 | 126.922 | 6.496 | 184.362 | 5.9847 | 185.806 | 2.4053 | 323.857 | 20.37 | 961.938 | 79.6043 | 28.9048
2019-05-17 01:00:00 | 0 | 127.215 | 3.9393 | 170.262 | 4.4507 | 185.806 | 1.007 | 311.072 | 20.42 | 962.532 | 80.15 | 21.3377
2019-05-17 01:15:00 | 0 | 137.491 | 9.3083 | 192.179 | 8.797 | 185.757 | 2.9167 | 307.882 | 20.3 | 961.938 | 80.764 | 23.8798
2019-05-17 01:30:00 | 0 | 128.018 | 4.962 | 178.103 | 5.2177 | 185.806 | 1.3827 | 318.84 | 20.1 | 962.087 | 82.2646 | 23.9943
2019-05-17 01:45:00 | 0 | 119.568 | 6.496 | 179.93 | 5.9847 | 185.806 | 0.63133 | 309.27 | 19.92 | 961.79 | 81.6507 | 27.0167
2019-05-17 02:00:00 | 0 | 126.314 | 6.2403 | 176.496 | 7.0073 | 185.781 | 2.2853 | 316.332 | 20 | 961.79 | 82.1964 | 25.3762
2019-05-17 02:15:00 | 0 | 133.498 | 4.962 | 179.15 | 5.2177 | 185.806 | 3.1723 | 312.972 | 19.85 | 961.79 | 83.0832 | 26.5622
2019-05-17 02:30:00 | 0 | 133.891 | 6.496 | 166.834 | 4.7063 | 185.811 | 4.195 | 309.79 | 19.6 | 961.79 | 85.9165 | 32.9063
2019-05-17 02:45:00 | 1.6487 | 133.217 | 6.2403 | 185.865 | 4.962 | 185.773 | 0 | 325.833 | 19.26 | 961.938 | 86.5695 | 26.4071
2019-05-17 03:00:00 | 3.1587 | 151.857 | 6.2403 | 212.157 | 5.4733 | 185.784 | 1.5183 | 330.31 | 19.26 | 961.495 | 86.9158 | 21.6998
2019-05-17 03:15:00 | 0 | 98.7397 | 4.962 | 163.061 | 4.7063 | 185.788 | 0.75133 | 283.359 | 19.09 | 961.493 | 87.7366 | 8.1952
2019-05-17 03:30:00 | 0 | 126.287 | 6.2403 | 172.121 | 5.4733 | 185.788 | 0 | 308.202 | 19.53 | 961.962 | 84.5301 | 8.7753
2019-05-17 03:45:00 | 0 | 126.554 | 5.2177 | 169.734 | 4.7063 | 185.788 | 4.7063 | 314.559 | 19.25 | 962.002 | 86.6792 | 12.8322
2019-05-17 04:00:00 | 0 | 108.068 | 4.7063 | 161.867 | 4.7063 | 185.788 | 0 | 299.239 | 19.04 | 961.838 | 87.4637 | 15.8398
2019-05-17 04:15:00 | 0 | 117.738 | 7.0073 | 164.522 | 6.2403 | 185.788 | 0.75133 | 303.721 | 18.87 | 961.305 | 88.0778 | 25.1471
2019-05-17 04:30:00 | 2.1373 | 115.302 | 7.7743 | 175.336 | 6.496 | 185.74 | 6.496 | 294.709 | 19.16 | 961.29 | 86.3722 | 33.9593
2019-05-17 04:45:00 | 0 | 109.213 | 9.3083 | 180.451 | 8.797 | 185.74 | 3.6837 | 300.798 | 19.21 | 961.329 | 85.1782 | 32.3668
2019-05-17 05:00:00 | 0 | 129.087 | 6.2403 | 178.795 | 7.263 | 185.789 | 0 | 306.108 | 19.11 | 961.264 | 85.3147 | 29.2743
2019-05-17 05:15:00 | 0 | 129.672 | 8.5413 | 179.111 | 7.5187 | 185.789 | 5.9847 | 319.358 | 19.16 | 961.331 | 84.9394 | 22.3945
2019-05-17 05:30:00 | 0 | 118.371 | 4.962 | 180.816 | 3.9393 | 185.789 | 0.37567 | 296.487 | 19.48 | 961.525 | 83.0633 | 25.4427
2019-05-17 05:45:00 | 0 | 121.464 | 6.496 | 174.605 | 5.2177 | 185.789 | 2.0297 | 303.599 | 19.54 | 961.502 | 83.1656 | 31.8717
2019-05-17 06:00:00 | 0 | 118.565 | 7.7743 | 164.204 | 8.5413 | 185.787 | 1.6383 | 294.999 | 19.6 | 961.346 | 81.1182 | 29.0673
2019-05-17 06:15:00 | 0 | 101.968 | 5.2177 | 153.251 | 5.4733 | 185.769 | 0 | 294.507 | 19.47 | 961.642 | 82.7474 | 22.9302
2019-05-17 06:30:00 | 0 | 116.16 | 4.7063 | 170.166 | 3.9393 | 185.758 | 0 | 313.022 | 19.64 | 961.79 | 82.2652 | 20.632
2019-05-17 06:45:00 | 0 | 126.874 | 6.496 | 171.407 | 4.7063 | 185.757 | 3.6837 | 307.955 | 19.57 | 962.235 | 81.3097 | 18.8289
2019-05-17 07:00:00 | 0 | 122.978 | 2.4053 | 187.479 | 2.4053 | 185.757 | 0 | 268.335 | 20.14 | 962.532 | 79.5021 | 17.7426
2019-05-17 07:15:00 | 0 | 123.711 | 3.6837 | 180.115 | 3.428 | 185.774 | 0 | 292.807 | 20.28 | 962.543 | 80.4093 | 13.6709
2019-05-17 07:30:00 | 0 | 123.616 | 4.4507 | 180.663 | 3.9393 | 185.765 | 0 | 308.65 | 20.52 | 962.98 | 78.3148 | 11.1621
2019-05-17 07:45:00 | 0 | 126.252 | 5.2177 | 183.604 | 4.7063 | 185.763 | 4.4507 | 332.338 | 21.11 | 962.98 | 75.5768 | 6.0485
2019-05-17 08:00:00 | 0 | 132.418 | 3.428 | 190.078 | 2.9167 | 185.741 | 0 | 304.068 | 21.37 | 963.224 | 73.7954 | 3.8316
2019-05-17 08:15:00 | 0 | 141.729 | 3.428 | 205.175 | 3.428 | 185.825 | 0 | 317.99 | 21.86 | 962.988 | 73.2106 | 2.3167
2019-05-17 08:30:00 | 0 | 134.277 | 2.1497 | 191.465 | 2.4053 | 185.817 | 0 | 307.245 | 21.86 | 963.28 | 73.1392 | 0.98652
2019-05-17 08:45:00 | 0 | 139.683 | 2.4053 | 163.899 | 1.3827 | 185.822 | 0 | 309.03 | 22.72 | 963.576 | 70.0738 | 0.28081
2019-05-17 09:00:00 | 0 | 134.774 | 3.1723 | 188.049 | 1.6383 | 185.765 | 0 | 324.188 | 23.06 | 963.589 | 68.8256 | 0.23278
2019-05-17 09:15:00 | 0 | 150.317 | 3.9393 | 196.56 | 2.9167 | 185.81 | 0 | 332.113 | 22.78 | 963.579 | 71.9932 | -0.011085
2019-05-17 09:30:00 | 0 | 167.419 | 2.9167 | 230.861 | 1.6383 | 185.81 | 0 | 356.684 | 22.91 | 963.431 | 68.0068 | -0.070202
2019-05-17 09:45:00 | 0 | 207.34 | 4.4507 | 255.821 | 3.9393 | 185.835 | 1.127 | 18.294 | 23.68 | 963.431 | 68.8246 | -0.16996
2019-05-17 10:00:00 | 1.2547 | 240.863 | 4.4507 | 295.279 | 4.962 | 185.859 | 0 | 28.414 | 23.36 | 963.431 | 70.6644 | -0.23278
2019-05-17 10:15:00 | 0 | 189.97 | 3.428 | 222.882 | 3.428 | 185.81 | 0.75133 | 11.5797 | 23.79 | 963.431 | 67.2573 | -0.25864
2019-05-17 10:30:00 | 4.18 | 180.41 | 2.4053 | 232.126 | 1.6383 | 185.81 | 0.887 | 356.781 | 24.19 | 963.579 | 66.5758 | -0.29559
2019-05-17 10:45:00 | 0 | 184.691 | 1.3827 | 229.061 | 0 | 185.81 | 0 | 33.5714 | 24.4 | 963.431 | 64.6678 | -0.27711
2019-05-17 11:00:00 | 0 | 159.002 | 0 | 230.277 | 0 | 185.859 | 0 | 315.036 | 24.53 | 963.283 | 64.4634 | -0.27711
2019-05-17 11:15:00 | 0 | 283.386 | 2.1497 | 316.979 | 2.1497 | 185.859 | 0 | 115.943 | 25.48 | 963.876 | 61.397 | -0.31776
2019-05-17 11:30:00 | 0 | 295.453 | 3.6837 | 19.3188 | 3.6837 | 185.859 | 0 | 150.487 | 24.6 | 963.283 | 62.9642 | -0.25864
2019-05-17 11:45:00 | 0 | 246.774 | 1.3827 | 325.639 | 1.894 | 185.859 | 0 | 119.276 | 25 | 963.579 | 62.2147 | -0.28081
2019-05-17 12:00:00 | 0 | 195.152 | 1.894 | 171.795 | 2.1497 | 185.859 | 0 | 45.5403 | 25.65 | 963.579 | 60.3748 | -0.25125
2019-05-17 12:15:00 | 0 | 2.8219 | 1.894 | 30.8923 | 1.6383 | 185.859 | 0 | 199.652 | 25.95 | 963.431 | 59.4889 | -0.26972
2019-05-17 12:30:00 | 0 | 147.52 | 1.127 | 201.085 | 1.6383 | 185.859 | 0 | 323.55 | 25.68 | 963.283 | 61.2607 | -0.26972
2019-05-17 12:45:00 | 0 | 179.729 | 0 | 234.656 | 0 | 185.859 | 0 | 58.7743 | 26.14 | 963.283 | 59.8978 | -0.25125
2019-05-17 13:00:00 | 0 | 291.122 | 2.1497 | 317.563 | 2.9167 | 185.859 | 0 | 125.163 | 26.39 | 963.431 | 58.0579 | -0.28081
2019-05-17 13:15:00 | 0 | 245.436 | 3.1723 | 323.645 | 2.661 | 185.859 | 0 | 68.3348 | 26.14 | 962.986 | 61.908 | -0.26972
2019-05-17 13:30:00 | 0 | 320.145 | 0.75133 | 0.9213 | 1.3827 | 185.859 | 0 | 129.274 | 26.53 | 963.135 | 59.0119 | -0.25864
2019-05-17 13:45:00 | 0 | 310.9 | 2.1497 | 319.095 | 2.1497 | 185.859 | 0 | 144.746 | 26.38 | 963.283 | 58.7394 | -0.10346
2019-05-17 14:00:00 | 0 | 249.791 | 2.4053 | 285.427 | 3.1723 | 185.859 | 0 | 66.5103 | 26.75 | 963.579 | 58.2624 | -0.25125
2019-05-17 14:15:00 | 0 | 115.967 | 2.4053 | 160.945 | 2.661 | 185.859 | 0 | 321.896 | 26.86 | 964.172 | 57.5809 | -0.26972
2019-05-17 14:30:00 | 0 | 58.8957 | 2.1497 | 156.274 | 2.4053 | 185.858 | 0 | 199.774 | 26.63 | 964.024 | 58.2622 | -0.24016
2019-05-17 14:45:00 | 0 | 138.858 | 4.195 | 188.555 | 3.1723 | 185.858 | 0 | 322.916 | 26.28 | 962.986 | 60.5789 | -0.2882
2019-05-17 15:00:00 | 0.88267 | 188.048 | 2.4053 | 233.002 | 2.9167 | 185.859 | 0 | 7.6874 | 26.36 | 962.986 | 58.4668 | -0.23647
2019-05-17 15:15:00 | 0 | 187.027 | 3.428 | 239.765 | 3.6837 | 185.859 | 0 | 9.22 | 26.73 | 962.69 | 59.2845 | -0.28081
2019-05-17 15:30:00 | 0 | 172.576 | 2.9167 | 232.296 | 2.661 | 185.81 | 0 | 356.732 | 26.52 | 963.135 | 57.9898 | -0.26972
2019-05-17 15:45:00 | 0 | 196.757 | 3.6837 | 244.289 | 4.7063 | 185.835 | 0.37567 | 19.632 | 26.79 | 962.838 | 57.9898 | -0.11454
2019-05-17 16:00:00 | 0 | 194.714 | 5.9847 | 225.412 | 4.962 | 185.859 | 0 | 13.7691 | 27.09 | 962.986 | 57.9557 | 0.67246
2019-05-17 16:15:00 | 0 | 144.406 | 3.1723 | 194.419 | 3.1723 | 185.859 | 0 | 332.94 | 27.01 | 963.135 | 58.3986 | 1.404
2019-05-17 16:30:00 | 0.62733 | 141.389 | 4.7063 | 189.116 | 4.195 | 185.859 | 2.9167 | 321.069 | 26.5 | 963.579 | 59.0801 | 2.7231
2019-05-17 16:45:00 | 0 | 139.346 | 4.962 | 184.542 | 4.7063 | 185.859 | 0 | 319.731 | 26.42 | 962.986 | 59.3186 | 3.6394
2019-05-17 17:00:00 | 0 | 152.312 | 4.4507 | 216.605 | 3.428 | 185.859 | 0 | 337.465 | 26.27 | 962.69 | 59.7615 | 11.9454
2019-05-17 17:15:00 | 1.2547 | 111.263 | 7.5187 | 174.084 | 7.263 | 185.787 | 4.7063 | 288.899 | 24.72 | 961.604 | 64.4722 | 49.0166
2019-05-17 17:30:00 | 4.18 | 86.1687 | 7.5187 | 154.941 | 5.729 | 185.819 | 1.007 | 279.945 | 24.21 | 961.647 | 65.8464 | 60.6255
2019-05-17 17:45:00 | 0 | 103.06 | 9.3083 | 135.43 | 7.0073 | 185.776 | 0 | 295.845 | 23.63 | 961.69 | 66.7007 | 61.0193
2019-05-17 18:00:00 | 1.882 | 115.296 | 7.5187 | 157.848 | 8.2857 | 185.758 | 2.9167 | 308.721 | 23.08 | 961.337 | 68.6547 | 59.267
2019-05-17 18:15:00 | 0.372 | 128.853 | 8.5413 | 185.572 | 9.0527 | 185.759 | 2.541 | 283.19 | 22.71 | 961.052 | 70.2233 | 70.978
2019-05-17 18:30:00 | 0.372 | 121.254 | 9.3083 | 175.94 | 8.797 | 185.496 | 4.7063 | 294.482 | 22.04 | 960.31 | 72.5528 | 78.0314
2019-05-17 18:45:00 | 0.744 | 100.442 | 7.7743 | 155.25 | 8.5413 | 185.401 | 1.894 | 294.753 | 21.4 | 960.458 | 74.6676 | 75.1459
2019-05-17 19:00:00 | 5.712 | 112.852 | 11.098 | 203.61 | 7.7743 | 185.627 | 4.962 | 306.441 | 20.9 | 959.717 | 76.1805 | 79.4133
2019-05-17 19:15:00 | 5.9673 | 119.986 | 4.7063 | 138.529 | 4.962 | 185.433 | 4.7063 | 286.89 | 20.38 | 959.821 | 77.9198 | 84.83
2019-05-17 19:30:00 | 4.946 | 105.661 | 12.1207 | 169.673 | 11.865 | 182.684 | 4.7063 | 295.187 | 20.3 | 959.562 | 74.8276 | 83.0712
2019-05-17 19:45:00 | 3.414 | 131.769 | 9.564 | 177.251 | 9.8197 | 182.737 | 5.729 | 294.074 | 20.06 | 960.158 | 76.2619 | 81.4676
2019-05-17 20:00:00 | 2.648 | 120.883 | 10.331 | 191.399 | 9.0527 | 183.127 | 5.9847 | 299.651 | 19.8 | 960.306 | 76.944 | 81.6872
2019-05-17 20:15:00 | 3.414 | 116.38 | 13.9103 | 179.008 | 13.6547 | 183.471 | 4.962 | 312.612 | 19.63 | 960.454 | 77.9686 | 80.2283
2019-05-17 20:30:00 | 3.6693 | 145.442 | 9.564 | 174.783 | 9.564 | 183.532 | 2.661 | 316.578 | 19.51 | 961.196 | 77.2915 | 76.0621
2019-05-17 20:45:00 | 5.9673 | 105.898 | 13.399 | 181.786 | 12.632 | 182.862 | 6.2403 | 314.723 | 19.54 | 960.9 | 78.6271 | 82.4985
2019-05-17 21:00:00 | 4.6907 | 126.676 | 12.3763 | 195.599 | 13.6547 | 182.524 | 5.9847 | 319.648 | 19.18 | 960.611 | 80.4362 | 86.1416
2019-05-17 21:15:00 | 4.946 | 121.342 | 11.098 | 191.923 | 10.8423 | 182.574 | 5.9847 | 297.583 | 18.95 | 961.242 | 81.8011 | 83.9728
2019-05-17 21:30:00 | 4.6907 | 129.818 | 13.399 | 173.242 | 12.8877 | 182.744 | 6.7517 | 310.37 | 18.75 | 961.059 | 81.1189 | 83.9358
2019-05-17 21:45:00 | 5.712 | 125.02 | 14.6773 | 178.746 | 11.865 | 182.5 | 6.7517 | 316.021 | 18.73 | 961.455 | 81.3577 | 80.7593
2019-05-17 22:00:00 | 4.6907 | 132.302 | 11.865 | 186.881 | 11.865 | 182.574 | 6.2403 | 307.033 | 18.61 | 961.783 | 80.8119 | 82.5761
2019-05-17 22:15:00 | 4.6907 | 133.155 | 14.4217 | 186.102 | 13.6547 | 182.574 | 5.2177 | 304.525 | 18.46 | 961.464 | 80.6413 | 82.7904
2019-05-17 22:30:00 | 4.6907 | 130.476 | 14.933 | 192.726 | 15.4443 | 182.427 | 7.263 | 316.484 | 18.39 | 962.083 | 81.3235 | 80.374
2019-05-17 22:45:00 | 3.9247 | 130.5 | 13.1433 | 189.877 | 12.632 | 182.549 | 5.4733 | 315.728 | 18.33 | 961.935 | 80.8801 | 79.5648
2019-05-17 23:00:00 | 4.4353 | 140.949 | 11.098 | 199.595 | 10.331 | 182.695 | 4.195 | 319.065 | 18.34 | 962.529 | 80.5049 | 78.5487
2019-05-17 23:15:00 | 4.6907 | 134.154 | 14.166 | 194.163 | 13.6547 | 182.379 | 3.9393 | 314.803 | 18.33 | 962.677 | 80.3002 | 76.2932
2019-05-17 23:30:00 | 7.244 | 141.704 | 13.6547 | 202.786 | 11.3537 | 182.671 | 5.2177 | 323.303 | 18.26 | 963.122 | 81.1871 | 67.6194
2019-05-17 23:45:00 | 6.7333 | 125.824 | 10.5867 | 178.746 | 10.0753 | 182.671 | 4.195 | 323.328 | 18.18 | 963.271 | 81.3235 | 49.9839