## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-18 00:00:00 | 3.414 | 130.476 | 10.8423 | 182.838 | 9.3083 | 182.647 | 2.9167 | 306.083 | 17.93 | 963.568 | 82.2787 | 44.2236
2019-05-18 00:15:00 | 4.4353 | 134.154 | 11.865 | 191.801 | 9.0527 | 182.622 | 4.4507 | 311.515 | 17.73 | 963.271 | 81.7329 | 53.9061
2019-05-18 00:30:00 | 3.6693 | 136.784 | 11.6093 | 194.091 | 11.3537 | 182.622 | 3.1723 | 326.811 | 17.63 | 962.974 | 81.2895 | 67.1152
2019-05-18 00:45:00 | 3.414 | 138.952 | 9.8197 | 185.761 | 8.797 | 182.769 | 6.7517 | 322.768 | 17.46 | 962.825 | 79.8228 | 70.9115
2019-05-18 01:00:00 | 5.9673 | 110.066 | 11.3537 | 166.983 | 10.0753 | 182.77 | 7.0073 | 295.077 | 17.36 | 962.677 | 79.6526 | 67.3505
2019-05-18 01:15:00 | 4.4353 | 112.82 | 10.8423 | 173.66 | 10.5867 | 182.773 | 5.2177 | 296.299 | 17.3 | 962.677 | 79.2104 | 65.3047
2019-05-18 01:30:00 | 5.4567 | 117.837 | 9.3083 | 191.318 | 9.0527 | 182.772 | 5.4733 | 291.962 | 17.28 | 962.974 | 78.2549 | 60.9871
2019-05-18 01:45:00 | 4.946 | 120.295 | 10.8423 | 179.453 | 10.5867 | 182.769 | 1.5183 | 293.2 | 17.34 | 962.677 | 77.5033 | 64.863
2019-05-18 02:00:00 | 4.18 | 118.01 | 9.8197 | 179.923 | 7.263 | 182.776 | 4.4507 | 324.558 | 17.2 | 962.677 | 79.0071 | 64.4307
2019-05-18 02:15:00 | 0.372 | 109.901 | 9.8197 | 161.171 | 8.03 | 182.779 | 5.729 | 304.639 | 17.09 | 962.825 | 79.5542 | 65.8754
2019-05-18 02:30:00 | 1.6267 | 108.955 | 11.098 | 173.21 | 9.564 | 182.784 | 1.774 | 301.409 | 16.96 | 962.825 | 79.625 | 65.3212
2019-05-18 02:45:00 | 2.1373 | 117.77 | 9.564 | 170.795 | 9.0527 | 182.781 | 3.9393 | 291.978 | 17.02 | 962.677 | 79.3507 | 54.0628
2019-05-18 03:00:00 | 2.3927 | 106.349 | 9.8197 | 152.678 | 7.5187 | 182.835 | 1.1427 | 287.504 | 17.02 | 962.825 | 78.2953 | 53.7267
2019-05-18 03:15:00 | 0 | 110.105 | 5.9847 | 181.161 | 7.0073 | 182.842 | 0.37567 | 286.126 | 16.84 | 962.825 | 80.4136 | 60.2888
2019-05-18 03:30:00 | 0 | 112.615 | 9.0527 | 163.038 | 7.0073 | 182.819 | 4.195 | 292.803 | 16.61 | 962.38 | 81.1306 | 61.848
2019-05-18 03:45:00 | 3.6693 | 112.843 | 12.632 | 172.066 | 10.331 | 182.76 | 5.4733 | 288.002 | 16.75 | 962.083 | 79.9085 | 65.8163
2019-05-18 04:00:00 | 5.4567 | 118.13 | 12.3763 | 174.82 | 10.331 | 182.761 | 3.1723 | 301.719 | 16.72 | 962.083 | 80.5232 | 64.5978
2019-05-18 04:15:00 | 8.5207 | 110.051 | 9.0527 | 184.217 | 8.797 | 182.777 | 4.4507 | 309.688 | 16.56 | 962.529 | 80.8031 | 62.2137
2019-05-18 04:30:00 | 2.5313 | 124.498 | 10.331 | 176.347 | 9.8197 | 182.801 | 1.3827 | 308.542 | 16.44 | 962.083 | 81.69 | 60.6324
2019-05-18 04:45:00 | 2.9033 | 124.623 | 11.098 | 176.474 | 9.0527 | 182.781 | 3.1723 | 302.093 | 16.23 | 962.232 | 82.1357 | 65.2103
2019-05-18 05:00:00 | 1.882 | 130.228 | 10.0753 | 188.292 | 9.3083 | 182.782 | 1.2627 | 309.16 | 16.03 | 962.083 | 82.2044 | 66.825
2019-05-18 05:15:00 | 3.9247 | 111.102 | 11.098 | 176.548 | 11.3537 | 182.782 | 3.6837 | 298.318 | 16.24 | 961.935 | 82.102 | 67.6859
2019-05-18 05:30:00 | 4.18 | 130.934 | 9.8197 | 190.972 | 10.5867 | 182.563 | 2.9167 | 296.296 | 16.21 | 962.083 | 82.102 | 74.296
2019-05-18 05:45:00 | 4.4353 | 110.464 | 11.6093 | 165.942 | 13.399 | 182.58 | 5.4733 | 290.997 | 16.16 | 961.786 | 81.9281 | 77.0275
2019-05-18 06:00:00 | 3.414 | 123.947 | 13.1433 | 177.322 | 11.6093 | 182.559 | 5.729 | 298.711 | 16.05 | 962.38 | 82.4989 | 76.6701
2019-05-18 06:15:00 | 4.6907 | 122.807 | 13.1433 | 164.04 | 11.865 | 182.432 | 2.1497 | 304.216 | 16.02 | 962.083 | 82.4856 | 76.3946
2019-05-18 06:30:00 | 3.9247 | 124.363 | 8.797 | 176.215 | 9.564 | 182.502 | 2.9167 | 293.129 | 16.14 | 962.677 | 82.8593 | 74.0721
2019-05-18 06:45:00 | 4.18 | 103.587 | 9.564 | 183.569 | 10.331 | 182.525 | 1.3827 | 305.012 | 16.22 | 962.677 | 82.4493 | 73.1247
2019-05-18 07:00:00 | 4.4353 | 121.294 | 9.8197 | 177.139 | 9.3083 | 182.525 | 3.1723 | 302.747 | 16.34 | 962.677 | 81.6647 | 69.3707
2019-05-18 07:15:00 | 2.5313 | 118.639 | 8.03 | 169.954 | 7.5187 | 182.574 | 4.962 | 305.353 | 16.37 | 963.122 | 82.1764 | 65.384
2019-05-18 07:30:00 | 0 | 137.369 | 7.0073 | 200.667 | 6.7517 | 182.574 | 3.428 | 309.713 | 16.37 | 963.568 | 82.5857 | 63.0156
2019-05-18 07:45:00 | 5.4567 | 125.337 | 10.0753 | 162.525 | 8.797 | 183.061 | 4.962 | 305.012 | 16.46 | 963.716 | 80.3684 | 58.3358
2019-05-18 08:00:00 | 6.9887 | 146.356 | 8.797 | 184.08 | 8.797 | 183.183 | 4.962 | 330.221 | 16.79 | 963.864 | 79.3451 | 55.4301
2019-05-18 08:15:00 | 6.2227 | 145.991 | 9.564 | 195.576 | 10.0753 | 183.304 | 6.496 | 329.051 | 17.22 | 964.367 | 76.4796 | 49.9009
2019-05-18 08:30:00 | 4.4353 | 134.304 | 8.03 | 197.345 | 9.0527 | 183.325 | 5.9847 | 324.983 | 17.83 | 964.758 | 76.1951 | 43.3341
2019-05-18 08:45:00 | 4.6907 | 132.276 | 8.797 | 185.889 | 7.263 | 183.316 | 5.729 | 312.864 | 17.69 | 965.055 | 76.7369 | 32.9432
2019-05-18 09:00:00 | 0 | 151.036 | 5.9847 | 203.376 | 4.962 | 183.298 | 2.1497 | 331.217 | 18.06 | 965.312 | 73.9332 | 24.5781
2019-05-18 09:15:00 | 0 | 153.051 | 7.0073 | 194.651 | 4.962 | 183.291 | 3.428 | 321.343 | 18.53 | 965.362 | 71.3385 | 18.8807
2019-05-18 09:30:00 | 0 | 139.525 | 5.9847 | 194.071 | 3.9393 | 183.298 | 0.37567 | 324.746 | 18.87 | 965.947 | 72.4572 | 14.7905
2019-05-18 09:45:00 | 0 | 146.452 | 7.0073 | 190.914 | 6.496 | 183.284 | 3.308 | 330.563 | 19.23 | 966.392 | 71.7355 | 16.9926
2019-05-18 10:00:00 | 0 | 160.912 | 5.9847 | 205.861 | 8.03 | 183.308 | 1.5183 | 323.99 | 19.31 | 966.243 | 69.6557 | 15.862
2019-05-18 10:15:00 | 0 | 135.367 | 5.2177 | 186.495 | 4.7063 | 183.322 | 1.007 | 326.357 | 19.91 | 966.54 | 68.1515 | 12.0563
2019-05-18 10:30:00 | 0 | 136.303 | 6.2403 | 215.366 | 5.2177 | 183.328 | 3.1723 | 323.282 | 19.97 | 966.392 | 67.2244 | 11.1437
2019-05-18 10:45:00 | 0 | 156.771 | 5.4733 | 221.01 | 5.2177 | 183.326 | 4.075 | 329.996 | 20.34 | 966.392 | 65.7918 | 9.9391
2019-05-18 11:00:00 | 0.372 | 144.877 | 7.0073 | 194.394 | 6.7517 | 183.311 | 2.1497 | 319.084 | 20.27 | 966.392 | 66.5453 | 7.8959
2019-05-18 11:15:00 | 0 | 144.869 | 5.729 | 194.15 | 5.2177 | 183.307 | 0 | 325.741 | 20.42 | 966.392 | 66.3481 | 8.2173
2019-05-18 11:30:00 | 0 | 129.332 | 4.962 | 209.696 | 6.496 | 183.299 | 1.127 | 330.717 | 20.83 | 966.688 | 65.4588 | 8.6755
2019-05-18 11:45:00 | 0 | 136.23 | 5.4733 | 196.77 | 5.4733 | 183.279 | 4.4507 | 322.113 | 20.77 | 966.688 | 66.747 | 12.0046
2019-05-18 12:00:00 | 0 | 140.975 | 5.729 | 200.419 | 5.4733 | 183.325 | 4.7063 | 323.789 | 20.93 | 966.54 | 66.7462 | 16.3977
2019-05-18 12:15:00 | 0 | 144.724 | 6.496 | 201.004 | 7.0073 | 183.278 | 1.2627 | 323.572 | 20.49 | 966.243 | 67.7694 | 13.2165
2019-05-18 12:30:00 | 0 | 149.84 | 7.263 | 203.081 | 7.7743 | 183.284 | 2.0297 | 327.697 | 20.79 | 966.243 | 64.8741 | 13.5157
2019-05-18 12:45:00 | 0.62733 | 148.232 | 9.0527 | 207.118 | 8.03 | 183.33 | 3.428 | 325.477 | 21.18 | 965.947 | 65.9298 | 10.7224
2019-05-18 13:00:00 | 3.1587 | 131.459 | 8.03 | 189.42 | 6.496 | 183.279 | 4.4507 | 307.241 | 21.06 | 965.798 | 65.8266 | 12.6918
2019-05-18 13:15:00 | 0 | 147.308 | 4.4507 | 199.258 | 3.6837 | 183.331 | 5.2177 | 339.937 | 20.95 | 965.798 | 65.7939 | 12.2078
2019-05-18 13:30:00 | 0 | 149.007 | 4.4507 | 202.489 | 4.195 | 183.326 | 0 | 333.624 | 21.68 | 965.798 | 63.5422 | 11.9048
2019-05-18 13:45:00 | 0 | 121.357 | 4.7063 | 168.704 | 3.428 | 183.325 | 4.4507 | 318.264 | 21.38 | 966.243 | 63.1328 | 8.9785
2019-05-18 14:00:00 | 0 | 139.027 | 4.4507 | 162.157 | 2.661 | 183.325 | 0 | 319.359 | 21.86 | 966.392 | 60.2352 | 7.8774
2019-05-18 14:15:00 | 0 | 126.784 | 4.7063 | 179.996 | 4.7063 | 183.324 | 1.5183 | 313.929 | 21.86 | 966.243 | 60.9506 | 7.1384
2019-05-18 14:30:00 | 0 | 148.664 | 6.496 | 208.789 | 6.496 | 183.324 | 4.7063 | 330.528 | 22.19 | 966.228 | 59.5188 | 7.2899
2019-05-18 14:45:00 | 0 | 138.079 | 5.729 | 203.399 | 4.195 | 183.294 | 0.63133 | 325.584 | 22.28 | 965.769 | 59.2367 | 8.0178
2019-05-18 15:00:00 | 0 | 137.957 | 4.7063 | 181.278 | 4.7063 | 183.294 | 5.4733 | 327.7 | 22.51 | 965.949 | 58.0096 | 7.3306
2019-05-18 15:15:00 | 0 | 154.578 | 4.7063 | 202.717 | 3.6837 | 183.343 | 0 | 330.085 | 22.77 | 965.801 | 58.4867 | 7.3527
2019-05-18 15:30:00 | 0 | 148.324 | 7.263 | 198.653 | 8.03 | 183.294 | 4.7063 | 330.328 | 22.73 | 964.911 | 57.0893 | 9.8763
2019-05-18 15:45:00 | 3.414 | 137.884 | 6.2403 | 205.978 | 5.2177 | 183.294 | 1.6383 | 318.745 | 22.71 | 964.92 | 56.3054 | 14.6833
2019-05-18 16:00:00 | 2.7867 | 168.72 | 7.5187 | 236.767 | 6.496 | 183.346 | 0 | 2.5309 | 22.64 | 964.586 | 58.3514 | 16.9187
2019-05-18 16:15:00 | 0 | 189.19 | 6.2403 | 230.915 | 8.03 | 183.348 | 2.7967 | 6.7177 | 22.61 | 964.013 | 59.4508 | 16.3312
2019-05-18 16:30:00 | 0 | 178.628 | 7.0073 | 229.115 | 7.0073 | 183.423 | 0 | 355.6 | 22.46 | 964.018 | 59.1784 | 18.9989
2019-05-18 16:45:00 | 0 | 178.36 | 7.7743 | 225.367 | 8.797 | 183.423 | 3.6837 | 354.919 | 22.43 | 963.425 | 60.4738 | 22.1284
2019-05-18 17:00:00 | 2.276 | 185.648 | 8.2857 | 225.283 | 7.7743 | 183.433 | 5.4733 | 270.476 | 22.01 | 963.573 | 60.2727 | 20.1923
2019-05-18 17:15:00 | 0 | 190.12 | 6.496 | 238.038 | 7.7743 | 183.45 | 0.37567 | 8.3497 | 22.1 | 963.425 | 61.0285 | 17.0369
2019-05-18 17:30:00 | 0 | 180.679 | 6.496 | 225.311 | 6.496 | 183.405 | 0 | 0.73031 | 21.74 | 963.276 | 61.8479 | 15.5368
2019-05-18 17:45:00 | 2.0207 | 178.153 | 8.03 | 224.662 | 7.7743 | 183.411 | 3.9393 | 70.7695 | 21.59 | 963.128 | 62.191 | 15.7844
2019-05-18 18:00:00 | 2.5313 | 190.472 | 6.7517 | 216.026 | 7.7743 | 183.435 | 2.1653 | 1.9722 | 21.4 | 963.128 | 63.0174 | 18.101
2019-05-18 18:15:00 | 0 | 193.346 | 6.496 | 211.109 | 5.729 | 183.436 | 2.1497 | 355.649 | 21.22 | 962.98 | 63.8363 | 16.6231
2019-05-18 18:30:00 | 0 | 185.579 | 5.2177 | 211.28 | 5.2177 | 183.436 | 0 | 356.696 | 21.11 | 962.98 | 63.2907 | 10.2828
2019-05-18 18:45:00 | 0 | 154.292 | 5.729 | 212.473 | 5.9847 | 183.436 | 2.541 | 337.412 | 20.86 | 962.843 | 64.9275 | 11.7939
2019-05-18 19:00:00 | 0 | 151.114 | 6.496 | 205.478 | 5.4733 | 183.426 | 5.2177 | 336.172 | 20.65 | 963.122 | 65.4782 | 10.3086
2019-05-18 19:15:00 | 0 | 131.352 | 5.2177 | 194.78 | 4.195 | 183.439 | 5.729 | 315.522 | 20.57 | 962.977 | 67.461 | 11.0698
2019-05-18 19:30:00 | 0 | 152.273 | 6.7517 | 193.786 | 5.729 | 183.419 | 2.541 | 342.998 | 20.48 | 963.125 | 67.0532 | 14.8865
2019-05-18 19:45:00 | 3.2973 | 151.25 | 6.7517 | 195.758 | 4.7063 | 183.419 | 3.6837 | 331.236 | 20.48 | 963.125 | 69.8499 | 21.7331
2019-05-18 20:00:00 | 0 | 152.687 | 7.7743 | 193.786 | 5.2177 | 183.419 | 5.2177 | 347.99 | 20.05 | 963.125 | 73.0559 | 17.8128
2019-05-18 20:15:00 | 0 | 155.974 | 5.2177 | 247.774 | 4.962 | 183.419 | 0 | 3.8963 | 19.78 | 963.274 | 75.5798 | 13.4086
2019-05-18 20:30:00 | 0 | 172.291 | 5.4733 | 208.374 | 5.9847 | 183.42 | 0.63133 | 348.26 | 19.55 | 963.422 | 77.5926 | 9.3775
2019-05-18 20:45:00 | 0 | 150.53 | 5.4733 | 197.99 | 5.4733 | 183.408 | 5.9847 | 337.25 | 19.23 | 963.422 | 79.3713 | 10.1793
2019-05-18 21:00:00 | 0 | 159.167 | 4.195 | 205.293 | 4.7063 | 183.401 | 0 | 340.546 | 18.96 | 963.57 | 81.0503 | 5.2615
2019-05-18 21:15:00 | 0 | 148.037 | 5.2177 | 199.351 | 5.4733 | 183.402 | 2.9167 | 334.239 | 19.02 | 963.439 | 80.3684 | 5.413
2019-05-18 21:30:00 | 0 | 150.838 | 5.9847 | 189.999 | 5.729 | 183.402 | 5.2177 | 328.248 | 18.93 | 963.862 | 81.2553 | 7.4045
2019-05-18 21:45:00 | 0 | 152.859 | 3.9393 | 210.994 | 3.9393 | 183.402 | 5.9847 | 324.156 | 18.95 | 963.684 | 80.1637 | 8.8011
2019-05-18 22:00:00 | 0 | 146.307 | 4.4507 | 207.73 | 4.195 | 183.402 | 1.6383 | 339.89 | 18.88 | 963.757 | 80.9824 | 12.4812
2019-05-18 22:15:00 | 0 | 152.031 | 5.9847 | 192.337 | 4.195 | 183.402 | 1.007 | 335.579 | 18.92 | 963.795 | 80.4366 | 17.5542
2019-05-18 22:30:00 | 1.7653 | 157.024 | 6.496 | 221.223 | 5.2177 | 183.402 | 0.63133 | 343.275 | 18.92 | 963.961 | 76.1726 | 14.7203
2019-05-18 22:45:00 | 0 | 179.115 | 6.496 | 243.022 | 5.9847 | 183.402 | 3.9393 | 10.6193 | 18.99 | 964.382 | 77.8441 | 8.9157
2019-05-18 23:00:00 | 0 | 140.681 | 4.962 | 189.39 | 5.2177 | 183.402 | 0 | 327.663 | 18.85 | 964.359 | 78.731 | 6.3071
2019-05-18 23:15:00 | 0 | 158.826 | 3.428 | 227.604 | 4.195 | 183.402 | 0 | 337.211 | 18.65 | 964.22 | 78.3217 | 3.8537
2019-05-18 23:30:00 | 0 | 183.061 | 3.428 | 243.679 | 4.7063 | 183.402 | 0 | 356.817 | 18.68 | 964.538 | 77.1619 | 2.1837
2019-05-18 23:45:00 | 0 | 174.244 | 4.4507 | 225.948 | 5.2177 | 183.402 | 0 | 355.161 | 18.61 | 964.404 | 78.3899 | 0.70571