## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-19 00:00:00 | 0 | 159.825 | 4.195 | 219.031 | 3.6837 | 183.402 | 0 | 344.371 | 18.56 | 964.439 | 79.038 | 0.33993
2019-05-19 00:15:00 | 0 | 170.493 | 4.7063 | 216.79 | 4.195 | 183.402 | 0 | 352.628 | 18.48 | 964.161 | 80.7095 | 1.2415
2019-05-19 00:30:00 | 0 | 154.613 | 3.1723 | 200.861 | 3.428 | 183.402 | 0 | 337.917 | 18.38 | 964.161 | 81.9376 | 1.0124
2019-05-19 00:45:00 | 0 | 167.57 | 4.7063 | 221.881 | 4.4507 | 183.377 | 5.4733 | 352.823 | 18.1 | 963.864 | 83.3703 | 2.7268
2019-05-19 01:00:00 | 0 | 154.467 | 4.4507 | 198.718 | 3.6837 | 183.377 | 0.37567 | 343.86 | 18.12 | 963.568 | 82.4834 | 6.684
2019-05-19 01:15:00 | 0 | 159.313 | 6.2403 | 205.903 | 5.9847 | 183.353 | 3.1723 | 345.126 | 17.92 | 963.271 | 84.6665 | 11.0919
2019-05-19 01:30:00 | 0 | 155.222 | 5.2177 | 206.561 | 4.962 | 183.353 | 0 | 330.927 | 17.61 | 962.677 | 85.7581 | 14.7092
2019-05-19 01:45:00 | 0 | 170.054 | 6.496 | 209.678 | 4.7063 | 183.377 | 3.428 | 341.936 | 17.53 | 962.825 | 86.2357 | 12.4147
2019-05-19 02:00:00 | 2.276 | 158.926 | 5.2177 | 221.081 | 4.7063 | 183.356 | 4.4507 | 332.15 | 17.54 | 962.38 | 86.4418 | 14.7092
2019-05-19 02:15:00 | 1.2547 | 158.609 | 5.2177 | 197.454 | 3.9393 | 183.355 | 4.4507 | 38.3127 | 17.57 | 962.677 | 85.691 | 7.4488
2019-05-19 02:30:00 | 0 | 181.506 | 5.729 | 234.844 | 5.9847 | 183.357 | 0.37567 | 5.8456 | 17.68 | 963.271 | 84.5661 | 8.9341
2019-05-19 02:45:00 | 0.62733 | 175.564 | 5.9847 | 219.233 | 5.2177 | 183.359 | 0.887 | 6.4302 | 17.57 | 963.122 | 85.829 | 9.6398
2019-05-19 03:00:00 | 0 | 176.976 | 5.9847 | 225.394 | 5.9847 | 183.357 | 0 | 0.19485 | 17.39 | 963.122 | 86.7835 | 7.5523
2019-05-19 03:15:00 | 0 | 185.646 | 4.195 | 223.347 | 3.428 | 183.357 | 0 | 8.3787 | 17.26 | 963.419 | 88.4889 | 7.3195
2019-05-19 03:30:00 | 0 | 180.437 | 4.7063 | 221.281 | 3.9393 | 183.36 | 1.007 | 2.8254 | 17.11 | 962.825 | 89.1729 | 7.955
2019-05-19 03:45:00 | 0 | 164.795 | 4.7063 | 214.161 | 4.7063 | 183.354 | 2.661 | 6.7954 | 17.11 | 962.825 | 88.556 | 8.5794
2019-05-19 04:00:00 | 0 | 172.467 | 7.7743 | 214.648 | 7.7743 | 183.354 | 1.007 | 0.82811 | 17.11 | 962.38 | 87.9417 | 10.97
2019-05-19 04:15:00 | 6.2227 | 170.5 | 8.2857 | 210.248 | 9.0527 | 183.361 | 2.661 | 354.47 | 17.04 | 962.083 | 87.9451 | 17.5838
2019-05-19 04:30:00 | 10.308 | 177.128 | 8.2857 | 221.894 | 8.03 | 183.339 | 1.6383 | 0.19486 | 16.75 | 962.083 | 89.2426 | 17.4286
2019-05-19 04:45:00 | 5.712 | 175.578 | 9.8197 | 219.739 | 9.8197 | 183.324 | 0.37567 | 356.759 | 16.59 | 962.083 | 89.9296 | 15.6218
2019-05-19 05:00:00 | 0 | 173.159 | 7.0073 | 231.042 | 7.263 | 183.342 | 0 | 356.793 | 16.4 | 962.38 | 90.8937 | 12.1967
2019-05-19 05:15:00 | 0 | 184.334 | 6.7517 | 230.797 | 5.2177 | 183.311 | 1.894 | 4.9458 | 16.24 | 962.974 | 92.4719 | 9.3849
2019-05-19 05:30:00 | 0 | 166.04 | 5.729 | 209.362 | 6.2403 | 183.29 | 1.894 | 1.2182 | 16.19 | 962.677 | 93.4976 | 16.08
2019-05-19 05:45:00 | 0 | 151.586 | 7.0073 | 201.312 | 6.496 | 183.282 | 0.37567 | 342.542 | 16.13 | 962.974 | 92.811 | 14.4801
2019-05-19 06:00:00 | 0 | 173.536 | 7.0073 | 215.75 | 6.496 | 183.329 | 0 | 0.19487 | 16.4 | 963.271 | 87.3049 | 17.9015
2019-05-19 06:15:00 | 0 | 174.445 | 6.496 | 214.07 | 6.496 | 183.359 | 4.7063 | 356.391 | 16.47 | 963.271 | 85.4882 | 15.1895
2019-05-19 06:30:00 | 0 | 167.571 | 5.729 | 201.91 | 5.2177 | 183.354 | 3.6837 | 322.087 | 16.72 | 963.716 | 83.5071 | 17.2586
2019-05-19 06:45:00 | 0 | 150.034 | 7.7743 | 198.426 | 7.5187 | 183.353 | 2.661 | 336.748 | 16.8 | 963.538 | 82.6199 | 21.8402
2019-05-19 07:00:00 | 1.7653 | 164.867 | 7.7743 | 213.234 | 8.2857 | 183.402 | 5.729 | 341.522 | 17 | 963.158 | 83.7797 | 22.9967
2019-05-19 07:15:00 | 0 | 153.833 | 6.496 | 195.566 | 6.2403 | 183.373 | 5.2177 | 337.449 | 16.99 | 963.274 | 83.0842 | 12.8285
2019-05-19 07:30:00 | 0 | 176.552 | 4.962 | 215.338 | 4.962 | 183.419 | 3.5637 | 60.8556 | 17.92 | 963.868 | 78.1037 | 5.3132
2019-05-19 07:45:00 | 0 | 186.95 | 5.9847 | 230.987 | 5.4733 | 183.444 | 3.6837 | 25.201 | 18.27 | 964.289 | 77.4796 | 5.9413
2019-05-19 08:00:00 | 0 | 191.861 | 4.4507 | 236.285 | 3.1723 | 183.437 | 0 | 355.527 | 18.66 | 964.188 | 76.0443 | 2.7231
2019-05-19 08:15:00 | 0 | 175.694 | 5.9847 | 233.826 | 6.2403 | 183.437 | 1.2627 | 9.7878 | 18.74 | 964.612 | 76.9992 | 1.9102
2019-05-19 08:30:00 | 0 | 213.579 | 3.9393 | 246.317 | 5.4733 | 183.437 | 0 | 33.6974 | 18.67 | 964.612 | 75.9761 | 4.2158
2019-05-19 08:45:00 | 0 | 183.096 | 4.7063 | 208.431 | 3.428 | 183.437 | 0 | 25.1513 | 19.31 | 964.464 | 74.6803 | 8.0511
2019-05-19 09:00:00 | 0 | 223.489 | 3.428 | 232.536 | 5.2177 | 183.437 | 5.2177 | 50.4244 | 19.51 | 964.484 | 70.7588 | 8.9415
2019-05-19 09:15:00 | 0 | 171.701 | 4.7063 | 219.997 | 2.9167 | 183.437 | 0 | 95.3704 | 19.71 | 964.464 | 71.4067 | 7.9107
2019-05-19 09:30:00 | 0 | 220.37 | 6.496 | 247.605 | 4.962 | 183.435 | 0 | 45.384 | 20.35 | 964.612 | 67.996 | 7.6853
2019-05-19 09:45:00 | 0 | 199.545 | 5.2177 | 236.753 | 4.4507 | 183.406 | 1.774 | 12.6587 | 20.89 | 964.464 | 68.3942 | 4.7811
2019-05-19 10:00:00 | 0 | 268.151 | 5.4733 | 297.147 | 4.4507 | 183.424 | 0.37567 | 61.5309 | 20.72 | 965.057 | 68.4513 | 5.8415
2019-05-19 10:15:00 | 0 | 245.196 | 3.428 | 286.946 | 4.962 | 183.423 | 1.007 | 66.885 | 20.86 | 965.353 | 66.678 | 1.8326
2019-05-19 10:30:00 | 0 | 313.378 | 3.1723 | 335.066 | 1.6383 | 183.398 | 0 | 118.225 | 21.57 | 965.231 | 63.3969 | 5.4942
2019-05-19 10:45:00 | 0 | 285.795 | 6.2403 | 324.978 | 6.496 | 183.683 | 2.661 | 111.918 | 22.27 | 965.359 | 60.225 | 11.8383
2019-05-19 11:00:00 | 0 | 331.497 | 4.195 | 17.1845 | 3.6837 | 183.683 | 5.4733 | 128.223 | 21.83 | 965.356 | 61.486 | 19.0026
2019-05-19 11:15:00 | 0.372 | 303.242 | 6.496 | 336.39 | 4.195 | 183.731 | 4.195 | 136.107 | 22.1 | 965.356 | 61.9288 | 33.3038
2019-05-19 11:30:00 | 4.6907 | 315.775 | 9.3083 | 330.088 | 6.496 | 185.849 | 1.894 | 126.763 | 23.23 | 965.652 | 49.7272 | 41.8835
2019-05-19 11:45:00 | 3.414 | 304.963 | 12.3763 | 14.7194 | 8.03 | 352.586 | 1.5183 | 126.735 | 23.57 | 965.652 | 50.987 | 42.0597
2019-05-19 12:00:00 | 0.372 | 300.298 | 9.564 | 19.3186 | 8.797 | 351.208 | 0.75133 | 120.801 | 22.52 | 965.504 | 53.7491 | 44.3381
2019-05-19 12:15:00 | 2.5313 | 320.107 | 7.7743 | 6.8906 | 5.2177 | 352.571 | 1.3827 | 133.309 | 22.73 | 965.356 | 54.942 | 42.4744
2019-05-19 12:30:00 | 2.1373 | 322.006 | 5.4733 | 3.598 | 6.7517 | 352.133 | 1.3827 | 126.739 | 23.37 | 965.783 | 47.7505 | 43.1041
2019-05-19 12:45:00 | 8.2653 | 0.4137 | 6.496 | 42.4446 | 5.4733 | 0.14601 | 3.9393 | 159.664 | 23.38 | 965.319 | 46.5576 | 48.4431
2019-05-19 13:00:00 | 3.414 | 310.86 | 10.0753 | 15.7656 | 8.797 | 7.471 | 3.9393 | 127.323 | 23.85 | 966.079 | 42.7403 | 54.0064
2019-05-19 13:15:00 | 3.1587 | 308.378 | 11.098 | 15.6683 | 9.3083 | 357 | 4.7063 | 135.086 | 24.29 | 966.134 | 41.7859 | 53.4127
2019-05-19 13:30:00 | 2.3927 | 324.585 | 10.0753 | 7.28 | 10.5867 | 354.518 | 3.428 | 141.583 | 24 | 965.989 | 35.3783 | 72.2599
2019-05-19 13:45:00 | 3.6693 | 329.915 | 9.8197 | 15.3836 | 11.6093 | 348.483 | 3.428 | 139.782 | 23.85 | 966.277 | 31.7655 | 68.4987
2019-05-19 14:00:00 | 1.882 | 337.532 | 9.8197 | 39.7433 | 7.263 | 346.73 | 3.1723 | 155.211 | 24.07 | 966.113 | 23.3129 | 78.0647
2019-05-19 14:15:00 | 2.1373 | 345.246 | 5.2177 | 35.363 | 2.9167 | 336.144 | 4.7063 | 182.856 | 23.9 | 966.258 | 23.8923 | 70.3129
2019-05-19 14:30:00 | 3.042 | 291.635 | 5.2177 | 334.542 | 7.7743 | 352.23 | 2.9167 | 121.093 | 24.09 | 966.245 | 18.8821 | 69.7724
2019-05-19 14:45:00 | 0.62733 | 336.363 | 10.0753 | 29.1331 | 7.5187 | 344.954 | 0.75133 | 156.184 | 23.71 | 966.542 | 20.1431 | 62.9924
2019-05-19 15:00:00 | 1.2547 | 333.103 | 4.7063 | 2.5029 | 4.962 | 0.87607 | 4.195 | 178.257 | 23.62 | 966.839 | 21.0293 | 61.0721
2019-05-19 15:15:00 | 0 | 301.758 | 6.7517 | 334.006 | 3.9393 | 353.811 | 0 | 138.03 | 23.57 | 966.542 | 21.336 | 49.8161
2019-05-19 15:30:00 | 7.4993 | 329.987 | 5.729 | 2.8752 | 5.9847 | 5.6945 | 2.4053 | 128.052 | 23.38 | 966.542 | 25.017 | 52.5177
2019-05-19 15:45:00 | 2.648 | 341.79 | 7.7743 | 15.6683 | 9.3083 | 0.048671 | 3.6837 | 163.485 | 23.09 | 966.69 | 21.4724 | 50.8928
2019-05-19 16:00:00 | 4.4353 | 331.642 | 7.7743 | 18.9366 | 6.2403 | 5.9865 | 3.6837 | 164.994 | 22.95 | 965.542 | 23.0061 | 55.6591
2019-05-19 16:15:00 | 0 | 332.408 | 5.729 | 7.6459 | 4.962 | 11.3893 | 4.7063 | 141.71 | 22.79 | 966.214 | 19.4962 | 65.1037
2019-05-19 16:30:00 | 0 | 317.188 | 4.962 | 3.9741 | 6.2403 | 337.17 | 0.75133 | 134.376 | 22.61 | 966.379 | 19.8394 | 53.6418
2019-05-19 16:45:00 | 1.51 | 344.526 | 6.7517 | 19.8438 | 5.729 | 0.38943 | 1.007 | 167.845 | 22.31 | 966.538 | 19.4989 | 39.0989
2019-05-19 17:00:00 | 0 | 335.253 | 4.195 | 15.7304 | 3.428 | 355.503 | 1.6383 | 146.402 | 22.33 | 966.389 | 19.3625 | 30.0132
2019-05-19 17:15:00 | 0 | 52.476 | 3.1723 | 97.3408 | 0.75133 | 1.5577 | 2.7967 | 193.451 | 22.27 | 966.688 | 20.9306 | 26.7285
2019-05-19 17:30:00 | 0 | 355.406 | 4.4507 | 20.4766 | 3.428 | 30.9355 | 2.661 | 160.86 | 22.24 | 966.538 | 20.6579 | 27.0204
2019-05-19 17:45:00 | 3.414 | 333.768 | 6.2403 | 20.9634 | 3.9393 | 323.253 | 2.4053 | 151.927 | 22.04 | 966.688 | 21.2715 | 26.5253
2019-05-19 18:00:00 | 0 | 324.5 | 5.4733 | 55.2833 | 5.2177 | 334.721 | 1.2627 | 124.425 | 21.83 | 966.837 | 23.1809 | 22.1765
2019-05-19 18:15:00 | 0 | 337.521 | 6.496 | 46.7495 | 6.2403 | 341.44 | 0 | 177.147 | 21.51 | 966.243 | 22.2976 | 27.6306
2019-05-19 18:30:00 | 0 | 330.2 | 4.195 | 18.8772 | 2.661 | 16.2617 | 0 | 147.037 | 21.38 | 966.391 | 23.662 | 27.704
2019-05-19 18:45:00 | 0 | 308.387 | 4.962 | 5.8084 | 4.962 | 26.8311 | 5.2177 | 147.108 | 21 | 966.243 | 20.4601 | 30.0834
2019-05-19 19:00:00 | 0 | 342.623 | 4.7063 | 41.4539 | 4.962 | 23.5687 | 0.37567 | 173.77 | 20.9 | 966.262 | 23.1884 | 39.0323
2019-05-19 19:15:00 | 0.372 | 298.812 | 5.729 | 55.4822 | 4.195 | 16.6548 | 0.37567 | 143.197 | 20.54 | 966.501 | 23.1896 | 47.2829
2019-05-19 19:30:00 | 9.2867 | 343.142 | 8.797 | 25.0509 | 7.5187 | 22.5985 | 2.4053 | 147.353 | 20.45 | 967.132 | 24.4882 | 64.0933
2019-05-19 19:45:00 | 7.7547 | 335.132 | 4.195 | 54.0544 | 4.7063 | 18.0692 | 4.962 | 152.76 | 19.93 | 967.28 | 26.8076 | 72.7515
2019-05-19 20:00:00 | 2.1373 | 343.826 | 7.263 | 36.2531 | 7.5187 | 53.8666 | 4.962 | 156.559 | 19.58 | 967.132 | 25.2387 | 77.7941
2019-05-19 20:15:00 | 6.478 | 341.725 | 11.3537 | 56.4937 | 9.3083 | 7.5982 | 4.962 | 156.762 | 19.23 | 967.577 | 25.8882 | 80.071
2019-05-19 20:30:00 | 4.6907 | 329.026 | 9.8197 | 16.7606 | 8.2857 | 354.356 | 0.887 | 157.291 | 18.79 | 968.34 | 24.6972 | 75.7222
2019-05-19 20:45:00 | 4.946 | 347.635 | 9.564 | 52.0211 | 9.3083 | 349.194 | 3.1723 | 177.897 | 18.57 | 968.361 | 24.2879 | 72.5335
2019-05-19 21:00:00 | 7.244 | 355.112 | 8.2857 | 48.7086 | 4.4507 | 7.5017 | 5.2177 | 168.155 | 18.32 | 968.298 | 25.9594 | 76.1575
2019-05-19 21:15:00 | 8.5207 | 352.263 | 9.3083 | 64.8568 | 6.7517 | 13.9561 | 5.2177 | 141.387 | 17.9 | 968.614 | 26.9487 | 75.6557
2019-05-19 21:30:00 | 4.6907 | 2.874 | 5.729 | 91.7946 | 5.729 | 307.228 | 4.7063 | 174.658 | 17.39 | 968.763 | 26.1982 | 71.8367
2019-05-19 21:45:00 | 4.6907 | 336.804 | 8.797 | 95.8403 | 6.2403 | 308.404 | 5.4733 | 163.555 | 17.25 | 968.763 | 26.5399 | 67.9123
2019-05-19 22:00:00 | 9.0313 | 348.889 | 10.0753 | 81.4711 | 5.9847 | 316.397 | 4.962 | 173.032 | 17.15 | 968.614 | 25.7215 | 67.9899
2019-05-19 22:15:00 | 3.9247 | 341.154 | 6.7517 | 59.0895 | 5.729 | 317.722 | 5.729 | 138.133 | 17.12 | 968.911 | 24.6306 | 66.5109
2019-05-19 22:30:00 | 4.4353 | 329.534 | 9.8197 | 16.439 | 8.03 | 323.737 | 3.1723 | 169.212 | 17.02 | 968.763 | 22.8225 | 63.1254
2019-05-19 22:45:00 | 6.2227 | 312.652 | 6.7517 | 103.088 | 5.4733 | 323.565 | 4.962 | 161.039 | 16.82 | 968.763 | 23.5405 | 61.2458
2019-05-19 23:00:00 | 5.712 | 337.441 | 9.3083 | 34.5958 | 6.496 | 323.482 | 3.9393 | 153.409 | 16.51 | 968.911 | 23.4751 | 64.8224
2019-05-19 23:15:00 | 5.4567 | 339.128 | 11.3537 | 24.8549 | 9.564 | 325.898 | 2.4053 | 138.755 | 16.22 | 968.614 | 22.4535 | 66.1082
2019-05-19 23:30:00 | 4.18 | 345.756 | 9.0527 | 30.9948 | 6.7517 | 325.874 | 3.6837 | 162.584 | 15.95 | 969.06 | 23.136 | 68.0849
2019-05-19 23:45:00 | 6.478 | 315.446 | 4.4507 | 65.641 | 5.729 | 325.85 | 4.962 | 169.723 | 15.69 | 968.763 | 22.3853 | 72.0769