## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-20 00:00:00 | 3.1587 | 323.56 | 4.7063 | 19.0806 | 7.0073 | 326.63 | 4.195 | 187.874 | 15.62 | 968.911 | 22.2488 | 77.8319
2019-05-20 00:15:00 | 6.9887 | 343.49 | 8.797 | 87.1061 | 8.03 | 326.435 | 3.6837 | 174.888 | 15.33 | 968.633 | 22.317 | 74.296
2019-05-20 00:30:00 | 4.4353 | 28.9454 | 9.3083 | 38.6462 | 7.0073 | 330.387 | 4.4507 | 140.634 | 14.76 | 968.632 | 23.2729 | 81.475
2019-05-20 00:45:00 | 5.9673 | 350.129 | 5.2177 | 39.4554 | 5.2177 | 352.103 | 3.428 | 156.412 | 14.43 | 968.611 | 22.1146 | 83.9949
2019-05-20 01:00:00 | 9.2867 | 19.0319 | 4.4507 | 113.369 | 5.2177 | 336.433 | 4.7063 | 146.236 | 14.48 | 968.613 | 22.628 | 86.9656
2019-05-20 01:15:00 | 5.9673 | 335.452 | 9.564 | 11.1787 | 7.263 | 1.389 | 4.962 | 167.312 | 15.03 | 968.613 | 18.9075 | 84.2942
2019-05-20 01:30:00 | 5.4567 | 342.403 | 9.3083 | 32.0513 | 7.0073 | 350.201 | 5.2177 | 169.289 | 14.88 | 968.91 | 18.9761 | 81.8039
2019-05-20 01:45:00 | 5.712 | 330.093 | 8.03 | 32.8548 | 7.263 | 308.892 | 4.195 | 147.745 | 14.89 | 968.613 | 18.2933 | 80.4553
2019-05-20 02:00:00 | 5.2013 | 322.64 | 12.1207 | 6.8055 | 5.729 | 354.124 | 2.4053 | 141.265 | 15.29 | 969.059 | 17.4061 | 79.6387
2019-05-20 02:15:00 | 7.244 | 343.05 | 4.7063 | 17.5995 | 11.098 | 323.36 | 5.9847 | 158.78 | 15.12 | 968.91 | 17.269 | 77.9465
2019-05-20 02:30:00 | 5.4567 | 300.288 | 7.263 | 33.9021 | 7.5187 | 29.7534 | 4.962 | 127.079 | 15.08 | 968.613 | 17.4058 | 74.0579
2019-05-20 02:45:00 | 6.7333 | 333.671 | 12.3763 | 13.701 | 7.263 | 331.259 | 2.661 | 145.745 | 15.01 | 968.91 | 17.6105 | 69.0028
2019-05-20 03:00:00 | 5.2013 | 322.42 | 9.3083 | 43.0657 | 6.7517 | 13.5245 | 4.962 | 142.848 | 14.84 | 968.762 | 17.8839 | 64.3494
2019-05-20 03:15:00 | 5.2013 | 326.685 | 9.3083 | 0.23707 | 8.03 | 323.103 | 3.428 | 163.05 | 14.82 | 968.613 | 16.9966 | 52.5718
2019-05-20 03:30:00 | 3.6693 | 334.063 | 6.496 | 12.6777 | 5.729 | 18.3736 | 5.729 | 116.456 | 14.8 | 968.316 | 18.1567 | 38.7405
2019-05-20 03:45:00 | 3.9247 | 323.859 | 6.2403 | 1.6748 | 5.9847 | 315.988 | 1.894 | 146.601 | 14.34 | 968.316 | 19.6587 | 38.5964
2019-05-20 04:00:00 | 3.414 | 293.642 | 5.4733 | 13.4448 | 4.195 | 329.902 | 2.1497 | 143.214 | 14.1 | 968.019 | 19.0444 | 33.5972
2019-05-20 04:15:00 | 0 | 337.839 | 5.9847 | 18.6478 | 6.2403 | 344.175 | 1.007 | 121.085 | 13.85 | 968.019 | 19.5218 | 27.2717
2019-05-20 04:30:00 | 0.372 | 332.773 | 3.6837 | 5.1724 | 4.195 | 307.259 | 0.37567 | 129.054 | 13.89 | 967.871 | 20.2045 | 32.5922
2019-05-20 04:45:00 | 0.372 | 302.998 | 7.5187 | 17.7094 | 5.9847 | 297.345 | 0 | 125.668 | 14.4 | 968.316 | 18.703 | 27.449
2019-05-20 05:00:00 | 0 | 292.423 | 5.729 | 6.7435 | 3.6837 | 288.305 | 0 | 115.434 | 13.86 | 967.871 | 21.0921 | 26.2223
2019-05-20 05:15:00 | 0 | 287.111 | 4.4507 | 319.966 | 2.661 | 279.508 | 0 | 111.535 | 13.58 | 968.019 | 21.9113 | 24.4857
2019-05-20 05:30:00 | 0 | 305.407 | 4.7063 | 7.5966 | 4.7063 | 312.839 | 0 | 119.429 | 13.57 | 968.316 | 20.341 | 16.1132
2019-05-20 05:45:00 | 8.5207 | 300.048 | 5.2177 | 325.47 | 3.6837 | 308.552 | 5.729 | 109.39 | 13.81 | 968.019 | 20.7507 | 15.91
2019-05-20 06:00:00 | 8.5207 | 273.074 | 5.9847 | 326.904 | 6.496 | 292.494 | 1.894 | 99.561 | 13.99 | 968.316 | 20.9537 | 20.5988
2019-05-20 06:15:00 | 2.5313 | 297.271 | 6.2403 | 335.088 | 5.9847 | 293.494 | 1.007 | 113.246 | 13.94 | 968.175 | 20.6108 | 30.1795
2019-05-20 06:30:00 | 0.99933 | 287.13 | 6.2403 | 330.136 | 7.0073 | 297.071 | 3.1723 | 112.513 | 14.26 | 968.615 | 20.8835 | 27.5525
2019-05-20 06:45:00 | 7.4993 | 286.801 | 5.9847 | 335.834 | 4.4507 | 298.834 | 2.9167 | 111.637 | 14.06 | 968.318 | 23.5401 | 27.5187
2019-05-20 07:00:00 | 0 | 292.986 | 7.5187 | 18.3438 | 6.2403 | 311.034 | 0.887 | 107.924 | 14.1 | 968.763 | 24.4931 | 29.3592
2019-05-20 07:15:00 | 1.51 | 297.729 | 7.7743 | 330.412 | 5.4733 | 316.898 | 3.9393 | 111.746 | 14.35 | 968.911 | 22.8552 | 36.7859
2019-05-20 07:30:00 | 1.882 | 294.514 | 6.7517 | 331.264 | 5.9847 | 307.545 | 1.007 | 111.015 | 14.69 | 969.037 | 24.0832 | 32.9754
2019-05-20 07:45:00 | 0 | 308.154 | 7.263 | 13.0585 | 5.2177 | 281.508 | 3.308 | 123.315 | 15.16 | 968.97 | 25.3113 | 30.8298
2019-05-20 08:00:00 | 2.9033 | 295.693 | 7.0073 | 19.6347 | 5.729 | 305.044 | 2.1497 | 115.92 | 15.43 | 969.061 | 24.9668 | 31.1201
2019-05-20 08:15:00 | 2.1373 | 298.799 | 8.797 | 15.3731 | 8.2857 | 319.742 | 2.4053 | 119.958 | 15.75 | 969.506 | 24.2838 | 25.7974
2019-05-20 08:30:00 | 0 | 282.361 | 4.962 | 14.4721 | 5.2177 | 292.126 | 0.75133 | 126.582 | 16.03 | 969.506 | 27.1146 | 32.2856
2019-05-20 08:45:00 | 0 | 296.217 | 7.0073 | 19.7321 | 5.9847 | 300.016 | 1.007 | 118.983 | 16.48 | 969.803 | 25.3069 | 39.1823
2019-05-20 09:00:00 | 1.6267 | 295.388 | 10.331 | 336.842 | 9.8197 | 296.654 | 1.6383 | 114.411 | 17.15 | 970.095 | 19.2328 | 43.2001
2019-05-20 09:15:00 | 1.51 | 303.715 | 7.5187 | 13.7913 | 7.7743 | 317.642 | 0 | 125.489 | 17.3 | 969.508 | 21.5516 | 44.5895
2019-05-20 09:30:00 | 1.882 | 289.812 | 8.2857 | 331.729 | 7.263 | 303.398 | 4.4507 | 116.529 | 18.02 | 969.803 | 21.006 | 44.1751
2019-05-20 09:45:00 | 3.1587 | 326.648 | 8.797 | 336.766 | 7.7743 | 303.274 | 3.428 | 123.93 | 17.71 | 969.952 | 20.392 | 42.8358
2019-05-20 10:00:00 | 3.6693 | 309.714 | 9.3083 | 4.9294 | 8.797 | 320.67 | 3.6837 | 123.559 | 17.87 | 970.1 | 19.0272 | 43.6829
2019-05-20 10:15:00 | 0.99933 | 289.705 | 10.8423 | 19.8539 | 6.7517 | 292.261 | 0.75133 | 113.91 | 18.34 | 970.1 | 16.6391 | 49.7677
2019-05-20 10:30:00 | 3.9247 | 298.339 | 10.331 | 336.79 | 7.5187 | 302.478 | 3.1723 | 123.62 | 18.25 | 970.693 | 16.5364 | 43.9953
2019-05-20 10:45:00 | 0.744 | 301.845 | 7.0073 | 6.1725 | 7.0073 | 309.075 | 5.2177 | 147.648 | 18.33 | 969.952 | 18.4457 | 46.2832
2019-05-20 11:00:00 | 0 | 293.318 | 5.9847 | 336.831 | 5.2177 | 310.261 | 2.9167 | 116.314 | 18.63 | 970.1 | 19.7409 | 44.2788
2019-05-20 11:15:00 | 0.372 | 295.8 | 10.5867 | 336.489 | 8.2857 | 306.803 | 4.195 | 116.046 | 18.66 | 970.248 | 20.9683 | 39.0086
2019-05-20 11:30:00 | 1.6267 | 280.366 | 11.098 | 322.881 | 10.5867 | 286.476 | 1.6383 | 105.652 | 18.76 | 969.803 | 21.6161 | 31.9968
2019-05-20 11:45:00 | 1.6267 | 275.084 | 7.0073 | 310.977 | 8.797 | 265.833 | 5.2177 | 103.582 | 19 | 969.803 | 20.9001 | 46.5445
2019-05-20 12:00:00 | 0 | 294.642 | 5.9847 | 325.255 | 6.7517 | 293.839 | 1.3827 | 114.127 | 19.34 | 969.655 | 18.1391 | 40.2298
2019-05-20 12:15:00 | 1.6267 | 330.546 | 8.2857 | 0.91476 | 7.263 | 308.024 | 3.1723 | 147.402 | 19.66 | 969.507 | 17.0162 | 42.4795
2019-05-20 12:30:00 | 3.6693 | 300.769 | 10.331 | 10.7965 | 7.5187 | 307.586 | 2.2853 | 130.139 | 19.91 | 969.803 | 18.3802 | 48.7039
2019-05-20 12:45:00 | 0.372 | 290.883 | 8.5413 | 10.8243 | 7.5187 | 291.93 | 0 | 156.995 | 20.56 | 969.373 | 17.2549 | 41.1912
2019-05-20 13:00:00 | 16.6913 | 295.047 | 8.797 | 335.77 | 6.496 | 296.337 | 4.4507 | 119.231 | 20.01 | 969.22 | 15.9932 | 43.4529
2019-05-20 13:15:00 | 0 | 306.807 | 6.496 | 0.50086 | 4.4507 | 311.53 | 4.7063 | 122.932 | 20.13 | 968.951 | 16.8457 | 34.0044
2019-05-20 13:30:00 | 0 | 307.586 | 8.03 | 18.1983 | 6.496 | 305.103 | 1.6383 | 123.224 | 20.61 | 969.26 | 17.6641 | 29.4925
2019-05-20 13:45:00 | 0 | 296.946 | 6.496 | 17.4678 | 6.7517 | 300.403 | 0 | 134.984 | 20.45 | 969.66 | 17.9369 | 20.6837
2019-05-20 14:00:00 | 0 | 292.296 | 7.5187 | 332.897 | 7.0073 | 290.956 | 2.541 | 112.463 | 20.6 | 969.952 | 17.2208 | 19.5938
2019-05-20 14:15:00 | 0 | 290.837 | 7.263 | 336.541 | 7.7743 | 294.561 | 0.63133 | 112.688 | 20.73 | 969.655 | 18.0022 | 17.6909
2019-05-20 14:30:00 | 2.0207 | 295.605 | 4.4507 | 10.0921 | 3.428 | 302.592 | 0.37567 | 132.016 | 20.97 | 969.21 | 17.4565 | 22.2467
2019-05-20 14:45:00 | 0.62733 | 277.355 | 7.5187 | 316.793 | 7.7743 | 261.753 | 0.63133 | 110.26 | 21.59 | 969.21 | 17.0789 | 14.6427
2019-05-20 15:00:00 | 0 | 295.823 | 6.496 | 336.866 | 5.729 | 302.443 | 0.37567 | 121.698 | 21.63 | 969.062 | 16.7036 | 15.995
2019-05-20 15:15:00 | 0 | 298.352 | 5.9847 | 18.9291 | 5.2177 | 298.693 | 2.1497 | 126.711 | 21.55 | 968.913 | 17.1125 | 17.1024
2019-05-20 15:30:00 | 0 | 315.268 | 5.4733 | 330.606 | 2.1497 | 268.881 | 3.9393 | 107.548 | 21.32 | 968.814 | 18.2361 | 13.7052
2019-05-20 15:45:00 | 0 | 292.901 | 4.195 | 12.748 | 4.4507 | 281.682 | 1.1427 | 101.649 | 21.61 | 968.637 | 17.5188 | 17.436
2019-05-20 16:00:00 | 0 | 290.662 | 5.4733 | 332.62 | 5.2177 | 289.25 | 1.6383 | 123.04 | 21.33 | 968.544 | 17.7232 | 10.1793
2019-05-20 16:15:00 | 0 | 284.432 | 6.2403 | 322.691 | 5.2177 | 285.576 | 0 | 110.775 | 21.65 | 968.362 | 16.7689 | 9.3775
2019-05-20 16:30:00 | 0 | 263.065 | 5.729 | 309.209 | 5.4733 | 282.436 | 0.63133 | 87.7047 | 21.65 | 968.499 | 16.9053 | 7.0941
2019-05-20 16:45:00 | 0 | 293.874 | 5.9847 | 331.16 | 2.9167 | 290.345 | 0 | 108.706 | 21.73 | 967.907 | 17.2802 | 7.4931
2019-05-20 17:00:00 | 0 | 253.623 | 3.9393 | 303.904 | 2.9167 | 260.048 | 0 | 70.3779 | 21.74 | 967.878 | 16.9734 | 5.025
2019-05-20 17:15:00 | 0 | 253.331 | 4.7063 | 297.552 | 3.9393 | 248.051 | 0 | 73.7362 | 21.62 | 967.728 | 17.6551 | 3.3512
2019-05-20 17:30:00 | 0 | 287.011 | 4.195 | 332.23 | 3.9393 | 291.44 | 0 | 110.677 | 22.06 | 968.025 | 17.4506 | 1.9398
2019-05-20 17:45:00 | 0 | 242.137 | 5.729 | 288.865 | 4.7063 | 248.099 | 0 | 68.4311 | 21.92 | 967.728 | 17.6551 | 0.52097
2019-05-20 18:00:00 | 0 | 262.335 | 3.6837 | 304.293 | 3.9393 | 257.566 | 0 | 87.218 | 21.59 | 967.524 | 17.4506 | -0.29928
2019-05-20 18:15:00 | 0 | 257.786 | 2.1497 | 296.926 | 1.894 | 255.644 | 0 | 86.3504 | 21.54 | 967.353 | 18.2022 | -0.34362
2019-05-20 18:30:00 | 0 | 238.454 | 3.428 | 279.765 | 2.9167 | 234.438 | 0 | 61.6276 | 21.42 | 967.281 | 18.4762 | -0.31406
2019-05-20 18:45:00 | 0 | 222.886 | 3.428 | 264.979 | 3.428 | 224.907 | 0 | 44.6162 | 21.3 | 966.54 | 18.6815 | -0.31037
2019-05-20 19:00:00 | 0 | 212.861 | 3.1723 | 254.328 | 2.4053 | 219.093 | 0 | 45.8634 | 21.24 | 966.243 | 18.1384 | -0.23647
2019-05-20 19:15:00 | 0.99933 | 205.933 | 3.428 | 238.622 | 2.9167 | 210.292 | 0 | 27.0017 | 20.8 | 965.65 | 18.9599 | -0.26972
2019-05-20 19:30:00 | 0 | 199.229 | 2.9167 | 233.821 | 1.894 | 201.907 | 0 | 24.1548 | 20.82 | 966.219 | 19.0296 | -0.27711
2019-05-20 19:45:00 | 0 | 186.609 | 3.1723 | 224.542 | 2.661 | 189.507 | 0.37567 | 8.4258 | 20.6 | 965.945 | 18.8949 | -0.18474
2019-05-20 20:00:00 | 0 | 200.271 | 4.4507 | 242.758 | 3.428 | 201.44 | 2.9167 | 20.3582 | 20.6 | 966.093 | 18.0082 | 0.218
2019-05-20 20:15:00 | 0 | 199.699 | 5.4733 | 241.119 | 5.4733 | 200.43 | 3.9393 | 21.2363 | 20.78 | 965.945 | 18.3504 | 4.4597
2019-05-20 20:30:00 | 0 | 193.904 | 4.195 | 224.95 | 3.9393 | 204.401 | 1.3827 | 15.8786 | 20.69 | 966.538 | 18.9986 | 6.684
2019-05-20 20:45:00 | 0 | 176.766 | 4.962 | 215.705 | 3.9393 | 173.99 | 0 | 4.3838 | 20.07 | 966.39 | 20.6708 | 5.8157
2019-05-20 21:00:00 | 0 | 205.663 | 5.4733 | 249.062 | 3.9393 | 200.11 | 1.894 | 19.9964 | 19.73 | 966.245 | 21.6271 | 6.9241
2019-05-20 21:15:00 | 0 | 182.184 | 3.6837 | 223.854 | 3.1723 | 182.403 | 0 | 12.2998 | 20.01 | 966.627 | 22.787 | 5.1432
2019-05-20 21:30:00 | 0 | 180.942 | 4.7063 | 229.041 | 4.195 | 173.221 | 1.5183 | 9.2553 | 19.6 | 966.752 | 23.3669 | 8.1324
2019-05-20 21:45:00 | 0 | 187.177 | 5.4733 | 230.503 | 4.962 | 183.84 | 0 | 18.121 | 19.52 | 966.879 | 24.0832 | 13.1647
2019-05-20 22:00:00 | 0 | 188.297 | 4.4507 | 225.217 | 4.4507 | 170.517 | 2.4053 | 14.5406 | 19.43 | 966.775 | 25.1066 | 9.3849
2019-05-20 22:15:00 | 0.372 | 183.767 | 5.729 | 224.779 | 4.7063 | 177.313 | 1.3983 | 14.2483 | 19.33 | 966.797 | 25.9935 | 12.4147
2019-05-20 22:30:00 | 0 | 168.082 | 4.7063 | 214.696 | 3.9393 | 162.772 | 3.9393 | 5.7481 | 19.3 | 966.824 | 25.243 | 13.7596
2019-05-20 22:45:00 | 0.372 | 180.284 | 7.0073 | 217.083 | 5.729 | 176.728 | 2.9167 | 2.6792 | 19.36 | 966.671 | 23.6739 | 12.3371
2019-05-20 23:00:00 | 0 | 165.329 | 5.729 | 208.899 | 4.7063 | 158.826 | 3.9393 | 0.19485 | 19.22 | 966.535 | 23.1281 | 15.9359
2019-05-20 23:15:00 | 1.7653 | 168.617 | 6.2403 | 204.856 | 4.7063 | 160.556 | 5.729 | 356.793 | 19.05 | 966.239 | 23.1281 | 17.4323
2019-05-20 23:30:00 | 0 | 159.021 | 6.496 | 204.978 | 4.7063 | 162.699 | 3.1723 | 351.8 | 19.52 | 966.239 | 20.5014 | 21.7848
2019-05-20 23:45:00 | 4.18 | 155.587 | 7.0073 | 199.57 | 5.9847 | 158.047 | 5.2177 | 340.328 | 19.77 | 966.239 | 20.058 | 35.4631