## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-21 00:00:00 | 5.9673 | 130.33 | 7.5187 | 195.674 | 6.496 | 150.229 | 4.4507 | 0.19485 | 19.35 | 966.09 | 21.8318 | 40.1371
2019-05-21 00:15:00 | 3.042 | 151.69 | 6.2403 | 208.558 | 6.2403 | 157.56 | 5.729 | 332.656 | 18.68 | 966.047 | 24.1515 | 45.1251
2019-05-21 00:30:00 | 0.372 | 178.75 | 8.797 | 197.792 | 8.2857 | 160.288 | 3.6837 | 337.259 | 18.59 | 965.646 | 20.8767 | 48.8052
2019-05-21 00:45:00 | 1.7653 | 158.948 | 9.0527 | 206.804 | 9.8197 | 157.365 | 2.4053 | 350.241 | 18.87 | 965.349 | 22.3094 | 48.5872
2019-05-21 01:00:00 | 6.478 | 159.898 | 9.0527 | 207.949 | 8.5413 | 160.385 | 3.308 | 354.796 | 18.94 | 965.646 | 22.5141 | 51.7352
2019-05-21 01:15:00 | 9.2867 | 178.043 | 8.5413 | 204.466 | 9.3083 | 166.401 | 5.9847 | 355.478 | 18.79 | 965.349 | 22.7187 | 54.4103
2019-05-21 01:30:00 | 2.0207 | 170.225 | 7.5187 | 209.118 | 7.5187 | 154.077 | 5.2177 | 356.769 | 18.77 | 965.052 | 22.9916 | 51.7352
2019-05-21 01:45:00 | 12.3507 | 183.645 | 7.7743 | 196.355 | 6.7517 | 186.617 | 7.5187 | 347.659 | 18.77 | 965.2 | 27.358 | 47.0428
2019-05-21 02:00:00 | 8.776 | 187.542 | 9.564 | 225.388 | 10.5867 | 174.901 | 2.661 | 356.793 | 18.49 | 964.755 | 26.1982 | 51.6281
2019-05-21 02:15:00 | 10.0527 | 158.705 | 6.2403 | 208.875 | 7.7743 | 175.413 | 6.2403 | 337.941 | 18.73 | 965.052 | 27.6309 | 51.9902
2019-05-21 02:30:00 | 5.2013 | 145.771 | 7.263 | 193.36 | 7.7743 | 164.063 | 2.1497 | 352.287 | 18.54 | 964.755 | 27.5627 | 51.8461
2019-05-21 02:45:00 | 4.18 | 157.389 | 11.098 | 202.932 | 9.3083 | 156.829 | 4.195 | 1.3883 | 17.74 | 964.458 | 29.0636 | 56.908
2019-05-21 03:00:00 | 7.244 | 167.205 | 11.3537 | 210.579 | 10.0753 | 173.221 | 5.729 | 0.19485 | 17.56 | 964.161 | 29.473 | 53.8856
2019-05-21 03:15:00 | 5.712 | 174.18 | 12.632 | 219.798 | 12.632 | 169.941 | 3.9393 | 0.46279 | 17.52 | 963.864 | 29.8156 | 53.1947
2019-05-21 03:30:00 | 5.2013 | 158.123 | 10.331 | 203.204 | 10.331 | 156.954 | 2.0297 | 349.907 | 17.43 | 963.864 | 30.7016 | 56.5385
2019-05-21 03:45:00 | 3.414 | 156.889 | 8.5413 | 195.909 | 8.5413 | 157.425 | 5.2177 | 342.935 | 17.07 | 963.716 | 31.522 | 59.2781
2019-05-21 04:00:00 | 5.9673 | 154.407 | 11.098 | 198.494 | 10.5867 | 168.827 | 2.1497 | 339.067 | 17.14 | 963.271 | 32.9212 | 62.1879
2019-05-21 04:15:00 | 6.2227 | 153.757 | 9.3083 | 203.158 | 8.2857 | 169.786 | 5.4733 | 354.333 | 16.74 | 963.419 | 33.9123 | 62.321
2019-05-21 04:30:00 | 5.9673 | 155.717 | 11.3537 | 205.342 | 10.5867 | 156.935 | 5.9847 | 342.203 | 16.7 | 962.677 | 34.3242 | 61.5229
2019-05-21 04:45:00 | 4.6907 | 177.807 | 11.6093 | 207.217 | 9.8197 | 148.814 | 6.2403 | 338.73 | 16.13 | 962.677 | 37.3305 | 60.1299
2019-05-21 05:00:00 | 5.4567 | 154.471 | 9.8197 | 198.646 | 8.797 | 157.443 | 6.2403 | 342.442 | 15.75 | 962.677 | 39.0377 | 58.5855
2019-05-21 05:15:00 | 4.946 | 153.106 | 11.098 | 201.521 | 9.564 | 158.003 | 6.2403 | 341.736 | 15.43 | 962.677 | 41.1534 | 59.9563
2019-05-21 05:30:00 | 1.882 | 151.644 | 10.5867 | 200.815 | 9.3083 | 162.048 | 4.7063 | 343.855 | 15.34 | 962.677 | 41.2899 | 57.8169
2019-05-21 05:45:00 | 5.2013 | 152.716 | 8.03 | 195.187 | 8.03 | 153.277 | 5.9847 | 330.406 | 15.38 | 962.677 | 41.0169 | 48.1882
2019-05-21 06:00:00 | 4.946 | 155.589 | 7.5187 | 212.214 | 7.7743 | 171.938 | 2.0297 | 337.053 | 15.66 | 963.271 | 40.8798 | 41.3934
2019-05-21 06:15:00 | 8.01 | 142.6 | 9.3083 | 197.165 | 9.3083 | 155.706 | 5.2177 | 326.124 | 15.61 | 963.271 | 40.292 | 33.9445
2019-05-21 06:30:00 | 6.2227 | 141.392 | 8.797 | 192.32 | 9.564 | 149.528 | 0.63133 | 325.264 | 15.81 | 963.568 | 40.2539 | 30.5268
2019-05-21 06:45:00 | 1.7653 | 148.11 | 7.263 | 181.303 | 5.729 | 156.927 | 5.729 | 346.052 | 15.82 | 963.864 | 41.8216 | 24.035
2019-05-21 07:00:00 | 0.372 | 162.48 | 6.7517 | 207.462 | 6.2403 | 170.858 | 5.9847 | 340.353 | 16.13 | 963.795 | 39.9113 | 22.7233
2019-05-21 07:15:00 | 0 | 142.069 | 7.5187 | 189.804 | 7.263 | 162.114 | 4.4507 | 336.163 | 16.48 | 964.03 | 40.0478 | 19.3905
2019-05-21 07:30:00 | 0 | 164.012 | 5.9847 | 205.89 | 5.9847 | 142.947 | 5.4733 | 349.283 | 16.73 | 964.164 | 39.5296 | 13.8224
2019-05-21 07:45:00 | 0 | 159.008 | 5.4733 | 203.147 | 5.729 | 156.719 | 5.9847 | 353.617 | 17.12 | 964.609 | 39.2198 | 11.3912
2019-05-21 08:00:00 | 0 | 142.971 | 4.4507 | 192.411 | 4.195 | 159.819 | 0 | 330.936 | 17.47 | 964.538 | 37.9199 | 7.5412
2019-05-21 08:15:00 | 0 | 154.607 | 2.4053 | 201.514 | 3.6837 | 147.789 | 0 | 356.399 | 18.2 | 965.057 | 36.6235 | 4.637
2019-05-21 08:30:00 | 0 | 194.773 | 1.894 | 196.61 | 2.1497 | 138.272 | 0 | 35.5417 | 19.02 | 965.057 | 33.6856 | 1.4151
2019-05-21 08:45:00 | 0 | 138.76 | 3.1723 | 175.593 | 2.661 | 125.3 | 0 | 355.772 | 20.38 | 965.798 | 28.5666 | 3.1369
2019-05-21 09:00:00 | 0 | 142.922 | 1.894 | 186.486 | 1.894 | 153.994 | 0 | 331.107 | 21.16 | 965.807 | 30.9816 | 1.0013
2019-05-21 09:15:00 | 0 | 169.071 | 3.428 | 216.524 | 1.6383 | 169.071 | 0 | 7.0081 | 21.48 | 965.801 | 28.0486 | 1.053
2019-05-21 09:30:00 | 0 | 191.974 | 3.9393 | 250.161 | 3.9393 | 207.281 | 0 | 77.2862 | 22.89 | 965.652 | 22.0169 | 0.025864
2019-05-21 09:45:00 | 0 | 284.827 | 3.1723 | 334.543 | 1.894 | 266.309 | 0 | 117.143 | 22.53 | 965.782 | 18.8127 | -0.22539
2019-05-21 10:00:00 | 0 | 254.476 | 3.428 | 291.842 | 3.1723 | 254.184 | 0 | 85.6362 | 23.65 | 965.831 | 22.7952 | -0.38796
2019-05-21 10:15:00 | 0 | 268.863 | 2.4053 | 336.83 | 2.4053 | 243.952 | 0 | 72.7137 | 22.86 | 965.803 | 25.2811 | -0.26972
2019-05-21 10:30:00 | 0 | 233.418 | 3.6837 | 235.143 | 4.7063 | 182.356 | 4.195 | 68.8943 | 23.48 | 965.803 | 26.2351 | -0.24016
2019-05-21 10:45:00 | 0 | 238.308 | 4.195 | 298.928 | 3.1723 | 247.163 | 0 | 46.9999 | 23.55 | 965.803 | 26.1329 | -0.26972
2019-05-21 11:00:00 | 0 | 337.186 | 1.6383 | 23.6931 | 1.127 | 331.98 | 0 | 99.3068 | 24.13 | 965.803 | 22.5562 | -0.31776
2019-05-21 11:15:00 | 0 | 299.856 | 5.2177 | 336.757 | 6.496 | 293.725 | 1.007 | 117.062 | 24.48 | 965.655 | 18.2624 | -0.16996
2019-05-21 11:30:00 | 0 | 307.884 | 2.9167 | 334.348 | 2.9167 | 279.129 | 0 | 132.291 | 24.8 | 965.951 | 18.8416 | 0.16627
2019-05-21 11:45:00 | 0 | 280.175 | 3.6837 | 335.419 | 3.6837 | 278.643 | 0 | 100.082 | 24.43 | 965.803 | 23.2027 | -0.084981
2019-05-21 12:00:00 | 0 | 315.064 | 4.4507 | 0.48363 | 4.195 | 323.505 | 1.007 | 122.537 | 24.33 | 965.358 | 22.9645 | 0.36949
2019-05-21 12:15:00 | 0 | 298.606 | 4.962 | 336.886 | 4.962 | 295.223 | 1.6383 | 123.496 | 24.69 | 965.328 | 19.2561 | 0.53945
2019-05-21 12:30:00 | 0 | 275.976 | 4.4507 | 318.588 | 4.4507 | 313.913 | 2.541 | 100.744 | 24.72 | 965.8 | 22.1872 | 1.4853
2019-05-21 12:45:00 | 0 | 252.382 | 4.4507 | 291.712 | 4.7063 | 253.136 | 0 | 71.2539 | 24.68 | 965.355 | 24.9488 | 0.50619
2019-05-21 13:00:00 | 0 | 276.791 | 0 | 316.315 | 2.4053 | 278.835 | 0 | 137.617 | 25.28 | 965.355 | 24.8807 | 1.5001
2019-05-21 13:15:00 | 0 | 323.977 | 4.195 | 16.4227 | 3.6837 | 301.175 | 0 | 140.926 | 25.43 | 965.059 | 25.426 | 2.5125
2019-05-21 13:30:00 | 0 | 233.182 | 3.428 | 284.922 | 3.428 | 234.009 | 3.428 | 58.6239 | 25.65 | 965.355 | 23.8923 | 1.5703
2019-05-21 13:45:00 | 0 | 307.477 | 4.7063 | 13.1861 | 4.7063 | 309.011 | 0.37567 | 125.108 | 26.48 | 965.949 | 24.3354 | 2.616
2019-05-21 14:00:00 | 0 | 280.687 | 4.962 | 35.237 | 4.4507 | 284.702 | 0 | 121.327 | 26.42 | 965.8 | 24.3335 | 4.569
2019-05-21 14:15:00 | 0 | 317.166 | 2.1497 | 2.4311 | 1.894 | 357 | 0 | 141.549 | 26.04 | 965.652 | 24.0611 | 2.6862
2019-05-21 14:30:00 | 0 | 292.319 | 0.37567 | 316.303 | 0 | 332.727 | 0 | 121.467 | 26.31 | 965.661 | 26.1333 | 4.0606
2019-05-21 14:45:00 | 2.3927 | 314.087 | 6.7517 | 9.2718 | 4.195 | 302.24 | 0 | 127.985 | 26.69 | 965.358 | 24.0886 | 5.9102
2019-05-21 15:00:00 | 0 | 1.5083 | 3.6837 | 8.0248 | 3.9393 | 285.162 | 0 | 217.29 | 26.4 | 965.21 | 24.4634 | 4.2047
2019-05-21 15:15:00 | 0 | 315.928 | 5.2177 | 3.458 | 3.9393 | 337.067 | 0 | 119.224 | 26.59 | 965.21 | 23.134 | 4.8957
2019-05-21 15:30:00 | 0 | 28.0931 | 3.9393 | 61.9687 | 3.1723 | 42.0789 | 0 | 187.944 | 26.81 | 965.506 | 24.0846 | 1.3708
2019-05-21 15:45:00 | 0 | 291.604 | 3.1723 | 15.8165 | 2.1497 | 27.0467 | 0 | 113.806 | 26.83 | 965.655 | 22.1765 | 2.0839
2019-05-21 16:00:00 | 0 | 346.712 | 3.1723 | 27.9355 | 3.1723 | 27.1416 | 0 | 201.981 | 27.11 | 965.21 | 23.1623 | 1.5408
2019-05-21 16:15:00 | 0 | 298.91 | 2.9167 | 5.2381 | 2.1497 | 25.5841 | 0 | 106.957 | 26.59 | 965.358 | 21.0496 | 1.7624
2019-05-21 16:30:00 | 0 | 304.082 | 3.1723 | 2.8066 | 2.1497 | 25.5834 | 0 | 108.219 | 27.06 | 965.358 | 19.5504 | 0.9311
2019-05-21 16:45:00 | 0 | 299.733 | 2.1497 | 328.104 | 1.3827 | 25.5838 | 0 | 117.68 | 27.16 | 965.21 | 21.0493 | -0.2882
2019-05-21 17:00:00 | 0 | 318.872 | 2.4053 | 2.6654 | 1.3827 | 25.4864 | 0 | 143.239 | 26.81 | 965.21 | 20.2318 | -0.23278
2019-05-21 17:15:00 | 0 | 285.619 | 2.661 | 320.388 | 2.1497 | 25.4878 | 0 | 121.407 | 26.78 | 965.21 | 20.5054 | -0.24016
2019-05-21 17:30:00 | 0 | 215.88 | 0 | 250.555 | 0 | 25.5622 | 0 | 353.833 | 27.13 | 965.358 | 19.7572 | -0.24016
2019-05-21 17:45:00 | 0 | 276.789 | 1.894 | 315.454 | 1.6383 | 25.5142 | 0 | 97.0949 | 26.93 | 965.21 | 21.5291 | -0.25864
2019-05-21 18:00:00 | 0 | 289.929 | 1.3827 | 317.335 | 1.127 | 25.5147 | 0 | 87.1733 | 26.57 | 965.062 | 21.3933 | -0.24016
2019-05-21 18:15:00 | 0 | 265.355 | 0 | 317.289 | 0 | 25.5429 | 0 | 85.9216 | 26.46 | 964.617 | 21.124 | -0.25864
2019-05-21 18:30:00 | 0 | 208.799 | 1.3827 | 316.492 | 0 | 25.5434 | 0 | 21.0186 | 26.49 | 964.765 | 21.6695 | -0.24016
2019-05-21 18:45:00 | 0 | 174.62 | 0 | 254.409 | 0 | 25.5191 | 0 | 21.0186 | 25.9 | 963.876 | 22.0102 | -0.24016
2019-05-21 19:00:00 | 0 | 204.02 | 0.75133 | 253.908 | 0 | 25.5268 | 0 | 7.349 | 25.72 | 963.567 | 22.0169 | -0.26972
2019-05-21 19:15:00 | 0 | 158.448 | 3.9393 | 205.248 | 3.428 | 30.5652 | 0 | 343.737 | 25.6 | 963.28 | 23.0402 | -0.20691
2019-05-21 19:30:00 | 0 | 166.108 | 4.962 | 224.185 | 4.195 | 74.2801 | 3.9393 | 351.857 | 25.33 | 963.223 | 23.111 | 4.0569
2019-05-21 19:45:00 | 0 | 163.464 | 5.4733 | 201.684 | 4.962 | 75.2578 | 4.4507 | 345.719 | 25.07 | 963.128 | 24.135 | 8.2099
2019-05-21 20:00:00 | 0 | 177.075 | 7.0073 | 225.69 | 4.962 | 86.286 | 5.2177 | 356.779 | 24.96 | 963.425 | 25.6356 | 10.3049
2019-05-21 20:15:00 | 0 | 170.125 | 6.496 | 205.843 | 6.496 | 90.0645 | 0.63133 | 356.801 | 24.78 | 963.425 | 26.5237 | 13.9407
2019-05-21 20:30:00 | 7.7547 | 175.878 | 7.7743 | 220.801 | 6.7517 | 91.9436 | 4.7063 | 0.21909 | 24.65 | 962.98 | 26.9001 | 14.8865
2019-05-21 20:45:00 | 8.01 | 179.315 | 7.0073 | 214.722 | 6.7517 | 93.6501 | 5.729 | 356.416 | 24.51 | 963.128 | 27.7531 | 16.4975
2019-05-21 21:00:00 | 0 | 173.229 | 7.0073 | 210.364 | 6.7517 | 94.3559 | 4.4507 | 356.78 | 24.6 | 963.128 | 25.912 | 16.3719
2019-05-21 21:15:00 | 0 | 152.075 | 6.2403 | 219.517 | 5.4733 | 94.5752 | 2.661 | 354.59 | 24.67 | 963.276 | 26.1848 | 21.2897
2019-05-21 21:30:00 | 15.9253 | 169.529 | 7.5187 | 209.634 | 7.263 | 98.4945 | 7.7743 | 353.227 | 24.42 | 963.276 | 26.3894 | 27.8517
2019-05-21 21:45:00 | 10.8187 | 165.829 | 8.5413 | 227.405 | 7.263 | 152.099 | 7.0073 | 89.0247 | 24.72 | 963.276 | 24.1391 | 29.1339
2019-05-21 22:00:00 | 2.9033 | 174.349 | 9.564 | 217.302 | 9.8197 | 161.618 | 4.195 | 356.805 | 24.68 | 963.425 | 23.7982 | 34.6318
2019-05-21 22:15:00 | 4.946 | 175.663 | 8.2857 | 218.518 | 7.7743 | 174.787 | 5.9847 | 347.164 | 24.52 | 963.276 | 23.5253 | 33.1169
2019-05-21 22:30:00 | 7.4993 | 167.874 | 8.2857 | 225.968 | 9.0527 | 187.3 | 1.774 | 343.318 | 24.19 | 963.128 | 23.6958 | 34.6429
2019-05-21 22:45:00 | 2.9033 | 155.337 | 9.0527 | 199.41 | 9.3083 | 162.835 | 0.37567 | 354.054 | 23.94 | 963.128 | 24.0709 | 37.5951
2019-05-21 23:00:00 | 6.9887 | 163.249 | 9.3083 | 200.164 | 10.5867 | 176.126 | 3.9393 | 345.826 | 23.47 | 962.832 | 25.3665 | 44.3418
2019-05-21 23:15:00 | 0 | 161.691 | 9.0527 | 197.754 | 7.263 | 167.387 | 0 | 347.482 | 23.17 | 962.535 | 26.4575 | 44.6448
2019-05-21 23:30:00 | 3.414 | 166.472 | 8.2857 | 199.447 | 7.263 | 155.955 | 5.4733 | 355.171 | 23.36 | 962.683 | 27.0047 | 35.3227
2019-05-21 23:45:00 | 6.478 | 180.093 | 7.7743 | 212.171 | 7.7743 | 159.033 | 4.7063 | 354.757 | 22.89 | 962.238 | 28.5069 | 31.735