## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-22 00:00:00 | 5.34 | 164.981 | 6.7517 | 210.038 | 7.0073 | 159.527 | 3.8193 | 5.2835 | 22.89 | 962.09 | 29.1901 | 29.8174
2019-05-22 00:15:00 | 9.0313 | 179.005 | 7.7743 | 215.687 | 8.03 | 172.772 | 6.7517 | 356.622 | 23.15 | 962.238 | 27.4851 | 30.2866
2019-05-22 00:30:00 | 0 | 167.172 | 8.797 | 215.322 | 7.263 | 161.085 | 4.4507 | 1.9722 | 22.7 | 961.942 | 27.8943 | 28.406
2019-05-22 00:45:00 | 0 | 183.729 | 8.03 | 226.035 | 10.8423 | 167.075 | 4.195 | 6.5252 | 22.78 | 961.645 | 26.5985 | 33.1649
2019-05-22 01:00:00 | 1.138 | 179.395 | 6.2403 | 211.109 | 6.496 | 156.337 | 3.6837 | 1.8504 | 23.36 | 961.793 | 26.8713 | 30.1167
2019-05-22 01:15:00 | 4.18 | 160.963 | 9.8197 | 207.36 | 9.8197 | 156.727 | 4.195 | 349.489 | 22.58 | 961.645 | 29.7016 | 34.1847
2019-05-22 01:30:00 | 6.478 | 154.049 | 10.0753 | 198.838 | 8.797 | 157.75 | 3.6837 | 340.796 | 21.59 | 961.497 | 34.1688 | 34.2364
2019-05-22 01:45:00 | 8.776 | 155.85 | 9.564 | 202.15 | 8.03 | 159.624 | 5.729 | 344.716 | 20.93 | 961.273 | 37.5788 | 33.2684
2019-05-22 02:00:00 | 10.8187 | 164.368 | 9.3083 | 199.328 | 6.7517 | 150.294 | 5.729 | 356.691 | 20.63 | 961.341 | 37.1743 | 26.0819
2019-05-22 02:15:00 | 3.6693 | 159.749 | 7.263 | 205.231 | 7.0073 | 153.71 | 2.4053 | 351.253 | 20.26 | 961.196 | 38.472 | 28.4429
2019-05-22 02:30:00 | 8.5207 | 161.454 | 7.5187 | 203.454 | 7.263 | 159.408 | 4.7063 | 350.23 | 20.05 | 961.345 | 39.2906 | 29.5698
2019-05-22 02:45:00 | 0 | 170.077 | 7.7743 | 201.778 | 7.263 | 158.729 | 2.9167 | 5.6498 | 19.96 | 961.196 | 39.1208 | 27.2606
2019-05-22 03:00:00 | 2.648 | 181.532 | 7.7743 | 215.67 | 5.9847 | 149.726 | 2.661 | 14.1738 | 20.53 | 960.9 | 36.2234 | 27.6707
2019-05-22 03:15:00 | 9.7973 | 168.481 | 7.263 | 203.034 | 6.496 | 155.378 | 2.1497 | 3.3609 | 20.79 | 960.9 | 36.1899 | 29.06
2019-05-22 03:30:00 | 8.01 | 166.842 | 8.5413 | 202.22 | 7.263 | 156.443 | 5.9847 | 352.923 | 20.38 | 960.751 | 37.8596 | 37.4473
2019-05-22 03:45:00 | 7.4993 | 171.374 | 9.0527 | 201.469 | 9.0527 | 149.943 | 5.729 | 353.366 | 20.57 | 960.603 | 38.0648 | 40.5472
2019-05-22 04:00:00 | 3.414 | 141.059 | 7.5187 | 191.685 | 6.2403 | 151.701 | 4.7063 | 347.216 | 19.95 | 960.603 | 42.1591 | 45.9528
2019-05-22 04:15:00 | 2.7867 | 156.024 | 8.797 | 193.893 | 8.5413 | 146.086 | 5.2177 | 341.591 | 19.74 | 960.176 | 44.0043 | 51.8017
2019-05-22 04:30:00 | 3.9247 | 167.741 | 10.0753 | 190.729 | 8.03 | 140.584 | 3.6837 | 349.803 | 19.18 | 960.173 | 43.7319 | 52.7661
2019-05-22 04:45:00 | 3.414 | 146.916 | 7.263 | 184.104 | 6.496 | 156.318 | 3.1723 | 333.923 | 19.11 | 960.291 | 46.188 | 53.8671
2019-05-22 05:00:00 | 2.648 | 135.469 | 8.03 | 197.062 | 7.7743 | 156.902 | 5.9847 | 338.745 | 19.03 | 960.469 | 46.7337 | 56.8867
2019-05-22 05:15:00 | 8.776 | 134.324 | 7.5187 | 195.357 | 7.7743 | 155.002 | 5.9847 | 334.337 | 19.08 | 960.857 | 46.8702 | 47.0945
2019-05-22 05:30:00 | 0.372 | 153.054 | 8.797 | 198.255 | 5.4733 | 152.689 | 2.541 | 332.437 | 18.89 | 961.313 | 48.7123 | 35.6922
2019-05-22 05:45:00 | 3.6693 | 154.905 | 5.729 | 209.41 | 3.9393 | 172.807 | 5.9847 | 334.239 | 19.07 | 961.669 | 47.723 | 26.7839
2019-05-22 06:00:00 | 2.0207 | 160.652 | 7.263 | 204.796 | 8.2857 | 154.978 | 5.9847 | 349.601 | 18.3 | 961.197 | 47.0675 | 37.2514
2019-05-22 06:15:00 | 14.6487 | 157.898 | 7.5187 | 198.267 | 7.0073 | 171.438 | 7.7743 | 349.475 | 18.72 | 961.197 | 49.5225 | 47.113
2019-05-22 06:30:00 | 5.2013 | 161.527 | 9.3083 | 198.949 | 7.263 | 163.012 | 2.661 | 352.325 | 18.87 | 960.9 | 46.794 | 59.354
2019-05-22 06:45:00 | 6.2227 | 162.845 | 10.0753 | 208.245 | 8.2857 | 156.295 | 6.7517 | 351.45 | 18.55 | 961.048 | 49.5842 | 58.0386
2019-05-22 07:00:00 | 5.712 | 159.43 | 10.331 | 200.08 | 10.0753 | 144.626 | 4.7063 | 341.235 | 18.42 | 960.572 | 47.6386 | 58.7924
2019-05-22 07:15:00 | 4.6907 | 160.501 | 9.3083 | 195.77 | 9.564 | 161.28 | 3.6837 | 349.026 | 18.75 | 960.631 | 49.3095 | 50.9417
2019-05-22 07:30:00 | 6.2227 | 154.341 | 10.331 | 194.991 | 9.0527 | 151.809 | 5.2177 | 345.398 | 18.87 | 960.903 | 50.0597 | 47.1351
2019-05-22 07:45:00 | 3.042 | 153.876 | 6.7517 | 202.536 | 7.7743 | 166.683 | 3.6837 | 345.734 | 19.35 | 961.2 | 47.3991 | 32.4481
2019-05-22 08:00:00 | 0 | 153.658 | 2.9167 | 195.491 | 2.4053 | 152.002 | 0 | 344.513 | 20.35 | 962.387 | 42.6186 | 4.5373
2019-05-22 08:15:00 | 0 | 159.547 | 2.9167 | 199.568 | 3.1723 | 141.462 | 0 | 354.751 | 21.13 | 962.832 | 45.6795 | 6.987
2019-05-22 08:30:00 | 0 | 174.147 | 4.4507 | 194.837 | 4.7063 | 157.209 | 5.9847 | 0.53539 | 20.94 | 962.944 | 44.2407 | 6.1371
2019-05-22 08:45:00 | 0 | 165.578 | 1.3827 | 211.916 | 2.1497 | 175.288 | 0 | 349.699 | 22.3 | 962.984 | 42.0586 | 2.5457
2019-05-22 09:00:00 | 0 | 171.872 | 3.1723 | 207.281 | 3.6837 | 168.489 | 5.9847 | 2.3117 | 23.05 | 963.576 | 36.9783 | 0.72789
2019-05-22 09:15:00 | 0 | 186.564 | 2.9167 | 227.194 | 2.4053 | 203.692 | 0 | 18.0286 | 24.45 | 963.518 | 31.6224 | 0.35101
2019-05-22 09:30:00 | 0 | 211.451 | 2.661 | 232.686 | 3.428 | 196.563 | 0 | 356.781 | 24.67 | 963.431 | 28.7564 | -0.13301
2019-05-22 09:45:00 | 2.0207 | 184.278 | 3.9393 | 239.302 | 3.428 | 217.776 | 2.4053 | 27.9032 | 24.98 | 963.728 | 33.322 | -0.27342
2019-05-22 10:00:00 | 0.372 | 170.874 | 2.1497 | 256.356 | 3.428 | 196.952 | 5.9847 | 12.3095 | 24.6 | 963.431 | 35.23 | -0.22908
2019-05-22 10:15:00 | 0 | 161.872 | 3.1723 | 226.385 | 3.9393 | 173.209 | 5.4733 | 334.838 | 24.78 | 963.579 | 37.138 | -0.24016
2019-05-22 10:30:00 | 0.372 | 173.987 | 3.428 | 229.693 | 4.195 | 174.766 | 0 | 1.9462 | 25 | 963.579 | 37.5469 | -0.24016
2019-05-22 10:45:00 | 0 | 175.642 | 5.2177 | 225.217 | 3.9393 | 195.906 | 0.37567 | 13.6475 | 25.63 | 963.579 | 39.1482 | -0.27711
2019-05-22 11:00:00 | 0.372 | 196.855 | 3.1723 | 229.401 | 3.428 | 197.341 | 1.894 | 0.24327 | 26.12 | 963.431 | 38.7734 | -0.24016
2019-05-22 11:15:00 | 0.372 | 184.983 | 2.4053 | 232.029 | 2.9167 | 196.271 | 2.0297 | 1.1434 | 26.4 | 963.728 | 38.3646 | -0.26972
2019-05-22 11:30:00 | 0 | 209.018 | 3.9393 | 216.557 | 5.2177 | 169.852 | 4.962 | 32.501 | 26.61 | 963.579 | 36.9676 | -0.26972
2019-05-22 11:45:00 | 0 | 177.539 | 5.2177 | 221.276 | 4.4507 | 174.279 | 4.4507 | 0.14596 | 26.92 | 963.728 | 35.7751 | -0.24755
2019-05-22 12:00:00 | 1.51 | 210.04 | 3.6837 | 255.553 | 3.9393 | 209.213 | 0 | 44.7375 | 27.25 | 963.876 | 33.7649 | -0.24016
2019-05-22 12:15:00 | 0 | 207.315 | 2.1497 | 250.858 | 2.4053 | 199.774 | 0 | 32.4037 | 27.91 | 963.728 | 28.1772 | -0.24016
2019-05-22 12:30:00 | 0 | 32.4041 | 2.9167 | 18.7292 | 2.1497 | 201.431 | 0 | 295.773 | 28.95 | 963.876 | 21.8401 | -0.24016
2019-05-22 12:45:00 | 0 | 320.169 | 6.496 | 0.33745 | 6.496 | 254.948 | 0.37567 | 137.545 | 29.87 | 963.876 | 17.7854 | -0.26972
2019-05-22 13:00:00 | 0 | 302.191 | 4.195 | 9.7826 | 3.9393 | 263.706 | 0 | 111.102 | 30.17 | 964.172 | 16.1499 | -0.26972
2019-05-22 13:15:00 | 0 | 299.248 | 2.9167 | 336.878 | 1.6383 | 263.9 | 0 | 159.075 | 30.77 | 964.024 | 15.1618 | -0.25864
2019-05-22 13:30:00 | 0 | 280.418 | 2.9167 | 323.595 | 3.1723 | 260.98 | 0 | 110.25 | 30.79 | 964.172 | 14.2759 | -0.25864
2019-05-22 13:45:00 | 0 | 288.174 | 3.1723 | 333.509 | 2.661 | 289.657 | 0.37567 | 109.023 | 31.01 | 964.765 | 12.1964 | -0.24016
2019-05-22 14:00:00 | 0 | 288.558 | 3.428 | 331.406 | 3.6837 | 277.199 | 0 | 107.212 | 31.35 | 965.358 | 12.5698 | -0.25125
2019-05-22 14:15:00 | 0 | 268.723 | 3.6837 | 289.287 | 3.9393 | 309.555 | 0 | 118.895 | 31.5 | 965.358 | 13.0109 | -0.24016
2019-05-22 14:30:00 | 0 | 292.045 | 2.661 | 332.039 | 2.9167 | 307.098 | 0 | 130.738 | 31.99 | 965.506 | 14.1008 | -0.20691
2019-05-22 14:45:00 | 0 | 307.584 | 4.4507 | 308.255 | 2.9167 | 305.444 | 0 | 111.064 | 31.67 | 965.083 | 18.8692 | -0.22169
2019-05-22 15:00:00 | 0 | 301.602 | 4.195 | 9.5672 | 3.6837 | 336.524 | 4.195 | 130.665 | 31.62 | 964.959 | 16.2466 | 5.5879e-09
2019-05-22 15:15:00 | 0 | 264.978 | 3.6837 | 329.145 | 0.37567 | 335.891 | 0 | 108.17 | 31.48 | 965.25 | 11.0014 | 0.14779
2019-05-22 15:30:00 | 0 | 319.209 | 4.195 | 10.5643 | 3.6837 | 322.565 | 0 | 115.83 | 31.31 | 964.952 | 13.8283 | 0.75744
2019-05-22 15:45:00 | 0 | 282.876 | 3.428 | 13.0935 | 2.9167 | 322.176 | 0 | 109.605 | 31.39 | 965.138 | 17.3706 | 0.22908
2019-05-22 16:00:00 | 0 | 247.444 | 3.9393 | 294.491 | 3.428 | 262.643 | 2.0297 | 71.6189 | 30.96 | 964.547 | 10.3202 | -0.048033
2019-05-22 16:15:00 | 0 | 257.22 | 4.962 | 312 | 4.7063 | 262.667 | 0 | 67.7522 | 31.13 | 965.004 | 11.5804 | 0.066507
2019-05-22 16:30:00 | 0 | 259.336 | 3.428 | 310.152 | 4.195 | 262.74 | 0 | 85.3347 | 30.97 | 964.82 | 13.9986 | 0.040643
2019-05-22 16:45:00 | 0 | 240.27 | 2.9167 | 285.347 | 2.661 | 262.789 | 0 | 78.2093 | 30.93 | 965.112 | 18.0858 | 0.18105
2019-05-22 17:00:00 | 0 | 250.119 | 2.9167 | 307.647 | 1.894 | 262.789 | 0 | 77.5284 | 30.82 | 964.506 | 18.4264 | -0.12932
2019-05-22 17:15:00 | 0 | 216.413 | 2.661 | 261.101 | 2.1497 | 262.789 | 0 | 78.4525 | 30.97 | 964.486 | 17.2003 | -0.23647
2019-05-22 17:30:00 | 0 | 234.239 | 2.4053 | 297.214 | 2.1497 | 262.74 | 0 | 36.9646 | 30.9 | 964.247 | 18.2221 | -0.27711
2019-05-22 17:45:00 | 0 | 204.132 | 3.6837 | 249.063 | 2.9167 | 261.281 | 1.2627 | 29.7419 | 31.12 | 963.946 | 17.7793 | -0.25494
2019-05-22 18:00:00 | 0 | 223.928 | 3.428 | 270.026 | 2.9167 | 261.281 | 0 | 47.4703 | 30.79 | 964.018 | 18.8692 | -0.15149
2019-05-22 18:15:00 | 0 | 203.305 | 3.6837 | 242.765 | 4.4507 | 260.989 | 4.7063 | 18.2877 | 30.5 | 963.727 | 20.5722 | 0.15518
2019-05-22 18:30:00 | 0 | 187.698 | 5.729 | 234.576 | 5.4733 | 258.565 | 3.6837 | 9.3873 | 30.19 | 963.134 | 19.7894 | 1.6479
2019-05-22 18:45:00 | 0 | 172.453 | 5.9847 | 215.111 | 6.2403 | 197.263 | 0.75133 | 356.777 | 29.97 | 962.689 | 21.3256 | 7.6446
2019-05-22 19:00:00 | 0 | 168.489 | 7.0073 | 206.023 | 6.496 | 169.414 | 1.007 | 354.324 | 29.39 | 962.393 | 25.8262 | 14.4653
2019-05-22 19:15:00 | 4.18 | 162.967 | 6.7517 | 208.358 | 7.5187 | 163.381 | 6.2403 | 355.273 | 28.7 | 961.948 | 29.506 | 21.2823
2019-05-22 19:30:00 | 10.8187 | 172.483 | 6.7517 | 223.296 | 6.496 | 173.359 | 3.428 | 1.1924 | 28.52 | 962.078 | 28.8333 | 24.0424
2019-05-22 19:45:00 | 0 | 172.21 | 9.3083 | 216.11 | 10.331 | 169.606 | 4.4507 | 85.9224 | 28.75 | 961.945 | 28.7642 | 25.1804
2019-05-22 20:00:00 | 2.7867 | 162.508 | 5.9847 | 207.579 | 5.9847 | 164.211 | 4.7063 | 355.069 | 28.64 | 962.686 | 29.9243 | 23.3256
2019-05-22 20:15:00 | 6.2227 | 177.843 | 7.0073 | 212.597 | 5.9847 | 162.073 | 3.6837 | 4.2587 | 28.12 | 962.686 | 31.0156 | 27.8998
2019-05-22 20:30:00 | 6.478 | 172.489 | 8.5413 | 221.066 | 8.03 | 168.985 | 3.9393 | 356.684 | 28.03 | 962.39 | 31.0157 | 28.3764
2019-05-22 20:45:00 | 8.01 | 163.85 | 9.0527 | 214.106 | 9.564 | 170.98 | 5.9847 | 2.2875 | 28.05 | 962.39 | 29.1752 | 30.7448
2019-05-22 21:00:00 | 3.1587 | 180.933 | 7.7743 | 225.495 | 7.263 | 169.326 | 2.9167 | 7.5196 | 28.35 | 962.538 | 29.6523 | 26.444
2019-05-22 21:15:00 | 10.5633 | 176.869 | 6.496 | 221.334 | 9.3083 | 145.063 | 5.4733 | 9.8558 | 27.98 | 962.835 | 31.0838 | 25.9156
2019-05-22 21:30:00 | 2.9033 | 164.969 | 7.263 | 212.062 | 7.7743 | 169.91 | 7.5187 | 1.1438 | 28.03 | 962.835 | 29.3797 | 27.7187
2019-05-22 21:45:00 | 6.9887 | 154.627 | 6.7517 | 197.85 | 7.5187 | 147.886 | 7.7743 | 346.049 | 27.93 | 962.983 | 28.9366 | 25.6755
2019-05-22 22:00:00 | 3.414 | 162.244 | 6.7517 | 194.906 | 7.263 | 149.078 | 4.962 | 1.0221 | 27.42 | 962.402 | 31.152 | 27.5007
2019-05-22 22:15:00 | 6.2227 | 149.784 | 8.03 | 198.459 | 7.7743 | 157.085 | 3.1723 | 344.345 | 27.09 | 962.391 | 32.8562 | 30.4603
2019-05-22 22:30:00 | 3.414 | 149.492 | 8.2857 | 204.761 | 7.0073 | 156.428 | 2.1497 | 345.976 | 26.44 | 962.371 | 33.5378 | 31.8089
2019-05-22 22:45:00 | 0.744 | 150.278 | 8.797 | 201.9 | 6.7517 | 153.928 | 0.63133 | 349.058 | 26.49 | 962.298 | 33.4712 | 32.4999
2019-05-22 23:00:00 | 5.2013 | 150.385 | 8.2857 | 197.34 | 8.03 | 141.283 | 1.774 | 347.427 | 26.38 | 962.081 | 33.7462 | 38.5779
2019-05-22 23:15:00 | 11.84 | 170.23 | 8.797 | 205.213 | 7.5187 | 154.264 | 4.7063 | 85.8698 | 25.36 | 962.088 | 35.3843 | 35.9804
2019-05-22 23:30:00 | 4.946 | 161.98 | 8.797 | 200.419 | 8.03 | 156.868 | 4.4507 | 355.503 | 25.9 | 962.238 | 35.3162 | 37.5433
2019-05-22 23:45:00 | 11.074 | 183.544 | 7.7743 | 208.256 | 7.7743 | 154.605 | 3.308 | 178.822 | 25.68 | 962.238 | 36.0661 | 33.7229