## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-23 00:00:00 | 0 | 178.92 | 7.7743 | 211.104 | 5.2177 | 159.716 | 4.962 | 8.4215 | 25.54 | 962.09 | 31.5664 | 28.9306
2019-05-23 00:15:00 | 0 | 184.396 | 7.0073 | 224.71 | 5.2177 | 184.299 | 0.75133 | 13.3867 | 26.09 | 962.238 | 26.6576 | 30.3236
2019-05-23 00:30:00 | 4.946 | 186.222 | 6.496 | 223.493 | 5.4733 | 185.467 | 4.962 | 10.2226 | 26.3 | 962.525 | 26.3508 | 31.7276
2019-05-23 00:45:00 | 10.0527 | 188.266 | 6.7517 | 233.691 | 7.5187 | 182.619 | 0.37567 | 15.1392 | 26.31 | 962.683 | 25.3622 | 31.6464
2019-05-23 01:00:00 | 0.372 | 177.776 | 7.7743 | 225.367 | 7.0073 | 181.768 | 1.894 | 10.8798 | 26.14 | 962.238 | 25.6349 | 31.2732
2019-05-23 01:15:00 | 0 | 187.317 | 8.2857 | 234.616 | 8.797 | 187.122 | 5.729 | 15.3582 | 26.17 | 962.535 | 24.1009 | 33.1649
2019-05-23 01:30:00 | 2.276 | 185.102 | 9.564 | 232.766 | 7.5187 | 171.91 | 5.2177 | 12.9973 | 26.23 | 962.386 | 22.6351 | 33.6416
2019-05-23 01:45:00 | 0.88267 | 192.891 | 9.0527 | 217.189 | 7.263 | 175.001 | 1.007 | 21.4431 | 26.25 | 962.822 | 22.0897 | 31.5133
2019-05-23 02:00:00 | 0 | 195.179 | 10.331 | 232.377 | 7.7743 | 184.396 | 0.75133 | 16.3075 | 26.69 | 962.683 | 21.7829 | 31.1956
2019-05-23 02:15:00 | 1.51 | 183.176 | 10.331 | 228.089 | 10.331 | 185.172 | 4.195 | 7.3504 | 27.01 | 962.683 | 19.9076 | 33.9281
2019-05-23 02:30:00 | 1.138 | 168.777 | 6.7517 | 223.126 | 8.03 | 153.396 | 4.7063 | 5.8409 | 27.32 | 963.25 | 20.0422 | 31.4764
2019-05-23 02:45:00 | 2.3927 | 179.62 | 9.0527 | 207.853 | 8.797 | 184.609 | 5.4733 | 4.9888 | 27.06 | 963.018 | 21.1657 | 28.842
2019-05-23 03:00:00 | 0.62733 | 188.746 | 6.7517 | 214.01 | 7.5187 | 203.761 | 5.9847 | 7.1546 | 26.82 | 962.868 | 21.677 | 33.3718
2019-05-23 03:15:00 | 0.372 | 191.498 | 10.8423 | 230.537 | 9.3083 | 198.239 | 0.75133 | 16.9864 | 26.86 | 962.902 | 21.9499 | 31.118
2019-05-23 03:30:00 | 1.51 | 203.493 | 10.0753 | 220.483 | 9.8197 | 186.872 | 2.9167 | 22.1209 | 27.05 | 962.739 | 21.4724 | 35.7698
2019-05-23 03:45:00 | 3.1587 | 196.192 | 12.1207 | 234.743 | 12.3763 | 200.256 | 5.2177 | 13.5061 | 27.34 | 962.594 | 21.6087 | 36.2317
2019-05-23 04:00:00 | 4.18 | 196.411 | 12.8877 | 230.995 | 12.632 | 188.648 | 1.3827 | 14.1632 | 26.91 | 962.585 | 22.9721 | 33.9704
2019-05-23 04:15:00 | 3.6693 | 179.279 | 10.5867 | 228.975 | 10.331 | 188.818 | 2.9167 | 10.2452 | 26.62 | 962.665 | 24.608 | 36.2538
2019-05-23 04:30:00 | 3.414 | 185.887 | 12.3763 | 224.32 | 7.7743 | 179.924 | 2.4053 | 19.8348 | 25.5 | 962.493 | 24.678 | 35.3301
2019-05-23 04:45:00 | 6.7333 | 172.421 | 9.3083 | 221.131 | 8.5413 | 163.829 | 4.7063 | 0.53547 | 25.19 | 962.535 | 28.2938 | 39.5866
2019-05-23 05:00:00 | 5.9673 | 162.223 | 9.0527 | 205.262 | 7.7743 | 155.53 | 1.007 | 356.574 | 24 | 962.238 | 33.0663 | 41.0497
2019-05-23 05:15:00 | 9.0313 | 156.764 | 8.797 | 199.154 | 7.0073 | 157.203 | 3.6837 | 352.817 | 23.48 | 962.683 | 33.2065 | 40.9943
2019-05-23 05:30:00 | 4.18 | 171.184 | 8.797 | 206.298 | 7.7743 | 166.632 | 3.9393 | 0.97374 | 23.61 | 962.535 | 32.2536 | 38.5594
2019-05-23 05:45:00 | 9.542 | 170.742 | 8.797 | 216.468 | 8.5413 | 171.594 | 7.0073 | 85.9066 | 24.05 | 962.386 | 30.8891 | 37.5507
2019-05-23 06:00:00 | 5.4567 | 156.265 | 8.5413 | 205.148 | 7.263 | 176.808 | 1.2627 | 356.488 | 24.03 | 962.832 | 30.3401 | 35.0789
2019-05-23 06:15:00 | 4.946 | 188.826 | 8.03 | 236.782 | 7.0073 | 178.993 | 3.9393 | 0.55981 | 24.49 | 963.128 | 28.1575 | 32.5405
2019-05-23 06:30:00 | 8.2653 | 185.546 | 7.263 | 230.916 | 7.263 | 170.822 | 5.729 | 21.1977 | 24.94 | 963.425 | 29.1773 | 29.2669
2019-05-23 06:45:00 | 1.51 | 158.156 | 6.2403 | 211.235 | 5.9847 | 161.538 | 1.5183 | 347.071 | 24.36 | 963.013 | 31.3565 | 26.5585
2019-05-23 07:00:00 | 3.6693 | 170.421 | 8.03 | 211.186 | 7.5187 | 173.511 | 2.1497 | 354.201 | 24.23 | 963.428 | 30.9134 | 28.5464
2019-05-23 07:15:00 | 0 | 161.465 | 6.7517 | 204.567 | 5.2177 | 181.201 | 5.9847 | 0.21902 | 24.27 | 963.725 | 30.2659 | 27.8628
2019-05-23 07:30:00 | 0 | 156.525 | 8.03 | 196.39 | 7.263 | 154.432 | 5.4733 | 353.47 | 24.37 | 963.725 | 32.1062 | 26.3147
2019-05-23 07:45:00 | 0 | 161.741 | 8.03 | 203.863 | 6.496 | 167.8 | 3.428 | 351.635 | 24.58 | 964.021 | 33.1255 | 23.7874
2019-05-23 08:00:00 | 0 | 148.121 | 7.5187 | 201.731 | 8.2857 | 159.461 | 2.2853 | 352.989 | 24.84 | 964.318 | 30.8094 | 19.0802
2019-05-23 08:15:00 | 0 | 164.407 | 6.2403 | 204.782 | 5.2177 | 173.581 | 2.7967 | 356.409 | 25.08 | 964.763 | 32.3443 | 17.1663
2019-05-23 08:30:00 | 2.0207 | 185.574 | 6.7517 | 238.373 | 7.5187 | 171.292 | 7.5187 | 2.9927 | 25.43 | 964.414 | 29.5109 | 14.8052
2019-05-23 08:45:00 | 0 | 159.659 | 6.2403 | 201.669 | 6.496 | 155.037 | 3.6837 | 350.797 | 26.43 | 964.915 | 33.3902 | 10.9811
2019-05-23 09:00:00 | 0 | 183.986 | 4.195 | 227.261 | 4.7063 | 165.813 | 5.4733 | 4.4275 | 26.78 | 965.358 | 26.9165 | 9.093
2019-05-23 09:15:00 | 0 | 174.474 | 4.7063 | 201.912 | 5.2177 | 141.292 | 5.729 | 352.621 | 27.55 | 965.358 | 26.3032 | 7.8552
2019-05-23 09:30:00 | 0 | 172.853 | 4.7063 | 217.534 | 5.4733 | 167.307 | 2.4053 | 4.3055 | 27.71 | 965.951 | 25.4833 | 5.5016
2019-05-23 09:45:00 | 0 | 205.925 | 4.962 | 245.615 | 4.962 | 191.647 | 0.37567 | 22.0859 | 28.57 | 966.248 | 26.2996 | 4.807
2019-05-23 10:00:00 | 0 | 170.77 | 3.9393 | 215.541 | 4.7063 | 189.425 | 5.4733 | 9.121 | 28.75 | 966.099 | 27.2183 | 4.6851
2019-05-23 10:15:00 | 0 | 175.124 | 3.9393 | 211.552 | 3.428 | 198.765 | 0 | 343.802 | 28.88 | 965.803 | 26.3667 | 4.0311
2019-05-23 10:30:00 | 0 | 182.296 | 8.03 | 226.263 | 8.5413 | 163.008 | 5.729 | 1.9458 | 29.37 | 965.655 | 25.5486 | 6.5583
2019-05-23 10:45:00 | 0 | 181.931 | 5.2177 | 230.788 | 4.7063 | 165.587 | 2.4053 | 85.6391 | 29.88 | 966.396 | 26.0256 | 6.3367
2019-05-23 11:00:00 | 0 | 171.989 | 4.195 | 230.128 | 6.2403 | 180.89 | 1.3983 | 0.68095 | 29.94 | 966.248 | 27.5555 | 5.6235
2019-05-23 11:15:00 | 0 | 174.513 | 5.9847 | 220.879 | 5.9847 | 165.685 | 2.4053 | 85.6757 | 30.37 | 966.396 | 27.0778 | 4.1382
2019-05-23 11:30:00 | 0 | 204.57 | 3.9393 | 204.244 | 5.4733 | 183.267 | 0 | 30.4228 | 30.7 | 966.396 | 24.6935 | 2.2317
2019-05-23 11:45:00 | 0 | 178.646 | 3.428 | 218.032 | 3.1723 | 152.479 | 5.9847 | 19.3091 | 31.35 | 966.544 | 25.3747 | 1.6479
2019-05-23 12:00:00 | 0 | 182.999 | 5.4733 | 228.538 | 5.2177 | 191.802 | 1.894 | 3.7694 | 31.64 | 966.396 | 25 | 3.4916
2019-05-23 12:15:00 | 0.62733 | 159.653 | 3.9393 | 225.912 | 3.6837 | 196.812 | 3.428 | 345.376 | 31.81 | 966.396 | 25.579 | 4.3784
2019-05-23 12:30:00 | 0 | 138.161 | 4.962 | 204.545 | 6.2403 | 149.47 | 5.4733 | 350.643 | 32.02 | 966.544 | 27.6238 | 5.9561
2019-05-23 12:45:00 | 0 | 153.238 | 5.2177 | 203.303 | 7.0073 | 157.056 | 4.4507 | 347.406 | 31.85 | 966.248 | 28.986 | 8.7642
2019-05-23 13:00:00 | 0 | 145.145 | 6.496 | 199.979 | 6.2403 | 158.959 | 5.2177 | 317.164 | 32.24 | 965.951 | 28.9871 | 9.8246
2019-05-23 13:15:00 | 0 | 123.834 | 5.729 | 189.122 | 6.496 | 140.347 | 4.195 | 322.936 | 32.1 | 965.951 | 28.9175 | 11.539
2019-05-23 13:30:00 | 0 | 154.425 | 6.496 | 204.025 | 6.2403 | 151.92 | 4.962 | 347.176 | 32.73 | 965.951 | 25.9197 | 10.2458
2019-05-23 13:45:00 | 0 | 146.861 | 5.2177 | 212.585 | 4.962 | 176.749 | 0 | 345.643 | 33.46 | 966.544 | 23.263 | 10.2236
2019-05-23 14:00:00 | 0 | 173.539 | 7.0073 | 236.223 | 7.7743 | 191.243 | 0.37567 | 354.155 | 33.72 | 966.396 | 18.1199 | 18.5777
2019-05-23 14:15:00 | 6.2227 | 205.494 | 9.0527 | 249.355 | 10.0753 | 190.927 | 4.962 | 32.879 | 34.22 | 966.692 | 11.1717 | 19.8656
2019-05-23 14:30:00 | 0 | 201.262 | 5.9847 | 236.952 | 5.4733 | 246.447 | 0.63133 | 35.2623 | 35.05 | 966.726 | 12.0232 | 26.832
2019-05-23 14:45:00 | 2.7867 | 259.676 | 6.7517 | 315.916 | 5.4733 | 217.775 | 2.1497 | 75.8017 | 35.26 | 966.421 | 11.955 | 25.6459
2019-05-23 15:00:00 | 9.0313 | 208.373 | 7.0073 | 260.133 | 5.2177 | 192.13 | 5.2177 | 33.8251 | 35.48 | 966.689 | 11.4774 | 29.06
2019-05-23 15:15:00 | 0 | 231.203 | 4.7063 | 300.597 | 5.2177 | 171.445 | 1.5183 | 47.2374 | 35.39 | 966.736 | 12.4963 | 28.3912
2019-05-23 15:30:00 | 10.5633 | 203.832 | 9.0527 | 226.718 | 10.331 | 180.201 | 2.4053 | 54.3616 | 35.22 | 966.125 | 11.4069 | 27.9219
2019-05-23 15:45:00 | 0.372 | 209.067 | 8.797 | 248.074 | 8.5413 | 192.923 | 1.2627 | 50.5952 | 35.13 | 966.202 | 12.3608 | 28.9723
2019-05-23 16:00:00 | 2.1373 | 233.897 | 9.3083 | 262.549 | 5.4733 | 225.558 | 4.4507 | 55.0947 | 35.09 | 966.403 | 10.5223 | 29.8026
2019-05-23 16:15:00 | 4.946 | 209.206 | 6.7517 | 251.599 | 8.2857 | 170.035 | 4.7063 | 31.7311 | 35.08 | 966.159 | 11.9191 | 39.2435
2019-05-23 16:30:00 | 5.4567 | 204.435 | 7.0073 | 260.913 | 5.4733 | 203.171 | 5.2177 | 67.0184 | 35.21 | 966.091 | 10.5579 | 38.2036
2019-05-23 16:45:00 | 0 | 194.08 | 13.1433 | 231.439 | 13.6547 | 186.421 | 1.6383 | 17.6768 | 35.03 | 965.684 | 8.3433 | 37.7682
2019-05-23 17:00:00 | 0.99933 | 209.237 | 6.2403 | 228.317 | 9.0527 | 186.864 | 4.4507 | 34.2893 | 34.79 | 965.837 | 10.8991 | 35.8104
2019-05-23 17:15:00 | 6.478 | 183.145 | 3.428 | 276.276 | 5.4733 | 174.317 | 3.1723 | 39.3478 | 34.63 | 966.128 | 11.921 | 31.0515
2019-05-23 17:30:00 | 6.2227 | 214.346 | 7.0073 | 263.071 | 5.9847 | 188.227 | 3.1723 | 43.7738 | 34.42 | 965.856 | 12.1253 | 22.8711
2019-05-23 17:45:00 | 0 | 206.369 | 5.9847 | 247.507 | 5.729 | 190.246 | 0.63133 | 30.593 | 34.18 | 965.681 | 12.6703 | 22.9302
2019-05-23 18:00:00 | 0 | 190.805 | 5.9847 | 234.326 | 5.9847 | 204.57 | 4.7063 | 21.3033 | 33.78 | 965.587 | 13.4877 | 15.3595
2019-05-23 18:15:00 | 0 | 198.806 | 5.9847 | 245.002 | 5.2177 | 187.06 | 4.075 | 21.1574 | 33.39 | 965.495 | 14.1008 | 13.113
2019-05-23 18:30:00 | 0.372 | 198.903 | 7.263 | 246.729 | 5.9847 | 185.552 | 4.195 | 25.097 | 32.99 | 965.358 | 14.4414 | 9.2962
2019-05-23 18:45:00 | 0 | 204.67 | 4.962 | 242.453 | 4.4507 | 199.661 | 3.6837 | 34.2171 | 32.66 | 965.209 | 15.1229 | 9.1484
2019-05-23 19:00:00 | 0 | 195.677 | 5.4733 | 236.411 | 3.9393 | 195.945 | 0.37567 | 21.0636 | 32.33 | 965.209 | 15.3295 | 13.2719
2019-05-23 19:15:00 | 0 | 188.144 | 5.729 | 234.702 | 4.7063 | 174.229 | 0.75133 | 16.2017 | 32.29 | 965.358 | 15.1958 | 14.5097
2019-05-23 19:30:00 | 1.138 | 176.785 | 4.962 | 230.082 | 3.9393 | 174.036 | 0 | 3.0166 | 32.11 | 965.358 | 17.2402 | 11.7718
2019-05-23 19:45:00 | 5.4567 | 172.138 | 8.03 | 214.124 | 8.2857 | 165.862 | 5.729 | 355.248 | 31.59 | 965.061 | 19.3526 | 18.3486
2019-05-23 20:00:00 | 5.2013 | 180.629 | 6.496 | 206.923 | 5.729 | 184.01 | 0.37567 | 5.5222 | 31.49 | 965.358 | 19.3526 | 25.476
2019-05-23 20:15:00 | 3.1587 | 182.064 | 8.5413 | 225.874 | 9.3083 | 175.788 | 4.7063 | 352.353 | 31.52 | 965.209 | 19.5911 | 25.5055
2019-05-23 20:30:00 | 7.4993 | 168.952 | 9.3083 | 217.481 | 7.7743 | 183.548 | 5.729 | 356.44 | 31.3 | 965.358 | 19.5571 | 31.5946
2019-05-23 20:45:00 | 12.3507 | 178.293 | 7.5187 | 206.68 | 7.263 | 178.585 | 5.9847 | 0.92443 | 31.05 | 965.802 | 20.3748 | 29.8987
2019-05-23 21:00:00 | 11.3293 | 142.703 | 6.496 | 240.494 | 7.263 | 176.128 | 1.894 | 355.881 | 30.8 | 965.951 | 20.9199 | 28.1473
2019-05-23 21:15:00 | 2.3927 | 173.136 | 9.3083 | 219.5 | 8.5413 | 181.334 | 0 | 355.443 | 30.14 | 965.654 | 20.9881 | 31.7905
2019-05-23 21:30:00 | 7.4993 | 185.447 | 8.797 | 221.107 | 10.0753 | 162.092 | 4.962 | 0.82713 | 30.11 | 965.225 | 20.9882 | 36.8413
2019-05-23 21:45:00 | 5.712 | 177.284 | 12.3763 | 219.517 | 12.1207 | 178.184 | 1.6383 | 1.6544 | 30.1 | 965.402 | 20.9895 | 44.7446
2019-05-23 22:00:00 | 1.51 | 157.764 | 9.3083 | 216.816 | 10.331 | 169.856 | 5.4733 | 349.47 | 30.13 | 965.459 | 21.128 | 47.4492
2019-05-23 22:15:00 | 8.2653 | 172.253 | 8.2857 | 223.694 | 8.797 | 166.851 | 6.2403 | 353.216 | 29.49 | 965.671 | 22.9016 | 45.1953
2019-05-23 22:30:00 | 3.6693 | 153.967 | 8.797 | 214.394 | 9.8197 | 153.237 | 5.9847 | 354.05 | 29.06 | 965.782 | 24.1305 | 43.093
2019-05-23 22:45:00 | 7.4993 | 161.58 | 7.7743 | 205.166 | 9.8197 | 191.682 | 4.195 | 355.355 | 28.7 | 965.504 | 24.6752 | 42.4538
2019-05-23 23:00:00 | 1.6267 | 153.909 | 9.8197 | 214.307 | 9.3083 | 169.921 | 3.428 | 354.879 | 28.77 | 965.504 | 25.1514 | 48.6353
2019-05-23 23:15:00 | 12.606 | 165.542 | 8.2857 | 209.029 | 8.5413 | 163.571 | 5.9847 | 356.075 | 28.4 | 965.504 | 26.7875 | 49.7917
2019-05-23 23:30:00 | 4.6907 | 160.612 | 8.797 | 212.133 | 9.0527 | 164.773 | 6.496 | 347.725 | 27.72 | 965.207 | 27.1981 | 50.0652
2019-05-23 23:45:00 | 1.3713 | 155.527 | 8.03 | 195.344 | 7.7743 | 149.93 | 4.195 | 348.263 | 27.47 | 965.059 | 27.9141 | 47.6155