## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-24 00:00:00 | 0 | 167.792 | 8.03 | 192.448 | 9.3083 | 122.48 | 4.7063 | 335.439 | 27.22 | 965.059 | 29.3115 | 48.1586
2019-05-24 00:15:00 | 9.7973 | 174.898 | 10.5867 | 221.772 | 10.331 | 189.329 | 5.729 | 7.0573 | 26.94 | 964.763 | 29.7887 | 51.6576
2019-05-24 00:30:00 | 5.712 | 144.941 | 7.7743 | 208.801 | 8.5413 | 154.627 | 5.9847 | 346.949 | 27.16 | 965.376 | 30.6067 | 52.4631
2019-05-24 00:45:00 | 10.5633 | 153.897 | 8.5413 | 209.531 | 9.564 | 159.397 | 1.3827 | 350.673 | 26.74 | 965.136 | 30.6748 | 51
2019-05-24 01:00:00 | 6.7333 | 191.471 | 9.564 | 221.699 | 10.5867 | 185.436 | 5.729 | 355.54 | 26.6 | 964.714 | 29.6523 | 53.1282
2019-05-24 01:15:00 | 3.1587 | 178.039 | 9.8197 | 211.041 | 9.0527 | 163.778 | 4.962 | 1.9955 | 26.74 | 965.147 | 30.8454 | 52.5998
2019-05-24 01:30:00 | 6.2227 | 169.574 | 10.8423 | 216.936 | 11.098 | 184.784 | 0.887 | 347.13 | 26.29 | 964.542 | 29.7895 | 53.4385
2019-05-24 01:45:00 | 6.9887 | 155.362 | 8.03 | 206.083 | 7.0073 | 157.869 | 1.007 | 341.363 | 26.63 | 964.871 | 31.6983 | 53.2981
2019-05-24 02:00:00 | 8.776 | 169.198 | 9.8197 | 208.583 | 10.331 | 154.011 | 2.661 | 85.889 | 25.7 | 964.61 | 32.4507 | 53.9115
2019-05-24 02:15:00 | 4.946 | 197.198 | 10.5867 | 222.47 | 11.3537 | 163.293 | 5.729 | 354.358 | 25.41 | 964.458 | 33.6798 | 51.0295
2019-05-24 02:30:00 | 3.9247 | 154.556 | 9.8197 | 196.135 | 9.8197 | 146.061 | 4.4507 | 339.366 | 25.33 | 964.315 | 32.1118 | 51.3177
2019-05-24 02:45:00 | 7.7547 | 151.538 | 8.2857 | 196.622 | 9.8197 | 147.644 | 1.6383 | 345.548 | 25.17 | 964.167 | 33.6799 | 50.5492
2019-05-24 03:00:00 | 2.9033 | 163.464 | 9.564 | 225.294 | 8.03 | 169.866 | 2.661 | 352.558 | 25.09 | 964.463 | 33.1345 | 51.2438
2019-05-24 03:15:00 | 5.9673 | 157.282 | 11.3537 | 205.336 | 10.5867 | 165.947 | 2.661 | 354.092 | 24.71 | 963.87 | 34.839 | 49.3447
2019-05-24 03:30:00 | 11.5847 | 145.872 | 9.3083 | 195.802 | 8.2857 | 155.34 | 6.2403 | 338.063 | 24.67 | 963.87 | 35.2492 | 50.5344
2019-05-24 03:45:00 | 4.6907 | 155.878 | 9.564 | 206.393 | 9.8197 | 171.943 | 5.4733 | 347.562 | 24.59 | 963.87 | 31.2612 | 54.3237
2019-05-24 04:00:00 | 4.4353 | 145.955 | 12.1207 | 199.224 | 7.7743 | 164.455 | 5.4733 | 336.65 | 24.56 | 963.722 | 33.9561 | 49.5442
2019-05-24 04:15:00 | 5.712 | 157.425 | 10.0753 | 197.138 | 9.3083 | 145.862 | 3.9393 | 337.294 | 24.24 | 964.018 | 36.1392 | 50.0208
2019-05-24 04:30:00 | 4.4353 | 157.942 | 10.8423 | 208.319 | 8.2857 | 152.197 | 4.962 | 345.607 | 23.8 | 964.018 | 35.254 | 49.6809
2019-05-24 04:45:00 | 6.2227 | 159.086 | 10.331 | 199.531 | 9.0527 | 148.01 | 1.5183 | 341.615 | 23.71 | 963.87 | 38.0498 | 47.5564
2019-05-24 05:00:00 | 2.0207 | 157.163 | 11.098 | 185.801 | 8.797 | 137.225 | 1.894 | 341.809 | 22.97 | 963.722 | 37.8452 | 48.5761
2019-05-24 05:15:00 | 2.1373 | 151.272 | 7.7743 | 197.608 | 9.0527 | 139.051 | 1.5183 | 336.283 | 22.84 | 964.018 | 37.7088 | 49.4962
2019-05-24 05:30:00 | 3.1587 | 144.605 | 9.8197 | 192.867 | 9.0527 | 151.981 | 3.1723 | 333.079 | 23.07 | 964.167 | 37.437 | 47.4196
2019-05-24 05:45:00 | 0 | 141.903 | 8.03 | 206.451 | 10.0753 | 169.559 | 4.962 | 338.582 | 23.07 | 964.018 | 37.5735 | 42.9858
2019-05-24 06:00:00 | 2.3927 | 156.944 | 10.331 | 205.959 | 6.2403 | 156.408 | 2.661 | 343.076 | 23.07 | 964.76 | 37.5725 | 41.3158
2019-05-24 06:15:00 | 2.3927 | 149.129 | 9.0527 | 196.221 | 7.5187 | 150.249 | 4.7063 | 328.494 | 22.87 | 964.463 | 38.7999 | 40.1556
2019-05-24 06:30:00 | 0 | 158.526 | 9.3083 | 200.456 | 10.5867 | 144.455 | 5.2177 | 345.899 | 22.82 | 964.76 | 39.7545 | 40.9795
2019-05-24 06:45:00 | 3.9247 | 154.996 | 9.3083 | 201.674 | 8.5413 | 142.191 | 5.729 | 336.576 | 22.66 | 964.463 | 40.6069 | 42.9563
2019-05-24 07:00:00 | 1.51 | 151.369 | 8.797 | 200.894 | 9.564 | 151.612 | 3.6837 | 336.454 | 22.58 | 964.612 | 41.1865 | 40.296
2019-05-24 07:15:00 | 1.51 | 161.446 | 7.7743 | 201.234 | 8.2857 | 146.937 | 2.661 | 339.446 | 22.48 | 964.908 | 41.6635 | 41.2345
2019-05-24 07:30:00 | 0 | 166.337 | 9.3083 | 203.836 | 9.0527 | 152.072 | 2.661 | 347.013 | 22.62 | 965.205 | 42.2086 | 36.5568
2019-05-24 07:45:00 | 0 | 136.541 | 6.2403 | 203.033 | 7.7743 | 137.052 | 0 | 329.534 | 22.76 | 965.205 | 42.4132 | 38.94
2019-05-24 08:00:00 | 0 | 159.986 | 7.0073 | 197.997 | 8.03 | 175.736 | 5.4733 | 354.734 | 22.79 | 965.205 | 39.4134 | 32.474
2019-05-24 08:15:00 | 0 | 147.377 | 9.0527 | 186.483 | 8.2857 | 150.59 | 2.4053 | 7.5709 | 23.35 | 965.501 | 38.5953 | 30.8667
2019-05-24 08:30:00 | 3.1587 | 155.211 | 7.5187 | 200.645 | 6.7517 | 170.644 | 5.4733 | 329.093 | 23.58 | 965.501 | 39.8216 | 29.5957
2019-05-24 08:45:00 | 1.6267 | 129.028 | 6.2403 | 192.344 | 6.2403 | 141.612 | 4.195 | 326.67 | 23.66 | 965.65 | 40.0898 | 25.2617
2019-05-24 09:00:00 | 0.372 | 157.331 | 9.0527 | 191.34 | 7.7743 | 160.86 | 4.7063 | 344.331 | 24.06 | 965.65 | 40.3954 | 28.2951
2019-05-24 09:15:00 | 2.648 | 156.836 | 10.8423 | 201.673 | 11.6093 | 145.957 | 1.2627 | 340.979 | 24.43 | 965.65 | 39.5412 | 32.4243
2019-05-24 09:30:00 | 0.62733 | 152.924 | 8.797 | 197.364 | 8.797 | 166.43 | 0.37567 | 341.499 | 24.69 | 965.828 | 38.923 | 30.1204
2019-05-24 09:45:00 | 0 | 149.346 | 9.564 | 200.211 | 9.0527 | 149.395 | 4.7063 | 345.489 | 25.06 | 966.091 | 37.7642 | 29.1302
2019-05-24 10:00:00 | 8.776 | 150.295 | 10.5867 | 199.505 | 10.331 | 157.28 | 5.9847 | 338.213 | 25.49 | 965.95 | 36.6394 | 35.4188
2019-05-24 10:15:00 | 13.6273 | 178.838 | 9.564 | 211.986 | 11.098 | 153.457 | 5.2177 | 1.1194 | 25.96 | 965.801 | 36.8093 | 41.671
2019-05-24 10:30:00 | 9.2867 | 180.678 | 7.0073 | 203.749 | 8.03 | 162.841 | 5.2177 | 4.2341 | 26.11 | 965.949 | 37.9661 | 38.5351
2019-05-24 10:45:00 | 3.808 | 189.271 | 9.0527 | 229.352 | 10.0753 | 201.025 | 5.9847 | 339.316 | 26.34 | 965.652 | 38.7506 | 40.2438
2019-05-24 11:00:00 | 7.7547 | 162.409 | 7.5187 | 206.798 | 9.564 | 129.192 | 5.729 | 3.6015 | 26.73 | 966.097 | 37.9674 | 39.2356
2019-05-24 11:15:00 | 6.478 | 142.546 | 8.5413 | 184.621 | 9.0527 | 136.998 | 5.729 | 328.332 | 26.83 | 965.58 | 37.625 | 41.652
2019-05-24 11:30:00 | 4.4353 | 153.544 | 9.3083 | 210.365 | 10.0753 | 182.55 | 5.2177 | 345.876 | 26.71 | 965.42 | 35.58 | 42.6385
2019-05-24 11:45:00 | 0 | 144.157 | 5.9847 | 210.642 | 6.2403 | 173.602 | 3.428 | 321.068 | 26.75 | 965.789 | 33.5024 | 47.6266
2019-05-24 12:00:00 | 3.9247 | 136.74 | 9.564 | 209.141 | 9.0527 | 156.5 | 4.962 | 334.172 | 26.88 | 965.504 | 32.5152 | 49.2671
2019-05-24 12:15:00 | 6.9887 | 138.554 | 9.564 | 190.848 | 11.098 | 140.938 | 6.2403 | 335.118 | 26.95 | 965.207 | 32.5126 | 48.118
2019-05-24 12:30:00 | 2.1373 | 143.109 | 12.3763 | 194.774 | 10.8423 | 149.388 | 6.7517 | 328.682 | 26.98 | 965.059 | 34.6268 | 44.7704
2019-05-24 12:45:00 | 3.9247 | 162.456 | 10.331 | 197.33 | 7.7743 | 132.063 | 2.661 | 346.156 | 27.05 | 965.059 | 32.923 | 54.4251
2019-05-24 13:00:00 | 4.4353 | 139.287 | 11.6093 | 189.295 | 9.0527 | 139.749 | 5.729 | 315.002 | 27.01 | 964.466 | 34.5581 | 41.6003
2019-05-24 13:15:00 | 1.51 | 155.737 | 10.0753 | 207.79 | 9.564 | 165.544 | 2.661 | 333.474 | 27.05 | 964.762 | 36.0919 | 35.424
2019-05-24 13:30:00 | 11.3293 | 146.584 | 8.797 | 196.08 | 8.5413 | 160.235 | 5.729 | 322.952 | 27.08 | 964.318 | 37.4884 | 35.7587
2019-05-24 13:45:00 | 0.62733 | 131.769 | 10.5867 | 204.384 | 10.8423 | 169.71 | 4.4507 | 327.886 | 27.26 | 964.762 | 35.649 | 36.6512
2019-05-24 14:00:00 | 11.5847 | 147.636 | 9.564 | 194.872 | 10.5867 | 156.13 | 5.4733 | 331.972 | 27.35 | 964.614 | 36.1947 | 38.0606
2019-05-24 14:15:00 | 4.4353 | 135.276 | 9.0527 | 196.36 | 9.3083 | 164.088 | 3.9393 | 310.167 | 27.33 | 964.318 | 36.3998 | 44.9449
2019-05-24 14:30:00 | 8.01 | 151.498 | 8.797 | 200.36 | 7.7743 | 146.044 | 5.4733 | 331.53 | 27.29 | 964.021 | 37.5901 | 48.1586
2019-05-24 14:45:00 | 2.648 | 135.856 | 10.0753 | 186.57 | 10.0753 | 134.785 | 4.962 | 315.878 | 27.32 | 963.28 | 36.5349 | 52.4499
2019-05-24 15:00:00 | 6.2227 | 141.186 | 9.564 | 216.746 | 9.8197 | 171.143 | 3.428 | 316.491 | 27.27 | 963.724 | 36.5352 | 47.886
2019-05-24 15:15:00 | 2.3927 | 148.419 | 9.0527 | 194.634 | 8.2857 | 141.069 | 5.729 | 333.873 | 27.35 | 963.28 | 36.775 | 61.4046
2019-05-24 15:30:00 | 3.414 | 124.084 | 10.8423 | 184.414 | 11.6093 | 136.592 | 5.4733 | 315.916 | 27.41 | 962.983 | 34.0826 | 65.0995
2019-05-24 15:45:00 | 0.99933 | 126.831 | 10.5867 | 176.914 | 10.8423 | 127.34 | 0.887 | 308.313 | 27.7 | 963.428 | 33.7409 | 54.6172
2019-05-24 16:00:00 | 2.9033 | 141.816 | 9.8197 | 187.516 | 10.331 | 134.829 | 2.1497 | 328.715 | 27.55 | 963.28 | 34.694 | 58.3379
2019-05-24 16:15:00 | 6.2227 | 144.659 | 8.5413 | 195.127 | 6.7517 | 142.275 | 5.729 | 318.348 | 27.52 | 963.131 | 34.1479 | 42.7531
2019-05-24 16:30:00 | 6.478 | 145.007 | 10.0753 | 203.777 | 7.5187 | 149.12 | 4.4507 | 319.097 | 27.43 | 963.28 | 34.3541 | 38.1669
2019-05-24 16:45:00 | 3.9247 | 143.187 | 7.0073 | 190.911 | 6.7517 | 161.755 | 4.195 | 318.594 | 27.34 | 962.983 | 33.6736 | 35.8991
2019-05-24 17:00:00 | 2.5313 | 144.503 | 8.03 | 180.815 | 6.496 | 138.468 | 2.9167 | 327.845 | 27.15 | 962.686 | 35.2418 | 34.5394
2019-05-24 17:15:00 | 1.7653 | 139.734 | 10.5867 | 186.656 | 8.797 | 136.789 | 3.6837 | 325.802 | 27.2 | 962.538 | 33.8787 | 39.9117
2019-05-24 17:30:00 | 4.4353 | 149.638 | 9.564 | 190.744 | 10.0753 | 152.047 | 1.007 | 331.156 | 27.53 | 962.686 | 31.97 | 41.5448
2019-05-24 17:45:00 | 6.7333 | 131.938 | 8.03 | 198.177 | 8.5413 | 156.198 | 1.5183 | 303.88 | 27.78 | 963.28 | 32.377 | 41.9143
2019-05-24 18:00:00 | 4.18 | 138.579 | 8.03 | 191.75 | 8.797 | 148.118 | 1.5183 | 330.132 | 27.63 | 963.131 | 32.7173 | 32.5368
2019-05-24 18:15:00 | 0 | 135.228 | 7.7743 | 188.646 | 7.0073 | 143.721 | 4.7063 | 327.789 | 27.51 | 963.724 | 33.1962 | 31.8754
2019-05-24 18:30:00 | 2.5313 | 139.609 | 8.2857 | 192.078 | 7.7743 | 144.963 | 4.4507 | 327.231 | 27.4 | 962.983 | 32.9236 | 26.9925
2019-05-24 18:45:00 | 1.2547 | 134.645 | 9.3083 | 184.315 | 8.03 | 138.27 | 5.2177 | 317.789 | 27.6 | 963.131 | 32.3783 | 29.943
2019-05-24 19:00:00 | 6.478 | 136.316 | 7.0073 | 174.157 | 7.0073 | 154.81 | 4.195 | 331.617 | 27.66 | 962.835 | 31.6268 | 33.6674
2019-05-24 19:15:00 | 7.244 | 141.291 | 8.2857 | 193.055 | 6.2403 | 153.775 | 5.2177 | 312.903 | 27.61 | 962.686 | 32.2426 | 37.7022
2019-05-24 19:30:00 | 9.0313 | 146.231 | 5.729 | 190.209 | 4.962 | 143.311 | 5.2177 | 334.052 | 27.55 | 962.686 | 33.0947 | 37.9498
2019-05-24 19:45:00 | 0 | 138.055 | 8.03 | 205.905 | 6.496 | 149.59 | 5.729 | 328.041 | 27.54 | 962.835 | 34.5603 | 34.1773
2019-05-24 20:00:00 | 4.4353 | 140.78 | 8.2857 | 198.848 | 7.5187 | 127.177 | 5.4733 | 322.833 | 27.26 | 962.835 | 35.0375 | 27.3603
2019-05-24 20:15:00 | 11.84 | 144.333 | 8.03 | 206.806 | 8.2857 | 146.913 | 5.2177 | 328.065 | 27.29 | 962.983 | 35.5146 | 24.2382
2019-05-24 20:30:00 | 3.9247 | 135.159 | 5.9847 | 188.262 | 4.962 | 130.17 | 4.195 | 315.289 | 27.35 | 963.28 | 36.8098 | 21.6222
2019-05-24 20:45:00 | 0 | 125.717 | 5.2177 | 187.921 | 4.962 | 156.671 | 5.4733 | 308.938 | 27.33 | 963.428 | 37.0143 | 18.1232
2019-05-24 21:00:00 | 4.6907 | 147.205 | 8.03 | 192.423 | 5.2177 | 156.33 | 2.9167 | 327.189 | 27.33 | 963.287 | 37.0143 | 19.8672
2019-05-24 21:15:00 | 2.5313 | 137.787 | 6.2403 | 180.256 | 5.4733 | 154.627 | 5.9847 | 320.886 | 27.5 | 962.986 | 36.7416 | 19.8635
2019-05-24 21:30:00 | 6.478 | 141.023 | 7.0073 | 188.627 | 6.7517 | 154.384 | 6.496 | 324.098 | 27.61 | 963.164 | 37.2188 | 18.9952
2019-05-24 21:45:00 | 4.946 | 125.035 | 8.2857 | 176.824 | 6.7517 | 153.702 | 3.9393 | 308.134 | 27.63 | 963.28 | 37.1506 | 19.4534
2019-05-24 22:00:00 | 2.1373 | 110.799 | 8.2857 | 173.515 | 7.5187 | 149.955 | 4.195 | 307.307 | 27.56 | 963.131 | 37.1506 | 22.5496
2019-05-24 22:15:00 | 7.7547 | 128.807 | 7.0073 | 193.592 | 7.263 | 150.247 | 6.7517 | 323.709 | 27.52 | 963.28 | 37.1506 | 23.7579
2019-05-24 22:30:00 | 1.51 | 123.794 | 7.0073 | 182.154 | 6.7517 | 146.499 | 5.9847 | 317.455 | 27.73 | 963.131 | 36.6053 | 21.9548
2019-05-24 22:45:00 | 8.5207 | 157.645 | 5.9847 | 202.085 | 7.263 | 147.375 | 7.263 | 331.131 | 27.56 | 963.131 | 37.2188 | 23.3847
2019-05-24 23:00:00 | 0 | 146.572 | 5.4733 | 199.846 | 4.962 | 147.18 | 5.2177 | 318.307 | 27.43 | 963.131 | 37.0825 | 22.8341
2019-05-24 23:15:00 | 0 | 126.203 | 6.7517 | 172.931 | 6.496 | 146.499 | 5.9847 | 321.032 | 27.3 | 962.835 | 37.287 | 31.8052
2019-05-24 23:30:00 | 0 | 140.999 | 6.7517 | 195.611 | 5.2177 | 146.791 | 5.9847 | 309.108 | 26.88 | 962.687 | 38.0368 | 29.0563
2019-05-24 23:45:00 | 6.2227 | 134.526 | 8.797 | 189.09 | 7.5187 | 142.338 | 3.9393 | 314.729 | 26.83 | 962.406 | 37.8323 | 29.0858