## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-25 00:00:00 | 0 | 142.946 | 5.4733 | 199.335 | 5.2177 | 142.581 | 1.774 | 325.753 | 26.66 | 962.465 | 38.3776 | 26.5216
2019-05-25 00:15:00 | 0 | 150.879 | 5.2177 | 199.554 | 3.9393 | 143.433 | 5.2177 | 329.306 | 26.24 | 962.741 | 39.8773 | 27.9441
2019-05-25 00:30:00 | 1.2547 | 158.813 | 5.2177 | 207.025 | 6.7517 | 143.481 | 4.4507 | 331.837 | 25.78 | 962.568 | 41.0361 | 25.1323
2019-05-25 00:45:00 | 0 | 159.996 | 4.962 | 225.761 | 4.962 | 192.754 | 4.962 | 346.106 | 25.61 | 962.372 | 42.1308 | 27.5377
2019-05-25 01:00:00 | 0 | 148.325 | 5.9847 | 192.581 | 5.2177 | 183.398 | 5.729 | 340.485 | 25.53 | 962.535 | 42.8839 | 24.1532
2019-05-25 01:15:00 | 5.712 | 154.848 | 8.797 | 209.108 | 9.0527 | 183.228 | 5.4733 | 338.903 | 25.33 | 962.238 | 44.1793 | 24.3047
2019-05-25 01:30:00 | 0 | 166.823 | 4.7063 | 208.597 | 5.9847 | 183.593 | 2.1497 | 329.362 | 25.12 | 962.237 | 44.6565 | 26.1152
2019-05-25 01:45:00 | 3.414 | 148.568 | 5.729 | 206.723 | 6.496 | 183.496 | 4.4507 | 334.474 | 25.15 | 962.09 | 45.8837 | 25.9932
2019-05-25 02:00:00 | 0 | 148.471 | 7.5187 | 193.166 | 5.2177 | 183.228 | 4.4507 | 331.553 | 25.02 | 961.793 | 46.4973 | 24.5559
2019-05-25 02:15:00 | 2.0207 | 144.092 | 6.496 | 198.79 | 6.2403 | 183.619 | 2.2853 | 331.289 | 24.97 | 962.09 | 47.316 | 20.7798
2019-05-25 02:30:00 | 2.9033 | 154.706 | 6.2403 | 203.175 | 5.729 | 183.573 | 5.9847 | 339.618 | 24.86 | 961.793 | 48.203 | 24.9808
2019-05-25 02:45:00 | 9.0313 | 142.242 | 7.5187 | 191.708 | 8.797 | 181.478 | 2.661 | 325.594 | 24.89 | 961.645 | 49.1569 | 25.221
2019-05-25 03:00:00 | 1.882 | 144.748 | 7.263 | 200.054 | 7.7743 | 179.918 | 5.2177 | 345.598 | 25.12 | 961.2 | 49.5314 | 22.7676
2019-05-25 03:15:00 | 0.88267 | 137.423 | 7.263 | 207.504 | 5.9847 | 180.066 | 0.37567 | 322.04 | 24.9 | 961.2 | 49.9069 | 24.2419
2019-05-25 03:30:00 | 3.042 | 138.713 | 7.263 | 202.564 | 5.729 | 180.091 | 3.9393 | 326.276 | 25.02 | 961.2 | 49.6343 | 25.9452
2019-05-25 03:45:00 | 3.9247 | 126.838 | 5.729 | 188.524 | 7.263 | 180.021 | 4.7063 | 310.656 | 24.92 | 961.052 | 50.8284 | 32.7289
2019-05-25 04:00:00 | 0.372 | 147.132 | 7.7743 | 192.095 | 8.03 | 139.612 | 2.661 | 322.718 | 25.14 | 961.2 | 49.7699 | 32.6624
2019-05-25 04:15:00 | 2.648 | 131.899 | 6.7517 | 183.629 | 7.0073 | 138.519 | 2.661 | 315.618 | 24.92 | 961.2 | 50.2482 | 30.3125
2019-05-25 04:30:00 | 4.6907 | 134.671 | 7.0073 | 188.591 | 6.496 | 133.284 | 5.9847 | 322.427 | 24.78 | 961.2 | 50.7246 | 32.2412
2019-05-25 04:45:00 | 0 | 124.498 | 5.9847 | 198.401 | 6.496 | 132.798 | 4.7063 | 310.089 | 24.72 | 961.052 | 49.4977 | 32.655
2019-05-25 05:00:00 | 0 | 150.322 | 6.7517 | 191.683 | 6.2403 | 124.036 | 5.2177 | 322.819 | 24.62 | 961.052 | 49.3273 | 27.5968
2019-05-25 05:15:00 | 0.372 | 142.439 | 9.564 | 190.592 | 8.2857 | 124.038 | 3.6837 | 319.588 | 24.7 | 961.2 | 48.5442 | 29.9726
2019-05-25 05:30:00 | 3.042 | 135.015 | 8.5413 | 184.969 | 9.0527 | 125.206 | 4.4507 | 310.241 | 24.56 | 961.645 | 47.6919 | 27.5192
2019-05-25 05:45:00 | 6.9887 | 140.926 | 8.03 | 183.698 | 7.263 | 121.479 | 4.195 | 317.947 | 24.7 | 961.793 | 47.8609 | 28.3321
2019-05-25 06:00:00 | 3.1587 | 131.823 | 9.8197 | 174.132 | 8.797 | 125.397 | 5.4733 | 312.982 | 24.63 | 961.645 | 48.9518 | 29.0008
2019-05-25 06:15:00 | 2.3927 | 126.785 | 10.0753 | 179.341 | 10.331 | 125.592 | 1.6383 | 313.615 | 24.49 | 961.942 | 50.7244 | 28.8383
2019-05-25 06:30:00 | 0 | 127.636 | 8.2857 | 182.992 | 8.797 | 124.716 | 3.9393 | 329.971 | 24.42 | 962.09 | 51.713 | 27.5192
2019-05-25 06:45:00 | 0.99933 | 133.761 | 7.5187 | 181.689 | 6.496 | 127.823 | 1.5183 | 311.745 | 24.41 | 962.343 | 52.4936 | 24.7259
2019-05-25 07:00:00 | 3.9247 | 134.185 | 10.0753 | 184.904 | 7.0073 | 144.893 | 5.729 | 316.166 | 24.42 | 962.097 | 52.8972 | 21.8439
2019-05-25 07:15:00 | 0.99933 | 141.437 | 8.2857 | 190.136 | 7.7743 | 121.117 | 3.1723 | 321.543 | 24.5 | 962.726 | 52.5562 | 19.2058
2019-05-25 07:30:00 | 4.6907 | 140.561 | 7.7743 | 204.859 | 7.263 | 122.334 | 5.2177 | 312.296 | 24.58 | 962.835 | 54.0218 | 19.6603
2019-05-25 07:45:00 | 0 | 129.316 | 5.729 | 189.962 | 5.729 | 123.914 | 5.729 | 307.083 | 24.67 | 962.983 | 55.0093 | 18.0937
2019-05-25 08:00:00 | 0.88267 | 134.93 | 8.03 | 202.239 | 6.7517 | 126.802 | 5.9847 | 318.162 | 24.77 | 962.835 | 54.3246 | 19.8598
2019-05-25 08:15:00 | 1.116 | 145.399 | 6.496 | 193.415 | 6.7517 | 127.319 | 5.729 | 329.272 | 25 | 962.687 | 55.7583 | 19.9263
2019-05-25 08:30:00 | 0 | 139.801 | 7.5187 | 203.219 | 7.263 | 127.561 | 1.007 | 308.779 | 25.1 | 962.835 | 56.235 | 17.0037
2019-05-25 08:45:00 | 0 | 149.46 | 7.0073 | 196.344 | 7.0073 | 127.296 | 5.729 | 331.499 | 25.72 | 963.054 | 57.043 | 15.6477
2019-05-25 09:00:00 | 0 | 136.305 | 7.0073 | 180.48 | 5.4733 | 127.231 | 0.37567 | 319.658 | 25.75 | 963.135 | 57.3084 | 15.7216
2019-05-25 09:15:00 | 0 | 183.426 | 5.4733 | 218.406 | 5.9847 | 127.377 | 0.63133 | 352.524 | 26.17 | 963.579 | 56.6951 | 13.9407
2019-05-25 09:30:00 | 0 | 180.58 | 6.496 | 228.745 | 7.5187 | 127.669 | 0.63133 | 347.999 | 26.4 | 963.283 | 55.9455 | 18.2378
2019-05-25 09:45:00 | 0.372 | 136.232 | 8.2857 | 187.656 | 8.5413 | 151.436 | 2.541 | 321.142 | 26.72 | 963.579 | 56.6951 | 23.9574
2019-05-25 10:00:00 | 2.3927 | 156.01 | 8.5413 | 200.039 | 7.5187 | 187.27 | 5.9847 | 355.832 | 27.11 | 963.579 | 55.8774 | 30.5231
2019-05-25 10:15:00 | 1.7653 | 168.149 | 7.263 | 219.379 | 4.962 | 198.947 | 4.195 | 316.593 | 26.94 | 963.431 | 58.8757 | 30.2423
2019-05-25 10:30:00 | 5.9673 | 182.161 | 7.5187 | 224.244 | 7.263 | 190.238 | 1.007 | 1.3623 | 27.17 | 963.135 | 58.3987 | 29.3877
2019-05-25 10:45:00 | 8.5207 | 184.205 | 9.8197 | 228.015 | 10.0753 | 189.362 | 2.1497 | 12.8934 | 26.94 | 962.838 | 61.7377 | 29.7582
2019-05-25 11:00:00 | 0.744 | 143.043 | 8.797 | 198.238 | 8.797 | 183.013 | 4.4507 | 341.723 | 27.26 | 962.69 | 59.6934 | 32.341
2019-05-25 11:15:00 | 0 | 184.789 | 7.0073 | 240.3 | 6.496 | 161.945 | 4.962 | 13.3799 | 27.38 | 962.986 | 59.5571 | 27.2484
2019-05-25 11:30:00 | 3.414 | 158.369 | 7.7743 | 196.073 | 7.7743 | 163.867 | 5.9847 | 344.277 | 27.87 | 963.135 | 59.1482 | 28.8789
2019-05-25 11:45:00 | 0.88267 | 165.984 | 5.4733 | 221.057 | 5.9847 | 158.15 | 5.4733 | 335.519 | 27.8 | 963.135 | 54.7189 | 32.9784
2019-05-25 12:00:00 | 0.372 | 161.216 | 10.0753 | 235.751 | 10.0753 | 182.113 | 3.9393 | 345.031 | 28.08 | 962.838 | 54.0034 | 30.7138
2019-05-25 12:15:00 | 0 | 181.772 | 5.4733 | 206.315 | 5.729 | 140.611 | 3.428 | 16.7127 | 28.4 | 963.135 | 52.5383 | 30.9813
2019-05-25 12:30:00 | 0 | 165.23 | 8.5413 | 217.092 | 6.7517 | 181.188 | 2.4053 | 347.61 | 28.5 | 962.986 | 53.4242 | 32.075
2019-05-25 12:45:00 | 0 | 182.526 | 5.9847 | 239.57 | 5.9847 | 206.123 | 1.3827 | 0.24327 | 28.55 | 962.69 | 51.891 | 33.0141
2019-05-25 13:00:00 | 1.6267 | 184.399 | 9.564 | 229.328 | 9.3083 | 168.684 | 0.37567 | 8.3442 | 28.7 | 962.542 | 49.8808 | 36.2523
2019-05-25 13:15:00 | 8.2653 | 183.475 | 8.5413 | 230.228 | 8.797 | 184.91 | 2.9167 | 1.1677 | 28.98 | 962.542 | 51.4821 | 43.6934
2019-05-25 13:30:00 | 5.4567 | 177.636 | 7.263 | 211.448 | 7.5187 | 172.114 | 1.894 | 355.565 | 28.99 | 962.69 | 50.0511 | 37.7872
2019-05-25 13:45:00 | 6.9887 | 181.504 | 11.3537 | 237.77 | 11.865 | 192.622 | 0.37567 | 1.8489 | 29.08 | 962.394 | 51.5843 | 39.7508
2019-05-25 14:00:00 | 0.99933 | 198.704 | 8.5413 | 228.891 | 10.5867 | 186.346 | 0.63133 | 333.281 | 29.11 | 962.69 | 47.5639 | 35.252
2019-05-25 14:15:00 | 0 | 171.311 | 7.263 | 211.667 | 7.0073 | 159.561 | 0.37567 | 356.733 | 29.41 | 962.542 | 48.109 | 35.7846
2019-05-25 14:30:00 | 4.946 | 160.255 | 8.03 | 206.274 | 8.2857 | 175.191 | 6.2403 | 354.857 | 29.56 | 962.542 | 46.7427 | 38.2897
2019-05-25 14:45:00 | 0 | 165.84 | 8.03 | 238.757 | 10.8423 | 199.48 | 5.9847 | 0.70539 | 29.62 | 962.245 | 46.2289 | 34.4507
2019-05-25 15:00:00 | 3.042 | 196.043 | 10.0753 | 236.802 | 9.564 | 198.232 | 2.9167 | 19.7989 | 29.77 | 962.245 | 47.3514 | 38.8363
2019-05-25 15:15:00 | 1.2547 | 180.184 | 9.8197 | 228.07 | 9.3083 | 193.976 | 0 | 356.818 | 29.8 | 962.245 | 43.6723 | 30.2201
2019-05-25 15:30:00 | 0 | 167.634 | 5.9847 | 201.047 | 5.4733 | 188.308 | 2.0297 | 0.19458 | 29.78 | 962.542 | 44.6261 | 26.7507
2019-05-25 15:45:00 | 0 | 176.463 | 6.2403 | 218.122 | 5.9847 | 183.492 | 4.195 | 356.672 | 29.89 | 962.245 | 46.7382 | 27.6559
2019-05-25 16:00:00 | 0 | 166.853 | 8.2857 | 212.256 | 10.0753 | 172.131 | 3.428 | 0.19458 | 30.03 | 962.245 | 44.5573 | 29.6179
2019-05-25 16:15:00 | 2.0207 | 163.304 | 7.263 | 211.384 | 6.7517 | 172.644 | 2.9167 | 351.369 | 29.8 | 962.097 | 44.6942 | 33.2758
2019-05-25 16:30:00 | 0 | 177.632 | 5.729 | 213.551 | 5.2177 | 171.162 | 5.729 | 0.38917 | 30.01 | 962.394 | 45.4441 | 30.3605
2019-05-25 16:45:00 | 0 | 194.023 | 4.4507 | 217.075 | 7.0073 | 154.62 | 4.962 | 20.2609 | 29.88 | 962.245 | 44.8985 | 25.1139
2019-05-25 17:00:00 | 0 | 168.217 | 7.5187 | 210.97 | 5.2177 | 175.781 | 0.63133 | 345.554 | 29.79 | 962.097 | 46.0567 | 22.6568
2019-05-25 17:15:00 | 0 | 177.12 | 6.7517 | 237.945 | 7.5187 | 183.687 | 3.9393 | 331.084 | 29.79 | 961.949 | 46.1251 | 30.7596
2019-05-25 17:30:00 | 0 | 180.022 | 6.496 | 236.034 | 7.7743 | 195.175 | 3.428 | 1.7513 | 29.54 | 961.504 | 45.8544 | 34.7389
2019-05-25 17:45:00 | 0 | 179.894 | 8.03 | 211.904 | 7.7743 | 165.93 | 3.1723 | 355.117 | 29.32 | 961.504 | 47.4263 | 28.7163
2019-05-25 18:00:00 | 0 | 147.933 | 7.0073 | 200.014 | 5.729 | 163.283 | 5.2177 | 326.226 | 29.11 | 961.652 | 46.3373 | 23.0411
2019-05-25 18:15:00 | 0 | 163.989 | 7.263 | 209.794 | 5.9847 | 178.95 | 0.887 | 338.828 | 28.89 | 961.801 | 46.8824 | 19.1578
2019-05-25 18:30:00 | 0 | 168.149 | 5.729 | 208.066 | 6.7517 | 153.042 | 4.7063 | 344.471 | 28.74 | 961.504 | 48.0068 | 24.652
2019-05-25 18:45:00 | 0 | 161.362 | 6.7517 | 207.75 | 6.496 | 153.553 | 1.007 | 351.891 | 28.55 | 961.652 | 50.017 | 32.8989
2019-05-25 19:00:00 | 7.244 | 152.155 | 9.564 | 195.275 | 9.8197 | 162.862 | 3.1723 | 337.525 | 28.27 | 961.35 | 51.9378 | 31.3175
2019-05-25 19:15:00 | 3.5527 | 159.102 | 9.8197 | 212.959 | 9.3083 | 158.202 | 5.729 | 342.151 | 28.1 | 961.5 | 53.1349 | 33.091
2019-05-25 19:30:00 | 2.648 | 153.249 | 10.0753 | 213.694 | 10.0753 | 170.793 | 4.195 | 336.817 | 28.07 | 961.204 | 53.2667 | 38.0237
2019-05-25 19:45:00 | 4.18 | 148.634 | 11.865 | 198.278 | 10.8423 | 157.686 | 5.2177 | 327.49 | 27.86 | 961.204 | 57.257 | 52.6737
2019-05-25 20:00:00 | 3.414 | 153.288 | 11.3537 | 200.819 | 10.331 | 159.762 | 2.9167 | 329.89 | 27.19 | 961.648 | 62.3039 | 56.2864
2019-05-25 20:15:00 | 4.18 | 157.036 | 10.5867 | 205.735 | 10.331 | 155.746 | 4.7063 | 336.923 | 26.68 | 961.945 | 65.8487 | 62.1796
2019-05-25 20:30:00 | 4.18 | 138.785 | 12.632 | 192.569 | 11.098 | 151.196 | 6.496 | 328.211 | 26.13 | 961.803 | 69.4615 | 59.1603
2019-05-25 20:45:00 | 3.6693 | 137.957 | 11.865 | 186.559 | 11.6093 | 137.714 | 3.428 | 318.988 | 25.59 | 961.661 | 70.9611 | 55.1603
2019-05-25 21:00:00 | 4.18 | 157.968 | 11.3537 | 196.473 | 10.331 | 145.897 | 2.4053 | 337.133 | 25.19 | 961.899 | 72.8731 | 57.3329
2019-05-25 21:15:00 | 6.2227 | 147.108 | 10.331 | 196.743 | 8.5413 | 151.635 | 4.962 | 331.163 | 24.74 | 961.793 | 74.791 | 56.0619
2019-05-25 21:30:00 | 3.414 | 152.487 | 11.098 | 200.321 | 11.3537 | 156.454 | 2.1497 | 329.533 | 24.34 | 961.793 | 75.882 | 57.6026
2019-05-25 21:45:00 | 3.414 | 128.781 | 8.5413 | 181.799 | 8.03 | 142.094 | 4.4507 | 321.842 | 24.11 | 961.645 | 76.7003 | 53.6876
2019-05-25 22:00:00 | 5.2013 | 142.106 | 8.5413 | 196.226 | 8.2857 | 144.418 | 4.962 | 329.901 | 23.91 | 961.645 | 77.0474 | 54.1849
2019-05-25 22:15:00 | 4.4353 | 143.724 | 10.331 | 189.111 | 11.098 | 150.102 | 2.4053 | 324.28 | 23.88 | 961.497 | 77.4629 | 53.3831
2019-05-25 22:30:00 | 7.4993 | 139.44 | 10.331 | 195.538 | 9.3083 | 155.775 | 2.9167 | 324.16 | 23.8 | 961.942 | 78.3496 | 51.8118
2019-05-25 22:45:00 | 5.9673 | 132.43 | 9.3083 | 191.887 | 7.7743 | 133.842 | 4.195 | 316.103 | 23.58 | 961.645 | 78.8953 | 50.4642
2019-05-25 23:00:00 | 4.18 | 145.892 | 11.3537 | 195.149 | 9.0527 | 138.467 | 6.496 | 314.715 | 23.4 | 961.645 | 79.0317 | 57.4585
2019-05-25 23:15:00 | 5.4567 | 152.343 | 11.6093 | 192.399 | 10.8423 | 132.454 | 6.2403 | 328.786 | 23.34 | 961.793 | 79.0317 | 59.7309
2019-05-25 23:30:00 | 3.9247 | 135.911 | 8.2857 | 180.324 | 9.3083 | 131.285 | 4.7063 | 317.928 | 23.12 | 961.348 | 79.2363 | 60.0191
2019-05-25 23:45:00 | 5.2013 | 142.191 | 12.8877 | 199.921 | 12.632 | 151.88 | 5.4733 | 327.276 | 23.02 | 961.2 | 79.6454 | 67.2647