## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-26 00:00:00 | 3.6693 | 140.244 | 12.8877 | 189.818 | 12.8877 | 134.158 | 2.661 | 322.018 | 22.87 | 961.052 | 80.1227 | 72.1907
2019-05-26 00:15:00 | 5.712 | 141.538 | 10.8423 | 197.321 | 9.8197 | 138.933 | 3.6837 | 317.352 | 22.81 | 960.903 | 80.0566 | 71.338
2019-05-26 00:30:00 | 5.4567 | 129.837 | 10.5867 | 181.22 | 10.0753 | 131.956 | 5.4733 | 330.108 | 22.6 | 960.903 | 80.4715 | 68.8497
2019-05-26 00:45:00 | 4.6907 | 127.875 | 12.8877 | 189.05 | 12.3763 | 147.84 | 7.263 | 317.179 | 22.55 | 960.607 | 80.0681 | 65.4283
2019-05-26 01:00:00 | 3.414 | 121.228 | 11.3537 | 183.036 | 9.3083 | 129.165 | 3.9393 | 304.761 | 22.44 | 960.607 | 79.727 | 70.0247
2019-05-26 01:15:00 | 5.712 | 150.567 | 12.1207 | 198.546 | 10.331 | 152.32 | 5.729 | 321.683 | 22.38 | 960.31 | 80.682 | 68.7463
2019-05-26 01:30:00 | 4.6907 | 140.316 | 9.564 | 201.979 | 10.331 | 158.115 | 2.4053 | 327.941 | 22.15 | 960.458 | 81.9096 | 63.8617
2019-05-26 01:45:00 | 4.4353 | 138.856 | 10.5867 | 190.95 | 10.0753 | 141.875 | 6.2403 | 329.036 | 22 | 960.458 | 82.728 | 65.1799
2019-05-26 02:00:00 | 6.7333 | 133.913 | 9.3083 | 176.803 | 10.5867 | 149.593 | 7.7743 | 316.911 | 21.88 | 960.458 | 82.4552 | 57.6876
2019-05-26 02:15:00 | 4.4353 | 144.431 | 9.8197 | 187.687 | 10.0753 | 135.325 | 6.2403 | 317.69 | 21.83 | 960.31 | 82.2165 | 58.5116
2019-05-26 02:30:00 | 6.7333 | 136.932 | 11.098 | 187.346 | 11.098 | 132.915 | 1.894 | 311.092 | 21.74 | 960.488 | 81.8755 | 61.6928
2019-05-26 02:45:00 | 3.414 | 118.793 | 11.3537 | 173.833 | 10.5867 | 114.581 | 1.894 | 310.045 | 21.75 | 959.943 | 80.9548 | 60.4292
2019-05-26 03:00:00 | 3.6693 | 132.136 | 9.8197 | 165.823 | 12.3763 | 148.863 | 4.962 | 312.163 | 21.72 | 959.78 | 80.5456 | 61.6152
2019-05-26 03:15:00 | 6.7333 | 142.337 | 8.797 | 178.313 | 5.4733 | 133.402 | 4.195 | 294.779 | 21.54 | 960.376 | 81.1594 | 47.1536
2019-05-26 03:30:00 | 2.9033 | 119.937 | 8.2857 | 164.045 | 7.7743 | 101.214 | 5.729 | 314.33 | 21.31 | 960.586 | 81.2276 | 36.2317
2019-05-26 03:45:00 | 4.18 | 137.229 | 10.8423 | 193.295 | 9.0527 | 149.744 | 4.195 | 318.432 | 21.41 | 960.381 | 80.8895 | 33.4088
2019-05-26 04:00:00 | 0.372 | 108.843 | 4.962 | 157.216 | 4.195 | 128.98 | 2.541 | 304.394 | 21.29 | 960.6 | 81.6428 | 29.3334
2019-05-26 04:15:00 | 0 | 164.608 | 4.7063 | 204.461 | 4.962 | 161.442 | 0.37567 | 312.122 | 20.91 | 961.025 | 83.2139 | 18.0308
2019-05-26 04:30:00 | 0 | 126.481 | 6.2403 | 187.937 | 5.4733 | 122.585 | 0.37567 | 311.163 | 20.78 | 961.196 | 83.4906 | 31.6151
2019-05-26 04:45:00 | 2.1373 | 134.228 | 9.8197 | 185.117 | 9.8197 | 134.301 | 4.195 | 318.085 | 20.66 | 960.751 | 84.0382 | 51.4027
2019-05-26 05:00:00 | 4.18 | 130.283 | 13.1433 | 178.907 | 12.8877 | 119.325 | 7.0073 | 311.462 | 20.49 | 960.009 | 84.8567 | 67.9113
2019-05-26 05:15:00 | 3.414 | 145.674 | 10.331 | 201.603 | 9.0527 | 138.514 | 5.9847 | 331.723 | 20.5 | 959.713 | 84.1064 | 66.5331
2019-05-26 05:30:00 | 8.01 | 105.371 | 7.263 | 196.172 | 4.962 | 131.939 | 8.03 | 320.472 | 20.43 | 960.603 | 84.5157 | 37.1673
2019-05-26 05:45:00 | 6.7333 | 118.789 | 7.263 | 211.66 | 7.263 | 110.412 | 5.2177 | 332.21 | 20.92 | 960.751 | 81.2756 | 18.6416
2019-05-26 06:00:00 | 0 | 142.382 | 4.195 | 172.375 | 5.4733 | 118.956 | 5.2177 | 324.506 | 21.11 | 961.196 | 82.8082 | 16.3275
2019-05-26 06:15:00 | 0 | 145.896 | 4.4507 | 205.759 | 3.9393 | 123.009 | 5.9847 | 333.039 | 20.86 | 961.297 | 82.8667 | 13.0687
2019-05-26 06:30:00 | 0.62733 | 128.946 | 4.195 | 199.91 | 4.195 | 162.57 | 3.428 | 271.235 | 20.92 | 961.078 | 83.2055 | 17.2438
2019-05-26 06:45:00 | 2.9033 | 135.398 | 6.7517 | 178.581 | 5.4733 | 119.913 | 3.9393 | 328.696 | 21.03 | 961.349 | 83.3419 | 11.1584
2019-05-26 07:00:00 | 0 | 135.788 | 4.4507 | 182.793 | 5.2177 | 122.031 | 0.63133 | 318.153 | 21.28 | 961.645 | 82.3871 | 15.6033
2019-05-26 07:15:00 | 2.9033 | 115.998 | 6.7517 | 185.535 | 7.7743 | 135.084 | 2.9167 | 295.582 | 21.21 | 961.497 | 82.6461 | 22.5792
2019-05-26 07:30:00 | 0 | 145.891 | 7.263 | 203.085 | 5.729 | 145.55 | 4.962 | 322.65 | 21.41 | 962.09 | 82.5773 | 24.301
2019-05-26 07:45:00 | 0 | 145.912 | 4.7063 | 190.957 | 4.962 | 157.865 | 4.962 | 331.212 | 21.46 | 962.387 | 83.1893 | 26.5401
2019-05-26 08:00:00 | 7.4993 | 129.359 | 4.195 | 194.121 | 4.195 | 145.425 | 6.496 | 311.932 | 21.64 | 962.238 | 82.405 | 29.0378
2019-05-26 08:15:00 | 0.62733 | 149.202 | 6.7517 | 187.724 | 5.2177 | 132.113 | 2.2853 | 331.974 | 21.74 | 962.238 | 80.1908 | 19.9854
2019-05-26 08:30:00 | 0.62733 | 161.482 | 7.0073 | 206.742 | 8.03 | 148.119 | 1.007 | 338.543 | 22.06 | 962.09 | 79.6046 | 18.441
2019-05-26 08:45:00 | 0 | 160.155 | 6.7517 | 200.079 | 6.7517 | 149.081 | 4.962 | 326.273 | 22.18 | 962.09 | 79.5641 | 23.7985
2019-05-26 09:00:00 | 2.1373 | 130.095 | 8.5413 | 183.892 | 8.2857 | 138.662 | 2.661 | 314.661 | 22.46 | 962.09 | 76.9047 | 38.8033
2019-05-26 09:15:00 | 4.4353 | 155.116 | 10.331 | 206.358 | 10.8423 | 153.728 | 2.4053 | 330.799 | 22.49 | 961.192 | 76.632 | 42.7022
2019-05-26 09:30:00 | 12.8613 | 152.19 | 7.5187 | 207.203 | 7.0073 | 148.637 | 5.9847 | 325.823 | 22.85 | 961.793 | 75.3343 | 39.5016
2019-05-26 09:45:00 | 5.2013 | 137.326 | 7.263 | 190.333 | 9.3083 | 152.293 | 7.263 | 315.999 | 23.14 | 961.864 | 74.643 | 34.532
2019-05-26 10:00:00 | 0 | 132.384 | 7.263 | 202.304 | 7.0073 | 152.753 | 3.6837 | 324.464 | 23.36 | 961.967 | 73.0061 | 30.8039
2019-05-26 10:15:00 | 0 | 151.001 | 5.9847 | 195.198 | 6.7517 | 149.054 | 5.729 | 295.675 | 23.01 | 961.945 | 76.8235 | 33.9704
2019-05-26 10:30:00 | 0 | 127.615 | 6.2403 | 172.834 | 5.9847 | 121.507 | 5.9847 | 300.81 | 22.84 | 961.807 | 76.4826 | 25.7124
2019-05-26 10:45:00 | 1.3713 | 143.974 | 8.2857 | 198.272 | 8.03 | 142.781 | 5.9847 | 323.576 | 22.83 | 961.379 | 76.69 | 31.5746
2019-05-26 11:00:00 | 5.2013 | 128.851 | 8.797 | 208.058 | 5.9847 | 173.611 | 5.729 | 330.355 | 22.84 | 960.89 | 77.1762 | 30.4899
2019-05-26 11:15:00 | 1.3933 | 137.992 | 7.0073 | 196.772 | 9.0527 | 149.114 | 4.4507 | 311.881 | 23.6 | 961.606 | 74.6478 | 22.1173
2019-05-26 11:30:00 | 11.3293 | 134.185 | 9.0527 | 188.043 | 8.797 | 119.024 | 9.0527 | 318.38 | 23.25 | 961.584 | 74.983 | 21.2121
2019-05-26 11:45:00 | 0 | 138.541 | 7.5187 | 195.903 | 5.4733 | 157.353 | 4.4507 | 317.65 | 23.48 | 961.533 | 73.6196 | 14.7794
2019-05-26 12:00:00 | 0 | 179.668 | 6.496 | 212.16 | 4.7063 | 153.313 | 1.007 | 354.153 | 23.8 | 961.853 | 73.4151 | 9.2039
2019-05-26 12:15:00 | 0 | 150.466 | 6.496 | 215.518 | 5.9847 | 182.418 | 5.9847 | 347.923 | 23.75 | 960.771 | 73.8241 | 10.4047
2019-05-26 12:30:00 | 0 | 156.428 | 4.7063 | 203.058 | 3.6837 | 167.135 | 5.4733 | 1.2654 | 23.89 | 960.774 | 75.8351 | 14.8968
2019-05-26 12:45:00 | 0 | 193.223 | 5.9847 | 241.97 | 6.7517 | 184.876 | 1.774 | 7.836 | 23.92 | 960.797 | 74.5058 | 14.8385
2019-05-26 13:00:00 | 0 | 178.184 | 4.4507 | 211.601 | 5.2177 | 173.974 | 5.4733 | 353.351 | 23.88 | 960.788 | 74.8811 | 13.1204
2019-05-26 13:15:00 | 0 | 202.568 | 4.4507 | 232.066 | 3.428 | 204.758 | 0 | 10.5129 | 24.45 | 960.782 | 71.1316 | 12.5551
2019-05-26 13:30:00 | 0 | 199.355 | 7.5187 | 248.857 | 8.03 | 192.396 | 0.37567 | 18.9816 | 24.73 | 960.611 | 70.2795 | 13.9517
2019-05-26 13:45:00 | 0 | 139.052 | 6.496 | 188.481 | 5.4733 | 158.01 | 3.5637 | 347.607 | 24.73 | 960.314 | 70.6885 | 16.7746
2019-05-26 14:00:00 | 0 | 158.399 | 6.496 | 212.256 | 4.7063 | 156.866 | 0 | 356.853 | 25.1 | 960.462 | 72.6992 | 17.7205
2019-05-26 14:15:00 | 0 | 228.694 | 3.9393 | 200.931 | 3.428 | 190.221 | 0 | 15.5253 | 24.77 | 960.314 | 72.3213 | 18.6516
2019-05-26 14:30:00 | 0 | 141.036 | 6.7517 | 208.685 | 5.729 | 156.901 | 4.962 | 326.894 | 24.76 | 960.018 | 71.7391 | 18.1823
2019-05-26 14:45:00 | 0 | 159.611 | 6.7517 | 219.818 | 5.4733 | 180.028 | 0.37567 | 332.071 | 25.16 | 960.462 | 67.4828 | 13.8076
2019-05-26 15:00:00 | 0 | 152.798 | 5.729 | 202.517 | 5.4733 | 154.647 | 4.195 | 331.707 | 25.34 | 960.166 | 66.9377 | 13.9148
2019-05-26 15:15:00 | 0 | 176.862 | 5.4733 | 212.514 | 3.428 | 208.959 | 0 | 353.261 | 25.72 | 959.573 | 65.914 | 11.0624
2019-05-26 15:30:00 | 0 | 169.459 | 7.263 | 214.429 | 9.564 | 186.541 | 0 | 347.97 | 25.79 | 959.649 | 65.6392 | 14.7794
2019-05-26 15:45:00 | 0 | 149.257 | 5.729 | 206.781 | 5.9847 | 182.3 | 0.75133 | 331.679 | 25.66 | 959.622 | 66.5911 | 11.0771
2019-05-26 16:00:00 | 0 | 181.319 | 6.496 | 229.545 | 5.4733 | 162.146 | 0.75133 | 345.241 | 25.88 | 959.686 | 66.5882 | 10.8074
2019-05-26 16:15:00 | 0 | 183.746 | 7.5187 | 227.249 | 7.7743 | 194.403 | 0 | 20.9488 | 25.9 | 959.492 | 64.8139 | 13.3014
2019-05-26 16:30:00 | 0 | 194.062 | 6.7517 | 239.058 | 6.7517 | 191.507 | 0 | 15.963 | 25.78 | 959.088 | 65.0946 | 7.9993
2019-05-26 16:45:00 | 0 | 156.665 | 3.1723 | 209.061 | 1.894 | 160.705 | 0 | 24.7238 | 25.6 | 958.979 | 67.0051 | 5.3501
2019-05-26 17:00:00 | 0 | 150.1 | 5.2177 | 195.269 | 4.962 | 143.286 | 3.308 | 339.257 | 25.5 | 959.128 | 66.4617 | 6.0374
2019-05-26 17:15:00 | 0 | 133.358 | 4.7063 | 182.908 | 4.7063 | 150.052 | 2.9167 | 321.251 | 25.55 | 959.128 | 65.8487 | 6.1039
2019-05-26 17:30:00 | 0 | 146.888 | 5.9847 | 194.054 | 6.2403 | 159.835 | 5.2177 | 335.293 | 25.67 | 959.276 | 66.6666 | 10.4379
2019-05-26 17:45:00 | 0 | 162.658 | 4.195 | 218.414 | 3.6837 | 214.054 | 2.1497 | 356.805 | 25.63 | 959.573 | 66.0532 | 5.8046
2019-05-26 18:00:00 | 0 | 161.538 | 3.6837 | 215.299 | 4.7063 | 169.764 | 0 | 328.795 | 25.52 | 959.276 | 67.2801 | 6.769
2019-05-26 18:15:00 | 0 | 138.979 | 5.2177 | 185.196 | 3.9393 | 162.706 | 2.7967 | 325.705 | 25.34 | 959.128 | 68.1322 | 8.3577
2019-05-26 18:30:00 | 0 | 160.613 | 4.7063 | 207.584 | 4.195 | 160.784 | 3.6837 | 340.72 | 25.23 | 959.157 | 68.7798 | 7.7001
2019-05-26 18:45:00 | 0 | 148.616 | 4.962 | 199.748 | 4.4507 | 160.808 | 1.654 | 335.487 | 25.08 | 959.117 | 70.075 | 8.5129
2019-05-26 19:00:00 | 0 | 146.787 | 3.6837 | 200.387 | 3.6837 | 160.514 | 0 | 327.55 | 24.98 | 959.528 | 70.9708 | 3.8685
2019-05-26 19:15:00 | 0 | 148.276 | 2.661 | 196.889 | 1.894 | 160.543 | 0 | 318.483 | 24.84 | 959.568 | 72.03 | 2.5568
2019-05-26 19:30:00 | 0 | 151.002 | 4.195 | 197.498 | 2.4053 | 160.543 | 0 | 335.399 | 24.72 | 959.865 | 73.1549 | 2.6307
2019-05-26 19:45:00 | 0 | 157.525 | 4.195 | 209.181 | 3.1723 | 160.592 | 0 | 344.234 | 24.44 | 959.865 | 74.3821 | 4.0422
2019-05-26 20:00:00 | 0 | 140.809 | 4.195 | 187.234 | 3.9393 | 160.501 | 1.894 | 324.944 | 24.46 | 959.568 | 73.9757 | 3.9091
2019-05-26 20:15:00 | 0 | 145.03 | 5.4733 | 189.365 | 4.962 | 160.462 | 2.0297 | 327.887 | 24.45 | 959.865 | 74.3897 | 5.9746
2019-05-26 20:30:00 | 0 | 141.994 | 5.729 | 188.475 | 5.2177 | 160.251 | 5.2177 | 329.947 | 24.47 | 959.865 | 74.3251 | 10.5894
2019-05-26 20:45:00 | 0 | 147.612 | 5.9847 | 191.584 | 5.2177 | 153.868 | 4.962 | 330.91 | 24.34 | 959.717 | 74.834 | 12.5883
2019-05-26 21:00:00 | 0 | 152.292 | 5.4733 | 198.068 | 4.7063 | 151.319 | 4.7063 | 336.182 | 24.28 | 960.161 | 76.2351 | 9.4994
2019-05-26 21:15:00 | 0 | 148.907 | 5.9847 | 195.291 | 3.9393 | 151.22 | 0 | 330.288 | 24.05 | 960.31 | 76.1662 | 6.7098
2019-05-26 21:30:00 | 0 | 167.506 | 4.962 | 207.317 | 3.428 | 151.415 | 5.4733 | 345.333 | 24.13 | 960.755 | 75.7573 | 3.5951
2019-05-26 21:45:00 | 2.5313 | 163.952 | 2.661 | 224.09 | 2.661 | 151.464 | 0 | 341.584 | 24.18 | 961.052 | 75.8936 | 1.7144
2019-05-26 22:00:00 | 0 | 158.234 | 1.6383 | 190.451 | 1.3827 | 151.491 | 0 | 351.961 | 24.21 | 961.645 | 74.7017 | -0.6429
2019-05-26 22:15:00 | 8.5207 | 21.3494 | 5.729 | 33.2153 | 3.9393 | 25.999 | 4.962 | 201.079 | 21.85 | 961.645 | 83.805 | 38.6306
2019-05-26 22:30:00 | 4.946 | 347.74 | 10.0753 | 44.7327 | 12.3763 | 18.4046 | 5.4733 | 170.608 | 20.53 | 961.052 | 89.6732 | 75.2053
2019-05-26 22:45:00 | 6.2227 | 0 | 15.1887 | 49.783 | 13.1433 | 27.7574 | 5.9847 | 181.251 | 18.21 | 960.359 | 81.0936 | 85.2105
2019-05-26 23:00:00 | 7.7547 | 25.7887 | 15.9557 | 61.8713 | 14.933 | 16.8759 | 5.9847 | 186.414 | 17.59 | 960.603 | 80.6957 | 77.4772
2019-05-26 23:15:00 | 4.4353 | 3.7508 | 12.8877 | 58.3049 | 8.797 | 340.401 | 5.9847 | 185.667 | 17.37 | 961.359 | 79.2767 | 79.0237
2019-05-26 23:30:00 | 4.18 | 9.304 | 14.933 | 70.1664 | 9.3083 | 53.2912 | 5.9847 | 187.834 | 17.76 | 961.338 | 72.2156 | 77.2038
2019-05-26 23:45:00 | 6.2227 | 24.7945 | 13.9103 | 75.7927 | 8.2857 | 20.6296 | 4.962 | 205.712 | 17.47 | 961.193 | 75.5245 | 77.6952