## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-05-27 00:00:00 | 4.18 | 21.2143 | 14.6773 | 71.969 | 7.7743 | 7.2581 | 5.9847 | 201.06 | 18.25 | 961.49 | 68.634 | 74.6018
2019-05-27 00:15:00 | 6.9887 | 13.2985 | 15.7 | 75.4761 | 9.3083 | 25.1355 | 7.5187 | 200.427 | 18.39 | 961.044 | 65.5637 | 79.0512
2019-05-27 00:30:00 | 5.2013 | 5.6019 | 16.2113 | 61.6905 | 12.632 | 0.9986 | 5.729 | 185.691 | 18.73 | 961.044 | 63.5852 | 69.0714
2019-05-27 00:45:00 | 3.6693 | 11.7153 | 13.1433 | 65.5631 | 7.0073 | 21.7257 | 2.661 | 191.244 | 18.91 | 961.49 | 64.1992 | 51.7343
2019-05-27 01:00:00 | 4.946 | 342.91 | 9.0527 | 61.7149 | 8.5413 | 23.6011 | 3.6837 | 159.654 | 18.7 | 961.935 | 70.3394 | 61.4479
2019-05-27 01:15:00 | 6.478 | 170.931 | 7.0073 | 53.6286 | 2.9167 | 13.9074 | 3.428 | 162.163 | 17.56 | 962.079 | 86.1675 | 59.402
2019-05-27 01:30:00 | 7.7547 | 333.119 | 8.5413 | 66.9271 | 8.797 | 32.4667 | 1.894 | 158.729 | 16.81 | 961.786 | 92.1372 | 69.1445
2019-05-27 01:45:00 | 8.2653 | 0.53584 | 12.1207 | 71.3117 | 12.3763 | 32.4913 | 2.9167 | 161.239 | 16.79 | 961.193 | 95.7877 | 74.2996
2019-05-27 02:00:00 | 4.6907 | 347.443 | 3.428 | 95.4978 | 2.9167 | 23.5282 | 1.007 | 145.48 | 16.97 | 962.38 | 97.3572 | 74.4254
2019-05-27 02:15:00 | 4.6907 | 351.851 | 8.797 | 79.739 | 6.496 | 27.6688 | 4.962 | 151.131 | 17.08 | 962.529 | 98.0733 | 72.2482
2019-05-27 02:30:00 | 8.01 | 0.14614 | 11.098 | 55.1662 | 11.098 | 16.709 | 5.4733 | 149.212 | 17.22 | 962.825 | 98.5885 | 74.5205
2019-05-27 02:45:00 | 4.6907 | 336.547 | 11.3537 | 34.6094 | 15.1887 | 28.3521 | 5.9847 | 154.816 | 17.21 | 962.677 | 98.9308 | 71.6808
2019-05-27 03:00:00 | 6.9887 | 347.192 | 12.3763 | 69.3189 | 11.6093 | 5.3586 | 5.2177 | 157.739 | 17.08 | 963.122 | 98.9992 | 70.9795
2019-05-27 03:15:00 | 7.7547 | 341.115 | 11.3537 | 71.1912 | 9.0527 | 25.5745 | 3.9393 | 158.464 | 16.97 | 963.568 | 98.6205 | 71.7022
2019-05-27 03:30:00 | 5.4567 | 338.275 | 10.8423 | 35.9975 | 12.632 | 18.7308 | 4.962 | 163.072 | 17.04 | 963.864 | 94.4274 | 73.9154
2019-05-27 03:45:00 | 4.6907 | 344.546 | 13.9103 | 63.3292 | 12.3763 | 20.8993 | 5.729 | 173.454 | 17.11 | 964.161 | 87.0957 | 74.0135
2019-05-27 04:00:00 | 6.2227 | 356.837 | 16.2113 | 46.8125 | 12.632 | 4.6523 | 5.9847 | 179.515 | 17.15 | 964.161 | 80.3046 | 76.9127
2019-05-27 04:15:00 | 5.9673 | 349.974 | 11.098 | 72.6085 | 8.2857 | 35.8304 | 5.4733 | 166.9 | 16.98 | 965.052 | 79.6236 | 71.6652
2019-05-27 04:30:00 | 5.2013 | 3.0692 | 10.331 | 61.1633 | 10.0753 | 19.4139 | 4.195 | 181.546 | 16.74 | 964.903 | 80.2746 | 71.0002
2019-05-27 04:45:00 | 5.4567 | 356.696 | 13.6547 | 49.3074 | 11.6093 | 6.139 | 4.7063 | 184.901 | 16.47 | 964.755 | 81.3403 | 66.7259
2019-05-27 05:00:00 | 6.7333 | 347.144 | 8.2857 | 26.2404 | 9.8197 | 0.53598 | 6.2403 | 164.57 | 16.23 | 966.091 | 82.915 | 71.074
2019-05-27 05:15:00 | 8.776 | 351.648 | 10.331 | 49.8764 | 13.399 | 13.5465 | 5.4733 | 174.715 | 16.11 | 965.646 | 76.1636 | 73.8895
2019-05-27 05:30:00 | 5.2013 | 351.822 | 11.6093 | 74.4121 | 9.3083 | 9.9407 | 5.4733 | 180.321 | 16.14 | 965.646 | 72.8203 | 73.2503
2019-05-27 05:45:00 | 5.9673 | 344.976 | 13.399 | 45.9058 | 11.865 | 10.7204 | 4.962 | 165.873 | 16.09 | 965.794 | 71.4554 | 72.0162
2019-05-27 06:00:00 | 6.7333 | 354.672 | 11.3537 | 55.7 | 3.428 | 356.182 | 4.4507 | 173.157 | 16.05 | 966.833 | 71.2503 | 66.7511
2019-05-27 06:15:00 | 6.7333 | 8.6725 | 11.865 | 64.216 | 3.9393 | 356.864 | 5.4733 | 153.791 | 15.99 | 967.13 | 70.217 | 69.5776
2019-05-27 06:30:00 | 5.9673 | 25.1404 | 13.9103 | 82.9732 | 1.894 | 96.3471 | 4.962 | 148.236 | 15.86 | 967.427 | 69.0906 | 75.672
2019-05-27 06:45:00 | 5.712 | 178.072 | 9.8197 | 66.0885 | 12.632 | 17.1982 | 5.729 | 182.603 | 15.84 | 966.981 | 69.7708 | 72.0162
2019-05-27 07:00:00 | 6.2227 | 344.978 | 13.6547 | 32.4178 | 12.1207 | 0.73073 | 5.2177 | 169.676 | 15.83 | 967.724 | 68.3312 | 74.4565
2019-05-27 07:15:00 | 4.6907 | 16.8555 | 13.6547 | 83.1788 | 4.4507 | 317.696 | 4.962 | 192.595 | 15.95 | 968.317 | 67.751 | 70.3953
2019-05-27 07:30:00 | 4.4353 | 324.842 | 7.5187 | 112.572 | 9.564 | 12.8846 | 4.962 | 151.643 | 16.29 | 968.614 | 67.6796 | 68.6318
2019-05-27 07:45:00 | 9.542 | 351.532 | 12.1207 | 56.6488 | 11.3537 | 19.4606 | 6.2403 | 171.37 | 16.44 | 968.466 | 64.4039 | 78.4674
2019-05-27 08:00:00 | 10.308 | 0.097425 | 9.564 | 63.6633 | 9.8197 | 45.4973 | 5.9847 | 157.73 | 16.38 | 968.614 | 65.3591 | 77.0301
2019-05-27 08:15:00 | 6.2227 | 342.399 | 11.3537 | 80.4934 | 8.797 | 39.6031 | 4.962 | 167.911 | 16.25 | 969.06 | 64.745 | 76.0288
2019-05-27 08:30:00 | 7.244 | 9.7181 | 9.8197 | 70.3369 | 7.263 | 19.899 | 5.4733 | 174.025 | 16.25 | 969.208 | 60.5833 | 73.5311
2019-05-27 08:45:00 | 8.5207 | 30.4208 | 10.5867 | 72.2854 | 11.3537 | 37.3136 | 5.9847 | 192.925 | 17.18 | 969.802 | 58.059 | 78.1119
2019-05-27 09:00:00 | 6.478 | 345.589 | 11.3537 | 43.4965 | 13.1433 | 7.2094 | 5.729 | 166.182 | 17.06 | 969.045 | 57.8885 | 74.6855
2019-05-27 09:15:00 | 5.2013 | 13.3715 | 15.9557 | 67.1219 | 14.166 | 25.0625 | 5.2177 | 190.465 | 17.5 | 969.6 | 57.5132 | 73.8341
2019-05-27 09:30:00 | 5.9673 | 0.097425 | 8.797 | 57.964 | 8.5413 | 4.3598 | 6.2403 | 168.447 | 17.23 | 969.963 | 56.2852 | 66.2907
2019-05-27 09:45:00 | 6.478 | 4.5302 | 8.5413 | 55.5771 | 9.564 | 11.4474 | 5.2177 | 185.837 | 17.36 | 970.262 | 56.6263 | 67.0873
2019-05-27 10:00:00 | 5.4567 | 348.365 | 9.0527 | 46.9455 | 9.564 | 20.2371 | 5.729 | 185.762 | 17.88 | 970.842 | 55.5268 | 70.7009
2019-05-27 10:15:00 | 4.4353 | 336.496 | 11.865 | 32.8438 | 11.6093 | 12.1516 | 5.9847 | 181.69 | 18.29 | 970.842 | 51.7054 | 69.3621
2019-05-27 10:30:00 | 4.946 | 12.2491 | 8.5413 | 59.9719 | 9.3083 | 19.8225 | 2.4053 | 176.528 | 18.03 | 970.842 | 52.3193 | 61.3287
2019-05-27 10:45:00 | 0 | 6.0636 | 4.962 | 87.6358 | 1.007 | 8.5719 | 2.661 | 212.495 | 18.44 | 971.287 | 53.0696 | 64.9094
2019-05-27 11:00:00 | 7.4993 | 77.239 | 8.5413 | 52.1255 | 6.7517 | 13.6361 | 4.7063 | 194.973 | 18.87 | 971.435 | 49.1098 | 70.2522
2019-05-27 11:15:00 | 8.2653 | 8.8628 | 10.8423 | 59.9599 | 8.03 | 9.4959 | 4.7063 | 138.786 | 18.55 | 971.414 | 50.1971 | 68.0606
2019-05-27 11:30:00 | 5.4567 | 0.14609 | 11.865 | 81.4331 | 9.0527 | 44.2887 | 4.7063 | 170.897 | 18.61 | 971.473 | 49.4459 | 68.9991
2019-05-27 11:45:00 | 4.18 | 329.743 | 7.7743 | 91.1722 | 4.4507 | 25.7357 | 1.774 | 155.339 | 19.16 | 971.762 | 49.7869 | 68.5637
2019-05-27 12:00:00 | 3.6693 | 11.1513 | 9.8197 | 63.6348 | 7.0073 | 22.6191 | 3.1723 | 191.642 | 18.93 | 971.295 | 48.2183 | 65.0071
2019-05-27 12:15:00 | 12.3507 | 1.8991 | 7.0073 | 37.2174 | 2.1497 | 38.713 | 6.496 | 194.296 | 19.22 | 971.933 | 46.4109 | 70.3453
2019-05-27 12:30:00 | 4.946 | 10.153 | 10.8423 | 76.32 | 11.865 | 26.8313 | 5.729 | 192.324 | 19.61 | 971.297 | 43.1714 | 71.4857
2019-05-27 12:45:00 | 3.1587 | 186.699 | 11.6093 | 68.2365 | 6.7517 | 5.3322 | 4.962 | 203.767 | 20.14 | 971.459 | 43.5806 | 72.0098
2019-05-27 13:00:00 | 4.6907 | 176.765 | 12.632 | 78.1461 | 3.9393 | 356.404 | 4.962 | 181.27 | 19.74 | 971.583 | 42.7281 | 66.0366
2019-05-27 13:15:00 | 5.2013 | 356.111 | 7.7743 | 64.1948 | 4.4507 | 12.5391 | 2.4053 | 158.285 | 20.09 | 971.732 | 39.1475 | 71.111
2019-05-27 13:30:00 | 7.7547 | 177.35 | 8.2857 | 81.4818 | 3.9393 | 355.21 | 4.195 | 149.544 | 20.5 | 972.177 | 35.8397 | 74.7882
2019-05-27 13:45:00 | 4.0633 | 23.1791 | 5.729 | 43.3044 | 4.962 | 63.6939 | 3.428 | 164.445 | 20.56 | 972.325 | 33.896 | 75.3559
2019-05-27 14:00:00 | 4.946 | 27.5851 | 10.331 | 64.9708 | 8.2857 | 3.652 | 2.661 | 139.265 | 20.53 | 972.028 | 31.8488 | 72.0104
2019-05-27 14:15:00 | 4.4353 | 350.763 | 11.865 | 69.6383 | 9.8197 | 36.907 | 3.9393 | 178.23 | 20.65 | 971.583 | 30.6529 | 71.5292
2019-05-27 14:30:00 | 5.4567 | 2.3857 | 13.1433 | 58.6058 | 6.7517 | 58.5222 | 3.6837 | 181.507 | 20.85 | 972.473 | 31.7764 | 61.3626
2019-05-27 14:45:00 | 5.4567 | 336.089 | 7.0073 | 58.2893 | 9.0527 | 19.2072 | 3.9393 | 162.348 | 20.76 | 972.325 | 32.1173 | 53.4718
2019-05-27 15:00:00 | 10.308 | 5.4042 | 6.7517 | 57.0956 | 3.428 | 351.324 | 4.962 | 140.072 | 20.85 | 972.473 | 33.4807 | 48.9382
2019-05-27 15:15:00 | 3.1587 | 9.6644 | 7.5187 | 69.3899 | 0 | 36.2233 | 1.774 | 196.234 | 20.93 | 973.067 | 33.2083 | 37.8256
2019-05-27 15:30:00 | 0 | 285.083 | 4.7063 | 72.058 | 2.4053 | 5.8419 | 5.9847 | 165.008 | 21.33 | 972.918 | 34.4321 | 26.8098
2019-05-27 15:45:00 | 0 | 10.7096 | 5.729 | 76.8244 | 3.9393 | 38.0921 | 0 | 170.477 | 20.96 | 972.918 | 34.1919 | 26.2141
2019-05-27 16:00:00 | 0 | 22.222 | 5.2177 | 68.2796 | 4.7063 | 1.0709 | 2.2853 | 187.634 | 21 | 973.215 | 34.1572 | 25.923
2019-05-27 16:15:00 | 3.1587 | 26.3597 | 4.4507 | 95.3207 | 2.9167 | 265.423 | 0 | 212.192 | 21.04 | 973.512 | 33.2708 | 18.3412
2019-05-27 16:30:00 | 1.7653 | 352.12 | 3.9393 | 54.1626 | 7.5187 | 17.7192 | 2.661 | 160.811 | 21.35 | 973.66 | 33.0663 | 22.291
2019-05-27 16:45:00 | 0 | 0.73018 | 6.7517 | 71.1503 | 6.496 | 14.4331 | 0.63133 | 183.006 | 21.15 | 973.363 | 33.5431 | 20.6135
2019-05-27 17:00:00 | 0.372 | 1.3874 | 5.9847 | 68.9853 | 4.7063 | 18.3763 | 4.4507 | 161.712 | 20.88 | 973.067 | 32.0777 | 16.0356
2019-05-27 17:15:00 | 0 | 14.1899 | 5.2177 | 106.273 | 1.894 | 0.048679 | 2.2853 | 157.55 | 21.14 | 972.918 | 32.1459 | 10.4379
2019-05-27 17:30:00 | 0 | 351.073 | 6.2403 | 39.9726 | 4.962 | 355.454 | 0.37567 | 171.35 | 21.31 | 973.067 | 32.6572 | 6.4327
2019-05-27 17:45:00 | 0 | 346.958 | 3.6837 | 73.1533 | 1.127 | 3.6998 | 5.2177 | 164.959 | 20.84 | 972.622 | 33.2048 | 3.6062
2019-05-27 18:00:00 | 0 | 303.662 | 2.661 | 6.3676 | 1.3827 | 312.815 | 0 | 141.46 | 20.86 | 972.918 | 33.8219 | 1.1306
2019-05-27 18:15:00 | 0 | 319.749 | 2.9167 | 3.5427 | 2.661 | 303.876 | 0 | 139.79 | 20.63 | 972.473 | 34.7105 | -0.31037
2019-05-27 18:30:00 | 0 | 302.083 | 2.661 | 7.7774 | 2.1497 | 305.175 | 0 | 127.144 | 20.57 | 972.473 | 35.6692 | -0.23647
2019-05-27 18:45:00 | 0 | 318.72 | 2.4053 | 7.631 | 1.6383 | 307.325 | 0 | 138.323 | 20.44 | 972.455 | 36.011 | -0.25494
2019-05-27 19:00:00 | 0 | 344.184 | 2.661 | 25.9513 | 2.661 | 316.326 | 0 | 169.413 | 20.48 | 972.472 | 33.7647 | -0.29928
2019-05-27 19:15:00 | 5.9673 | 308.004 | 1.894 | 9.125 | 1.6383 | 316.186 | 0 | 135.397 | 20.53 | 972.473 | 35.5389 | -0.25864
2019-05-27 19:30:00 | 0 | 323.54 | 1.6383 | 9.1737 | 0.75133 | 316.21 | 0 | 136.468 | 20.37 | 972.473 | 34.7203 | -0.24016
2019-05-27 19:45:00 | 0 | 323.54 | 1.6383 | 9.1737 | 0.75133 | 316.21 | 0 | 136.517 | 20.39 | 972.473 | 34.4475 | -0.25864
2019-05-27 20:00:00 | 20.5213 | 288.774 | 1.894 | 328.535 | 0.75133 | 281.176 | 7.0073 | 132.186 | 20.44 | 972.473 | 34.1756 | -0.24016
2019-05-27 20:15:00 | 0 | 288.796 | 0.75133 | 330.364 | 0 | 281.148 | 0 | 132.269 | 20.5 | 972.78 | 33.4278 | -0.25864
2019-05-27 20:30:00 | 0 | 266.09 | 1.6383 | 306.713 | 1.3827 | 274.201 | 0 | 132.278 | 20.5 | 972.919 | 33.7028 | -0.24016
2019-05-27 20:45:00 | 0 | 265.457 | 1.127 | 283.234 | 1.127 | 272.204 | 0 | 132.302 | 20.32 | 973.071 | 33.9417 | -0.24016
2019-05-27 21:00:00 | 0 | 265.457 | 1.127 | 283.234 | 0.75133 | 272.228 | 0 | 132.254 | 20.32 | 973.24 | 33.9758 | -0.24016
2019-05-27 21:15:00 | 0 | 265.433 | 1.3827 | 283.234 | 0 | 272.204 | 0 | 132.376 | 20.32 | 973.082 | 33.9076 | -0.24016
2019-05-27 21:30:00 | 0 | 213.116 | 1.894 | 283.185 | 2.1497 | 268.94 | 0 | 132.302 | 20.14 | 973.133 | 35.8178 | -0.24016
2019-05-27 21:45:00 | 0 | 210.875 | 2.661 | 280.506 | 2.1497 | 263.095 | 0 | 31.8578 | 20.17 | 973.308 | 36.0225 | -0.24016
2019-05-27 22:00:00 | 2.9033 | 202.399 | 3.1723 | 280.457 | 2.661 | 262.315 | 0 | 20.9463 | 20.18 | 973.547 | 33.2935 | -0.24016
2019-05-27 22:15:00 | 0 | 178.823 | 2.661 | 280.506 | 1.894 | 258.419 | 0 | 0.24356 | 20.5 | 973.236 | 33.0889 | -0.25864
2019-05-27 22:30:00 | 0 | 174.877 | 2.9167 | 277.875 | 2.9167 | 255.69 | 0 | 0.19485 | 20.23 | 973.231 | 33.43 | -0.26972
2019-05-27 22:45:00 | 0 | 176.31 | 4.195 | 275.799 | 3.1723 | 255.686 | 0 | 0.24356 | 20.13 | 973.068 | 33.02 | 0.018474
2019-05-27 23:00:00 | 0 | 158.14 | 3.6837 | 206.287 | 2.4053 | 247.111 | 0 | 350.475 | 20.17 | 973.216 | 31.86 | 0.5025
2019-05-27 23:15:00 | 0 | 157.34 | 3.9393 | 208.946 | 1.894 | 247.14 | 0 | 347.852 | 20.13 | 973.077 | 33.805 | 0.82764
2019-05-27 23:30:00 | 0 | 164.258 | 4.195 | 210.336 | 2.661 | 244.682 | 0 | 346.588 | 20.15 | 973.075 | 33.6346 | 3.4695
2019-05-27 23:45:00 | 0 | 161.725 | 4.195 | 206.171 | 3.6837 | 153.054 | 0 | 351.654 | 19.76 | 973.072 | 34.9309 | 6.5879